## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3764-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3764-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3764-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3764-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3764-3_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3764-3_0_3_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_3764-3_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3764-3_0_3_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_3764-3_0_3_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_3764-3_0_3_node_97 | 0.4 | n |  | TRUE
10 | bus_LV_3764-3_0_3_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_3764-3_0_3_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_3764-3_0_3_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_3764-3_0_3_node_96 | 0.4 | n |  | TRUE
14 | bus_LV_3764-3_0_3_node_100 | 0.4 | n |  | TRUE
15 | bus_LV_3764-3_0_3_node_93 | 0.4 | n |  | TRUE
16 | bus_LV_3764-3_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_3764-3_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_3764-3_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3764-3_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_3764-3_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_3764-3_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_3764-3_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_3764-3_0_3_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_3764-3_0_3_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_3764-3_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3764-3_0_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_3764-3_0_3_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_3764-3_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_3764-3_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_3764-3_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_3764-3_0_3_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_3764-3_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_3764-3_0_3_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_3764-3_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3764-3_0_3_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_3764-3_0_3_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_3764-3_0_3_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_3764-3_0_3_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_3764-3_0_3_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_3764-3_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_3764-3_0_3_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_3764-3_0_3_node_91 | 0.4 | n |  | TRUE
43 | bus_LV_3764-3_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_3764-3_0_3_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_3764-3_0_3_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_3764-3_0_3_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_3764-3_0_3_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_3764-3_0_3_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_3764-3_0_3_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_3764-3_0_3_node_87 | 0.4 | n |  | TRUE
51 | bus_LV_3764-3_0_3_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_3764-3_0_3_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_3764-3_0_3_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_3764-3_0_3_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_3764-3_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_3764-3_0_3_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_3764-3_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_3764-3_0_3_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_3764-3_0_3_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_3764-3_0_3_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_3764-3_0_3_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_3764-3_0_3_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_3764-3_0_3_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_3764-3_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_3764-3_0_3_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_3764-3_0_3_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_3764-3_0_3_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_3764-3_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_3764-3_0_3_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_3764-3_0_3_node_42 | 0.4 | n |  | TRUE
71 | bus_LV_3764-3_0_3_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_3764-3_0_3_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_3764-3_0_3_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_3764-3_0_3_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_3764-3_0_3_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_3764-3_0_3_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_3764-3_0_3_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_3764-3_0_3_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_3764-3_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_3764-3_0_3_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_3764-3_0_3_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_3764-3_0_3_node_94 | 0.4 | n |  | TRUE
83 | bus_LV_3764-3_0_3_node_60 | 0.4 | n |  | TRUE
84 | bus_LV_3764-3_0_3_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_3764-3_0_3_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_3764-3_0_3_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_3764-3_0_3_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_3764-3_0_3_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_3764-3_0_3_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_3764-3_0_3_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_3764-3_0_3_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_3764-3_0_3_node_101 | 0.4 | n |  | TRUE
93 | bus_LV_3764-3_0_3_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_3764-3_0_3_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_3764-3_0_3_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_3764-3_0_3_node_78 | 0.4 | n |  | TRUE
97 | bus_LV_3764-3_0_3_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_3764-3_0_3_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_3764-3_0_3_node_98 | 0.4 | n |  | TRUE
100 | bus_MV_169_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3764-3_0_3_load_0 | 0 | 0.0032715 | 0.00081992 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3764-3_0_3_load_1 | 1 | 0.0028498 | 0.00071424 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3764-3_0_3_load_3 | 3 | 0.0029278 | 0.00073377 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3764-3_0_3_load_36 | 5 | 0.0034529 | 0.00086537 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3764-3_0_3_load_89 | 7 | 0.0039758 | 0.00099644 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3764-3_0_3_load_81 | 8 | 0.0037932 | 0.00095066 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3764-3_0_3_load_97 | 9 | 0.0030885 | 0.00077406 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3764-3_0_3_load_37 | 10 | 0.0043481 | 0.0010897 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3764-3_0_3_load_96 | 13 | 0.0013117 | 0.00032875 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3764-3_0_3_load_100 | 14 | 0.0020866 | 0.00052296 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3764-3_0_3_load_6 | 16 | 0.0024323 | 0.00060959 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3764-3_0_3_load_7 | 17 | 0.002013 | 0.00050451 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3764-3_0_3_load_9 | 19 | 0.0032989 | 0.00082678 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3764-3_0_3_load_10 | 20 | 0.0027254 | 0.00068305 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3764-3_0_3_load_11 | 21 | 0.0026457 | 0.00066306 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3764-3_0_3_load_22 | 22 | 0.0022265 | 0.00055801 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3764-3_0_3_load_39 | 23 | 0.0019144 | 0.0004798 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3764-3_0_3_load_73 | 24 | 0.0017973 | 0.00045045 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3764-3_0_3_load_21 | 25 | 0.0025383 | 0.00063616 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3764-3_0_3_load_40 | 26 | 0.0028917 | 0.00072473 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3764-3_0_3_load_12 | 27 | 0.0016403 | 0.00041111 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3764-3_0_3_load_13 | 28 | 0.0020894 | 0.00052366 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3764-3_0_3_load_14 | 29 | 0.0028458 | 0.00071323 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3764-3_0_3_load_15 | 30 | 0.0030074 | 0.00075372 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3764-3_0_3_load_83 | 31 | 0.0074805 | 0.0018748 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3764-3_0_3_load_27 | 32 | 0.0053849 | 0.0013496 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3764-3_0_3_load_82 | 33 | 0.00075294 | 0.0001887 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3764-3_0_3_load_26 | 34 | 0.0017754 | 0.00044497 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3764-3_0_3_load_16 | 35 | 0.0015504 | 0.00038856 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3764-3_0_3_load_17 | 36 | 0.0036039 | 0.00090322 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3764-3_0_3_load_18 | 37 | 0.0020375 | 0.00051066 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3764-3_0_3_load_19 | 38 | 0.0035639 | 0.0008932 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3764-3_0_3_load_92 | 39 | 0.00185 | 0.00046366 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3764-3_0_3_load_20 | 40 | 0.0056861 | 0.0014251 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3764-3_0_3_load_47 | 41 | 0.007573 | 0.001898 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3764-3_0_3_load_91 | 42 | 0.0030791 | 0.00077169 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3764-3_0_3_load_45 | 43 | 0.0023145 | 0.00058006 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3764-3_0_3_load_25 | 46 | 0.0039745 | 0.0009961 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3764-3_0_3_load_72 | 47 | 0.0068695 | 0.0017217 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3764-3_0_3_load_70 | 48 | 0.0065175 | 0.0016334 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3764-3_0_3_load_58 | 49 | 0.0023223 | 0.00058201 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3764-3_0_3_load_71 | 51 | 0.0016341 | 0.00040955 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3764-3_0_3_load_43 | 55 | 0.0014821 | 0.00037146 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3764-3_0_3_load_79 | 56 | 0.00094028 | 0.00023566 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3764-3_0_3_load_41 | 57 | 0.0013039 | 0.00032678 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3764-3_0_3_load_88 | 58 | 0.0013957 | 0.00034978 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3764-3_0_3_load_31 | 59 | 0.0015317 | 0.00038388 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3764-3_0_3_load_32 | 60 | 0.0029293 | 0.00073416 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3764-3_0_3_load_33 | 61 | 0.0088026 | 0.0022061 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3764-3_0_3_load_34 | 62 | 0.0024077 | 0.00060344 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3764-3_0_3_load_59 | 64 | 0.0049424 | 0.0012387 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3764-3_0_3_load_55 | 65 | 0.0018516 | 0.00046405 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3764-3_0_3_load_86 | 66 | 0.0040547 | 0.0010162 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3764-3_0_3_load_38 | 67 | 0.0015284 | 0.00038305 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3764-3_0_3_load_48 | 68 | 0.0023552 | 0.00059026 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3764-3_0_3_load_46 | 69 | 0.0016775 | 0.00042043 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3764-3_0_3_load_42 | 70 | 0.00074277 | 0.00018616 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3764-3_0_3_load_44 | 71 | 0.00069621 | 0.00017449 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3764-3_0_3_load_49 | 72 | 0.0022454 | 0.00056275 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3764-3_0_3_load_50 | 73 | 0.00092594 | 0.00023206 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3764-3_0_3_load_52 | 75 | 0.00071542 | 0.0001793 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3764-3_0_3_load_53 | 76 | 0.001816 | 0.00045512 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3764-3_0_3_load_54 | 77 | 0.001276 | 0.0003198 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3764-3_0_3_load_69 | 78 | 0.004642 | 0.0011634 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3764-3_0_3_load_66 | 79 | 0.001725 | 0.00043233 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3764-3_0_3_load_67 | 80 | 0.0014275 | 0.00035776 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3764-3_0_3_load_57 | 81 | 0.005991 | 0.0015015 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3764-3_0_3_load_94 | 82 | 0.0022868 | 0.00057312 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3764-3_0_3_load_60 | 83 | 0.0021286 | 0.00053348 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3764-3_0_3_load_61 | 84 | 0.0038818 | 0.00097287 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3764-3_0_3_load_63 | 86 | 0.00064907 | 0.00016267 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3764-3_0_3_load_74 | 89 | 0.0031801 | 0.000797 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3764-3_0_3_load_90 | 90 | 0.0024419 | 0.000612 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3764-3_0_3_load_75 | 91 | 0.0027598 | 0.00069168 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3764-3_0_3_load_101 | 92 | 0.0030916 | 0.00077483 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3764-3_0_3_load_80 | 93 | 0.0033109 | 0.0008298 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3764-3_0_3_load_76 | 94 | 0.0032866 | 0.00082371 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3764-3_0_3_load_77 | 95 | 0.0024473 | 0.00061336 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3764-3_0_3_load_102 | 97 | 0.0020493 | 0.00051361 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3764-3_0_3_load_99 | 98 | 0.006178 | 0.0015484 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3764-3_0_3_load_98 | 99 | 0.0082912 | 0.002078 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3764-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3764-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0028589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3764-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0057675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3764-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3764-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3764-3_0_3_line_5 | NAYY 4x150 SE | 4 | 9 | 0.0059788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3764-3_0_3_line_6 | NAYY 4x150 SE | 5 | 10 | 0.006558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3764-3_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.018156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3764-3_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.01298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3764-3_0_3_line_9 | NAYY 4x150 SE | 7 | 11 | 0.01965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3764-3_0_3_line_10 | NAYY 4x150 SE | 8 | 12 | 0.016084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3764-3_0_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.010877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3764-3_0_3_line_12 | NAYY 4x150 SE | 10 | 67 | 0.005374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3764-3_0_3_line_13 | NAYY 4x150 SE | 11 | 93 | 0.011366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3764-3_0_3_line_14 | NAYY 4x150 SE | 11 | 80 | 0.015905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3764-3_0_3_line_15 | NAYY 4x150 SE | 12 | 56 | 0.019257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3764-3_0_3_line_16 | NAYY 4x150 SE | 12 | 53 | 0.025047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3764-3_0_3_line_17 | NAYY 4x150 SE | 13 | 99 | 0.0051476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3764-3_0_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.015428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3764-3_0_3_line_19 | NAYY 4x150 SE | 15 | 92 | 0.011161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3764-3_0_3_line_20 | NAYY 4x150 SE | 15 | 88 | 0.013423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3764-3_0_3_line_21 | NAYY 4x150 SE | 16 | 17 | 0.0085455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3764-3_0_3_line_22 | NAYY 4x150 SE | 16 | 18 | 0.016803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3764-3_0_3_line_23 | NAYY 4x150 SE | 17 | 19 | 0.0047145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3764-3_0_3_line_24 | NAYY 4x150 SE | 18 | 20 | 0.016794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3764-3_0_3_line_25 | NAYY 4x150 SE | 18 | 21 | 0.0078441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3764-3_0_3_line_26 | NAYY 4x150 SE | 19 | 22 | 0.0024424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3764-3_0_3_line_27 | NAYY 4x150 SE | 20 | 23 | 0.0048845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3764-3_0_3_line_28 | NAYY 4x150 SE | 21 | 24 | 0.024079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3764-3_0_3_line_29 | NAYY 4x150 SE | 22 | 25 | 0.0066696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3764-3_0_3_line_30 | NAYY 4x150 SE | 23 | 26 | 0.0046648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3764-3_0_3_line_31 | NAYY 4x150 SE | 25 | 44 | 0.011414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3764-3_0_3_line_32 | NAYY 4x150 SE | 26 | 68 | 0.0035306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3764-3_0_3_line_33 | NAYY 4x150 SE | 27 | 28 | 0.023639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3764-3_0_3_line_34 | NAYY 4x150 SE | 27 | 29 | 0.0046595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3764-3_0_3_line_35 | NAYY 4x150 SE | 28 | 30 | 0.0023776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3764-3_0_3_line_36 | NAYY 4x150 SE | 29 | 31 | 0.26434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3764-3_0_3_line_37 | NAYY 4x150 SE | 30 | 32 | 0.015966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3764-3_0_3_line_38 | NAYY 4x150 SE | 31 | 33 | 0.032852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3764-3_0_3_line_39 | NAYY 4x150 SE | 32 | 34 | 0.0030912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3764-3_0_3_line_40 | NAYY 4x150 SE | 34 | 53 | 0.020297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3764-3_0_3_line_41 | NAYY 4x150 SE | 35 | 36 | 0.011137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3764-3_0_3_line_42 | NAYY 4x150 SE | 35 | 37 | 0.013574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3764-3_0_3_line_43 | NAYY 4x150 SE | 36 | 38 | 0.0069791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3764-3_0_3_line_44 | NAYY 4x150 SE | 38 | 39 | 0.010286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3764-3_0_3_line_45 | NAYY 4x150 SE | 39 | 42 | 0.0059423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3764-3_0_3_line_46 | NAYY 4x150 SE | 40 | 41 | 0.012857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3764-3_0_3_line_47 | NAYY 4x150 SE | 41 | 43 | 0.010922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3764-3_0_3_line_48 | NAYY 4x150 SE | 42 | 90 | 0.0068083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3764-3_0_3_line_49 | NAYY 4x150 SE | 43 | 69 | 0.0017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3764-3_0_3_line_50 | NAYY 4x150 SE | 44 | 45 | 0.002283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3764-3_0_3_line_51 | NAYY 4x150 SE | 44 | 46 | 0.024693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3764-3_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.027249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3764-3_0_3_line_53 | NAYY 4x150 SE | 45 | 48 | 0.0095326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3764-3_0_3_line_54 | NAYY 4x150 SE | 46 | 49 | 0.013715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3764-3_0_3_line_55 | NAYY 4x150 SE | 47 | 50 | 0.012449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3764-3_0_3_line_56 | NAYY 4x150 SE | 48 | 51 | 0.016273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3764-3_0_3_line_57 | NAYY 4x150 SE | 49 | 52 | 0.00075637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3764-3_0_3_line_58 | NAYY 4x150 SE | 50 | 58 | 0.025937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3764-3_0_3_line_59 | NAYY 4x150 SE | 50 | 54 | 0.012216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3764-3_0_3_line_60 | NAYY 4x150 SE | 51 | 67 | 0.010899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_3764-3_0_3_line_61 | NAYY 4x150 SE | 52 | 81 | 0.01354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3764-3_0_3_line_62 | NAYY 4x150 SE | 53 | 54 | 0.004619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3764-3_0_3_line_63 | NAYY 4x150 SE | 54 | 55 | 0.008466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3764-3_0_3_line_64 | NAYY 4x150 SE | 55 | 57 | 0.014132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3764-3_0_3_line_65 | NAYY 4x150 SE | 57 | 70 | 0.0018112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3764-3_0_3_line_66 | NAYY 4x150 SE | 58 | 66 | 0.0043768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3764-3_0_3_line_67 | NAYY 4x150 SE | 59 | 60 | 0.0066743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3764-3_0_3_line_68 | NAYY 4x150 SE | 59 | 61 | 0.012808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3764-3_0_3_line_69 | NAYY 4x150 SE | 60 | 62 | 0.0067471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3764-3_0_3_line_70 | NAYY 4x150 SE | 61 | 63 | 0.025474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3764-3_0_3_line_71 | NAYY 4x150 SE | 62 | 64 | 0.021767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3764-3_0_3_line_72 | NAYY 4x150 SE | 63 | 65 | 0.019923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3764-3_0_3_line_73 | NAYY 4x150 SE | 64 | 66 | 0.0060444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3764-3_0_3_line_74 | NAYY 4x150 SE | 68 | 69 | 0.0077628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3764-3_0_3_line_75 | NAYY 4x150 SE | 70 | 71 | 0.016029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3764-3_0_3_line_76 | NAYY 4x150 SE | 72 | 73 | 0.013528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3764-3_0_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.028288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3764-3_0_3_line_78 | NAYY 4x150 SE | 73 | 75 | 0.015616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3764-3_0_3_line_79 | NAYY 4x150 SE | 74 | 76 | 0.0048295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3764-3_0_3_line_80 | NAYY 4x150 SE | 74 | 77 | 0.034358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3764-3_0_3_line_81 | NAYY 4x150 SE | 75 | 78 | 0.0060177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3764-3_0_3_line_82 | NAYY 4x150 SE | 76 | 79 | 0.0097052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3764-3_0_3_line_83 | NAYY 4x150 SE | 79 | 80 | 0.0001917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3764-3_0_3_line_84 | NAYY 4x150 SE | 81 | 82 | 0.027195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3764-3_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.0063037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3764-3_0_3_line_86 | NAYY 4x150 SE | 83 | 85 | 0.015293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3764-3_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.019622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3764-3_0_3_line_88 | NAYY 4x150 SE | 85 | 87 | 0.009435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3764-3_0_3_line_89 | NAYY 4x150 SE | 85 | 88 | 0.011103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3764-3_0_3_line_90 | NAYY 4x150 SE | 87 | 89 | 0.021154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3764-3_0_3_line_91 | NAYY 4x150 SE | 88 | 90 | 0.02267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3764-3_0_3_line_92 | NAYY 4x150 SE | 89 | 91 | 0.0040216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3764-3_0_3_line_93 | NAYY 4x150 SE | 91 | 94 | 0.0032676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3764-3_0_3_line_94 | NAYY 4x150 SE | 92 | 98 | 0.012679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3764-3_0_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.010511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3764-3_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.054313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3764-3_0_3_line_97 | NAYY 4x150 SE | 96 | 97 | 0.031299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3764-3_0_3_line_98 | NAYY 4x150 SE | 98 | 99 | 0.013703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3764-3_0_3_trafo_36 | 0.25 MVA 20/0.4 kV | 100 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2827628.5144 | 1195261.4547 | 2827621.7056 | 1195252.0054
1 | 2827630.1858 | 1195263.7742 | 2827628.5144 | 1195261.4547
2 | 2827621.7056 | 1195252.0054 | 2827618.3338 | 1195247.3261
3 | 2827630.1858 | 1195263.7742 | 2827639.4611 | 1195266.6417 | 2827643.0673 | 1195273.1203
4 | 2827618.3338 | 1195247.3261 | 2827617.4099 | 1195246.0439 | 2827611.1116 | 1195237.3045
5 | 2827643.0673 | 1195273.1203 | 2827648.9086 | 1195274.3948
6 | 2827607.2773 | 1195231.9842 | 2827611.1116 | 1195237.3045
7 | 2827633.3442 | 1195238.5407 | 2827637.5548 | 1195238.9681 | 2827651.3973 | 1195240.4726
8 | 2827633.3442 | 1195238.5407 | 2827633.3203 | 1195225.5606
9 | 2827670.0705 | 1195246.0361 | 2827658.0397 | 1195241.1946 | 2827651.3973 | 1195240.4726
10 | 2827629.245 | 1195210.1494 | 2827633.314 | 1195222.1079 | 2827633.3203 | 1195225.5606
11 | 2827659.5353 | 1195276.7134 | 2827648.9086 | 1195274.3948
12 | 2827607.2773 | 1195231.9842 | 2827604.1352 | 1195227.6245
13 | 2827670.0705 | 1195246.0361 | 2827673.1048 | 1195235.0831
14 | 2827670.0705 | 1195246.0361 | 2827683.6046 | 1195251.469 | 2827684.7796 | 1195252.0734
15 | 2827629.245 | 1195210.1494 | 2827647.7518 | 1195215.4731
16 | 2827616.5591 | 1195188.6511 | 2827627.9346 | 1195206.2947 | 2827629.245 | 1195210.1494
17 | 2827659.5353 | 1195276.7134 | 2827664.5645 | 1195277.8107
18 | 2827662.368 | 1195307.8312 | 2827654.869 | 1195294.3482
19 | 2827662.368 | 1195307.8312 | 2827670.1719 | 1195299.8515 | 2827670.1719 | 1195299.8515
20 | 2827662.368 | 1195307.8312 | 2827661.0505 | 1195321.1866
21 | 2827546.1215 | 1195203.2121 | 2827549.6514 | 1195199.3309 | 2827551.5108 | 1195198.7898 | 2827552.8483 | 1195198.5292
22 | 2827534.8161 | 1195215.6426 | 2827546.1215 | 1195203.2121
23 | 2827552.8483 | 1195198.5292 | 2827552.8483 | 1195198.5292 | 2827557.3915 | 1195199.7885
24 | 2827534.8161 | 1195215.6426 | 2827547.3429 | 1195226.8278
25 | 2827534.8161 | 1195215.6426 | 2827529.1119 | 1195210.2582
26 | 2827559.7452 | 1195200.4409 | 2827557.3915 | 1195199.7885
27 | 2827550.9864 | 1195230.081 | 2827547.3429 | 1195226.8278
28 | 2827529.1119 | 1195210.2582 | 2827511.6015 | 1195193.7295
29 | 2827566.1724 | 1195202.2224 | 2827559.7452 | 1195200.4409
30 | 2827550.9864 | 1195230.081 | 2827554.4659 | 1195233.1879
31 | 2827576.4363 | 1195200.4175 | 2827573.3397 | 1195203.1921 | 2827568.0164 | 1195202.7335 | 2827566.1724 | 1195202.2224
32 | 2827557.0995 | 1195235.5394 | 2827554.4659 | 1195233.1879
33 | 2827678.8205 | 1195207.3221 | 2827657.1789 | 1195197.8125
34 | 2827683.0864 | 1195209.1966 | 2827678.8205 | 1195207.3221
35 | 2827655.0022 | 1195196.856 | 2827657.1789 | 1195197.8125
36 | 2827683.0864 | 1195209.1966 | 2827869.3836 | 1195021.6617
37 | 2827655.0022 | 1195196.856 | 2827653.0923 | 1195196.0167 | 2827639.4858 | 1195193.2735
38 | 2827846.5429 | 1194998.1039 | 2827857.3968 | 1195010.4502 | 2827869.3836 | 1195021.6617
39 | 2827636.4556 | 1195192.6625 | 2827639.4858 | 1195193.2735
40 | 2827616.5591 | 1195188.6511 | 2827636.4556 | 1195192.6625
41 | 2827613.1436 | 1195281.1322 | 2827620.1168 | 1195283.3489 | 2827623.444 | 1195285.2264
42 | 2827601.4966 | 1195274.4003 | 2827609.5404 | 1195279.9869 | 2827613.1436 | 1195281.1322
43 | 2827623.444 | 1195285.2264 | 2827629.5222 | 1195288.6562
44 | 2827637.952 | 1195294.387 | 2827635.9737 | 1195292.2966 | 2827629.5222 | 1195288.6562
45 | 2827637.952 | 1195294.387 | 2827642.0364 | 1195298.703
46 | 2827572.3049 | 1195249.1164 | 2827581.8953 | 1195257.6797
47 | 2827564.158 | 1195241.842 | 2827572.3049 | 1195249.1164
48 | 2827646.7161 | 1195303.6481 | 2827642.0364 | 1195298.703
49 | 2827564.158 | 1195241.842 | 2827562.8899 | 1195240.7098
50 | 2827576.4363 | 1195200.4175 | 2827578.1805 | 1195201.8968
51 | 2827576.4363 | 1195200.4175 | 2827557.6052 | 1195184.4446
52 | 2827578.1805 | 1195201.8968 | 2827584.2618 | 1195195.2754 | 2827586.8869 | 1195194.8636 | 2827590.5909 | 1195195.572 | 2827592.0943 | 1195195.162 | 2827592.9425 | 1195194.3266 | 2827598.0399 | 1195186.811
53 | 2827578.1805 | 1195201.8968 | 2827585.4501 | 1195208.0632
54 | 2827547.1458 | 1195175.5727 | 2827557.6052 | 1195184.4446
55 | 2827605.0276 | 1195176.5085 | 2827598.0399 | 1195186.811
56 | 2827585.4501 | 1195208.0632 | 2827594.0269 | 1195215.3384 | 2827597.3417 | 1195219.1172
57 | 2827547.1458 | 1195175.5727 | 2827546.569 | 1195175.0835
58 | 2827605.0276 | 1195176.5085 | 2827602.587 | 1195174.2795 | 2827592.6638 | 1195166.5814 | 2827587.7421 | 1195163.5905 | 2827583.9497 | 1195161.5348
59 | 2827605.0276 | 1195176.5085 | 2827614.0597 | 1195184.7623
60 | 2827597.3417 | 1195219.1172 | 2827601.054 | 1195223.349 | 2827604.1352 | 1195227.6245
61 | 2827546.569 | 1195175.0835 | 2827533.6449 | 1195171.0447
62 | 2827616.5591 | 1195188.6511 | 2827614.0597 | 1195184.7623
63 | 2827614.0597 | 1195184.7623 | 2827612.4016 | 1195176.4602
64 | 2827612.4016 | 1195176.4602 | 2827611.7849 | 1195173.3727 | 2827606.1845 | 1195163.9245
65 | 2827605.261 | 1195162.3664 | 2827606.1845 | 1195163.9245
66 | 2827583.9497 | 1195161.5348 | 2827580.2591 | 1195159.5342 | 2827580.1007 | 1195159.4511
67 | 2827548.4567 | 1195145.6475 | 2827542.3238 | 1195143.0143
68 | 2827530.5544 | 1195137.9612 | 2827542.3238 | 1195143.0143
69 | 2827548.4567 | 1195145.6475 | 2827553.5576 | 1195147.8375 | 2827554.6687 | 1195148.28
70 | 2827506.7049 | 1195129.1438 | 2827516.9078 | 1195132.1021 | 2827530.5544 | 1195137.9612
71 | 2827554.6687 | 1195148.28 | 2827571.8437 | 1195155.1198 | 2827574.748 | 1195156.6433
72 | 2827506.7049 | 1195129.1438 | 2827519.4307 | 1195144.4735
73 | 2827580.1007 | 1195159.4511 | 2827574.748 | 1195156.6433
74 | 2827557.0995 | 1195235.5394 | 2827562.8899 | 1195240.7098
75 | 2827605.261 | 1195162.3664 | 2827605.261 | 1195162.3664 | 2827596.4129 | 1195149.0009
76 | 2827716.4159 | 1195279.887 | 2827721.5818 | 1195287.0029 | 2827723.5255 | 1195291.3205
77 | 2827697.8748 | 1195258.81 | 2827705.8582 | 1195265.3442 | 2827716.4159 | 1195279.887
78 | 2827723.5255 | 1195291.3205 | 2827729.9358 | 1195305.56
79 | 2827697.8748 | 1195258.81 | 2827693.5802 | 1195256.6008
80 | 2827697.8748 | 1195258.81 | 2827727.587 | 1195258.151 | 2827732.1055 | 1195259.2003
81 | 2827732.4061 | 1195311.0473 | 2827729.9358 | 1195305.56
82 | 2827684.95 | 1195252.1611 | 2827693.5802 | 1195256.6008
83 | 2827684.95 | 1195252.1611 | 2827684.7796 | 1195252.0734
84 | 2827507.6878 | 1195162.9331 | 2827533.6449 | 1195171.0447
85 | 2827678.1945 | 1195325.751 | 2827681.66 | 1195323.3401 | 2827683.6865 | 1195323.8178 | 2827683.6865 | 1195323.8178
86 | 2827664.2775 | 1195331.8115 | 2827674.7161 | 1195328.1708 | 2827678.1945 | 1195325.751
87 | 2827697.5984 | 1195337.6549 | 2827683.6865 | 1195323.8178
88 | 2827664.2775 | 1195331.8115 | 2827666.6367 | 1195339.5776 | 2827667.0545 | 1195340.8284
89 | 2827664.2775 | 1195331.8115 | 2827661.0505 | 1195321.1866
90 | 2827667.0545 | 1195340.8284 | 2827656.9892 | 1195346.2856 | 2827649.1594 | 1195340.5523
91 | 2827661.0505 | 1195321.1866 | 2827650.5106 | 1195307.6577 | 2827646.7161 | 1195303.6481
92 | 2827649.1594 | 1195340.5523 | 2827645.9147 | 1195338.1764
93 | 2827643.533 | 1195340.4135 | 2827645.9147 | 1195338.1764 | 2827645.9147 | 1195338.1764
94 | 2827670.1719 | 1195299.8515 | 2827673.4559 | 1195288.7515 | 2827673.0813 | 1195287.7133
95 | 2827643.533 | 1195340.4135 | 2827635.8716 | 1195347.6096
96 | 2827627.8615 | 1195391.901 | 2827620.653 | 1195378.4434 | 2827617.3313 | 1195368.9051 | 2827618.5053 | 1195363.9213 | 2827635.8716 | 1195347.6096
97 | 2827627.8615 | 1195391.901 | 2827615.0044 | 1195381.321 | 2827609.7023 | 1195375.5009 | 2827606.0301 | 1195369.7541
98 | 2827673.0813 | 1195287.7133 | 2827671.1441 | 1195282.3445 | 2827666.3621 | 1195278.8916 | 2827664.5645 | 1195277.8107 | 2827664.5645 | 1195277.8107

## bus_geodata
| x | y | coords
0 | 2827628.5144 | 1195261.4547
1 | 2827621.7056 | 1195252.0054
2 | 2827630.1858 | 1195263.7742
3 | 2827618.3338 | 1195247.3261
4 | 2827643.0673 | 1195273.1203
5 | 2827611.1116 | 1195237.3045
6 | 2827633.3442 | 1195238.5407
7 | 2827651.3973 | 1195240.4726
8 | 2827633.3203 | 1195225.5606
9 | 2827648.9086 | 1195274.3948
10 | 2827607.2773 | 1195231.9842
11 | 2827670.0705 | 1195246.0361
12 | 2827629.245 | 1195210.1494
13 | 2827659.5353 | 1195276.7134
14 | 2827654.869 | 1195294.3482
15 | 2827662.368 | 1195307.8312
16 | 2827546.1215 | 1195203.2121
17 | 2827552.8483 | 1195198.5292
18 | 2827534.8161 | 1195215.6426
19 | 2827557.3915 | 1195199.7885
20 | 2827547.3429 | 1195226.8278
21 | 2827529.1119 | 1195210.2582
22 | 2827559.7452 | 1195200.4409
23 | 2827550.9864 | 1195230.081
24 | 2827511.6015 | 1195193.7295
25 | 2827566.1724 | 1195202.2224
26 | 2827554.4659 | 1195233.1879
27 | 2827678.8205 | 1195207.3221
28 | 2827657.1789 | 1195197.8125
29 | 2827683.0864 | 1195209.1966
30 | 2827655.0022 | 1195196.856
31 | 2827869.3836 | 1195021.6617
32 | 2827639.4858 | 1195193.2735
33 | 2827846.5429 | 1194998.1039
34 | 2827636.4556 | 1195192.6625
35 | 2827613.1436 | 1195281.1322
36 | 2827623.444 | 1195285.2264
37 | 2827601.4966 | 1195274.4003
38 | 2827629.5222 | 1195288.6562
39 | 2827637.952 | 1195294.387
40 | 2827581.8953 | 1195257.6797
41 | 2827572.3049 | 1195249.1164
42 | 2827642.0364 | 1195298.703
43 | 2827564.158 | 1195241.842
44 | 2827576.4363 | 1195200.4175
45 | 2827578.1805 | 1195201.8968
46 | 2827557.6052 | 1195184.4446
47 | 2827598.0399 | 1195186.811
48 | 2827585.4501 | 1195208.0632
49 | 2827547.1458 | 1195175.5727
50 | 2827605.0276 | 1195176.5085
51 | 2827597.3417 | 1195219.1172
52 | 2827546.569 | 1195175.0835
53 | 2827616.5591 | 1195188.6511
54 | 2827614.0597 | 1195184.7623
55 | 2827612.4016 | 1195176.4602
56 | 2827647.7518 | 1195215.4731
57 | 2827606.1845 | 1195163.9245
58 | 2827583.9497 | 1195161.5348
59 | 2827542.3238 | 1195143.0143
60 | 2827548.4567 | 1195145.6475
61 | 2827530.5544 | 1195137.9612
62 | 2827554.6687 | 1195148.28
63 | 2827506.7049 | 1195129.1438
64 | 2827574.748 | 1195156.6433
65 | 2827519.4307 | 1195144.4735
66 | 2827580.1007 | 1195159.4511
67 | 2827604.1352 | 1195227.6245
68 | 2827557.0995 | 1195235.5394
69 | 2827562.8899 | 1195240.7098
70 | 2827605.261 | 1195162.3664
71 | 2827596.4129 | 1195149.0009
72 | 2827716.4159 | 1195279.887
73 | 2827723.5255 | 1195291.3205
74 | 2827697.8748 | 1195258.81
75 | 2827729.9358 | 1195305.56
76 | 2827693.5802 | 1195256.6008
77 | 2827732.1055 | 1195259.2003
78 | 2827732.4061 | 1195311.0473
79 | 2827684.95 | 1195252.1611
80 | 2827684.7796 | 1195252.0734
81 | 2827533.6449 | 1195171.0447
82 | 2827507.6878 | 1195162.9331
83 | 2827678.1945 | 1195325.751
84 | 2827683.6865 | 1195323.8178
85 | 2827664.2775 | 1195331.8115
86 | 2827697.5984 | 1195337.6549
87 | 2827667.0545 | 1195340.8284
88 | 2827661.0505 | 1195321.1866
89 | 2827649.1594 | 1195340.5523
90 | 2827646.7161 | 1195303.6481
91 | 2827645.9147 | 1195338.1764
92 | 2827670.1719 | 1195299.8515
93 | 2827673.1048 | 1195235.0831
94 | 2827643.533 | 1195340.4135
95 | 2827635.8716 | 1195347.6096
96 | 2827627.8615 | 1195391.901
97 | 2827606.0301 | 1195369.7541
98 | 2827673.0813 | 1195287.7133
99 | 2827664.5645 | 1195277.8107
100 | 2827630.1858 | 1195263.7742

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1