## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3764-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3764-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3764-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3764-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3764-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3764-7_0_3_node_80 | 0.4 | n |  | TRUE
6 | bus_LV_3764-7_0_3_node_107 | 0.4 | n |  | TRUE
7 | bus_LV_3764-7_0_3_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_3764-7_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_3764-7_0_3_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_3764-7_0_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_3764-7_0_3_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_3764-7_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_3764-7_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3764-7_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3764-7_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3764-7_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3764-7_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3764-7_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3764-7_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3764-7_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3764-7_0_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_3764-7_0_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_3764-7_0_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_3764-7_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_3764-7_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3764-7_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3764-7_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3764-7_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_3764-7_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_3764-7_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3764-7_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_3764-7_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_3764-7_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_3764-7_0_3_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_3764-7_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3764-7_0_3_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_3764-7_0_3_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_3764-7_0_3_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_3764-7_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_3764-7_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3764-7_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_3764-7_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_3764-7_0_3_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_3764-7_0_3_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_3764-7_0_3_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_3764-7_0_3_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_3764-7_0_3_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_3764-7_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_3764-7_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_3764-7_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_3764-7_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_3764-7_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_3764-7_0_3_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_3764-7_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_3764-7_0_3_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_3764-7_0_3_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_3764-7_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_3764-7_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_3764-7_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_3764-7_0_3_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_3764-7_0_3_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_3764-7_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_3764-7_0_3_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_3764-7_0_3_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_3764-7_0_3_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_3764-7_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_3764-7_0_3_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_3764-7_0_3_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_3764-7_0_3_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_3764-7_0_3_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_3764-7_0_3_node_97 | 0.4 | n |  | TRUE
72 | bus_LV_3764-7_0_3_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_3764-7_0_3_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_3764-7_0_3_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_3764-7_0_3_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_3764-7_0_3_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_3764-7_0_3_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_3764-7_0_3_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_3764-7_0_3_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_3764-7_0_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_3764-7_0_3_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_3764-7_0_3_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_3764-7_0_3_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_3764-7_0_3_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_3764-7_0_3_node_98 | 0.4 | n |  | TRUE
86 | bus_LV_3764-7_0_3_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_3764-7_0_3_node_99 | 0.4 | n |  | TRUE
88 | bus_LV_3764-7_0_3_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_3764-7_0_3_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_3764-7_0_3_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_3764-7_0_3_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_3764-7_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_3764-7_0_3_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_3764-7_0_3_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_3764-7_0_3_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_3764-7_0_3_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_3764-7_0_3_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_3764-7_0_3_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_3764-7_0_3_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_3764-7_0_3_node_104 | 0.4 | n |  | TRUE
101 | bus_LV_3764-7_0_3_node_105 | 0.4 | n |  | TRUE
102 | bus_LV_3764-7_0_3_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_3764-7_0_3_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_3764-7_0_3_node_106 | 0.4 | n |  | TRUE
105 | bus_LV_3764-7_0_3_node_103 | 0.4 | n |  | TRUE
106 | bus_LV_3764-7_0_3_node_109 | 0.4 | n |  | TRUE
107 | bus_LV_3764-7_0_3_node_108 | 0.4 | n |  | TRUE
108 | bus_MV_170_0_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3764-7_0_3_load_0 | 0 | 0.0035229 | 0.00088291 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3764-7_0_3_load_1 | 1 | 0.0013211 | 0.0003311 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3764-7_0_3_load_2 | 2 | 0.0013158 | 0.00032978 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3764-7_0_3_load_3 | 3 | 0.001434 | 0.00035939 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3764-7_0_3_load_80 | 5 | 0.0015287 | 0.00038314 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3764-7_0_3_load_107 | 6 | 0.0016531 | 0.00041431 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3764-7_0_3_load_96 | 7 | 0.0015147 | 0.00037963 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3764-7_0_3_load_31 | 8 | 0.0012355 | 0.00030964 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3764-7_0_3_load_76 | 11 | 0.0026364 | 0.00066073 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3764-7_0_3_load_5 | 12 | 0.0034943 | 0.00087576 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3764-7_0_3_load_6 | 13 | 0.0029782 | 0.0007464 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3764-7_0_3_load_7 | 14 | 0.0016345 | 0.00040965 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3764-7_0_3_load_8 | 15 | 0.0027704 | 0.00069433 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3764-7_0_3_load_9 | 16 | 0.0020818 | 0.00052174 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3764-7_0_3_load_10 | 17 | 0.0068906 | 0.0017269 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3764-7_0_3_load_11 | 18 | 0.0013575 | 0.00034023 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3764-7_0_3_load_12 | 19 | 0.0013745 | 0.00034449 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3764-7_0_3_load_32 | 21 | 0.00072584 | 0.00018191 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3764-7_0_3_load_28 | 22 | 0.0018183 | 0.00045571 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3764-7_0_3_load_43 | 23 | 0.0021421 | 0.00053686 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3764-7_0_3_load_14 | 25 | 0.0014281 | 0.00035792 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3764-7_0_3_load_15 | 26 | 0.00030243 | 7.5797e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3764-7_0_3_load_16 | 27 | 0.0028977 | 0.00072622 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3764-7_0_3_load_38 | 28 | 0.0021323 | 0.00053439 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3764-7_0_3_load_18 | 30 | 0.0017536 | 0.00043949 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3764-7_0_3_load_19 | 31 | 0.0010897 | 0.00027311 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3764-7_0_3_load_21 | 33 | 0.0049599 | 0.0012431 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3764-7_0_3_load_85 | 34 | 0.0013876 | 0.00034777 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3764-7_0_3_load_22 | 35 | 0.0024944 | 0.00062516 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3764-7_0_3_load_82 | 36 | 0.0016135 | 0.00040439 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3764-7_0_3_load_86 | 37 | 0.00048103 | 0.00012056 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3764-7_0_3_load_81 | 38 | 0.0024214 | 0.00060686 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3764-7_0_3_load_23 | 39 | 0.0020898 | 0.00052375 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3764-7_0_3_load_24 | 40 | 0.0028212 | 0.00070707 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3764-7_0_3_load_25 | 41 | 0.00096019 | 0.00024065 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3764-7_0_3_load_27 | 42 | 0.0018117 | 0.00045405 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3764-7_0_3_load_72 | 43 | 0.0011964 | 0.00029985 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3764-7_0_3_load_71 | 45 | 0.0017587 | 0.00044076 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3764-7_0_3_load_74 | 46 | 0.0020713 | 0.0005191 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3764-7_0_3_load_75 | 47 | 0.00077141 | 0.00019333 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3764-7_0_3_load_30 | 48 | 0.0013977 | 0.0003503 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3764-7_0_3_load_52 | 49 | 0.0014512 | 0.00036371 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3764-7_0_3_load_51 | 50 | 0.0015178 | 0.0003804 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3764-7_0_3_load_42 | 51 | 0.0031454 | 0.00078831 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3764-7_0_3_load_33 | 52 | 0.0023838 | 0.00059743 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3764-7_0_3_load_34 | 53 | 0.0041198 | 0.0010325 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3764-7_0_3_load_35 | 54 | 0.0025634 | 0.00064244 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3764-7_0_3_load_37 | 55 | 0.00075506 | 0.00018923 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3764-7_0_3_load_62 | 56 | 0.0014995 | 0.00037582 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3764-7_0_3_load_50 | 57 | 0.0025777 | 0.00064604 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3764-7_0_3_load_61 | 58 | 0.0016695 | 0.00041841 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3764-7_0_3_load_63 | 59 | 0.00087213 | 0.00021858 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3764-7_0_3_load_41 | 61 | 0.0013549 | 0.00033957 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3764-7_0_3_load_47 | 62 | 0.0013726 | 0.000344 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3764-7_0_3_load_70 | 63 | 0.0013827 | 0.00034654 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3764-7_0_3_load_90 | 64 | 0.0014172 | 0.00035517 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3764-7_0_3_load_46 | 65 | 0.0015031 | 0.00037672 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3764-7_0_3_load_69 | 66 | 0.0011518 | 0.00028867 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3764-7_0_3_load_44 | 67 | 0.0019977 | 0.00050068 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3764-7_0_3_load_45 | 68 | 0.0026338 | 0.00066008 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3764-7_0_3_load_48 | 69 | 0.00094716 | 0.00023738 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3764-7_0_3_load_49 | 70 | 0.0013083 | 0.0003279 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3764-7_0_3_load_97 | 71 | 0.00098344 | 0.00024647 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3764-7_0_3_load_59 | 72 | 0.0012476 | 0.00031269 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3764-7_0_3_load_53 | 73 | 0.0012476 | 0.00031269 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3764-7_0_3_load_54 | 74 | 0.0020123 | 0.00050433 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3764-7_0_3_load_55 | 75 | 0.0026503 | 0.00066422 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3764-7_0_3_load_56 | 76 | 0.0014391 | 0.00036067 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3764-7_0_3_load_57 | 77 | 0.0033882 | 0.00084917 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3764-7_0_3_load_58 | 78 | 0.0016448 | 0.00041223 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3764-7_0_3_load_60 | 79 | 0.0027079 | 0.00067865 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3764-7_0_3_load_64 | 80 | 0.002697 | 0.00067593 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3764-7_0_3_load_65 | 81 | 0.0029061 | 0.00072833 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3764-7_0_3_load_66 | 82 | 0.0011937 | 0.00029918 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3764-7_0_3_load_67 | 83 | 0.0026061 | 0.00065314 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3764-7_0_3_load_68 | 84 | 0.0025171 | 0.00063085 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3764-7_0_3_load_98 | 85 | 0.0013358 | 0.00033479 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3764-7_0_3_load_94 | 86 | 0.001306 | 0.00032731 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3764-7_0_3_load_99 | 87 | 0.002578 | 0.00064612 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3764-7_0_3_load_92 | 88 | 0.0022618 | 0.00056687 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3764-7_0_3_load_77 | 89 | 0.0016439 | 0.000412 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3764-7_0_3_load_79 | 90 | 0.001515 | 0.00037969 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3764-7_0_3_load_87 | 91 | 0.00094979 | 0.00023804 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3764-7_0_3_load_88 | 92 | 0.0011667 | 0.00029241 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3764-7_0_3_load_83 | 93 | 0.0019847 | 0.00049742 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3764-7_0_3_load_84 | 94 | 0.0025798 | 0.00064656 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3764-7_0_3_load_95 | 95 | 0.0026344 | 0.00066024 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3764-7_0_3_load_89 | 96 | 0.0029379 | 0.00073629 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3764-7_0_3_load_91 | 97 | 0.0028843 | 0.00072287 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3764-7_0_3_load_93 | 98 | 0.001323 | 0.00033157 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3764-7_0_3_load_100 | 99 | 0.0044622 | 0.0011183 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3764-7_0_3_load_104 | 100 | 0.0019308 | 0.00048391 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3764-7_0_3_load_105 | 101 | 0.0016664 | 0.00041763 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3764-7_0_3_load_101 | 102 | 0.002325 | 0.00058271 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3764-7_0_3_load_102 | 103 | 0.0012013 | 0.00030107 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3764-7_0_3_load_108 | 107 | 0.0019548 | 0.00048992 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3764-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_3764-7_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0078157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_3764-7_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0046153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_3764-7_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_3764-7_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0062519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_3764-7_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.031518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_3764-7_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0048506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3764-7_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0091016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_3764-7_0_3_line_8 | NAYY 4x150 SE | 7 | 71 | 0.0071039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3764-7_0_3_line_9 | NAYY 4x150 SE | 8 | 24 | 0.0023352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_3764-7_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.005806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3764-7_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.024464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3764-7_0_3_line_12 | NAYY 4x150 SE | 10 | 43 | 0.0029311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3764-7_0_3_line_13 | NAYY 4x150 SE | 10 | 40 | 0.011496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3764-7_0_3_line_14 | NAYY 4x150 SE | 11 | 89 | 0.015493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3764-7_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.01357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3764-7_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.015811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3764-7_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.0098032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3764-7_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0098102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3764-7_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.001963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3764-7_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0093827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3764-7_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.0087805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3764-7_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.01283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3764-7_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.040059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3764-7_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.022897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_3764-7_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0028463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3764-7_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0040784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3764-7_0_3_line_27 | NAYY 4x150 SE | 23 | 51 | 0.003242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3764-7_0_3_line_28 | NAYY 4x150 SE | 24 | 48 | 0.0081444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3764-7_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.01268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3764-7_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.026726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3764-7_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.063086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3764-7_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.096661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3764-7_0_3_line_33 | NAYY 4x150 SE | 29 | 60 | 0.006364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3764-7_0_3_line_34 | NAYY 4x150 SE | 29 | 61 | 0.033286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3764-7_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.026402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3764-7_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.041049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3764-7_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.029255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3764-7_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.045147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3764-7_0_3_line_39 | NAYY 4x150 SE | 34 | 37 | 0.020716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3764-7_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.010245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3764-7_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.0054266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3764-7_0_3_line_42 | NAYY 4x150 SE | 37 | 64 | 0.011194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3764-7_0_3_line_43 | NAYY 4x150 SE | 38 | 93 | 0.0026636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3764-7_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.017493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3764-7_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.0020071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3764-7_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.010439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3764-7_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.0046003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3764-7_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0098535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3764-7_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.035658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3764-7_0_3_line_50 | NAYY 4x150 SE | 44 | 47 | 0.0068983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3764-7_0_3_line_51 | NAYY 4x150 SE | 45 | 68 | 0.020993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3764-7_0_3_line_52 | NAYY 4x150 SE | 46 | 85 | 0.012805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3764-7_0_3_line_53 | NAYY 4x150 SE | 47 | 86 | 0.0014805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3764-7_0_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.014542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3764-7_0_3_line_55 | NAYY 4x150 SE | 49 | 50 | 0.0015766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3764-7_0_3_line_56 | NAYY 4x150 SE | 50 | 73 | 0.0081523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3764-7_0_3_line_57 | NAYY 4x150 SE | 51 | 67 | 0.0094894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3764-7_0_3_line_58 | NAYY 4x150 SE | 52 | 53 | 0.028575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3764-7_0_3_line_59 | NAYY 4x150 SE | 52 | 54 | 0.0064448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3764-7_0_3_line_60 | NAYY 4x150 SE | 54 | 55 | 0.02903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3764-7_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.0085324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3764-7_0_3_line_62 | NAYY 4x150 SE | 56 | 59 | 0.016714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3764-7_0_3_line_63 | NAYY 4x150 SE | 57 | 58 | 0.0094025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3764-7_0_3_line_64 | NAYY 4x150 SE | 58 | 72 | 0.0092149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3764-7_0_3_line_65 | NAYY 4x150 SE | 59 | 74 | 0.012543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3764-7_0_3_line_66 | NAYY 4x150 SE | 60 | 62 | 0.004038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3764-7_0_3_line_67 | NAYY 4x150 SE | 60 | 63 | 0.016248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3764-7_0_3_line_68 | NAYY 4x150 SE | 61 | 64 | 0.0089158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3764-7_0_3_line_69 | NAYY 4x150 SE | 62 | 65 | 0.012754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3764-7_0_3_line_70 | NAYY 4x150 SE | 63 | 66 | 0.0090324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3764-7_0_3_line_71 | NAYY 4x150 SE | 65 | 69 | 0.010843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3764-7_0_3_line_72 | NAYY 4x150 SE | 66 | 84 | 0.0058995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3764-7_0_3_line_73 | NAYY 4x150 SE | 67 | 68 | 0.0057939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3764-7_0_3_line_74 | NAYY 4x150 SE | 69 | 70 | 0.013163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3764-7_0_3_line_75 | NAYY 4x150 SE | 70 | 71 | 0.0061371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3764-7_0_3_line_76 | NAYY 4x150 SE | 72 | 77 | 0.0010085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3764-7_0_3_line_77 | NAYY 4x150 SE | 73 | 74 | 0.0014368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3764-7_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0090386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3764-7_0_3_line_79 | NAYY 4x150 SE | 75 | 77 | 0.028514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3764-7_0_3_line_80 | NAYY 4x150 SE | 76 | 78 | 0.0095243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3764-7_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.0038585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3764-7_0_3_line_82 | NAYY 4x150 SE | 79 | 80 | 0.010004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3764-7_0_3_line_83 | NAYY 4x150 SE | 80 | 81 | 0.020935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3764-7_0_3_line_84 | NAYY 4x150 SE | 81 | 82 | 0.0030389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3764-7_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.016326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3764-7_0_3_line_86 | NAYY 4x150 SE | 83 | 84 | 0.020484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3764-7_0_3_line_87 | NAYY 4x150 SE | 85 | 87 | 0.034779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3764-7_0_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.01869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3764-7_0_3_line_89 | NAYY 4x150 SE | 87 | 99 | 0.021979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3764-7_0_3_line_90 | NAYY 4x150 SE | 88 | 97 | 0.0065406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3764-7_0_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0032544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3764-7_0_3_line_92 | NAYY 4x150 SE | 90 | 91 | 0.0053451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3764-7_0_3_line_93 | NAYY 4x150 SE | 91 | 92 | 0.011385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3764-7_0_3_line_94 | NAYY 4x150 SE | 92 | 96 | 0.0083446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3764-7_0_3_line_95 | NAYY 4x150 SE | 93 | 94 | 0.011064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3764-7_0_3_line_96 | NAYY 4x150 SE | 94 | 95 | 0.018034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3764-7_0_3_line_97 | NAYY 4x150 SE | 95 | 96 | 0.0026245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3764-7_0_3_line_98 | NAYY 4x150 SE | 97 | 98 | 0.0046304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3764-7_0_3_line_99 | NAYY 4x150 SE | 99 | 100 | 0.0020807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3764-7_0_3_line_100 | NAYY 4x150 SE | 100 | 101 | 0.033254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3764-7_0_3_line_101 | NAYY 4x150 SE | 101 | 104 | 0.085326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3764-7_0_3_line_102 | NAYY 4x150 SE | 102 | 103 | 0.079895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3764-7_0_3_line_103 | NAYY 4x150 SE | 102 | 104 | 0.037883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3764-7_0_3_line_104 | NAYY 4x150 SE | 103 | 105 | 0.10844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3764-7_0_3_line_105 | NAYY 4x150 SE | 105 | 106 | 0.59576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3764-7_0_3_line_106 | NAYY 4x150 SE | 106 | 107 | 0.11766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3764-7_0_3_trafo_97 | 0.25 MVA 20/0.4 kV | 108 | 71 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2822996.1157 | 1192182.6078 | 2823001.6204 | 1192178.5172 | 2823009.6228 | 1192169.82
1 | 2822996.1157 | 1192182.6078 | 2822994.0366 | 1192184.1527 | 2822992.0173 | 1192188.9722 | 2822992.0173 | 1192188.9722
2 | 2823009.6228 | 1192169.82 | 2823010.5864 | 1192168.7728 | 2823013.3398 | 1192167.1575
3 | 2823018.1082 | 1192191.2024 | 2823003.8933 | 1192189.0035 | 2822992.0173 | 1192188.9722
4 | 2823013.3398 | 1192167.1575 | 2823018.7323 | 1192163.994
5 | 2823018.1082 | 1192191.2024 | 2822988.5458 | 1192195.6844 | 2822987.0622 | 1192196.3294
6 | 2823022.9161 | 1192161.5396 | 2823018.7323 | 1192163.994
7 | 2822978.7153 | 1192199.9582 | 2822987.0622 | 1192196.3294
8 | 2823022.9161 | 1192161.5396 | 2823029.0434 | 1192157.945
9 | 2822976.5738 | 1192200.8892 | 2822978.7153 | 1192199.9582
10 | 2823055.3057 | 1192214.294 | 2823059.0514 | 1192209.8503
11 | 2823059.0514 | 1192209.8503 | 2823068.9626 | 1192187.4841
12 | 2823055.3057 | 1192214.294 | 2823052.3851 | 1192214.0456
13 | 2823055.3057 | 1192214.294 | 2823066.6056 | 1192216.4083
14 | 2823068.9626 | 1192187.4841 | 2823070.6951 | 1192183.5745 | 2823073.2529 | 1192178.4414 | 2823076.7976 | 1192174.68 | 2823077.0072 | 1192174.4469
15 | 2822910.5374 | 1192246.7739 | 2822897.5812 | 1192250.8089
16 | 2822910.5374 | 1192246.7739 | 2822913.3113 | 1192245.9101 | 2822925.2232 | 1192240.9449
17 | 2822888.2214 | 1192253.7238 | 2822897.5812 | 1192250.8089
18 | 2822934.2782 | 1192237.1705 | 2822925.2232 | 1192240.9449
19 | 2822888.2214 | 1192253.7238 | 2822886.3472 | 1192254.3075
20 | 2822934.2782 | 1192237.1705 | 2822942.9386 | 1192233.5606
21 | 2822942.9386 | 1192233.5606 | 2822951.0433 | 1192230.1824
22 | 2822961.6158 | 1192223.326 | 2822957.2353 | 1192227.6014 | 2822951.0433 | 1192230.1824
23 | 2822961.6158 | 1192223.326 | 2822993.6072 | 1192214.9073 | 2823000.4665 | 1192213.6233
24 | 2822961.6158 | 1192223.326 | 2822968.1826 | 1192212.8245 | 2822974.2281 | 1192204.2256
25 | 2823003.2642 | 1192213.0996 | 2823000.4665 | 1192213.6233
26 | 2822976.5738 | 1192200.8892 | 2822974.2281 | 1192204.2256
27 | 2823006.4509 | 1192212.5031 | 2823003.2642 | 1192213.0996
28 | 2822976.5738 | 1192200.8892 | 2822968.4308 | 1192201.0423
29 | 2823061.5982 | 1191986.1032 | 2823051.0955 | 1191986.4497 | 2823048.9851 | 1191986.9624
30 | 2823087.021 | 1191978.4008 | 2823065.6551 | 1191985.9694 | 2823061.5982 | 1191986.1032
31 | 2823110.1694 | 1192037.0867 | 2823087.021 | 1191978.4008
32 | 2823049.7995 | 1192111.6421 | 2823067.3033 | 1192083.7938 | 2823090.6889 | 1192054.4074 | 2823101.7643 | 1192042.7615 | 2823110.1694 | 1192037.0867
33 | 2823048.779 | 1192117.9228 | 2823049.7995 | 1192111.6421
34 | 2823049.7995 | 1192111.6421 | 2823079.91 | 1192111.9199 | 2823083.0601 | 1192111.5279
35 | 2823231.3932 | 1192094.3426 | 2823248.4705 | 1192087.518 | 2823256.054 | 1192084.9329
36 | 2823193.2751 | 1192109.5757 | 2823231.3932 | 1192094.3426
37 | 2823193.2751 | 1192109.5757 | 2823189.825 | 1192103.028 | 2823180.8635 | 1192101.3919 | 2823170.4327 | 1192100.8803 | 2823168.1319 | 1192100.8921
38 | 2823168.1319 | 1192100.8921 | 2823157.5987 | 1192100.9464 | 2823136.6217 | 1192101.988 | 2823125.5227 | 1192103.6319 | 2823123.1735 | 1192104.0752
39 | 2823123.1735 | 1192104.0752 | 2823110.8551 | 1192106.3997 | 2823102.8607 | 1192108.1353
40 | 2823136.8604 | 1192142.6529 | 2823146.216 | 1192138.4779
41 | 2823131.9048 | 1192144.8644 | 2823136.8604 | 1192142.6529
42 | 2823102.8607 | 1192108.1353 | 2823092.8397 | 1192110.3109 | 2823091.9076 | 1192110.4269
43 | 2823131.9048 | 1192144.8644 | 2823129.4724 | 1192145.9499
44 | 2823081.8568 | 1192209.2992 | 2823080.1474 | 1192210.9266 | 2823073.6837 | 1192215.5914 | 2823067.3355 | 1192216.5449 | 2823066.6056 | 1192216.4083
45 | 2823083.3105 | 1192207.9153 | 2823081.8568 | 1192209.2992
46 | 2823083.3105 | 1192207.9153 | 2823090.8712 | 1192200.7173
47 | 2823094.2031 | 1192197.5452 | 2823090.8712 | 1192200.7173
48 | 2823052.3851 | 1192214.0456 | 2823042.5671 | 1192213.2105
49 | 2823094.2031 | 1192197.5452 | 2823129.8552 | 1192198.1716
50 | 2823094.2031 | 1192197.5452 | 2823099.8899 | 1192193.6404
51 | 2823021.6407 | 1192211.6117 | 2823024.086 | 1192211.6387 | 2823042.5671 | 1192213.2105
52 | 2823142.2714 | 1192195.5271 | 2823133.0761 | 1192198.2281 | 2823129.8552 | 1192198.1716
53 | 2823101.1103 | 1192192.8024 | 2823099.8899 | 1192193.6404
54 | 2822954.0278 | 1192202.4239 | 2822956.4473 | 1192201.6517 | 2822964.673 | 1192201.1129 | 2822968.4308 | 1192201.0423
55 | 2822952.5258 | 1192202.9032 | 2822954.0278 | 1192202.4239
56 | 2822952.5258 | 1192202.9032 | 2822944.7595 | 1192205.3819
57 | 2823006.4509 | 1192212.5031 | 2823011.7941 | 1192211.5029 | 2823015.8472 | 1192211.5477
58 | 2822844.128 | 1192197.0307 | 2822872.1545 | 1192202.5999
59 | 2822878.4758 | 1192203.8561 | 2822872.1545 | 1192202.5999
60 | 2822878.4758 | 1192203.8561 | 2822906.9494 | 1192209.5142
61 | 2822915.3182 | 1192211.1771 | 2822906.9494 | 1192209.5142
62 | 2822915.3182 | 1192211.1771 | 2822922.2717 | 1192212.5589 | 2822931.441 | 1192209.6325
63 | 2822887.4656 | 1192167.5748 | 2822890.9577 | 1192165.3357 | 2822895.1915 | 1192162.2241
64 | 2822902.6167 | 1192156.7669 | 2822895.1915 | 1192162.2241
65 | 2822931.441 | 1192209.6325 | 2822943.3906 | 1192205.8187
66 | 2823048.779 | 1192117.9228 | 2823048.0021 | 1192121.8853
67 | 2823048.779 | 1192117.9228 | 2823038.5892 | 1192122.2039 | 2823033.4141 | 1192122.6598
68 | 2823083.0601 | 1192111.5279 | 2823091.9076 | 1192110.4269
69 | 2823045.3294 | 1192134.3496 | 2823046.1395 | 1192131.3852 | 2823048.0021 | 1192121.8853
70 | 2823033.4141 | 1192122.6598 | 2823024.4166 | 1192123.4524
71 | 2823045.3294 | 1192134.3496 | 2823042.471 | 1192144.8093
72 | 2823018.5399 | 1192123.97 | 2823024.4166 | 1192123.4524
73 | 2823021.6407 | 1192211.6117 | 2823015.8472 | 1192211.5477
74 | 2823034.1644 | 1192154.5673 | 2823038.0613 | 1192151.9092 | 2823040.7444 | 1192148.7386 | 2823042.471 | 1192144.8093 | 2823042.471 | 1192144.8093
75 | 2823034.1644 | 1192154.5673 | 2823030.2524 | 1192157.2358 | 2823029.0434 | 1192157.945
76 | 2822902.6167 | 1192156.7669 | 2822903.4294 | 1192156.1697
77 | 2822943.3906 | 1192205.8187 | 2822944.7595 | 1192205.3819
78 | 2822927.104 | 1192140.3492 | 2822928.2713 | 1192139.6717 | 2822935.6443 | 1192137.4902
79 | 2822927.104 | 1192140.3492 | 2822916.8882 | 1192146.2781 | 2822903.4294 | 1192156.1697
80 | 2822935.6443 | 1192137.4902 | 2822944.7772 | 1192134.7879
81 | 2822948.4772 | 1192133.6931 | 2822944.7772 | 1192134.7879
82 | 2822948.4772 | 1192133.6931 | 2822949.6743 | 1192133.3389 | 2822958.2778 | 1192131.7131
83 | 2822958.2778 | 1192131.7131 | 2822969.7845 | 1192129.5388 | 2822978.9483 | 1192128.4797
84 | 2822981.9672 | 1192128.1308 | 2822978.9483 | 1192128.4797
85 | 2822981.9672 | 1192128.1308 | 2822998.185 | 1192126.2566
86 | 2822998.185 | 1192126.2566 | 2823016.1425 | 1192124.1812 | 2823018.5399 | 1192123.97
87 | 2823142.2714 | 1192195.5271 | 2823175.6408 | 1192185.7253
88 | 2823116.9096 | 1192182.913 | 2823113.0964 | 1192184.6225 | 2823108.9856 | 1192187.3949 | 2823101.1103 | 1192192.8024
89 | 2823175.6408 | 1192185.7253 | 2823175.8866 | 1192185.6531 | 2823177.6309 | 1192185.1397 | 2823197.1165 | 1192181.0793
90 | 2823122.8779 | 1192180.2373 | 2823116.9096 | 1192182.913
91 | 2823077.0072 | 1192174.4469 | 2823079.1831 | 1192172.0269
92 | 2823083.5219 | 1192168.9446 | 2823079.7203 | 1192171.4294 | 2823079.1831 | 1192172.0269
93 | 2823083.5219 | 1192168.9446 | 2823083.6166 | 1192168.8827 | 2823090.0148 | 1192164.7494 | 2823093.269 | 1192163.0854
94 | 2823093.269 | 1192163.0854 | 2823100.6988 | 1192159.2865
95 | 2823119.3684 | 1192150.4589 | 2823129.4724 | 1192145.9499
96 | 2823119.3684 | 1192150.4589 | 2823108.325 | 1192155.387 | 2823103.0355 | 1192158.0917
97 | 2823100.6988 | 1192159.2865 | 2823103.0355 | 1192158.0917
98 | 2823122.8779 | 1192180.2373 | 2823122.8779 | 1192180.2373 | 2823127.2671 | 1192178.7625
99 | 2823197.1165 | 1192181.0793 | 2823199.1535 | 1192180.6549
100 | 2823231.711 | 1192173.8858 | 2823216.3421 | 1192177.0732 | 2823199.1535 | 1192180.6549
101 | 2823315.8319 | 1192160.5523 | 2823283.3923 | 1192163.1677 | 2823231.711 | 1192173.8858
102 | 2823298.2861 | 1192126.9781 | 2823372.9505 | 1192098.5451
103 | 2823315.8319 | 1192160.5523 | 2823298.2861 | 1192126.9781
104 | 2823471.0543 | 1192059.021 | 2823469.4725 | 1192063.3561 | 2823462.6105 | 1192069.4741 | 2823438.2943 | 1192073.4603 | 2823421.2974 | 1192080.134 | 2823372.9505 | 1192098.5451
105 | 2823471.0543 | 1192059.021 | 2824066.5279 | 1192077.3446
106 | 2824066.5279 | 1192077.3446 | 2824067.1497 | 1192084.788 | 2824064.7437 | 1192090.327 | 2824062.6463 | 1192096.1889 | 2824058.0532 | 1192109.778 | 2824060.5247 | 1192127.5477 | 2824064.9661 | 1192159.7644 | 2824064.8728 | 1192179.1623 | 2824068.1959 | 1192186.6291 | 2824072.1332 | 1192190.5368

## bus_geodata
| x | y | coords
0 | 2822996.1157 | 1192182.6078
1 | 2823009.6228 | 1192169.82
2 | 2822992.0173 | 1192188.9722
3 | 2823013.3398 | 1192167.1575
4 | 2823018.1082 | 1192191.2024
5 | 2823018.7323 | 1192163.994
6 | 2822987.0622 | 1192196.3294
7 | 2823022.9161 | 1192161.5396
8 | 2822978.7153 | 1192199.9582
9 | 2823059.0514 | 1192209.8503
10 | 2823055.3057 | 1192214.2939
11 | 2823068.9626 | 1192187.4841
12 | 2822910.5374 | 1192246.7739
13 | 2822897.5812 | 1192250.8089
14 | 2822925.2232 | 1192240.9449
15 | 2822888.2214 | 1192253.7238
16 | 2822934.2782 | 1192237.1705
17 | 2822886.3472 | 1192254.3075
18 | 2822942.9386 | 1192233.5606
19 | 2822951.0433 | 1192230.1824
20 | 2822961.6158 | 1192223.326
21 | 2823000.4665 | 1192213.6233
22 | 2822974.2281 | 1192204.2256
23 | 2823003.2642 | 1192213.0996
24 | 2822976.5738 | 1192200.8892
25 | 2823061.5982 | 1191986.1032
26 | 2823048.9851 | 1191986.9624
27 | 2823087.021 | 1191978.4008
28 | 2823110.1694 | 1192037.0867
29 | 2823049.7995 | 1192111.6421
30 | 2823231.3932 | 1192094.3426
31 | 2823256.054 | 1192084.9329
32 | 2823193.2751 | 1192109.5757
33 | 2823168.1319 | 1192100.8921
34 | 2823123.1735 | 1192104.0752
35 | 2823146.216 | 1192138.4779
36 | 2823136.8604 | 1192142.6529
37 | 2823102.8607 | 1192108.1353
38 | 2823131.9048 | 1192144.8644
39 | 2823081.8568 | 1192209.2992
40 | 2823066.6056 | 1192216.4083
41 | 2823083.3105 | 1192207.9153
42 | 2823090.8712 | 1192200.7173
43 | 2823052.3851 | 1192214.0456
44 | 2823094.2031 | 1192197.5452
45 | 2823042.5671 | 1192213.2105
46 | 2823129.8552 | 1192198.1716
47 | 2823099.8899 | 1192193.6404
48 | 2822968.4308 | 1192201.0423
49 | 2822954.0278 | 1192202.4239
50 | 2822952.5258 | 1192202.9032
51 | 2823006.4509 | 1192212.5031
52 | 2822872.1545 | 1192202.5999
53 | 2822844.128 | 1192197.0307
54 | 2822878.4758 | 1192203.8561
55 | 2822906.9494 | 1192209.5142
56 | 2822915.3182 | 1192211.1771
57 | 2822887.4656 | 1192167.5748
58 | 2822895.1915 | 1192162.2241
59 | 2822931.441 | 1192209.6325
60 | 2823048.779 | 1192117.9228
61 | 2823083.0601 | 1192111.5279
62 | 2823048.0021 | 1192121.8853
63 | 2823033.4141 | 1192122.6598
64 | 2823091.9076 | 1192110.4269
65 | 2823045.3294 | 1192134.3496
66 | 2823024.4166 | 1192123.4524
67 | 2823015.8472 | 1192211.5477
68 | 2823021.6407 | 1192211.6117
69 | 2823042.471 | 1192144.8093
70 | 2823034.1644 | 1192154.5673
71 | 2823029.0434 | 1192157.945
72 | 2822902.6167 | 1192156.7669
73 | 2822944.7595 | 1192205.3819
74 | 2822943.3906 | 1192205.8187
75 | 2822927.104 | 1192140.3492
76 | 2822935.6443 | 1192137.4902
77 | 2822903.4294 | 1192156.1697
78 | 2822944.7772 | 1192134.7879
79 | 2822948.4772 | 1192133.6931
80 | 2822958.2778 | 1192131.7131
81 | 2822978.9483 | 1192128.4797
82 | 2822981.9672 | 1192128.1308
83 | 2822998.185 | 1192126.2566
84 | 2823018.5399 | 1192123.97
85 | 2823142.2714 | 1192195.5271
86 | 2823101.1103 | 1192192.8024
87 | 2823175.6408 | 1192185.7253
88 | 2823116.9096 | 1192182.913
89 | 2823077.0072 | 1192174.4469
90 | 2823079.1831 | 1192172.0269
91 | 2823083.5219 | 1192168.9446
92 | 2823093.269 | 1192163.0854
93 | 2823129.4724 | 1192145.9499
94 | 2823119.3684 | 1192150.4589
95 | 2823103.0355 | 1192158.0917
96 | 2823100.6988 | 1192159.2865
97 | 2823122.8779 | 1192180.2373
98 | 2823127.2671 | 1192178.7625
99 | 2823197.1165 | 1192181.0793
100 | 2823199.1535 | 1192180.6549
101 | 2823231.711 | 1192173.8858
102 | 2823298.2861 | 1192126.9781
103 | 2823372.9505 | 1192098.5451
104 | 2823315.8319 | 1192160.5523
105 | 2823471.0543 | 1192059.021
106 | 2824066.5279 | 1192077.3446
107 | 2824072.1332 | 1192190.5368
108 | 2823048.779 | 1192117.9228

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1