## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3789-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3789-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3789-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3789-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3789-2_0_3_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_3789-2_0_3_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_3789-2_0_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_3789-2_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_3789-2_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_3789-2_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_3789-2_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_3789-2_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3789-2_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3789-2_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3789-2_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3789-2_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3789-2_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_3789-2_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3789-2_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3789-2_0_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_3789-2_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_3789-2_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_3789-2_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_3789-2_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_3789-2_0_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_3789-2_0_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_3789-2_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_3789-2_0_3_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_3789-2_0_3_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_3789-2_0_3_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_3789-2_0_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_3789-2_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3789-2_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3789-2_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3789-2_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3789-2_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_3789-2_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_3789-2_0_3_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_3789-2_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3789-2_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3789-2_0_3_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_3789-2_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_3789-2_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_3789-2_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_3789-2_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_3789-2_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_3789-2_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_3789-2_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3789-2_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_MV_159_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3789-2_0_3_load_0 | 0 | 0.01856 | 0.0046517 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3789-2_0_3_load_1 | 1 | 0.0027344 | 0.0006853 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3789-2_0_3_load_2 | 2 | 0.0059952 | 0.0015025 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3789-2_0_3_load_34 | 5 | 0.0033719 | 0.00084508 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3789-2_0_3_load_27 | 6 | 0.0047332 | 0.0011862 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3789-2_0_3_load_15 | 8 | 0.0029702 | 0.00074441 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3789-2_0_3_load_13 | 9 | 0.052451 | 0.013145 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3789-2_0_3_load_4 | 10 | 0.0064333 | 0.0016123 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3789-2_0_3_load_5 | 11 | 0.007522 | 0.0018852 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3789-2_0_3_load_7 | 13 | 0.010112 | 0.0025342 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3789-2_0_3_load_11 | 15 | 0.0051704 | 0.0012958 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3789-2_0_3_load_16 | 16 | 0.012883 | 0.0032289 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3789-2_0_3_load_12 | 18 | 0.013808 | 0.0034607 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3789-2_0_3_load_26 | 19 | 0.0036446 | 0.00091342 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3789-2_0_3_load_31 | 23 | 0.0066967 | 0.0016783 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3789-2_0_3_load_35 | 25 | 0.001624 | 0.00040702 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3789-2_0_3_load_51 | 27 | 0.0019492 | 0.00048852 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3789-2_0_3_load_20 | 31 | 0.0073288 | 0.0018368 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3789-2_0_3_load_21 | 32 | 0.010072 | 0.0025243 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3789-2_0_3_load_28 | 36 | 0.0069678 | 0.0017463 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3789-2_0_3_load_52 | 37 | 0.0073588 | 0.0018443 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3789-2_0_3_load_29 | 38 | 0.0016157 | 0.00040493 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3789-2_0_3_load_53 | 40 | 0.0041723 | 0.0010457 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3789-2_0_3_load_43 | 43 | 0.0014807 | 0.00037111 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3789-2_0_3_load_44 | 44 | 0.013854 | 0.0034721 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3789-2_0_3_load_49 | 45 | 0.00086564 | 0.00021695 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3789-2_0_3_load_48 | 46 | 0.0017516 | 0.000439 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3789-2_0_3_load_39 | 47 | 0.0021382 | 0.00053588 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3789-2_0_3_load_40 | 48 | 0.00091892 | 0.0002303 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3789-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.001444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3789-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3789-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.024846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3789-2_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.011361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3789-2_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.02615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3789-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.058916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3789-2_0_3_line_6 | NAYY 4x150 SE | 5 | 8 | 0.015342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3789-2_0_3_line_7 | NAYY 4x150 SE | 6 | 20 | 0.002877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3789-2_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0034549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3789-2_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.02028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_3789-2_0_3_line_10 | NAYY 4x150 SE | 9 | 17 | 0.0033682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3789-2_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.00061532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3789-2_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.014778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3789-2_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.00090699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3789-2_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.012855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3789-2_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.014064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3789-2_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.012128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3789-2_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.0017772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3789-2_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.017383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3789-2_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.02635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3789-2_0_3_line_20 | NAYY 4x150 SE | 20 | 32 | 0.01934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3789-2_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.2975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3789-2_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.036379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3789-2_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.37485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3789-2_0_3_line_24 | NAYY 4x150 SE | 22 | 25 | 0.065398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3789-2_0_3_line_25 | NAYY 4x150 SE | 23 | 26 | 0.028268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_3789-2_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.025503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3789-2_0_3_line_27 | NAYY 4x150 SE | 24 | 28 | 0.14415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3789-2_0_3_line_28 | NAYY 4x150 SE | 24 | 29 | 0.009972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3789-2_0_3_line_29 | NAYY 4x150 SE | 25 | 30 | 0.031078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3789-2_0_3_line_30 | NAYY 4x150 SE | 26 | 39 | 0.013932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3789-2_0_3_line_31 | NAYY 4x150 SE | 26 | 38 | 0.032826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3789-2_0_3_line_32 | NAYY 4x150 SE | 28 | 44 | 0.0092202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3789-2_0_3_line_33 | NAYY 4x150 SE | 29 | 45 | 0.023037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3789-2_0_3_line_34 | NAYY 4x150 SE | 29 | 46 | 0.028311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3789-2_0_3_line_35 | NAYY 4x150 SE | 30 | 41 | 0.56751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3789-2_0_3_line_36 | NAYY 4x150 SE | 31 | 32 | 0.00097218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_3789-2_0_3_line_37 | NAYY 4x150 SE | 31 | 33 | 0.014773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_3789-2_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.035933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_3789-2_0_3_line_39 | NAYY 4x150 SE | 34 | 37 | 0.02176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3789-2_0_3_line_40 | NAYY 4x150 SE | 34 | 35 | 0.042007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3789-2_0_3_line_41 | NAYY 4x150 SE | 35 | 36 | 0.006195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_3789-2_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.004252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_3789-2_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.015311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3789-2_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.015912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3789-2_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0096386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3789-2_0_3_line_46 | NAYY 4x150 SE | 42 | 47 | 0.011555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3789-2_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.050342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3789-2_0_3_trafo_52 | 0.25 MVA 20/0.4 kV | 49 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2778812.7462 | 1144731.7386 | 2778811.3494 | 1144732.1046
1 | 2778825.7577 | 1144728.3289 | 2778812.7462 | 1144731.7386
2 | 2778787.7137 | 1144734.6292 | 2778793.3738 | 1144733.0622 | 2778794.1959 | 1144733.0866 | 2778795.4498 | 1144733.8467 | 2778797.1462 | 1144734.9869 | 2778798.7745 | 1144735.3132 | 2778800.3297 | 1144734.9924 | 2778811.3494 | 1144732.1046
3 | 2778777.8309 | 1144728.9755 | 2778787.7137 | 1144734.6292
4 | 2778777.8309 | 1144728.9755 | 2778785.0171 | 1144754.1189
5 | 2778777.8309 | 1144728.9755 | 2778787.2717 | 1144725.9414 | 2778795.9143 | 1144721.5602 | 2778800.0553 | 1144718.5802 | 2778809.3416 | 1144709.8697 | 2778817.8797 | 1144703.0498 | 2778826.9974 | 1144697.7454
6 | 2778785.0171 | 1144754.1189 | 2778789.2334 | 1144768.8707
7 | 2778829.4841 | 1144696.2987 | 2778826.9974 | 1144697.7454
8 | 2778790.1828 | 1144772.1926 | 2778789.2334 | 1144768.8707
9 | 2778790.1828 | 1144772.1926 | 2778795.7304 | 1144791.6989
10 | 2778796.6518 | 1144794.9386 | 2778795.7304 | 1144791.6989
11 | 2778808.1396 | 1144827.0578 | 2778808.3155 | 1144827.6475
12 | 2778812.54 | 1144841.8083 | 2778808.3155 | 1144827.6475
13 | 2778807.8803 | 1144826.1887 | 2778808.1396 | 1144827.0578
14 | 2778816.2115 | 1144854.1285 | 2778812.54 | 1144841.8083
15 | 2778803.4909 | 1144812.8368 | 2778805.3431 | 1144817.6839 | 2778807.8803 | 1144826.1887
16 | 2778816.2115 | 1144854.1285 | 2778828.3078 | 1144853.2581
17 | 2778803.4909 | 1144812.8368 | 2778802.8566 | 1144811.1766
18 | 2778796.6518 | 1144794.9386 | 2778802.8566 | 1144811.1766
19 | 2778829.4841 | 1144696.2987 | 2778822.537 | 1144670.8808
20 | 2778829.4841 | 1144696.2987 | 2778833.6784 | 1144693.8541 | 2778839.7107 | 1144691.4085 | 2778841.9584 | 1144691.3306 | 2778843.7612 | 1144691.9958 | 2778845.6872 | 1144693.432 | 2778846.7595 | 1144694.3373
21 | 2778984.5776 | 1144796.3686 | 2778987.6792 | 1144797.5729 | 2778990.0659 | 1144800.324 | 2778993.0346 | 1144806.0062 | 2779014.3157 | 1144815.9803 | 2779030.9239 | 1144805.1632 | 2779043.3316 | 1144804.5086 | 2779049.9876 | 1144801.5145 | 2779058.247 | 1144788.2919 | 2779075.2058 | 1144772.6698 | 2779095.1975 | 1144759.2732 | 2779108.0496 | 1144743.4068 | 2779117.5486 | 1144735.0589 | 2779122.8192 | 1144726.4185 | 2779130.7586 | 1144711.2959 | 2779142.4651 | 1144698.2759 | 2779152.7007 | 1144676.7934 | 2779161.1413 | 1144674.5642 | 2779170.5804 | 1144682.463 | 2779177.3096 | 1144685.0319 | 2779184.3687 | 1144679.3474 | 2779191.1027 | 1144661.0639
22 | 2778984.5776 | 1144796.3686 | 2778961.3318 | 1144768.3859
23 | 2779449.48 | 1144912.7774 | 2779427.276 | 1144899.4824 | 2779406.6759 | 1144886.2908 | 2779371.44 | 1144875.4996 | 2779319.2053 | 1144852.7144 | 2779301.542 | 1144826.3539 | 2779281.496 | 1144795.5518 | 2779250.0256 | 1144747.8503 | 2779220.6536 | 1144697.3197 | 2779205.7802 | 1144674.6013 | 2779191.1027 | 1144661.0639
24 | 2779191.1027 | 1144661.0639 | 2779183.2136 | 1144646.2937 | 2779168.7481 | 1144624.3326 | 2779155.5364 | 1144606.2986
25 | 2778943.2683 | 1144746.6416 | 2778961.3318 | 1144768.3859
26 | 2779449.48 | 1144912.7774 | 2779457.1045 | 1144900.7598 | 2779468.1838 | 1144898.4873
27 | 2779365.6412 | 1145025.3769 | 2779365.7793 | 1145015.8277 | 2779384.109 | 1144994.1972 | 2779413.3601 | 1144971.7242 | 2779426.2002 | 1144954.4679 | 2779438.4119 | 1144929.3969 | 2779447.0973 | 1144916.3543 | 2779449.48 | 1144912.7774
28 | 2779449.48 | 1144912.7774 | 2779458.4206 | 1144917.2475
29 | 2779131.7694 | 1144586.7331 | 2779151.2408 | 1144600.4351 | 2779155.5364 | 1144606.2986
30 | 2778949.5841 | 1144735.1628 | 2778948.8153 | 1144740.0779 | 2778947.2873 | 1144743.6247 | 2778945.3122 | 1144745.6569 | 2778943.2683 | 1144746.6416
31 | 2778943.2683 | 1144746.6416 | 2778931.465 | 1144746.1021 | 2778916.1655 | 1144744.9583 | 2778911.7718 | 1144744.016 | 2778910.6741 | 1144743.5983
32 | 2779365.6412 | 1145025.3769 | 2779370.7117 | 1145017.6761
33 | 2779458.4206 | 1144917.2475 | 2779474.0167 | 1144918.4905 | 2779481.0739 | 1144916.2927
34 | 2779458.4206 | 1144917.2475 | 2779475.6602 | 1144925.7906 | 2779476.3444 | 1144934.8357
35 | 2779131.7694 | 1144586.7331 | 2779154.5333 | 1144573.7526 | 2779175.6433 | 1144577.6054 | 2779207.2362 | 1144593.8255 | 2779234.8025 | 1144613.8185 | 2779268.7444 | 1144638.4387 | 2779284.9266 | 1144639.3872 | 2779297.8995 | 1144632.155 | 2779316.455 | 1144634.7534 | 2779318.1107 | 1144635.1919 | 2779336.1426 | 1144628.5106 | 2779345.7689 | 1144618.7433 | 2779361.8398 | 1144610.2578 | 2779385.3091 | 1144608.9878 | 2779403.2874 | 1144617.2857 | 2779423.763 | 1144612.7349 | 2779457.1859 | 1144607.7578 | 2779454.5002 | 1144599.815 | 2779441.1558 | 1144592.6559 | 2779431.3466 | 1144574.9811 | 2779441.9489 | 1144567.5673 | 2779449.4681 | 1144562.9757 | 2779460.9559 | 1144561.9832 | 2779473.1037 | 1144560.7768 | 2779485.1584 | 1144557.2766 | 2779485.4261 | 1144550.6118 | 2779476.2038 | 1144550.415 | 2779470.7214 | 1144547.2934 | 2779466.6646 | 1144543.5582 | 2779456.4868 | 1144532.3228 | 2779484.5321 | 1144531.5675 | 2779497.8307 | 1144526.325 | 2779517.128 | 1144519.0036
36 | 2778847.5023 | 1144694.9645 | 2778846.7595 | 1144694.3373
37 | 2778858.5385 | 1144704.779 | 2778852.4314 | 1144699.1261 | 2778847.5023 | 1144694.9645
38 | 2778858.5385 | 1144704.779 | 2778853.2808 | 1144712.7416 | 2778848.3321 | 1144718.3222 | 2778859.197 | 1144724.8281 | 2778862.1848 | 1144730.3885
39 | 2778872.4885 | 1144749.0668 | 2778862.329 | 1144733.5624 | 2778861.9456 | 1144731.9718 | 2778862.1848 | 1144730.3885
40 | 2778901.202 | 1144739.2315 | 2778897.7209 | 1144739.1504 | 2778894.7146 | 1144738.6163 | 2778885.5049 | 1144733.861 | 2778878.74 | 1144730.6797 | 2778871.998 | 1144728.8003 | 2778866.5608 | 1144728.0383 | 2778863.1887 | 1144728.9503 | 2778862.1848 | 1144730.3885
41 | 2778901.202 | 1144739.2315 | 2778906.7 | 1144742.0861
42 | 2778910.6741 | 1144743.5983 | 2778906.7 | 1144742.0861
43 | 2778949.5841 | 1144735.1628 | 2778948.7306 | 1144719.8789
44 | 2779517.128 | 1144519.0036 | 2779533.0553 | 1144520.0007
45 | 2779517.128 | 1144519.0036 | 2779507.8889 | 1144516.2571
46 | 2779533.0553 | 1144520.0007 | 2779537.1332 | 1144509.189
47 | 2779537.1332 | 1144509.189 | 2779548.594 | 1144478.8029 | 2779548.0289 | 1144470.6674 | 2779539.9301 | 1144465.3091

## bus_geodata
| x | y | coords
0 | 2778812.7462 | 1144731.7386
1 | 2778811.3494 | 1144732.1046
2 | 2778825.7577 | 1144728.3289
3 | 2778787.7137 | 1144734.6292
4 | 2778777.8309 | 1144728.9755
5 | 2778785.0171 | 1144754.1189
6 | 2778826.9974 | 1144697.7454
7 | 2778790.1828 | 1144772.1926
8 | 2778789.2334 | 1144768.8707
9 | 2778795.7304 | 1144791.6989
10 | 2778808.3155 | 1144827.6475
11 | 2778808.1396 | 1144827.0578
12 | 2778812.54 | 1144841.8083
13 | 2778807.8803 | 1144826.1887
14 | 2778816.2115 | 1144854.1285
15 | 2778803.4909 | 1144812.8368
16 | 2778828.3078 | 1144853.2581
17 | 2778796.6518 | 1144794.9386
18 | 2778802.8565 | 1144811.1766
19 | 2778822.537 | 1144670.8808
20 | 2778829.4841 | 1144696.2987
21 | 2778984.5776 | 1144796.3686
22 | 2779191.1027 | 1144661.0639
23 | 2778961.3318 | 1144768.3859
24 | 2779449.48 | 1144912.7774
25 | 2779155.5364 | 1144606.2986
26 | 2778943.2683 | 1144746.6416
27 | 2779468.1838 | 1144898.4873
28 | 2779365.6412 | 1145025.3769
29 | 2779458.4206 | 1144917.2475
30 | 2779131.7694 | 1144586.7331
31 | 2778847.5023 | 1144694.9645
32 | 2778846.7595 | 1144694.3373
33 | 2778858.5385 | 1144704.779
34 | 2778862.1848 | 1144730.3885
35 | 2778901.2019 | 1144739.2315
36 | 2778906.7 | 1144742.0861
37 | 2778872.4885 | 1144749.0668
38 | 2778910.6741 | 1144743.5983
39 | 2778949.5841 | 1144735.1628
40 | 2778948.7306 | 1144719.8789
41 | 2779517.128 | 1144519.0036
42 | 2779533.0553 | 1144520.0007
43 | 2779507.8889 | 1144516.2571
44 | 2779370.7117 | 1145017.6761
45 | 2779481.0739 | 1144916.2927
46 | 2779476.3444 | 1144934.8357
47 | 2779537.1332 | 1144509.189
48 | 2779539.9301 | 1144465.3091
49 | 2778862.1848 | 1144730.3885

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1