## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3789-4_1_2_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_3789-4_1_2_node_76 | 0.4 | n |  | TRUE
2 | bus_LV_3789-4_1_2_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_3789-4_1_2_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_3789-4_1_2_node_75 | 0.4 | n |  | TRUE
5 | bus_LV_3789-4_1_2_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_3789-4_1_2_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_3789-4_1_2_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_3789-4_1_2_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_3789-4_1_2_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_3789-4_1_2_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_3789-4_1_2_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_3789-4_1_2_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_3789-4_1_2_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_3789-4_1_2_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_3789-4_1_2_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_3789-4_1_2_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_3789-4_1_2_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_3789-4_1_2_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_3789-4_1_2_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_3789-4_1_2_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_3789-4_1_2_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_3789-4_1_2_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_3789-4_1_2_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_3789-4_1_2_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_3789-4_1_2_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_3789-4_1_2_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_3789-4_1_2_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_3789-4_1_2_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_3789-4_1_2_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_3789-4_1_2_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_3789-4_1_2_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_3789-4_1_2_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_3789-4_1_2_node_72 | 0.4 | n |  | TRUE
34 | bus_MV_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3789-4_1_2_load_76 | 1 | 0.00060706 | 0.00015214 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3789-4_1_2_load_75 | 4 | 0.0019814 | 0.00049658 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3789-4_1_2_load_47 | 6 | 0.001186 | 0.00029723 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3789-4_1_2_load_69 | 7 | 0.0054675 | 0.0013703 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3789-4_1_2_load_66 | 8 | 0.0030818 | 0.00077237 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3789-4_1_2_load_46 | 9 | 0.00063626 | 0.00015946 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3789-4_1_2_load_74 | 13 | 0.0025291 | 0.00063385 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3789-4_1_2_load_53 | 15 | 0.00061383 | 0.00015384 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3789-4_1_2_load_54 | 16 | 0.00041371 | 0.00010368 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3789-4_1_2_load_52 | 17 | 0.00052685 | 0.00013204 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3789-4_1_2_load_55 | 18 | 0.00057878 | 0.00014506 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3789-4_1_2_load_57 | 21 | 0.0025138 | 0.00063001 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3789-4_1_2_load_58 | 22 | 0.00043388 | 0.00010874 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3789-4_1_2_load_60 | 24 | 0.001214 | 0.00030425 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3789-4_1_2_load_61 | 25 | 0.00085817 | 0.00021508 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3789-4_1_2_load_68 | 26 | 0.0011419 | 0.00028618 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3789-4_1_2_load_71 | 27 | 0.0010644 | 0.00026678 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3789-4_1_2_load_63 | 29 | 0.00087515 | 0.00021933 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3789-4_1_2_load_64 | 30 | 0.001581 | 0.00039623 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3789-4_1_2_load_65 | 31 | 0.0014822 | 0.00037148 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3789-4_1_2_load_70 | 32 | 0.00072732 | 0.00018228 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3789-4_1_2_load_72 | 33 | 0.0024265 | 0.00060814 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3789-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.1668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3789-4_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.11074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3789-4_1_2_line_2 | NAYY 4x150 SE | 2 | 6 | 0.15934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3789-4_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.004085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3789-4_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 1.1401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3789-4_1_2_line_5 | NAYY 4x150 SE | 5 | 7 | 0.1029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3789-4_1_2_line_6 | NAYY 4x150 SE | 5 | 8 | 0.2118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3789-4_1_2_line_7 | NAYY 4x150 SE | 6 | 9 | 0.019239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3789-4_1_2_line_8 | NAYY 4x150 SE | 8 | 30 | 0.045749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3789-4_1_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.012368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3789-4_1_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.11127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3789-4_1_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.1813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3789-4_1_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.067568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3789-4_1_2_line_13 | NAYY 4x150 SE | 12 | 32 | 0.074126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3789-4_1_2_line_14 | NAYY 4x150 SE | 12 | 31 | 0.093837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3789-4_1_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.027206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3789-4_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.083232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3789-4_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0077431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3789-4_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.021144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3789-4_1_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.46411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3789-4_1_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.3523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3789-4_1_2_line_21 | NAYY 4x150 SE | 20 | 27 | 0.091638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3789-4_1_2_line_22 | NAYY 4x150 SE | 20 | 28 | 0.1027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3789-4_1_2_line_23 | NAYY 4x150 SE | 20 | 23 | 0.039453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3789-4_1_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.025144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3789-4_1_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.028996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3789-4_1_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.043396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3789-4_1_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0064076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3789-4_1_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0047395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3789-4_1_2_line_29 | NAYY 4x150 SE | 27 | 32 | 0.052993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3789-4_1_2_line_30 | NAYY 4x150 SE | 28 | 33 | 0.11393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3789-4_1_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0031495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3789-4_1_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0020287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3789-4_1_2_trafo_70 | 0.25 MVA 20/0.4 kV | 34 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60
0 | 2777861.928 | 1143542.7569 | 2777845.3831 | 1143526.888 | 2777860.6312 | 1143526.4927 | 2777830.0848 | 1143506.5629 | 2777825.7956 | 1143499.6968 | 2777816.915 | 1143489.6926 | 2777806.8033 | 1143478.1396 | 2777794.8237 | 1143459.5028 | 2777789.2886 | 1143447.4175 | 2777774.6753 | 1143433.5853
1 | 2777955.0467 | 1143498.451 | 2777938.2181 | 1143513.3016 | 2777933.1004 | 1143517.3099 | 2777925.4097 | 1143519.3739 | 2777919.8317 | 1143522.301 | 2777904.6795 | 1143531.1734 | 2777895.1032 | 1143544.2252 | 2777884.8927 | 1143546.1927 | 2777875.9089 | 1143546.2056 | 2777861.928 | 1143542.7569
2 | 2777955.0467 | 1143498.451 | 2777957.9423 | 1143489.2057 | 2777958.7079 | 1143480.2089 | 2777963.1606 | 1143455.74 | 2777976.4266 | 1143432.6101 | 2777984.4699 | 1143419.3908 | 2777989.4642 | 1143408.884 | 2777990.2477 | 1143403.4466 | 2777982.4411 | 1143391.7166 | 2777976.6432 | 1143381.7698 | 2777971.3666 | 1143375.7865 | 2777968.7613 | 1143371.2833 | 2777966.5347 | 1143360.7301 | 2777965.6757 | 1143353.8629
3 | 2777965.3818 | 1143970.2776 | 2777961.4141 | 1143971.2949
4 | 2777961.4141 | 1143971.2949 | 2777957.7748 | 1143964.3144 | 2777933.7282 | 1143909.2658 | 2777957.444 | 1143927.849 | 2777982.5636 | 1143956.4496 | 2778005.9787 | 1143975.5691 | 2778012.3065 | 1143978.4918 | 2778026.5713 | 1143997.0297 | 2778036.8126 | 1144017.4285 | 2778040.0349 | 1144016.912 | 2778046.3913 | 1144003.2426 | 2778051.7943 | 1144027.313 | 2778063.7145 | 1144042.4231 | 2778080.0485 | 1144068.4848 | 2778100.8309 | 1144093.9105 | 2778118.8503 | 1144109.5124 | 2778147.4691 | 1144128.1745 | 2778164.6449 | 1144156.6968 | 2778167.4059 | 1144182.1907 | 2778173.7095 | 1144212.1933 | 2778185.8013 | 1144235.7832 | 2778199.744 | 1144252.4326 | 2778206.2054 | 1144264.3455 | 2778211.0241 | 1144271.9949 | 2778221.9719 | 1144282.25 | 2778223.8051 | 1144289.9556 | 2778232.1203 | 1144301.5898 | 2778236.7715 | 1144308.9228 | 2778240.3216 | 1144312.3976 | 2778248.8277 | 1144269.7319 | 2778247.017 | 1144259.4467 | 2778254.7464 | 1144237.0656 | 2778257.4841 | 1144216.005 | 2778271.5177 | 1144188.4944 | 2778281.0716 | 1144176.4545 | 2778284.2322 | 1144171.5211 | 2778287.185 | 1144144.4947 | 2778284.7096 | 1144132.2436 | 2778285.4903 | 1144094.4097 | 2778283.7488 | 1144082.0468 | 2778289.2177 | 1144058.876 | 2778279.4899 | 1144038.0472 | 2778269.6278 | 1143994.9717 | 2778253.2932 | 1143960.3684 | 2778252.7643 | 1143913.4986 | 2778245.154 | 1143878.7863 | 2778240.7374 | 1143869.4917 | 2778239.0784 | 1143864.2156 | 2778239.0216 | 1143857.5522 | 2778239.6102 | 1143852.7319 | 2778239.8947 | 1143850.3937 | 2778243.5982 | 1143839.0705 | 2778248.6971 | 1143822.9507 | 2778250.6299 | 1143816.3685 | 2778251.8223 | 1143809.0748
5 | 2778251.8223 | 1143809.0748 | 2778247.5325 | 1143803.5541 | 2778231.2339 | 1143775.5135 | 2778224.8708 | 1143767.0177 | 2778215.4558 | 1143757.175 | 2778205.2919 | 1143743.7847 | 2778201.3045 | 1143739.2182 | 2778198.0482 | 1143737.4983 | 2778185.2712 | 1143736.5311
6 | 2778251.8223 | 1143809.0748 | 2778252.2152 | 1143803.5925 | 2778251.7742 | 1143799.5201 | 2778250.3882 | 1143795.1529 | 2778247.2937 | 1143788.7445 | 2778235.0496 | 1143768.1972 | 2778218.5596 | 1143739.8618 | 2778211.7686 | 1143729.7075 | 2778205.6295 | 1143722.2193 | 2778199.575 | 1143716.2905 | 2778193.2897 | 1143711.1446 | 2778184.0195 | 1143704.4647 | 2778174.8366 | 1143698.21 | 2778167.206 | 1143692.7796 | 2778163.3032 | 1143688.9942 | 2778159.0316 | 1143684.1525 | 2778152.8246 | 1143675.5725 | 2778142.7848 | 1143657.7152 | 2778134.1818 | 1143639.1728
7 | 2777961.4984 | 1143335.1325 | 2777964.8172 | 1143347.0002 | 2777965.6757 | 1143353.8629
8 | 2778119.7186 | 1143595.9766 | 2778119.7237 | 1143596.1333 | 2778120.6061 | 1143601.4087 | 2778124.1674 | 1143615.1931 | 2778128.649 | 1143627.2476 | 2778134.1818 | 1143639.1728
9 | 2777956.4062 | 1143323.9532 | 2777960.2951 | 1143330.8298 | 2777961.4984 | 1143335.1325
10 | 2778034.66 | 1143348.6955 | 2778037.1145 | 1143341.8951 | 2778038.5114 | 1143334.9632 | 2778038.6474 | 1143329.3176 | 2778037.7388 | 1143325.9655 | 2778035.6127 | 1143323.2114 | 2778032.4183 | 1143320.4257 | 2778026.8988 | 1143317.4601 | 2778014.9021 | 1143312.1791 | 2778009.5403 | 1143310.6417 | 2778003.8116 | 1143310.3279 | 2777996.6753 | 1143310.5398 | 2777989.2837 | 1143312.101 | 2777966.6844 | 1143319.708 | 2777956.4062 | 1143323.9532
11 | 2778034.66 | 1143348.6955 | 2778040.6254 | 1143356.8791 | 2778057.388 | 1143385.6891 | 2778066.899 | 1143406.6334 | 2778075.4924 | 1143426.3496 | 2778082.5393 | 1143435.4103 | 2778089.4489 | 1143442.6098 | 2778106.3063 | 1143463.2485 | 2778119.6632 | 1143480.2696 | 2778134.199 | 1143499.0382
12 | 2778034.66 | 1143348.6955 | 2778026.8705 | 1143353.8371 | 2778021.8399 | 1143361.6625 | 2778017.2007 | 1143374.2038 | 2778017.0512 | 1143388.1233 | 2778022.4019 | 1143405.9197 | 2778023.6139 | 1143408.7256
13 | 2778134.199 | 1143499.0382 | 2778135.7749 | 1143494.9031 | 2778137.8001 | 1143492.7387 | 2778141.5389 | 1143490.8919 | 2778145.4071 | 1143490.6503 | 2778149.1103 | 1143491.8274 | 2778152.1687 | 1143495.0429 | 2778163.2912 | 1143509.3289 | 2778174.4751 | 1143521.0143 | 2778183.8781 | 1143528.6768 | 2778187.7326 | 1143529.5754
14 | 2778134.199 | 1143499.0382 | 2778133.8861 | 1143505.2013 | 2778134.4321 | 1143515.6159 | 2778133.5131 | 1143537.8647 | 2778131.9563 | 1143549.6852 | 2778129.9071 | 1143556.5643 | 2778124.9664 | 1143569.6749 | 2778120.5714 | 1143584.1029 | 2778119.5505 | 1143590.8011 | 2778119.5505 | 1143590.8011
15 | 2778070.1672 | 1142965.8141 | 2778066.4762 | 1142957.442 | 2778060.6042 | 1142951.5522 | 2778055.4784 | 1142946.9634 | 2778055.5621 | 1142945.4311 | 2778055.5314 | 1142944.1058
16 | 2778070.1672 | 1142965.8141 | 2778077.0835 | 1142969.4215 | 2778082.9839 | 1142972.265 | 2778094.691 | 1142967.0613 | 2778099.3905 | 1142968.6348 | 2778110.4022 | 1142965.8795 | 2778124.4751 | 1142964.438 | 2778133.4709 | 1142967.1728 | 2778137.3913 | 1142967.7779 | 2778140.0482 | 1142968.1901 | 2778144.9534 | 1142969.5695 | 2778149.3467 | 1142968.7799
17 | 2778058.8312 | 1142937.512 | 2778056.2884 | 1142940.1143 | 2778055.5012 | 1142942.8047 | 2778055.5314 | 1142944.1058
18 | 2778149.3467 | 1142968.7799 | 2778155.7411 | 1142967.6307 | 2778159.8312 | 1142975.77 | 2778165.3682 | 1142975.6578
19 | 2778516.1578 | 1143206.1245 | 2778511.1863 | 1143198.6817 | 2778505.7943 | 1143194.5294 | 2778501.8759 | 1143191.5218 | 2778495.56 | 1143185.8409 | 2778490.8723 | 1143181.02 | 2778486.2779 | 1143177.7255 | 2778482.6399 | 1143174.8597 | 2778479.588 | 1143170.6433 | 2778477.7893 | 1143166.186 | 2778476.3123 | 1143159.9588 | 2778476.459 | 1143155.003 | 2778476.4951 | 1143149.3656 | 2778473.0973 | 1143142.8035 | 2778469.6381 | 1143138.5751 | 2778465.0159 | 1143135.9582 | 2778457.707 | 1143131.3377 | 2778447.082 | 1143126.4857 | 2778436.807 | 1143123.8461 | 2778426.7797 | 1143122.4483 | 2778416.8505 | 1143122.1544 | 2778407.0314 | 1143122.8202 | 2778399.8773 | 1143122.0636 | 2778392.6257 | 1143119.925 | 2778384.6623 | 1143118.4437 | 2778378.7653 | 1143117.3128 | 2778369.2512 | 1143117.0313 | 2778362.9599 | 1143115.1881 | 2778356.7093 | 1143111.7112 | 2778354.2842 | 1143109.7044 | 2778348.843 | 1143107.2079 | 2778340.509 | 1143104.2144 | 2778335.0765 | 1143101.1621 | 2778328.6385 | 1143094.9216 | 2778324.4713 | 1143091.2173 | 2778320.7393 | 1143086.8474 | 2778318.257 | 1143082.0919 | 2778317.8296 | 1143077.8198 | 2778317.9518 | 1143073.6863 | 2778318.4234 | 1143067.1053 | 2778318.1182 | 1143063.3817 | 2778314.1098 | 1143058.9926 | 2778307.5618 | 1143056.4634 | 2778301.69 | 1143054.2212 | 2778293.5918 | 1143047.9317 | 2778285.5867 | 1143043.4355 | 2778280.8662 | 1143039.7148 | 2778275.7307 | 1143035.9818 | 2778270.0735 | 1143031.4216 | 2778261.764 | 1143027.5948 | 2778250.7436 | 1143022.32 | 2778233.7282 | 1143016.6232 | 2778215.0912 | 1143018.9415 | 2778206.7456 | 1143008.0072 | 2778195.2753 | 1143005.1992 | 2778184.9572 | 1143005.3057 | 2778176.4782 | 1142998.8828 | 2778171.2916 | 1142992.9686 | 2778169.2055 | 1142979.7505 | 2778168.0897 | 1142975.6026 | 2778165.3682 | 1142975.6578
20 | 2778516.1578 | 1143206.1245 | 2778510.8864 | 1143212.1852 | 2778508.1298 | 1143218.5206 | 2778499.2168 | 1143243.6578 | 2778477.3895 | 1143301.532 | 2778475.7203 | 1143305.9534 | 2778469.5637 | 1143320.8739 | 2778457.0684 | 1143351.9329 | 2778447.5568 | 1143370.8023 | 2778437.7439 | 1143390.241 | 2778427.7847 | 1143406.3057 | 2778419.1155 | 1143419.8507 | 2778409.0431 | 1143432.9872 | 2778396.8483 | 1143442.7356 | 2778388.1964 | 1143448.941 | 2778378.739 | 1143454.5554 | 2778367.2174 | 1143461.3099 | 2778351.2757 | 1143465.8984 | 2778330.0824 | 1143466.5393 | 2778318.7782 | 1143470.3642
21 | 2778318.7782 | 1143470.3642 | 2778289.517 | 1143483.734 | 2778248.9033 | 1143500.7496 | 2778235.2055 | 1143507.8584
22 | 2778418.9416 | 1143494.0694 | 2778388.5555 | 1143488.2656 | 2778347.2383 | 1143478.3572 | 2778318.7782 | 1143470.3642
23 | 2778318.7782 | 1143470.3642 | 2778316.2375 | 1143466.0296 | 2778314.1566 | 1143463.8327 | 2778311.8041 | 1143460.9383 | 2778308.2784 | 1143457.9203 | 2778303.4812 | 1143455.2427 | 2778297.5216 | 1143452.3417 | 2778291.8289 | 1143450.038 | 2778287.072 | 1143449.1188
24 | 2778281.78 | 1143420.7809 | 2778274.325 | 1143406.8033 | 2778269.9909 | 1143399.3906 | 2778269.6473 | 1143398.7626
25 | 2778287.072 | 1143449.1188 | 2778286.9731 | 1143445.7016 | 2778286.9731 | 1143441.0196 | 2778283.8718 | 1143429.3728 | 2778281.78 | 1143420.7809 | 2778281.78 | 1143420.7809
26 | 2778250.4456 | 1143360.1549 | 2778258.3483 | 1143373.0447 | 2778263.195 | 1143381.8515 | 2778265.9337 | 1143391.9751 | 2778269.6473 | 1143398.7626
27 | 2778287.072 | 1143449.1188 | 2778281.736 | 1143451.3966 | 2778281.2185 | 1143451.7115
28 | 2778277.1697 | 1143454.1753 | 2778281.2185 | 1143451.7115
29 | 2778187.7326 | 1143529.5754 | 2778189.9967 | 1143530.1033 | 2778199.107 | 1143527.8925 | 2778222.3843 | 1143514.5122 | 2778235.2055 | 1143507.8584
30 | 2778418.9416 | 1143494.0694 | 2778413.1279 | 1143504.4292 | 2778408.0159 | 1143510.5726 | 2778390.5072 | 1143523.678 | 2778372.2643 | 1143540.7989 | 2778364.4039 | 1143552.2326 | 2778357.6988 | 1143569.0721 | 2778353.7298 | 1143573.759 | 2778346.0486 | 1143578.5084
31 | 2778119.6164 | 1143592.8287 | 2778119.7186 | 1143595.9766
32 | 2778119.6164 | 1143592.8287 | 2778119.5505 | 1143590.8011

## bus_geodata
| x | y | coords
0 | 2777861.928 | 1143542.7569
1 | 2777774.6753 | 1143433.5853
2 | 2777955.0467 | 1143498.451
3 | 2777961.4141 | 1143971.2949
4 | 2777965.3818 | 1143970.2776
5 | 2778251.8223 | 1143809.0748
6 | 2777965.6757 | 1143353.8629
7 | 2778185.2712 | 1143736.5311
8 | 2778134.1818 | 1143639.1728
9 | 2777961.4984 | 1143335.1325
10 | 2777956.4062 | 1143323.9532
11 | 2778034.66 | 1143348.6955
12 | 2778134.199 | 1143499.0382
13 | 2778023.6139 | 1143408.7256
14 | 2778070.1672 | 1142965.8141
15 | 2778055.5314 | 1142944.1058
16 | 2778149.3467 | 1142968.7799
17 | 2778058.8312 | 1142937.512
18 | 2778165.3682 | 1142975.6578
19 | 2778516.1578 | 1143206.1245
20 | 2778318.7782 | 1143470.3642
21 | 2778281.78 | 1143420.7809
22 | 2778269.6473 | 1143398.7626
23 | 2778287.072 | 1143449.1188
24 | 2778250.4456 | 1143360.1549
25 | 2778281.2185 | 1143451.7115
26 | 2778277.1697 | 1143454.1753
27 | 2778235.2055 | 1143507.8584
28 | 2778418.9416 | 1143494.0694
29 | 2778119.6164 | 1143592.8287
30 | 2778119.7186 | 1143595.9766
31 | 2778119.5505 | 1143590.8011
32 | 2778187.7326 | 1143529.5754
33 | 2778346.0486 | 1143578.5084
34 | 2778187.7326 | 1143529.5754

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1