## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3792-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3792-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3792-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3792-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3792-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3792-13_0_4_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_3792-13_0_4_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_3792-13_0_4_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_3792-13_0_4_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_3792-13_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3792-13_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3792-13_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3792-13_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3792-13_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3792-13_0_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_3792-13_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_3792-13_0_4_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_3792-13_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_3792-13_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_3792-13_0_4_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_3792-13_0_4_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_3792-13_0_4_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_3792-13_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3792-13_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_3792-13_0_4_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_3792-13_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_3792-13_0_4_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_3792-13_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_3792-13_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_3792-13_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_3792-13_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3792-13_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_3792-13_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_3792-13_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_3792-13_0_4_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_3792-13_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_3792-13_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_3792-13_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3792-13_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_3792-13_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_3792-13_0_4_node_15 | 0.4 | n |  | TRUE
41 | bus_LV_3792-13_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_3792-13_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_3792-13_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_3792-13_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_3792-13_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_3792-13_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_3792-13_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_3792-13_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3792-13_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_3792-13_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_3792-13_0_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_3792-13_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_3792-13_0_4_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_3792-13_0_4_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_3792-13_0_4_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_3792-13_0_4_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_3792-13_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_3792-13_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_3792-13_0_4_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_3792-13_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_3792-13_0_4_node_62 | 0.4 | n |  | TRUE
62 | bus_MV_159_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3792-13_0_4_load_0 | 0 | 0.0038975 | 0.00097682 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3792-13_0_4_load_1 | 1 | 0.0041165 | 0.0010317 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3792-13_0_4_load_4 | 4 | 0.0038503 | 0.00096498 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3792-13_0_4_load_49 | 5 | 0.0022008 | 0.00055156 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3792-13_0_4_load_25 | 6 | 0.0029086 | 0.00072897 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3792-13_0_4_load_50 | 7 | 0.0016024 | 0.00040159 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3792-13_0_4_load_24 | 8 | 0.0026416 | 0.00066205 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3792-13_0_4_load_5 | 9 | 0.015624 | 0.0039158 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3792-13_0_4_load_6 | 10 | 0.012586 | 0.0031545 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3792-13_0_4_load_7 | 11 | 0.0065039 | 0.00163 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3792-13_0_4_load_9 | 13 | 0.0021957 | 0.00055029 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3792-13_0_4_load_22 | 15 | 0.011355 | 0.0028458 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3792-13_0_4_load_26 | 16 | 0.0083206 | 0.0020853 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3792-13_0_4_load_39 | 17 | 0.0020469 | 0.00051301 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3792-13_0_4_load_43 | 20 | 0.0049596 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3792-13_0_4_load_48 | 21 | 0.0016391 | 0.00041081 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3792-13_0_4_load_20 | 22 | 0.0038202 | 0.00095742 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3792-13_0_4_load_27 | 23 | 0.0068906 | 0.0017269 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3792-13_0_4_load_10 | 25 | 0.0066285 | 0.0016613 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3792-13_0_4_load_11 | 26 | 0.0080264 | 0.0020116 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3792-13_0_4_load_40 | 31 | 0.012845 | 0.0032193 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3792-13_0_4_load_31 | 32 | 0.0070784 | 0.001774 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3792-13_0_4_load_41 | 33 | 0.015779 | 0.0039547 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3792-13_0_4_load_42 | 38 | 0.001903 | 0.00047695 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3792-13_0_4_load_30 | 39 | 0.0031906 | 0.00079964 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3792-13_0_4_load_15 | 40 | 0.0034833 | 0.00087299 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3792-13_0_4_load_21 | 41 | 0.0017146 | 0.00042971 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3792-13_0_4_load_44 | 42 | 0.013552 | 0.0033966 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3792-13_0_4_load_33 | 44 | 0.0017009 | 0.00042629 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3792-13_0_4_load_34 | 45 | 0.0060592 | 0.0015186 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3792-13_0_4_load_47 | 46 | 0.0044646 | 0.0011189 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3792-13_0_4_load_35 | 47 | 0.0088075 | 0.0022074 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3792-13_0_4_load_36 | 48 | 0.0054573 | 0.0013677 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3792-13_0_4_load_37 | 49 | 0.0018943 | 0.00047475 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3792-13_0_4_load_52 | 50 | 0.003814 | 0.00095587 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3792-13_0_4_load_65 | 54 | 0.005667 | 0.0014203 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3792-13_0_4_load_63 | 55 | 0.00082321 | 0.00020632 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3792-13_0_4_load_64 | 56 | 0.001318 | 0.00033032 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3792-13_0_4_load_58 | 57 | 0.00084398 | 0.00021152 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3792-13_0_4_load_59 | 58 | 0.00045077 | 0.00011297 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3792-13_0_4_load_60 | 59 | 0.00072071 | 0.00018063 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3792-13_0_4_load_62 | 61 | 0.00075969 | 0.0001904 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3792-13_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3792-13_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0050799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3792-13_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.055421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3792-13_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.027287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3792-13_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.053505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3792-13_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.002655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3792-13_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.022791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3792-13_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.014817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3792-13_0_4_line_8 | NAYY 4x150 SE | 8 | 37 | 0.014229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3792-13_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.024796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3792-13_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.013175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3792-13_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.018293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3792-13_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0055439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3792-13_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.011842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3792-13_0_4_line_14 | NAYY 4x150 SE | 12 | 15 | 0.032845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3792-13_0_4_line_15 | NAYY 4x150 SE | 12 | 16 | 0.03061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3792-13_0_4_line_16 | NAYY 4x150 SE | 13 | 17 | 0.077072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3792-13_0_4_line_17 | NAYY 4x150 SE | 14 | 21 | 0.011214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3792-13_0_4_line_18 | NAYY 4x150 SE | 15 | 22 | 0.0024787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3792-13_0_4_line_19 | NAYY 4x150 SE | 16 | 23 | 0.079535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3792-13_0_4_line_20 | NAYY 4x150 SE | 17 | 24 | 0.21684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3792-13_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.012391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3792-13_0_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.011684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3792-13_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.0065703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3792-13_0_4_line_24 | NAYY 4x150 SE | 20 | 42 | 0.0082656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3792-13_0_4_line_25 | NAYY 4x150 SE | 22 | 41 | 0.020899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3792-13_0_4_line_26 | NAYY 4x150 SE | 24 | 54 | 0.0095953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3792-13_0_4_line_27 | NAYY 4x150 SE | 24 | 56 | 0.018905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3792-13_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.02382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3792-13_0_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0080371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3792-13_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.020925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3792-13_0_4_line_31 | NAYY 4x150 SE | 27 | 29 | 0.020453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3792-13_0_4_line_32 | NAYY 4x150 SE | 28 | 30 | 0.012205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_3792-13_0_4_line_33 | NAYY 4x150 SE | 28 | 31 | 0.020591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3792-13_0_4_line_34 | NAYY 4x150 SE | 29 | 32 | 0.015437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_3792-13_0_4_line_35 | NAYY 4x150 SE | 30 | 33 | 0.012735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3792-13_0_4_line_36 | NAYY 4x150 SE | 30 | 34 | 0.021145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3792-13_0_4_line_37 | NAYY 4x150 SE | 31 | 35 | 0.016208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3792-13_0_4_line_38 | NAYY 4x150 SE | 32 | 39 | 0.0087609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_3792-13_0_4_line_39 | NAYY 4x150 SE | 33 | 38 | 0.0047959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3792-13_0_4_line_40 | NAYY 4x150 SE | 34 | 40 | 0.017207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3792-13_0_4_line_41 | NAYY 4x150 SE | 35 | 49 | 0.010695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3792-13_0_4_line_42 | NAYY 4x150 SE | 36 | 37 | 0.018143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_3792-13_0_4_line_43 | NAYY 4x150 SE | 36 | 38 | 0.016351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3792-13_0_4_line_44 | NAYY 4x150 SE | 37 | 41 | 0.0072996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_3792-13_0_4_line_45 | NAYY 4x150 SE | 39 | 43 | 0.0067743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3792-13_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0064648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3792-13_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.01183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3792-13_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.12392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3792-13_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.03911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3792-13_0_4_line_50 | NAYY 4x150 SE | 47 | 49 | 0.014129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3792-13_0_4_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0078639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3792-13_0_4_line_52 | NAYY 4x150 SE | 51 | 52 | 0.017111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3792-13_0_4_line_53 | NAYY 4x150 SE | 52 | 56 | 0.0098841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3792-13_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.014809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3792-13_0_4_line_55 | NAYY 4x150 SE | 53 | 55 | 0.77837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3792-13_0_4_line_56 | NAYY 4x150 SE | 55 | 60 | 0.031002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3792-13_0_4_line_57 | NAYY 4x150 SE | 57 | 58 | 0.01114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3792-13_0_4_line_58 | NAYY 4x150 SE | 58 | 59 | 0.010953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3792-13_0_4_line_59 | NAYY 4x150 SE | 59 | 60 | 0.022609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3792-13_0_4_line_60 | NAYY 4x150 SE | 60 | 61 | 0.021088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3792-13_0_4_trafo_30 | 0.25 MVA 20/0.4 kV | 62 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2773597.7856 | 1141329.1375 | 2773635.2832 | 1141336.6374 | 2773649.7781 | 1141338.7786 | 2773659.6545 | 1141340.9981 | 2773665.873 | 1141343.3347 | 2773688.036 | 1141353.3147 | 2773694.3932 | 1141356.4449 | 2773698.6437 | 1141358.7248 | 2773704.6691 | 1141365.2355
1 | 2773592.8043 | 1141328.1412 | 2773597.7856 | 1141329.1375
2 | 2773741.4024 | 1141406.6318 | 2773735.5359 | 1141400.0904 | 2773729.0195 | 1141393.1411 | 2773722.2552 | 1141385.9844 | 2773716.6898 | 1141378.0727 | 2773709.239 | 1141370.1734 | 2773704.6691 | 1141365.2355
3 | 2773592.8043 | 1141328.1412 | 2773566.0955 | 1141322.5543
4 | 2773741.4024 | 1141406.6318 | 2773767.1364 | 1141386.9217 | 2773782.9251 | 1141372.9396
5 | 2773566.0955 | 1141322.5543 | 2773563.4968 | 1141322.0107
6 | 2773799.987 | 1141357.83 | 2773782.9251 | 1141372.9396
7 | 2773563.4968 | 1141322.0107 | 2773556.4317 | 1141320.5328 | 2773549.3634 | 1141317.7432
8 | 2773536.1276 | 1141312.5196 | 2773549.3634 | 1141317.7432
9 | 2773486.0775 | 1141388.9166 | 2773496.7951 | 1141381.306 | 2773505.0863 | 1141376.8514 | 2773507.2137 | 1141376.1533
10 | 2773486.0775 | 1141388.9166 | 2773485.1003 | 1141389.6106 | 2773474.4673 | 1141395.1228
11 | 2773525.1077 | 1141372.4898 | 2773510.4456 | 1141375.0928 | 2773507.2137 | 1141376.1533
12 | 2773469.5454 | 1141397.6743 | 2773474.4673 | 1141395.1228
13 | 2773536.2037 | 1141376.7126 | 2773525.1077 | 1141372.4898
14 | 2773525.1077 | 1141372.4898 | 2773523.9951 | 1141367.8425 | 2773521.5537 | 1141354.5605 | 2773521.7218 | 1141346.5804 | 2773522.9306 | 1141340.1123
15 | 2773525.1077 | 1141372.4898 | 2773542.0117 | 1141369.2507 | 2773553.2873 | 1141366.6949 | 2773555.0857 | 1141366.32
16 | 2773469.5454 | 1141397.6743 | 2773464.2472 | 1141400.4209 | 2773439.4157 | 1141407.5136 | 2773433.6801 | 1141403.1004 | 2773421.1143 | 1141393.5419 | 2773415.307 | 1141386.5354 | 2773408.3219 | 1141375.3892
17 | 2773536.2037 | 1141376.7126 | 2773538.5602 | 1141383.8534 | 2773539.7598 | 1141387.3475
18 | 2773522.9306 | 1141340.1123 | 2773523.386 | 1141337.6758
19 | 2773614.3226 | 1141403.8058 | 2773611.2386 | 1141391.7396 | 2773606.4096 | 1141380.4238 | 2773600.2513 | 1141375.9983 | 2773582.9759 | 1141368.8839 | 2773563.1328 | 1141364.6428 | 2773555.0857 | 1141366.32
20 | 2773408.3219 | 1141375.3892 | 2773191.4963 | 1141372.93
21 | 2773541.8735 | 1141393.5685 | 2773535.3914 | 1141404.136
22 | 2773535.3914 | 1141404.136 | 2773538.4808 | 1141414.145 | 2773538.8273 | 1141415.3029
23 | 2773541.8735 | 1141393.5685 | 2773540.9666 | 1141390.8622 | 2773539.7598 | 1141387.3475
24 | 2773538.8273 | 1141415.3029 | 2773541.1969 | 1141423.2216
25 | 2773532.8293 | 1141319.0316 | 2773523.386 | 1141337.6758 | 2773523.386 | 1141337.6758
26 | 2773191.4963 | 1141372.93 | 2773188.7416 | 1141371.8723 | 2773182.5378 | 1141369.4927
27 | 2773191.4963 | 1141372.93 | 2773186.6491 | 1141387.6708 | 2773185.4062 | 1141389.9594 | 2773185.0079 | 1141390.6337
28 | 2773541.2416 | 1141256.9857 | 2773526.2691 | 1141254.5954 | 2773517.6339 | 1141255.2255
29 | 2773516.6733 | 1141263.205 | 2773517.6339 | 1141255.2255
30 | 2773561.5038 | 1141262.1931 | 2773542.2451 | 1141257.1459 | 2773541.2416 | 1141256.9857
31 | 2773519.3522 | 1141283.4779 | 2773516.6733 | 1141263.205
32 | 2773561.5038 | 1141262.1931 | 2773556.0423 | 1141273.1125
33 | 2773561.5038 | 1141262.1931 | 2773567.193 | 1141250.3127 | 2773569.3439 | 1141243.2126
34 | 2773519.3522 | 1141283.4779 | 2773514.4043 | 1141288.0509 | 2773508.0321 | 1141290.5144 | 2773506.212 | 1141290.9322
35 | 2773556.0423 | 1141273.1125 | 2773546.6367 | 1141274.0429 | 2773545.5846 | 1141276.3814 | 2773545.3017 | 1141277.0428
36 | 2773556.0423 | 1141273.1125 | 2773554.1469 | 1141276.9503 | 2773569.4129 | 1141284.1179
37 | 2773568.6378 | 1141227.1113 | 2773569.8416 | 1141235.0085 | 2773569.3439 | 1141243.2126
38 | 2773506.212 | 1141290.9322 | 2773497.6732 | 1141292.8924
39 | 2773545.3017 | 1141277.0428 | 2773543.4154 | 1141281.4522
40 | 2773569.4129 | 1141284.1179 | 2773584.9841 | 1141291.4403
41 | 2773568.6378 | 1141227.1113 | 2773564.4623 | 1141217.265
42 | 2773544.2348 | 1141296.2826 | 2773537.8424 | 1141309.0769 | 2773536.1276 | 1141312.5196
43 | 2773544.2348 | 1141296.2826 | 2773540.393 | 1141288.6208 | 2773541.2375 | 1141286.5433 | 2773543.4154 | 1141281.4522
44 | 2773536.1276 | 1141312.5196 | 2773532.8293 | 1141319.0316
45 | 2773491.0707 | 1141294.4081 | 2773497.6732 | 1141292.8924
46 | 2773491.0707 | 1141294.4081 | 2773484.6132 | 1141294.7169
47 | 2773491.0707 | 1141294.4081 | 2773490.1054 | 1141282.6172
48 | 2773423.2464 | 1141199.0179 | 2773425.2391 | 1141209.4512 | 2773426.4894 | 1141215.7372 | 2773429.5206 | 1141221.0957 | 2773442.241 | 1141238.132 | 2773452.8589 | 1141251.4936 | 2773455.8031 | 1141260.1415 | 2773458.6841 | 1141267.2418 | 2773467.7281 | 1141294.1258 | 2773471.7747 | 1141295.7435 | 2773482.6497 | 1141294.8108 | 2773484.6132 | 1141294.7169
49 | 2773538.7326 | 1141170.7294 | 2773540.6585 | 1141174.0592 | 2773558.4359 | 1141204.5132
50 | 2773564.4623 | 1141217.265 | 2773560.698 | 1141208.3884 | 2773558.4359 | 1141204.5132
51 | 2773164.3997 | 1141407.7392 | 2773159.9844 | 1141411.1934 | 2773158.557 | 1141412.9429
52 | 2773164.3997 | 1141407.7392 | 2773169.358 | 1141404.4007 | 2773178.5862 | 1141398.1154
53 | 2773178.5862 | 1141398.1154 | 2773184.3145 | 1141391.8075 | 2773185.0079 | 1141390.6337
54 | 2773168.3992 | 1141365.1826 | 2773176.7335 | 1141367.2569 | 2773177.616 | 1141367.6048 | 2773182.5378 | 1141369.4927
55 | 2773168.3992 | 1141365.1826 | 2772547.9181 | 1140895.2144
56 | 2772525.212 | 1140874.5255 | 2772526.836 | 1140877.1966 | 2772528.8525 | 1140879.8677 | 2772533.1109 | 1140884.0487 | 2772546.3815 | 1140894.3372 | 2772547.9181 | 1140895.2144
57 | 2772514.0583 | 1140831.3826 | 2772515.3412 | 1140836.2983 | 2772516.8042 | 1140842.1786
58 | 2772516.8042 | 1140842.1786 | 2772516.8042 | 1140842.1786 | 2772518.6373 | 1140852.9772
59 | 2772525.212 | 1140874.5255 | 2772522.6535 | 1140868.4804 | 2772520.4286 | 1140861.7997 | 2772518.8454 | 1140854.2033 | 2772518.6373 | 1140852.9772
60 | 2772525.212 | 1140874.5255 | 2772532.0893 | 1140872.1533 | 2772538.5927 | 1140873.7073 | 2772545.7733 | 1140873.9127

## bus_geodata
| x | y | coords
0 | 2773597.7856 | 1141329.1375
1 | 2773704.6691 | 1141365.2355
2 | 2773592.8043 | 1141328.1412
3 | 2773741.4024 | 1141406.6318
4 | 2773566.0955 | 1141322.5543
5 | 2773782.9251 | 1141372.9396
6 | 2773563.4968 | 1141322.0107
7 | 2773799.987 | 1141357.83
8 | 2773549.3634 | 1141317.7432
9 | 2773486.0775 | 1141388.9166
10 | 2773507.2137 | 1141376.1533
11 | 2773474.4673 | 1141395.1228
12 | 2773525.1077 | 1141372.4898
13 | 2773469.5454 | 1141397.6743
14 | 2773536.2037 | 1141376.7126
15 | 2773522.9306 | 1141340.1123
16 | 2773555.0857 | 1141366.32
17 | 2773408.3219 | 1141375.3892
18 | 2773535.3914 | 1141404.136
19 | 2773541.8735 | 1141393.5685
20 | 2773538.8273 | 1141415.3029
21 | 2773539.7598 | 1141387.3475
22 | 2773523.386 | 1141337.6758
23 | 2773614.3226 | 1141403.8058
24 | 2773191.4963 | 1141372.93
25 | 2773517.6339 | 1141255.2255
26 | 2773541.2416 | 1141256.9857
27 | 2773516.6733 | 1141263.205
28 | 2773561.5038 | 1141262.1931
29 | 2773519.3522 | 1141283.4779
30 | 2773556.0423 | 1141273.1125
31 | 2773569.3439 | 1141243.2126
32 | 2773506.212 | 1141290.9322
33 | 2773545.3017 | 1141277.0428
34 | 2773569.4129 | 1141284.1179
35 | 2773568.6378 | 1141227.1113
36 | 2773544.2348 | 1141296.2826
37 | 2773536.1276 | 1141312.5196
38 | 2773543.4154 | 1141281.4522
39 | 2773497.6732 | 1141292.8924
40 | 2773584.9841 | 1141291.4403
41 | 2773532.8293 | 1141319.0316
42 | 2773541.1969 | 1141423.2216
43 | 2773491.0707 | 1141294.4081
44 | 2773484.6132 | 1141294.7169
45 | 2773490.1054 | 1141282.6172
46 | 2773423.2464 | 1141199.0179
47 | 2773558.4359 | 1141204.5132
48 | 2773538.7326 | 1141170.7294
49 | 2773564.4623 | 1141217.265
50 | 2773158.557 | 1141412.9429
51 | 2773164.3997 | 1141407.7392
52 | 2773178.5862 | 1141398.1154
53 | 2773168.3992 | 1141365.1826
54 | 2773182.5378 | 1141369.4927
55 | 2772547.9181 | 1140895.2144
56 | 2773185.0079 | 1141390.6337
57 | 2772514.0583 | 1140831.3826
58 | 2772516.8042 | 1140842.1786
59 | 2772518.6373 | 1140852.9772
60 | 2772525.212 | 1140874.5255
61 | 2772545.7733 | 1140873.9127
62 | 2773497.6732 | 1141292.8924

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1