## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3792-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3792-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3792-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3792-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3792-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3792-16_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3792-16_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3792-16_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3792-16_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_3792-16_0_4_node_87 | 0.4 | n |  | TRUE
10 | bus_LV_3792-16_0_4_node_88 | 0.4 | n |  | TRUE
11 | bus_LV_3792-16_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_3792-16_0_4_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_3792-16_0_4_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_3792-16_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3792-16_0_4_node_86 | 0.4 | n |  | TRUE
16 | bus_LV_3792-16_0_4_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_3792-16_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3792-16_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3792-16_0_4_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_3792-16_0_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_3792-16_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3792-16_0_4_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_3792-16_0_4_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_3792-16_0_4_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_3792-16_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3792-16_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3792-16_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3792-16_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3792-16_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3792-16_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3792-16_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_3792-16_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3792-16_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_3792-16_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3792-16_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3792-16_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_3792-16_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_3792-16_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3792-16_0_4_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_3792-16_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_3792-16_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_3792-16_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_3792-16_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3792-16_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3792-16_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_3792-16_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_3792-16_0_4_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_3792-16_0_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_3792-16_0_4_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_3792-16_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_3792-16_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3792-16_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_3792-16_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_3792-16_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_3792-16_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3792-16_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_3792-16_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_3792-16_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_3792-16_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_3792-16_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_3792-16_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_3792-16_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_3792-16_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_3792-16_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_3792-16_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_3792-16_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_3792-16_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_3792-16_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_3792-16_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_3792-16_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_3792-16_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_3792-16_0_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_3792-16_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_3792-16_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3792-16_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_3792-16_0_4_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_3792-16_0_4_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_3792-16_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_3792-16_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_3792-16_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_3792-16_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3792-16_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_3792-16_0_4_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_3792-16_0_4_node_85 | 0.4 | n |  | TRUE
85 | bus_MV_159_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3792-16_0_4_load_0 | 0 | 0.00059393 | 0.00014885 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3792-16_0_4_load_3 | 3 | 0.0013887 | 0.00034803 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3792-16_0_4_load_7 | 5 | 0.016295 | 0.004084 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3792-16_0_4_load_11 | 8 | 0.0025368 | 0.00063579 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3792-16_0_4_load_88 | 10 | 0.0025899 | 0.00064908 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3792-16_0_4_load_63 | 12 | 0.0077756 | 0.0019488 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3792-16_0_4_load_10 | 14 | 0.00055836 | 0.00013994 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3792-16_0_4_load_86 | 15 | 0.0012829 | 0.00032153 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3792-16_0_4_load_89 | 16 | 0.0047115 | 0.0011808 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3792-16_0_4_load_13 | 17 | 0.00047219 | 0.00011834 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3792-16_0_4_load_14 | 18 | 0.00043821 | 0.00010983 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3792-16_0_4_load_65 | 19 | 0.0063933 | 0.0016023 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3792-16_0_4_load_35 | 20 | 0.0021849 | 0.00054758 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3792-16_0_4_load_15 | 21 | 0.00045033 | 0.00011286 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3792-16_0_4_load_56 | 23 | 0.0024945 | 0.00062517 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3792-16_0_4_load_52 | 24 | 0.0030875 | 0.00077381 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3792-16_0_4_load_16 | 25 | 0.0025512 | 0.00063939 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3792-16_0_4_load_17 | 26 | 0.0038723 | 0.00097048 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3792-16_0_4_load_19 | 28 | 0.0030907 | 0.0007746 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3792-16_0_4_load_20 | 29 | 0.0017436 | 0.00043698 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3792-16_0_4_load_22 | 31 | 0.0043119 | 0.0010807 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3792-16_0_4_load_23 | 32 | 0.0025182 | 0.00063111 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3792-16_0_4_load_25 | 34 | 0.010065 | 0.0025224 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3792-16_0_4_load_26 | 35 | 0.0042375 | 0.001062 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3792-16_0_4_load_27 | 36 | 0.003893 | 0.00097567 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3792-16_0_4_load_32 | 38 | 0.0019147 | 0.00047987 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3792-16_0_4_load_72 | 39 | 0.010547 | 0.0026432 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3792-16_0_4_load_40 | 41 | 0.0022512 | 0.00056421 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3792-16_0_4_load_33 | 42 | 0.0023088 | 0.00057864 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3792-16_0_4_load_28 | 43 | 0.0071267 | 0.0017861 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3792-16_0_4_load_29 | 44 | 0.0017749 | 0.00044483 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3792-16_0_4_load_30 | 45 | 0.0037793 | 0.00094718 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3792-16_0_4_load_31 | 46 | 0.0033365 | 0.00083621 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3792-16_0_4_load_64 | 47 | 0.0021946 | 0.00055003 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3792-16_0_4_load_69 | 48 | 0.0032685 | 0.00081916 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3792-16_0_4_load_34 | 49 | 0.0027249 | 0.00068293 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3792-16_0_4_load_36 | 50 | 0.0036975 | 0.00092668 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3792-16_0_4_load_43 | 51 | 0.0017793 | 0.00044594 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3792-16_0_4_load_49 | 52 | 0.0011153 | 0.00027951 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3792-16_0_4_load_48 | 53 | 0.0013773 | 0.00034519 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3792-16_0_4_load_41 | 54 | 0.0014703 | 0.00036849 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3792-16_0_4_load_42 | 55 | 0.0013034 | 0.00032666 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3792-16_0_4_load_47 | 56 | 0.0013523 | 0.00033891 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3792-16_0_4_load_44 | 57 | 0.0014916 | 0.00037384 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3792-16_0_4_load_45 | 59 | 0.001974 | 0.00049472 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3792-16_0_4_load_46 | 60 | 0.0012829 | 0.00032154 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3792-16_0_4_load_66 | 61 | 0.0017833 | 0.00044695 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3792-16_0_4_load_67 | 62 | 0.0015446 | 0.00038711 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3792-16_0_4_load_53 | 64 | 0.0030936 | 0.00077532 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3792-16_0_4_load_55 | 65 | 0.0054437 | 0.0013643 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3792-16_0_4_load_57 | 66 | 0.0030609 | 0.00076714 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3792-16_0_4_load_58 | 67 | 0.0049719 | 0.0012461 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3792-16_0_4_load_59 | 68 | 0.001722 | 0.00043157 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3792-16_0_4_load_60 | 69 | 0.0024691 | 0.00061882 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3792-16_0_4_load_61 | 70 | 0.0015735 | 0.00039436 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3792-16_0_4_load_62 | 71 | 0.003304 | 0.00082806 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3792-16_0_4_load_71 | 72 | 0.0027825 | 0.00069737 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3792-16_0_4_load_70 | 73 | 0.001754 | 0.00043959 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3792-16_0_4_load_68 | 74 | 0.0013578 | 0.00034029 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3792-16_0_4_load_73 | 75 | 0.0033606 | 0.00084225 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3792-16_0_4_load_83 | 76 | 0.0010954 | 0.00027454 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3792-16_0_4_load_82 | 77 | 0.0012864 | 0.00032239 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3792-16_0_4_load_76 | 78 | 0.0019468 | 0.00048792 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3792-16_0_4_load_77 | 79 | 0.0019705 | 0.00049384 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3792-16_0_4_load_81 | 82 | 0.0016034 | 0.00040185 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3792-16_0_4_load_84 | 83 | 0.0011323 | 0.00028378 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3792-16_0_4_load_85 | 84 | 0.0010961 | 0.0002747 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3792-16_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0059279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3792-16_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3792-16_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3792-16_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.095851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3792-16_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.04692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3792-16_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.25591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_3792-16_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.00682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3792-16_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.042615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3792-16_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.11422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3792-16_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3792-16_0_4_line_10 | NAYY 4x150 SE | 7 | 14 | 0.025988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_3792-16_0_4_line_11 | NAYY 4x150 SE | 9 | 15 | 0.030414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3792-16_0_4_line_12 | NAYY 4x150 SE | 10 | 16 | 0.0071915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3792-16_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3792-16_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.015425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3792-16_0_4_line_15 | NAYY 4x150 SE | 12 | 19 | 0.027536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3792-16_0_4_line_16 | NAYY 4x150 SE | 13 | 20 | 0.016676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3792-16_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.011064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3792-16_0_4_line_18 | NAYY 4x150 SE | 15 | 82 | 0.0015924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3792-16_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.043104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_3792-16_0_4_line_20 | NAYY 4x150 SE | 18 | 21 | 0.059858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_3792-16_0_4_line_21 | NAYY 4x150 SE | 19 | 66 | 0.0018089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_3792-16_0_4_line_22 | NAYY 4x150 SE | 20 | 33 | 0.037269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3792-16_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.1178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3792-16_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.056972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_3792-16_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.057359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3792-16_0_4_line_26 | NAYY 4x150 SE | 23 | 66 | 0.012676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3792-16_0_4_line_27 | NAYY 4x150 SE | 24 | 64 | 0.0041188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3792-16_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.015186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3792-16_0_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.010914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3792-16_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.015853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3792-16_0_4_line_31 | NAYY 4x150 SE | 26 | 29 | 0.037231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3792-16_0_4_line_32 | NAYY 4x150 SE | 27 | 30 | 0.05104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3792-16_0_4_line_33 | NAYY 4x150 SE | 27 | 31 | 0.021911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3792-16_0_4_line_34 | NAYY 4x150 SE | 28 | 32 | 0.022005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3792-16_0_4_line_35 | NAYY 4x150 SE | 29 | 33 | 0.017982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3792-16_0_4_line_36 | NAYY 4x150 SE | 30 | 34 | 0.010084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3792-16_0_4_line_37 | NAYY 4x150 SE | 30 | 35 | 0.022245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3792-16_0_4_line_38 | NAYY 4x150 SE | 31 | 36 | 0.0031312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3792-16_0_4_line_39 | NAYY 4x150 SE | 32 | 37 | 0.0057702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3792-16_0_4_line_40 | NAYY 4x150 SE | 33 | 38 | 0.0082861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3792-16_0_4_line_41 | NAYY 4x150 SE | 35 | 39 | 0.024562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3792-16_0_4_line_42 | NAYY 4x150 SE | 37 | 40 | 0.010269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3792-16_0_4_line_43 | NAYY 4x150 SE | 37 | 41 | 0.03154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3792-16_0_4_line_44 | NAYY 4x150 SE | 38 | 42 | 6.5988e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3792-16_0_4_line_45 | NAYY 4x150 SE | 40 | 54 | 0.091611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3792-16_0_4_line_46 | NAYY 4x150 SE | 40 | 55 | 0.015664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3792-16_0_4_line_47 | NAYY 4x150 SE | 42 | 49 | 0.0059525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3792-16_0_4_line_48 | NAYY 4x150 SE | 43 | 44 | 0.015175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3792-16_0_4_line_49 | NAYY 4x150 SE | 43 | 45 | 0.0079671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3792-16_0_4_line_50 | NAYY 4x150 SE | 45 | 46 | 1.0303e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3792-16_0_4_line_51 | NAYY 4x150 SE | 46 | 47 | 0.00059592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3792-16_0_4_line_52 | NAYY 4x150 SE | 47 | 48 | 0.0094436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3792-16_0_4_line_53 | NAYY 4x150 SE | 48 | 51 | 0.012039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3792-16_0_4_line_54 | NAYY 4x150 SE | 49 | 50 | 0.00019797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3792-16_0_4_line_55 | NAYY 4x150 SE | 50 | 51 | 0.012312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3792-16_0_4_line_56 | NAYY 4x150 SE | 52 | 53 | 0.0080065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3792-16_0_4_line_57 | NAYY 4x150 SE | 53 | 63 | 0.077831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3792-16_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.018679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3792-16_0_4_line_59 | NAYY 4x150 SE | 55 | 57 | 0.0099557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3792-16_0_4_line_60 | NAYY 4x150 SE | 56 | 58 | 0.084707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3792-16_0_4_line_61 | NAYY 4x150 SE | 57 | 59 | 0.0030118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3792-16_0_4_line_62 | NAYY 4x150 SE | 58 | 63 | 0.080034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3792-16_0_4_line_63 | NAYY 4x150 SE | 59 | 60 | 0.022328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3792-16_0_4_line_64 | NAYY 4x150 SE | 60 | 61 | 0.051942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3792-16_0_4_line_65 | NAYY 4x150 SE | 61 | 62 | 3.6402e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3792-16_0_4_line_66 | NAYY 4x150 SE | 62 | 74 | 0.0073743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3792-16_0_4_line_67 | NAYY 4x150 SE | 64 | 65 | 0.0078386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3792-16_0_4_line_68 | NAYY 4x150 SE | 67 | 68 | 0.013723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3792-16_0_4_line_69 | NAYY 4x150 SE | 67 | 69 | 0.0041174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3792-16_0_4_line_70 | NAYY 4x150 SE | 69 | 70 | 0.01665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3792-16_0_4_line_71 | NAYY 4x150 SE | 70 | 71 | 0.021968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3792-16_0_4_line_72 | NAYY 4x150 SE | 71 | 72 | 0.017157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3792-16_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0073947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3792-16_0_4_line_74 | NAYY 4x150 SE | 73 | 74 | 0.074991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3792-16_0_4_line_75 | NAYY 4x150 SE | 75 | 76 | 0.54057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3792-16_0_4_line_76 | NAYY 4x150 SE | 76 | 77 | 0.044469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3792-16_0_4_line_77 | NAYY 4x150 SE | 77 | 81 | 0.016965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3792-16_0_4_line_78 | NAYY 4x150 SE | 78 | 79 | 0.026062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3792-16_0_4_line_79 | NAYY 4x150 SE | 78 | 80 | 0.014221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3792-16_0_4_line_80 | NAYY 4x150 SE | 80 | 81 | 0.028964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3792-16_0_4_line_81 | NAYY 4x150 SE | 80 | 82 | 0.013459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3792-16_0_4_line_82 | NAYY 4x150 SE | 81 | 83 | 0.016852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3792-16_0_4_line_83 | NAYY 4x150 SE | 81 | 84 | 0.045916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3792-16_0_4_trafo_35 | 0.25 MVA 20/0.4 kV | 85 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2773770.8508 | 1141934.7756 | 2773770.347 | 1141933.3042 | 2773770.2246 | 1141931.677 | 2773770.4472 | 1141929.8262 | 2773770.8174 | 1141929.0315
1 | 2773787.4657 | 1141908.1523 | 2773786.0943 | 1141907.9571 | 2773784.7187 | 1141907.9063 | 2773783.3735 | 1141908.1345 | 2773782.1946 | 1141909.2682 | 2773771.2754 | 1141928.0484 | 2773770.8174 | 1141929.0315
2 | 2773770.8508 | 1141934.7756 | 2773760.2971 | 1141940.6102 | 2773747.986 | 1141945.4935 | 2773747.7134 | 1141945.6568
3 | 2773770.8508 | 1141934.7756 | 2773826.5302 | 1141969.2878 | 2773810.003 | 1141994.7346
4 | 2773787.4657 | 1141908.1523 | 2773789.5344 | 1141909.5131 | 2773808.8035 | 1141920.5224 | 2773815.9823 | 1141909.0077 | 2773823.3944 | 1141913.6809
5 | 2773810.003 | 1141994.7346 | 2773826.5302 | 1141969.2878 | 2773841.9161 | 1141947.4114 | 2773867.6463 | 1141908.5622 | 2773872.4348 | 1141904.4409 | 2773877.4334 | 1141900.7705 | 2773883.8499 | 1141897.5525 | 2773890.4817 | 1141894.3407 | 2773900.9641 | 1141893.3863 | 2773906.503 | 1141893.6573 | 2773912.0169 | 1141894.5281 | 2773917.6393 | 1141896.1693 | 2773923.5881 | 1141898.4984 | 2773931.6764 | 1141900.2664 | 2773935.4685 | 1141900.5538 | 2773938.9096 | 1141900.4751 | 2773941.8356 | 1141899.8478 | 2773944.4136 | 1141898.4875 | 2773949.3008 | 1141893.346 | 2773954.6651 | 1141883.9366 | 2773958.1671 | 1141871.3485 | 2773960.5243 | 1141850.709 | 2773961.7214 | 1141832.6829
6 | 2773803.7433 | 1141991.9852 | 2773810.003 | 1141994.7346
7 | 2773810.003 | 1141994.7346 | 2773835.2001 | 1142007.7165 | 2773841.4229 | 1142011.21 | 2773846.9521 | 1142014.7502 | 2773847.4196 | 1142015.0733
8 | 2774046.7803 | 1141769.6676 | 2774034.7667 | 1141769.0206 | 2774019.7577 | 1141773.2694 | 2774003.0394 | 1141782.3622 | 2773989.8082 | 1141792.7233 | 2773972.8201 | 1141811.1724 | 2773961.4282 | 1141824.7117 | 2773961.7214 | 1141832.6829
9 | 2773961.7214 | 1141832.6829 | 2773974.8192 | 1141836.8086 | 2773986.57 | 1141836.9586 | 2774000.7304 | 1141841.849 | 2774015.5562 | 1141850.8735 | 2774032.7872 | 1141860.3788
10 | 2773803.7433 | 1141991.9852 | 2773798.2179 | 1142006.7282 | 2773794.0175 | 1142016.0711
11 | 2774046.7803 | 1141769.6676 | 2774053.6549 | 1141775.9048 | 2774067.3074 | 1141792.0347
12 | 2774039.0842 | 1141863.8525 | 2774032.7872 | 1141860.3788
13 | 2773960.6741 | 1142118.02 | 2773955.6945 | 1142119.9671 | 2773953.9593 | 1142120.651 | 2773950.7723 | 1142120.459 | 2773939.9215 | 1142112.6048
14 | 2773960.6741 | 1142118.02 | 2773967.3889 | 1142124.7196 | 2773971.6061 | 1142128.9338
15 | 2773914.8232 | 1142110.0157 | 2773915.3828 | 1142109.3512 | 2773922.7984 | 1142106.6959 | 2773927.9828 | 1142106.4451 | 2773934.1944 | 1142108.4593 | 2773939.9215 | 1142112.6048
16 | 2773971.6061 | 1142128.9338 | 2773972.4122 | 1142138.321 | 2773977.3237 | 1142143.6601
17 | 2773794.0175 | 1142016.0711 | 2773794.0175 | 1142016.0711 | 2773787.1666 | 1142024.7594
18 | 2774068.3407 | 1141793.2463 | 2774068.2438 | 1141793.141 | 2774067.3074 | 1141792.0347
19 | 2773787.1666 | 1142024.7594 | 2773787.1666 | 1142024.7594 | 2773782.7853 | 1142028.1029 | 2773772.3335 | 1142030.404 | 2773762.2488 | 1142029.5796 | 2773756.3081 | 1142030.9764 | 2773750.0167 | 1142033.8646 | 2773747.1928 | 1142036.3274
20 | 2773756.6112 | 1142086.8789 | 2773746.9609 | 1142070.4983 | 2773739.3641 | 1142061.2936 | 2773737.5366 | 1142055.5692 | 2773737.2992 | 1142050.1908 | 2773738.5713 | 1142045.5566 | 2773741.8572 | 1142040.9805 | 2773747.1928 | 1142036.3274
21 | 2773913.658 | 1142111.3993 | 2773914.8232 | 1142110.0157
22 | 2773996.7677 | 1142175.3676 | 2773992.2029 | 1142168.0072 | 2773983.7405 | 1142152.2935 | 2773977.7825 | 1142144.1589 | 2773977.3237 | 1142143.6601
23 | 2773849.3877 | 1142133.5825 | 2773842.1363 | 1142127.6127 | 2773835.15 | 1142126.5883 | 2773813.6162 | 1142129.0481 | 2773783.5577 | 1142126.747 | 2773778.4552 | 1142124.954 | 2773774.2504 | 1142120.3065 | 2773767.2689 | 1142104.9695 | 2773756.6112 | 1142086.8789
24 | 2773849.3877 | 1142133.5825 | 2773862.7008 | 1142129.9517 | 2773873.6091 | 1142127.2858 | 2773883.1583 | 1142121.6003 | 2773896.5804 | 1142117.6613 | 2773903.4186 | 1142117.4454
25 | 2773849.3877 | 1142133.5825 | 2773853.3598 | 1142146.0304 | 2773857.5404 | 1142151.5113 | 2773862.9029 | 1142154.9578 | 2773892.4964 | 1142164.2719
26 | 2773903.4186 | 1142117.4454 | 2773906.7057 | 1142117.3417 | 2773909.6954 | 1142116.1045 | 2773913.658 | 1142111.3993
27 | 2773892.4964 | 1142164.2719 | 2773896.4252 | 1142165.5085
28 | 2774027.1364 | 1142221.2845 | 2774016.2558 | 1142231.878
29 | 2774009.3163 | 1142240.0764 | 2774010.2297 | 1142237.7451 | 2774016.2558 | 1142231.878
30 | 2774027.1364 | 1142221.2845 | 2774032.5558 | 1142228.3472 | 2774036.9742 | 1142233.713
31 | 2774027.1364 | 1142221.2845 | 2774021.835 | 1142214.3921 | 2774011.0591 | 1142200.7469 | 2774005.7123 | 1142190.9639
32 | 2774009.3163 | 1142240.0764 | 2774005.8564 | 1142241.6114 | 2773996.2776 | 1142255.5255 | 2773992.9071 | 1142257.6969 | 2773987.9915 | 1142256.632 | 2773978.7252 | 1142252.2498 | 2773969.1279 | 1142246.5458
33 | 2774009.3163 | 1142240.0764 | 2774004.9137 | 1142238.8262 | 2774000.9409 | 1142237.3436 | 2773994.769 | 1142234.2295 | 2773992.1006 | 1142233.3963 | 2773988.7679 | 1142233.9896
34 | 2774036.9742 | 1142233.713 | 2774043.1838 | 1142241.2542 | 2774051.8805 | 1142249.8625
35 | 2773996.7677 | 1142175.3676 | 2773998.3996 | 1142177.9948 | 2774003.4015 | 1142186.7358 | 2774005.7123 | 1142190.9639
36 | 2773969.1279 | 1142246.5458 | 2773969.6644 | 1142242.8802 | 2773968.6387 | 1142240.5707 | 2773966.6611 | 1142239.257 | 2773967.1554 | 1142237.8589
37 | 2773969.1279 | 1142246.5458 | 2773967.8734 | 1142245.7645 | 2773956.4079 | 1142242.1529 | 2773952.4812 | 1142241.2055 | 2773951.9616 | 1142245.8837
38 | 2773987.311 | 1142236.7612 | 2773988.7679 | 1142233.9896
39 | 2774056.2354 | 1142253.6084 | 2774054.5368 | 1142252.4917 | 2774051.8805 | 1142249.8625
40 | 2773996.7677 | 1142175.3676 | 2773989.5982 | 1142179.522
41 | 2773961.0384 | 1142266.1635 | 2773963.0431 | 1142262.8072 | 2773962.1132 | 1142258.7768 | 2773954.8763 | 1142248.3143 | 2773951.9616 | 1142245.8837
42 | 2774056.2354 | 1142253.6084 | 2774064.8261 | 1142259.2724
43 | 2774076.6034 | 1142231.565 | 2774073.1074 | 1142231.6864 | 2774067.0866 | 1142236.3948 | 2774059.7208 | 1142246.3913 | 2774056.2354 | 1142253.6084
44 | 2773989.5411 | 1142179.5551 | 2773989.5982 | 1142179.522
45 | 2774064.8261 | 1142259.2724 | 2774079.4633 | 1142268.9255 | 2774080.4161 | 1142269.7648 | 2774094.9474 | 1142282.5511 | 2774112.7822 | 1142306.9431 | 2774125.9454 | 1142326.0896
46 | 2774064.8261 | 1142259.2724 | 2774060.2086 | 1142264.9331 | 2774060.2194 | 1142267.7582 | 2774060.5291 | 1142273.2832
47 | 2773984.3908 | 1142182.5394 | 2773989.5411 | 1142179.5551
48 | 2773941.5234 | 1142148.8549 | 2773944.6762 | 1142149.3759 | 2773947.278 | 1142150.3851 | 2773948.7669 | 1142152.3743 | 2773950.0695 | 1142158.9511 | 2773950.0695 | 1142158.9511
49 | 2773950.0695 | 1142158.9511 | 2773951.7361 | 1142160.3782 | 2773954.5186 | 1142162.0599 | 2773956.6903 | 1142163.3416
50 | 2773956.6903 | 1142163.3416 | 2773956.6992 | 1142163.3468
51 | 2773956.6992 | 1142163.3468 | 2773957.2124 | 1142163.6497
52 | 2773957.2124 | 1142163.6497 | 2773962.3245 | 1142166.6668 | 2773965.4893 | 1142168.1791
53 | 2773976.3519 | 1142173.3698 | 2773965.4893 | 1142168.1791
54 | 2773984.2834 | 1142182.3731 | 2773984.3908 | 1142182.5394 | 2773984.3908 | 1142182.5394
55 | 2773976.3519 | 1142173.3698 | 2773977.2352 | 1142173.7919 | 2773979.6634 | 1142175.2188 | 2773984.2834 | 1142182.3731
56 | 2774133.615 | 1142228.2834 | 2774129.0697 | 1142222.9598 | 2774128.3597 | 1142222.2463
57 | 2774170.4698 | 1142296.5207 | 2774157.8473 | 1142269.5877 | 2774147.6558 | 1142248.2411 | 2774137.1208 | 1142232.3895 | 2774133.615 | 1142228.2834
58 | 2774125.9454 | 1142326.0896 | 2774126.6907 | 1142327.1737 | 2774127.9399 | 1142329.4674 | 2774132.586 | 1142337.998 | 2774135.5295 | 1142342.0866
59 | 2774060.5291 | 1142273.2832 | 2774060.5291 | 1142273.2832 | 2774063.2742 | 1142276.7878 | 2774067.5012 | 1142280.3129
60 | 2774214.1839 | 1142362.9089 | 2774188.0592 | 1142366.6692 | 2774178.3751 | 1142362.1189 | 2774164.8736 | 1142355.768 | 2774143.3511 | 1142347.7396 | 2774139.1033 | 1142345.3927 | 2774135.5295 | 1142342.0866 | 2774135.5295 | 1142342.0866
61 | 2774069.8143 | 1142282.2418 | 2774067.5012 | 1142280.3129
62 | 2774214.1839 | 1142362.9089 | 2774203.3035 | 1142351.3065 | 2774193.8948 | 1142340.414 | 2774185.5909 | 1142326.9623 | 2774170.4698 | 1142296.5207
63 | 2774079.3884 | 1142299.763 | 2774080.1409 | 1142296.8812 | 2774080.1709 | 1142291.3104 | 2774077.9446 | 1142289.0219 | 2774069.8143 | 1142282.2418
64 | 2774079.3884 | 1142299.763 | 2774070.2984 | 1142334.5756 | 2774068.9836 | 1142337.2179 | 2774066.5419 | 1142338.9267 | 2774062.932 | 1142339.2674 | 2774056.5332 | 1142339.5466
65 | 2774056.4968 | 1142339.5482 | 2774056.5332 | 1142339.5466
66 | 2774056.4968 | 1142339.5482 | 2774049.1295 | 1142339.8696
67 | 2773903.9023 | 1142167.8618 | 2773896.4252 | 1142165.5085
68 | 2773909.142 | 1142317.3862 | 2773895.7098 | 1142314.5742
69 | 2773909.142 | 1142317.3862 | 2773913.1721 | 1142318.2299
70 | 2773913.1721 | 1142318.2299 | 2773929.4692 | 1142321.6417
71 | 2773950.9707 | 1142326.143 | 2773929.4692 | 1142321.6417
72 | 2773950.9707 | 1142326.143 | 2773967.7632 | 1142329.6585
73 | 2773975.001 | 1142331.1737 | 2773967.7632 | 1142329.6585
74 | 2773975.001 | 1142331.1737 | 2773986.1882 | 1142333.5157 | 2773998.2073 | 1142334.9969 | 2774018.0833 | 1142335.3148 | 2774024.0967 | 1142336.189 | 2774033.5652 | 1142338.8867 | 2774043.145 | 1142340.1308 | 2774049.1295 | 1142339.8696
75 | 2774148.7037 | 1141803.2225 | 2774682.2908 | 1141889.8108
76 | 2774113.7688 | 1141791.1303 | 2774113.7688 | 1141791.1303 | 2774118.2546 | 1141786.8447 | 2774125.0248 | 1141786.84 | 2774131.7273 | 1141788.6462 | 2774138.3602 | 1141790.9952 | 2774144.5258 | 1141794.3428 | 2774148.0756 | 1141797.6927 | 2774148.8768 | 1141801.6527 | 2774148.7037 | 1141803.2225
77 | 2774105.3048 | 1141805.8326 | 2774113.7688 | 1141791.1303
78 | 2774082.1484 | 1141816.4665 | 2774082.3416 | 1141817.2582 | 2774084.9452 | 1141823.2721 | 2774088.1266 | 1141827.9236 | 2774097.4818 | 1141833.2427 | 2774099.6196 | 1141834.0829
79 | 2774077.456 | 1141803.1491 | 2774080.1609 | 1141808.3206 | 2774082.1484 | 1141816.4665
80 | 2774077.456 | 1141803.1491 | 2774096.6113 | 1141801.3111 | 2774105.3048 | 1141805.8326
81 | 2774077.456 | 1141803.1491 | 2774068.3407 | 1141793.2463
82 | 2774105.3048 | 1141805.8326 | 2774114.6424 | 1141810.6953 | 2774120.4503 | 1141813.199
83 | 2774105.3048 | 1141805.8326 | 2774113.7688 | 1141791.1303 | 2774118.2546 | 1141786.8447 | 2774125.0248 | 1141786.84 | 2774131.7273 | 1141788.6462 | 2774138.3602 | 1141790.9952 | 2774140.1171 | 1141791.9491

## bus_geodata
| x | y | coords
0 | 2773770.8174 | 1141929.0315
1 | 2773770.8508 | 1141934.7756
2 | 2773787.4657 | 1141908.1523
3 | 2773747.7134 | 1141945.6568
4 | 2773810.003 | 1141994.7346
5 | 2773823.3944 | 1141913.6809
6 | 2773961.7214 | 1141832.6829
7 | 2773803.7433 | 1141991.9852
8 | 2773847.4196 | 1142015.0733
9 | 2774046.7803 | 1141769.6676
10 | 2774032.7872 | 1141860.3788
11 | 2773960.6741 | 1142118.02
12 | 2773939.9215 | 1142112.6048
13 | 2773971.6061 | 1142128.9338
14 | 2773794.0175 | 1142016.0711
15 | 2774067.3074 | 1141792.0347
16 | 2774039.0842 | 1141863.8525
17 | 2773787.1666 | 1142024.7594
18 | 2773747.1928 | 1142036.3274
19 | 2773914.8232 | 1142110.0157
20 | 2773977.3237 | 1142143.6601
21 | 2773756.6112 | 1142086.8789
22 | 2773849.3877 | 1142133.5825
23 | 2773903.4186 | 1142117.4454
24 | 2773892.4964 | 1142164.2719
25 | 2774016.2558 | 1142231.878
26 | 2774027.1364 | 1142221.2845
27 | 2774009.3163 | 1142240.0764
28 | 2774036.9742 | 1142233.713
29 | 2774005.7123 | 1142190.9639
30 | 2773969.1279 | 1142246.5458
31 | 2773988.7679 | 1142233.9896
32 | 2774051.8805 | 1142249.8625
33 | 2773996.7677 | 1142175.3676
34 | 2773967.1554 | 1142237.8589
35 | 2773951.9616 | 1142245.8837
36 | 2773987.311 | 1142236.7612
37 | 2774056.2354 | 1142253.6084
38 | 2773989.5982 | 1142179.522
39 | 2773961.0384 | 1142266.1635
40 | 2774064.8261 | 1142259.2724
41 | 2774076.6034 | 1142231.565
42 | 2773989.5411 | 1142179.5551
43 | 2773950.0695 | 1142158.9511
44 | 2773941.5234 | 1142148.8549
45 | 2773956.6903 | 1142163.3416
46 | 2773956.6992 | 1142163.3468
47 | 2773957.2124 | 1142163.6497
48 | 2773965.4893 | 1142168.1791
49 | 2773984.3908 | 1142182.5394
50 | 2773984.2834 | 1142182.3731
51 | 2773976.3519 | 1142173.3698
52 | 2774128.3597 | 1142222.2463
53 | 2774133.615 | 1142228.2834
54 | 2774125.9454 | 1142326.0896
55 | 2774060.5291 | 1142273.2832
56 | 2774135.5295 | 1142342.0866
57 | 2774067.5012 | 1142280.3129
58 | 2774214.1839 | 1142362.9089
59 | 2774069.8143 | 1142282.2418
60 | 2774079.3884 | 1142299.763
61 | 2774056.5332 | 1142339.5466
62 | 2774056.4968 | 1142339.5482
63 | 2774170.4698 | 1142296.5207
64 | 2773896.4252 | 1142165.5085
65 | 2773903.9023 | 1142167.8618
66 | 2773913.658 | 1142111.3993
67 | 2773909.142 | 1142317.3862
68 | 2773895.7098 | 1142314.5742
69 | 2773913.1721 | 1142318.2299
70 | 2773929.4692 | 1142321.6417
71 | 2773950.9707 | 1142326.143
72 | 2773967.7632 | 1142329.6585
73 | 2773975.001 | 1142331.1737
74 | 2774049.1295 | 1142339.8696
75 | 2774682.2908 | 1141889.8108
76 | 2774148.7037 | 1141803.2225
77 | 2774113.7688 | 1141791.1303
78 | 2774082.1484 | 1141816.4665
79 | 2774099.6196 | 1141834.0829
80 | 2774077.456 | 1141803.1491
81 | 2774105.3048 | 1141805.8326
82 | 2774068.3406 | 1141793.2463
83 | 2774120.4503 | 1141813.199
84 | 2774140.1171 | 1141791.9491
85 | 2773971.6061 | 1142128.9338

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1