## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3792-21_1_4_node_40 | 0.4 | n |  | TRUE
1 | bus_LV_3792-21_1_4_node_41 | 0.4 | n |  | TRUE
2 | bus_LV_3792-21_1_4_node_42 | 0.4 | n |  | TRUE
3 | bus_LV_3792-21_1_4_node_43 | 0.4 | n |  | TRUE
4 | bus_LV_3792-21_1_4_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_3792-21_1_4_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_3792-21_1_4_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_3792-21_1_4_node_127 | 0.4 | n |  | TRUE
8 | bus_LV_3792-21_1_4_node_125 | 0.4 | n |  | TRUE
9 | bus_LV_3792-21_1_4_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_3792-21_1_4_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_3792-21_1_4_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_3792-21_1_4_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_3792-21_1_4_node_133 | 0.4 | n |  | TRUE
14 | bus_LV_3792-21_1_4_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_3792-21_1_4_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_3792-21_1_4_node_95 | 0.4 | n |  | TRUE
17 | bus_LV_3792-21_1_4_node_134 | 0.4 | n |  | TRUE
18 | bus_LV_3792-21_1_4_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_3792-21_1_4_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_3792-21_1_4_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_3792-21_1_4_node_94 | 0.4 | n |  | TRUE
22 | bus_LV_3792-21_1_4_node_97 | 0.4 | n |  | TRUE
23 | bus_LV_3792-21_1_4_node_98 | 0.4 | n |  | TRUE
24 | bus_LV_3792-21_1_4_node_96 | 0.4 | n |  | TRUE
25 | bus_LV_3792-21_1_4_node_111 | 0.4 | n |  | TRUE
26 | bus_LV_3792-21_1_4_node_108 | 0.4 | n |  | TRUE
27 | bus_LV_3792-21_1_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_3792-21_1_4_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_3792-21_1_4_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_3792-21_1_4_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_3792-21_1_4_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_3792-21_1_4_node_129 | 0.4 | n |  | TRUE
33 | bus_LV_3792-21_1_4_node_114 | 0.4 | n |  | TRUE
34 | bus_LV_3792-21_1_4_node_100 | 0.4 | n |  | TRUE
35 | bus_LV_3792-21_1_4_node_131 | 0.4 | n |  | TRUE
36 | bus_LV_3792-21_1_4_node_132 | 0.4 | n |  | TRUE
37 | bus_LV_3792-21_1_4_node_99 | 0.4 | n |  | TRUE
38 | bus_LV_3792-21_1_4_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_3792-21_1_4_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_3792-21_1_4_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_3792-21_1_4_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_3792-21_1_4_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_3792-21_1_4_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_3792-21_1_4_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_3792-21_1_4_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_3792-21_1_4_node_120 | 0.4 | n |  | TRUE
47 | bus_LV_3792-21_1_4_node_119 | 0.4 | n |  | TRUE
48 | bus_LV_3792-21_1_4_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_3792-21_1_4_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_3792-21_1_4_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_3792-21_1_4_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_3792-21_1_4_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_3792-21_1_4_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_3792-21_1_4_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_3792-21_1_4_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_3792-21_1_4_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_3792-21_1_4_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_3792-21_1_4_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_3792-21_1_4_node_107 | 0.4 | n |  | TRUE
60 | bus_LV_3792-21_1_4_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_3792-21_1_4_node_101 | 0.4 | n |  | TRUE
62 | bus_LV_3792-21_1_4_node_115 | 0.4 | n |  | TRUE
63 | bus_LV_3792-21_1_4_node_130 | 0.4 | n |  | TRUE
64 | bus_LV_3792-21_1_4_node_110 | 0.4 | n |  | TRUE
65 | bus_LV_3792-21_1_4_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_3792-21_1_4_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_3792-21_1_4_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_3792-21_1_4_node_116 | 0.4 | n |  | TRUE
69 | bus_LV_3792-21_1_4_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_3792-21_1_4_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_3792-21_1_4_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_3792-21_1_4_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_3792-21_1_4_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_3792-21_1_4_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_3792-21_1_4_node_87 | 0.4 | n |  | TRUE
76 | bus_LV_3792-21_1_4_node_121 | 0.4 | n |  | TRUE
77 | bus_LV_3792-21_1_4_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_3792-21_1_4_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_3792-21_1_4_node_102 | 0.4 | n |  | TRUE
80 | bus_LV_3792-21_1_4_node_139 | 0.4 | n |  | TRUE
81 | bus_LV_3792-21_1_4_node_112 | 0.4 | n |  | TRUE
82 | bus_LV_3792-21_1_4_node_201 | 0.4 | n |  | TRUE
83 | bus_LV_3792-21_1_4_node_109 | 0.4 | n |  | TRUE
84 | bus_LV_3792-21_1_4_node_103 | 0.4 | n |  | TRUE
85 | bus_LV_3792-21_1_4_node_104 | 0.4 | n |  | TRUE
86 | bus_LV_3792-21_1_4_node_105 | 0.4 | n |  | TRUE
87 | bus_LV_3792-21_1_4_node_106 | 0.4 | n |  | TRUE
88 | bus_LV_3792-21_1_4_node_113 | 0.4 | n |  | TRUE
89 | bus_LV_3792-21_1_4_node_118 | 0.4 | n |  | TRUE
90 | bus_LV_3792-21_1_4_node_203 | 0.4 | n |  | TRUE
91 | bus_LV_3792-21_1_4_node_202 | 0.4 | n |  | TRUE
92 | bus_LV_3792-21_1_4_node_117 | 0.4 | n |  | TRUE
93 | bus_LV_3792-21_1_4_node_122 | 0.4 | n |  | TRUE
94 | bus_LV_3792-21_1_4_node_123 | 0.4 | n |  | TRUE
95 | bus_LV_3792-21_1_4_node_124 | 0.4 | n |  | TRUE
96 | bus_LV_3792-21_1_4_node_126 | 0.4 | n |  | TRUE
97 | bus_LV_3792-21_1_4_node_135 | 0.4 | n |  | TRUE
98 | bus_LV_3792-21_1_4_node_136 | 0.4 | n |  | TRUE
99 | bus_LV_3792-21_1_4_node_140 | 0.4 | n |  | TRUE
100 | bus_MV_159_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3792-21_1_4_load_40 | 0 | 0.0012771 | 0.00032006 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3792-21_1_4_load_41 | 1 | 0.00052567 | 0.00013175 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3792-21_1_4_load_44 | 4 | 0.00046259 | 0.00011594 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3792-21_1_4_load_45 | 5 | 0.0012476 | 0.00031268 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3792-21_1_4_load_46 | 6 | 0.00079104 | 0.00019825 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3792-21_1_4_load_127 | 7 | 0.0032411 | 0.00081229 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3792-21_1_4_load_47 | 9 | 0.00063463 | 0.00015905 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3792-21_1_4_load_50 | 10 | 0.0012731 | 0.00031907 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3792-21_1_4_load_133 | 13 | 0.00061233 | 0.00015347 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3792-21_1_4_load_56 | 14 | 0.0016936 | 0.00042446 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3792-21_1_4_load_66 | 15 | 0.00062232 | 0.00015597 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3792-21_1_4_load_95 | 16 | 0.00068474 | 0.00017161 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3792-21_1_4_load_134 | 17 | 0.0010364 | 0.00025974 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3792-21_1_4_load_59 | 18 | 0.0074339 | 0.0018631 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3792-21_1_4_load_54 | 19 | 0.0017095 | 0.00042843 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3792-21_1_4_load_67 | 20 | 0.00067231 | 0.0001685 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3792-21_1_4_load_94 | 21 | 0.0027253 | 0.00068301 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3792-21_1_4_load_97 | 22 | 0.0026354 | 0.00066049 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3792-21_1_4_load_98 | 23 | 0.002952 | 0.00073983 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3792-21_1_4_load_108 | 26 | 0.0030678 | 0.00076887 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3792-21_1_4_load_52 | 27 | 0.0015505 | 0.00038859 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3792-21_1_4_load_53 | 28 | 0.0025193 | 0.00063139 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3792-21_1_4_load_57 | 30 | 0.001037 | 0.0002599 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3792-21_1_4_load_58 | 31 | 0.0011672 | 0.00029253 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3792-21_1_4_load_114 | 33 | 0.0012863 | 0.00032239 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3792-21_1_4_load_100 | 34 | 0.0033035 | 0.00082793 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3792-21_1_4_load_131 | 35 | 0.003504 | 0.00087818 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3792-21_1_4_load_132 | 36 | 0.0018543 | 0.00046472 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3792-21_1_4_load_99 | 37 | 0.0040644 | 0.0010186 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3792-21_1_4_load_60 | 38 | 0.0013201 | 0.00033084 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3792-21_1_4_load_61 | 39 | 0.0027537 | 0.00069015 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3792-21_1_4_load_62 | 40 | 0.0012872 | 0.00032262 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3792-21_1_4_load_63 | 41 | 0.0013988 | 0.00035056 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3792-21_1_4_load_88 | 44 | 0.0025945 | 0.00065023 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3792-21_1_4_load_85 | 45 | 0.0019392 | 0.00048601 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3792-21_1_4_load_120 | 46 | 0.0029868 | 0.00074856 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3792-21_1_4_load_68 | 48 | 0.0014335 | 0.00035928 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3792-21_1_4_load_69 | 49 | 0.0013847 | 0.00034705 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3792-21_1_4_load_73 | 53 | 0.004289 | 0.0010749 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3792-21_1_4_load_74 | 54 | 0.00090924 | 0.00022788 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3792-21_1_4_load_75 | 55 | 0.0045042 | 0.0011289 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3792-21_1_4_load_76 | 56 | 0.0030964 | 0.00077602 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3792-21_1_4_load_77 | 57 | 0.0042131 | 0.0010559 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3792-21_1_4_load_78 | 58 | 0.0020483 | 0.00051334 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3792-21_1_4_load_107 | 59 | 0.0021142 | 0.00052986 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3792-21_1_4_load_101 | 61 | 0.0015375 | 0.00038533 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3792-21_1_4_load_115 | 62 | 0.0024154 | 0.00060536 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3792-21_1_4_load_130 | 63 | 0.0021574 | 0.00054069 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3792-21_1_4_load_92 | 65 | 0.0024971 | 0.00062582 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3792-21_1_4_load_89 | 66 | 0.0022395 | 0.00056127 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3792-21_1_4_load_86 | 67 | 0.0030703 | 0.0007695 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3792-21_1_4_load_116 | 68 | 0.0039407 | 0.00098763 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3792-21_1_4_load_79 | 69 | 0.0032717 | 0.00081997 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3792-21_1_4_load_82 | 72 | 0.0024599 | 0.00061652 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3792-21_1_4_load_83 | 73 | 0.0034623 | 0.00086773 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3792-21_1_4_load_84 | 74 | 0.0019154 | 0.00048004 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3792-21_1_4_load_87 | 75 | 0.0022686 | 0.00056857 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3792-21_1_4_load_121 | 76 | 0.0062411 | 0.0015642 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3792-21_1_4_load_90 | 77 | 0.0013367 | 0.000335 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3792-21_1_4_load_93 | 78 | 0.0025915 | 0.00064948 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3792-21_1_4_load_102 | 79 | 0.0022391 | 0.00056116 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3792-21_1_4_load_139 | 80 | 0.0012766 | 0.00031994 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3792-21_1_4_load_109 | 83 | 0.0018547 | 0.00046483 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3792-21_1_4_load_103 | 84 | 0.0033523 | 0.00084016 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3792-21_1_4_load_105 | 86 | 0.0020039 | 0.00050222 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3792-21_1_4_load_106 | 87 | 0.002014 | 0.00050475 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3792-21_1_4_load_113 | 88 | 0.0016218 | 0.00040647 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3792-21_1_4_load_118 | 89 | 0.010677 | 0.0026759 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3792-21_1_4_load_203 | 90 | 0.00068548 | 0.0001718 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3792-21_1_4_load_202 | 91 | 0.00071574 | 0.00017938 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3792-21_1_4_load_117 | 92 | 0.0044178 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3792-21_1_4_load_122 | 93 | 0.005805 | 0.0014549 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3792-21_1_4_load_126 | 96 | 0.00016995 | 4.2593e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3792-21_1_4_load_135 | 97 | 0.0032401 | 0.00081206 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3792-21_1_4_load_140 | 99 | 0.00071359 | 0.00017884 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3792-21_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3792-21_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3792-21_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0089815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3792-21_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0078455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3792-21_1_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.024253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3792-21_1_4_line_5 | NAYY 4x150 SE | 2 | 6 | 0.066284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3792-21_1_4_line_6 | NAYY 4x150 SE | 3 | 9 | 0.018464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3792-21_1_4_line_7 | NAYY 4x150 SE | 4 | 10 | 0.013875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3792-21_1_4_line_8 | NAYY 4x150 SE | 5 | 11 | 0.057259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3792-21_1_4_line_9 | NAYY 4x150 SE | 6 | 7 | 0.45861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3792-21_1_4_line_10 | NAYY 4x150 SE | 7 | 8 | 0.11322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3792-21_1_4_line_11 | NAYY 4x150 SE | 8 | 94 | 0.087213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3792-21_1_4_line_12 | NAYY 4x150 SE | 10 | 15 | 0.00015525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3792-21_1_4_line_13 | NAYY 4x150 SE | 11 | 16 | 0.038055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3792-21_1_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.017292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3792-21_1_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.005988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3792-21_1_4_line_16 | NAYY 4x150 SE | 13 | 17 | 0.0043028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3792-21_1_4_line_17 | NAYY 4x150 SE | 14 | 18 | 0.016791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3792-21_1_4_line_18 | NAYY 4x150 SE | 14 | 19 | 0.018607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3792-21_1_4_line_19 | NAYY 4x150 SE | 15 | 20 | 0.014913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3792-21_1_4_line_20 | NAYY 4x150 SE | 16 | 23 | 0.00066532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3792-21_1_4_line_21 | NAYY 4x150 SE | 18 | 33 | 0.099142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3792-21_1_4_line_22 | NAYY 4x150 SE | 18 | 34 | 0.012541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3792-21_1_4_line_23 | NAYY 4x150 SE | 19 | 27 | 0.018702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3792-21_1_4_line_24 | NAYY 4x150 SE | 20 | 31 | 0.0082718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3792-21_1_4_line_25 | NAYY 4x150 SE | 21 | 22 | 0.027695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3792-21_1_4_line_26 | NAYY 4x150 SE | 22 | 79 | 0.015745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3792-21_1_4_line_27 | NAYY 4x150 SE | 24 | 25 | 0.27552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3792-21_1_4_line_28 | NAYY 4x150 SE | 24 | 26 | 0.15215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3792-21_1_4_line_29 | NAYY 4x150 SE | 25 | 80 | 0.01209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3792-21_1_4_line_30 | NAYY 4x150 SE | 26 | 83 | 0.0063113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3792-21_1_4_line_31 | NAYY 4x150 SE | 27 | 28 | 6.1835e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3792-21_1_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.017912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3792-21_1_4_line_33 | NAYY 4x150 SE | 29 | 30 | 0.017729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3792-21_1_4_line_34 | NAYY 4x150 SE | 29 | 31 | 0.020176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3792-21_1_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.0089895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3792-21_1_4_line_36 | NAYY 4x150 SE | 32 | 35 | 0.018247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3792-21_1_4_line_37 | NAYY 4x150 SE | 32 | 36 | 0.009679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3792-21_1_4_line_38 | NAYY 4x150 SE | 34 | 37 | 0.0052083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3792-21_1_4_line_39 | NAYY 4x150 SE | 37 | 78 | 0.013571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3792-21_1_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.012861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3792-21_1_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.035822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3792-21_1_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.012017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3792-21_1_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.0097865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3792-21_1_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.002355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3792-21_1_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.038038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3792-21_1_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.050335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3792-21_1_4_line_47 | NAYY 4x150 SE | 45 | 70 | 0.0059103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3792-21_1_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.050419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3792-21_1_4_line_49 | NAYY 4x150 SE | 47 | 76 | 0.049524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3792-21_1_4_line_50 | NAYY 4x150 SE | 47 | 75 | 0.017101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3792-21_1_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0081216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3792-21_1_4_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0089439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3792-21_1_4_line_53 | NAYY 4x150 SE | 49 | 51 | 0.0034982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3792-21_1_4_line_54 | NAYY 4x150 SE | 50 | 52 | 0.012217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3792-21_1_4_line_55 | NAYY 4x150 SE | 50 | 53 | 0.017637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3792-21_1_4_line_56 | NAYY 4x150 SE | 51 | 54 | 0.021539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3792-21_1_4_line_57 | NAYY 4x150 SE | 51 | 55 | 0.0075593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3792-21_1_4_line_58 | NAYY 4x150 SE | 52 | 56 | 0.010791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3792-21_1_4_line_59 | NAYY 4x150 SE | 52 | 57 | 0.016437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3792-21_1_4_line_60 | NAYY 4x150 SE | 53 | 58 | 0.007493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3792-21_1_4_line_61 | NAYY 4x150 SE | 54 | 59 | 0.0038882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3792-21_1_4_line_62 | NAYY 4x150 SE | 55 | 60 | 0.017805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3792-21_1_4_line_63 | NAYY 4x150 SE | 56 | 61 | 0.012416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3792-21_1_4_line_64 | NAYY 4x150 SE | 57 | 62 | 0.0085194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3792-21_1_4_line_65 | NAYY 4x150 SE | 58 | 63 | 0.0081304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3792-21_1_4_line_66 | NAYY 4x150 SE | 59 | 64 | 0.022777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3792-21_1_4_line_67 | NAYY 4x150 SE | 60 | 65 | 0.007419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3792-21_1_4_line_68 | NAYY 4x150 SE | 60 | 66 | 0.011011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3792-21_1_4_line_69 | NAYY 4x150 SE | 61 | 67 | 0.0011575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3792-21_1_4_line_70 | NAYY 4x150 SE | 62 | 68 | 0.013912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3792-21_1_4_line_71 | NAYY 4x150 SE | 64 | 88 | 0.017724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3792-21_1_4_line_72 | NAYY 4x150 SE | 64 | 83 | 0.018597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3792-21_1_4_line_73 | NAYY 4x150 SE | 64 | 86 | 0.0053266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3792-21_1_4_line_74 | NAYY 4x150 SE | 65 | 78 | 0.0098991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3792-21_1_4_line_75 | NAYY 4x150 SE | 66 | 77 | 0.0017057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3792-21_1_4_line_76 | NAYY 4x150 SE | 67 | 72 | 0.0091219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3792-21_1_4_line_77 | NAYY 4x150 SE | 68 | 92 | 0.049709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3792-21_1_4_line_78 | NAYY 4x150 SE | 69 | 70 | 0.014117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3792-21_1_4_line_79 | NAYY 4x150 SE | 70 | 74 | 0.025327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3792-21_1_4_line_80 | NAYY 4x150 SE | 71 | 72 | 0.015619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3792-21_1_4_line_81 | NAYY 4x150 SE | 71 | 73 | 0.030033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3792-21_1_4_line_82 | NAYY 4x150 SE | 74 | 75 | 0.0025859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3792-21_1_4_line_83 | NAYY 4x150 SE | 76 | 93 | 0.025058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3792-21_1_4_line_84 | NAYY 4x150 SE | 79 | 84 | 0.020454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3792-21_1_4_line_85 | NAYY 4x150 SE | 80 | 81 | 0.075829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3792-21_1_4_line_86 | NAYY 4x150 SE | 81 | 82 | 0.40127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3792-21_1_4_line_87 | NAYY 4x150 SE | 82 | 90 | 0.40915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3792-21_1_4_line_88 | NAYY 4x150 SE | 82 | 91 | 0.28912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3792-21_1_4_line_89 | NAYY 4x150 SE | 84 | 85 | 0.03934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3792-21_1_4_line_90 | NAYY 4x150 SE | 85 | 86 | 0.011241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3792-21_1_4_line_91 | NAYY 4x150 SE | 85 | 87 | 0.01142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3792-21_1_4_line_92 | NAYY 4x150 SE | 88 | 89 | 0.0074921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3792-21_1_4_line_93 | NAYY 4x150 SE | 90 | 98 | 0.22352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3792-21_1_4_line_94 | NAYY 4x150 SE | 90 | 99 | 0.26636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3792-21_1_4_line_95 | NAYY 4x150 SE | 92 | 93 | 7.2866e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3792-21_1_4_line_96 | NAYY 4x150 SE | 94 | 95 | 0.13001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3792-21_1_4_line_97 | NAYY 4x150 SE | 95 | 96 | 0.2198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3792-21_1_4_line_98 | NAYY 4x150 SE | 97 | 98 | 0.057201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3792-21_1_4_trafo_70 | 0.25 MVA 20/0.4 kV | 100 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2771203.1765 | 1140006.267 | 2771226.8975 | 1139978.5464
1 | 2771191.9693 | 1140019.3639 | 2771203.1765 | 1140006.267
2 | 2771232.737 | 1139971.7224 | 2771226.8975 | 1139978.5464
3 | 2771191.9693 | 1140019.3639 | 2771197.0819 | 1140025.3148
4 | 2771191.9693 | 1140019.3639 | 2771168.1808 | 1140024.089
5 | 2771191.9693 | 1140019.3639 | 2771178.6939 | 1139985.7799 | 2771167.8399 | 1139957.6279
6 | 2771232.737 | 1139971.7224 | 2771227.0597 | 1139954.1532
7 | 2771197.0819 | 1140025.3148 | 2771206.1236 | 1140035.8391
8 | 2771112.019 | 1140035.2445 | 2771168.1808 | 1140024.089
9 | 2771082.5229 | 1139507.0228 | 2771167.8399 | 1139957.6279
10 | 2771047.6979 | 1139399.2931 | 2771082.5229 | 1139507.0228
11 | 2770960.9354 | 1139410.3342 | 2771047.6979 | 1139399.2931
12 | 2771206.2248 | 1140035.9568 | 2771206.1236 | 1140035.8391
13 | 2771112.019 | 1140035.2445 | 2771112.1454 | 1140043.2663 | 2771121.129 | 1140063.4944 | 2771120.6356 | 1140071.3783
14 | 2771273.7192 | 1140089.7116 | 2771276.297 | 1140081.0437 | 2771273.7305 | 1140073.204
15 | 2771273.7192 | 1140089.7116 | 2771276.0792 | 1140095.2168
16 | 2771273.7305 | 1140073.204 | 2771272.3918 | 1140069.1148
17 | 2771276.0792 | 1140095.2168 | 2771283.1493 | 1140110.4531
18 | 2771276.0792 | 1140095.2168 | 2771265.8736 | 1140098.2633 | 2771260.8698 | 1140097.7875 | 2771258.1375 | 1140096.729
19 | 2771206.2248 | 1140035.9568 | 2771215.9432 | 1140047.2688
20 | 2771120.594 | 1140072.0423 | 2771120.6356 | 1140071.3783
21 | 2771283.1493 | 1140110.4531 | 2771372.7194 | 1140067.9523
22 | 2771283.1493 | 1140110.4531 | 2771287.4129 | 1140116.6684 | 2771290.3695 | 1140120.7049
23 | 2771245.9463 | 1140082.6897 | 2771257.3077 | 1140096.4075 | 2771258.1375 | 1140096.729
24 | 2771215.9432 | 1140047.2688 | 2771221.3336 | 1140053.5431
25 | 2771219.3914 | 1140127.2193 | 2771196.0408 | 1140112.3282
26 | 2771232.1573 | 1140136.39 | 2771226.3194 | 1140131.6374 | 2771219.3914 | 1140127.2193
27 | 2771114.02 | 1140228.0828 | 2771115.4501 | 1140232.1937 | 2771113.3252 | 1140248.5034 | 2771120.3661 | 1140263.1493 | 2771121.2791 | 1140269.4808 | 2771118.972 | 1140279.4686 | 2771119.4383 | 1140291.7816 | 2771125.4505 | 1140310.135 | 2771129.1708 | 1140316.2458 | 2771125.6106 | 1140325.3752 | 2771117.4629 | 1140329.4033 | 2771113.8091 | 1140336.9509 | 2771113.0913 | 1140345.438 | 2771112.1763 | 1140351.6509 | 2771115.2454 | 1140356.8425 | 2771117.1463 | 1140357.9196 | 2771134.3538 | 1140367.616 | 2771182.6096 | 1140397.1103 | 2771208.6422 | 1140410.8941 | 2771219.4986 | 1140415.8064 | 2771226.3644 | 1140422.5071 | 2771226.24 | 1140427.9751
28 | 2771114.02 | 1140228.0828 | 2771118.6027 | 1140221.696 | 2771125.3278 | 1140216.8268 | 2771187.4165 | 1140201.7294 | 2771258.085 | 1140187.4737
29 | 2771226.24 | 1140427.9751 | 2771216.2438 | 1140434.7753
30 | 2771258.085 | 1140187.4737 | 2771258.6032 | 1140187.3692 | 2771264.3797 | 1140187.1004
31 | 2771245.9069 | 1140082.642 | 2771245.9463 | 1140082.6897
32 | 2771234.4814 | 1140068.8467 | 2771245.9069 | 1140082.642
33 | 2771234.4814 | 1140068.8467 | 2771226.0223 | 1140084.4278
34 | 2771234.4814 | 1140068.8467 | 2771221.3336 | 1140053.5431
35 | 2771221.7333 | 1140092.3281 | 2771226.0223 | 1140084.4278
36 | 2771221.7333 | 1140092.3281 | 2771233.621 | 1140106.1998
37 | 2771217.1131 | 1140100.8379 | 2771221.7333 | 1140092.3281
38 | 2771290.3695 | 1140120.7049 | 2771293.4472 | 1140124.9066
39 | 2771301.4664 | 1140135.8544 | 2771293.4472 | 1140124.9066
40 | 2771502.4146 | 1140415.4145 | 2771510.484 | 1140425.4294
41 | 2771502.4146 | 1140415.4145 | 2771487.3203 | 1140396.6809 | 2771479.561 | 1140390.2882 | 2771477.9067 | 1140389.8526
42 | 2771518.0238 | 1140434.787 | 2771510.484 | 1140425.4294
43 | 2771468.9571 | 1140393.0116 | 2771476.4831 | 1140389.4778 | 2771477.9067 | 1140389.8526
44 | 2771468.9571 | 1140393.0116 | 2771467.5881 | 1140391.0932
45 | 2771467.5881 | 1140391.0932 | 2771445.4986 | 1140360.1264
46 | 2771416.2679 | 1140319.1485 | 2771445.4986 | 1140360.1264
47 | 2771412.8357 | 1140314.3369 | 2771416.2679 | 1140319.1485
48 | 2771376.4717 | 1140338.904 | 2771413.1542 | 1140373.4939
49 | 2771376.4717 | 1140338.904 | 2771362.2807 | 1140327.0461 | 2771354.694 | 1140310.2381 | 2771350.3421 | 1140298.4243
50 | 2771376.4717 | 1140338.904 | 2771382.8179 | 1140338.7062 | 2771391.1826 | 1140331.9509
51 | 2771328.7948 | 1140182.6227 | 2771324.6193 | 1140175.6566
52 | 2771333.393 | 1140190.294 | 2771328.7948 | 1140182.6227
53 | 2771322.8208 | 1140172.6561 | 2771324.6193 | 1140175.6566
54 | 2771339.6743 | 1140200.7816 | 2771333.393 | 1140190.294
55 | 2771333.393 | 1140190.294 | 2771348.9045 | 1140181.9009
56 | 2771322.8208 | 1140172.6561 | 2771304.5452 | 1140184.0541
57 | 2771322.8208 | 1140172.6561 | 2771319.6396 | 1140165.7988
58 | 2771339.6743 | 1140200.7816 | 2771345.2216 | 1140210.0376
59 | 2771339.6743 | 1140200.7816 | 2771326.287 | 1140210.3188
60 | 2771355.4946 | 1140178.335 | 2771348.9045 | 1140181.9009
61 | 2771301.2461 | 1140186.1117 | 2771304.5452 | 1140184.0541
62 | 2771311.3738 | 1140150.0557 | 2771312.9472 | 1140152.3691 | 2771318.0424 | 1140162.3558 | 2771319.6396 | 1140165.7988
63 | 2771351.6045 | 1140220.6879 | 2771345.2216 | 1140210.0376
64 | 2771326.287 | 1140210.3188 | 2771319.3483 | 1140215.2619 | 2771319.3483 | 1140215.2619
65 | 2771362.6453 | 1140174.4659 | 2771355.4946 | 1140178.335
66 | 2771281.2578 | 1140193.3172 | 2771286.9889 | 1140195.0035 | 2771301.2461 | 1140186.1117
67 | 2771311.3738 | 1140150.0557 | 2771307.2032 | 1140143.9199
68 | 2771311.3738 | 1140150.0557 | 2771302.9827 | 1140157.185
69 | 2771352.1995 | 1140221.6807 | 2771351.6045 | 1140220.6879
70 | 2771319.3483 | 1140215.2619 | 2771324.3324 | 1140228.25
71 | 2771281.2578 | 1140193.3172 | 2771274.1361 | 1140205.9151 | 2771274.5264 | 1140209.1435
72 | 2771281.2578 | 1140193.3172 | 2771269.8836 | 1140186.8443 | 2771264.3797 | 1140187.1004
73 | 2771281.2578 | 1140193.3172 | 2771279.1206 | 1140188.4382
74 | 2771307.2032 | 1140143.9199 | 2771304.9993 | 1140140.6776 | 2771301.4664 | 1140135.8544
75 | 2771302.9827 | 1140157.185 | 2771302.4318 | 1140157.6531 | 2771301.6759 | 1140158.2812
76 | 2771356.8887 | 1140229.505 | 2771352.1995 | 1140221.6807
77 | 2771324.3324 | 1140228.25 | 2771328.2969 | 1140238.581 | 2771341.655 | 1140274.8426
78 | 2771412.8357 | 1140314.3369 | 2771404.6391 | 1140302.8432
79 | 2771412.8357 | 1140314.3369 | 2771393.1935 | 1140330.3251
80 | 2771364.9178 | 1140242.9021 | 2771356.8887 | 1140229.505
81 | 2771388.0992 | 1140225.1556 | 2771384.9191 | 1140227.1226 | 2771383.3805 | 1140229.5477 | 2771381.4722 | 1140233.6083 | 2771364.9178 | 1140242.9021
82 | 2771393.1935 | 1140330.3251 | 2771392.9145 | 1140330.5523 | 2771391.1826 | 1140331.9509
83 | 2771341.6802 | 1140274.9109 | 2771350.3421 | 1140298.4243
84 | 2771232.1573 | 1140136.39 | 2771248.0199 | 1140149.3037
85 | 2771155.1416 | 1140457.2179 | 2771154.5758 | 1140444.891 | 2771162.1386 | 1140441.9472 | 2771167.18 | 1140438.3759 | 2771216.2438 | 1140434.7753
86 | 2771155.1416 | 1140457.2179 | 2771170.4703 | 1140469.1186 | 2771187.9958 | 1140485.2188 | 2771195.7239 | 1140489.4639 | 2771223.8779 | 1140498.704 | 2771250.9186 | 1140512.739 | 2771278.6504 | 1140526.0042 | 2771308.3177 | 1140534.2423 | 2771321.2191 | 1140538.9348 | 2771325.2231 | 1140541.2728 | 2771327.8842 | 1140547.2758 | 2771325.4759 | 1140552.1451 | 2771300.2778 | 1140556.4227 | 2771276.623 | 1140561.3558 | 2771255.9627 | 1140560.0128 | 2771239.398 | 1140560.7658 | 2771269.108 | 1140579.1472 | 2771296.0729 | 1140597.1839 | 2771315.3759 | 1140606.2174 | 2771327.9965 | 1140614.0159 | 2771328.4061 | 1140620.7223
87 | 2771328.4061 | 1140620.7223 | 2771361.2662 | 1140640.8729 | 2771378.5352 | 1140645.6564 | 2771429.2862 | 1140651.9475 | 2771491.7559 | 1140680.6919 | 2771500.7837 | 1140685.7529 | 2771504.2042 | 1140694.5356 | 2771497.3084 | 1140719.484 | 2771503.7431 | 1140726.9846 | 2771510.7563 | 1140730.3758 | 2771533.1242 | 1140725.7629 | 2771547.7923 | 1140742.172 | 2771593.7337 | 1140763.5969 | 2771634.23 | 1140766.8066 | 2771666.4669 | 1140778.2446
88 | 2771328.4061 | 1140620.7223 | 2771322.9853 | 1140622.2142 | 2771278.0551 | 1140616.3228 | 2771275.4252 | 1140619.5177 | 2771278.4266 | 1140624.3738 | 2771300.5245 | 1140634.9658 | 2771313.7285 | 1140643.0811 | 2771331.5649 | 1140661.7483 | 2771353.5246 | 1140682.6124 | 2771362.378 | 1140691.6495 | 2771372.8242 | 1140697.162 | 2771388.1644 | 1140698.332 | 2771401.8236 | 1140701.2557 | 2771422.6387 | 1140709.5875 | 2771467.7514 | 1140735.2805 | 2771469.5048 | 1140738.9549
89 | 2771273.711 | 1140178.6123 | 2771269.9671 | 1140172.5229 | 2771259.7514 | 1140158.8543 | 2771248.0199 | 1140149.3037
90 | 2771273.711 | 1140178.6123 | 2771277.5433 | 1140184.8376 | 2771279.1206 | 1140188.4382
91 | 2771273.711 | 1140178.6123 | 2771284.0609 | 1140173.7852
92 | 2771279.683 | 1140214.3578 | 2771274.6097 | 1140209.8321 | 2771274.5264 | 1140209.1435
93 | 2771666.4669 | 1140778.2446 | 2771803.8102 | 1140601.8958
94 | 2771666.4669 | 1140778.2446 | 2771919.0296 | 1140862.8668
95 | 2771341.655 | 1140274.8426 | 2771341.6802 | 1140274.9109
96 | 2770960.9354 | 1139410.3342 | 2770906.5424 | 1139418.9351 | 2770882.4903 | 1139420.9116 | 2770855.4777 | 1139420.6246 | 2770838.4995 | 1139420.6553 | 2770831.3767 | 1139419.7085
97 | 2770831.3767 | 1139419.7085 | 2770821.0344 | 1139414.2332 | 2770810.7468 | 1139398.6729 | 2770795.5982 | 1139384.9099 | 2770780.1546 | 1139362.2642 | 2770777.3363 | 1139338.9417 | 2770781.1026 | 1139306.7643 | 2770782.5594 | 1139280.8604 | 2770783.535 | 1139247.7588 | 2770779.6736 | 1139221.4214
98 | 2771803.8102 | 1140601.8958 | 2771816.724 | 1140604.2432 | 2771822.2035 | 1140604.2103 | 2771825.4098 | 1140605.1023 | 2771829.8689 | 1140584.9781 | 2771844.3426 | 1140587.278

## bus_geodata
| x | y | coords
0 | 2771203.1765 | 1140006.267
1 | 2771226.8975 | 1139978.5464
2 | 2771191.9693 | 1140019.3639
3 | 2771232.737 | 1139971.7224
4 | 2771197.0819 | 1140025.3148
5 | 2771168.1808 | 1140024.089
6 | 2771167.8399 | 1139957.6279
7 | 2771082.5229 | 1139507.0228
8 | 2771047.6979 | 1139399.2931
9 | 2771227.0597 | 1139954.1532
10 | 2771206.1236 | 1140035.8391
11 | 2771112.019 | 1140035.2445
12 | 2771273.7192 | 1140089.7116
13 | 2771273.7305 | 1140073.204
14 | 2771276.0792 | 1140095.2168
15 | 2771206.2248 | 1140035.9568
16 | 2771120.6356 | 1140071.3783
17 | 2771272.3918 | 1140069.1148
18 | 2771283.1493 | 1140110.4531
19 | 2771258.1375 | 1140096.729
20 | 2771215.9432 | 1140047.2688
21 | 2771196.0408 | 1140112.3282
22 | 2771219.3914 | 1140127.2193
23 | 2771120.594 | 1140072.0423
24 | 2771114.02 | 1140228.0828
25 | 2771226.24 | 1140427.9751
26 | 2771258.085 | 1140187.4737
27 | 2771245.9463 | 1140082.6897
28 | 2771245.9069 | 1140082.642
29 | 2771234.4814 | 1140068.8467
30 | 2771226.0223 | 1140084.4278
31 | 2771221.3336 | 1140053.5431
32 | 2771221.7333 | 1140092.3281
33 | 2771372.7194 | 1140067.9523
34 | 2771290.3695 | 1140120.7049
35 | 2771233.621 | 1140106.1998
36 | 2771217.1131 | 1140100.8379
37 | 2771293.4472 | 1140124.9066
38 | 2771502.4146 | 1140415.4145
39 | 2771510.484 | 1140425.4294
40 | 2771477.9067 | 1140389.8526
41 | 2771518.0238 | 1140434.787
42 | 2771468.9571 | 1140393.0116
43 | 2771467.5881 | 1140391.0932
44 | 2771445.4986 | 1140360.1264
45 | 2771416.2679 | 1140319.1485
46 | 2771413.1542 | 1140373.4939
47 | 2771376.4717 | 1140338.904
48 | 2771328.7948 | 1140182.6227
49 | 2771324.6193 | 1140175.6566
50 | 2771333.393 | 1140190.294
51 | 2771322.8208 | 1140172.6561
52 | 2771339.6744 | 1140200.7816
53 | 2771348.9045 | 1140181.9009
54 | 2771304.5452 | 1140184.0541
55 | 2771319.6396 | 1140165.7988
56 | 2771345.2216 | 1140210.0376
57 | 2771326.287 | 1140210.3188
58 | 2771355.4946 | 1140178.335
59 | 2771301.2461 | 1140186.1117
60 | 2771311.3738 | 1140150.0557
61 | 2771351.6045 | 1140220.6879
62 | 2771319.3483 | 1140215.2619
63 | 2771362.6453 | 1140174.4659
64 | 2771281.2578 | 1140193.3172
65 | 2771307.2032 | 1140143.9199
66 | 2771302.9827 | 1140157.185
67 | 2771352.1995 | 1140221.6807
68 | 2771324.3324 | 1140228.25
69 | 2771404.6391 | 1140302.8432
70 | 2771412.8357 | 1140314.3369
71 | 2771364.9178 | 1140242.9021
72 | 2771356.8887 | 1140229.505
73 | 2771388.0992 | 1140225.1556
74 | 2771393.1935 | 1140330.3251
75 | 2771391.1826 | 1140331.9509
76 | 2771350.3421 | 1140298.4243
77 | 2771301.6759 | 1140158.2812
78 | 2771301.4664 | 1140135.8544
79 | 2771232.1573 | 1140136.39
80 | 2771216.2438 | 1140434.7753
81 | 2771155.1416 | 1140457.2179
82 | 2771328.4061 | 1140620.7223
83 | 2771264.3797 | 1140187.1004
84 | 2771248.0199 | 1140149.3037
85 | 2771273.711 | 1140178.6123
86 | 2771279.1206 | 1140188.4382
87 | 2771284.0609 | 1140173.7852
88 | 2771274.5264 | 1140209.1435
89 | 2771279.683 | 1140214.3578
90 | 2771666.4669 | 1140778.2446
91 | 2771469.5048 | 1140738.9549
92 | 2771341.655 | 1140274.8426
93 | 2771341.6802 | 1140274.9109
94 | 2770960.9354 | 1139410.3342
95 | 2770831.3767 | 1139419.7085
96 | 2770779.6736 | 1139221.4214
97 | 2771844.3426 | 1140587.278
98 | 2771803.8102 | 1140601.8958
99 | 2771919.0296 | 1140862.8668
100 | 2771339.6744 | 1140200.7816

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1