## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3792-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3792-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3792-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3792-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3792-4_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3792-4_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_3792-4_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3792-4_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3792-4_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3792-4_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3792-4_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_3792-4_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_3792-4_0_3_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_3792-4_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_3792-4_0_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_3792-4_0_3_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_3792-4_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_3792-4_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3792-4_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3792-4_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3792-4_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3792-4_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3792-4_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3792-4_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3792-4_0_3_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_3792-4_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_3792-4_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3792-4_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_3792-4_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_3792-4_0_3_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_3792-4_0_3_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_3792-4_0_3_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_3792-4_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_3792-4_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3792-4_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_3792-4_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_3792-4_0_3_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_3792-4_0_3_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_3792-4_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3792-4_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3792-4_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_3792-4_0_3_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_3792-4_0_3_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_3792-4_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_3792-4_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_3792-4_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_3792-4_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_3792-4_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_3792-4_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_3792-4_0_3_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_3792-4_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_3792-4_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3792-4_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_3792-4_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_3792-4_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_3792-4_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3792-4_0_3_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_3792-4_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_3792-4_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_3792-4_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_3792-4_0_3_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_3792-4_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_3792-4_0_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_3792-4_0_3_node_64 | 0.4 | n |  | TRUE
64 | bus_MV_164_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3792-4_0_3_load_0 | 0 | 0.00069166 | 0.00017335 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3792-4_0_3_load_1 | 1 | 0.00095268 | 0.00023876 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3792-4_0_3_load_2 | 2 | 0.00078705 | 0.00019725 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3792-4_0_3_load_8 | 5 | 0.0024128 | 0.00060471 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3792-4_0_3_load_4 | 6 | 0.001781 | 0.00044635 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3792-4_0_3_load_5 | 7 | 0.018593 | 0.00466 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3792-4_0_3_load_7 | 8 | 0.031233 | 0.0078276 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3792-4_0_3_load_10 | 10 | 0.0012867 | 0.00032248 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3792-4_0_3_load_25 | 11 | 0.0322 | 0.00807 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3792-4_0_3_load_26 | 12 | 0.020039 | 0.0050223 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3792-4_0_3_load_21 | 13 | 0.00078489 | 0.00019671 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3792-4_0_3_load_27 | 14 | 0.016922 | 0.004241 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3792-4_0_3_load_28 | 15 | 0.0023884 | 0.00059858 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3792-4_0_3_load_19 | 16 | 0.0015376 | 0.00038536 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3792-4_0_3_load_11 | 17 | 0.0018721 | 0.0004692 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3792-4_0_3_load_12 | 18 | 0.0019993 | 0.00050106 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3792-4_0_3_load_13 | 19 | 0.004537 | 0.0011371 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3792-4_0_3_load_14 | 20 | 0.00072582 | 0.00018191 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3792-4_0_3_load_18 | 23 | 0.0073261 | 0.0018361 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3792-4_0_3_load_48 | 24 | 0.00074212 | 0.00018599 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3792-4_0_3_load_30 | 25 | 0.0024262 | 0.00060807 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3792-4_0_3_load_29 | 27 | 0.0010138 | 0.00025409 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3792-4_0_3_load_49 | 29 | 0.0013221 | 0.00033134 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3792-4_0_3_load_63 | 30 | 0.0004221 | 0.00010579 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3792-4_0_3_load_55 | 31 | 0.0032544 | 0.00081564 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3792-4_0_3_load_20 | 32 | 0.00099063 | 0.00024828 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3792-4_0_3_load_22 | 33 | 0.00060418 | 0.00015142 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3792-4_0_3_load_23 | 34 | 0.0010173 | 0.00025497 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3792-4_0_3_load_24 | 35 | 0.00063207 | 0.00015841 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3792-4_0_3_load_57 | 36 | 0.0010226 | 0.0002563 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3792-4_0_3_load_56 | 37 | 0.00059018 | 0.00014791 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3792-4_0_3_load_34 | 40 | 0.0037729 | 0.00094558 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3792-4_0_3_load_62 | 41 | 0.00055336 | 0.00013868 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3792-4_0_3_load_53 | 42 | 0.0021164 | 0.00053042 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3792-4_0_3_load_36 | 44 | 0.0057796 | 0.0014485 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3792-4_0_3_load_37 | 45 | 0.017031 | 0.0042683 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3792-4_0_3_load_42 | 46 | 0.00047799 | 0.0001198 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3792-4_0_3_load_43 | 47 | 0.0017757 | 0.00044504 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3792-4_0_3_load_54 | 49 | 0.016567 | 0.004152 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3792-4_0_3_load_44 | 50 | 0.00067643 | 0.00016953 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3792-4_0_3_load_40 | 51 | 0.0095976 | 0.0024054 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3792-4_0_3_load_52 | 52 | 0.0013809 | 0.0003461 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3792-4_0_3_load_38 | 53 | 0.0020355 | 0.00051014 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3792-4_0_3_load_41 | 54 | 0.0013421 | 0.00033637 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3792-4_0_3_load_47 | 55 | 0.0018286 | 0.00045828 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3792-4_0_3_load_65 | 56 | 0.0010505 | 0.00026328 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3792-4_0_3_load_50 | 57 | 0.0028853 | 0.00072314 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3792-4_0_3_load_51 | 58 | 0.0016043 | 0.00040209 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3792-4_0_3_load_58 | 59 | 0.0024619 | 0.00061702 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3792-4_0_3_load_59 | 60 | 0.0017451 | 0.00043735 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3792-4_0_3_load_61 | 62 | 0.0013513 | 0.00033868 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3792-4_0_3_load_64 | 63 | 0.00052621 | 0.00013188 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3792-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.005893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3792-4_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.013273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3792-4_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.006678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3792-4_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.006979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3792-4_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.015283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3792-4_0_3_line_5 | NAYY 4x150 SE | 5 | 10 | 0.0069184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3792-4_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.015836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3792-4_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0097372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3792-4_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.00065416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3792-4_0_3_line_9 | NAYY 4x150 SE | 9 | 11 | 0.014972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3792-4_0_3_line_10 | NAYY 4x150 SE | 9 | 12 | 0.024445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3792-4_0_3_line_11 | NAYY 4x150 SE | 10 | 13 | 0.0035814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3792-4_0_3_line_12 | NAYY 4x150 SE | 11 | 14 | 0.012496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3792-4_0_3_line_13 | NAYY 4x150 SE | 12 | 15 | 0.002585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3792-4_0_3_line_14 | NAYY 4x150 SE | 13 | 16 | 0.020527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3792-4_0_3_line_15 | NAYY 4x150 SE | 14 | 38 | 0.0053369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3792-4_0_3_line_16 | NAYY 4x150 SE | 15 | 37 | 0.0036966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3792-4_0_3_line_17 | NAYY 4x150 SE | 16 | 32 | 0.0022426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3792-4_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0095231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3792-4_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0055179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3792-4_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.011907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3792-4_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.025729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3792-4_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.018084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3792-4_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.020148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3792-4_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.009584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3792-4_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.00039298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3792-4_0_3_line_26 | NAYY 4x150 SE | 23 | 28 | 0.010218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3792-4_0_3_line_27 | NAYY 4x150 SE | 24 | 29 | 0.022794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3792-4_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.023797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3792-4_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.060794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3792-4_0_3_line_30 | NAYY 4x150 SE | 27 | 30 | 0.019521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3792-4_0_3_line_31 | NAYY 4x150 SE | 28 | 31 | 0.010472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3792-4_0_3_line_32 | NAYY 4x150 SE | 29 | 56 | 0.0051824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3792-4_0_3_line_33 | NAYY 4x150 SE | 30 | 41 | 0.026241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3792-4_0_3_line_34 | NAYY 4x150 SE | 31 | 42 | 0.0029551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3792-4_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0085562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3792-4_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0082047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3792-4_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.013962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3792-4_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.010988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3792-4_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0048602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3792-4_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.057444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3792-4_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.0080251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3792-4_0_3_line_42 | NAYY 4x150 SE | 39 | 43 | 0.008263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3792-4_0_3_line_43 | NAYY 4x150 SE | 39 | 44 | 0.13555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3792-4_0_3_line_44 | NAYY 4x150 SE | 40 | 45 | 0.0045768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3792-4_0_3_line_45 | NAYY 4x150 SE | 41 | 63 | 0.013781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3792-4_0_3_line_46 | NAYY 4x150 SE | 42 | 58 | 0.0033023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3792-4_0_3_line_47 | NAYY 4x150 SE | 43 | 46 | 0.11207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3792-4_0_3_line_48 | NAYY 4x150 SE | 43 | 47 | 0.16004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3792-4_0_3_line_49 | NAYY 4x150 SE | 44 | 48 | 0.09498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3792-4_0_3_line_50 | NAYY 4x150 SE | 45 | 49 | 0.0021563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3792-4_0_3_line_51 | NAYY 4x150 SE | 47 | 50 | 0.033694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3792-4_0_3_line_52 | NAYY 4x150 SE | 48 | 51 | 0.07554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3792-4_0_3_line_53 | NAYY 4x150 SE | 49 | 52 | 0.010396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3792-4_0_3_line_54 | NAYY 4x150 SE | 51 | 54 | 0.10645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3792-4_0_3_line_55 | NAYY 4x150 SE | 52 | 57 | 0.0038692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3792-4_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.27001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3792-4_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.063414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3792-4_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0026579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3792-4_0_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.040014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3792-4_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.023682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3792-4_0_3_line_61 | NAYY 4x150 SE | 61 | 62 | 0.0352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3792-4_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.014726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3792-4_0_3_trafo_27 | 0.25 MVA 20/0.4 kV | 64 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2765806.752 | 1134759.4626 | 2765801.1069 | 1134757.771
1 | 2765801.1069 | 1134757.771 | 2765788.4915 | 1134753.9906 | 2765788.3929 | 1134753.9599
2 | 2765782.0158 | 1134751.9778 | 2765788.3929 | 1134753.9599
3 | 2765782.0158 | 1134751.9778 | 2765775.4012 | 1134749.6944
4 | 2765775.4012 | 1134749.6944 | 2765776.9802 | 1134741.2749 | 2765775.9302 | 1134734.6404
5 | 2765771.6746 | 1134729.1856 | 2765775.9302 | 1134734.6404
6 | 2765711.464 | 1134737 | 2765704.7105 | 1134735.5875 | 2765696.1991 | 1134732.8643
7 | 2765686.9579 | 1134729.7965 | 2765695.2818 | 1134732.5708 | 2765696.1991 | 1134732.8643
8 | 2765686.9579 | 1134729.7965 | 2765686.3373 | 1134729.5896
9 | 2765686.3373 | 1134729.5896 | 2765674.2978 | 1134725.1668 | 2765672.2785 | 1134724.44
10 | 2765686.3373 | 1134729.5896 | 2765690.6282 | 1134716.3626 | 2765692.9489 | 1134713.7462 | 2765695.3976 | 1134712.0786 | 2765698.5966 | 1134711.1322 | 2765699.3307 | 1134711.012
11 | 2765771.6746 | 1134729.1856 | 2765768.5846 | 1134727.3751
12 | 2765672.2785 | 1134724.44 | 2765660.5206 | 1134720.2083
13 | 2765699.3307 | 1134711.012 | 2765701.8817 | 1134710.5945
14 | 2765750.8229 | 1134717.0883 | 2765753.5744 | 1134718.5799 | 2765768.5846 | 1134727.3751
15 | 2765655.499 | 1134718.4011 | 2765660.5206 | 1134720.2083
16 | 2765705.5297 | 1134709.9974 | 2765701.8817 | 1134710.5945
17 | 2765750.8229 | 1134717.0883 | 2765748.8514 | 1134716.0194
18 | 2765594.885 | 1134637.0586 | 2765589.0649 | 1134629.5211
19 | 2765594.885 | 1134637.0586 | 2765597.5482 | 1134641.8913
20 | 2765581.7879 | 1134620.0969 | 2765589.0649 | 1134629.5211
21 | 2765595.8832 | 1134667.2118 | 2765598.2879 | 1134656.4796 | 2765598.7357 | 1134647.1728 | 2765597.5482 | 1134641.8913
22 | 2765570.2313 | 1134606.1898 | 2765579.9802 | 1134617.7558 | 2765581.7879 | 1134620.0969
23 | 2765595.8832 | 1134667.2118 | 2765608.054 | 1134679.7673 | 2765609.9723 | 1134681.6126
24 | 2765570.2313 | 1134606.1898 | 2765573.6646 | 1134604.0042 | 2765577.8194 | 1134600.3789
25 | 2765569.8998 | 1134606.4009 | 2765570.2313 | 1134606.1898
26 | 2765617.336 | 1134688.6961 | 2765609.9723 | 1134681.6126
27 | 2765589.6474 | 1134581.2005 | 2765584.7517 | 1134592.0534 | 2765580.127 | 1134598.3654 | 2765577.8194 | 1134600.3789
28 | 2765551.7164 | 1134621.6291 | 2765564.2033 | 1134610.0279 | 2765569.8998 | 1134606.4009
29 | 2765551.7164 | 1134621.6291 | 2765537.1529 | 1134605.8832 | 2765509.927 | 1134577.4782
30 | 2765509.927 | 1134577.4782 | 2765508.3631 | 1134575.8465 | 2765498.8688 | 1134566.2226 | 2765495.9553 | 1134563.8741
31 | 2765617.336 | 1134688.6961 | 2765625.444 | 1134695.3232
32 | 2765591.1569 | 1134576.2428 | 2765589.6474 | 1134581.2005 | 2765589.6474 | 1134581.2005
33 | 2765473.9935 | 1134549.7168 | 2765487.1438 | 1134556.7712 | 2765495.9553 | 1134563.8741
34 | 2765625.444 | 1134695.3232 | 2765627.732 | 1134697.1933
35 | 2765748.8514 | 1134716.0194 | 2765741.3295 | 1134711.9415
36 | 2765734.1166 | 1134708.0311 | 2765741.3295 | 1134711.9415
37 | 2765734.1166 | 1134708.0311 | 2765730.2392 | 1134705.9289 | 2765729.0813 | 1134705.4635 | 2765727.9082 | 1134705.5536 | 2765724.4073 | 1134707.1144 | 2765721.2095 | 1134707.9059
38 | 2765710.3305 | 1134709.2474 | 2765713.4967 | 1134708.9835 | 2765716.9985 | 1134708.7904 | 2765720.282 | 1134708.1355 | 2765721.2095 | 1134707.9059
39 | 2765705.5297 | 1134709.9974 | 2765709.884 | 1134709.2846 | 2765710.3305 | 1134709.2474
40 | 2765622.127 | 1134764.7482 | 2765628.2722 | 1134760.0015 | 2765643.9244 | 1134735.4873 | 2765655.499 | 1134718.4011
41 | 2765655.499 | 1134718.4011 | 2765651.9963 | 1134716.3811 | 2765648.7738 | 1134714.0424
42 | 2765622.127 | 1134764.7482 | 2765616.8439 | 1134764.1807 | 2765614.0864 | 1134763.0708
43 | 2765622.127 | 1134764.7482 | 2765625.2127 | 1134770.4599 | 2765636.8562 | 1134782.8564 | 2765653.603 | 1134793.6693 | 2765683.1683 | 1134813.0633 | 2765710.2635 | 1134825.3614 | 2765726.6498 | 1134834.7077 | 2765733.0279 | 1134839.7651
44 | 2765645.1574 | 1134711.2385 | 2765647.9035 | 1134713.4108 | 2765648.7738 | 1134714.0424
45 | 2765473.9935 | 1134549.7168 | 2765469.0108 | 1134547.044 | 2765461.2797 | 1134544.5384
46 | 2765630.2889 | 1134699.2832 | 2765627.732 | 1134697.1933
47 | 2765614.0864 | 1134763.0708 | 2765612.4951 | 1134759.0348 | 2765607.0407 | 1134752.3574 | 2765603.1929 | 1134746.6359 | 2765599.2378 | 1134738.3648 | 2765596.1161 | 1134732.8412 | 2765590.1598 | 1134724.5264 | 2765582.2801 | 1134713.6122 | 2765576.6029 | 1134701.8576 | 2765569.5985 | 1134691.8793 | 2765561.347 | 1134681.3219 | 2765552.5662 | 1134669.8381
48 | 2765614.0864 | 1134763.0708 | 2765606.0124 | 1134759.8022 | 2765595.5997 | 1134753.6338 | 2765587.1351 | 1134746.0731 | 2765579.5464 | 1134736.6236 | 2765565.2827 | 1134717.5386 | 2765559.3878 | 1134712.039 | 2765552.7416 | 1134707.2528 | 2765543.4278 | 1134702.5714 | 2765518.0605 | 1134691.5447 | 2765512.7771 | 1134690.1432 | 2765508.1814 | 1134689.7837 | 2765502.5806 | 1134690.4086 | 2765496.4417 | 1134692.1197 | 2765481.9749 | 1134697.7094
49 | 2765751.3853 | 1134923.9629 | 2765754.4601 | 1134898.6477 | 2765757.1852 | 1134881.8637 | 2765759.295 | 1134872.9027 | 2765755.596 | 1134862.0475 | 2765740.8578 | 1134845.9738 | 2765733.0279 | 1134839.7651
50 | 2765645.1574 | 1134711.2385 | 2765643.4663 | 1134709.9006
51 | 2765481.9749 | 1134697.7094 | 2765479.7525 | 1134698.5681 | 2765461.9939 | 1134700.2053 | 2765448.5558 | 1134699.1713
52 | 2765751.3853 | 1134923.9629 | 2765716.8913 | 1134903.4657 | 2765685.247 | 1134887.5626
53 | 2765643.4663 | 1134709.9006 | 2765637.6367 | 1134705.289 | 2765635.3426 | 1134703.4139
54 | 2765582.9443 | 1134864.9706 | 2765601.5037 | 1134865.2024 | 2765626.9768 | 1134866.7242 | 2765649.4884 | 1134871.2008 | 2765656.6468 | 1134873.31 | 2765666.427 | 1134878.1045 | 2765685.247 | 1134887.5626
55 | 2765632.3469 | 1134700.9653 | 2765635.3426 | 1134703.4139
56 | 2765582.9443 | 1134864.9706 | 2765553.6003 | 1135133.3863
57 | 2765523.7497 | 1134845.5927 | 2765541.3315 | 1134856.2457 | 2765570.2388 | 1134864.8119 | 2765582.9443 | 1134864.9706
58 | 2765632.3469 | 1134700.9653 | 2765630.2889 | 1134699.2832
59 | 2765353.9156 | 1134507.4021 | 2765377.4332 | 1134515.3762 | 2765391.7577 | 1134520.4038
60 | 2765414.1035 | 1134528.2466 | 2765391.7577 | 1134520.4038
61 | 2765414.1035 | 1134528.2466 | 2765431.5277 | 1134534.896 | 2765447.2712 | 1134539.9984
62 | 2765447.2712 | 1134539.9984 | 2765461.2797 | 1134544.5384

## bus_geodata
| x | y | coords
0 | 2765806.752 | 1134759.4626
1 | 2765801.1069 | 1134757.771
2 | 2765788.3929 | 1134753.9599
3 | 2765782.0158 | 1134751.9778
4 | 2765775.4012 | 1134749.6944
5 | 2765775.9302 | 1134734.6404
6 | 2765711.464 | 1134737
7 | 2765696.1991 | 1134732.8643
8 | 2765686.9579 | 1134729.7965
9 | 2765686.3373 | 1134729.5896
10 | 2765771.6746 | 1134729.1856
11 | 2765672.2785 | 1134724.44
12 | 2765699.3307 | 1134711.012
13 | 2765768.5846 | 1134727.3751
14 | 2765660.5205 | 1134720.2084
15 | 2765701.8817 | 1134710.5945
16 | 2765750.8229 | 1134717.0883
17 | 2765594.885 | 1134637.0586
18 | 2765589.0649 | 1134629.5211
19 | 2765597.5482 | 1134641.8913
20 | 2765581.7879 | 1134620.0969
21 | 2765595.8832 | 1134667.2118
22 | 2765570.2313 | 1134606.1898
23 | 2765609.9723 | 1134681.6126
24 | 2765577.8194 | 1134600.3789
25 | 2765569.8998 | 1134606.4009
26 | 2765551.7164 | 1134621.6291
27 | 2765509.927 | 1134577.4782
28 | 2765617.336 | 1134688.6961
29 | 2765589.6474 | 1134581.2005
30 | 2765495.9553 | 1134563.8741
31 | 2765625.444 | 1134695.3232
32 | 2765748.8514 | 1134716.0194
33 | 2765741.3295 | 1134711.9415
34 | 2765734.1166 | 1134708.0311
35 | 2765721.2095 | 1134707.9059
36 | 2765710.3305 | 1134709.2474
37 | 2765705.5297 | 1134709.9974
38 | 2765655.499 | 1134718.4011
39 | 2765622.127 | 1134764.7482
40 | 2765648.7738 | 1134714.0424
41 | 2765473.9935 | 1134549.7168
42 | 2765627.732 | 1134697.1933
43 | 2765614.0864 | 1134763.0708
44 | 2765733.0279 | 1134839.7651
45 | 2765645.1574 | 1134711.2384
46 | 2765552.5662 | 1134669.8381
47 | 2765481.9749 | 1134697.7094
48 | 2765751.3853 | 1134923.9629
49 | 2765643.4663 | 1134709.9006
50 | 2765448.5558 | 1134699.1713
51 | 2765685.247 | 1134887.5626
52 | 2765635.3426 | 1134703.4139
53 | 2765553.6003 | 1135133.3863
54 | 2765582.9443 | 1134864.9706
55 | 2765523.7497 | 1134845.5927
56 | 2765591.1569 | 1134576.2428
57 | 2765632.3469 | 1134700.9653
58 | 2765630.2889 | 1134699.2832
59 | 2765353.9156 | 1134507.4021
60 | 2765391.7577 | 1134520.4038
61 | 2765414.1035 | 1134528.2466
62 | 2765447.2712 | 1134539.9984
63 | 2765461.2797 | 1134544.5384
64 | 2765655.499 | 1134718.4011

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1