## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3792-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3792-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3792-6_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3792-6_0_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_3792-6_0_2_node_67 | 0.4 | n |  | TRUE
5 | bus_LV_3792-6_0_2_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_3792-6_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3792-6_0_2_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_3792-6_0_2_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3792-6_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3792-6_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3792-6_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3792-6_0_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_3792-6_0_2_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_3792-6_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3792-6_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_3792-6_0_2_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_3792-6_0_2_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_3792-6_0_2_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_3792-6_0_2_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_3792-6_0_2_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_3792-6_0_2_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_3792-6_0_2_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_3792-6_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3792-6_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3792-6_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3792-6_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3792-6_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3792-6_0_2_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_3792-6_0_2_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3792-6_0_2_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_3792-6_0_2_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3792-6_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3792-6_0_2_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3792-6_0_2_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3792-6_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3792-6_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3792-6_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_3792-6_0_2_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_3792-6_0_2_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_3792-6_0_2_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_3792-6_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3792-6_0_2_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_3792-6_0_2_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3792-6_0_2_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3792-6_0_2_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_3792-6_0_2_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_3792-6_0_2_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_3792-6_0_2_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_3792-6_0_2_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_3792-6_0_2_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_3792-6_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3792-6_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_3792-6_0_2_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_3792-6_0_2_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_3792-6_0_2_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3792-6_0_2_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3792-6_0_2_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3792-6_0_2_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_3792-6_0_2_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_3792-6_0_2_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_3792-6_0_2_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_3792-6_0_2_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_3792-6_0_2_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_3792-6_0_2_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_3792-6_0_2_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_3792-6_0_2_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_3792-6_0_2_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_3792-6_0_2_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_3792-6_0_2_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_3792-6_0_2_node_69 | 0.4 | n |  | TRUE
71 | bus_MV_164_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3792-6_0_2_load_0 | 0 | 0.0018442 | 0.0004622 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3792-6_0_2_load_1 | 1 | 0.0063646 | 0.0015951 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3792-6_0_2_load_2 | 2 | 0.003313 | 0.00083032 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3792-6_0_2_load_67 | 4 | 0.0043113 | 0.0010805 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3792-6_0_2_load_3 | 7 | 0.0024178 | 0.00060596 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3792-6_0_2_load_4 | 8 | 0.0018713 | 0.000469 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3792-6_0_2_load_6 | 9 | 0.004056 | 0.0010165 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3792-6_0_2_load_10 | 11 | 0.001769 | 0.00044336 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3792-6_0_2_load_66 | 13 | 0.028777 | 0.0072121 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3792-6_0_2_load_61 | 16 | 0.0010765 | 0.0002698 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3792-6_0_2_load_58 | 17 | 0.0070777 | 0.0017739 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3792-6_0_2_load_68 | 18 | 0.0024609 | 0.00061675 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3792-6_0_2_load_39 | 19 | 0.0010116 | 0.00025353 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3792-6_0_2_load_72 | 20 | 0.0045317 | 0.0011357 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3792-6_0_2_load_38 | 21 | 0.00090831 | 0.00022765 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3792-6_0_2_load_59 | 22 | 0.0017306 | 0.00043373 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3792-6_0_2_load_16 | 23 | 0.00054039 | 0.00013543 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3792-6_0_2_load_17 | 24 | 0.0022473 | 0.00056324 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3792-6_0_2_load_19 | 26 | 0.0020799 | 0.00052126 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3792-6_0_2_load_20 | 27 | 0.0016338 | 0.00040947 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3792-6_0_2_load_30 | 29 | 0.0016889 | 0.00042329 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3792-6_0_2_load_34 | 30 | 0.0013301 | 0.00033336 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3792-6_0_2_load_21 | 31 | 0.0015222 | 0.00038149 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3792-6_0_2_load_22 | 32 | 0.00081817 | 0.00020505 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3792-6_0_2_load_24 | 34 | 0.00094235 | 0.00023617 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3792-6_0_2_load_25 | 35 | 0.0018895 | 0.00047356 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3792-6_0_2_load_26 | 36 | 0.0043078 | 0.0010796 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3792-6_0_2_load_33 | 37 | 0.001776 | 0.0004451 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3792-6_0_2_load_36 | 38 | 0.00091434 | 0.00022916 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3792-6_0_2_load_42 | 40 | 0.0013163 | 0.00032989 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3792-6_0_2_load_31 | 41 | 0.0012367 | 0.00030994 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3792-6_0_2_load_27 | 42 | 0.00081842 | 0.00020512 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3792-6_0_2_load_28 | 43 | 0.0018546 | 0.00046481 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3792-6_0_2_load_32 | 45 | 0.00097411 | 0.00024414 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3792-6_0_2_load_51 | 47 | 0.0038214 | 0.00095773 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3792-6_0_2_load_52 | 48 | 0.0023658 | 0.00059293 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3792-6_0_2_load_40 | 50 | 0.00062137 | 0.00015573 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3792-6_0_2_load_43 | 51 | 0.0014811 | 0.0003712 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3792-6_0_2_load_44 | 52 | 0.0014538 | 0.00036436 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3792-6_0_2_load_45 | 53 | 0.00084164 | 0.00021093 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3792-6_0_2_load_46 | 54 | 0.00098895 | 0.00024785 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3792-6_0_2_load_47 | 55 | 0.00097078 | 0.0002433 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3792-6_0_2_load_48 | 56 | 0.001383 | 0.0003466 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3792-6_0_2_load_49 | 57 | 0.001393 | 0.00034911 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3792-6_0_2_load_50 | 58 | 0.0013306 | 0.00033349 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3792-6_0_2_load_63 | 60 | 0.0010433 | 0.00026147 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3792-6_0_2_load_55 | 61 | 0.0034601 | 0.00086718 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3792-6_0_2_load_71 | 62 | 0.00090646 | 0.00022718 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3792-6_0_2_load_53 | 64 | 0.001354 | 0.00033935 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3792-6_0_2_load_54 | 65 | 0.0039775 | 0.00099687 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3792-6_0_2_load_56 | 66 | 0.00093367 | 0.000234 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3792-6_0_2_load_60 | 67 | 0.0015387 | 0.00038564 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3792-6_0_2_load_62 | 68 | 0.0018728 | 0.00046937 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3792-6_0_2_load_70 | 69 | 0.0026032 | 0.00065242 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3792-6_0_2_load_69 | 70 | 0.0010719 | 0.00026865 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3792-6_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0031291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3792-6_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.030745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3792-6_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0081738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3792-6_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0077728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3792-6_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3792-6_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.008254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3792-6_0_2_line_6 | NAYY 4x150 SE | 4 | 18 | 0.0058232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3792-6_0_2_line_7 | NAYY 4x150 SE | 5 | 13 | 0.0013706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3792-6_0_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.018717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3792-6_0_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.0016291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3792-6_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.018895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3792-6_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.019014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3792-6_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.021525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3792-6_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.17037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3792-6_0_2_line_14 | NAYY 4x150 SE | 12 | 19 | 0.18495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3792-6_0_2_line_15 | NAYY 4x150 SE | 12 | 20 | 0.16415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3792-6_0_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.006288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3792-6_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.030097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3792-6_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0091435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3792-6_0_2_line_19 | NAYY 4x150 SE | 17 | 22 | 0.0054911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3792-6_0_2_line_20 | NAYY 4x150 SE | 18 | 70 | 0.0051375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3792-6_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.07141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3792-6_0_2_line_22 | NAYY 4x150 SE | 21 | 50 | 0.025006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3792-6_0_2_line_23 | NAYY 4x150 SE | 22 | 67 | 0.011681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3792-6_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.065576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3792-6_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.013498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3792-6_0_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.13327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3792-6_0_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.071986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3792-6_0_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.03042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3792-6_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.044244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3792-6_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.010447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3792-6_0_2_line_31 | NAYY 4x150 SE | 29 | 43 | 0.002133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3792-6_0_2_line_32 | NAYY 4x150 SE | 30 | 37 | 0.00019413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3792-6_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.017599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3792-6_0_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.011675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3792-6_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0090387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3792-6_0_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.013962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3792-6_0_2_line_37 | NAYY 4x150 SE | 33 | 36 | 0.010605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3792-6_0_2_line_38 | NAYY 4x150 SE | 34 | 37 | 0.010845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3792-6_0_2_line_39 | NAYY 4x150 SE | 35 | 38 | 0.022258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3792-6_0_2_line_40 | NAYY 4x150 SE | 36 | 39 | 0.025208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3792-6_0_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.00080262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3792-6_0_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.029535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3792-6_0_2_line_43 | NAYY 4x150 SE | 40 | 51 | 0.0070523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3792-6_0_2_line_44 | NAYY 4x150 SE | 41 | 44 | 0.025412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3792-6_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.0065871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3792-6_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.081208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3792-6_0_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.013532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3792-6_0_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0021022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3792-6_0_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.0063781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_3792-6_0_2_line_50 | NAYY 4x150 SE | 49 | 62 | 0.011292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3792-6_0_2_line_51 | NAYY 4x150 SE | 49 | 63 | 0.01114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3792-6_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.011808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3792-6_0_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.00058557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3792-6_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0087921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3792-6_0_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.0040796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3792-6_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.015274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3792-6_0_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.01359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3792-6_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.00063455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3792-6_0_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.013368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3792-6_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.0051447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3792-6_0_2_line_61 | NAYY 4x150 SE | 59 | 61 | 0.0068238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3792-6_0_2_line_62 | NAYY 4x150 SE | 60 | 68 | 0.0034981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3792-6_0_2_line_63 | NAYY 4x150 SE | 61 | 64 | 0.020642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3792-6_0_2_line_64 | NAYY 4x150 SE | 62 | 69 | 0.0043779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3792-6_0_2_line_65 | NAYY 4x150 SE | 63 | 68 | 0.01387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3792-6_0_2_line_66 | NAYY 4x150 SE | 64 | 65 | 0.039133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3792-6_0_2_line_67 | NAYY 4x150 SE | 65 | 66 | 0.0030816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3792-6_0_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.0011046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3792-6_0_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0036521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3792-6_0_2_trafo_51 | 0.25 MVA 20/0.4 kV | 71 | 47 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2761801.9493 | 1134414.2921 | 2761800.981 | 1134417.2676
1 | 2761787.9547 | 1134444.7224 | 2761792.3872 | 1134439.7944 | 2761799.584 | 1134421.5607 | 2761800.981 | 1134417.2676
2 | 2761783.2182 | 1134451.1473 | 2761783.4408 | 1134449.741 | 2761787.9547 | 1134444.7224
3 | 2761783.2182 | 1134451.1473 | 2761784.1255 | 1134451.205 | 2761790.9238 | 1134452.1503
4 | 2761781.1133 | 1134464.4577 | 2761783.2182 | 1134451.1473
5 | 2761774.9762 | 1134450.9042 | 2761776.1837 | 1134450.6808 | 2761783.2182 | 1134451.1473
6 | 2761790.9238 | 1134452.1503 | 2761796.6915 | 1134452.9523
7 | 2761781.1133 | 1134464.4577 | 2761782.4776 | 1134464.5895
8 | 2761774.9762 | 1134450.9042 | 2761773.7839 | 1134438.206 | 2761770.9702 | 1134435.1392 | 2761770.2807 | 1134433.475
9 | 2761770.2807 | 1134433.475 | 2761769.6573 | 1134431.9699
10 | 2761758.8034 | 1134421.2559 | 2761767.9047 | 1134422.5021 | 2761768.6409 | 1134429.5166 | 2761769.6573 | 1134431.9699
11 | 2761739.9363 | 1134421.7638 | 2761752.051 | 1134420.3314 | 2761758.8034 | 1134421.2559
12 | 2761739.9363 | 1134421.7638 | 2761747.6395 | 1134441.863
13 | 2761739.9363 | 1134421.7638 | 2761739.1173 | 1134414.1021 | 2761738.9037 | 1134407.1239 | 2761736.7605 | 1134392.5431 | 2761722.3997 | 1134385.5306 | 2761712.8843 | 1134381.9285 | 2761707.1795 | 1134374.6586 | 2761697.9648 | 1134357.5309 | 2761695.9699 | 1134352.0729 | 2761694.1613 | 1134343.395 | 2761707.1291 | 1134335.4243 | 2761715.7208 | 1134332.107 | 2761724.9945 | 1134330.3537 | 2761733.4059 | 1134329.745 | 2761746.4656 | 1134330.1282 | 2761762.4777 | 1134331.2801
14 | 2761762.4777 | 1134331.2801 | 2761775.6489 | 1134334.6911 | 2761778.501 | 1134336.6136 | 2761783.7785 | 1134341.1476 | 2761791.2128 | 1134345.3835 | 2761797.5475 | 1134347.2547 | 2761803.1148 | 1134347.5819 | 2761809.5263 | 1134346.5861 | 2761816.7939 | 1134343.8228 | 2761821.8166 | 1134340.9104 | 2761825.5752 | 1134338.32 | 2761833.1676 | 1134334.9316 | 2761842.8284 | 1134332.822 | 2761845.5756 | 1134333.485 | 2761848.6 | 1134333.2881 | 2761852.6111 | 1134332.7728 | 2761854.6291 | 1134331.904 | 2761857.0902 | 1134330.0239 | 2761863.8671 | 1134325.4571 | 2761868.2226 | 1134323.8725 | 2761874.537 | 1134323.052 | 2761879.973 | 1134321.6743 | 2761886.7308 | 1134317.8188 | 2761892.7803 | 1134316.8245 | 2761897.0009 | 1134317.1156 | 2761911.2051 | 1134317.0406 | 2761918.7406 | 1134317.7876 | 2761933.7509 | 1134318.1012 | 2761936.1505 | 1134317.5571
15 | 2761762.4777 | 1134331.2801 | 2761752.5575 | 1134167.4323
16 | 2761741.1476 | 1134492.6892 | 2761734.9921 | 1134491.3233
17 | 2761734.9921 | 1134491.3233 | 2761734.3852 | 1134493.5645 | 2761746.2032 | 1134495.7271 | 2761746.297 | 1134511.4873
18 | 2761741.1476 | 1134492.6892 | 2761750.0397 | 1134494.8188
19 | 2761750.0397 | 1134494.8188 | 2761755.3798 | 1134496.0977
20 | 2761801.7801 | 1134453.6599 | 2761796.6915 | 1134452.9523
21 | 2761964.0614 | 1134253.8834 | 2761963.5601 | 1134255.9812 | 2761961.4164 | 1134262.1067 | 2761957.1153 | 1134268.2632 | 2761947.7371 | 1134282.8019 | 2761942.9648 | 1134296.4744 | 2761941.5297 | 1134302.8858 | 2761940.8685 | 1134307.4385 | 2761939.4798 | 1134315.5637 | 2761938.0051 | 1134317.1366 | 2761936.1505 | 1134317.5571
22 | 2761964.0614 | 1134253.8834 | 2761964.7747 | 1134250.8984 | 2761964.9038 | 1134242.9285 | 2761964.4451 | 1134239.3576 | 2761963.5863 | 1134234.9086 | 2761960.9042 | 1134229.7267
23 | 2761755.3798 | 1134496.0977 | 2761756.4144 | 1134496.3455 | 2761760.5696 | 1134497.3464 | 2761762.2765 | 1134498.6043 | 2761764.2339 | 1134500.8586 | 2761765.1597 | 1134501.3727 | 2761765.3353 | 1134501.4027
24 | 2762101.3599 | 1134339.7449 | 2762096.9303 | 1134340.2064 | 2762086.8075 | 1134344.3161 | 2762063.5255 | 1134362.9406 | 2762043.6616 | 1134367.5088
25 | 2762030.3608 | 1134367.555 | 2762038.7575 | 1134368.6367 | 2762043.6616 | 1134367.5088
26 | 2762230.3895 | 1134316.9464 | 2762191.1874 | 1134334.6978 | 2762182.7481 | 1134335.7722 | 2762167.7207 | 1134334.3788 | 2762152.6011 | 1134334.4064 | 2762101.3599 | 1134339.7449
27 | 2762030.3608 | 1134367.555 | 2762011.4232 | 1134371.2392 | 2761988.9672 | 1134384.6373 | 2761964.8152 | 1134386.9028 | 2761962.5965 | 1134387.4521
28 | 2761934.0118 | 1134397.6752 | 2761954.1157 | 1134389.5516 | 2761962.5965 | 1134387.4521
29 | 2761934.0118 | 1134397.6752 | 2761936.9235 | 1134398.5206 | 2761941.068 | 1134397.9089 | 2761954.8007 | 1134394.1627 | 2761960.0649 | 1134394.304 | 2761973.8008 | 1134398.4757 | 2761976.1706 | 1134400.5765
30 | 2761934.0118 | 1134397.6752 | 2761924.9703 | 1134402.909
31 | 2761977.718 | 1134402.0304 | 2761977.6299 | 1134401.8701 | 2761976.1706 | 1134400.5765
32 | 2761924.9703 | 1134402.909 | 2761924.8022 | 1134403.0062
33 | 2761907.594 | 1134412.9675 | 2761902.8362 | 1134415.7216 | 2761892.0018 | 1134421.1137
34 | 2761881.5494 | 1134426.3157 | 2761892.0018 | 1134421.1137
35 | 2761907.594 | 1134412.9675 | 2761915.4166 | 1134408.4392
36 | 2761881.5494 | 1134426.3157 | 2761869.052 | 1134432.5417
37 | 2761881.5494 | 1134426.3157 | 2761886.7702 | 1134435.5462
38 | 2761915.4166 | 1134408.4392 | 2761924.8022 | 1134403.0062
39 | 2761850.7096 | 1134445.1506 | 2761869.052 | 1134432.5417
40 | 2761893.612 | 1134456.6978 | 2761887.6967 | 1134446.0859 | 2761890.9761 | 1134442.9823 | 2761886.7702 | 1134435.5462
41 | 2761893.612 | 1134456.6978 | 2761892.9329 | 1134457.1256
42 | 2761893.612 | 1134456.6978 | 2761911.965 | 1134447.226 | 2761920.8305 | 1134446.6775
43 | 2761892.9329 | 1134457.1256 | 2761886.9661 | 1134460.885
44 | 2761946.1943 | 1134445.1083 | 2761920.8305 | 1134446.6775
45 | 2761977.718 | 1134402.0304 | 2761980.391 | 1134406.8928 | 2761980.5673 | 1134407.9161
46 | 2761946.1943 | 1134445.1083 | 2761987.6981 | 1134447.723 | 2762004.8088 | 1134452.6971 | 2762007.1228 | 1134474.3774
47 | 2761826.482 | 1134457.3444 | 2761824.8628 | 1134443.912
48 | 2761826.482 | 1134457.3444 | 2761824.5202 | 1134458.0995
49 | 2761818.5678 | 1134460.3906 | 2761824.5202 | 1134458.0995
50 | 2761818.5678 | 1134460.3906 | 2761816.9172 | 1134457.0325 | 2761810.7742 | 1134454.9106 | 2761809.7335 | 1134454.7659
51 | 2761809.6938 | 1134467.0585 | 2761817.2993 | 1134460.8793 | 2761818.5678 | 1134460.3906
52 | 2761877.1605 | 1134467.4556 | 2761882.0489 | 1134463.983 | 2761886.9661 | 1134460.885
53 | 2761877.1605 | 1134467.4556 | 2761876.6831 | 1134467.7947
54 | 2761869.5154 | 1134472.8864 | 2761876.6831 | 1134467.7947
55 | 2761866.1895 | 1134475.2491 | 2761869.5154 | 1134472.8864
56 | 2761866.1895 | 1134475.2491 | 2761857.6866 | 1134481.2893 | 2761853.0128 | 1134482.5631
57 | 2761853.0128 | 1134482.5631 | 2761848.9196 | 1134483.6787 | 2761842.9074 | 1134480.704 | 2761840.2677 | 1134480.7356
58 | 2761840.2677 | 1134480.7356 | 2761839.6332 | 1134480.7432
59 | 2761826.2664 | 1134480.9029 | 2761839.6332 | 1134480.7432
60 | 2761826.2664 | 1134480.9029 | 2761823.0138 | 1134476.9169
61 | 2761826.2664 | 1134480.9029 | 2761820.8186 | 1134485.0122
62 | 2761820.8022 | 1134474.2067 | 2761823.0138 | 1134476.9169
63 | 2761805.3033 | 1134498.5591 | 2761813.2964 | 1134490.686 | 2761820.8186 | 1134485.0122
64 | 2761809.7335 | 1134454.7659 | 2761805.3973 | 1134454.1629
65 | 2761809.6938 | 1134467.0585 | 2761816.2181 | 1134468.7458 | 2761817.9074 | 1134470.6593 | 2761820.8022 | 1134474.2067
66 | 2761805.3033 | 1134498.5591 | 2761798.3377 | 1134505.42 | 2761776.5542 | 1134504.6806 | 2761770.327 | 1134502.2562 | 2761769.4617 | 1134502.1083
67 | 2761769.4617 | 1134502.1083 | 2761766.4242 | 1134501.5889
68 | 2761766.4242 | 1134501.5889 | 2761765.3353 | 1134501.4027
69 | 2761801.7801 | 1134453.6599 | 2761805.3973 | 1134454.1629

## bus_geodata
| x | y | coords
0 | 2761801.9493 | 1134414.2921
1 | 2761800.981 | 1134417.2676
2 | 2761787.9547 | 1134444.7224
3 | 2761783.2182 | 1134451.1473
4 | 2761790.9238 | 1134452.1503
5 | 2761781.1133 | 1134464.4577
6 | 2761774.9762 | 1134450.9042
7 | 2761770.2807 | 1134433.475
8 | 2761769.6573 | 1134431.9699
9 | 2761758.8034 | 1134421.2559
10 | 2761739.9363 | 1134421.7638
11 | 2761747.6395 | 1134441.863
12 | 2761762.4777 | 1134331.2801
13 | 2761782.4776 | 1134464.5895
14 | 2761734.9921 | 1134491.3233
15 | 2761741.1476 | 1134492.6892
16 | 2761746.297 | 1134511.4873
17 | 2761750.0397 | 1134494.8188
18 | 2761796.6915 | 1134452.9523
19 | 2761936.1505 | 1134317.5571
20 | 2761752.5575 | 1134167.4323
21 | 2761964.0614 | 1134253.8834
22 | 2761755.3798 | 1134496.0977
23 | 2762043.6616 | 1134367.5088
24 | 2762101.3599 | 1134339.7449
25 | 2762030.3608 | 1134367.555
26 | 2762230.3895 | 1134316.9464
27 | 2761962.5965 | 1134387.4521
28 | 2761934.0117 | 1134397.6752
29 | 2761976.1706 | 1134400.5765
30 | 2761924.9703 | 1134402.909
31 | 2761892.0018 | 1134421.1137
32 | 2761907.594 | 1134412.9675
33 | 2761881.5494 | 1134426.3157
34 | 2761915.4166 | 1134408.4392
35 | 2761869.052 | 1134432.5417
36 | 2761886.7702 | 1134435.5462
37 | 2761924.8022 | 1134403.0062
38 | 2761850.7096 | 1134445.1506
39 | 2761893.612 | 1134456.6978
40 | 2761892.9329 | 1134457.1256
41 | 2761920.8305 | 1134446.6775
42 | 2761980.5673 | 1134407.9161
43 | 2761977.718 | 1134402.0304
44 | 2761946.1943 | 1134445.1083
45 | 2762007.1228 | 1134474.3774
46 | 2761826.482 | 1134457.3444
47 | 2761824.8628 | 1134443.912
48 | 2761824.5202 | 1134458.0995
49 | 2761818.5678 | 1134460.3906
50 | 2761960.9042 | 1134229.7267
51 | 2761886.9661 | 1134460.885
52 | 2761877.1605 | 1134467.4556
53 | 2761876.6831 | 1134467.7947
54 | 2761869.5154 | 1134472.8864
55 | 2761866.1895 | 1134475.2491
56 | 2761853.0128 | 1134482.5631
57 | 2761840.2677 | 1134480.7356
58 | 2761839.6332 | 1134480.7432
59 | 2761826.2664 | 1134480.9029
60 | 2761823.0138 | 1134476.9169
61 | 2761820.8186 | 1134485.0122
62 | 2761809.7335 | 1134454.7659
63 | 2761809.6938 | 1134467.0585
64 | 2761805.3033 | 1134498.5591
65 | 2761769.4617 | 1134502.1083
66 | 2761766.4242 | 1134501.5889
67 | 2761765.3353 | 1134501.4027
68 | 2761820.8022 | 1134474.2067
69 | 2761805.3973 | 1134454.1629
70 | 2761801.7801 | 1134453.6599
71 | 2761826.482 | 1134457.3444

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1