## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3832-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3832-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3832-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3832-3_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3832-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3832-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3832-3_0_3_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_3832-3_0_3_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_3832-3_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_3832-3_0_3_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_3832-3_0_3_node_77 | 0.4 | n |  | TRUE
11 | bus_LV_3832-3_0_3_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_3832-3_0_3_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_3832-3_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3832-3_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_3832-3_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_3832-3_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3832-3_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3832-3_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3832-3_0_3_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_3832-3_0_3_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_3832-3_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3832-3_0_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_3832-3_0_3_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_3832-3_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3832-3_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3832-3_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_3832-3_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3832-3_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3832-3_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3832-3_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_3832-3_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3832-3_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3832-3_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3832-3_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3832-3_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3832-3_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_3832-3_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_3832-3_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_3832-3_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_3832-3_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_3832-3_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3832-3_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3832-3_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_3832-3_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_3832-3_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3832-3_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_3832-3_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_3832-3_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_3832-3_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_3832-3_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_3832-3_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3832-3_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_3832-3_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_3832-3_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3832-3_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_3832-3_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_3832-3_0_3_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3832-3_0_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_3832-3_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_3832-3_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3832-3_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_3832-3_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_3832-3_0_3_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_3832-3_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_3832-3_0_3_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_3832-3_0_3_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_3832-3_0_3_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_3832-3_0_3_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_3832-3_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_3832-3_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_3832-3_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_3832-3_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_3832-3_0_3_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_3832-3_0_3_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_3832-3_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_3832-3_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_3832-3_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_3832-3_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_MV_59_0_node_230 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3832-3_0_3_load_0 | 0 | 0.00066975 | 0.00016786 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3832-3_0_3_load_1 | 1 | 0.0014719 | 0.00036889 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3832-3_0_3_load_4 | 4 | 0.0038457 | 0.00096383 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3832-3_0_3_load_5 | 5 | 0.0030971 | 0.0007762 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3832-3_0_3_load_45 | 6 | 0.0019075 | 0.00047806 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3832-3_0_3_load_24 | 7 | 0.014454 | 0.0036225 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3832-3_0_3_load_11 | 8 | 0.0029935 | 0.00075025 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3832-3_0_3_load_77 | 10 | 0.0048488 | 0.0012152 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3832-3_0_3_load_60 | 11 | 0.002276 | 0.00057042 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3832-3_0_3_load_44 | 12 | 0.0017716 | 0.000444 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3832-3_0_3_load_6 | 14 | 0.0042375 | 0.001062 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3832-3_0_3_load_7 | 15 | 0.0052085 | 0.0013054 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3832-3_0_3_load_9 | 16 | 0.0018946 | 0.00047484 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3832-3_0_3_load_56 | 19 | 0.0038834 | 0.00097328 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3832-3_0_3_load_54 | 22 | 0.02183 | 0.0054711 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3832-3_0_3_load_68 | 23 | 0.0054166 | 0.0013575 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3832-3_0_3_load_17 | 24 | 0.0035279 | 0.00088416 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3832-3_0_3_load_13 | 25 | 0.0020466 | 0.00051292 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3832-3_0_3_load_14 | 26 | 0.0044394 | 0.0011126 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3832-3_0_3_load_18 | 29 | 0.0033442 | 0.00083813 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3832-3_0_3_load_20 | 30 | 0.0032614 | 0.0008174 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3832-3_0_3_load_21 | 31 | 0.0026028 | 0.00065233 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3832-3_0_3_load_22 | 32 | 0.0079995 | 0.0020049 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3832-3_0_3_load_25 | 34 | 0.0024109 | 0.00060423 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3832-3_0_3_load_26 | 35 | 0.0020758 | 0.00052025 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3832-3_0_3_load_27 | 36 | 0.0041328 | 0.0010358 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3832-3_0_3_load_29 | 37 | 0.001406 | 0.00035237 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3832-3_0_3_load_28 | 38 | 0.0025274 | 0.00063343 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3832-3_0_3_load_30 | 39 | 0.0016257 | 0.00040745 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3832-3_0_3_load_37 | 40 | 0.0039037 | 0.00097835 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3832-3_0_3_load_32 | 42 | 0.002343 | 0.00058721 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3832-3_0_3_load_33 | 43 | 0.0047015 | 0.0011783 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3832-3_0_3_load_35 | 45 | 0.0033862 | 0.00084867 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3832-3_0_3_load_36 | 46 | 0.0010179 | 0.00025511 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3832-3_0_3_load_38 | 47 | 0.0017755 | 0.00044497 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3832-3_0_3_load_48 | 48 | 0.0071277 | 0.0017864 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3832-3_0_3_load_46 | 50 | 0.00067499 | 0.00016917 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3832-3_0_3_load_40 | 51 | 0.0017527 | 0.00043926 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3832-3_0_3_load_41 | 52 | 0.0028675 | 0.00071865 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3832-3_0_3_load_51 | 54 | 0.0045582 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3832-3_0_3_load_43 | 55 | 0.00083473 | 0.0002092 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3832-3_0_3_load_47 | 56 | 0.00064247 | 0.00016102 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3832-3_0_3_load_49 | 57 | 0.00059948 | 0.00015024 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3832-3_0_3_load_50 | 58 | 0.00074552 | 0.00018685 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3832-3_0_3_load_53 | 59 | 0.007964 | 0.001996 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3832-3_0_3_load_58 | 62 | 0.0033376 | 0.00083649 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3832-3_0_3_load_70 | 63 | 0.0028802 | 0.00072185 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3832-3_0_3_load_59 | 64 | 0.0024462 | 0.00061308 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3832-3_0_3_load_71 | 65 | 0.0026039 | 0.0006526 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3832-3_0_3_load_78 | 66 | 0.002601 | 0.00065187 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3832-3_0_3_load_66 | 67 | 0.0056341 | 0.001412 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3832-3_0_3_load_62 | 69 | 0.003765 | 0.00094359 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3832-3_0_3_load_65 | 71 | 0.0015466 | 0.00038762 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3832-3_0_3_load_67 | 72 | 0.0031237 | 0.00078287 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3832-3_0_3_load_80 | 74 | 0.0046297 | 0.0011603 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3832-3_0_3_load_75 | 75 | 0.0039059 | 0.0009789 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3832-3_0_3_load_72 | 76 | 0.0055544 | 0.0013921 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3832-3_0_3_load_73 | 77 | 0.003211 | 0.00080474 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3832-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0098041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3832-3_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.03489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3832-3_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.019091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3832-3_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.045433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3832-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_3832-3_0_3_line_5 | NAYY 4x150 SE | 4 | 7 | 0.0089066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3832-3_0_3_line_6 | NAYY 4x150 SE | 5 | 8 | 0.016248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3832-3_0_3_line_7 | NAYY 4x150 SE | 6 | 12 | 0.039756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3832-3_0_3_line_8 | NAYY 4x150 SE | 8 | 13 | 0.010267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3832-3_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.011252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3832-3_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0024757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3832-3_0_3_line_11 | NAYY 4x150 SE | 10 | 68 | 0.022575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3832-3_0_3_line_12 | NAYY 4x150 SE | 11 | 64 | 0.020699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3832-3_0_3_line_13 | NAYY 4x150 SE | 12 | 55 | 0.0066233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3832-3_0_3_line_14 | NAYY 4x150 SE | 13 | 17 | 0.06247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3832-3_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.028144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3832-3_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.045187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3832-3_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.02697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3832-3_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0063531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_3832-3_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.019488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3832-3_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.010217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3832-3_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.015427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_3832-3_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.0070399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3832-3_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.014397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3832-3_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.077718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3832-3_0_3_line_25 | NAYY 4x150 SE | 21 | 25 | 0.016437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_3832-3_0_3_line_26 | NAYY 4x150 SE | 23 | 71 | 0.035784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3832-3_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.038796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3832-3_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.018549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3832-3_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.029241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_3832-3_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.021088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3832-3_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.015651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3832-3_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.018678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3832-3_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.018409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3832-3_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.036089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3832-3_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.015213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3832-3_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.013107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3832-3_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.017942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3832-3_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.016128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3832-3_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.025829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3832-3_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.011621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3832-3_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.0065918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3832-3_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.014378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3832-3_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.017929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_3832-3_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0021586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_3832-3_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.020649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3832-3_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.032795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_3832-3_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.01847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3832-3_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.029588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3832-3_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0043778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3832-3_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.040376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_3832-3_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.014756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3832-3_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.023399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3832-3_0_3_line_53 | NAYY 4x150 SE | 49 | 52 | 0.018574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3832-3_0_3_line_54 | NAYY 4x150 SE | 50 | 56 | 0.012967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3832-3_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.02862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3832-3_0_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.011486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3832-3_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.016553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3832-3_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.014918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3832-3_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 8.1808e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3832-3_0_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.0019873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3832-3_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.018039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3832-3_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.015079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3832-3_0_3_line_63 | NAYY 4x150 SE | 61 | 63 | 0.010176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3832-3_0_3_line_64 | NAYY 4x150 SE | 62 | 64 | 0.0092692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3832-3_0_3_line_65 | NAYY 4x150 SE | 63 | 67 | 0.0097416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3832-3_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.005134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3832-3_0_3_line_67 | NAYY 4x150 SE | 66 | 75 | 0.021322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3832-3_0_3_line_68 | NAYY 4x150 SE | 67 | 70 | 0.03195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3832-3_0_3_line_69 | NAYY 4x150 SE | 68 | 78 | 0.02261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3832-3_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.022618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3832-3_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.028258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3832-3_0_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.024387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3832-3_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.071482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3832-3_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.047401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3832-3_0_3_line_75 | NAYY 4x150 SE | 75 | 77 | 0.01738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3832-3_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.015756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3832-3_0_3_line_77 | NAYY 4x150 SE | 76 | 78 | 0.014281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3832-3_0_3_trafo_2 | 0.25 MVA 20/0.4 kV | 79 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2731810.3936 | 1123192.6973 | 2731818.3616 | 1123198.4097
1 | 2731834.3065 | 1123228.0666 | 2731831.0553 | 1123216.1983 | 2731828.6824 | 1123209.3305 | 2731826.701 | 1123205.3845 | 2731822.8715 | 1123201.6429 | 2731818.3616 | 1123198.4097
2 | 2731834.3065 | 1123228.0666 | 2731852.3805 | 1123221.9198
3 | 2731747.4041 | 1123150.2627 | 2731749.8718 | 1123130.8245 | 2731764.88 | 1123109.7917
4 | 2731747.4041 | 1123150.2627 | 2731744.2732 | 1123151.6288 | 2731732.183 | 1123167.8914
5 | 2731764.88 | 1123109.7917 | 2731770.0533 | 1123102.5416
6 | 2731732.183 | 1123167.8914 | 2731722.4891 | 1123180.9309
7 | 2731889.4012 | 1123207.5749 | 2731887.1679 | 1123208.782 | 2731873.9116 | 1123214.5973 | 2731852.3805 | 1123221.9198
8 | 2731716.3632 | 1123189.1708 | 2731722.4891 | 1123180.9309
9 | 2731773.4207 | 1123302.6836 | 2731782.752 | 1123308.971
10 | 2731773.4207 | 1123302.6836 | 2731771.3626 | 1123301.3076
11 | 2731801.4737 | 1123321.5858 | 2731782.752 | 1123308.971
12 | 2731754.1554 | 1123289.8037 | 2731771.3626 | 1123301.3076
13 | 2731895.2279 | 1123204.4257 | 2731889.4012 | 1123207.5749
14 | 2731716.3632 | 1123189.1708 | 2731685.6391 | 1123228.0748 | 2731680.1002 | 1123239.7739
15 | 2731716.3632 | 1123189.1708 | 2731711.3895 | 1123185.5377 | 2731710.0326 | 1123171.687 | 2731707.7623 | 1123163.9451
16 | 2731707.7623 | 1123163.9451 | 2731698.2844 | 1123131.6247 | 2731692.8746 | 1123121.4701
17 | 2731692.8746 | 1123121.4701 | 2731680.1935 | 1123097.6669
18 | 2731677.2063 | 1123092.0598 | 2731680.1935 | 1123097.6669
19 | 2731680.1002 | 1123239.7739 | 2731696.7146 | 1123249.9601
20 | 2731670.0774 | 1123239.1665 | 2731675.0705 | 1123240.4872 | 2731680.1002 | 1123239.7739
21 | 2731686.5916 | 1123079.7995 | 2731677.2063 | 1123092.0598
22 | 2731696.7146 | 1123249.9601 | 2731702.7163 | 1123253.6398
23 | 2731670.0774 | 1123239.1665 | 2731662.1755 | 1123251.2011
24 | 2731686.5916 | 1123079.7995 | 2731686.006 | 1123072.3259 | 2731682.7709 | 1123064.3052 | 2731676.0857 | 1123052.8182 | 2731664.4694 | 1123039.9896 | 2731655.1055 | 1123028.233 | 2731650.7424 | 1123019.5762 | 2731650.9944 | 1123017.2134 | 2731653.3387 | 1123014.0621
25 | 2731686.5916 | 1123079.7995 | 2731698.1769 | 1123069.9556 | 2731699.006 | 1123069.041
26 | 2731662.1755 | 1123251.2011 | 2731661.6918 | 1123251.9378 | 2731652.8511 | 1123265.4219 | 2731660.4226 | 1123282.6063
27 | 2731699.006 | 1123069.041 | 2731711.7484 | 1123054.9845 | 2731719.692 | 1123036.8221
28 | 2731727.1251 | 1123019.8271 | 2731719.692 | 1123036.8221
29 | 2731738.8406 | 1122993.0293 | 2731727.1251 | 1123019.8271
30 | 2731727.1251 | 1123019.8271 | 2731710.3037 | 1123007.1092
31 | 2731738.8406 | 1122993.0293 | 2731751.5817 | 1123002.1194
32 | 2731751.5817 | 1123002.1194 | 2731766.7862 | 1123012.9671
33 | 2731781.7722 | 1123023.6588 | 2731766.7862 | 1123012.9671
34 | 2731811.1503 | 1123044.6186 | 2731781.7722 | 1123023.6588
35 | 2731811.1503 | 1123044.6186 | 2731819.8028 | 1123032.1056
36 | 2731811.1503 | 1123044.6186 | 2731821.8197 | 1123052.2311
37 | 2731819.8028 | 1123032.1056 | 2731830.0075 | 1123017.3478
38 | 2731834.9483 | 1123061.5983 | 2731821.8197 | 1123052.2311
39 | 2731844.6975 | 1122996.1035 | 2731830.0075 | 1123017.3478
40 | 2731834.9483 | 1123061.5983 | 2731844.4083 | 1123068.3479
41 | 2731848.4466 | 1122990.6817 | 2731844.6975 | 1122996.1035
42 | 2731856.1125 | 1123076.6988 | 2731844.4083 | 1123068.3479
43 | 2731856.1125 | 1123076.6988 | 2731873.8863 | 1123079.0536
44 | 2731876.0262 | 1123079.3371 | 2731873.8863 | 1123079.0536
45 | 2731896.4962 | 1123082.0492 | 2731876.0262 | 1123079.3371
46 | 2731896.4962 | 1123082.0492 | 2731917.3379 | 1123107.37
47 | 2731896.4962 | 1123082.0492 | 2731913.9408 | 1123075.9807
48 | 2731917.3379 | 1123107.37 | 2731921.6496 | 1123112.6083 | 2731932.9421 | 1123132.4189
49 | 2731913.9408 | 1123075.9807 | 2731918.0756 | 1123074.5424
50 | 2731952.9372 | 1123167.4966 | 2731932.9421 | 1123132.4189
51 | 2731932.0127 | 1123069.6941 | 2731918.0756 | 1123074.5424
52 | 2731952.9372 | 1123167.4966 | 2731933.5288 | 1123180.5677
53 | 2731952.9372 | 1123167.4966 | 2731968.536 | 1123157.4134
54 | 2731932.0127 | 1123069.6941 | 2731944.2596 | 1123065.4338
55 | 2731909.7903 | 1123196.555 | 2731933.5288 | 1123180.5677
56 | 2731978.182 | 1123151.1781 | 2731968.536 | 1123157.4134
57 | 2731909.7903 | 1123196.555 | 2731895.2279 | 1123204.4257
58 | 2731944.2596 | 1123065.4338 | 2731958.3492 | 1123060.5325
59 | 2731958.4264 | 1123060.5056 | 2731958.3492 | 1123060.5325
60 | 2731733.9137 | 1123276.2712 | 2731732.3117 | 1123275.0953
61 | 2731733.9137 | 1123276.2712 | 2731728.5458 | 1123279.0564 | 2731717.8646 | 1123284.5946
62 | 2731733.9137 | 1123276.2712 | 2731746.4497 | 1123284.6521
63 | 2731717.8646 | 1123284.5946 | 2731708.8301 | 1123289.2779
64 | 2731746.4497 | 1123284.6521 | 2731754.1554 | 1123289.8037
65 | 2731700.1815 | 1123293.7613 | 2731708.8301 | 1123289.2779
66 | 2731725.2491 | 1123317.6675 | 2731721.2171 | 1123314.4891
67 | 2731743.3724 | 1123328.587 | 2731733.5181 | 1123324.1861 | 2731725.2491 | 1123317.6675
68 | 2731671.8164 | 1123308.4655 | 2731700.1815 | 1123293.7613
69 | 2731788.5568 | 1123340.1624 | 2731799.8825 | 1123323.8083 | 2731801.4737 | 1123321.5858
70 | 2731671.8164 | 1123308.4655 | 2731652.1826 | 1123319.6942
71 | 2731671.8164 | 1123308.4655 | 2731660.4226 | 1123282.6063
72 | 2731671.8164 | 1123308.4655 | 2731674.1353 | 1123332.7423
73 | 2731701.4096 | 1123390.9133 | 2731693.9584 | 1123389.4724 | 2731684.6588 | 1123382.2315 | 2731678.1426 | 1123374.6954 | 2731674.1353 | 1123332.7423
74 | 2731701.4096 | 1123390.9133 | 2731747.9442 | 1123399.9326
75 | 2731743.3724 | 1123328.587 | 2731759.2421 | 1123335.6743
76 | 2731774.2994 | 1123339.3427 | 2731766.4453 | 1123338.8912 | 2731759.2421 | 1123335.6743
77 | 2731788.5568 | 1123340.1624 | 2731774.2994 | 1123339.3427

## bus_geodata
| x | y | coords
0 | 2731810.3936 | 1123192.6973
1 | 2731818.3616 | 1123198.4097
2 | 2731834.3065 | 1123228.0666
3 | 2731747.4041 | 1123150.2627
4 | 2731764.88 | 1123109.7917
5 | 2731732.183 | 1123167.8914
6 | 2731852.3805 | 1123221.9198
7 | 2731770.0533 | 1123102.5416
8 | 2731722.4891 | 1123180.9309
9 | 2731773.4207 | 1123302.6836
10 | 2731782.752 | 1123308.971
11 | 2731771.3626 | 1123301.3076
12 | 2731889.4012 | 1123207.5749
13 | 2731716.3632 | 1123189.1708
14 | 2731707.7623 | 1123163.9451
15 | 2731692.8746 | 1123121.4701
16 | 2731680.1935 | 1123097.6669
17 | 2731680.1002 | 1123239.7739
18 | 2731677.2063 | 1123092.0598
19 | 2731696.7146 | 1123249.9601
20 | 2731670.0774 | 1123239.1665
21 | 2731686.5916 | 1123079.7995
22 | 2731702.7163 | 1123253.6398
23 | 2731662.1755 | 1123251.2011
24 | 2731653.3387 | 1123014.0621
25 | 2731699.006 | 1123069.041
26 | 2731719.692 | 1123036.8221
27 | 2731727.1251 | 1123019.8271
28 | 2731738.8406 | 1122993.0293
29 | 2731710.3037 | 1123007.1092
30 | 2731751.5817 | 1123002.1194
31 | 2731766.7862 | 1123012.9671
32 | 2731781.7722 | 1123023.6588
33 | 2731811.1503 | 1123044.6186
34 | 2731819.8028 | 1123032.1056
35 | 2731821.8197 | 1123052.2311
36 | 2731830.0075 | 1123017.3478
37 | 2731834.9483 | 1123061.5983
38 | 2731844.6975 | 1122996.1035
39 | 2731844.4083 | 1123068.3479
40 | 2731848.4466 | 1122990.6817
41 | 2731856.1125 | 1123076.6988
42 | 2731873.8863 | 1123079.0536
43 | 2731876.0262 | 1123079.3371
44 | 2731896.4962 | 1123082.0492
45 | 2731917.3379 | 1123107.37
46 | 2731913.9409 | 1123075.9807
47 | 2731932.9421 | 1123132.4189
48 | 2731918.0756 | 1123074.5424
49 | 2731952.9372 | 1123167.4966
50 | 2731932.0127 | 1123069.6941
51 | 2731933.5288 | 1123180.5677
52 | 2731968.536 | 1123157.4134
53 | 2731909.7903 | 1123196.555
54 | 2731978.182 | 1123151.1781
55 | 2731895.2279 | 1123204.4257
56 | 2731944.2596 | 1123065.4338
57 | 2731958.3492 | 1123060.5325
58 | 2731958.4264 | 1123060.5056
59 | 2731732.3117 | 1123275.0953
60 | 2731733.9137 | 1123276.2712
61 | 2731717.8646 | 1123284.5946
62 | 2731746.4497 | 1123284.6521
63 | 2731708.8301 | 1123289.2779
64 | 2731754.1554 | 1123289.8037
65 | 2731721.2171 | 1123314.4891
66 | 2731725.2491 | 1123317.6675
67 | 2731700.1815 | 1123293.7613
68 | 2731801.4737 | 1123321.5858
69 | 2731652.1826 | 1123319.6942
70 | 2731671.8164 | 1123308.4655
71 | 2731660.4226 | 1123282.6063
72 | 2731674.1353 | 1123332.7423
73 | 2731701.4096 | 1123390.9133
74 | 2731747.9442 | 1123399.9326
75 | 2731743.3724 | 1123328.587
76 | 2731774.2994 | 1123339.3427
77 | 2731759.2421 | 1123335.6743
78 | 2731788.5568 | 1123340.1624
79 | 2731716.3632 | 1123189.1708

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1