## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3837-2_1_3_node_81 | 0.4 | n |  | TRUE
1 | bus_LV_3837-2_1_3_node_82 | 0.4 | n |  | TRUE
2 | bus_LV_3837-2_1_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3837-2_1_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3837-2_1_3_node_46 | 0.4 | n |  | TRUE
5 | bus_LV_3837-2_1_3_node_84 | 0.4 | n |  | TRUE
6 | bus_LV_3837-2_1_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_3837-2_1_3_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_3837-2_1_3_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_3837-2_1_3_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_3837-2_1_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3837-2_1_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3837-2_1_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3837-2_1_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3837-2_1_3_node_91 | 0.4 | n |  | TRUE
15 | bus_LV_3837-2_1_3_node_90 | 0.4 | n |  | TRUE
16 | bus_LV_3837-2_1_3_node_114 | 0.4 | n |  | TRUE
17 | bus_LV_3837-2_1_3_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_3837-2_1_3_node_86 | 0.4 | n |  | TRUE
19 | bus_LV_3837-2_1_3_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_3837-2_1_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_3837-2_1_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3837-2_1_3_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_3837-2_1_3_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_3837-2_1_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_3837-2_1_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_3837-2_1_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_3837-2_1_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_3837-2_1_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3837-2_1_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_3837-2_1_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3837-2_1_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_3837-2_1_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_3837-2_1_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_3837-2_1_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_3837-2_1_3_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_3837-2_1_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_3837-2_1_3_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_3837-2_1_3_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_3837-2_1_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_3837-2_1_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_3837-2_1_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_3837-2_1_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_3837-2_1_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3837-2_1_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3837-2_1_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_3837-2_1_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_3837-2_1_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3837-2_1_3_node_88 | 0.4 | n |  | TRUE
49 | bus_LV_3837-2_1_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_3837-2_1_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_3837-2_1_3_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_3837-2_1_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_3837-2_1_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3837-2_1_3_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_3837-2_1_3_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_3837-2_1_3_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_3837-2_1_3_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_3837-2_1_3_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_3837-2_1_3_node_29 | 0.4 | n |  | TRUE
60 | bus_LV_3837-2_1_3_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_3837-2_1_3_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_3837-2_1_3_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_3837-2_1_3_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_3837-2_1_3_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_3837-2_1_3_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_3837-2_1_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_3837-2_1_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_3837-2_1_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_3837-2_1_3_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_3837-2_1_3_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_3837-2_1_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_3837-2_1_3_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_3837-2_1_3_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_3837-2_1_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_3837-2_1_3_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_3837-2_1_3_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_3837-2_1_3_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_3837-2_1_3_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_3837-2_1_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_3837-2_1_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_3837-2_1_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_3837-2_1_3_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_3837-2_1_3_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_3837-2_1_3_node_113 | 0.4 | n |  | TRUE
85 | bus_LV_3837-2_1_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_3837-2_1_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_3837-2_1_3_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_3837-2_1_3_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_3837-2_1_3_node_78 | 0.4 | n |  | TRUE
90 | bus_MV_174_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3837-2_1_3_load_81 | 0 | 0.0020226 | 0.00050692 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3837-2_1_3_load_2 | 2 | 0.0012829 | 0.00032154 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3837-2_1_3_load_84 | 5 | 0.0032877 | 0.00082397 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3837-2_1_3_load_47 | 6 | 0.0027527 | 0.00068989 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3837-2_1_3_load_48 | 7 | 0.0013649 | 0.00034207 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3837-2_1_3_load_45 | 8 | 0.00083847 | 0.00021014 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3837-2_1_3_load_83 | 9 | 0.00078839 | 0.00019759 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3837-2_1_3_load_5 | 10 | 0.0012457 | 0.0003122 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3837-2_1_3_load_7 | 12 | 0.00115 | 0.00028821 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3837-2_1_3_load_90 | 15 | 0.0032492 | 0.00081433 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3837-2_1_3_load_114 | 16 | 0.0014176 | 0.00035528 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3837-2_1_3_load_89 | 17 | 0.00085575 | 0.00021447 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3837-2_1_3_load_85 | 19 | 0.001188 | 0.00029774 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3837-2_1_3_load_9 | 20 | 0.00043376 | 0.00010871 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3837-2_1_3_load_59 | 22 | 0.00035812 | 8.9754e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3837-2_1_3_load_60 | 23 | 0.00034767 | 8.7136e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3837-2_1_3_load_11 | 24 | 0.0056874 | 0.0014254 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3837-2_1_3_load_12 | 25 | 0.0027126 | 0.00067985 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3837-2_1_3_load_13 | 26 | 0.0033898 | 0.00084957 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3837-2_1_3_load_14 | 27 | 0.0016227 | 0.00040668 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3837-2_1_3_load_38 | 29 | 0.0035097 | 0.0008796 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3837-2_1_3_load_21 | 30 | 0.0016258 | 0.00040747 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3837-2_1_3_load_49 | 31 | 0.0030512 | 0.00076471 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3837-2_1_3_load_19 | 33 | 0.002347 | 0.00058821 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3837-2_1_3_load_16 | 35 | 0.0051636 | 0.0012941 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3837-2_1_3_load_87 | 37 | 0.0068359 | 0.0017132 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3837-2_1_3_load_58 | 38 | 0.0077786 | 0.0019495 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3837-2_1_3_load_22 | 39 | 0.00089451 | 0.00022418 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3837-2_1_3_load_23 | 40 | 0.0010454 | 0.00026199 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3837-2_1_3_load_25 | 42 | 0.0015114 | 0.0003788 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3837-2_1_3_load_28 | 43 | 0.0015245 | 0.00038207 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3837-2_1_3_load_41 | 46 | 0.001742 | 0.00043658 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3837-2_1_3_load_39 | 47 | 0.0028901 | 0.00072432 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3837-2_1_3_load_36 | 49 | 0.0035761 | 0.00089625 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3837-2_1_3_load_40 | 50 | 0.0016185 | 0.00040564 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3837-2_1_3_load_30 | 51 | 0.0021107 | 0.000529 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3837-2_1_3_load_51 | 52 | 0.0015804 | 0.00039608 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3837-2_1_3_load_37 | 53 | 0.0012644 | 0.00031689 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3837-2_1_3_load_35 | 55 | 0.0013233 | 0.00033165 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3837-2_1_3_load_80 | 57 | 0.0018246 | 0.00045728 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3837-2_1_3_load_76 | 58 | 0.00097083 | 0.00024331 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3837-2_1_3_load_29 | 59 | 0.0023318 | 0.0005844 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3837-2_1_3_load_31 | 60 | 0.0030552 | 0.00076569 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3837-2_1_3_load_33 | 61 | 0.0020815 | 0.00052168 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3837-2_1_3_load_34 | 62 | 0.00096473 | 0.00024178 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3837-2_1_3_load_69 | 63 | 0.0013291 | 0.00033311 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3837-2_1_3_load_67 | 64 | 0.00099731 | 0.00024995 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3837-2_1_3_load_42 | 65 | 0.0018905 | 0.0004738 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3837-2_1_3_load_54 | 66 | 0.0021012 | 0.00052661 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3837-2_1_3_load_50 | 67 | 0.0021955 | 0.00055026 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3837-2_1_3_load_55 | 68 | 0.0015628 | 0.00039167 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3837-2_1_3_load_43 | 69 | 0.0012796 | 0.0003207 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3837-2_1_3_load_44 | 70 | 0.001171 | 0.00029349 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3837-2_1_3_load_52 | 71 | 0.00037246 | 9.3348e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3837-2_1_3_load_53 | 72 | 0.0022813 | 0.00057175 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3837-2_1_3_load_62 | 73 | 0.00039974 | 0.00010018 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3837-2_1_3_load_63 | 74 | 0.0024041 | 0.00060253 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3837-2_1_3_load_56 | 75 | 0.0066376 | 0.0016635 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3837-2_1_3_load_57 | 76 | 0.010474 | 0.0026249 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3837-2_1_3_load_61 | 77 | 0.00036064 | 9.0385e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3837-2_1_3_load_65 | 78 | 0.001262 | 0.0003163 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3837-2_1_3_load_66 | 79 | 0.00047163 | 0.0001182 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3837-2_1_3_load_64 | 80 | 0.00050464 | 0.00012648 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3837-2_1_3_load_73 | 81 | 0.00037131 | 9.306e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3837-2_1_3_load_71 | 82 | 0.00062925 | 0.00015771 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3837-2_1_3_load_70 | 83 | 0.00045696 | 0.00011453 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3837-2_1_3_load_113 | 84 | 0.00045741 | 0.00011464 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3837-2_1_3_load_75 | 85 | 0.0011649 | 0.00029195 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3837-2_1_3_load_79 | 86 | 0.00035943 | 9.0081e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3837-2_1_3_load_72 | 87 | 0.00038488 | 9.6461e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3837-2_1_3_load_74 | 88 | 0.00057539 | 0.00014421 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3837-2_1_3_load_78 | 89 | 0.00037848 | 9.4857e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3837-2_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3837-2_1_3_line_1 | NAYY 4x150 SE | 1 | 12 | 0.07005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3837-2_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.058156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3837-2_1_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.13502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3837-2_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0024174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3837-2_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.023422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3837-2_1_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.012514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3837-2_1_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.028911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3837-2_1_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.019053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3837-2_1_3_line_9 | NAYY 4x150 SE | 8 | 69 | 0.011136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3837-2_1_3_line_10 | NAYY 4x150 SE | 9 | 19 | 0.0067771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3837-2_1_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.023419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3837-2_1_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0056385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3837-2_1_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.033761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3837-2_1_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.094461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3837-2_1_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.039429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3837-2_1_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.055954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3837-2_1_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.042499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3837-2_1_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.005033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3837-2_1_3_line_19 | NAYY 4x150 SE | 17 | 48 | 0.0069694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3837-2_1_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.025762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3837-2_1_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.11963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3837-2_1_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.18837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3837-2_1_3_line_23 | NAYY 4x150 SE | 22 | 23 | 2.0507e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3837-2_1_3_line_24 | NAYY 4x150 SE | 23 | 77 | 0.00044225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3837-2_1_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0059932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3837-2_1_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0066696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3837-2_1_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0068871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3837-2_1_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.021932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3837-2_1_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3837-2_1_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.028519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3837-2_1_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0039679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3837-2_1_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.014492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3837-2_1_3_line_33 | NAYY 4x150 SE | 31 | 61 | 0.0017255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3837-2_1_3_line_34 | NAYY 4x150 SE | 32 | 35 | 0.017917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3837-2_1_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.029978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3837-2_1_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.037355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3837-2_1_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.027777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3837-2_1_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.025778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3837-2_1_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.00069125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3837-2_1_3_line_40 | NAYY 4x150 SE | 38 | 76 | 0.013016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3837-2_1_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0050925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3837-2_1_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.0099001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3837-2_1_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.015234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3837-2_1_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.01298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3837-2_1_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.043183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3837-2_1_3_line_46 | NAYY 4x150 SE | 43 | 48 | 0.052805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3837-2_1_3_line_47 | NAYY 4x150 SE | 44 | 49 | 0.023258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3837-2_1_3_line_48 | NAYY 4x150 SE | 44 | 50 | 0.057668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3837-2_1_3_line_49 | NAYY 4x150 SE | 44 | 51 | 0.013886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3837-2_1_3_line_50 | NAYY 4x150 SE | 45 | 46 | 0.049494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3837-2_1_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.034037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3837-2_1_3_line_52 | NAYY 4x150 SE | 46 | 52 | 0.0040203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3837-2_1_3_line_53 | NAYY 4x150 SE | 47 | 50 | 0.045718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3837-2_1_3_line_54 | NAYY 4x150 SE | 49 | 62 | 0.023907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3837-2_1_3_line_55 | NAYY 4x150 SE | 51 | 59 | 0.0091708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3837-2_1_3_line_56 | NAYY 4x150 SE | 52 | 67 | 0.016187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3837-2_1_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.038346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3837-2_1_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.023235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3837-2_1_3_line_59 | NAYY 4x150 SE | 54 | 63 | 0.024685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3837-2_1_3_line_60 | NAYY 4x150 SE | 54 | 64 | 0.0069161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3837-2_1_3_line_61 | NAYY 4x150 SE | 55 | 62 | 0.050022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3837-2_1_3_line_62 | NAYY 4x150 SE | 56 | 57 | 0.0048493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3837-2_1_3_line_63 | NAYY 4x150 SE | 56 | 58 | 0.0029711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3837-2_1_3_line_64 | NAYY 4x150 SE | 58 | 85 | 0.021582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3837-2_1_3_line_65 | NAYY 4x150 SE | 59 | 60 | 0.0090782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3837-2_1_3_line_66 | NAYY 4x150 SE | 60 | 61 | 0.0056059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3837-2_1_3_line_67 | NAYY 4x150 SE | 63 | 85 | 0.017841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3837-2_1_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.00035858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3837-2_1_3_line_69 | NAYY 4x150 SE | 66 | 68 | 0.010283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3837-2_1_3_line_70 | NAYY 4x150 SE | 67 | 71 | 0.016635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3837-2_1_3_line_71 | NAYY 4x150 SE | 68 | 75 | 0.0036136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3837-2_1_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.0029343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3837-2_1_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.0019444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3837-2_1_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.0058009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3837-2_1_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.013533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3837-2_1_3_line_76 | NAYY 4x150 SE | 74 | 80 | 0.0068072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3837-2_1_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.011708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3837-2_1_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.009975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3837-2_1_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.031657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3837-2_1_3_line_80 | NAYY 4x150 SE | 79 | 83 | 0.0074025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3837-2_1_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.034349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3837-2_1_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.014047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3837-2_1_3_line_83 | NAYY 4x150 SE | 82 | 87 | 0.0081511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3837-2_1_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0074495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3837-2_1_3_line_85 | NAYY 4x150 SE | 84 | 86 | 0.0073878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3837-2_1_3_line_86 | NAYY 4x150 SE | 86 | 89 | 0.01732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3837-2_1_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.010509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3837-2_1_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.0079825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3837-2_1_3_trafo_40 | 0.25 MVA 20/0.4 kV | 90 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2729357.8229 | 1131222.715 | 2729350.2471 | 1131215.659 | 2729342.3208 | 1131209.1117
1 | 2729357.8229 | 1131222.715 | 2729350.8624 | 1131230.8163 | 2729349.988 | 1131234.2333 | 2729350.3316 | 1131237.9767 | 2729352.5777 | 1131244.2514 | 2729357.8529 | 1131251.892 | 2729371.5368 | 1131276.9805 | 2729375.0821 | 1131283.6531
2 | 2729361.2105 | 1131400.1584 | 2729357.6017 | 1131393.4876 | 2729366.6122 | 1131377.0687 | 2729365.6836 | 1131368.6317 | 2729363.28 | 1131356.4049 | 2729363.5132 | 1131345.5138
3 | 2729294.9103 | 1131461.8395 | 2729291.827 | 1131465.8875 | 2729291.2966 | 1131476.2724 | 2729293.261 | 1131480.9511 | 2729297.2764 | 1131486.263 | 2729298.9246 | 1131482.3177 | 2729301.8354 | 1131476.2534 | 2729306.4492 | 1131469.8031 | 2729325.7677 | 1131449.0238 | 2729333.9209 | 1131440.2586 | 2729339.4355 | 1131433.116 | 2729353.3574 | 1131412.1767 | 2729361.2105 | 1131400.1584
4 | 2729361.2105 | 1131400.1584 | 2729362.5495 | 1131398.1457
5 | 2729294.9103 | 1131461.8395 | 2729283.7469 | 1131452.5274 | 2729289.4055 | 1131445.6781
6 | 2729294.9103 | 1131461.8395 | 2729302.722 | 1131452.0635
7 | 2729294.9103 | 1131461.8395 | 2729312.9579 | 1131439.2539 | 2729312.9579 | 1131439.2539
8 | 2729373.1034 | 1131382.2823 | 2729362.5495 | 1131398.1457
9 | 2729304.191 | 1131432.3868 | 2729312.9579 | 1131439.2539
10 | 2729373.1034 | 1131382.2823 | 2729376.8573 | 1131376.6398
11 | 2729377.7276 | 1131288.6324 | 2729381.4772 | 1131289.8135 | 2729392.3371 | 1131297.1178 | 2729394.0046 | 1131301.2676 | 2729393.9737 | 1131303.1948
12 | 2729377.7276 | 1131288.6324 | 2729375.0821 | 1131283.6531
13 | 2729377.7276 | 1131288.6324 | 2729376.932 | 1131294.4862 | 2729372.7233 | 1131303.2357 | 2729377.1251 | 1131306.3321 | 2729381.2168 | 1131312.4018 | 2729382.9397 | 1131317.5646
14 | 2729382.9397 | 1131317.5646 | 2729400.2649 | 1131315.067 | 2729399.99 | 1131309.5572 | 2729404.8216 | 1131309.4939 | 2729428.4571 | 1131309.8335 | 2729431.3543 | 1131309.8066 | 2729432.8949 | 1131309.4505 | 2729434.2305 | 1131308.6007 | 2729435.0549 | 1131307.5176 | 2729435.7542 | 1131305.4422 | 2729436.5381 | 1131299.0544 | 2729438.097 | 1131283.1097 | 2729438.1199 | 1131277.7286 | 2729437.6754 | 1131272.2263
15 | 2729382.9397 | 1131317.5646 | 2729384.5028 | 1131330.1848 | 2729382.4563 | 1131342.6499 | 2729387.9472 | 1131343.8127 | 2729386.4207 | 1131352.1415
16 | 2729440.4114 | 1131325.3783 | 2729443.0564 | 1131278.8796 | 2729442.3163 | 1131274.9498 | 2729437.6754 | 1131272.2263
17 | 2729437.6754 | 1131272.2263 | 2729432.8779 | 1131249.4851 | 2729431.6638 | 1131245.0226 | 2729429.9854 | 1131240.6613 | 2729427.257 | 1131234.9655 | 2729425.594 | 1131231.723
18 | 2729390.6373 | 1131354.8893 | 2729386.4207 | 1131352.1415
19 | 2729422.4134 | 1131225.5217 | 2729425.594 | 1131231.723
20 | 2729390.6373 | 1131354.8893 | 2729386.4752 | 1131362.1832 | 2729376.8573 | 1131376.6398
21 | 2729567.6956 | 1131671.4189 | 2729568.2722 | 1131677.9359 | 2729568.5228 | 1131681.6995 | 2729569.2141 | 1131690.4094 | 2729569.3745 | 1131696.217 | 2729569.0538 | 1131701.1136 | 2729568.4116 | 1131704.8358 | 2729567.4164 | 1131708.4949 | 2729564.1983 | 1131718.4664 | 2729555.8051 | 1131739.5015 | 2729554.3709 | 1131744.5966 | 2729553.7504 | 1131749.8203 | 2729554.0126 | 1131756.6308 | 2729559.2456 | 1131787.992
22 | 2729569.0479 | 1131483.0569 | 2729567.6956 | 1131671.4189
23 | 2729569.0461 | 1131483.0365 | 2729569.0479 | 1131483.0569
24 | 2729569.0074 | 1131482.5959 | 2729569.0461 | 1131483.0365
25 | 2729594.8319 | 1131156.3841 | 2729593.1394 | 1131151.849 | 2729592.4443 | 1131150.9296
26 | 2729598.0737 | 1131162.0843 | 2729598.0737 | 1131162.0843 | 2729596.1554 | 1131159.9306 | 2729594.8319 | 1131156.3841
27 | 2729588.2913 | 1131145.4356 | 2729592.4443 | 1131150.9296
28 | 2729618.6351 | 1131168.5631 | 2729617.979 | 1131167.9042 | 2729616.9533 | 1131167.2373 | 2729615.4086 | 1131166.7037 | 2729606.2114 | 1131165.2055 | 2729602.8823 | 1131164.5336 | 2729600.1622 | 1131163.4857 | 2729598.0737 | 1131162.0843
29 | 2729566.2108 | 1131140.1523 | 2729566.2108 | 1131140.1523 | 2729573.166 | 1131138.4224 | 2729581.6475 | 1131138.4487 | 2729587.4834 | 1131144.3669 | 2729588.2913 | 1131145.4356
30 | 2729618.6351 | 1131168.5631 | 2729623.7412 | 1131169.7179 | 2729626.8645 | 1131174.2325 | 2729642.4322 | 1131182.852
31 | 2729563.004 | 1131142.4891 | 2729566.2108 | 1131140.1523
32 | 2729655.1104 | 1131189.8717 | 2729642.4322 | 1131182.852
33 | 2729563.004 | 1131142.4891 | 2729561.6094 | 1131143.5053
34 | 2729655.1104 | 1131189.8717 | 2729646.6817 | 1131205.682
35 | 2729631.8331 | 1131224.1525 | 2729620.199 | 1131204.4668 | 2729617.4411 | 1131199.4374 | 2729616.9585 | 1131198.1496
36 | 2729631.8331 | 1131224.1525 | 2729639.5143 | 1131239.2058 | 2729645.6633 | 1131249.9119 | 2729647.0706 | 1131252.8998 | 2729646.8717 | 1131254.6301 | 2729646.2711 | 1131256.0516 | 2729645.0424 | 1131256.9481
37 | 2729631.8331 | 1131224.1525 | 2729635.4671 | 1131225.3313 | 2729637.7455 | 1131225.4246 | 2729645.5341 | 1131207.8347 | 2729646.6817 | 1131205.682
38 | 2729645.0424 | 1131256.9481 | 2729642.719 | 1131257.5209 | 2729639.2006 | 1131257.0562 | 2729635.2069 | 1131256.1255 | 2729630.7546 | 1131254.3065 | 2729623.0964 | 1131250.3839 | 2729621.0633 | 1131249.264
39 | 2729620.4579 | 1131248.9305 | 2729621.0633 | 1131249.264
40 | 2729608.968 | 1131242.8311 | 2729610.9981 | 1131243.7197 | 2729620.4579 | 1131248.9305
41 | 2729474.8877 | 1131180.1549 | 2729472.8352 | 1131180.5805 | 2729469.9889 | 1131181.5167
42 | 2729460.5844 | 1131184.6099 | 2729469.9889 | 1131181.5167
43 | 2729489.2164 | 1131175.3742 | 2729483.0885 | 1131178.4542 | 2729474.8877 | 1131180.1549
44 | 2729460.5844 | 1131184.6099 | 2729450.6962 | 1131188.4009 | 2729448.5143 | 1131189.3772
45 | 2729528.7277 | 1131159.7075 | 2729519.1015 | 1131161.6915 | 2729507.2674 | 1131164.2509 | 2729495.9462 | 1131171.9917 | 2729489.2164 | 1131175.3742
46 | 2729422.4134 | 1131225.5217 | 2729422.9607 | 1131222.9872 | 2729423.0434 | 1131220.2092 | 2729420.2795 | 1131206.4625 | 2729428.5598 | 1131202.9261 | 2729436.0222 | 1131195.8586 | 2729439.4563 | 1131193.4304 | 2729448.5143 | 1131189.3772
47 | 2729528.7277 | 1131159.7075 | 2729526.1565 | 1131154.949 | 2729522.1792 | 1131150.0158 | 2729511.7248 | 1131145.1938
48 | 2729533.8738 | 1131215.4019 | 2729536.8874 | 1131189.4702 | 2729537.1121 | 1131178.9898 | 2729534.5745 | 1131172.6642 | 2729529.7476 | 1131163.1651 | 2729528.7277 | 1131159.7075
49 | 2729528.7277 | 1131159.7075 | 2729533.473 | 1131157.9301 | 2729542.2804 | 1131157.4852
50 | 2729505.2256 | 1131226.4293 | 2729510.1952 | 1131233.5853 | 2729511.9943 | 1131237.7046 | 2729512.8608 | 1131242.2041 | 2729515.7464 | 1131269.3075 | 2729516.9024 | 1131273.602
51 | 2729505.2256 | 1131226.4293 | 2729506.6432 | 1131224.2692 | 2729507.1301 | 1131221.6778 | 2729507.4094 | 1131219.0708 | 2729506.9551 | 1131208.6425 | 2729507.0002 | 1131201.1493 | 2729507.926 | 1131193.8973 | 2729508.2104 | 1131192.9883
52 | 2729518.4172 | 1131277.326 | 2729518.4172 | 1131277.326 | 2729516.9024 | 1131273.602
53 | 2729533.8738 | 1131215.4019 | 2729531.7109 | 1131214.9552 | 2729529.0531 | 1131213.8753 | 2729526.5629 | 1131212.1652 | 2729524.9531 | 1131209.9958 | 2729523.6534 | 1131207.733 | 2729519.8769 | 1131192.7191 | 2729518.8223 | 1131189.8056 | 2729517.3433 | 1131188.3618 | 2729514.8964 | 1131187.8645 | 2729512.6576 | 1131188.0834 | 2729510.4036 | 1131189.3693 | 2729508.7448 | 1131191.2796 | 2729508.2104 | 1131192.9883
54 | 2729511.7248 | 1131145.1938 | 2729503.6725 | 1131141.4799 | 2729489.9451 | 1131135.3365
55 | 2729542.2804 | 1131157.4852 | 2729549.7279 | 1131152.1336
56 | 2729527.2456 | 1131290.885 | 2729520.3487 | 1131280.6587 | 2729518.4172 | 1131277.326
57 | 2729422.3653 | 1131108.0258 | 2729407.0559 | 1131103.7839 | 2729395.6438 | 1131101.3824 | 2729384.7405 | 1131101.1266
58 | 2729422.3653 | 1131108.0258 | 2729444.7777 | 1131114.152
59 | 2729384.7405 | 1131101.1266 | 2729387.1785 | 1131106.7161 | 2729389.7841 | 1131119.948 | 2729391.0309 | 1131124.8945
60 | 2729384.7405 | 1131101.1266 | 2729381.9738 | 1131094.7879
61 | 2729444.7777 | 1131114.152 | 2729450.6581 | 1131115.7594 | 2729454.2394 | 1131117.2482 | 2729478.3079 | 1131130.1284 | 2729489.9451 | 1131135.3365
62 | 2729401.6209 | 1131165.456 | 2729400.6434 | 1131168.2927 | 2729400.2057 | 1131170.089
63 | 2729401.6209 | 1131165.456 | 2729400.5428 | 1131164.3544 | 2729399.8902 | 1131163.1729 | 2729399.8613 | 1131163.0983
64 | 2729396.6054 | 1131141.8096 | 2729397.4123 | 1131146.141 | 2729398.996 | 1131159.9626 | 2729399.3865 | 1131161.8723 | 2729399.8613 | 1131163.0983
65 | 2729557.0788 | 1131146.8066 | 2729552.6479 | 1131150.0354 | 2729549.7279 | 1131152.1336
66 | 2729557.0788 | 1131146.8066 | 2729561.6094 | 1131143.5053
67 | 2729396.6054 | 1131141.8096 | 2729396.3413 | 1131140.3918 | 2729394.7858 | 1131136.0443 | 2729391.9426 | 1131128.5114 | 2729391.0309 | 1131124.8945
68 | 2729584.4957 | 1131234.2663 | 2729584.8143 | 1131234.4309
69 | 2729584.8143 | 1131234.4309 | 2729585.6423 | 1131234.8587 | 2729592.3925 | 1131237.294 | 2729594.4727 | 1131237.9284
70 | 2729527.2456 | 1131290.885 | 2729533.0938 | 1131299.5564 | 2729536.2731 | 1131304.8507
71 | 2729597.9292 | 1131238.9825 | 2729594.4727 | 1131237.9284
72 | 2729304.191 | 1131432.3868 | 2729301.881 | 1131430.5774
73 | 2729537.274 | 1131306.5176 | 2729537.274 | 1131306.5176 | 2729536.2731 | 1131304.8507
74 | 2729537.274 | 1131306.5176 | 2729539.8542 | 1131311.7131
75 | 2729539.8542 | 1131311.7131 | 2729541.1363 | 1131314.2948 | 2729545.4484 | 1131324.0336
76 | 2729545.4484 | 1131324.0336 | 2729548.2044 | 1131330.2579
77 | 2729597.9292 | 1131238.9825 | 2729605.335 | 1131241.241 | 2729608.968 | 1131242.8311
78 | 2729569.0074 | 1131482.5959 | 2729568.1359 | 1131472.6591
79 | 2729568.1359 | 1131472.6591 | 2729567.3702 | 1131463.9305 | 2729566.5538 | 1131441.0503
80 | 2729566.5538 | 1131441.0503 | 2729566.2898 | 1131433.6525
81 | 2729548.2044 | 1131330.2579 | 2729554.1787 | 1131343.7509 | 2729555.8784 | 1131348.1905 | 2729558.5739 | 1131358.6446 | 2729560.1422 | 1131362.3703
82 | 2729565.9002 | 1131375.1717 | 2729564.9454 | 1131372.6245 | 2729561.2567 | 1131365.0177 | 2729560.1422 | 1131362.3703
83 | 2729565.9002 | 1131375.1717 | 2729566.6723 | 1131377.2314 | 2729567.5743 | 1131382.2321 | 2729567.6106 | 1131383.1014
84 | 2729566.0241 | 1131426.2077 | 2729566.2898 | 1131433.6525
85 | 2729566.0241 | 1131426.2077 | 2729565.8883 | 1131422.4024 | 2729565.7954 | 1131418.8236
86 | 2729566.8005 | 1131401.5479 | 2729565.7069 | 1131415.4158 | 2729565.7954 | 1131418.8236
87 | 2729567.428 | 1131393.5901 | 2729567.8339 | 1131388.4421 | 2729567.6106 | 1131383.1014
88 | 2729567.428 | 1131393.5901 | 2729566.8005 | 1131401.5479

## bus_geodata
| x | y | coords
0 | 2729342.3208 | 1131209.1117
1 | 2729357.8229 | 1131222.715
2 | 2729363.5132 | 1131345.5138
3 | 2729361.2105 | 1131400.1584
4 | 2729294.9103 | 1131461.8395
5 | 2729362.5495 | 1131398.1457
6 | 2729289.4055 | 1131445.6781
7 | 2729302.722 | 1131452.0635
8 | 2729312.9579 | 1131439.2539
9 | 2729373.1034 | 1131382.2823
10 | 2729393.9737 | 1131303.1948
11 | 2729377.7276 | 1131288.6324
12 | 2729375.0821 | 1131283.6531
13 | 2729382.9397 | 1131317.5646
14 | 2729437.6754 | 1131272.2263
15 | 2729386.4207 | 1131352.1415
16 | 2729440.4114 | 1131325.3783
17 | 2729425.594 | 1131231.723
18 | 2729390.6373 | 1131354.8893
19 | 2729376.8573 | 1131376.6398
20 | 2729559.2456 | 1131787.992
21 | 2729567.6956 | 1131671.4189
22 | 2729569.0479 | 1131483.0569
23 | 2729569.0461 | 1131483.0365
24 | 2729594.8319 | 1131156.3841
25 | 2729592.4443 | 1131150.9296
26 | 2729598.0737 | 1131162.0843
27 | 2729588.2913 | 1131145.4356
28 | 2729618.6351 | 1131168.5631
29 | 2729566.2108 | 1131140.1523
30 | 2729642.4322 | 1131182.852
31 | 2729563.004 | 1131142.4891
32 | 2729655.1104 | 1131189.8717
33 | 2729616.9585 | 1131198.1496
34 | 2729631.8331 | 1131224.1525
35 | 2729646.6817 | 1131205.682
36 | 2729645.0424 | 1131256.9481
37 | 2729621.0633 | 1131249.264
38 | 2729620.4579 | 1131248.9305
39 | 2729469.9889 | 1131181.5167
40 | 2729474.8877 | 1131180.1549
41 | 2729460.5844 | 1131184.6099
42 | 2729489.2164 | 1131175.3742
43 | 2729448.5143 | 1131189.3772
44 | 2729528.7277 | 1131159.7075
45 | 2729505.2256 | 1131226.4293
46 | 2729516.9024 | 1131273.602
47 | 2729508.2104 | 1131192.9883
48 | 2729422.4134 | 1131225.5217
49 | 2729511.7248 | 1131145.1938
50 | 2729533.8738 | 1131215.4019
51 | 2729542.2804 | 1131157.4852
52 | 2729518.4172 | 1131277.326
53 | 2729422.3653 | 1131108.0258
54 | 2729384.7405 | 1131101.1266
55 | 2729444.7777 | 1131114.152
56 | 2729401.6209 | 1131165.456
57 | 2729400.2057 | 1131170.089
58 | 2729399.8613 | 1131163.0983
59 | 2729549.7279 | 1131152.1336
60 | 2729557.0788 | 1131146.8066
61 | 2729561.6094 | 1131143.5053
62 | 2729489.9451 | 1131135.3365
63 | 2729391.0309 | 1131124.8945
64 | 2729381.9738 | 1131094.7879
65 | 2729584.4957 | 1131234.2663
66 | 2729584.8143 | 1131234.4309
67 | 2729527.2456 | 1131290.885
68 | 2729594.4727 | 1131237.9284
69 | 2729304.191 | 1131432.3868
70 | 2729301.881 | 1131430.5774
71 | 2729536.2731 | 1131304.8507
72 | 2729537.274 | 1131306.5176
73 | 2729539.8542 | 1131311.7131
74 | 2729545.4484 | 1131324.0336
75 | 2729597.9292 | 1131238.9825
76 | 2729608.968 | 1131242.8311
77 | 2729569.0074 | 1131482.5959
78 | 2729568.1359 | 1131472.6591
79 | 2729566.5538 | 1131441.0503
80 | 2729548.2044 | 1131330.2579
81 | 2729560.1422 | 1131362.3703
82 | 2729565.9002 | 1131375.1717
83 | 2729566.2898 | 1131433.6525
84 | 2729566.0241 | 1131426.2077
85 | 2729396.6054 | 1131141.8096
86 | 2729565.7954 | 1131418.8236
87 | 2729567.6106 | 1131383.1014
88 | 2729567.428 | 1131393.5901
89 | 2729566.8005 | 1131401.5479
90 | 2729528.7277 | 1131159.7075

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1