## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3847-13_1_4_node_27 | 0.4 | n |  | TRUE
1 | bus_LV_3847-13_1_4_node_28 | 0.4 | n |  | TRUE
2 | bus_LV_3847-13_1_4_node_25 | 0.4 | n |  | TRUE
3 | bus_LV_3847-13_1_4_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_3847-13_1_4_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_3847-13_1_4_node_108 | 0.4 | n |  | TRUE
6 | bus_LV_3847-13_1_4_node_111 | 0.4 | n |  | TRUE
7 | bus_LV_3847-13_1_4_node_106 | 0.4 | n |  | TRUE
8 | bus_LV_3847-13_1_4_node_134 | 0.4 | n |  | TRUE
9 | bus_LV_3847-13_1_4_node_136 | 0.4 | n |  | TRUE
10 | bus_LV_3847-13_1_4_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_3847-13_1_4_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_3847-13_1_4_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_3847-13_1_4_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_3847-13_1_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_3847-13_1_4_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_3847-13_1_4_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_3847-13_1_4_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_3847-13_1_4_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_3847-13_1_4_node_124 | 0.4 | n |  | TRUE
20 | bus_LV_3847-13_1_4_node_123 | 0.4 | n |  | TRUE
21 | bus_LV_3847-13_1_4_node_77 | 0.4 | n |  | TRUE
22 | bus_LV_3847-13_1_4_node_125 | 0.4 | n |  | TRUE
23 | bus_LV_3847-13_1_4_node_95 | 0.4 | n |  | TRUE
24 | bus_LV_3847-13_1_4_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_3847-13_1_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_3847-13_1_4_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_3847-13_1_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_3847-13_1_4_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_3847-13_1_4_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_3847-13_1_4_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_3847-13_1_4_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_3847-13_1_4_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_3847-13_1_4_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_3847-13_1_4_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_3847-13_1_4_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_3847-13_1_4_node_117 | 0.4 | n |  | TRUE
37 | bus_LV_3847-13_1_4_node_138 | 0.4 | n |  | TRUE
38 | bus_LV_3847-13_1_4_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_3847-13_1_4_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_3847-13_1_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_3847-13_1_4_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_3847-13_1_4_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_3847-13_1_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_3847-13_1_4_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_3847-13_1_4_node_118 | 0.4 | n |  | TRUE
46 | bus_LV_3847-13_1_4_node_119 | 0.4 | n |  | TRUE
47 | bus_LV_3847-13_1_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_3847-13_1_4_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_3847-13_1_4_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_3847-13_1_4_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_3847-13_1_4_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_3847-13_1_4_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_3847-13_1_4_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_3847-13_1_4_node_116 | 0.4 | n |  | TRUE
55 | bus_LV_3847-13_1_4_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_3847-13_1_4_node_114 | 0.4 | n |  | TRUE
57 | bus_LV_3847-13_1_4_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_3847-13_1_4_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_3847-13_1_4_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_3847-13_1_4_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_3847-13_1_4_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_3847-13_1_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_3847-13_1_4_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_3847-13_1_4_node_133 | 0.4 | n |  | TRUE
65 | bus_LV_3847-13_1_4_node_128 | 0.4 | n |  | TRUE
66 | bus_LV_3847-13_1_4_node_127 | 0.4 | n |  | TRUE
67 | bus_LV_3847-13_1_4_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_3847-13_1_4_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_3847-13_1_4_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_3847-13_1_4_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_3847-13_1_4_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_3847-13_1_4_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_3847-13_1_4_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_3847-13_1_4_node_122 | 0.4 | n |  | TRUE
75 | bus_LV_3847-13_1_4_node_115 | 0.4 | n |  | TRUE
76 | bus_LV_3847-13_1_4_node_109 | 0.4 | n |  | TRUE
77 | bus_LV_3847-13_1_4_node_103 | 0.4 | n |  | TRUE
78 | bus_LV_3847-13_1_4_node_113 | 0.4 | n |  | TRUE
79 | bus_LV_3847-13_1_4_node_107 | 0.4 | n |  | TRUE
80 | bus_LV_3847-13_1_4_node_137 | 0.4 | n |  | TRUE
81 | bus_LV_3847-13_1_4_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_3847-13_1_4_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_3847-13_1_4_node_92 | 0.4 | n |  | TRUE
84 | bus_LV_3847-13_1_4_node_94 | 0.4 | n |  | TRUE
85 | bus_LV_3847-13_1_4_node_132 | 0.4 | n |  | TRUE
86 | bus_LV_3847-13_1_4_node_131 | 0.4 | n |  | TRUE
87 | bus_LV_3847-13_1_4_node_97 | 0.4 | n |  | TRUE
88 | bus_LV_3847-13_1_4_node_98 | 0.4 | n |  | TRUE
89 | bus_LV_3847-13_1_4_node_99 | 0.4 | n |  | TRUE
90 | bus_LV_3847-13_1_4_node_100 | 0.4 | n |  | TRUE
91 | bus_LV_3847-13_1_4_node_101 | 0.4 | n |  | TRUE
92 | bus_LV_3847-13_1_4_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_3847-13_1_4_node_104 | 0.4 | n |  | TRUE
94 | bus_LV_3847-13_1_4_node_121 | 0.4 | n |  | TRUE
95 | bus_LV_3847-13_1_4_node_130 | 0.4 | n |  | TRUE
96 | bus_LV_3847-13_1_4_node_129 | 0.4 | n |  | TRUE
97 | bus_LV_3847-13_1_4_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_3847-13_1_4_node_120 | 0.4 | n |  | TRUE
99 | bus_LV_3847-13_1_4_node_112 | 0.4 | n |  | TRUE
100 | bus_LV_3847-13_1_4_node_126 | 0.4 | n |  | TRUE
101 | bus_LV_3847-13_1_4_node_135 | 0.4 | n |  | TRUE
102 | bus_MV_175_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3847-13_1_4_load_28 | 1 | 0.0015131 | 0.00037922 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3847-13_1_4_load_24 | 3 | 0.00055673 | 0.00013953 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3847-13_1_4_load_111 | 6 | 0.003884 | 0.00097342 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3847-13_1_4_load_106 | 7 | 0.0020748 | 0.00051998 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3847-13_1_4_load_136 | 9 | 0.0064731 | 0.0016223 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3847-13_1_4_load_39 | 11 | 0.0026859 | 0.00067315 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3847-13_1_4_load_40 | 12 | 0.0016456 | 0.00041242 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3847-13_1_4_load_41 | 13 | 0.0018886 | 0.00047334 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3847-13_1_4_load_43 | 15 | 0.0013967 | 0.00035006 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3847-13_1_4_load_44 | 16 | 0.0044765 | 0.0011219 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3847-13_1_4_load_45 | 17 | 0.0022969 | 0.00057565 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3847-13_1_4_load_46 | 18 | 0.0011706 | 0.00029338 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3847-13_1_4_load_124 | 19 | 0.0015903 | 0.00039857 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3847-13_1_4_load_123 | 20 | 0.0041069 | 0.0010293 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3847-13_1_4_load_77 | 21 | 0.0016034 | 0.00040185 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3847-13_1_4_load_125 | 22 | 0.0017133 | 0.00042939 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3847-13_1_4_load_95 | 23 | 0.0027473 | 0.00068854 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3847-13_1_4_load_78 | 24 | 0.0029874 | 0.00074872 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3847-13_1_4_load_47 | 25 | 0.0008758 | 0.0002195 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3847-13_1_4_load_48 | 26 | 0.0019853 | 0.00049757 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3847-13_1_4_load_50 | 28 | 0.0018106 | 0.00045379 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3847-13_1_4_load_51 | 29 | 0.0017217 | 0.00043151 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3847-13_1_4_load_52 | 30 | 0.0048721 | 0.0012211 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3847-13_1_4_load_54 | 32 | 0.0032683 | 0.00081912 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3847-13_1_4_load_55 | 33 | 0.0017764 | 0.0004452 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3847-13_1_4_load_88 | 34 | 0.00086813 | 0.00021757 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3847-13_1_4_load_79 | 35 | 0.0015885 | 0.00039811 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3847-13_1_4_load_117 | 36 | 0.0019243 | 0.00048227 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3847-13_1_4_load_76 | 38 | 0.0012491 | 0.00031305 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3847-13_1_4_load_56 | 39 | 0.0021406 | 0.00053649 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3847-13_1_4_load_58 | 41 | 0.0034975 | 0.00087655 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3847-13_1_4_load_59 | 42 | 0.0040979 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3847-13_1_4_load_61 | 44 | 0.0006748 | 0.00016912 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3847-13_1_4_load_118 | 45 | 0.0043436 | 0.0010886 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3847-13_1_4_load_119 | 46 | 0.001066 | 0.00026717 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3847-13_1_4_load_62 | 47 | 0.0010339 | 0.00025912 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3847-13_1_4_load_63 | 48 | 0.0014897 | 0.00037335 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3847-13_1_4_load_64 | 49 | 0.0033672 | 0.00084391 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3847-13_1_4_load_65 | 50 | 0.0018433 | 0.00046197 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3847-13_1_4_load_66 | 51 | 0.0037257 | 0.00093374 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3847-13_1_4_load_67 | 52 | 0.0009665 | 0.00024223 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3847-13_1_4_load_68 | 53 | 0.0035303 | 0.00088478 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3847-13_1_4_load_116 | 54 | 0.0010877 | 0.0002726 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3847-13_1_4_load_93 | 55 | 0.0041326 | 0.0010357 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3847-13_1_4_load_114 | 56 | 0.0009662 | 0.00024215 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3847-13_1_4_load_69 | 58 | 0.00085673 | 0.00021472 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3847-13_1_4_load_70 | 59 | 0.001163 | 0.00029148 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3847-13_1_4_load_71 | 60 | 0.0019178 | 0.00048065 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3847-13_1_4_load_73 | 62 | 0.0015285 | 0.00038308 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3847-13_1_4_load_74 | 63 | 0.0014293 | 0.0003582 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3847-13_1_4_load_133 | 64 | 0.00055987 | 0.00014032 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3847-13_1_4_load_128 | 65 | 0.0014558 | 0.00036487 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3847-13_1_4_load_127 | 66 | 0.0022314 | 0.00055923 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3847-13_1_4_load_80 | 67 | 0.001196 | 0.00029974 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3847-13_1_4_load_81 | 68 | 0.0011495 | 0.00028808 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3847-13_1_4_load_82 | 69 | 0.0031581 | 0.0007915 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3847-13_1_4_load_83 | 70 | 0.00062389 | 0.00015636 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3847-13_1_4_load_84 | 71 | 0.00093886 | 0.0002353 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3847-13_1_4_load_86 | 73 | 0.00040643 | 0.00010186 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3847-13_1_4_load_122 | 74 | 0.0013727 | 0.00034404 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3847-13_1_4_load_115 | 75 | 0.0030453 | 0.00076322 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3847-13_1_4_load_109 | 76 | 0.00046891 | 0.00011752 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3847-13_1_4_load_113 | 78 | 0.0021868 | 0.00054805 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3847-13_1_4_load_137 | 80 | 0.00086917 | 0.00021783 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3847-13_1_4_load_89 | 81 | 0.0037164 | 0.00093142 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3847-13_1_4_load_90 | 82 | 0.0028971 | 0.00072608 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3847-13_1_4_load_92 | 83 | 0.0038757 | 0.00097134 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3847-13_1_4_load_94 | 84 | 0.0023625 | 0.0005921 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3847-13_1_4_load_132 | 85 | 0.002243 | 0.00056215 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3847-13_1_4_load_131 | 86 | 0.0017625 | 0.00044173 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3847-13_1_4_load_97 | 87 | 0.0018807 | 0.00047136 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3847-13_1_4_load_98 | 88 | 0.0010876 | 0.00027259 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3847-13_1_4_load_100 | 90 | 0.001201 | 0.000301 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3847-13_1_4_load_101 | 91 | 0.0055423 | 0.001389 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3847-13_1_4_load_102 | 92 | 0.0031332 | 0.00078525 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3847-13_1_4_load_104 | 93 | 0.0027567 | 0.0006909 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3847-13_1_4_load_121 | 94 | 0.0011538 | 0.00028917 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3847-13_1_4_load_130 | 95 | 0.0015596 | 0.00039086 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3847-13_1_4_load_129 | 96 | 0.00035798 | 8.9719e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3847-13_1_4_load_105 | 97 | 0.0028739 | 0.00072027 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3847-13_1_4_load_120 | 98 | 0.0011041 | 0.00027672 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3847-13_1_4_load_112 | 99 | 0.0013584 | 0.00034043 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3847-13_1_4_load_126 | 100 | 0.0033608 | 0.00084229 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3847-13_1_4_load_135 | 101 | 0.0020981 | 0.00052582 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3847-13_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.1146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3847-13_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.050697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3847-13_1_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.038858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3847-13_1_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.11747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3847-13_1_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.19835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3847-13_1_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.13402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3847-13_1_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.052434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3847-13_1_4_line_7 | NAYY 4x150 SE | 6 | 98 | 0.023083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3847-13_1_4_line_8 | NAYY 4x150 SE | 7 | 97 | 0.018397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3847-13_1_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.045082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3847-13_1_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.041411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3847-13_1_4_line_11 | NAYY 4x150 SE | 9 | 101 | 0.018692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3847-13_1_4_line_12 | NAYY 4x150 SE | 10 | 65 | 0.04132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3847-13_1_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.00012181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3847-13_1_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0067781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3847-13_1_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.015704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3847-13_1_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0047566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3847-13_1_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.015492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3847-13_1_4_line_18 | NAYY 4x150 SE | 14 | 17 | 0.027169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3847-13_1_4_line_19 | NAYY 4x150 SE | 15 | 18 | 0.00031998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3847-13_1_4_line_20 | NAYY 4x150 SE | 16 | 19 | 0.0078099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3847-13_1_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.028281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3847-13_1_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.0037558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3847-13_1_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.011075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3847-13_1_4_line_24 | NAYY 4x150 SE | 20 | 23 | 0.010448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3847-13_1_4_line_25 | NAYY 4x150 SE | 21 | 24 | 0.0054159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3847-13_1_4_line_26 | NAYY 4x150 SE | 22 | 100 | 0.022016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3847-13_1_4_line_27 | NAYY 4x150 SE | 23 | 83 | 0.010935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3847-13_1_4_line_28 | NAYY 4x150 SE | 24 | 35 | 0.0019679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3847-13_1_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0032645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3847-13_1_4_line_30 | NAYY 4x150 SE | 25 | 27 | 0.04047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3847-13_1_4_line_31 | NAYY 4x150 SE | 26 | 28 | 0.010826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3847-13_1_4_line_32 | NAYY 4x150 SE | 27 | 29 | 0.011617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3847-13_1_4_line_33 | NAYY 4x150 SE | 27 | 30 | 0.030908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3847-13_1_4_line_34 | NAYY 4x150 SE | 28 | 31 | 0.030758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3847-13_1_4_line_35 | NAYY 4x150 SE | 29 | 32 | 0.0015033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3847-13_1_4_line_36 | NAYY 4x150 SE | 30 | 33 | 0.0024749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3847-13_1_4_line_37 | NAYY 4x150 SE | 31 | 34 | 0.016323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3847-13_1_4_line_38 | NAYY 4x150 SE | 32 | 35 | 0.014443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3847-13_1_4_line_39 | NAYY 4x150 SE | 33 | 36 | 0.010299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3847-13_1_4_line_40 | NAYY 4x150 SE | 34 | 37 | 0.0015215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3847-13_1_4_line_41 | NAYY 4x150 SE | 36 | 38 | 0.0022115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3847-13_1_4_line_42 | NAYY 4x150 SE | 37 | 80 | 0.0053696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3847-13_1_4_line_43 | NAYY 4x150 SE | 38 | 62 | 0.0032122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3847-13_1_4_line_44 | NAYY 4x150 SE | 39 | 40 | 0.02777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3847-13_1_4_line_45 | NAYY 4x150 SE | 39 | 41 | 0.0061159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3847-13_1_4_line_46 | NAYY 4x150 SE | 40 | 42 | 0.023812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3847-13_1_4_line_47 | NAYY 4x150 SE | 40 | 43 | 0.032262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3847-13_1_4_line_48 | NAYY 4x150 SE | 43 | 44 | 0.018828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3847-13_1_4_line_49 | NAYY 4x150 SE | 44 | 45 | 0.0070453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3847-13_1_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.03139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3847-13_1_4_line_51 | NAYY 4x150 SE | 46 | 98 | 0.019918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3847-13_1_4_line_52 | NAYY 4x150 SE | 47 | 48 | 8.1805e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3847-13_1_4_line_53 | NAYY 4x150 SE | 47 | 49 | 0.010408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3847-13_1_4_line_54 | NAYY 4x150 SE | 48 | 50 | 0.01479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3847-13_1_4_line_55 | NAYY 4x150 SE | 49 | 51 | 0.0027762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3847-13_1_4_line_56 | NAYY 4x150 SE | 50 | 52 | 0.0042453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3847-13_1_4_line_57 | NAYY 4x150 SE | 51 | 53 | 0.01083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3847-13_1_4_line_58 | NAYY 4x150 SE | 52 | 54 | 0.012607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3847-13_1_4_line_59 | NAYY 4x150 SE | 53 | 55 | 0.015498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3847-13_1_4_line_60 | NAYY 4x150 SE | 54 | 56 | 0.020648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3847-13_1_4_line_61 | NAYY 4x150 SE | 55 | 57 | 0.0053585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_3847-13_1_4_line_62 | NAYY 4x150 SE | 56 | 99 | 0.00073758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3847-13_1_4_line_63 | NAYY 4x150 SE | 57 | 84 | 0.013502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3847-13_1_4_line_64 | NAYY 4x150 SE | 57 | 81 | 0.013737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3847-13_1_4_line_65 | NAYY 4x150 SE | 58 | 59 | 0.010302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3847-13_1_4_line_66 | NAYY 4x150 SE | 58 | 60 | 0.009992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3847-13_1_4_line_67 | NAYY 4x150 SE | 59 | 61 | 0.017113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3847-13_1_4_line_68 | NAYY 4x150 SE | 60 | 62 | 0.024973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3847-13_1_4_line_69 | NAYY 4x150 SE | 61 | 63 | 0.050357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3847-13_1_4_line_70 | NAYY 4x150 SE | 63 | 64 | 0.00619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3847-13_1_4_line_71 | NAYY 4x150 SE | 65 | 66 | 0.0030548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3847-13_1_4_line_72 | NAYY 4x150 SE | 66 | 100 | 0.012097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3847-13_1_4_line_73 | NAYY 4x150 SE | 67 | 68 | 0.028161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3847-13_1_4_line_74 | NAYY 4x150 SE | 67 | 69 | 0.019082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3847-13_1_4_line_75 | NAYY 4x150 SE | 68 | 70 | 0.0017807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3847-13_1_4_line_76 | NAYY 4x150 SE | 69 | 71 | 0.033904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3847-13_1_4_line_77 | NAYY 4x150 SE | 70 | 72 | 0.0030613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3847-13_1_4_line_78 | NAYY 4x150 SE | 71 | 73 | 0.026356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3847-13_1_4_line_79 | NAYY 4x150 SE | 72 | 74 | 0.035704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3847-13_1_4_line_80 | NAYY 4x150 SE | 72 | 75 | 0.0112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3847-13_1_4_line_81 | NAYY 4x150 SE | 73 | 76 | 0.0016259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3847-13_1_4_line_82 | NAYY 4x150 SE | 74 | 77 | 0.013506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3847-13_1_4_line_83 | NAYY 4x150 SE | 75 | 78 | 0.010728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3847-13_1_4_line_84 | NAYY 4x150 SE | 76 | 79 | 0.0017623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3847-13_1_4_line_85 | NAYY 4x150 SE | 77 | 94 | 0.021169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3847-13_1_4_line_86 | NAYY 4x150 SE | 77 | 90 | 0.056203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3847-13_1_4_line_87 | NAYY 4x150 SE | 78 | 99 | 0.021219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3847-13_1_4_line_88 | NAYY 4x150 SE | 79 | 97 | 0.022395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3847-13_1_4_line_89 | NAYY 4x150 SE | 81 | 82 | 0.0035921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3847-13_1_4_line_90 | NAYY 4x150 SE | 82 | 83 | 0.0023121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3847-13_1_4_line_91 | NAYY 4x150 SE | 85 | 86 | 0.028241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3847-13_1_4_line_92 | NAYY 4x150 SE | 86 | 95 | 0.036542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3847-13_1_4_line_93 | NAYY 4x150 SE | 87 | 88 | 0.019299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3847-13_1_4_line_94 | NAYY 4x150 SE | 87 | 89 | 0.043371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3847-13_1_4_line_95 | NAYY 4x150 SE | 88 | 90 | 0.00019037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3847-13_1_4_line_96 | NAYY 4x150 SE | 89 | 91 | 0.0023836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3847-13_1_4_line_97 | NAYY 4x150 SE | 89 | 92 | 0.0083387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3847-13_1_4_line_98 | NAYY 4x150 SE | 92 | 93 | 0.0096281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3847-13_1_4_line_99 | NAYY 4x150 SE | 93 | 95 | 0.010825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3847-13_1_4_line_100 | NAYY 4x150 SE | 94 | 96 | 0.0052107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3847-13_1_4_trafo_91 | 0.25 MVA 20/0.4 kV | 102 | 57 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2824833.0793 | 1166590.1349 | 2824832.867 | 1166597.0352 | 2824825.2603 | 1166603.8477 | 2824812.7275 | 1166608.3288 | 2824795.7902 | 1166611.8998 | 2824786.5044 | 1166614.4222 | 2824772.7771 | 1166621.117 | 2824756.7156 | 1166632.2186 | 2824747.2088 | 1166637.3693 | 2824738.3249 | 1166644.8783
1 | 2824789.2526 | 1166565.9896 | 2824796.4178 | 1166573.2217 | 2824811.4584 | 1166582.6397 | 2824833.0793 | 1166590.1349
2 | 2824789.2526 | 1166565.9896 | 2824785.2933 | 1166561.9924 | 2824778.5966 | 1166554.1215 | 2824768.8751 | 1166549.0298 | 2824756.9644 | 1166549.5851
3 | 2824646.4096 | 1166589.2448 | 2824699.813 | 1166571.1412 | 2824756.9644 | 1166549.5851
4 | 2824560.9203 | 1166410.2605 | 2824646.4096 | 1166589.2448
5 | 2824560.9203 | 1166410.2605 | 2824598.7259 | 1166342.1028 | 2824627.8813 | 1166294.1958
6 | 2824560.9203 | 1166410.2605 | 2824545.1129 | 1166399.8022 | 2824521.8041 | 1166375.7684
7 | 2824640.6372 | 1166275.0081 | 2824636.2183 | 1166280.4969 | 2824627.8813 | 1166294.1958
8 | 2824508.996 | 1166362.5618 | 2824521.8041 | 1166375.7684
9 | 2824854.4217 | 1166048.7777 | 2824822.1864 | 1166080.2944
10 | 2824819.7169 | 1166028.0441 | 2824835.8101 | 1166032.3176 | 2824854.4217 | 1166048.7777
11 | 2824808.8207 | 1166093.3621 | 2824822.1864 | 1166080.2944
12 | 2824819.7169 | 1166028.0441 | 2824811.3006 | 1166030.8661 | 2824793.9089 | 1166043.0526 | 2824784.9942 | 1166049.8438
13 | 2824709.2528 | 1166077.8582 | 2824709.1459 | 1166077.7998
14 | 2824703.1975 | 1166074.5502 | 2824709.1459 | 1166077.7998
15 | 2824723.034 | 1166085.3869 | 2824709.2528 | 1166077.8582
16 | 2824703.1975 | 1166074.5502 | 2824699.0232 | 1166072.2698
17 | 2824723.034 | 1166085.3869 | 2824736.8287 | 1166078.3374
18 | 2824723.034 | 1166085.3869 | 2824702.0376 | 1166102.6295
19 | 2824699.0232 | 1166072.2698 | 2824698.7424 | 1166072.1164
20 | 2824743.7831 | 1166074.7835 | 2824736.8287 | 1166078.3374
21 | 2824702.0376 | 1166102.6295 | 2824680.1817 | 1166120.5779
22 | 2824695.4464 | 1166070.3157 | 2824698.7424 | 1166072.1164
23 | 2824753.6103 | 1166069.6813 | 2824752.688 | 1166070.2328 | 2824743.7831 | 1166074.7835
24 | 2824672.1077 | 1166127.2084 | 2824680.1817 | 1166120.5779
25 | 2824695.4464 | 1166070.3157 | 2824695.4464 | 1166070.3157 | 2824691.3067 | 1166066.8236
26 | 2824753.6103 | 1166069.6813 | 2824772.5048 | 1166058.3811
27 | 2824663.6571 | 1166134.1482 | 2824672.1077 | 1166127.2084
28 | 2824691.1264 | 1166064.864 | 2824691.3067 | 1166066.8236 | 2824691.3067 | 1166066.8236
29 | 2824665.1426 | 1166036.8061 | 2824662.0488 | 1166035.7643
30 | 2824701.8735 | 1166040.3314 | 2824685.6171 | 1166030.9906 | 2824680.4932 | 1166032.2895 | 2824672.8505 | 1166036.3643 | 2824665.7879 | 1166037.0234 | 2824665.1426 | 1166036.8061
31 | 2824651.7893 | 1166032.3097 | 2824662.0488 | 1166035.7643
32 | 2824701.8735 | 1166040.3314 | 2824695.4086 | 1166049.983
33 | 2824701.8735 | 1166040.3314 | 2824725.2855 | 1166020.1525
34 | 2824622.6394 | 1166022.4941 | 2824651.7893 | 1166032.3097
35 | 2824694.572 | 1166051.232 | 2824695.4086 | 1166049.983
36 | 2824727.1602 | 1166018.5367 | 2824725.2855 | 1166020.1525
37 | 2824622.6394 | 1166022.4941 | 2824613.2545 | 1166035.8499
38 | 2824691.1264 | 1166064.864 | 2824690.7344 | 1166060.6059 | 2824693.6884 | 1166052.5511 | 2824694.572 | 1166051.232
39 | 2824734.9618 | 1166011.8125 | 2824727.1602 | 1166018.5367
40 | 2824612.3797 | 1166037.0948 | 2824613.2545 | 1166035.8499
41 | 2824734.9618 | 1166011.8125 | 2824736.637 | 1166010.3686
42 | 2824612.3797 | 1166037.0948 | 2824609.4204 | 1166041.5754
43 | 2824736.637 | 1166010.3686 | 2824739.0701 | 1166008.2715
44 | 2824688.273 | 1166183.9717 | 2824688.5332 | 1166174.5591 | 2824689.2194 | 1166156.2185
45 | 2824691.2295 | 1166150.4423 | 2824689.2194 | 1166156.2185
46 | 2824667.9976 | 1166174.2803 | 2824685.5918 | 1166178.9989 | 2824688.273 | 1166183.9717
47 | 2824689.0553 | 1166214.9044 | 2824685.1432 | 1166208.406 | 2824688.1108 | 1166190.1508 | 2824688.273 | 1166183.9717
48 | 2824689.0553 | 1166214.9044 | 2824680.9926 | 1166224.8816 | 2824677.2301 | 1166229.5551
49 | 2824672.812 | 1166235.043 | 2824677.2301 | 1166229.5551
50 | 2824672.812 | 1166235.043 | 2824653.1276 | 1166259.4934
51 | 2824640.6372 | 1166275.0081 | 2824653.1276 | 1166259.4934
52 | 2824626.674 | 1166182.0078 | 2824626.7316 | 1166181.9497
53 | 2824626.7316 | 1166181.9497 | 2824630.9006 | 1166177.7428 | 2824632.5816 | 1166173.5847
54 | 2824616.2635 | 1166192.5131 | 2824626.674 | 1166182.0078
55 | 2824633.6222 | 1166171.0109 | 2824632.5816 | 1166173.5847
56 | 2824616.2635 | 1166192.5131 | 2824613.2752 | 1166195.5286
57 | 2824637.6815 | 1166160.9704 | 2824633.6222 | 1166171.0109
58 | 2824604.5526 | 1166204.626 | 2824607.1745 | 1166201.6849 | 2824613.2752 | 1166195.5286
59 | 2824637.6815 | 1166160.9704 | 2824643.4904 | 1166146.6021
60 | 2824604.5526 | 1166204.626 | 2824590.813 | 1166220.0383
61 | 2824645.4989 | 1166141.6342 | 2824643.4904 | 1166146.6021
62 | 2824590.3221 | 1166220.5889 | 2824590.3221 | 1166220.5889 | 2824590.813 | 1166220.0383
63 | 2824645.4989 | 1166141.6342 | 2824642.0378 | 1166137.8337 | 2824633.7404 | 1166136.796
64 | 2824645.4989 | 1166141.6342 | 2824658.1986 | 1166136.3985
65 | 2824755.5296 | 1165978.3107 | 2824758.4934 | 1165968.4439
66 | 2824755.5296 | 1165978.3107 | 2824752.655 | 1165987.8803
67 | 2824764.0568 | 1165952.262 | 2824758.8845 | 1165967.1419 | 2824758.4934 | 1165968.4439
68 | 2824739.0701 | 1166008.2715 | 2824742.2605 | 1166005.5217 | 2824747.3269 | 1165999.6151 | 2824751.02 | 1165993.3235 | 2824752.655 | 1165987.8803
69 | 2824764.0568 | 1165952.262 | 2824742.3058 | 1165940.802 | 2824718.2991 | 1165931.4286
70 | 2824718.2991 | 1165931.4286 | 2824712.533 | 1165929.1772
71 | 2824784.9942 | 1166049.8438 | 2824782.5642 | 1166051.695
72 | 2824782.5642 | 1166051.695 | 2824778.4729 | 1166054.8117 | 2824772.5048 | 1166058.3811
73 | 2824543.8726 | 1166280.9311 | 2824561.0515 | 1166258.6166
74 | 2824532.2318 | 1166296.0516 | 2824543.8726 | 1166280.9311
75 | 2824561.0515 | 1166258.6166 | 2824562.1378 | 1166257.2056
76 | 2824532.2318 | 1166296.0516 | 2824511.5495 | 1166322.9168
77 | 2824564.0053 | 1166254.7799 | 2824562.1378 | 1166257.2056
78 | 2824495.4717 | 1166343.8009 | 2824511.5495 | 1166322.9168
79 | 2824564.0053 | 1166254.7799 | 2824559.1046 | 1166251.9602 | 2824531.9601 | 1166264.8521
80 | 2824564.0053 | 1166254.7799 | 2824570.8364 | 1166245.9048
81 | 2824495.4717 | 1166343.8009 | 2824494.4798 | 1166345.0893
82 | 2824519.7601 | 1166270.6463 | 2824531.9601 | 1166264.8521
83 | 2824570.8364 | 1166245.9048 | 2824577.3799 | 1166237.4035
84 | 2824493.4048 | 1166346.4857 | 2824494.4798 | 1166345.0893
85 | 2824519.7601 | 1166270.6463 | 2824502.7992 | 1166283.3135
86 | 2824519.7601 | 1166270.6463 | 2824481.3077 | 1166256.8608 | 2824480.4037 | 1166250.4862 | 2824485.3224 | 1166243.0502
87 | 2824590.3221 | 1166220.5889 | 2824577.3799 | 1166237.4035
88 | 2824493.4048 | 1166346.4857 | 2824508.996 | 1166362.5618
89 | 2824658.1986 | 1166136.3985 | 2824661.5196 | 1166135.0294
90 | 2824663.6571 | 1166134.1482 | 2824663.6571 | 1166134.1482 | 2824661.5196 | 1166135.0294
91 | 2824562.3297 | 1166111.0339 | 2824545.7005 | 1166133.8602
92 | 2824524.1833 | 1166163.396 | 2824545.7005 | 1166133.8602
93 | 2824496.0747 | 1166226.7955 | 2824485.4275 | 1166242.8915
94 | 2824507.2297 | 1166186.6676 | 2824506.8442 | 1166210.5148 | 2824496.0747 | 1166226.7955
95 | 2824485.4275 | 1166242.8915 | 2824485.3224 | 1166243.0502
96 | 2824507.2297 | 1166186.6676 | 2824505.877 | 1166188.6301
97 | 2824507.2297 | 1166186.6676 | 2824512.1397 | 1166179.9278
98 | 2824512.1397 | 1166179.9278 | 2824517.809 | 1166172.1458
99 | 2824524.1833 | 1166163.396 | 2824517.809 | 1166172.1458
100 | 2824498.6243 | 1166286.4314 | 2824502.7992 | 1166283.3135

## bus_geodata
| x | y | coords
0 | 2824833.0793 | 1166590.1349
1 | 2824738.3249 | 1166644.8783
2 | 2824789.2526 | 1166565.9896
3 | 2824756.9644 | 1166549.5851
4 | 2824646.4096 | 1166589.2448
5 | 2824560.9203 | 1166410.2605
6 | 2824627.8813 | 1166294.1958
7 | 2824521.8041 | 1166375.7684
8 | 2824854.4217 | 1166048.7777
9 | 2824822.1864 | 1166080.2944
10 | 2824819.7169 | 1166028.0441
11 | 2824709.1459 | 1166077.7998
12 | 2824709.2528 | 1166077.8582
13 | 2824703.1975 | 1166074.5502
14 | 2824723.034 | 1166085.3869
15 | 2824699.0232 | 1166072.2698
16 | 2824736.8287 | 1166078.3374
17 | 2824702.0376 | 1166102.6295
18 | 2824698.7424 | 1166072.1164
19 | 2824743.7831 | 1166074.7835
20 | 2824680.1817 | 1166120.5779
21 | 2824695.4464 | 1166070.3157
22 | 2824753.6103 | 1166069.6813
23 | 2824672.1077 | 1166127.2084
24 | 2824691.3067 | 1166066.8236
25 | 2824665.1426 | 1166036.8061
26 | 2824662.0488 | 1166035.7643
27 | 2824701.8735 | 1166040.3314
28 | 2824651.7893 | 1166032.3097
29 | 2824695.4086 | 1166049.983
30 | 2824725.2855 | 1166020.1525
31 | 2824622.6394 | 1166022.4941
32 | 2824694.572 | 1166051.232
33 | 2824727.1602 | 1166018.5367
34 | 2824613.2545 | 1166035.8499
35 | 2824691.1264 | 1166064.864
36 | 2824734.9618 | 1166011.8125
37 | 2824612.3797 | 1166037.0948
38 | 2824736.637 | 1166010.3686
39 | 2824689.2194 | 1166156.2185
40 | 2824688.273 | 1166183.9717
41 | 2824691.2295 | 1166150.4423
42 | 2824667.9976 | 1166174.2803
43 | 2824689.0553 | 1166214.9044
44 | 2824677.2301 | 1166229.5551
45 | 2824672.812 | 1166235.043
46 | 2824653.1276 | 1166259.4934
47 | 2824626.7316 | 1166181.9497
48 | 2824626.674 | 1166182.0078
49 | 2824632.5816 | 1166173.5847
50 | 2824616.2635 | 1166192.5131
51 | 2824633.6222 | 1166171.0109
52 | 2824613.2752 | 1166195.5286
53 | 2824637.6815 | 1166160.9704
54 | 2824604.5526 | 1166204.626
55 | 2824643.4904 | 1166146.6021
56 | 2824590.8129 | 1166220.0383
57 | 2824645.4989 | 1166141.6342
58 | 2824755.5296 | 1165978.3107
59 | 2824758.4934 | 1165968.4439
60 | 2824752.655 | 1165987.8803
61 | 2824764.0568 | 1165952.262
62 | 2824739.0701 | 1166008.2715
63 | 2824718.2991 | 1165931.4286
64 | 2824712.533 | 1165929.1772
65 | 2824784.9942 | 1166049.8438
66 | 2824782.5642 | 1166051.695
67 | 2824543.8726 | 1166280.931
68 | 2824561.0515 | 1166258.6166
69 | 2824532.2318 | 1166296.0516
70 | 2824562.1378 | 1166257.2056
71 | 2824511.5495 | 1166322.9168
72 | 2824564.0053 | 1166254.7799
73 | 2824495.4717 | 1166343.8009
74 | 2824531.9601 | 1166264.8521
75 | 2824570.8364 | 1166245.9048
76 | 2824494.4798 | 1166345.0893
77 | 2824519.7601 | 1166270.6463
78 | 2824577.3799 | 1166237.4035
79 | 2824493.4048 | 1166346.4857
80 | 2824609.4204 | 1166041.5754
81 | 2824658.1986 | 1166136.3985
82 | 2824661.5196 | 1166135.0294
83 | 2824663.6571 | 1166134.1482
84 | 2824633.7404 | 1166136.796
85 | 2824562.3297 | 1166111.0339
86 | 2824545.7005 | 1166133.8602
87 | 2824496.0747 | 1166226.7955
88 | 2824485.4275 | 1166242.8915
89 | 2824507.2297 | 1166186.6676
90 | 2824485.3224 | 1166243.0502
91 | 2824505.877 | 1166188.6301
92 | 2824512.1397 | 1166179.9278
93 | 2824517.809 | 1166172.1458
94 | 2824502.7992 | 1166283.3135
95 | 2824524.1833 | 1166163.396
96 | 2824498.6243 | 1166286.4314
97 | 2824508.996 | 1166362.5619
98 | 2824640.6372 | 1166275.0081
99 | 2824590.3221 | 1166220.5889
100 | 2824772.5048 | 1166058.3811
101 | 2824808.8207 | 1166093.3621
102 | 2824575.3382 | 1166093.1778

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1