## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3847-17_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3847-17_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3847-17_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3847-17_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3847-17_0_2_node_74 | 0.4 | n |  | TRUE
5 | bus_LV_3847-17_0_2_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_3847-17_0_2_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_3847-17_0_2_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_3847-17_0_2_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3847-17_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3847-17_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3847-17_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3847-17_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3847-17_0_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_3847-17_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3847-17_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3847-17_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3847-17_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3847-17_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_3847-17_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_3847-17_0_2_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_3847-17_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3847-17_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3847-17_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3847-17_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3847-17_0_2_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_3847-17_0_2_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_3847-17_0_2_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_3847-17_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3847-17_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3847-17_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3847-17_0_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_3847-17_0_2_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_3847-17_0_2_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_3847-17_0_2_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_3847-17_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_3847-17_0_2_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_3847-17_0_2_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3847-17_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_3847-17_0_2_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_3847-17_0_2_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3847-17_0_2_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_3847-17_0_2_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_3847-17_0_2_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3847-17_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_3847-17_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3847-17_0_2_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_3847-17_0_2_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_3847-17_0_2_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_3847-17_0_2_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_3847-17_0_2_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_3847-17_0_2_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_3847-17_0_2_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_3847-17_0_2_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_3847-17_0_2_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_3847-17_0_2_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_3847-17_0_2_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_3847-17_0_2_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_3847-17_0_2_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_3847-17_0_2_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_3847-17_0_2_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_3847-17_0_2_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_3847-17_0_2_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_3847-17_0_2_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_3847-17_0_2_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_3847-17_0_2_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_3847-17_0_2_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_3847-17_0_2_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_3847-17_0_2_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3847-17_0_2_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3847-17_0_2_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3847-17_0_2_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_3847-17_0_2_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_3847-17_0_2_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_3847-17_0_2_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_3847-17_0_2_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_3847-17_0_2_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_3847-17_0_2_node_70 | 0.4 | n |  | TRUE
78 | bus_MV_175_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3847-17_0_2_load_0 | 0 | 0.00053299 | 0.00013358 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3847-17_0_2_load_1 | 1 | 0.00025036 | 6.2747e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3847-17_0_2_load_3 | 3 | 0.00018078 | 4.5308e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3847-17_0_2_load_79 | 5 | 0.00084515 | 0.00021182 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3847-17_0_2_load_73 | 7 | 0.0005301 | 0.00013286 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3847-17_0_2_load_4 | 8 | 0.00077292 | 0.00019371 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3847-17_0_2_load_5 | 9 | 0.00048744 | 0.00012216 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3847-17_0_2_load_7 | 11 | 0.00037529 | 9.4058e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3847-17_0_2_load_8 | 12 | 0.00027176 | 6.8108e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3847-17_0_2_load_13 | 15 | 0.00084747 | 0.0002124 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3847-17_0_2_load_10 | 16 | 0.00084268 | 0.0002112 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3847-17_0_2_load_12 | 17 | 0.0022834 | 0.00057228 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3847-17_0_2_load_46 | 20 | 0.00052894 | 0.00013256 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3847-17_0_2_load_19 | 23 | 0.0024632 | 0.00061733 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3847-17_0_2_load_44 | 25 | 0.00090881 | 0.00022777 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3847-17_0_2_load_45 | 27 | 0.0018629 | 0.00046688 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3847-17_0_2_load_25 | 29 | 0.0029343 | 0.00073541 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3847-17_0_2_load_21 | 30 | 0.00065 | 0.0001629 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3847-17_0_2_load_42 | 31 | 0.0026687 | 0.00066885 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3847-17_0_2_load_36 | 34 | 0.0013419 | 0.00033632 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3847-17_0_2_load_22 | 36 | 0.00043146 | 0.00010813 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3847-17_0_2_load_27 | 39 | 0.00041864 | 0.00010492 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3847-17_0_2_load_28 | 40 | 0.00078711 | 0.00019727 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3847-17_0_2_load_30 | 41 | 0.0015153 | 0.00037978 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3847-17_0_2_load_78 | 42 | 0.0018338 | 0.00045959 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3847-17_0_2_load_37 | 43 | 0.0029144 | 0.00073042 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3847-17_0_2_load_35 | 45 | 0.0018886 | 0.00047333 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3847-17_0_2_load_29 | 46 | 0.0024881 | 0.00062357 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3847-17_0_2_load_31 | 47 | 0.00056141 | 0.0001407 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3847-17_0_2_load_43 | 48 | 0.0011119 | 0.00027868 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3847-17_0_2_load_40 | 49 | 0.0015097 | 0.00037837 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3847-17_0_2_load_72 | 51 | 0.0026966 | 0.00067583 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3847-17_0_2_load_39 | 52 | 0.0023353 | 0.00058527 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3847-17_0_2_load_76 | 53 | 0.0075657 | 0.0018962 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3847-17_0_2_load_77 | 54 | 0.0017977 | 0.00045054 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3847-17_0_2_load_41 | 55 | 0.00078741 | 0.00019734 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3847-17_0_2_load_71 | 56 | 0.0029076 | 0.00072873 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3847-17_0_2_load_53 | 57 | 0.00084676 | 0.00021222 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3847-17_0_2_load_68 | 59 | 0.0025506 | 0.00063925 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3847-17_0_2_load_69 | 60 | 0.0028182 | 0.00070631 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3847-17_0_2_load_49 | 61 | 0.0030799 | 0.0007719 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3847-17_0_2_load_51 | 62 | 0.0040695 | 0.0010199 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3847-17_0_2_load_52 | 63 | 0.0013299 | 0.0003333 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3847-17_0_2_load_54 | 64 | 0.0034579 | 0.00086663 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3847-17_0_2_load_56 | 66 | 0.0027248 | 0.00068291 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3847-17_0_2_load_57 | 67 | 0.0032562 | 0.00081607 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3847-17_0_2_load_58 | 68 | 0.0030279 | 0.00075887 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3847-17_0_2_load_60 | 70 | 0.0027916 | 0.00069963 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3847-17_0_2_load_62 | 71 | 0.0039496 | 0.00098987 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3847-17_0_2_load_63 | 72 | 0.0027406 | 0.00068686 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3847-17_0_2_load_65 | 74 | 0.0025352 | 0.00063537 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3847-17_0_2_load_67 | 76 | 0.0021078 | 0.00052827 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3847-17_0_2_load_70 | 77 | 0.0067735 | 0.0016976 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3847-17_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0010197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3847-17_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.031563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3847-17_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3847-17_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.16621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3847-17_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.41878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3847-17_0_2_line_5 | NAYY 4x150 SE | 4 | 7 | 0.026235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3847-17_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.025195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3847-17_0_2_line_7 | NAYY 4x150 SE | 6 | 10 | 0.040458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3847-17_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.01596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3847-17_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.037099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3847-17_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.010957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3847-17_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.021768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3847-17_0_2_line_12 | NAYY 4x150 SE | 11 | 16 | 0.0031057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3847-17_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.05066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3847-17_0_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.22378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3847-17_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.023931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3847-17_0_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.08277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3847-17_0_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.022028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3847-17_0_2_line_18 | NAYY 4x150 SE | 18 | 19 | 0.019398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3847-17_0_2_line_19 | NAYY 4x150 SE | 19 | 20 | 0.0038359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3847-17_0_2_line_20 | NAYY 4x150 SE | 20 | 27 | 0.034625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3847-17_0_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.055424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3847-17_0_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.064594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3847-17_0_2_line_23 | NAYY 4x150 SE | 22 | 28 | 0.005714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3847-17_0_2_line_24 | NAYY 4x150 SE | 22 | 29 | 0.029295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3847-17_0_2_line_25 | NAYY 4x150 SE | 22 | 30 | 0.045951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3847-17_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.013443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3847-17_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.006081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3847-17_0_2_line_28 | NAYY 4x150 SE | 25 | 31 | 0.0077376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3847-17_0_2_line_29 | NAYY 4x150 SE | 26 | 32 | 0.005677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3847-17_0_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0061578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3847-17_0_2_line_31 | NAYY 4x150 SE | 28 | 33 | 0.035448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3847-17_0_2_line_32 | NAYY 4x150 SE | 28 | 34 | 0.030715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3847-17_0_2_line_33 | NAYY 4x150 SE | 29 | 35 | 0.044377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3847-17_0_2_line_34 | NAYY 4x150 SE | 30 | 36 | 0.022946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3847-17_0_2_line_35 | NAYY 4x150 SE | 31 | 55 | 0.00062367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3847-17_0_2_line_36 | NAYY 4x150 SE | 32 | 57 | 0.016867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3847-17_0_2_line_37 | NAYY 4x150 SE | 33 | 42 | 0.026177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3847-17_0_2_line_38 | NAYY 4x150 SE | 34 | 43 | 0.076522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3847-17_0_2_line_39 | NAYY 4x150 SE | 35 | 44 | 0.011526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3847-17_0_2_line_40 | NAYY 4x150 SE | 35 | 45 | 0.024326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3847-17_0_2_line_41 | NAYY 4x150 SE | 36 | 37 | 0.01461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3847-17_0_2_line_42 | NAYY 4x150 SE | 37 | 38 | 0.014067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3847-17_0_2_line_43 | NAYY 4x150 SE | 37 | 39 | 0.028985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3847-17_0_2_line_44 | NAYY 4x150 SE | 38 | 40 | 0.014786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3847-17_0_2_line_45 | NAYY 4x150 SE | 39 | 41 | 0.028307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3847-17_0_2_line_46 | NAYY 4x150 SE | 40 | 46 | 0.012072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3847-17_0_2_line_47 | NAYY 4x150 SE | 41 | 47 | 0.025047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3847-17_0_2_line_48 | NAYY 4x150 SE | 44 | 48 | 0.010492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3847-17_0_2_line_49 | NAYY 4x150 SE | 44 | 49 | 0.011709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3847-17_0_2_line_50 | NAYY 4x150 SE | 45 | 50 | 0.0039922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3847-17_0_2_line_51 | NAYY 4x150 SE | 48 | 51 | 0.0091732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3847-17_0_2_line_52 | NAYY 4x150 SE | 49 | 52 | 0.0079584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3847-17_0_2_line_53 | NAYY 4x150 SE | 50 | 53 | 0.024708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3847-17_0_2_line_54 | NAYY 4x150 SE | 50 | 54 | 0.036406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3847-17_0_2_line_55 | NAYY 4x150 SE | 51 | 56 | 0.017578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3847-17_0_2_line_56 | NAYY 4x150 SE | 52 | 55 | 0.011527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3847-17_0_2_line_57 | NAYY 4x150 SE | 56 | 77 | 0.0020902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3847-17_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.034392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3847-17_0_2_line_59 | NAYY 4x150 SE | 58 | 63 | 0.015664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3847-17_0_2_line_60 | NAYY 4x150 SE | 58 | 61 | 0.017456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3847-17_0_2_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0034154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3847-17_0_2_line_62 | NAYY 4x150 SE | 60 | 75 | 0.08077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3847-17_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.015179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3847-17_0_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0073505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3847-17_0_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.028867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3847-17_0_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.014167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3847-17_0_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.036971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3847-17_0_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.017768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3847-17_0_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.003075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3847-17_0_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.010513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3847-17_0_2_line_71 | NAYY 4x150 SE | 71 | 72 | 0.013807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3847-17_0_2_line_72 | NAYY 4x150 SE | 71 | 73 | 0.077582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3847-17_0_2_line_73 | NAYY 4x150 SE | 72 | 74 | 0.014625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3847-17_0_2_line_74 | NAYY 4x150 SE | 73 | 75 | 0.027842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3847-17_0_2_line_75 | NAYY 4x150 SE | 74 | 76 | 0.00045195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3847-17_0_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.012059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3847-17_0_2_trafo_42 | 0.25 MVA 20/0.4 kV | 78 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2829907.2453 | 1167021.23 | 2829906.9743 | 1167022.2131
1 | 2829930.7337 | 1167011.0314 | 2829910.1661 | 1167010.6332 | 2829907.2453 | 1167021.23
2 | 2829915.2813 | 1167043.4133 | 2829906.0469 | 1167037.731 | 2829903.961 | 1167033.1456 | 2829906.9743 | 1167022.2131
3 | 2829930.7337 | 1167011.0314 | 2829936.0294 | 1166844.9086
4 | 2830222.7412 | 1167327.7499 | 2829915.2813 | 1167043.4133
5 | 2829936.0294 | 1166844.9086 | 2829947.4892 | 1166821.3093
6 | 2830222.7412 | 1167327.7499 | 2830231.4392 | 1167351.4009
7 | 2830269.2142 | 1167342.815 | 2830261.4228 | 1167340.3023 | 2830253.3565 | 1167340.9608 | 2830231.4392 | 1167351.4009
8 | 2830258.8961 | 1167308.2441 | 2830262.4964 | 1167305.5119 | 2830272.3122 | 1167299.6354
9 | 2830269.2142 | 1167342.815 | 2830258.4488 | 1167319.9079 | 2830257.8807 | 1167313.3336 | 2830258.8961 | 1167308.2441
10 | 2830272.3122 | 1167299.6354 | 2830281.7133 | 1167294.0071
11 | 2830269.2142 | 1167342.815 | 2830278.4734 | 1167362.5158
12 | 2830284.378 | 1167292.4118 | 2830281.7133 | 1167294.0071
13 | 2830300.0218 | 1167408.3643 | 2830278.4734 | 1167362.5158
14 | 2830268.2388 | 1167629.8737 | 2830300.0218 | 1167408.3643
15 | 2830268.2388 | 1167629.8737 | 2830277.4264 | 1167635.744 | 2830278.0698 | 1167648.7566
16 | 2830300.0218 | 1167408.3643 | 2830380.0935 | 1167387.4027
17 | 2830270.2788 | 1167666.6191 | 2830278.6394 | 1167660.276 | 2830278.0698 | 1167648.7566
18 | 2830270.2788 | 1167666.6191 | 2830271.1736 | 1167682.2614 | 2830271.3833 | 1167685.9851
19 | 2830271.3833 | 1167685.9851 | 2830271.5296 | 1167689.8183
20 | 2830272.8495 | 1167724.4183 | 2830271.5296 | 1167689.8183
21 | 2830167.4257 | 1167734.8859 | 2830207.7417 | 1167696.7496
22 | 2830207.7417 | 1167696.7496 | 2830203.8165 | 1167691.3705 | 2830201.0844 | 1167685.6589 | 2830200.4998 | 1167678.9171 | 2830202.8882 | 1167671.5996 | 2830211.1877 | 1167656.6547 | 2830214.3678 | 1167650.4801 | 2830215.313 | 1167644.2197 | 2830215.6797 | 1167637.462
23 | 2830167.4257 | 1167734.8859 | 2830163.4213 | 1167738.9709
24 | 2830167.4257 | 1167734.8859 | 2830192.5866 | 1167749.8898
25 | 2830167.4257 | 1167734.8859 | 2830158.299 | 1167719.8291 | 2830138.8719 | 1167699.1899
26 | 2830267.3344 | 1167732.5983 | 2830261.7163 | 1167735.3865 | 2830258.6423 | 1167738.3946 | 2830257.1442 | 1167740.8425
27 | 2830267.3344 | 1167732.5983 | 2830273.0842 | 1167730.5716
28 | 2830253.168 | 1167747.4767 | 2830253.5068 | 1167746.786 | 2830257.1442 | 1167740.8425
29 | 2830273.5341 | 1167736.2291 | 2830273.0842 | 1167730.5716
30 | 2830273.0842 | 1167730.5716 | 2830272.8495 | 1167724.4183
31 | 2830163.4213 | 1167738.9709 | 2830136.0346 | 1167761.5611
32 | 2830163.4213 | 1167738.9709 | 2830161.6672 | 1167755.3349 | 2830158.6274 | 1167769.2641
33 | 2830230.0978 | 1167773.5777 | 2830210.1319 | 1167760.3524 | 2830192.5866 | 1167749.8898
34 | 2830138.8719 | 1167699.1899 | 2830136.8004 | 1167696.9891 | 2830124.5198 | 1167681.3007
35 | 2830253.168 | 1167747.4767 | 2830252.8933 | 1167748.0366
36 | 2830273.5341 | 1167736.2291 | 2830290.3948 | 1167736.6867
37 | 2830135.2848 | 1167787.72 | 2830136.0346 | 1167761.5611
38 | 2830158.6274 | 1167769.2641 | 2830154.7958 | 1167786.8214 | 2830155.3237 | 1167825.6336 | 2830157.4904 | 1167845.25
39 | 2830241.2043 | 1167776.7737 | 2830230.0978 | 1167773.5777
40 | 2830230.0978 | 1167773.5777 | 2830221.4718 | 1167783.6486 | 2830211.1553 | 1167787.6516
41 | 2830115.5145 | 1167669.7965 | 2830124.5198 | 1167681.3007
42 | 2830115.5145 | 1167669.7965 | 2830115.1207 | 1167660.6703 | 2830115.6916 | 1167655.775
43 | 2830115.5145 | 1167669.7965 | 2830109.6248 | 1167662.2729 | 2830100.1776 | 1167645.2935
44 | 2830115.6916 | 1167655.775 | 2830115.9528 | 1167653.5601 | 2830115.9968 | 1167648.8115 | 2830115.029 | 1167641.065
45 | 2830086.4149 | 1167620.5576 | 2830100.1776 | 1167645.2935
46 | 2830111.6793 | 1167629.467 | 2830115.029 | 1167641.065
47 | 2830086.4149 | 1167620.5576 | 2830074.2373 | 1167598.6705
48 | 2830241.2043 | 1167776.7737 | 2830240.1026 | 1167787.2074
49 | 2830241.2043 | 1167776.7737 | 2830243.3876 | 1167767.4125 | 2830244.3112 | 1167765.5299
50 | 2830207.4422 | 1167789.118 | 2830208.9216 | 1167788.5184 | 2830211.1553 | 1167787.6516
51 | 2830239.1393 | 1167796.3298 | 2830240.1026 | 1167787.2074
52 | 2830247.8164 | 1167758.3851 | 2830244.3112 | 1167765.5299
53 | 2830201.8357 | 1167812.3985 | 2830201.9928 | 1167808.2995 | 2830208.4795 | 1167792.0502 | 2830207.4422 | 1167789.118
54 | 2830207.4422 | 1167789.118 | 2830178.8781 | 1167800.0375 | 2830172.9915 | 1167800.6351
55 | 2830237.2935 | 1167813.8106 | 2830239.1393 | 1167796.3298
56 | 2830247.8164 | 1167758.3851 | 2830252.8933 | 1167748.0366
57 | 2830237.2935 | 1167813.8106 | 2830237.074 | 1167815.8893
58 | 2830321.4205 | 1167751.5269 | 2830290.3948 | 1167736.6867
59 | 2830321.4205 | 1167751.5269 | 2830335.6482 | 1167758.08
60 | 2830321.4205 | 1167751.5269 | 2830318.6357 | 1167768.7597
61 | 2830266.95 | 1167844.1703 | 2830266.6001 | 1167847.5677
62 | 2830259.6013 | 1167928.0304 | 2830261.3929 | 1167908.4973 | 2830262.9173 | 1167890.5337 | 2830265.1773 | 1167861.3846 | 2830266.6001 | 1167847.5677
63 | 2830316.2141 | 1167783.7447 | 2830318.6357 | 1167768.7597
64 | 2830335.6482 | 1167758.08 | 2830342.3245 | 1167761.155
65 | 2830367.1671 | 1167775.843 | 2830343.4738 | 1167761.6844 | 2830342.3245 | 1167761.155
66 | 2830367.1671 | 1167775.843 | 2830378.2706 | 1167784.6419
67 | 2830378.2706 | 1167784.6419 | 2830407.2468 | 1167807.604
68 | 2830407.2468 | 1167807.604 | 2830421.1722 | 1167818.6392
69 | 2830423.5822 | 1167820.549 | 2830421.1722 | 1167818.6392
70 | 2830423.5822 | 1167820.549 | 2830424.4708 | 1167810.074
71 | 2830228.8643 | 1167855.5142 | 2830229.3933 | 1167841.7176
72 | 2830232.8197 | 1167932.8549 | 2830231.8911 | 1167919.6921 | 2830229.7212 | 1167904.3235 | 2830228.1313 | 1167874.6262 | 2830228.8643 | 1167855.5142
73 | 2830229.3933 | 1167841.7176 | 2830229.5439 | 1167837.7908 | 2830233.2 | 1167827.7397
74 | 2830259.6013 | 1167928.0304 | 2830247.7614 | 1167927.5763 | 2830238.7012 | 1167929.3871 | 2830232.8197 | 1167932.8549
75 | 2830233.2 | 1167827.7397 | 2830233.3545 | 1167827.315
76 | 2830233.3545 | 1167827.315 | 2830236.8954 | 1167817.5809 | 2830237.074 | 1167815.8893

## bus_geodata
| x | y | coords
0 | 2829907.2453 | 1167021.23
1 | 2829906.9743 | 1167022.2131
2 | 2829930.7337 | 1167011.0314
3 | 2829915.2813 | 1167043.4133
4 | 2829936.0294 | 1166844.9086
5 | 2830222.7412 | 1167327.7499
6 | 2830231.4392 | 1167351.4009
7 | 2829947.4892 | 1166821.3093
8 | 2830258.8961 | 1167308.2441
9 | 2830272.3122 | 1167299.6354
10 | 2830269.2142 | 1167342.815
11 | 2830281.7133 | 1167294.0071
12 | 2830278.4734 | 1167362.5158
13 | 2830268.2388 | 1167629.8737
14 | 2830300.0218 | 1167408.3643
15 | 2830278.0698 | 1167648.7566
16 | 2830284.378 | 1167292.4118
17 | 2830380.0935 | 1167387.4027
18 | 2830270.2788 | 1167666.6191
19 | 2830271.3833 | 1167685.9851
20 | 2830271.5296 | 1167689.8183
21 | 2830207.7417 | 1167696.7496
22 | 2830167.4257 | 1167734.8859
23 | 2830215.6797 | 1167637.462
24 | 2830267.3344 | 1167732.5983
25 | 2830257.1442 | 1167740.8425
26 | 2830273.0842 | 1167730.5716
27 | 2830272.8495 | 1167724.4183
28 | 2830163.4213 | 1167738.9709
29 | 2830192.5866 | 1167749.8898
30 | 2830138.8719 | 1167699.1899
31 | 2830253.168 | 1167747.4767
32 | 2830273.5341 | 1167736.2291
33 | 2830136.0346 | 1167761.5611
34 | 2830158.6274 | 1167769.2641
35 | 2830230.0978 | 1167773.5777
36 | 2830124.5198 | 1167681.3007
37 | 2830115.5145 | 1167669.7965
38 | 2830115.6916 | 1167655.775
39 | 2830100.1776 | 1167645.2935
40 | 2830115.029 | 1167641.065
41 | 2830086.4149 | 1167620.5576
42 | 2830135.2848 | 1167787.72
43 | 2830157.4904 | 1167845.25
44 | 2830241.2043 | 1167776.7737
45 | 2830211.1553 | 1167787.6516
46 | 2830111.6793 | 1167629.467
47 | 2830074.2373 | 1167598.6705
48 | 2830240.1026 | 1167787.2074
49 | 2830244.3112 | 1167765.5299
50 | 2830207.4422 | 1167789.118
51 | 2830239.1393 | 1167796.3298
52 | 2830247.8164 | 1167758.3851
53 | 2830201.8357 | 1167812.3985
54 | 2830172.9915 | 1167800.6351
55 | 2830252.8933 | 1167748.0366
56 | 2830237.2935 | 1167813.8106
57 | 2830290.3948 | 1167736.6867
58 | 2830321.4205 | 1167751.5269
59 | 2830266.95 | 1167844.1703
60 | 2830266.6001 | 1167847.5677
61 | 2830318.6357 | 1167768.7597
62 | 2830316.2141 | 1167783.7447
63 | 2830335.6482 | 1167758.08
64 | 2830342.3245 | 1167761.155
65 | 2830367.1671 | 1167775.843
66 | 2830378.2706 | 1167784.6419
67 | 2830407.2468 | 1167807.604
68 | 2830421.1722 | 1167818.6392
69 | 2830423.5822 | 1167820.549
70 | 2830424.4708 | 1167810.074
71 | 2830228.8643 | 1167855.5142
72 | 2830229.3933 | 1167841.7176
73 | 2830232.8197 | 1167932.8549
74 | 2830233.2 | 1167827.7397
75 | 2830259.6013 | 1167928.0304
76 | 2830233.3545 | 1167827.315
77 | 2830237.074 | 1167815.8893
78 | 2830267.3344 | 1167732.5983

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1