## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3847-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3847-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3847-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3847-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3847-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3847-6_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3847-6_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_3847-6_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_3847-6_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_3847-6_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3847-6_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3847-6_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3847-6_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3847-6_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3847-6_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3847-6_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_3847-6_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_3847-6_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3847-6_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3847-6_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3847-6_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_3847-6_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_3847-6_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_3847-6_0_3_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_3847-6_0_3_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_3847-6_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_3847-6_0_3_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_3847-6_0_3_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_3847-6_0_3_node_71 | 0.4 | n |  | TRUE
29 | bus_LV_3847-6_0_3_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_3847-6_0_3_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_3847-6_0_3_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_3847-6_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_3847-6_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_3847-6_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_3847-6_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_3847-6_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_3847-6_0_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_3847-6_0_3_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_3847-6_0_3_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_3847-6_0_3_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_3847-6_0_3_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_3847-6_0_3_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_3847-6_0_3_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_3847-6_0_3_node_74 | 0.4 | n |  | TRUE
45 | bus_MV_175_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3847-6_0_3_load_0 | 0 | 0.0024855 | 0.00062293 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3847-6_0_3_load_1 | 1 | 0.0029032 | 0.00072762 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3847-6_0_3_load_4 | 4 | 0.0034382 | 0.0008617 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3847-6_0_3_load_13 | 5 | 0.0045739 | 0.0011463 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3847-6_0_3_load_14 | 6 | 0.0029718 | 0.00074479 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3847-6_0_3_load_17 | 7 | 0.0053025 | 0.0013289 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3847-6_0_3_load_10 | 8 | 0.0026409 | 0.00066187 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3847-6_0_3_load_11 | 9 | 0.0018789 | 0.00047091 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3847-6_0_3_load_5 | 11 | 0.0024593 | 0.00061635 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3847-6_0_3_load_6 | 12 | 0.0020121 | 0.00050429 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3847-6_0_3_load_7 | 13 | 0.0035646 | 0.00089338 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3847-6_0_3_load_9 | 14 | 0.0023287 | 0.00058362 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3847-6_0_3_load_20 | 15 | 0.0019103 | 0.00047877 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3847-6_0_3_load_15 | 16 | 0.0037777 | 0.00094677 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3847-6_0_3_load_12 | 17 | 0.0021866 | 0.00054801 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3847-6_0_3_load_16 | 18 | 0.0023856 | 0.00059789 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3847-6_0_3_load_19 | 20 | 0.0026951 | 0.00067545 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3847-6_0_3_load_72 | 23 | 0.0024878 | 0.00062351 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3847-6_0_3_load_57 | 24 | 0.0013349 | 0.00033456 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3847-6_0_3_load_68 | 27 | 0.0026986 | 0.00067632 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3847-6_0_3_load_71 | 28 | 0.0030217 | 0.0007573 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3847-6_0_3_load_58 | 29 | 0.0014617 | 0.00036635 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3847-6_0_3_load_59 | 30 | 0.003208 | 0.00080401 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3847-6_0_3_load_67 | 31 | 0.0027425 | 0.00068732 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3847-6_0_3_load_39 | 32 | 0.00092765 | 0.00023249 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3847-6_0_3_load_38 | 33 | 0.0034548 | 0.00086585 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3847-6_0_3_load_34 | 34 | 0.0011133 | 0.00027902 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3847-6_0_3_load_35 | 35 | 0.0026218 | 0.00065708 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3847-6_0_3_load_37 | 37 | 0.0024271 | 0.0006083 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3847-6_0_3_load_54 | 38 | 0.0015357 | 0.00038487 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3847-6_0_3_load_55 | 39 | 0.00081527 | 0.00020432 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3847-6_0_3_load_56 | 40 | 0.0013888 | 0.00034808 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3847-6_0_3_load_70 | 41 | 0.0022254 | 0.00055773 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3847-6_0_3_load_69 | 42 | 0.0023575 | 0.00059085 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3847-6_0_3_load_74 | 44 | 0.00093181 | 0.00023353 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3847-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0037572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3847-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3847-6_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.029465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3847-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3847-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.027613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3847-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.014138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3847-6_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.011647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3847-6_0_3_line_7 | NAYY 4x150 SE | 6 | 10 | 0.04779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3847-6_0_3_line_8 | NAYY 4x150 SE | 7 | 19 | 0.25672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3847-6_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.011041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3847-6_0_3_line_10 | NAYY 4x150 SE | 9 | 17 | 0.0067933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3847-6_0_3_line_11 | NAYY 4x150 SE | 10 | 15 | 0.033158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3847-6_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.051544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3847-6_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.016087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3847-6_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.023283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3847-6_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0014594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3847-6_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.014645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3847-6_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0064856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3847-6_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0070428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3847-6_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.013847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3847-6_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.054422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3847-6_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.33043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3847-6_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.19631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3847-6_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.17856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3847-6_0_3_line_24 | NAYY 4x150 SE | 23 | 28 | 0.053732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3847-6_0_3_line_25 | NAYY 4x150 SE | 24 | 29 | 0.014766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3847-6_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.046838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3847-6_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.036874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3847-6_0_3_line_28 | NAYY 4x150 SE | 26 | 30 | 0.051605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3847-6_0_3_line_29 | NAYY 4x150 SE | 27 | 31 | 0.00494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3847-6_0_3_line_30 | NAYY 4x150 SE | 28 | 43 | 0.079211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3847-6_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.011661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3847-6_0_3_line_32 | NAYY 4x150 SE | 31 | 42 | 0.009454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3847-6_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.020867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3847-6_0_3_line_34 | NAYY 4x150 SE | 33 | 36 | 0.0206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3847-6_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.00055868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3847-6_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.06399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3847-6_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0022629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3847-6_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0095943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3847-6_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.003842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3847-6_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.0022087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3847-6_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0043882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3847-6_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.008074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3847-6_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.3671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3847-6_0_3_trafo_19 | 0.25 MVA 20/0.4 kV | 45 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2822305.4402 | 1168018.486 | 2822308.9597 | 1168019.8012
1 | 2822326.855 | 1168028.3675 | 2822315.683 | 1168022.3138 | 2822308.9597 | 1168019.8012
2 | 2822326.855 | 1168028.3675 | 2822324.5477 | 1168035.624 | 2822322.5313 | 1168057.375
3 | 2822326.855 | 1168028.3675 | 2822330.8905 | 1168027.2154 | 2822336.9344 | 1168025.6371 | 2822336.9344 | 1168025.6371
4 | 2822322.5313 | 1168057.375 | 2822314.1855 | 1168057.1661 | 2822294.9534 | 1168058.2765
5 | 2822336.9344 | 1168025.6371 | 2822350.4187 | 1168029.8853
6 | 2822283.3256 | 1168058.9478 | 2822294.9534 | 1168058.2765
7 | 2822389.0943 | 1168057.5043 | 2822376.8912 | 1168051.568 | 2822362.6633 | 1168040.0837 | 2822350.4187 | 1168029.8853
8 | 2822054.3347 | 1168147.3553 | 2822079.9204 | 1168121.5481 | 2822121.9584 | 1168091.4439 | 2822164.2861 | 1168069.883 | 2822200.9737 | 1168057.6358 | 2822230.5517 | 1168056.0942 | 2822279.9086 | 1168059.1451 | 2822283.3256 | 1168058.9478
9 | 2822372.2026 | 1168075.6825 | 2822380.5753 | 1168082.8793
10 | 2822386.3771 | 1168086.0604 | 2822383.3824 | 1168085.2923 | 2822380.5753 | 1168082.8793
11 | 2822389.0943 | 1168057.5043 | 2822394.4318 | 1168072.7197 | 2822396.6442 | 1168084.3708 | 2822392.6594 | 1168087.6717 | 2822392.6594 | 1168087.6717
12 | 2822389.0943 | 1168057.5043 | 2822380.0115 | 1168027.7443 | 2822375.5645 | 1168007.8049
13 | 2822372.1366 | 1167992.0939 | 2822372.1722 | 1167992.1346 | 2822375.1283 | 1168005.849 | 2822375.5645 | 1168007.8049
14 | 2822372.1366 | 1167992.0939 | 2822363.3864 | 1167982.0755 | 2822353.5251 | 1167980.5299
15 | 2822353.5251 | 1167980.5299 | 2822352.0833 | 1167980.3039
16 | 2822337.6492 | 1167980.9879 | 2822346.3793 | 1167979.4099 | 2822352.0833 | 1167980.3039
17 | 2822386.3771 | 1168086.0604 | 2822392.6594 | 1168087.6717
18 | 2822337.6492 | 1167980.9879 | 2822330.7187 | 1167982.2406
19 | 2822317.2477 | 1167985.4394 | 2822329.5748 | 1167982.4474 | 2822330.7187 | 1167982.2406
20 | 2822033.266 | 1168197.536 | 2822037.5063 | 1168188.1482 | 2822054.3347 | 1168147.3553
21 | 2821932.6975 | 1167983.3591 | 2821952.794 | 1168035.34 | 2821953.3639 | 1168038.9986 | 2821952.146 | 1168041.4677 | 2821961.7707 | 1168052.4805 | 2821974.8312 | 1168047.468 | 2821979.0484 | 1168042.8517 | 2821985.9876 | 1168044.2095 | 2821997.7643 | 1168044.2779 | 2822021.9841 | 1168006.2946 | 2822027.0458 | 1168008.6843 | 2822013.9823 | 1168043.4093 | 2822013.2934 | 1168054.7861 | 2822012.0825 | 1168074.8872 | 2822020.9238 | 1168094.6481 | 2822033.2974 | 1168103.0261 | 2822046.6942 | 1168104.6674 | 2822043.7138 | 1168113.5566 | 2822043.7093 | 1168119.6859 | 2822045.5157 | 1168125.5484 | 2822054.3347 | 1168147.3553
22 | 2822033.266 | 1168197.536 | 2822095.1494 | 1168196.7103 | 2822148.4021 | 1168190.9604 | 2822161.9424 | 1168188.3022 | 2822200.1342 | 1168174.5311 | 2822225.3738 | 1168166.5737
23 | 2821932.6975 | 1167983.3591 | 2822057.1835 | 1167922.8079 | 2822084.7715 | 1167911.6808 | 2822094.8893 | 1167909.3438
24 | 2822278.7761 | 1168163.2807 | 2822241.8476 | 1168163.7607 | 2822231.174 | 1168164.745 | 2822225.3738 | 1168166.5737
25 | 2822094.8893 | 1167909.3438 | 2822109.2769 | 1167906.0207
26 | 2822171.8422 | 1167896.9701 | 2822187.3069 | 1167894.5166 | 2822201.412 | 1167888.0082 | 2822210.8078 | 1167875.3851
27 | 2822210.8078 | 1167875.3851 | 2822211.938 | 1167859.9643 | 2822207.073 | 1167839.113
28 | 2822171.8422 | 1167896.9701 | 2822120.6389 | 1167903.3964 | 2822120.6389 | 1167903.3964
29 | 2822205.9505 | 1167834.3022 | 2822207.073 | 1167839.113
30 | 2822343.0129 | 1168204.8061 | 2822312.2303 | 1168175.1548 | 2822297.5482 | 1168165.8007 | 2822285.8812 | 1168163.1884 | 2822278.7761 | 1168163.2807
31 | 2822109.2769 | 1167906.0207 | 2822120.6389 | 1167903.3964
32 | 2822205.9505 | 1167834.3022 | 2822203.8024 | 1167825.0954
33 | 2822265.6726 | 1167733.0595 | 2822245.6687 | 1167738.9989
34 | 2822226.1228 | 1167745.4986 | 2822242.2598 | 1167740.011 | 2822245.6687 | 1167738.9989
35 | 2822198.7505 | 1167794.6266 | 2822198.8177 | 1167795.1813
36 | 2822226.1228 | 1167745.4986 | 2822214.0064 | 1167749.6222 | 2822203.2076 | 1167758.7337 | 2822201.0024 | 1167763.6469 | 2822198.9889 | 1167768.1444 | 2822197.0083 | 1167780.2409 | 2822198.7505 | 1167794.6266
37 | 2822199.0898 | 1167797.4277 | 2822198.8177 | 1167795.1813
38 | 2822200.2433 | 1167806.9524 | 2822199.0898 | 1167797.4277
39 | 2822200.2433 | 1167806.9524 | 2822200.7052 | 1167810.7665
40 | 2822200.7052 | 1167810.7665 | 2822200.9707 | 1167812.9592 | 2822200.9707 | 1167812.9592
41 | 2822201.9678 | 1167817.2327 | 2822200.9707 | 1167812.9592
42 | 2822201.9678 | 1167817.2327 | 2822203.8024 | 1167825.0954
43 | 2822672.1223 | 1168062.8002 | 2822666.6966 | 1168064.8572 | 2822660.1546 | 1168069.5315 | 2822654.3631 | 1168076.0802 | 2822645.7046 | 1168092.1562 | 2822636.7764 | 1168101.2473 | 2822622.0925 | 1168109.1015 | 2822609.2515 | 1168111.6956 | 2822599.3486 | 1168112.7635 | 2822589.3545 | 1168116.0862 | 2822559.7047 | 1168134.2429 | 2822546.4362 | 1168141.5491 | 2822507.527 | 1168160.9982 | 2822435.2905 | 1168185.5755 | 2822353.7834 | 1168204.1037 | 2822343.0129 | 1168204.8061

## bus_geodata
| x | y | coords
0 | 2822308.9597 | 1168019.8012
1 | 2822305.4402 | 1168018.486
2 | 2822326.855 | 1168028.3675
3 | 2822322.5313 | 1168057.375
4 | 2822336.9344 | 1168025.6371
5 | 2822294.9534 | 1168058.2765
6 | 2822350.4187 | 1168029.8853
7 | 2822283.3256 | 1168058.9478
8 | 2822372.2026 | 1168075.6825
9 | 2822380.5753 | 1168082.8793
10 | 2822389.0943 | 1168057.5043
11 | 2822372.1366 | 1167992.0939
12 | 2822375.5645 | 1168007.8049
13 | 2822353.5251 | 1167980.5299
14 | 2822352.0833 | 1167980.3039
15 | 2822392.6594 | 1168087.6717
16 | 2822337.6492 | 1167980.9879
17 | 2822386.3771 | 1168086.0604
18 | 2822330.7187 | 1167982.2406
19 | 2822054.3347 | 1168147.3553
20 | 2822317.2477 | 1167985.4394
21 | 2822033.266 | 1168197.536
22 | 2821932.6975 | 1167983.3591
23 | 2822225.3738 | 1168166.5737
24 | 2822094.8893 | 1167909.3438
25 | 2822210.8078 | 1167875.3851
26 | 2822171.8422 | 1167896.9701
27 | 2822207.073 | 1167839.113
28 | 2822278.7761 | 1168163.2807
29 | 2822109.2769 | 1167906.0207
30 | 2822120.6389 | 1167903.3964
31 | 2822205.9505 | 1167834.3022
32 | 2822265.6726 | 1167733.0595
33 | 2822245.6687 | 1167738.9989
34 | 2822198.7505 | 1167794.6266
35 | 2822198.8177 | 1167795.1813
36 | 2822226.1228 | 1167745.4986
37 | 2822199.0898 | 1167797.4277
38 | 2822200.2433 | 1167806.9524
39 | 2822200.7052 | 1167810.7665
40 | 2822200.9707 | 1167812.9592
41 | 2822201.9678 | 1167817.2327
42 | 2822203.8024 | 1167825.0954
43 | 2822343.0129 | 1168204.8061
44 | 2822672.1223 | 1168062.8002
45 | 2822389.0943 | 1168057.5043

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1