## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3847-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3847-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3847-9_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3847-9_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3847-9_0_6_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_3847-9_0_6_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_3847-9_0_6_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_3847-9_0_6_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_3847-9_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3847-9_0_6_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_3847-9_0_6_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_3847-9_0_6_node_100 | 0.4 | n |  | TRUE
12 | bus_LV_3847-9_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_3847-9_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3847-9_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3847-9_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3847-9_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3847-9_0_6_node_91 | 0.4 | n |  | TRUE
18 | bus_LV_3847-9_0_6_node_93 | 0.4 | n |  | TRUE
19 | bus_LV_3847-9_0_6_node_89 | 0.4 | n |  | TRUE
20 | bus_LV_3847-9_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3847-9_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3847-9_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3847-9_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3847-9_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3847-9_0_6_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_3847-9_0_6_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_3847-9_0_6_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_3847-9_0_6_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_3847-9_0_6_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_3847-9_0_6_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_3847-9_0_6_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_3847-9_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_3847-9_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_3847-9_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_3847-9_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3847-9_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3847-9_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_3847-9_0_6_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_3847-9_0_6_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_3847-9_0_6_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_3847-9_0_6_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_3847-9_0_6_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_3847-9_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_3847-9_0_6_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_3847-9_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_3847-9_0_6_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_3847-9_0_6_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_3847-9_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3847-9_0_6_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_3847-9_0_6_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_3847-9_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_3847-9_0_6_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_3847-9_0_6_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_3847-9_0_6_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_3847-9_0_6_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_3847-9_0_6_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_3847-9_0_6_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_3847-9_0_6_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_3847-9_0_6_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_3847-9_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_3847-9_0_6_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_3847-9_0_6_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_3847-9_0_6_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_3847-9_0_6_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_3847-9_0_6_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_3847-9_0_6_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_3847-9_0_6_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_3847-9_0_6_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_3847-9_0_6_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_3847-9_0_6_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_3847-9_0_6_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_3847-9_0_6_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_3847-9_0_6_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_3847-9_0_6_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_3847-9_0_6_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_3847-9_0_6_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_3847-9_0_6_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_3847-9_0_6_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_3847-9_0_6_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_3847-9_0_6_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_3847-9_0_6_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_3847-9_0_6_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_3847-9_0_6_node_98 | 0.4 | n |  | TRUE
84 | bus_LV_3847-9_0_6_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_3847-9_0_6_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_3847-9_0_6_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_3847-9_0_6_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_3847-9_0_6_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_3847-9_0_6_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_3847-9_0_6_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_3847-9_0_6_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_3847-9_0_6_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_3847-9_0_6_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_3847-9_0_6_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_3847-9_0_6_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_3847-9_0_6_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_3847-9_0_6_node_95 | 0.4 | n |  | TRUE
98 | bus_MV_175_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3847-9_0_6_load_0 | 0 | 0.0020379 | 0.00051073 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3847-9_0_6_load_14 | 7 | 0.028246 | 0.007079 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3847-9_0_6_load_6 | 8 | 0.0034844 | 0.00087327 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3847-9_0_6_load_12 | 9 | 0.0026744 | 0.00067026 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3847-9_0_6_load_13 | 10 | 0.00051245 | 0.00012843 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3847-9_0_6_load_100 | 11 | 0.001717 | 0.00043033 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3847-9_0_6_load_5 | 12 | 0.015589 | 0.0039069 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3847-9_0_6_load_8 | 13 | 0.00027529 | 6.8993e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3847-9_0_6_load_9 | 14 | 0.00025721 | 6.4462e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3847-9_0_6_load_11 | 16 | 0.00029916 | 7.4978e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3847-9_0_6_load_93 | 18 | 0.0030027 | 0.00075256 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3847-9_0_6_load_89 | 19 | 0.0049595 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3847-9_0_6_load_15 | 20 | 0.0021862 | 0.00054791 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3847-9_0_6_load_16 | 21 | 0.00096851 | 0.00024273 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3847-9_0_6_load_17 | 22 | 0.0029235 | 0.00073271 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3847-9_0_6_load_18 | 23 | 0.0024845 | 0.00062268 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3847-9_0_6_load_66 | 25 | 0.0015614 | 0.00039133 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3847-9_0_6_load_52 | 26 | 0.0020752 | 0.00052009 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3847-9_0_6_load_26 | 27 | 0.0014164 | 0.00035498 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3847-9_0_6_load_67 | 28 | 0.0025196 | 0.00063148 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3847-9_0_6_load_54 | 29 | 0.0015215 | 0.00038134 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3847-9_0_6_load_53 | 30 | 0.0011661 | 0.00029225 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3847-9_0_6_load_25 | 32 | 0.00094989 | 0.00023806 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3847-9_0_6_load_20 | 33 | 0.0048667 | 0.0012197 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3847-9_0_6_load_21 | 34 | 0.0032907 | 0.00082474 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3847-9_0_6_load_22 | 35 | 0.0026209 | 0.00065687 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3847-9_0_6_load_24 | 37 | 0.0018061 | 0.00045265 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3847-9_0_6_load_47 | 38 | 0.0012073 | 0.00030257 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3847-9_0_6_load_48 | 40 | 0.002984 | 0.00074787 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3847-9_0_6_load_46 | 42 | 0.0020719 | 0.00051927 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3847-9_0_6_load_40 | 43 | 0.0017146 | 0.00042972 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3847-9_0_6_load_28 | 46 | 0.0026908 | 0.00067438 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3847-9_0_6_load_36 | 48 | 0.001427 | 0.00035765 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3847-9_0_6_load_71 | 49 | 0.00093986 | 0.00023555 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3847-9_0_6_load_50 | 51 | 0.0014388 | 0.00036059 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3847-9_0_6_load_72 | 52 | 0.0015931 | 0.00039926 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3847-9_0_6_load_30 | 53 | 0.0023023 | 0.000577 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3847-9_0_6_load_34 | 55 | 0.0014977 | 0.00037536 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3847-9_0_6_load_35 | 56 | 0.0036513 | 0.0009151 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3847-9_0_6_load_70 | 57 | 0.00095834 | 0.00024018 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3847-9_0_6_load_68 | 58 | 0.0060249 | 0.00151 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3847-9_0_6_load_69 | 59 | 0.0015724 | 0.00039407 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3847-9_0_6_load_51 | 60 | 0.004198 | 0.0010521 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3847-9_0_6_load_38 | 61 | 0.0021994 | 0.00055121 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3847-9_0_6_load_39 | 62 | 0.0027178 | 0.00068116 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3847-9_0_6_load_43 | 64 | 0.002002 | 0.00050174 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3847-9_0_6_load_44 | 65 | 0.002033 | 0.00050951 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3847-9_0_6_load_45 | 66 | 0.0053695 | 0.0013457 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3847-9_0_6_load_78 | 67 | 0.0072972 | 0.0018288 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3847-9_0_6_load_74 | 68 | 0.0033044 | 0.00082816 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3847-9_0_6_load_75 | 69 | 0.0026221 | 0.00065717 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3847-9_0_6_load_55 | 70 | 0.0013886 | 0.00034802 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3847-9_0_6_load_57 | 73 | 0.0013196 | 0.00033071 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3847-9_0_6_load_58 | 74 | 0.00097348 | 0.00024398 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3847-9_0_6_load_59 | 75 | 0.0018119 | 0.00045412 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3847-9_0_6_load_60 | 77 | 0.0021558 | 0.0005403 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3847-9_0_6_load_62 | 78 | 0.0015027 | 0.00037662 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3847-9_0_6_load_63 | 79 | 0.0041841 | 0.0010486 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3847-9_0_6_load_97 | 80 | 0.0032413 | 0.00081234 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3847-9_0_6_load_64 | 81 | 0.0013035 | 0.00032668 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3847-9_0_6_load_98 | 83 | 0.0015654 | 0.00039233 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3847-9_0_6_load_85 | 85 | 0.0046657 | 0.0011693 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3847-9_0_6_load_82 | 86 | 0.0018149 | 0.00045485 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3847-9_0_6_load_79 | 87 | 0.0029876 | 0.00074876 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3847-9_0_6_load_86 | 88 | 0.0051806 | 0.0012984 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3847-9_0_6_load_88 | 90 | 0.002369 | 0.00059373 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3847-9_0_6_load_83 | 91 | 0.0020691 | 0.00051858 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3847-9_0_6_load_87 | 92 | 0.0008516 | 0.00021343 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3847-9_0_6_load_94 | 94 | 0.0037865 | 0.00094897 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3847-9_0_6_load_90 | 95 | 0.0030578 | 0.00076636 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3847-9_0_6_load_92 | 96 | 0.0015758 | 0.00039493 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3847-9_0_6_load_95 | 97 | 0.000936 | 0.00023458 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3847-9_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3847-9_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.042962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3847-9_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.058305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3847-9_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.7344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3847-9_0_6_line_4 | NAYY 4x150 SE | 3 | 10 | 0.0018234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3847-9_0_6_line_5 | NAYY 4x150 SE | 3 | 11 | 0.054638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3847-9_0_6_line_6 | NAYY 4x150 SE | 4 | 5 | 0.016099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3847-9_0_6_line_7 | NAYY 4x150 SE | 5 | 53 | 0.040624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3847-9_0_6_line_8 | NAYY 4x150 SE | 6 | 7 | 0.024272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3847-9_0_6_line_9 | NAYY 4x150 SE | 6 | 8 | 0.023943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3847-9_0_6_line_10 | NAYY 4x150 SE | 6 | 9 | 0.019351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3847-9_0_6_line_11 | NAYY 4x150 SE | 8 | 12 | 0.065334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3847-9_0_6_line_12 | NAYY 4x150 SE | 9 | 10 | 0.010976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3847-9_0_6_line_13 | NAYY 4x150 SE | 13 | 14 | 0.013763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3847-9_0_6_line_14 | NAYY 4x150 SE | 13 | 15 | 0.024059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3847-9_0_6_line_15 | NAYY 4x150 SE | 15 | 16 | 0.061727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3847-9_0_6_line_16 | NAYY 4x150 SE | 15 | 17 | 0.48944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3847-9_0_6_line_17 | NAYY 4x150 SE | 17 | 18 | 0.064824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3847-9_0_6_line_18 | NAYY 4x150 SE | 17 | 19 | 0.029544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3847-9_0_6_line_19 | NAYY 4x150 SE | 18 | 97 | 0.006591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3847-9_0_6_line_20 | NAYY 4x150 SE | 19 | 95 | 0.0016594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3847-9_0_6_line_21 | NAYY 4x150 SE | 20 | 21 | 0.012032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3847-9_0_6_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0041829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3847-9_0_6_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0034156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3847-9_0_6_line_24 | NAYY 4x150 SE | 22 | 24 | 0.026698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3847-9_0_6_line_25 | NAYY 4x150 SE | 23 | 25 | 0.023058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3847-9_0_6_line_26 | NAYY 4x150 SE | 24 | 26 | 0.017278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3847-9_0_6_line_27 | NAYY 4x150 SE | 24 | 27 | 0.011288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_3847-9_0_6_line_28 | NAYY 4x150 SE | 25 | 28 | 0.0054146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3847-9_0_6_line_29 | NAYY 4x150 SE | 26 | 29 | 0.0385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3847-9_0_6_line_30 | NAYY 4x150 SE | 27 | 32 | 0.010368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3847-9_0_6_line_31 | NAYY 4x150 SE | 28 | 58 | 0.027816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3847-9_0_6_line_32 | NAYY 4x150 SE | 29 | 70 | 0.0049666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3847-9_0_6_line_33 | NAYY 4x150 SE | 30 | 31 | 0.04779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3847-9_0_6_line_34 | NAYY 4x150 SE | 31 | 71 | 0.021434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3847-9_0_6_line_35 | NAYY 4x150 SE | 32 | 45 | 0.027103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3847-9_0_6_line_36 | NAYY 4x150 SE | 33 | 34 | 0.015371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3847-9_0_6_line_37 | NAYY 4x150 SE | 33 | 35 | 0.018791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3847-9_0_6_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0087886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3847-9_0_6_line_39 | NAYY 4x150 SE | 35 | 37 | 0.022009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3847-9_0_6_line_40 | NAYY 4x150 SE | 36 | 38 | 0.066387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3847-9_0_6_line_41 | NAYY 4x150 SE | 36 | 39 | 0.009481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3847-9_0_6_line_42 | NAYY 4x150 SE | 37 | 40 | 0.028611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3847-9_0_6_line_43 | NAYY 4x150 SE | 38 | 41 | 0.041345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3847-9_0_6_line_44 | NAYY 4x150 SE | 39 | 42 | 0.029194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3847-9_0_6_line_45 | NAYY 4x150 SE | 39 | 43 | 0.059521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3847-9_0_6_line_46 | NAYY 4x150 SE | 40 | 44 | 0.0011879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3847-9_0_6_line_47 | NAYY 4x150 SE | 41 | 67 | 0.038963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3847-9_0_6_line_48 | NAYY 4x150 SE | 42 | 66 | 0.045675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3847-9_0_6_line_49 | NAYY 4x150 SE | 43 | 61 | 0.017153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3847-9_0_6_line_50 | NAYY 4x150 SE | 44 | 51 | 0.027082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3847-9_0_6_line_51 | NAYY 4x150 SE | 44 | 47 | 0.023049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3847-9_0_6_line_52 | NAYY 4x150 SE | 45 | 46 | 0.012947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3847-9_0_6_line_53 | NAYY 4x150 SE | 45 | 47 | 0.007768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_3847-9_0_6_line_54 | NAYY 4x150 SE | 46 | 48 | 0.0077669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3847-9_0_6_line_55 | NAYY 4x150 SE | 47 | 49 | 0.032508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_3847-9_0_6_line_56 | NAYY 4x150 SE | 48 | 50 | 0.048293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3847-9_0_6_line_57 | NAYY 4x150 SE | 49 | 52 | 0.036908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_3847-9_0_6_line_58 | NAYY 4x150 SE | 50 | 60 | 0.0072515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3847-9_0_6_line_59 | NAYY 4x150 SE | 51 | 68 | 0.013693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3847-9_0_6_line_60 | NAYY 4x150 SE | 52 | 71 | 0.018153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3847-9_0_6_line_61 | NAYY 4x150 SE | 53 | 54 | 0.041186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_3847-9_0_6_line_62 | NAYY 4x150 SE | 54 | 55 | 0.054589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3847-9_0_6_line_63 | NAYY 4x150 SE | 54 | 56 | 0.029886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_3847-9_0_6_line_64 | NAYY 4x150 SE | 55 | 57 | 0.037873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3847-9_0_6_line_65 | NAYY 4x150 SE | 56 | 58 | 0.017227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_3847-9_0_6_line_66 | NAYY 4x150 SE | 57 | 59 | 0.0076371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3847-9_0_6_line_67 | NAYY 4x150 SE | 59 | 82 | 0.016317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3847-9_0_6_line_68 | NAYY 4x150 SE | 61 | 62 | 0.0025729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3847-9_0_6_line_69 | NAYY 4x150 SE | 62 | 63 | 0.041142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3847-9_0_6_line_70 | NAYY 4x150 SE | 63 | 64 | 0.017832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3847-9_0_6_line_71 | NAYY 4x150 SE | 64 | 65 | 0.03984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3847-9_0_6_line_72 | NAYY 4x150 SE | 67 | 87 | 0.029829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3847-9_0_6_line_73 | NAYY 4x150 SE | 68 | 69 | 0.016957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3847-9_0_6_line_74 | NAYY 4x150 SE | 70 | 72 | 0.010558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3847-9_0_6_line_75 | NAYY 4x150 SE | 71 | 84 | 0.033673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3847-9_0_6_line_76 | NAYY 4x150 SE | 72 | 73 | 0.032633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3847-9_0_6_line_77 | NAYY 4x150 SE | 72 | 74 | 0.053194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3847-9_0_6_line_78 | NAYY 4x150 SE | 73 | 75 | 0.030044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3847-9_0_6_line_79 | NAYY 4x150 SE | 74 | 76 | 0.019331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3847-9_0_6_line_80 | NAYY 4x150 SE | 75 | 77 | 0.0092617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3847-9_0_6_line_81 | NAYY 4x150 SE | 76 | 78 | 0.057526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3847-9_0_6_line_82 | NAYY 4x150 SE | 77 | 79 | 0.010556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3847-9_0_6_line_83 | NAYY 4x150 SE | 79 | 80 | 0.0085492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3847-9_0_6_line_84 | NAYY 4x150 SE | 80 | 83 | 0.0014488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3847-9_0_6_line_85 | NAYY 4x150 SE | 81 | 82 | 0.052917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3847-9_0_6_line_86 | NAYY 4x150 SE | 84 | 85 | 0.025463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3847-9_0_6_line_87 | NAYY 4x150 SE | 84 | 86 | 0.0067846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3847-9_0_6_line_88 | NAYY 4x150 SE | 85 | 90 | 0.063281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3847-9_0_6_line_89 | NAYY 4x150 SE | 86 | 91 | 0.0097149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3847-9_0_6_line_90 | NAYY 4x150 SE | 88 | 89 | 0.021132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3847-9_0_6_line_91 | NAYY 4x150 SE | 89 | 92 | 0.031869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3847-9_0_6_line_92 | NAYY 4x150 SE | 89 | 91 | 0.029757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3847-9_0_6_line_93 | NAYY 4x150 SE | 92 | 93 | 0.0032304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3847-9_0_6_line_94 | NAYY 4x150 SE | 93 | 94 | 0.015403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3847-9_0_6_line_95 | NAYY 4x150 SE | 94 | 97 | 0.042232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3847-9_0_6_line_96 | NAYY 4x150 SE | 95 | 96 | 0.0095728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3847-9_0_6_trafo_33 | 0.25 MVA 20/0.4 kV | 98 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2828527.1526 | 1165427.5821 | 2828514.4397 | 1165432.0419
1 | 2828472.927 | 1165443.0848 | 2828512.7054 | 1165432.6503 | 2828514.4397 | 1165432.0419
2 | 2828527.1526 | 1165427.5821 | 2828511.4625 | 1165420.7776 | 2828506.3406 | 1165418.558 | 2828512.1787 | 1165411.2265 | 2828515.4103 | 1165409.9256 | 2828519.4187 | 1165408.9656 | 2828522.6021 | 1165408.931 | 2828531.5501 | 1165411.9636 | 2828537.3745 | 1165413.4534
3 | 2827747.9058 | 1165326.0852 | 2828472.927 | 1165443.0848
4 | 2828537.3745 | 1165413.4534 | 2828539.1979 | 1165413.4416
5 | 2828537.3745 | 1165413.4534 | 2828536.0063 | 1165375.2551 | 2828533.6086 | 1165372.5719 | 2828520.7936 | 1165372.3888
6 | 2827742.0645 | 1165311.0792 | 2827747.9058 | 1165326.0852
7 | 2827742.0645 | 1165311.0792 | 2827733.9469 | 1165308.3796 | 2827715.2164 | 1165306.913 | 2827702.7184 | 1165302.4175
8 | 2828566.0883 | 1165401.6193 | 2828589.8055 | 1165396.1586
9 | 2828566.0883 | 1165401.6193 | 2828573.8325 | 1165378.9629
10 | 2828566.0883 | 1165401.6193 | 2828560.8405 | 1165406.7371 | 2828550.6417 | 1165411.5887 | 2828549.944 | 1165411.7911
11 | 2828573.8325 | 1165378.9629 | 2828581.516 | 1165356.4843 | 2828597.0226 | 1165317.9052
12 | 2828549.944 | 1165411.7911 | 2828544.3693 | 1165413.4081 | 2828539.1979 | 1165413.4416
13 | 2827777.9373 | 1165961.8867 | 2827788.6331 | 1165964.4098 | 2827791.2498 | 1165965.3309
14 | 2827754.4818 | 1165959.221 | 2827763.4977 | 1165962.2662 | 2827775.54 | 1165961.3212 | 2827777.9373 | 1165961.8867
15 | 2827754.4818 | 1165959.221 | 2827749.2843 | 1165971.9395 | 2827749.2611 | 1165979.6257 | 2827753.7855 | 1165987.0838 | 2827754.1652 | 1165989.2008 | 2827753.6022 | 1165995.3535 | 2827754.8516 | 1165997.1809 | 2827757.7921 | 1165997.882 | 2827760.9914 | 1165996.813 | 2827764.1277 | 1165994.173 | 2827767.8184 | 1165992.2772 | 2827774.2081 | 1165992.3972
16 | 2827651.6495 | 1165480.7048 | 2827754.4818 | 1165959.221
17 | 2827651.6495 | 1165480.7048 | 2827631.0164 | 1165477.0527 | 2827611.6222 | 1165476.1174 | 2827595.703 | 1165478.1729 | 2827587.5716 | 1165480.2876
18 | 2827651.6495 | 1165480.7048 | 2827657.0008 | 1165451.6492
19 | 2827587.5716 | 1165480.2876 | 2827581.1929 | 1165481.9465
20 | 2827657.0008 | 1165451.6492 | 2827657.3014 | 1165450.0172
21 | 2827559.5385 | 1165268.1337 | 2827555.0125 | 1165266.6445 | 2827547.9186 | 1165265.0657
22 | 2827543.8356 | 1165264.157 | 2827547.9186 | 1165265.0657
23 | 2827562.783 | 1165269.2013 | 2827559.5385 | 1165268.1337
24 | 2827519.7095 | 1165272.1154 | 2827528.3943 | 1165265.714 | 2827538.7481 | 1165263.0247 | 2827543.8356 | 1165264.157
25 | 2827584.9742 | 1165275.3566 | 2827574.4232 | 1165273.0312 | 2827562.783 | 1165269.2013
26 | 2827519.7095 | 1165272.1154 | 2827519.9723 | 1165254.8396
27 | 2827519.7095 | 1165272.1154 | 2827515.8676 | 1165274.5507 | 2827509.6514 | 1165277.1534
28 | 2827584.9742 | 1165275.3566 | 2827589.784 | 1165276.4166 | 2827590.2699 | 1165276.4754
29 | 2827519.9723 | 1165254.8396 | 2827520.0234 | 1165251.4801 | 2827508.788 | 1165225.012 | 2827507.798 | 1165218.7033
30 | 2827509.6514 | 1165277.1534 | 2827500.0875 | 1165281.1578
31 | 2827590.2699 | 1165276.4754 | 2827617.8848 | 1165279.8166
32 | 2827507.798 | 1165218.7033 | 2827507.355 | 1165215.8801 | 2827506.965 | 1165213.8077
33 | 2827530.7813 | 1165362.8103 | 2827534.5855 | 1165354.8891 | 2827538.9997 | 1165346.8576 | 2827541.3467 | 1165339.1482 | 2827540.0957 | 1165328.8551 | 2827531.012 | 1165321.9491
34 | 2827509.9476 | 1165368.0839 | 2827530.7813 | 1165362.8103
35 | 2827474.7586 | 1165290.7929 | 2827494.9867 | 1165283.2935 | 2827500.0875 | 1165281.1578
36 | 2827360.7734 | 1165315.8031 | 2827363.4754 | 1165314.7021 | 2827375.5729 | 1165311.7464
37 | 2827394.0737 | 1165308.468 | 2827376.4852 | 1165311.5235 | 2827375.5729 | 1165311.7464
38 | 2827352.6346 | 1165319.1197 | 2827360.7734 | 1165315.8031
39 | 2827394.0737 | 1165308.468 | 2827400.2507 | 1165307.3949 | 2827415.7056 | 1165304.4135
40 | 2827352.6346 | 1165319.1197 | 2827367.7497 | 1165383.7631
41 | 2827352.6346 | 1165319.1197 | 2827343.8553 | 1165322.7589
42 | 2827415.7056 | 1165304.4135 | 2827426.2813 | 1165302.3733 | 2827443.8354 | 1165299.1893
43 | 2827378.3261 | 1165423.7171 | 2827372.0498 | 1165402.1538 | 2827367.7497 | 1165383.7631
44 | 2827343.8553 | 1165322.7589 | 2827342.0077 | 1165317.4827 | 2827339.5913 | 1165312.0403 | 2827333.208 | 1165306.8706 | 2827323.8129 | 1165306.0119
45 | 2827343.8553 | 1165322.7589 | 2827336.3727 | 1165325.7685 | 2827327.1461 | 1165333.7293 | 2827300.3287 | 1165362.4155
46 | 2827445.0043 | 1165298.9773 | 2827443.8354 | 1165299.1893
47 | 2827378.3261 | 1165423.7171 | 2827414.8488 | 1165410.1455
48 | 2827279.3101 | 1165314.9389 | 2827284.836 | 1165313.2498 | 2827318.04 | 1165305.4844 | 2827323.8129 | 1165306.0119
49 | 2827285.6402 | 1165370.8648 | 2827297.7862 | 1165365.1351 | 2827300.3287 | 1165362.4155
50 | 2827445.0043 | 1165298.9773 | 2827450.3438 | 1165325.5277
51 | 2827445.0043 | 1165298.9773 | 2827467.4561 | 1165293.4977
52 | 2827474.7586 | 1165290.7929 | 2827473.6918 | 1165277.8902
53 | 2827467.4561 | 1165293.4977 | 2827474.7586 | 1165290.7929
54 | 2827473.6918 | 1165277.8902 | 2827473.0518 | 1165270.1497
55 | 2827467.4561 | 1165293.4977 | 2827484.5258 | 1165312.4996 | 2827489.4678 | 1165317.4075
56 | 2827443.8983 | 1165250.833 | 2827469.5154 | 1165248.0319 | 2827471.8347 | 1165255.4285 | 2827473.0518 | 1165270.1497
57 | 2827489.4678 | 1165317.4075 | 2827491.5018 | 1165319.4274 | 2827497.6526 | 1165330.7293 | 2827502.9337 | 1165346.3702 | 2827504.3678 | 1165350.81
58 | 2827443.8983 | 1165250.833 | 2827443.8021 | 1165243.5822
59 | 2827453.0436 | 1165338.952 | 2827450.3438 | 1165325.5277
60 | 2827509.9476 | 1165368.0839 | 2827504.3678 | 1165350.81
61 | 2827663.906 | 1165288.6371 | 2827691.017 | 1165298.2084 | 2827702.7184 | 1165302.4175
62 | 2827663.906 | 1165288.6371 | 2827670.3591 | 1165281.4394 | 2827676.0202 | 1165278.7505 | 2827682.278 | 1165277.9197 | 2827713.112 | 1165279.7005 | 2827714.5511 | 1165279.4725
63 | 2827663.906 | 1165288.6371 | 2827650.2972 | 1165283.7382 | 2827634.9867 | 1165281.8858
64 | 2827738.5424 | 1165257.2554 | 2827738.5449 | 1165258.9052 | 2827737.7212 | 1165267.2841 | 2827734.3093 | 1165273.1397 | 2827725.5781 | 1165277.7257 | 2827714.5511 | 1165279.4725
65 | 2827634.9867 | 1165281.8858 | 2827617.8848 | 1165279.8166
66 | 2827738.5306 | 1165249.6183 | 2827738.5424 | 1165257.2554
67 | 2827736.0663 | 1165234.0813 | 2827738.5599 | 1165237.6801 | 2827738.5269 | 1165247.246 | 2827738.5306 | 1165249.6183
68 | 2827285.6402 | 1165370.8648 | 2827283.3132 | 1165371.9625
69 | 2827244.4259 | 1165385.2203 | 2827276.5666 | 1165375.1451 | 2827283.3132 | 1165371.9625
70 | 2827244.4259 | 1165385.2203 | 2827248.0562 | 1165402.6794
71 | 2827248.0562 | 1165402.6794 | 2827250.4785 | 1165414.3286 | 2827275.3295 | 1165427.1017
72 | 2827443.2812 | 1165401.1677 | 2827422.041 | 1165407.4729 | 2827414.8488 | 1165410.1455
73 | 2827456.3869 | 1165355.576 | 2827453.0436 | 1165338.952
74 | 2827505.0124 | 1165203.4321 | 2827506.965 | 1165213.8077
75 | 2827509.9476 | 1165368.0839 | 2827511.3376 | 1165375.9238 | 2827514.0781 | 1165391.2237 | 2827515.1368 | 1165401.3315
76 | 2827505.0124 | 1165203.4321 | 2827484.5191 | 1165188.7725 | 2827477.8816 | 1165185.4192
77 | 2827505.0124 | 1165203.4321 | 2827508.9007 | 1165194.1013 | 2827511.5947 | 1165188.1627 | 2827513.5835 | 1165184.4446 | 2827517.9384 | 1165180.816 | 2827521.5762 | 1165179.719 | 2827526.749 | 1165178.9916 | 2827533.1893 | 1165177.1887 | 2827539.2588 | 1165174.4484 | 2827542.3088 | 1165171.4052
78 | 2827477.8816 | 1165185.4192 | 2827473.188 | 1165183.048 | 2827465.7062 | 1165173.4757 | 2827461.0811 | 1165161.7168
79 | 2827557.9434 | 1165164.3877 | 2827553.9696 | 1165163.425 | 2827550.2792 | 1165163.0739 | 2827547.3794 | 1165166.3459 | 2827542.3088 | 1165171.4052
80 | 2827461.0811 | 1165161.7168 | 2827460.8869 | 1165161.2231 | 2827457.2676 | 1165153.2774
81 | 2827557.9434 | 1165164.3877 | 2827564.8166 | 1165170.3883 | 2827572.5695 | 1165177.4569 | 2827579.9249 | 1165184.0877 | 2827588.6693 | 1165192.1061 | 2827599.3388 | 1165200.9205 | 2827601.2688 | 1165202.1789
82 | 2827450.5341 | 1165146.2146 | 2827454.7561 | 1165147.7639 | 2827457.2676 | 1165153.2774
83 | 2827450.5341 | 1165146.2146 | 2827442.5082 | 1165143.2696
84 | 2827442.5082 | 1165143.2696 | 2827441.148 | 1165142.7705
85 | 2827736.0663 | 1165234.0813 | 2827725.612 | 1165232.5391 | 2827711.834 | 1165231.2937 | 2827691.0724 | 1165229.5944 | 2827683.4347 | 1165228.7499
86 | 2827515.1368 | 1165401.3315 | 2827540.2373 | 1165397.0507
87 | 2827515.1368 | 1165401.3315 | 2827515.8439 | 1165408.0792
88 | 2827540.2373 | 1165397.0507 | 2827547.481 | 1165395.8153 | 2827563.1397 | 1165394.9735 | 2827578.0848 | 1165396.7746 | 2827597.2324 | 1165401.594 | 2827602.5675 | 1165402.7246
89 | 2827515.8439 | 1165408.0792 | 2827516.8563 | 1165417.7411
90 | 2827519.9576 | 1165447.336 | 2827498.953 | 1165449.6489
91 | 2827519.9576 | 1165447.336 | 2827523.5198 | 1165479.0053
92 | 2827519.9576 | 1165447.336 | 2827516.8563 | 1165417.7411
93 | 2827523.8809 | 1165482.2154 | 2827523.5198 | 1165479.0053
94 | 2827523.8809 | 1165482.2154 | 2827531.759 | 1165483.3371 | 2827539.1693 | 1165484.0586
95 | 2827539.1693 | 1165484.0586 | 2827540.361 | 1165484.1747 | 2827550.6285 | 1165484.5637 | 2827565.9689 | 1165484.2216 | 2827578.1553 | 1165482.7365 | 2827581.1929 | 1165481.9465
96 | 2827659.0353 | 1165440.6027 | 2827657.3014 | 1165450.0172

## bus_geodata
| x | y | coords
0 | 2828514.4397 | 1165432.0419
1 | 2828527.1526 | 1165427.5821
2 | 2828472.927 | 1165443.0848
3 | 2828537.3745 | 1165413.4534
4 | 2827747.9058 | 1165326.0852
5 | 2827742.0645 | 1165311.0792
6 | 2828566.0883 | 1165401.6193
7 | 2828589.8055 | 1165396.1586
8 | 2828573.8325 | 1165378.9629
9 | 2828549.944 | 1165411.7911
10 | 2828539.1979 | 1165413.4416
11 | 2828520.7936 | 1165372.3888
12 | 2828597.0226 | 1165317.9052
13 | 2827777.9373 | 1165961.8867
14 | 2827791.2498 | 1165965.3309
15 | 2827754.4818 | 1165959.221
16 | 2827774.2081 | 1165992.3972
17 | 2827651.6495 | 1165480.7048
18 | 2827587.5717 | 1165480.2876
19 | 2827657.0008 | 1165451.6492
20 | 2827547.9186 | 1165265.0657
21 | 2827559.5385 | 1165268.1337
22 | 2827543.8356 | 1165264.157
23 | 2827562.783 | 1165269.2013
24 | 2827519.7095 | 1165272.1154
25 | 2827584.9742 | 1165275.3566
26 | 2827519.9723 | 1165254.8396
27 | 2827509.6514 | 1165277.1534
28 | 2827590.2699 | 1165276.4754
29 | 2827507.798 | 1165218.7033
30 | 2827531.012 | 1165321.9491
31 | 2827530.7813 | 1165362.8103
32 | 2827500.0875 | 1165281.1578
33 | 2827375.5729 | 1165311.7464
34 | 2827360.7734 | 1165315.8031
35 | 2827394.0737 | 1165308.468
36 | 2827352.6346 | 1165319.1197
37 | 2827415.7056 | 1165304.4135
38 | 2827367.7497 | 1165383.7631
39 | 2827343.8553 | 1165322.7589
40 | 2827443.8354 | 1165299.1893
41 | 2827378.3261 | 1165423.7171
42 | 2827323.8129 | 1165306.0119
43 | 2827300.3287 | 1165362.4155
44 | 2827445.0043 | 1165298.9773
45 | 2827474.7586 | 1165290.7929
46 | 2827473.6918 | 1165277.8902
47 | 2827467.4561 | 1165293.4977
48 | 2827473.0518 | 1165270.1497
49 | 2827489.4678 | 1165317.4075
50 | 2827443.8983 | 1165250.833
51 | 2827450.3439 | 1165325.5277
52 | 2827504.3678 | 1165350.81
53 | 2827702.7184 | 1165302.4175
54 | 2827663.906 | 1165288.6371
55 | 2827714.5511 | 1165279.4725
56 | 2827634.9867 | 1165281.8858
57 | 2827738.5424 | 1165257.2554
58 | 2827617.8848 | 1165279.8166
59 | 2827738.5306 | 1165249.6183
60 | 2827443.8021 | 1165243.5822
61 | 2827285.6402 | 1165370.8648
62 | 2827283.3132 | 1165371.9625
63 | 2827244.4259 | 1165385.2203
64 | 2827248.0562 | 1165402.6794
65 | 2827275.3295 | 1165427.1017
66 | 2827279.3101 | 1165314.9389
67 | 2827414.8488 | 1165410.1455
68 | 2827453.0436 | 1165338.952
69 | 2827456.3869 | 1165355.576
70 | 2827506.965 | 1165213.8077
71 | 2827509.9476 | 1165368.084
72 | 2827505.0124 | 1165203.4321
73 | 2827477.8816 | 1165185.4192
74 | 2827542.3088 | 1165171.4052
75 | 2827461.0811 | 1165161.7169
76 | 2827557.9434 | 1165164.3877
77 | 2827457.2676 | 1165153.2774
78 | 2827601.2688 | 1165202.1789
79 | 2827450.5341 | 1165146.2146
80 | 2827442.5082 | 1165143.2696
81 | 2827683.4347 | 1165228.7499
82 | 2827736.0663 | 1165234.0813
83 | 2827441.148 | 1165142.7705
84 | 2827515.1368 | 1165401.3315
85 | 2827540.2373 | 1165397.0507
86 | 2827515.8439 | 1165408.0792
87 | 2827443.2812 | 1165401.1677
88 | 2827498.953 | 1165449.6489
89 | 2827519.9576 | 1165447.336
90 | 2827602.5675 | 1165402.7246
91 | 2827516.8563 | 1165417.7411
92 | 2827523.5198 | 1165479.0053
93 | 2827523.8809 | 1165482.2154
94 | 2827539.1693 | 1165484.0586
95 | 2827657.3014 | 1165450.0172
96 | 2827659.0353 | 1165440.6027
97 | 2827581.1929 | 1165481.9465
98 | 2827742.0645 | 1165311.0792

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1