## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3863-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3863-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3863-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3863-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3863-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3863-4_0_4_node_71 | 0.4 | n |  | TRUE
6 | bus_LV_3863-4_0_4_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_3863-4_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3863-4_0_4_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_3863-4_0_4_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_3863-4_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3863-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3863-4_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3863-4_0_4_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_3863-4_0_4_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_3863-4_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_3863-4_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3863-4_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3863-4_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3863-4_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3863-4_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3863-4_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3863-4_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3863-4_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3863-4_0_4_node_91 | 0.4 | n |  | TRUE
25 | bus_LV_3863-4_0_4_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_3863-4_0_4_node_92 | 0.4 | n |  | TRUE
27 | bus_LV_3863-4_0_4_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_3863-4_0_4_node_88 | 0.4 | n |  | TRUE
29 | bus_LV_3863-4_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3863-4_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_3863-4_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3863-4_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3863-4_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3863-4_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_3863-4_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_3863-4_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_3863-4_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3863-4_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_3863-4_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3863-4_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_3863-4_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_3863-4_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_3863-4_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_3863-4_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_3863-4_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_3863-4_0_4_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_3863-4_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3863-4_0_4_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_3863-4_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3863-4_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_3863-4_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_3863-4_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_3863-4_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3863-4_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_3863-4_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_3863-4_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_3863-4_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_3863-4_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_3863-4_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_3863-4_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_3863-4_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_3863-4_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_3863-4_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_3863-4_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_3863-4_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_3863-4_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_3863-4_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_3863-4_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_3863-4_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_3863-4_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_3863-4_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_3863-4_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_3863-4_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_3863-4_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_3863-4_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_3863-4_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_3863-4_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_3863-4_0_4_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_3863-4_0_4_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_3863-4_0_4_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_3863-4_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_3863-4_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_3863-4_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_3863-4_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_3863-4_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_3863-4_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3863-4_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3863-4_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_3863-4_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_3863-4_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_3863-4_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_3863-4_0_4_node_87 | 0.4 | n |  | TRUE
93 | bus_MV_176_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3863-4_0_4_load_0 | 0 | 0.0056811 | 0.0014238 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3863-4_0_4_load_1 | 1 | 0.0024651 | 0.00061781 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3863-4_0_4_load_4 | 4 | 0.01578 | 0.0039549 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3863-4_0_4_load_71 | 5 | 0.001568 | 0.00039297 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3863-4_0_4_load_70 | 6 | 0.0032263 | 0.00080858 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3863-4_0_4_load_5 | 7 | 0.007432 | 0.0018626 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3863-4_0_4_load_72 | 8 | 0.0027508 | 0.00068941 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3863-4_0_4_load_69 | 9 | 0.0023785 | 0.00059612 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3863-4_0_4_load_6 | 10 | 0.0026691 | 0.00066893 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3863-4_0_4_load_7 | 11 | 0.0029041 | 0.00072784 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3863-4_0_4_load_8 | 12 | 0.0040834 | 0.0010234 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3863-4_0_4_load_77 | 14 | 0.0018531 | 0.00046442 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3863-4_0_4_load_15 | 15 | 0.0061296 | 0.0015362 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3863-4_0_4_load_9 | 16 | 0.0017004 | 0.00042617 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3863-4_0_4_load_10 | 17 | 0.0032771 | 0.00082131 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3863-4_0_4_load_11 | 18 | 0.0036948 | 0.000926 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3863-4_0_4_load_12 | 19 | 0.0021781 | 0.00054588 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3863-4_0_4_load_13 | 20 | 0.0014147 | 0.00035455 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3863-4_0_4_load_16 | 22 | 0.002374 | 0.00059499 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3863-4_0_4_load_17 | 23 | 0.00095877 | 0.00024029 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3863-4_0_4_load_91 | 24 | 0.0012264 | 0.00030736 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3863-4_0_4_load_92 | 26 | 0.0011211 | 0.00028098 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3863-4_0_4_load_90 | 27 | 0.0019218 | 0.00048164 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3863-4_0_4_load_88 | 28 | 0.0038516 | 0.0009653 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3863-4_0_4_load_18 | 29 | 0.00059303 | 0.00014863 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3863-4_0_4_load_19 | 30 | 0.00024834 | 6.2241e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3863-4_0_4_load_21 | 32 | 0.00078966 | 0.00019791 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3863-4_0_4_load_22 | 33 | 0.0019198 | 0.00048115 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3863-4_0_4_load_23 | 35 | 0.00081016 | 0.00020305 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3863-4_0_4_load_25 | 37 | 0.0003584 | 8.9823e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3863-4_0_4_load_32 | 39 | 0.00087141 | 0.00021839 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3863-4_0_4_load_31 | 40 | 0.0013318 | 0.00033378 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3863-4_0_4_load_29 | 43 | 0.001534 | 0.00038446 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3863-4_0_4_load_43 | 44 | 0.0016949 | 0.00042479 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3863-4_0_4_load_42 | 45 | 0.0011024 | 0.00027629 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3863-4_0_4_load_75 | 46 | 0.0026086 | 0.00065379 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3863-4_0_4_load_41 | 47 | 0.0012501 | 0.00031331 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3863-4_0_4_load_74 | 48 | 0.0050868 | 0.0012749 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3863-4_0_4_load_33 | 49 | 0.0029944 | 0.00075047 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3863-4_0_4_load_34 | 50 | 0.003341 | 0.00083733 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3863-4_0_4_load_37 | 53 | 0.0035254 | 0.00088354 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3863-4_0_4_load_39 | 55 | 0.0027176 | 0.0006811 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3863-4_0_4_load_40 | 56 | 0.0024763 | 0.00062061 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3863-4_0_4_load_44 | 57 | 0.0033593 | 0.00084192 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3863-4_0_4_load_45 | 58 | 0.002816 | 0.00070576 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3863-4_0_4_load_47 | 60 | 0.0024033 | 0.00060233 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3863-4_0_4_load_48 | 61 | 0.0020926 | 0.00052445 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3863-4_0_4_load_54 | 62 | 0.0019309 | 0.00048392 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3863-4_0_4_load_62 | 63 | 0.0054482 | 0.0013654 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3863-4_0_4_load_55 | 64 | 0.0013715 | 0.00034374 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3863-4_0_4_load_52 | 65 | 0.0029624 | 0.00074244 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3863-4_0_4_load_49 | 66 | 0.0046161 | 0.0011569 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3863-4_0_4_load_50 | 67 | 0.0029737 | 0.00074528 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3863-4_0_4_load_53 | 69 | 0.0042888 | 0.0010749 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3863-4_0_4_load_63 | 70 | 0.002594 | 0.00065012 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3863-4_0_4_load_56 | 72 | 0.0011177 | 0.00028013 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3863-4_0_4_load_61 | 74 | 0.0027534 | 0.00069006 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3863-4_0_4_load_57 | 75 | 0.0039715 | 0.00099535 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3863-4_0_4_load_58 | 76 | 0.005324 | 0.0013343 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3863-4_0_4_load_60 | 77 | 0.0022333 | 0.00055972 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3863-4_0_4_load_66 | 78 | 0.0019508 | 0.00048892 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3863-4_0_4_load_67 | 79 | 0.0010452 | 0.00026195 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3863-4_0_4_load_65 | 80 | 0.0028274 | 0.00070862 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3863-4_0_4_load_68 | 81 | 0.0025563 | 0.00064066 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3863-4_0_4_load_73 | 82 | 0.0046897 | 0.0011754 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3863-4_0_4_load_78 | 83 | 0.0021666 | 0.000543 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3863-4_0_4_load_79 | 84 | 0.0017678 | 0.00044305 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3863-4_0_4_load_80 | 85 | 0.0010214 | 0.00025598 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3863-4_0_4_load_81 | 86 | 0.003333 | 0.00083532 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3863-4_0_4_load_82 | 87 | 0.00068978 | 0.00017288 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3863-4_0_4_load_83 | 88 | 0.0025286 | 0.00063373 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3863-4_0_4_load_84 | 89 | 0.0013855 | 0.00034723 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3863-4_0_4_load_85 | 90 | 0.0019807 | 0.0004964 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3863-4_0_4_load_86 | 91 | 0.0012316 | 0.00030867 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3863-4_0_4_load_87 | 92 | 0.0015566 | 0.00039011 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3863-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.051372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3863-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3863-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3863-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.030052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3863-4_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0039125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3863-4_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.027266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3863-4_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.044898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3863-4_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.010165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3863-4_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.019861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3863-4_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.015407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3863-4_0_4_line_10 | NAYY 4x150 SE | 8 | 82 | 0.023546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3863-4_0_4_line_11 | NAYY 4x150 SE | 9 | 81 | 0.018748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3863-4_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.025867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3863-4_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.050047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3863-4_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0067936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3863-4_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.024128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3863-4_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.020497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3863-4_0_4_line_17 | NAYY 4x150 SE | 14 | 18 | 0.019079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3863-4_0_4_line_18 | NAYY 4x150 SE | 15 | 20 | 0.033571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3863-4_0_4_line_19 | NAYY 4x150 SE | 16 | 17 | 0.0893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3863-4_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0044205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3863-4_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.038793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3863-4_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.016577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3863-4_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0079842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3863-4_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3863-4_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.01937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3863-4_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0061489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3863-4_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.012476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3863-4_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.018276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3863-4_0_4_line_29 | NAYY 4x150 SE | 25 | 28 | 0.022532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3863-4_0_4_line_30 | NAYY 4x150 SE | 28 | 92 | 0.0020226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3863-4_0_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.056355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3863-4_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.039604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3863-4_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.023605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3863-4_0_4_line_34 | NAYY 4x150 SE | 31 | 33 | 0.049706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3863-4_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.071816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3863-4_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.017666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3863-4_0_4_line_37 | NAYY 4x150 SE | 33 | 36 | 0.030515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3863-4_0_4_line_38 | NAYY 4x150 SE | 34 | 42 | 0.05737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3863-4_0_4_line_39 | NAYY 4x150 SE | 34 | 43 | 0.046444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3863-4_0_4_line_40 | NAYY 4x150 SE | 35 | 37 | 0.0070038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3863-4_0_4_line_41 | NAYY 4x150 SE | 36 | 41 | 0.084591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3863-4_0_4_line_42 | NAYY 4x150 SE | 37 | 38 | 0.042018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3863-4_0_4_line_43 | NAYY 4x150 SE | 38 | 39 | 0.051355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3863-4_0_4_line_44 | NAYY 4x150 SE | 40 | 41 | 0.032803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3863-4_0_4_line_45 | NAYY 4x150 SE | 42 | 44 | 0.014571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3863-4_0_4_line_46 | NAYY 4x150 SE | 42 | 45 | 0.063898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3863-4_0_4_line_47 | NAYY 4x150 SE | 43 | 46 | 0.011159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3863-4_0_4_line_48 | NAYY 4x150 SE | 45 | 47 | 0.013417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3863-4_0_4_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0075055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3863-4_0_4_line_50 | NAYY 4x150 SE | 47 | 56 | 0.01389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3863-4_0_4_line_51 | NAYY 4x150 SE | 48 | 82 | 0.020953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3863-4_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.004928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3863-4_0_4_line_53 | NAYY 4x150 SE | 49 | 51 | 0.034254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3863-4_0_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.036924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3863-4_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.018474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3863-4_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.042195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3863-4_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.015249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3863-4_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.021142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3863-4_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0049534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3863-4_0_4_line_60 | NAYY 4x150 SE | 57 | 59 | 0.043835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3863-4_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.018302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3863-4_0_4_line_62 | NAYY 4x150 SE | 59 | 61 | 0.016826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3863-4_0_4_line_63 | NAYY 4x150 SE | 60 | 62 | 0.015059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3863-4_0_4_line_64 | NAYY 4x150 SE | 61 | 63 | 0.0020714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3863-4_0_4_line_65 | NAYY 4x150 SE | 62 | 64 | 0.0056162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3863-4_0_4_line_66 | NAYY 4x150 SE | 63 | 65 | 0.025406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3863-4_0_4_line_67 | NAYY 4x150 SE | 64 | 72 | 0.015209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_3863-4_0_4_line_68 | NAYY 4x150 SE | 65 | 68 | 0.0023618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3863-4_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.011466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3863-4_0_4_line_70 | NAYY 4x150 SE | 66 | 68 | 0.03124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3863-4_0_4_line_71 | NAYY 4x150 SE | 68 | 69 | 0.020487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3863-4_0_4_line_72 | NAYY 4x150 SE | 69 | 70 | 0.017069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3863-4_0_4_line_73 | NAYY 4x150 SE | 70 | 71 | 0.015196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3863-4_0_4_line_74 | NAYY 4x150 SE | 71 | 80 | 0.083961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3863-4_0_4_line_75 | NAYY 4x150 SE | 72 | 73 | 0.00084282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_3863-4_0_4_line_76 | NAYY 4x150 SE | 73 | 74 | 0.085624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3863-4_0_4_line_77 | NAYY 4x150 SE | 73 | 75 | 0.010601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_3863-4_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0046865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_3863-4_0_4_line_79 | NAYY 4x150 SE | 76 | 77 | 0.010121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_3863-4_0_4_line_80 | NAYY 4x150 SE | 77 | 78 | 0.016563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_3863-4_0_4_line_81 | NAYY 4x150 SE | 78 | 79 | 0.0044627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_3863-4_0_4_line_82 | NAYY 4x150 SE | 79 | 81 | 0.0033689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_3863-4_0_4_line_83 | NAYY 4x150 SE | 83 | 84 | 0.016007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3863-4_0_4_line_84 | NAYY 4x150 SE | 83 | 85 | 0.014884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3863-4_0_4_line_85 | NAYY 4x150 SE | 84 | 86 | 0.0038813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3863-4_0_4_line_86 | NAYY 4x150 SE | 85 | 87 | 0.014895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3863-4_0_4_line_87 | NAYY 4x150 SE | 87 | 88 | 0.018718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3863-4_0_4_line_88 | NAYY 4x150 SE | 88 | 89 | 0.014413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3863-4_0_4_line_89 | NAYY 4x150 SE | 89 | 90 | 0.0092866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3863-4_0_4_line_90 | NAYY 4x150 SE | 90 | 91 | 0.0017389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3863-4_0_4_line_91 | NAYY 4x150 SE | 91 | 92 | 0.020099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3863-4_0_4_trafo_55 | 0.25 MVA 20/0.4 kV | 93 | 64 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2772819.2366 | 1201292.9437 | 2772820.7034 | 1201286.5539 | 2772828.8683 | 1201248.9542 | 2772830.1242 | 1201242.7394
1 | 2772812.0302 | 1201315.6641 | 2772817.2516 | 1201301.5906 | 2772819.2366 | 1201292.9437
2 | 2772833.536 | 1201225.8561 | 2772830.1242 | 1201242.7394
3 | 2772812.0302 | 1201315.6641 | 2772800.6038 | 1201314.8885 | 2772782.0274 | 1201315.8047
4 | 2772833.536 | 1201225.8561 | 2772834.3738 | 1201222.0343
5 | 2772833.536 | 1201225.8561 | 2772808.0181 | 1201216.2491
6 | 2772782.0274 | 1201315.8047 | 2772777.582 | 1201316.024 | 2772754.8412 | 1201312.9748 | 2772738.8681 | 1201305.8186
7 | 2772836.6226 | 1201212.1226 | 2772836.2567 | 1201213.4451 | 2772834.3738 | 1201222.0343
8 | 2772808.0181 | 1201216.2491 | 2772789.4312 | 1201209.2515
9 | 2772724.8073 | 1201299.5192 | 2772738.8681 | 1201305.8186
10 | 2772836.6226 | 1201212.1226 | 2772840.0937 | 1201199.5762 | 2772843.5638 | 1201189.6366
11 | 2772771.8857 | 1201202.646 | 2772789.4312 | 1201209.2515
12 | 2772724.8073 | 1201299.5192 | 2772701.2015 | 1201288.9435
13 | 2772701.2015 | 1201288.9435 | 2772697.8107 | 1201287.4243 | 2772653.2716 | 1201274.6617
14 | 2772646.7408 | 1201272.7903 | 2772653.2716 | 1201274.6617
15 | 2772646.7408 | 1201272.7903 | 2772649.8636 | 1201280.9661 | 2772657.7286 | 1201286.0982 | 2772660.425 | 1201291.4407
16 | 2772646.7408 | 1201272.7903 | 2772626.7573 | 1201268.2291
17 | 2772660.425 | 1201291.4407 | 2772668.2328 | 1201306.9104 | 2772668.726 | 1201308.5903
18 | 2772594.3987 | 1201259.4186 | 2772609.0249 | 1201264.1816 | 2772626.7573 | 1201268.2291
19 | 2772639.6061 | 1201392.0229 | 2772671.1244 | 1201345.464 | 2772672.642 | 1201336.9776 | 2772672.0466 | 1201319.8997 | 2772669.9714 | 1201312.8318
20 | 2772668.726 | 1201308.5903 | 2772669.9714 | 1201312.8318
21 | 2772557.5119 | 1201247.4066 | 2772594.3987 | 1201259.4186
22 | 2772541.7494 | 1201242.2736 | 2772557.5119 | 1201247.4066
23 | 2772541.7494 | 1201242.2736 | 2772535.3138 | 1201237.548
24 | 2772541.7494 | 1201242.2736 | 2772542.0826 | 1201249.4567 | 2772544.3082 | 1201253.6063
25 | 2772535.3138 | 1201237.548 | 2772519.7006 | 1201226.0836
26 | 2772547.2144 | 1201259.0251 | 2772544.3082 | 1201253.6063
27 | 2772509.6445 | 1201218.6996 | 2772519.7006 | 1201226.0836
28 | 2772547.2144 | 1201259.0251 | 2772540.1072 | 1201264.5696 | 2772531.6281 | 1201268.295
29 | 2772547.2144 | 1201259.0251 | 2772554.0743 | 1201276.2729 | 2772556.7008 | 1201279.2501
30 | 2772558.0388 | 1201280.7669 | 2772556.7008 | 1201279.2501
31 | 2772851.6682 | 1200933.6911 | 2772870.2448 | 1200986.8964
32 | 2772893.0963 | 1201015.1559 | 2772883.0744 | 1201011.8962 | 2772879.6671 | 1201010.1293 | 2772877.1821 | 1201006.7653 | 2772870.2448 | 1200986.8964
33 | 2772893.0963 | 1201015.1559 | 2772887.0739 | 1201037.9795
34 | 2772893.0963 | 1201015.1559 | 2772938.1052 | 1201036.2492
35 | 2772868.9417 | 1201107.4673 | 2772873.679 | 1201088.553 | 2772884.9503 | 1201046.0274 | 2772887.0739 | 1201037.9795
36 | 2772943.3509 | 1201019.3795 | 2772938.1052 | 1201036.2492
37 | 2772929.0442 | 1201065.3882 | 2772938.1052 | 1201036.2492
38 | 2772816.3611 | 1201088.662 | 2772819.5685 | 1201092.8588 | 2772823.4055 | 1201096.095 | 2772827.2896 | 1201098.2316 | 2772833.4876 | 1201100.691 | 2772840.0447 | 1201102.3266 | 2772847.9456 | 1201103.8566 | 2772868.9417 | 1201107.4673
39 | 2772868.9417 | 1201107.4673 | 2772865.9932 | 1201119.0597 | 2772861.4229 | 1201136.9446 | 2772859.7144 | 1201142.5449 | 2772856.4253 | 1201152.1657
40 | 2772943.3509 | 1201019.3795 | 2772945.4305 | 1201012.6916
41 | 2772929.0442 | 1201065.3882 | 2772965.9953 | 1201071.2409 | 2772995.7442 | 1201075.6395 | 2773006.5102 | 1201077.3973 | 2773012.8815 | 1201078.3493
42 | 2772957.9071 | 1200972.5684 | 2772945.4305 | 1201012.6916
43 | 2772957.9071 | 1200972.5684 | 2773008.2058 | 1200982.9301
44 | 2773012.8815 | 1201078.3493 | 2773015.847 | 1201059.6062 | 2773018.831 | 1201046.1053
45 | 2772816.3611 | 1201088.662 | 2772814.3972 | 1201084.4012 | 2772813.2806 | 1201079.5532 | 2772813.2519 | 1201075.2816 | 2772813.3509 | 1201074.6566
46 | 2772816.3611 | 1201088.662 | 2772803.5197 | 1201097.0209 | 2772798.3322 | 1201099.6512 | 2772793.9571 | 1201100.7924 | 2772788.6003 | 1201101.1156 | 2772783.2701 | 1201100.5165 | 2772756.326 | 1201094.9762
47 | 2772852.8155 | 1201162.7246 | 2772856.4253 | 1201152.1657
48 | 2772743.1838 | 1201092.2738 | 2772756.326 | 1201094.9762
49 | 2772850.3876 | 1201169.8265 | 2772852.8155 | 1201162.7246
50 | 2772729.5785 | 1201089.4763 | 2772743.1838 | 1201092.2738
51 | 2772843.5638 | 1201189.6366 | 2772846.0326 | 1201182.5651 | 2772850.3876 | 1201169.8265
52 | 2772694.9207 | 1201044.187 | 2772690.0413 | 1201043.4963
53 | 2772656.279 | 1201037.7756 | 2772674.9756 | 1201041.3636 | 2772690.0413 | 1201043.4963
54 | 2772656.279 | 1201037.7756 | 2772649.2436 | 1201074.0179
55 | 2772649.2436 | 1201074.0179 | 2772667.4001 | 1201077.4284
56 | 2772708.87 | 1201085.2181 | 2772667.4001 | 1201077.4284
57 | 2772708.87 | 1201085.2181 | 2772710.8498 | 1201070.098
58 | 2772708.87 | 1201085.2181 | 2772729.5785 | 1201089.4763
59 | 2772691.4294 | 1201125.6809 | 2772693.4276 | 1201121.1485
60 | 2772673.7461 | 1201165.7909 | 2772691.4294 | 1201125.6809
61 | 2772673.7461 | 1201165.7909 | 2772690.8841 | 1201172.2123
62 | 2772673.7461 | 1201165.7909 | 2772657.989 | 1201159.8895
63 | 2772690.8841 | 1201172.2123 | 2772704.9854 | 1201177.4959
64 | 2772656.0491 | 1201159.163 | 2772657.989 | 1201159.8895
65 | 2772704.9854 | 1201177.4959 | 2772710.2446 | 1201179.4664
66 | 2772656.0491 | 1201159.163 | 2772632.2574 | 1201150.2524
67 | 2772724.4866 | 1201184.8027 | 2772710.2446 | 1201179.4664
68 | 2772630.0456 | 1201149.424 | 2772632.2574 | 1201150.2524
69 | 2772643.2503 | 1201121.1118 | 2772632.5278 | 1201117.05
70 | 2772630.0456 | 1201149.424 | 2772643.2503 | 1201121.1118 | 2772643.2503 | 1201121.1118
71 | 2772630.0456 | 1201149.424 | 2772610.8617 | 1201142.2351
72 | 2772610.8617 | 1201142.2351 | 2772594.878 | 1201136.2455
73 | 2772580.648 | 1201130.913 | 2772594.878 | 1201136.2455
74 | 2772523.489 | 1201185.915 | 2772544.3343 | 1201178.9213 | 2772556.0936 | 1201172.9329 | 2772562.0261 | 1201165.3414 | 2772569.4852 | 1201154.4798 | 2772580.648 | 1201130.913
75 | 2772724.4866 | 1201184.8027 | 2772725.2759 | 1201185.0984
76 | 2772725.2759 | 1201185.0984 | 2772700.081 | 1201257.1277 | 2772696.951 | 1201259.4729 | 2772691.6166 | 1201260.3418
77 | 2772725.2759 | 1201185.0984 | 2772735.1973 | 1201188.8336
78 | 2772735.1973 | 1201188.8336 | 2772739.5833 | 1201190.4848
79 | 2772749.0552 | 1201194.0508 | 2772739.5833 | 1201190.4848
80 | 2772749.0552 | 1201194.0508 | 2772764.5563 | 1201199.8867
81 | 2772764.5563 | 1201199.8867 | 2772768.7328 | 1201201.459
82 | 2772771.8857 | 1201202.646 | 2772768.7328 | 1201201.459
83 | 2772609.1066 | 1201323.9633 | 2772609.1579 | 1201324.921 | 2772602.4487 | 1201338.3899
84 | 2772609.1066 | 1201323.9633 | 2772608.6928 | 1201316.2438 | 2772601.5653 | 1201315.6373 | 2772601.5653 | 1201315.6373
85 | 2772602.4487 | 1201338.3899 | 2772600.7181 | 1201341.864
86 | 2772589.1867 | 1201323.9212 | 2772601.5653 | 1201315.6373
87 | 2772576.702 | 1201320.3502 | 2772581.8746 | 1201328.8145 | 2772589.1867 | 1201323.9212
88 | 2772576.702 | 1201320.3502 | 2772570.6593 | 1201310.4621 | 2772570.4045 | 1201307.6491
89 | 2772570.4045 | 1201307.6491 | 2772569.5668 | 1201298.4003
90 | 2772569.4099 | 1201296.6686 | 2772569.5668 | 1201298.4003
91 | 2772569.4099 | 1201296.6686 | 2772569.1059 | 1201293.312 | 2772558.0388 | 1201280.7669

## bus_geodata
| x | y | coords
0 | 2772819.2366 | 1201292.9437
1 | 2772830.1242 | 1201242.7394
2 | 2772812.0302 | 1201315.6641
3 | 2772833.536 | 1201225.8561
4 | 2772782.0274 | 1201315.8047
5 | 2772834.3738 | 1201222.0343
6 | 2772808.0181 | 1201216.2491
7 | 2772738.8681 | 1201305.8186
8 | 2772836.6226 | 1201212.1226
9 | 2772789.4312 | 1201209.2515
10 | 2772724.8073 | 1201299.5192
11 | 2772701.2015 | 1201288.9435
12 | 2772653.2716 | 1201274.6617
13 | 2772646.7408 | 1201272.7903
14 | 2772660.425 | 1201291.4407
15 | 2772626.7573 | 1201268.2291
16 | 2772639.6061 | 1201392.0229
17 | 2772669.9714 | 1201312.8318
18 | 2772668.726 | 1201308.5903
19 | 2772557.5119 | 1201247.4066
20 | 2772594.3987 | 1201259.4186
21 | 2772541.7494 | 1201242.2736
22 | 2772535.3138 | 1201237.548
23 | 2772544.3082 | 1201253.6063
24 | 2772519.7006 | 1201226.0836
25 | 2772547.2144 | 1201259.0251
26 | 2772509.6445 | 1201218.6996
27 | 2772531.6281 | 1201268.295
28 | 2772556.7008 | 1201279.2501
29 | 2772870.2448 | 1200986.8964
30 | 2772851.6682 | 1200933.6911
31 | 2772893.0963 | 1201015.1559
32 | 2772887.0739 | 1201037.9795
33 | 2772938.1052 | 1201036.2492
34 | 2772868.9417 | 1201107.4673
35 | 2772943.3509 | 1201019.3795
36 | 2772929.0442 | 1201065.3882
37 | 2772945.4305 | 1201012.6916
38 | 2772957.9071 | 1200972.5684
39 | 2773008.2058 | 1200982.9301
40 | 2773018.831 | 1201046.1053
41 | 2773012.8815 | 1201078.3493
42 | 2772816.3611 | 1201088.662
43 | 2772856.4253 | 1201152.1657
44 | 2772813.3509 | 1201074.6566
45 | 2772756.326 | 1201094.9762
46 | 2772852.8155 | 1201162.7246
47 | 2772743.1838 | 1201092.2738
48 | 2772850.3876 | 1201169.8265
49 | 2772690.0413 | 1201043.4963
50 | 2772694.9207 | 1201044.187
51 | 2772656.279 | 1201037.7756
52 | 2772649.2436 | 1201074.0179
53 | 2772667.4001 | 1201077.4284
54 | 2772708.87 | 1201085.2181
55 | 2772710.8498 | 1201070.098
56 | 2772729.5785 | 1201089.4763
57 | 2772691.4294 | 1201125.6809
58 | 2772693.4276 | 1201121.1485
59 | 2772673.7461 | 1201165.7909
60 | 2772690.8841 | 1201172.2123
61 | 2772657.989 | 1201159.8895
62 | 2772704.9854 | 1201177.4959
63 | 2772656.0491 | 1201159.163
64 | 2772710.2446 | 1201179.4664
65 | 2772632.2574 | 1201150.2524
66 | 2772643.2503 | 1201121.1118
67 | 2772632.5278 | 1201117.05
68 | 2772630.0456 | 1201149.424
69 | 2772610.8617 | 1201142.2351
70 | 2772594.878 | 1201136.2455
71 | 2772580.648 | 1201130.913
72 | 2772724.4866 | 1201184.8027
73 | 2772725.2759 | 1201185.0984
74 | 2772691.6166 | 1201260.3418
75 | 2772735.1973 | 1201188.8336
76 | 2772739.5833 | 1201190.4848
77 | 2772749.0552 | 1201194.0508
78 | 2772764.5563 | 1201199.8867
79 | 2772768.7328 | 1201201.459
80 | 2772523.489 | 1201185.915
81 | 2772771.8857 | 1201202.646
82 | 2772843.5638 | 1201189.6366
83 | 2772609.1066 | 1201323.9633
84 | 2772602.4487 | 1201338.3899
85 | 2772601.5653 | 1201315.6373
86 | 2772600.7181 | 1201341.864
87 | 2772589.1867 | 1201323.9212
88 | 2772576.702 | 1201320.3502
89 | 2772570.4045 | 1201307.6491
90 | 2772569.5668 | 1201298.4003
91 | 2772569.4099 | 1201296.6686
92 | 2772558.0388 | 1201280.7669
93 | 2772725.2759 | 1201185.0984

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1