## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3871-44_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3871-44_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3871-44_0_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_3871-44_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3871-44_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3871-44_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3871-44_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3871-44_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3871-44_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3871-44_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3871-44_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_3871-44_0_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_3871-44_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3871-44_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3871-44_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3871-44_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_3871-44_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3871-44_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3871-44_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_3871-44_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3871-44_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3871-44_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_3871-44_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_3871-44_0_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_3871-44_0_3_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_3871-44_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_3871-44_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_3871-44_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3871-44_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3871-44_0_3_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_3871-44_0_3_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_3871-44_0_3_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_3871-44_0_3_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_3871-44_0_3_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_3871-44_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3871-44_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3871-44_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_3871-44_0_3_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_3871-44_0_3_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_3871-44_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_3871-44_0_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_3871-44_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_3871-44_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3871-44_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_3871-44_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_3871-44_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_3871-44_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_3871-44_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_3871-44_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_3871-44_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3871-44_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_3871-44_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_3871-44_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_3871-44_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3871-44_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_3871-44_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3871-44_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3871-44_0_3_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3871-44_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_3871-44_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_3871-44_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_3871-44_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_MV_177_0_node_249 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3871-44_0_3_load_0 | 0 | 0.00090926 | 0.00022788 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3871-44_0_3_load_7 | 2 | 0.0013969 | 0.00035011 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3871-44_0_3_load_2 | 3 | 0.0033405 | 0.00083722 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3871-44_0_3_load_3 | 4 | 0.00092138 | 0.00023092 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3871-44_0_3_load_6 | 5 | 0.0015632 | 0.00039178 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3871-44_0_3_load_8 | 6 | 0.004025 | 0.0010088 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3871-44_0_3_load_4 | 7 | 0.0013569 | 0.00034007 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3871-44_0_3_load_5 | 8 | 0.0011551 | 0.0002895 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3871-44_0_3_load_9 | 9 | 0.00088366 | 0.00022147 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3871-44_0_3_load_20 | 10 | 0.00088757 | 0.00022245 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3871-44_0_3_load_21 | 11 | 0.00050738 | 0.00012716 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3871-44_0_3_load_11 | 12 | 0.0016297 | 0.00040845 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3871-44_0_3_load_12 | 13 | 0.0018639 | 0.00046714 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3871-44_0_3_load_10 | 14 | 0.00099806 | 0.00025014 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3871-44_0_3_load_16 | 15 | 0.0010065 | 0.00025226 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3871-44_0_3_load_14 | 17 | 0.0014514 | 0.00036376 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3871-44_0_3_load_17 | 19 | 0.0027436 | 0.00068762 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3871-44_0_3_load_18 | 20 | 0.0051981 | 0.0013028 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3871-44_0_3_load_19 | 21 | 0.001135 | 0.00028445 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3871-44_0_3_load_31 | 22 | 0.004357 | 0.001092 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3871-44_0_3_load_35 | 24 | 0.0055225 | 0.0013841 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3871-44_0_3_load_30 | 25 | 0.0039495 | 0.00098983 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3871-44_0_3_load_22 | 26 | 0.0011533 | 0.00028904 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3871-44_0_3_load_23 | 27 | 0.001425 | 0.00035714 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3871-44_0_3_load_24 | 28 | 0.0032997 | 0.00082699 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3871-44_0_3_load_61 | 29 | 0.0062773 | 0.0015732 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3871-44_0_3_load_60 | 30 | 0.0016867 | 0.00042272 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3871-44_0_3_load_52 | 31 | 0.0018108 | 0.00045382 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3871-44_0_3_load_54 | 32 | 0.0024326 | 0.00060967 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3871-44_0_3_load_51 | 33 | 0.0094377 | 0.0023653 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3871-44_0_3_load_25 | 34 | 0.0035392 | 0.000887 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3871-44_0_3_load_57 | 37 | 0.0032602 | 0.00081709 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3871-44_0_3_load_56 | 38 | 0.0035096 | 0.0008796 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3871-44_0_3_load_28 | 39 | 0.0037213 | 0.00093265 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3871-44_0_3_load_32 | 42 | 0.0058576 | 0.001468 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3871-44_0_3_load_33 | 43 | 0.00043463 | 0.00010893 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3871-44_0_3_load_34 | 44 | 0.00063689 | 0.00015962 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3871-44_0_3_load_43 | 47 | 0.0013444 | 0.00033693 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3871-44_0_3_load_44 | 48 | 0.01409 | 0.0035313 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3871-44_0_3_load_41 | 49 | 0.0015338 | 0.0003844 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3871-44_0_3_load_37 | 50 | 0.0032971 | 0.00082632 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3871-44_0_3_load_38 | 51 | 0.0026085 | 0.00065375 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3871-44_0_3_load_40 | 53 | 0.0028487 | 0.00071396 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3871-44_0_3_load_46 | 54 | 0.0068518 | 0.0017172 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3871-44_0_3_load_47 | 55 | 0.0055715 | 0.0013963 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3871-44_0_3_load_50 | 56 | 0.0069203 | 0.0017344 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3871-44_0_3_load_49 | 57 | 0.0079694 | 0.0019973 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3871-44_0_3_load_53 | 58 | 0.0063119 | 0.0015819 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3871-44_0_3_load_55 | 59 | 0.0045833 | 0.0011487 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3871-44_0_3_load_58 | 60 | 0.0019738 | 0.00049467 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3871-44_0_3_load_59 | 61 | 0.0025869 | 0.00064833 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3871-44_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.077821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3871-44_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.12475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3871-44_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3871-44_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.044983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3871-44_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 7.9322e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3871-44_0_3_line_5 | NAYY 4x150 SE | 3 | 7 | 0.02257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3871-44_0_3_line_6 | NAYY 4x150 SE | 4 | 8 | 0.036083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3871-44_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.098739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3871-44_0_3_line_8 | NAYY 4x150 SE | 6 | 12 | 0.21434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3871-44_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.013084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3871-44_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 9.4046e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3871-44_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.025446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3871-44_0_3_line_12 | NAYY 4x150 SE | 11 | 23 | 0.030415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3871-44_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.13449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3871-44_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.037184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3871-44_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.10958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3871-44_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.01861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3871-44_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.028954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3871-44_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.016356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3871-44_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.057669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3871-44_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.0095744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3871-44_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.043583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3871-44_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.038538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3871-44_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.0056846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3871-44_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.031468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3871-44_0_3_line_25 | NAYY 4x150 SE | 25 | 42 | 0.1203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3871-44_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.13062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3871-44_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.2199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3871-44_0_3_line_28 | NAYY 4x150 SE | 26 | 29 | 0.19702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3871-44_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.017706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3871-44_0_3_line_30 | NAYY 4x150 SE | 30 | 61 | 0.01736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3871-44_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.00035672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3871-44_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.040552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3871-44_0_3_line_33 | NAYY 4x150 SE | 32 | 40 | 0.12634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3871-44_0_3_line_34 | NAYY 4x150 SE | 33 | 58 | 0.039258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3871-44_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.12106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3871-44_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.086812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3871-44_0_3_line_37 | NAYY 4x150 SE | 36 | 39 | 0.077195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3871-44_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.011573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3871-44_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.025194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3871-44_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.070596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3871-44_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.12071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_3871-44_0_3_line_42 | NAYY 4x150 SE | 41 | 55 | 0.021734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3871-44_0_3_line_43 | NAYY 4x150 SE | 41 | 47 | 0.065866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3871-44_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.057211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_3871-44_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.021683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_3871-44_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.059516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_3871-44_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.013554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_3871-44_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.012094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_3871-44_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.043331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3871-44_0_3_line_50 | NAYY 4x150 SE | 46 | 49 | 0.029693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_3871-44_0_3_line_51 | NAYY 4x150 SE | 48 | 54 | 0.062099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3871-44_0_3_line_52 | NAYY 4x150 SE | 49 | 52 | 0.032825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_3871-44_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.043421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3871-44_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.003909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3871-44_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_3871-44_0_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.016118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3871-44_0_3_line_57 | NAYY 4x150 SE | 55 | 57 | 0.026575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3871-44_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.0050891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3871-44_0_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.014348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3871-44_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.011232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3871-44_0_3_trafo_40 | 0.25 MVA 20/0.4 kV | 62 | 53 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2784848.6734 | 1195584.2019 | 2784820.2529 | 1195576.0712 | 2784773.6978 | 1195563.3567
1 | 2784773.6978 | 1195563.3567 | 2784662.9725 | 1195620.8137
2 | 2784848.6734 | 1195584.2019 | 2784839.8167 | 1195590.7236 | 2784833.5339 | 1195589.7174 | 2784833.5339 | 1195589.7174
3 | 2784848.6734 | 1195584.2019 | 2784870.4317 | 1195589.2905 | 2784882.7952 | 1195590.6851 | 2784892.9907 | 1195590.6537
4 | 2784662.8932 | 1195620.8127 | 2784662.9725 | 1195620.8137
5 | 2784813.698 | 1195580.2471 | 2784827.4027 | 1195584.0556 | 2784833.5339 | 1195589.7174
6 | 2784929.0695 | 1195590.5685 | 2784913.8123 | 1195590.7995 | 2784909.8747 | 1195590.8889 | 2784893.5863 | 1195590.6519 | 2784892.9907 | 1195590.6537
7 | 2784572.5567 | 1195652.5001 | 2784621.4739 | 1195623.3693 | 2784632.5453 | 1195620.4303 | 2784662.8932 | 1195620.8127
8 | 2784758.0248 | 1195759.9443 | 2784572.5567 | 1195652.5001
9 | 2784801.0913 | 1195576.7436 | 2784813.698 | 1195580.2471
10 | 2784929.0695 | 1195590.5685 | 2784929.0789 | 1195590.5683
11 | 2784929.0789 | 1195590.5683 | 2784954.5218 | 1195590.1831
12 | 2784984.9367 | 1195590.0199 | 2784956.0469 | 1195590.16 | 2784954.5218 | 1195590.1831
13 | 2784879.9533 | 1195785.3258 | 2784879.9533 | 1195785.3258 | 2784828.98 | 1195767.0323 | 2784804.5831 | 1195749.1495 | 2784784.1767 | 1195747.7065 | 2784764.9848 | 1195759.7591 | 2784758.0248 | 1195759.9443 | 2784758.0248 | 1195759.9443
14 | 2784758.0248 | 1195759.9443 | 2784754.6099 | 1195751.2746 | 2784762.2585 | 1195742.135 | 2784777.0085 | 1195736.0713
15 | 2784987.4984 | 1195799.665 | 2784961.9844 | 1195791.5346 | 2784929.0735 | 1195784.3988 | 2784879.9533 | 1195785.3258
16 | 2784972.0336 | 1195665.4299 | 2784954.414 | 1195659.4384
17 | 2784979.3474 | 1195637.8061 | 2784973.4236 | 1195651.0696 | 2784972.0336 | 1195665.4299
18 | 2784938.9292 | 1195654.1728 | 2784954.414 | 1195659.4384
19 | 2784979.3474 | 1195637.8061 | 2784996.0306 | 1195639.0788 | 2785007.3053 | 1195636.9698 | 2785035.0001 | 1195626.9047
20 | 2784979.3474 | 1195637.8061 | 2784980.4597 | 1195628.2965
21 | 2785035.0001 | 1195626.9047 | 2785075.9618 | 1195612.018
22 | 2784984.9367 | 1195590.0199 | 2784980.4597 | 1195628.2965
23 | 2785081.3045 | 1195610.0763 | 2785075.9618 | 1195612.018
24 | 2784984.9367 | 1195590.0199 | 2785006.1039 | 1195589.0735 | 2785016.3762 | 1195588.6886
25 | 2785016.3762 | 1195588.6886 | 2785022.8461 | 1195588.4462 | 2785042.4909 | 1195582.9817 | 2785129.8266 | 1195549.7743
26 | 2785324.2546 | 1195875.3425 | 2785324.2546 | 1195875.3425 | 2785269.2646 | 1195894.436 | 2785247.9803 | 1195908.0461 | 2785238.9912 | 1195907.7674 | 2785205.6731 | 1195889.1798
27 | 2785324.2546 | 1195875.3425 | 2785543.0047 | 1195852.9293
28 | 2785310.7146 | 1195678.7921 | 2785324.2546 | 1195875.3425
29 | 2785310.7146 | 1195678.7921 | 2785328.1834 | 1195675.9017
30 | 2785345.3105 | 1195673.0678 | 2785328.1834 | 1195675.9017
31 | 2785443.6552 | 1195637.9252 | 2785443.4157 | 1195638.1896
32 | 2785408.0699 | 1195652.4489 | 2785433.1178 | 1195649.5557 | 2785443.4157 | 1195638.1896
33 | 2785448.8316 | 1195584.0214 | 2785497.4862 | 1195592.0157 | 2785498.9216 | 1195598.5891 | 2785485.715 | 1195602.2499 | 2785472.0662 | 1195607.1316 | 2785456.9258 | 1195620.5201 | 2785444.9775 | 1195636.4658 | 2785443.6552 | 1195637.9252
34 | 2785375.8553 | 1195671.3277 | 2785382.9481 | 1195671.2448 | 2785389.6868 | 1195664.925 | 2785394.8076 | 1195658.1547 | 2785408.0699 | 1195652.4489 | 2785408.0699 | 1195652.4489
35 | 2785541.3079 | 1195404.931 | 2785487.0744 | 1195401.7014 | 2785474.7049 | 1195402.452 | 2785457.0853 | 1195416.5866 | 2785456.9146 | 1195448.3348
36 | 2785541.3079 | 1195404.931 | 2785538.1283 | 1195410.816 | 2785536.4694 | 1195418.3166 | 2785534.8633 | 1195430.5012 | 2785536.7031 | 1195450.3338 | 2785539.3513 | 1195457.145 | 2785547.6675 | 1195472.4851 | 2785549.6462 | 1195487.8397
37 | 2785490.1469 | 1195526.7781 | 2785529.6785 | 1195518.4178 | 2785534.9218 | 1195514.0983 | 2785538.5727 | 1195508.5059 | 2785544.854 | 1195497.2783 | 2785549.6462 | 1195487.8397
38 | 2785414.2647 | 1195571.4928 | 2785425.1291 | 1195575.4814
39 | 2785448.8316 | 1195584.0214 | 2785432.4655 | 1195578.1748 | 2785425.1291 | 1195575.4814
40 | 2785448.8316 | 1195584.0214 | 2785490.1469 | 1195526.7781
41 | 2785343.1726 | 1195557.1976 | 2785381.4467 | 1195555.4374 | 2785405.4699 | 1195559.0411 | 2785452.0202 | 1195576.1234 | 2785448.8316 | 1195584.0214
42 | 2785343.1726 | 1195557.1976 | 2785342.4801 | 1195564.7727 | 2785350.9697 | 1195567.8944 | 2785356.0522 | 1195567.8904
43 | 2785343.1726 | 1195557.1976 | 2785312.6265 | 1195558.6083 | 2785285.9661 | 1195555.9464 | 2785277.5949 | 1195554.5076
44 | 2785129.8266 | 1195549.7743 | 2785139.4864 | 1195546.1014 | 2785144.9497 | 1195544.0239 | 2785145.824 | 1195543.8619 | 2785154.7343 | 1195542.2695 | 2785171.1445 | 1195539.3189 | 2785185.559 | 1195539.633
45 | 2785207.0171 | 1195542.3934 | 2785191.7121 | 1195539.7671 | 2785185.559 | 1195539.633
46 | 2785265.6758 | 1195552.459 | 2785207.0171 | 1195542.3934
47 | 2785265.6758 | 1195552.459 | 2785264.0501 | 1195561.1173 | 2785267.8904 | 1195563.9168
48 | 2785265.6758 | 1195552.459 | 2785277.5949 | 1195554.5076
49 | 2785267.8904 | 1195563.9168 | 2785271.6487 | 1195566.6582 | 2785292.0127 | 1195569.7365 | 2785299.9142 | 1195578.5456 | 2785300.4005 | 1195584.7769
50 | 2785267.8904 | 1195563.9168 | 2785260.8522 | 1195572.0292 | 2785241.9678 | 1195573.6384
51 | 2785300.4005 | 1195584.7769 | 2785301.3822 | 1195597.3544 | 2785308.1026 | 1195604.9035 | 2785315.6509 | 1195612.0668 | 2785340.1866 | 1195612.4162 | 2785340.2486 | 1195616.8472
52 | 2785210.4165 | 1195581.6327 | 2785229.2676 | 1195574.7205 | 2785241.9678 | 1195573.6384
53 | 2785166.3404 | 1195598.8744 | 2785205.6804 | 1195583.3767 | 2785206.7483 | 1195582.9835
54 | 2785210.4165 | 1195581.6327 | 2785206.7483 | 1195582.9835
55 | 2785210.4165 | 1195581.6327 | 2785202.0651 | 1195598.6579 | 2785197.5816 | 1195619.3176
56 | 2785340.2486 | 1195616.8472 | 2785340.3123 | 1195621.3958 | 2785328.7435 | 1195621.4261
57 | 2785356.0522 | 1195567.8904 | 2785382.6269 | 1195567.8692
58 | 2785370.7665 | 1195671.3872 | 2785375.8553 | 1195671.3277
59 | 2785370.7665 | 1195671.3872 | 2785356.42 | 1195671.555
60 | 2785345.3105 | 1195673.0678 | 2785354.3041 | 1195671.5797 | 2785356.42 | 1195671.555

## bus_geodata
| x | y | coords
0 | 2784773.6978 | 1195563.3567
1 | 2784848.6734 | 1195584.2019
2 | 2784662.9725 | 1195620.8137
3 | 2784833.5339 | 1195589.7174
4 | 2784892.9907 | 1195590.6537
5 | 2784662.8932 | 1195620.8127
6 | 2784572.5567 | 1195652.5001
7 | 2784813.698 | 1195580.2471
8 | 2784929.0695 | 1195590.5685
9 | 2784801.0913 | 1195576.7436
10 | 2784929.0789 | 1195590.5683
11 | 2784954.5218 | 1195590.1831
12 | 2784758.0248 | 1195759.9443
13 | 2784879.9533 | 1195785.3258
14 | 2784777.0085 | 1195736.0713
15 | 2784987.4984 | 1195799.665
16 | 2784972.0336 | 1195665.4299
17 | 2784954.414 | 1195659.4384
18 | 2784979.3474 | 1195637.8061
19 | 2784938.9292 | 1195654.1728
20 | 2785035.0001 | 1195626.9047
21 | 2784980.4597 | 1195628.2965
22 | 2785075.9618 | 1195612.018
23 | 2784984.9367 | 1195590.0199
24 | 2785081.3045 | 1195610.0763
25 | 2785016.3762 | 1195588.6887
26 | 2785324.2546 | 1195875.3425
27 | 2785205.6731 | 1195889.1798
28 | 2785543.0047 | 1195852.9293
29 | 2785310.7146 | 1195678.7921
30 | 2785328.1834 | 1195675.9017
31 | 2785443.4157 | 1195638.1896
32 | 2785443.6552 | 1195637.9252
33 | 2785408.0699 | 1195652.4489
34 | 2785456.9146 | 1195448.3348
35 | 2785541.3079 | 1195404.931
36 | 2785549.6462 | 1195487.8397
37 | 2785414.2647 | 1195571.4928
38 | 2785425.1291 | 1195575.4814
39 | 2785490.1469 | 1195526.7781
40 | 2785448.8316 | 1195584.0214
41 | 2785343.1726 | 1195557.1976
42 | 2785129.8266 | 1195549.7743
43 | 2785185.559 | 1195539.633
44 | 2785207.0171 | 1195542.3934
45 | 2785265.6758 | 1195552.459
46 | 2785267.8904 | 1195563.9168
47 | 2785277.5949 | 1195554.5076
48 | 2785300.4005 | 1195584.7769
49 | 2785241.9678 | 1195573.6384
50 | 2785206.7483 | 1195582.9835
51 | 2785166.3404 | 1195598.8744
52 | 2785210.4165 | 1195581.6327
53 | 2785197.5816 | 1195619.3176
54 | 2785340.2486 | 1195616.8472
55 | 2785356.0522 | 1195567.8904
56 | 2785328.7435 | 1195621.4261
57 | 2785382.6269 | 1195567.8692
58 | 2785375.8553 | 1195671.3277
59 | 2785370.7665 | 1195671.3872
60 | 2785356.42 | 1195671.555
61 | 2785345.3105 | 1195673.0678
62 | 2785210.4165 | 1195581.6327

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1