## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3871-58_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3871-58_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3871-58_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3871-58_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3871-58_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3871-58_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3871-58_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3871-58_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3871-58_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3871-58_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3871-58_0_3_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_3871-58_0_3_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_3871-58_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3871-58_0_3_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_3871-58_0_3_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_3871-58_0_3_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_3871-58_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3871-58_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3871-58_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3871-58_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3871-58_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3871-58_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3871-58_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3871-58_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3871-58_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3871-58_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_3871-58_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3871-58_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3871-58_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3871-58_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_3871-58_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_3871-58_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_3871-58_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_3871-58_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_3871-58_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_3871-58_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_3871-58_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3871-58_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_3871-58_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_3871-58_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_3871-58_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_3871-58_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_3871-58_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_3871-58_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_3871-58_0_3_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_3871-58_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_3871-58_0_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_3871-58_0_3_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_3871-58_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_3871-58_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_3871-58_0_3_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_3871-58_0_3_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_3871-58_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_3871-58_0_3_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_3871-58_0_3_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_3871-58_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_3871-58_0_3_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_3871-58_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_3871-58_0_3_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_3871-58_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_3871-58_0_3_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_3871-58_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_3871-58_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_3871-58_0_3_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_3871-58_0_3_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_3871-58_0_3_node_96 | 0.4 | n |  | TRUE
66 | bus_LV_3871-58_0_3_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_3871-58_0_3_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_3871-58_0_3_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_3871-58_0_3_node_101 | 0.4 | n |  | TRUE
70 | bus_LV_3871-58_0_3_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_3871-58_0_3_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_3871-58_0_3_node_95 | 0.4 | n |  | TRUE
73 | bus_LV_3871-58_0_3_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_3871-58_0_3_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_3871-58_0_3_node_91 | 0.4 | n |  | TRUE
76 | bus_LV_3871-58_0_3_node_92 | 0.4 | n |  | TRUE
77 | bus_LV_3871-58_0_3_node_93 | 0.4 | n |  | TRUE
78 | bus_MV_177_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3871-58_0_3_load_0 | 0 | 0.0055234 | 0.0013843 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3871-58_0_3_load_1 | 1 | 0.010027 | 0.0025129 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3871-58_0_3_load_3 | 3 | 0.0039955 | 0.0010014 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3871-58_0_3_load_4 | 4 | 0.006209 | 0.0015561 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3871-58_0_3_load_5 | 5 | 0.016392 | 0.0041081 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3871-58_0_3_load_6 | 6 | 0.0037148 | 0.00093101 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3871-58_0_3_load_7 | 7 | 0.0061401 | 0.0015389 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3871-58_0_3_load_9 | 9 | 0.0017803 | 0.00044619 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3871-58_0_3_load_32 | 10 | 0.0022475 | 0.00056327 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3871-58_0_3_load_29 | 11 | 0.0021867 | 0.00054804 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3871-58_0_3_load_10 | 12 | 0.0060575 | 0.0015182 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3871-58_0_3_load_30 | 13 | 0.00098674 | 0.0002473 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3871-58_0_3_load_37 | 14 | 0.0031803 | 0.00079705 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3871-58_0_3_load_38 | 15 | 0.0023391 | 0.00058624 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3871-58_0_3_load_11 | 16 | 0.0013531 | 0.00033912 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3871-58_0_3_load_12 | 17 | 0.0022568 | 0.0005656 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3871-58_0_3_load_13 | 18 | 0.0014303 | 0.00035847 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3871-58_0_3_load_14 | 19 | 0.0014307 | 0.00035858 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3871-58_0_3_load_15 | 20 | 0.0025672 | 0.0006434 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3871-58_0_3_load_16 | 21 | 0.00068899 | 0.00017268 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3871-58_0_3_load_17 | 22 | 0.0015876 | 0.00039789 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3871-58_0_3_load_18 | 23 | 0.0013943 | 0.00034945 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3871-58_0_3_load_19 | 24 | 0.0031985 | 0.00080161 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3871-58_0_3_load_20 | 25 | 0.0016915 | 0.00042393 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3871-58_0_3_load_21 | 26 | 0.0029728 | 0.00074505 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3871-58_0_3_load_22 | 27 | 0.00061559 | 0.00015428 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3871-58_0_3_load_23 | 28 | 0.0028285 | 0.00070889 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3871-58_0_3_load_24 | 29 | 0.0018483 | 0.00046323 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3871-58_0_3_load_25 | 30 | 0.00086248 | 0.00021616 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3871-58_0_3_load_26 | 31 | 0.0013557 | 0.00033977 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3871-58_0_3_load_27 | 32 | 0.0029032 | 0.00072761 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3871-58_0_3_load_28 | 33 | 0.0024842 | 0.00062261 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3871-58_0_3_load_34 | 35 | 0.0025886 | 0.00064877 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3871-58_0_3_load_31 | 36 | 0.0011219 | 0.00028118 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3871-58_0_3_load_35 | 37 | 0.0086411 | 0.0021657 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3871-58_0_3_load_36 | 38 | 0.00069925 | 0.00017525 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3871-58_0_3_load_39 | 39 | 0.0030848 | 0.00077313 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3871-58_0_3_load_41 | 41 | 0.0032886 | 0.0008242 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3871-58_0_3_load_42 | 42 | 0.0049579 | 0.0012426 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3871-58_0_3_load_44 | 43 | 0.0073514 | 0.0018424 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3871-58_0_3_load_46 | 44 | 0.0026895 | 0.00067406 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3871-58_0_3_load_47 | 45 | 0.0027355 | 0.00068559 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3871-58_0_3_load_51 | 46 | 0.0040396 | 0.0010124 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3871-58_0_3_load_48 | 48 | 0.003729 | 0.00093457 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3871-58_0_3_load_50 | 49 | 0.0030589 | 0.00076664 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3871-58_0_3_load_52 | 50 | 0.0034836 | 0.00087308 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3871-58_0_3_load_53 | 51 | 0.001154 | 0.00028923 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3871-58_0_3_load_54 | 52 | 0.0043557 | 0.0010916 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3871-58_0_3_load_55 | 53 | 0.0060694 | 0.0015211 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3871-58_0_3_load_57 | 55 | 0.0046821 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3871-58_0_3_load_58 | 56 | 0.0050296 | 0.0012605 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3871-58_0_3_load_61 | 57 | 0.0060515 | 0.0015166 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3871-58_0_3_load_59 | 58 | 0.0057096 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3871-58_0_3_load_60 | 60 | 0.0020747 | 0.00051996 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3871-58_0_3_load_62 | 62 | 0.0073814 | 0.00185 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3871-58_0_3_load_67 | 63 | 0.0011237 | 0.00028164 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3871-58_0_3_load_96 | 65 | 0.00066652 | 0.00016704 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3871-58_0_3_load_79 | 66 | 0.00067204 | 0.00016843 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3871-58_0_3_load_77 | 67 | 0.00050187 | 0.00012578 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3871-58_0_3_load_69 | 68 | 0.0020432 | 0.00051208 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3871-58_0_3_load_95 | 72 | 0.0011382 | 0.00028527 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3871-58_0_3_load_75 | 73 | 0.00056127 | 0.00014067 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3871-58_0_3_load_91 | 75 | 0.00055488 | 0.00013907 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3871-58_0_3_load_92 | 76 | 0.00065838 | 0.00016501 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3871-58_0_3_load_93 | 77 | 0.0016905 | 0.00042368 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3871-58_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0015905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3871-58_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.052895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_3871-58_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3871-58_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_3871-58_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0078921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3871-58_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.00040773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3871-58_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.022353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3871-58_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.023878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3871-58_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0018852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3871-58_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.019343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3871-58_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0010016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3871-58_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.0084107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_3871-58_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.012864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3871-58_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0049684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3871-58_0_3_line_14 | NAYY 4x150 SE | 13 | 36 | 0.0031109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3871-58_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.008059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3871-58_0_3_line_16 | NAYY 4x150 SE | 15 | 39 | 0.020646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3871-58_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.006496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3871-58_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.00504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3871-58_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.02677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3871-58_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.021898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3871-58_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.051179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3871-58_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0070472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3871-58_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.06001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3871-58_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0007207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3871-58_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.069232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3871-58_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.029587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3871-58_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.014706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3871-58_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0080802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3871-58_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0043178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3871-58_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0037043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3871-58_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.011354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3871-58_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.015003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3871-58_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.025334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3871-58_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.018077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3871-58_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.032339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3871-58_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0070153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3871-58_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.056173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3871-58_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.22053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3871-58_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.0092009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3871-58_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.013683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3871-58_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.01046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_3871-58_0_3_line_42 | NAYY 4x150 SE | 42 | 43 | 0.022341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3871-58_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.0025668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_3871-58_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.020182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_3871-58_0_3_line_45 | NAYY 4x150 SE | 45 | 48 | 0.0071074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3871-58_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.013668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3871-58_0_3_line_47 | NAYY 4x150 SE | 47 | 49 | 0.0086402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3871-58_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.019095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3871-58_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.013365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3871-58_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.0010227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3871-58_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.01225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3871-58_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.0090891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3871-58_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.028629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3871-58_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.016513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3871-58_0_3_line_55 | NAYY 4x150 SE | 54 | 56 | 0.018066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3871-58_0_3_line_56 | NAYY 4x150 SE | 55 | 57 | 0.022472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3871-58_0_3_line_57 | NAYY 4x150 SE | 56 | 58 | 0.033542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3871-58_0_3_line_58 | NAYY 4x150 SE | 57 | 59 | 0.020431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3871-58_0_3_line_59 | NAYY 4x150 SE | 58 | 60 | 0.093741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3871-58_0_3_line_60 | NAYY 4x150 SE | 59 | 61 | 0.022173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3871-58_0_3_line_61 | NAYY 4x150 SE | 59 | 62 | 0.060584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3871-58_0_3_line_62 | NAYY 4x150 SE | 61 | 63 | 0.090424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3871-58_0_3_line_63 | NAYY 4x150 SE | 61 | 64 | 0.066184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3871-58_0_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.025169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3871-58_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.054761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3871-58_0_3_line_66 | NAYY 4x150 SE | 64 | 67 | 0.15874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3871-58_0_3_line_67 | NAYY 4x150 SE | 65 | 70 | 0.13943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3871-58_0_3_line_68 | NAYY 4x150 SE | 67 | 71 | 0.1022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3871-58_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.012538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3871-58_0_3_line_70 | NAYY 4x150 SE | 69 | 72 | 0.031995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3871-58_0_3_line_71 | NAYY 4x150 SE | 70 | 74 | 0.005648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3871-58_0_3_line_72 | NAYY 4x150 SE | 71 | 73 | 0.14174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3871-58_0_3_line_73 | NAYY 4x150 SE | 72 | 77 | 0.037058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3871-58_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.024485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3871-58_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.082485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3871-58_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3871-58_0_3_trafo_0 | 0.25 MVA 20/0.4 kV | 78 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2787872.9469 | 1192983.7537 | 2787872.6339 | 1192985.3131
1 | 2787883.3555 | 1192931.8931 | 2787872.9469 | 1192983.7537
2 | 2787872.6339 | 1192985.3131 | 2787866.8738 | 1193014.0127
3 | 2787883.3555 | 1192931.8931 | 2787865.6157 | 1192934.3227
4 | 2787883.3555 | 1192931.8931 | 2787891.2341 | 1192931.4317
5 | 2787866.7936 | 1193014.4124 | 2787866.8738 | 1193014.0127
6 | 2787865.6157 | 1192934.3227 | 2787843.4697 | 1192937.3558
7 | 2787914.518 | 1192936.5874 | 2787892.0076 | 1192931.3864 | 2787891.2341 | 1192931.4317
8 | 2787843.4697 | 1192937.3558 | 2787841.602 | 1192937.6116
9 | 2787914.518 | 1192936.5874 | 2787920.3397 | 1192918.1414
10 | 2787914.518 | 1192936.5874 | 2787915.5074 | 1192936.7429
11 | 2787841.602 | 1192937.6116 | 2787833.269 | 1192938.7529
12 | 2787915.5074 | 1192936.7429 | 2787928.2157 | 1192938.7406
13 | 2787828.3071 | 1192938.9976 | 2787833.1535 | 1192938.7687 | 2787833.269 | 1192938.7529
14 | 2787928.2157 | 1192938.7406 | 2787931.2888 | 1192939.2237
15 | 2787820.2571 | 1192939.3778 | 2787828.3071 | 1192938.9976
16 | 2787820.2571 | 1192939.3778 | 2787799.634 | 1192940.3519
17 | 2788296.87 | 1192868.4468 | 2788303.1488 | 1192866.781
18 | 2788296.87 | 1192868.4468 | 2788296.87 | 1192868.4468 | 2788292.3964 | 1192870.7681
19 | 2788292.3964 | 1192870.7681 | 2788268.6349 | 1192883.0981
20 | 2788268.6349 | 1192883.0981 | 2788249.1975 | 1192893.1841
21 | 2788201.0323 | 1192910.24 | 2788242.5706 | 1192896.6228 | 2788249.1975 | 1192893.1841
22 | 2788194.3357 | 1192912.4352 | 2788201.0323 | 1192910.24
23 | 2788194.3357 | 1192912.4352 | 2788187.1909 | 1192914.7774 | 2788135.5485 | 1192924.1811
24 | 2788135.5485 | 1192924.1811 | 2788134.8395 | 1192924.3102
25 | 2788134.8395 | 1192924.3102 | 2788095.0596 | 1192931.5537 | 2788066.4533 | 1192934.8744
26 | 2788066.4533 | 1192934.8744 | 2788059.477 | 1192935.6842 | 2788045.6448 | 1192934.2481 | 2788037.0769 | 1192933.0039
27 | 2788037.0769 | 1192933.0039 | 2788022.5239 | 1192930.8905
28 | 2788014.5276 | 1192929.7293 | 2788022.5239 | 1192930.8905
29 | 2788010.2546 | 1192929.1088 | 2788014.5276 | 1192929.7293
30 | 2788010.2546 | 1192929.1088 | 2788010.2546 | 1192929.1088 | 2788006.6781 | 1192930.0733
31 | 2788006.6781 | 1192930.0733 | 2787995.7156 | 1192933.0297
32 | 2787981.2299 | 1192936.9363 | 2787995.7156 | 1192933.0297
33 | 2787956.2947 | 1192940.0996 | 2787970.1053 | 1192939.9364 | 2787981.2299 | 1192936.9363
34 | 2787938.219 | 1192940.3131 | 2787956.2947 | 1192940.0996
35 | 2787938.219 | 1192940.3131 | 2787947.2115 | 1192909.2491
36 | 2787938.219 | 1192940.3131 | 2787931.2888 | 1192939.2237
37 | 2787969.6025 | 1192857.8929 | 2787950.9627 | 1192896.2909 | 2787947.2115 | 1192909.2491
38 | 2787969.6025 | 1192857.8929 | 2788105.6068 | 1192684.293
39 | 2787790.4433 | 1192940.786 | 2787799.634 | 1192940.3519
40 | 2787790.4433 | 1192940.786 | 2787786.5542 | 1192940.9753 | 2787776.7731 | 1192941.3758
41 | 2787790.4433 | 1192940.786 | 2787789.4963 | 1192951.2035
42 | 2787789.4963 | 1192951.2035 | 2787787.4736 | 1192973.4525
43 | 2787787.4736 | 1192973.4525 | 2787787.2412 | 1192976.0087
44 | 2787785.4139 | 1192996.108 | 2787787.2412 | 1192976.0087
45 | 2787784.7704 | 1193003.1862 | 2787785.4139 | 1192996.108
46 | 2787783.0416 | 1193022.203 | 2787777.6642 | 1193017.7964 | 2787772.2365 | 1193013.8411
47 | 2787783.0416 | 1193022.203 | 2787789.7205 | 1193027.6844
48 | 2787783.0416 | 1193022.203 | 2787784.7704 | 1193003.1862
49 | 2787800.0517 | 1193036.1634 | 2787789.7205 | 1193027.6844
50 | 2787800.0517 | 1193036.1634 | 2787800.8422 | 1193036.8122
51 | 2787810.3113 | 1193044.5836 | 2787800.8422 | 1193036.8122
52 | 2787817.3372 | 1193050.3499 | 2787810.3113 | 1193044.5836
53 | 2787838.688 | 1193069.297 | 2787834.9684 | 1193064.8202 | 2787817.3372 | 1193050.3499
54 | 2787838.688 | 1193069.297 | 2787844.3648 | 1193084.8034
55 | 2787838.688 | 1193069.297 | 2787855.7781 | 1193063.4384
56 | 2787845.7672 | 1193107.0249 | 2787845.7772 | 1193088.6614 | 2787844.3648 | 1193084.8034
57 | 2787855.7781 | 1193063.4384 | 2787887.5072 | 1193052.5614
58 | 2787845.756 | 1193127.4556 | 2787845.7672 | 1193107.0249
59 | 2787961.7953 | 1193064.7242 | 2787958.3768 | 1193043.3952 | 2787909.2147 | 1193045.1198 | 2787887.5072 | 1193052.5614
60 | 2787844.8846 | 1193149.6063 | 2787845.0348 | 1193145.796 | 2787845.6242 | 1193130.9216 | 2787845.756 | 1193127.4556
61 | 2787845.756 | 1193127.4556 | 2787871.6083 | 1193128.4904 | 2787889.2337 | 1193123.7945 | 2787904.8372 | 1193118.5211
62 | 2787844.8846 | 1193149.6063 | 2787860.6632 | 1193148.5672 | 2787878.6267 | 1193147.4299 | 2787894.7695 | 1193143.5439 | 2787932.1862 | 1193129.38
63 | 2787844.8846 | 1193149.6063 | 2787851.6562 | 1193169.3611 | 2787895.6211 | 1193158.4413
64 | 2787955.7256 | 1193120.4694 | 2787932.1862 | 1193129.38
65 | 2787895.6211 | 1193158.4413 | 2787922.4012 | 1193151.7977 | 2787948.8961 | 1193145.7806
66 | 2787895.6211 | 1193158.4413 | 2787899.7641 | 1193163.2763 | 2787921.2149 | 1193157.7442 | 2787922.7099 | 1193162.3625 | 2787908.4151 | 1193179.5422 | 2787921.4087 | 1193182.8869 | 2787902.6847 | 1193195.3561 | 2787913.3638 | 1193209.7171 | 2787922.1784 | 1193220.7718 | 2787922.4549 | 1193232.8483 | 2787927.7724 | 1193230.4128 | 2787923.5401 | 1193240.0674 | 2787927.2615 | 1193245.5127
67 | 2788090.2467 | 1193124.7876 | 2788086.1511 | 1193121.6001 | 2788069.9709 | 1193118.9111 | 2788043.9069 | 1193110.2944 | 2788017.8851 | 1193106.8845 | 2787998.4533 | 1193107.6414 | 2787973.39 | 1193113.7826 | 2787955.7256 | 1193120.4694
68 | 2787982.2257 | 1193290.6063 | 2787977.0744 | 1193286.7851 | 2787977.2795 | 1193280.2627 | 2787979.8939 | 1193269.9009 | 2787972.8225 | 1193265.7635 | 2787959.1734 | 1193272.842 | 2787947.9005 | 1193277.3814 | 2787936.8936 | 1193273.454 | 2787930.2627 | 1193265.7379 | 2787927.6489 | 1193255.2118 | 2787928.5506 | 1193247.3989 | 2787927.2615 | 1193245.5127
69 | 2788338.7328 | 1193135.5356 | 2788340.8418 | 1193123.1759
70 | 2788338.7328 | 1193135.5356 | 2788306.9492 | 1193131.8631
71 | 2788093.5819 | 1193129.3526 | 2788090.2467 | 1193124.7876
72 | 2787982.2257 | 1193290.6063 | 2787986.3504 | 1193288.5004 | 2788023.9211 | 1193277.8477 | 2788039.6452 | 1193272.2249 | 2788052.2639 | 1193294.7554 | 2788060.4164 | 1193302.3526 | 2788071.1759 | 1193310.7437 | 2788073.4446 | 1193314.2853 | 2788073.3962 | 1193318.9774 | 2788070.7655 | 1193323.7885 | 2788065.8717 | 1193327.305 | 2788055.7372 | 1193329.3593
73 | 2788306.9492 | 1193131.8631 | 2788303.5314 | 1193131.4682 | 2788269.9251 | 1193132.3325
74 | 2788093.5819 | 1193129.3526 | 2788118.0636 | 1193129.7769
75 | 2788118.0636 | 1193129.7769 | 2788200.536 | 1193131.2063
76 | 2788269.9251 | 1193132.3325 | 2788268.1504 | 1193132.3782 | 2788200.536 | 1193131.2063

## bus_geodata
| x | y | coords
0 | 2787872.9469 | 1192983.7537
1 | 2787872.6339 | 1192985.3131
2 | 2787883.3555 | 1192931.8931
3 | 2787866.8738 | 1193014.0127
4 | 2787865.6157 | 1192934.3227
5 | 2787891.2341 | 1192931.4317
6 | 2787866.7936 | 1193014.4124
7 | 2787843.4697 | 1192937.3558
8 | 2787914.518 | 1192936.5874
9 | 2787841.602 | 1192937.6116
10 | 2787920.3397 | 1192918.1414
11 | 2787915.5074 | 1192936.7429
12 | 2787833.269 | 1192938.7529
13 | 2787928.2157 | 1192938.7406
14 | 2787828.3071 | 1192938.9976
15 | 2787820.2571 | 1192939.3778
16 | 2788296.87 | 1192868.4468
17 | 2788303.1488 | 1192866.781
18 | 2788292.3964 | 1192870.7681
19 | 2788268.6349 | 1192883.0981
20 | 2788249.1975 | 1192893.1841
21 | 2788201.0323 | 1192910.24
22 | 2788194.3357 | 1192912.4352
23 | 2788135.5485 | 1192924.1811
24 | 2788134.8395 | 1192924.3102
25 | 2788066.4533 | 1192934.8744
26 | 2788037.0769 | 1192933.0039
27 | 2788022.5239 | 1192930.8905
28 | 2788014.5276 | 1192929.7293
29 | 2788010.2546 | 1192929.1088
30 | 2788006.6781 | 1192930.0733
31 | 2787995.7156 | 1192933.0297
32 | 2787981.2299 | 1192936.9363
33 | 2787956.2947 | 1192940.0996
34 | 2787938.219 | 1192940.3131
35 | 2787947.2115 | 1192909.2491
36 | 2787931.2888 | 1192939.2237
37 | 2787969.6025 | 1192857.8929
38 | 2788105.6068 | 1192684.293
39 | 2787799.634 | 1192940.3519
40 | 2787790.4433 | 1192940.786
41 | 2787776.7731 | 1192941.3758
42 | 2787789.4963 | 1192951.2035
43 | 2787787.4736 | 1192973.4525
44 | 2787787.2412 | 1192976.0087
45 | 2787785.4139 | 1192996.108
46 | 2787772.2365 | 1193013.8411
47 | 2787783.0416 | 1193022.203
48 | 2787784.7704 | 1193003.1862
49 | 2787789.7205 | 1193027.6844
50 | 2787800.0517 | 1193036.1634
51 | 2787800.8422 | 1193036.8122
52 | 2787810.3113 | 1193044.5836
53 | 2787817.3372 | 1193050.3499
54 | 2787838.688 | 1193069.297
55 | 2787844.3648 | 1193084.8034
56 | 2787855.7781 | 1193063.4384
57 | 2787845.7672 | 1193107.0249
58 | 2787887.5072 | 1193052.5614
59 | 2787845.756 | 1193127.4556
60 | 2787961.7953 | 1193064.7242
61 | 2787844.8846 | 1193149.6063
62 | 2787904.8372 | 1193118.5211
63 | 2787932.1862 | 1193129.38
64 | 2787895.6211 | 1193158.4413
65 | 2787955.7256 | 1193120.4694
66 | 2787948.8961 | 1193145.7806
67 | 2787927.2615 | 1193245.5127
68 | 2788340.8418 | 1193123.1759
69 | 2788338.7328 | 1193135.5356
70 | 2788090.2467 | 1193124.7876
71 | 2787982.2257 | 1193290.6063
72 | 2788306.9492 | 1193131.8631
73 | 2788055.7372 | 1193329.3593
74 | 2788093.5819 | 1193129.3526
75 | 2788118.0636 | 1193129.7769
76 | 2788200.536 | 1193131.2063
77 | 2788269.9251 | 1193132.3325
78 | 2787866.7936 | 1193014.4124

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1