## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3871-63_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3871-63_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3871-63_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3871-63_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3871-63_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3871-63_0_6_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_3871-63_0_6_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_3871-63_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3871-63_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3871-63_0_6_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3871-63_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3871-63_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3871-63_0_6_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_3871-63_0_6_node_99 | 0.4 | n |  | TRUE
14 | bus_LV_3871-63_0_6_node_91 | 0.4 | n |  | TRUE
15 | bus_LV_3871-63_0_6_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_3871-63_0_6_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_3871-63_0_6_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_3871-63_0_6_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_3871-63_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3871-63_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3871-63_0_6_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_3871-63_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3871-63_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_3871-63_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3871-63_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3871-63_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3871-63_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3871-63_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_3871-63_0_6_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_3871-63_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3871-63_0_6_node_100 | 0.4 | n |  | TRUE
32 | bus_LV_3871-63_0_6_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_3871-63_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3871-63_0_6_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_3871-63_0_6_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3871-63_0_6_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_3871-63_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3871-63_0_6_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_3871-63_0_6_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_3871-63_0_6_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_3871-63_0_6_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_3871-63_0_6_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_3871-63_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_3871-63_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3871-63_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3871-63_0_6_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3871-63_0_6_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_3871-63_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3871-63_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_3871-63_0_6_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_3871-63_0_6_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3871-63_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_3871-63_0_6_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_3871-63_0_6_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3871-63_0_6_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_3871-63_0_6_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_3871-63_0_6_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_3871-63_0_6_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_3871-63_0_6_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_3871-63_0_6_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_3871-63_0_6_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_3871-63_0_6_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_3871-63_0_6_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_3871-63_0_6_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_3871-63_0_6_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_3871-63_0_6_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_3871-63_0_6_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_3871-63_0_6_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_3871-63_0_6_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_3871-63_0_6_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_3871-63_0_6_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_3871-63_0_6_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_3871-63_0_6_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_3871-63_0_6_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_3871-63_0_6_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_3871-63_0_6_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_3871-63_0_6_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_3871-63_0_6_node_95 | 0.4 | n |  | TRUE
79 | bus_LV_3871-63_0_6_node_96 | 0.4 | n |  | TRUE
80 | bus_LV_3871-63_0_6_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_3871-63_0_6_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_3871-63_0_6_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_3871-63_0_6_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_3871-63_0_6_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_3871-63_0_6_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_3871-63_0_6_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3871-63_0_6_node_98 | 0.4 | n |  | TRUE
88 | bus_LV_3871-63_0_6_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_3871-63_0_6_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_3871-63_0_6_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_3871-63_0_6_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_3871-63_0_6_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_3871-63_0_6_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_3871-63_0_6_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_3871-63_0_6_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_3871-63_0_6_node_93 | 0.4 | n |  | TRUE
97 | bus_MV_177_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3871-63_0_6_load_0 | 0 | 0.011799 | 0.0029572 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3871-63_0_6_load_1 | 1 | 0.0039574 | 0.00099182 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3871-63_0_6_load_2 | 2 | 0.00041392 | 0.00010374 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3871-63_0_6_load_3 | 3 | 0.0036102 | 0.0009048 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3871-63_0_6_load_29 | 5 | 0.00022444 | 5.625e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3871-63_0_6_load_7 | 8 | 0.00034419 | 8.6263e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3871-63_0_6_load_10 | 9 | 0.00076967 | 0.0001929 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3871-63_0_6_load_9 | 10 | 0.00038703 | 9.7e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3871-63_0_6_load_8 | 11 | 0.00034968 | 8.7639e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3871-63_0_6_load_99 | 13 | 0.0089539 | 0.0022441 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3871-63_0_6_load_91 | 14 | 0.0034607 | 0.00086732 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3871-63_0_6_load_6 | 15 | 0.00032325 | 8.1014e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3871-63_0_6_load_24 | 16 | 0.00089928 | 0.00022538 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3871-63_0_6_load_46 | 17 | 0.0015918 | 0.00039895 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3871-63_0_6_load_44 | 18 | 0.0046657 | 0.0011693 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3871-63_0_6_load_15 | 20 | 0.0011131 | 0.00027897 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3871-63_0_6_load_59 | 21 | 0.0005445 | 0.00013647 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3871-63_0_6_load_13 | 22 | 0.00046486 | 0.0001165 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3871-63_0_6_load_14 | 23 | 0.00076109 | 0.00019075 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3871-63_0_6_load_17 | 25 | 0.00044185 | 0.00011074 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3871-63_0_6_load_20 | 27 | 0.00069167 | 0.00017335 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3871-63_0_6_load_26 | 29 | 0.0008779 | 0.00022002 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3871-63_0_6_load_22 | 30 | 0.00059638 | 0.00014947 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3871-63_0_6_load_100 | 31 | 0.00090989 | 0.00022804 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3871-63_0_6_load_55 | 32 | 0.00232 | 0.00058146 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3871-63_0_6_load_23 | 33 | 0.0002041 | 5.1153e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3871-63_0_6_load_53 | 34 | 0.00148 | 0.00037093 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3871-63_0_6_load_27 | 35 | 0.0011274 | 0.00028255 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3871-63_0_6_load_31 | 37 | 0.0062151 | 0.0015577 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3871-63_0_6_load_39 | 38 | 0.0019737 | 0.00049466 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3871-63_0_6_load_41 | 39 | 0.0025226 | 0.00063222 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3871-63_0_6_load_38 | 40 | 0.006119 | 0.0015336 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3871-63_0_6_load_42 | 41 | 0.002114 | 0.00052982 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3871-63_0_6_load_43 | 42 | 0.0024223 | 0.0006071 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3871-63_0_6_load_30 | 43 | 0.0029848 | 0.00074807 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3871-63_0_6_load_32 | 44 | 0.012483 | 0.0031284 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3871-63_0_6_load_33 | 45 | 0.0067094 | 0.0016815 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3871-63_0_6_load_34 | 46 | 0.0052376 | 0.0013127 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3871-63_0_6_load_35 | 47 | 0.0073245 | 0.0018357 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3871-63_0_6_load_36 | 48 | 0.0053019 | 0.0013288 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3871-63_0_6_load_37 | 49 | 0.0067898 | 0.0017017 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3871-63_0_6_load_47 | 50 | 0.002011 | 0.00050401 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3871-63_0_6_load_48 | 51 | 0.0026673 | 0.00066849 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3871-63_0_6_load_49 | 52 | 0.0022935 | 0.0005748 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3871-63_0_6_load_50 | 53 | 0.013304 | 0.0033344 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3871-63_0_6_load_51 | 54 | 0.0011548 | 0.00028942 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3871-63_0_6_load_52 | 55 | 0.0024005 | 0.00060163 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3871-63_0_6_load_54 | 56 | 0.00093837 | 0.00023518 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3871-63_0_6_load_56 | 57 | 0.0016843 | 0.00042213 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3871-63_0_6_load_57 | 58 | 0.001465 | 0.00036717 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3871-63_0_6_load_60 | 59 | 0.010538 | 0.0026409 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3871-63_0_6_load_61 | 60 | 0.0011137 | 0.00027911 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3871-63_0_6_load_62 | 61 | 0.0017949 | 0.00044985 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3871-63_0_6_load_63 | 62 | 0.0046882 | 0.001175 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3871-63_0_6_load_64 | 63 | 0.0024085 | 0.00060363 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3871-63_0_6_load_65 | 64 | 0.0016958 | 0.000425 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3871-63_0_6_load_66 | 65 | 0.0032966 | 0.00082621 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3871-63_0_6_load_67 | 66 | 0.0013062 | 0.00032737 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3871-63_0_6_load_68 | 67 | 0.00061376 | 0.00015382 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3871-63_0_6_load_69 | 68 | 0.0018471 | 0.00046293 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3871-63_0_6_load_70 | 69 | 0.0019967 | 0.00050042 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3871-63_0_6_load_80 | 70 | 0.0034055 | 0.0008535 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3871-63_0_6_load_78 | 71 | 0.0017681 | 0.00044313 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3871-63_0_6_load_71 | 72 | 0.00081397 | 0.000204 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3871-63_0_6_load_72 | 73 | 0.00083723 | 0.00020983 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3871-63_0_6_load_73 | 74 | 0.0082161 | 0.0020592 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3871-63_0_6_load_74 | 75 | 0.00044537 | 0.00011162 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3871-63_0_6_load_95 | 78 | 0.0017324 | 0.00043417 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3871-63_0_6_load_96 | 79 | 0.00074038 | 0.00018556 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3871-63_0_6_load_94 | 81 | 0.0035004 | 0.00087728 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3871-63_0_6_load_92 | 82 | 0.0027658 | 0.00069319 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3871-63_0_6_load_76 | 83 | 0.00083616 | 0.00020956 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3871-63_0_6_load_77 | 84 | 0.0019166 | 0.00048034 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3871-63_0_6_load_79 | 85 | 0.0009489 | 0.00023782 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3871-63_0_6_load_81 | 86 | 0.0021879 | 0.00054834 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3871-63_0_6_load_98 | 87 | 0.0017952 | 0.00044992 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3871-63_0_6_load_82 | 89 | 0.0022691 | 0.00056868 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3871-63_0_6_load_85 | 91 | 0.0035114 | 0.00088005 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3871-63_0_6_load_86 | 92 | 0.0041998 | 0.0010526 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3871-63_0_6_load_88 | 93 | 0.0017428 | 0.00043679 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3871-63_0_6_load_89 | 94 | 0.0036714 | 0.00092015 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3871-63_0_6_load_90 | 95 | 0.012904 | 0.003234 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3871-63_0_6_load_93 | 96 | 0.000955 | 0.00023934 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3871-63_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3871-63_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.11889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3871-63_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.13322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_3871-63_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.034261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3871-63_0_6_line_4 | NAYY 4x150 SE | 3 | 7 | 0.11277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_3871-63_0_6_line_5 | NAYY 4x150 SE | 4 | 8 | 0.053746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3871-63_0_6_line_6 | NAYY 4x150 SE | 5 | 6 | 0.16341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3871-63_0_6_line_7 | NAYY 4x150 SE | 6 | 29 | 0.042116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3871-63_0_6_line_8 | NAYY 4x150 SE | 7 | 12 | 0.03556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3871-63_0_6_line_9 | NAYY 4x150 SE | 7 | 13 | 0.10282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_3871-63_0_6_line_10 | NAYY 4x150 SE | 8 | 15 | 0.074303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3871-63_0_6_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0034393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3871-63_0_6_line_12 | NAYY 4x150 SE | 9 | 11 | 0.1081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3871-63_0_6_line_13 | NAYY 4x150 SE | 10 | 16 | 0.073452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3871-63_0_6_line_14 | NAYY 4x150 SE | 11 | 15 | 0.006738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3871-63_0_6_line_15 | NAYY 4x150 SE | 12 | 17 | 0.036671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3871-63_0_6_line_16 | NAYY 4x150 SE | 12 | 18 | 0.013921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3871-63_0_6_line_17 | NAYY 4x150 SE | 13 | 14 | 0.042292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3871-63_0_6_line_18 | NAYY 4x150 SE | 14 | 96 | 0.018816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_3871-63_0_6_line_19 | NAYY 4x150 SE | 14 | 95 | 0.022187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3871-63_0_6_line_20 | NAYY 4x150 SE | 16 | 19 | 0.066076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3871-63_0_6_line_21 | NAYY 4x150 SE | 16 | 20 | 0.061112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3871-63_0_6_line_22 | NAYY 4x150 SE | 17 | 50 | 0.0017251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3871-63_0_6_line_23 | NAYY 4x150 SE | 18 | 42 | 0.028527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3871-63_0_6_line_24 | NAYY 4x150 SE | 19 | 21 | 0.046753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3871-63_0_6_line_25 | NAYY 4x150 SE | 20 | 22 | 0.03317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3871-63_0_6_line_26 | NAYY 4x150 SE | 22 | 23 | 0.029981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3871-63_0_6_line_27 | NAYY 4x150 SE | 23 | 24 | 0.019859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3871-63_0_6_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0099214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3871-63_0_6_line_29 | NAYY 4x150 SE | 25 | 26 | 0.018472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3871-63_0_6_line_30 | NAYY 4x150 SE | 26 | 27 | 0.014746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3871-63_0_6_line_31 | NAYY 4x150 SE | 26 | 28 | 0.058704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3871-63_0_6_line_32 | NAYY 4x150 SE | 27 | 30 | 0.061871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3871-63_0_6_line_33 | NAYY 4x150 SE | 28 | 31 | 0.021588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3871-63_0_6_line_34 | NAYY 4x150 SE | 28 | 32 | 0.059273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3871-63_0_6_line_35 | NAYY 4x150 SE | 29 | 35 | 0.025456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3871-63_0_6_line_36 | NAYY 4x150 SE | 30 | 33 | 0.01233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3871-63_0_6_line_37 | NAYY 4x150 SE | 32 | 34 | 0.030533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3871-63_0_6_line_38 | NAYY 4x150 SE | 34 | 54 | 0.031671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3871-63_0_6_line_39 | NAYY 4x150 SE | 35 | 36 | 0.11556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3871-63_0_6_line_40 | NAYY 4x150 SE | 36 | 37 | 0.075204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3871-63_0_6_line_41 | NAYY 4x150 SE | 37 | 45 | 0.013729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3871-63_0_6_line_42 | NAYY 4x150 SE | 37 | 43 | 0.017529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3871-63_0_6_line_43 | NAYY 4x150 SE | 38 | 39 | 0.0077937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3871-63_0_6_line_44 | NAYY 4x150 SE | 38 | 40 | 0.017203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3871-63_0_6_line_45 | NAYY 4x150 SE | 39 | 41 | 0.013457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3871-63_0_6_line_46 | NAYY 4x150 SE | 40 | 49 | 0.029245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3871-63_0_6_line_47 | NAYY 4x150 SE | 41 | 42 | 0.016891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3871-63_0_6_line_48 | NAYY 4x150 SE | 43 | 44 | 0.003587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3871-63_0_6_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0095007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3871-63_0_6_line_50 | NAYY 4x150 SE | 46 | 47 | 0.019359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3871-63_0_6_line_51 | NAYY 4x150 SE | 47 | 48 | 0.00564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3871-63_0_6_line_52 | NAYY 4x150 SE | 48 | 49 | 0.052563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3871-63_0_6_line_53 | NAYY 4x150 SE | 50 | 51 | 0.023883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3871-63_0_6_line_54 | NAYY 4x150 SE | 51 | 52 | 0.005135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3871-63_0_6_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3871-63_0_6_line_56 | NAYY 4x150 SE | 54 | 55 | 0.02213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3871-63_0_6_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0044066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3871-63_0_6_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0054341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3871-63_0_6_line_59 | NAYY 4x150 SE | 57 | 58 | 0.010063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3871-63_0_6_line_60 | NAYY 4x150 SE | 59 | 60 | 0.037565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3871-63_0_6_line_61 | NAYY 4x150 SE | 59 | 61 | 0.025079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_3871-63_0_6_line_62 | NAYY 4x150 SE | 61 | 62 | 0.041716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_3871-63_0_6_line_63 | NAYY 4x150 SE | 62 | 63 | 0.063694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_3871-63_0_6_line_64 | NAYY 4x150 SE | 63 | 64 | 0.026149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_3871-63_0_6_line_65 | NAYY 4x150 SE | 64 | 65 | 0.021126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3871-63_0_6_line_66 | NAYY 4x150 SE | 65 | 66 | 0.024986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_3871-63_0_6_line_67 | NAYY 4x150 SE | 66 | 67 | 0.084764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3871-63_0_6_line_68 | NAYY 4x150 SE | 67 | 68 | 0.011776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_3871-63_0_6_line_69 | NAYY 4x150 SE | 68 | 69 | 0.012883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3871-63_0_6_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0017178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_3871-63_0_6_line_71 | NAYY 4x150 SE | 70 | 71 | 0.010455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_3871-63_0_6_line_72 | NAYY 4x150 SE | 71 | 83 | 0.00093312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_3871-63_0_6_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0029815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_3871-63_0_6_line_74 | NAYY 4x150 SE | 72 | 74 | 0.0094235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_3871-63_0_6_line_75 | NAYY 4x150 SE | 73 | 75 | 0.0021387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_3871-63_0_6_line_76 | NAYY 4x150 SE | 74 | 76 | 0.016494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_3871-63_0_6_line_77 | NAYY 4x150 SE | 75 | 77 | 0.015212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_3871-63_0_6_line_78 | NAYY 4x150 SE | 76 | 78 | 0.020421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_3871-63_0_6_line_79 | NAYY 4x150 SE | 76 | 79 | 0.00086331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3871-63_0_6_line_80 | NAYY 4x150 SE | 77 | 80 | 0.0133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_3871-63_0_6_line_81 | NAYY 4x150 SE | 78 | 81 | 0.0058393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_3871-63_0_6_line_82 | NAYY 4x150 SE | 79 | 82 | 0.004171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3871-63_0_6_line_83 | NAYY 4x150 SE | 80 | 93 | 0.015595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_3871-63_0_6_line_84 | NAYY 4x150 SE | 81 | 96 | 0.0069137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_3871-63_0_6_line_85 | NAYY 4x150 SE | 83 | 84 | 0.0079612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_3871-63_0_6_line_86 | NAYY 4x150 SE | 84 | 85 | 0.0032538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_3871-63_0_6_line_87 | NAYY 4x150 SE | 85 | 86 | 0.012277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_3871-63_0_6_line_88 | NAYY 4x150 SE | 86 | 87 | 0.021921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_3871-63_0_6_line_89 | NAYY 4x150 SE | 87 | 88 | 0.030003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_3871-63_0_6_line_90 | NAYY 4x150 SE | 88 | 91 | 0.033773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_3871-63_0_6_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0087648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3871-63_0_6_line_92 | NAYY 4x150 SE | 90 | 91 | 0.01064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
93 | LV_3871-63_0_6_line_93 | NAYY 4x150 SE | 90 | 92 | 0.060508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
94 | LV_3871-63_0_6_line_94 | NAYY 4x150 SE | 92 | 93 | 0.046494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
95 | LV_3871-63_0_6_line_95 | NAYY 4x150 SE | 94 | 95 | 0.0091746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3871-63_0_6_trafo_5 | 0.25 MVA 20/0.4 kV | 97 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2783048.4241 | 1196354.6122 | 2783065.934 | 1196337.4288 | 2783068.0567 | 1196335.6745
1 | 2783048.4241 | 1196354.6122 | 2783033.9409 | 1196368.8253 | 2783021.7688 | 1196379.8972 | 2783004.6172 | 1196407.9225 | 2782995.4941 | 1196417.0302 | 2782961.5015 | 1196430.0463
2 | 2783068.0567 | 1196335.6745 | 2783106.0323 | 1196304.2899 | 2783132.7464 | 1196260.82 | 2783141.775 | 1196251.5762 | 2783157.1248 | 1196241.3249 | 2783158.2176 | 1196240.2274
3 | 2782935.1111 | 1196451.5953 | 2782958.3244 | 1196431.2628 | 2782961.5015 | 1196430.0463
4 | 2783223.2899 | 1196151.0837 | 2783210.5844 | 1196161.3714 | 2783202.0565 | 1196181.6304 | 2783191.2586 | 1196207.0472 | 2783158.2176 | 1196240.2274
5 | 2782935.1111 | 1196451.5953 | 2782948.0288 | 1196457.2515 | 2782950.5777 | 1196463.647 | 2782938.1522 | 1196483.2531 | 2782936.7334 | 1196488.2591 | 2782940.024 | 1196491.0959 | 2782940.024 | 1196491.0959
6 | 2783283.9969 | 1196417.8203 | 2783280.9401 | 1196410.8419 | 2783262.1015 | 1196411.0538 | 2783221.8008 | 1196432.8853 | 2783200.3634 | 1196447.4876 | 2783185.3824 | 1196456.4154 | 2783174.2614 | 1196467.0187 | 2783165.5075 | 1196477.5055 | 2783156.2029 | 1196486.8076 | 2783151.6951 | 1196490.0587
7 | 2783283.9969 | 1196417.8203 | 2783299.3358 | 1196404.6884 | 2783315.191 | 1196389.5472
8 | 2783223.2899 | 1196151.0837 | 2783225.0726 | 1196169.0339 | 2783229.2554 | 1196186.0457
9 | 2783123.7394 | 1196125.3555 | 2783223.2899 | 1196151.0837
10 | 2783005.8007 | 1196460.4405 | 2783001.1296 | 1196460.5571 | 2782956.4312 | 1196479.3972 | 2782945.7471 | 1196490.437 | 2782940.024 | 1196491.0959
11 | 2783034.6661 | 1196567.1671 | 2783037.6296 | 1196565.4217
12 | 2783037.6296 | 1196565.4217 | 2783012.5366 | 1196460.2725
13 | 2783050.3098 | 1196638.934 | 2783034.6661 | 1196567.1671
14 | 2783012.5366 | 1196460.2725 | 2783005.8007 | 1196460.4405
15 | 2783229.2554 | 1196186.0457 | 2783230.748 | 1196202.7636 | 2783224.3489 | 1196221.5929
16 | 2783229.2554 | 1196186.0457 | 2783239.3756 | 1196195.6052
17 | 2783111.3011 | 1196084.9343 | 2783123.7394 | 1196125.3555
18 | 2783111.3011 | 1196084.9343 | 2783106.5496 | 1196086.1109 | 2783099.2481 | 1196085.7648 | 2783093.1832 | 1196083.1327
19 | 2783111.3011 | 1196084.9343 | 2783117.0216 | 1196083.5178 | 2783130.1201 | 1196073.8274
20 | 2783050.3098 | 1196638.934 | 2782986.9636 | 1196657.7309
21 | 2783106.7501 | 1196615.4994 | 2783050.3098 | 1196638.934
22 | 2783224.3489 | 1196221.5929 | 2783223.7938 | 1196223.2262
23 | 2783260.1132 | 1196215.194 | 2783239.3756 | 1196195.6052
24 | 2782986.9636 | 1196657.7309 | 2782957.3177 | 1196678.0219 | 2782948.7472 | 1196684.6388
25 | 2783106.7501 | 1196615.4994 | 2783115.2352 | 1196607.3065 | 2783122.2926 | 1196597.435 | 2783126.6815 | 1196589.3032
26 | 2783126.6815 | 1196589.3032 | 2783133.7545 | 1196576.1981 | 2783141.1926 | 1196565.8489 | 2783142.6059 | 1196563.9781
27 | 2783154.6195 | 1196548.1647 | 2783150.7841 | 1196553.1522 | 2783142.6059 | 1196563.9781
28 | 2783154.6195 | 1196548.1647 | 2783162.733 | 1196542.4546
29 | 2783177.3782 | 1196531.2337 | 2783171.7625 | 1196536.0999 | 2783162.733 | 1196542.4546
30 | 2783177.3782 | 1196531.2337 | 2783178.9002 | 1196533.3157 | 2783181.553 | 1196536.8115 | 2783184.4859 | 1196542.6071 | 2783185.0662 | 1196543.7517
31 | 2783227.6981 | 1196500.8892 | 2783222.1265 | 1196504.0661 | 2783209.3381 | 1196511.1148 | 2783188.759 | 1196523.0964 | 2783177.3782 | 1196531.2337
32 | 2783160.5511 | 1196597.907 | 2783165.7415 | 1196592.238 | 2783172.8691 | 1196578.3425 | 2783179.718 | 1196566.5739 | 2783183.2877 | 1196560.0545 | 2783185.887 | 1196555.5963 | 2783186.7104 | 1196551.6176 | 2783186.8512 | 1196547.2731 | 2783185.0662 | 1196543.7517
33 | 2783227.6981 | 1196500.8892 | 2783228.902 | 1196503.1506 | 2783230.376 | 1196508.2897 | 2783230.3943 | 1196514.4075 | 2783229.5539 | 1196521.9226
34 | 2783227.6981 | 1196500.8892 | 2783236.5142 | 1196494.8422 | 2783249.1616 | 1196485.9319 | 2783263.2212 | 1196474.7293 | 2783275.9305 | 1196466.5125
35 | 2783315.191 | 1196389.5472 | 2783317.0633 | 1196387.7593 | 2783330.7739 | 1196374.2772 | 2783333.2989 | 1196371.6582
36 | 2783151.9028 | 1196606.6953 | 2783160.5511 | 1196597.907
37 | 2783275.9305 | 1196466.5125 | 2783278.5448 | 1196464.8223 | 2783294.5366 | 1196456.7487 | 2783303.0472 | 1196452.5156
38 | 2783331.3968 | 1196438.3956 | 2783329.6253 | 1196439.2956 | 2783303.0472 | 1196452.5156
39 | 2783423.2218 | 1196306.3994 | 2783415.4574 | 1196324.1234 | 2783400.1993 | 1196335.6003 | 2783377.7873 | 1196349.8829 | 2783354.162 | 1196359.9798 | 2783341.3973 | 1196363.2585 | 2783333.2989 | 1196371.6582
40 | 2783423.2218 | 1196306.3994 | 2783358.8621 | 1196267.4956
41 | 2783358.8621 | 1196267.4956 | 2783361.8228 | 1196266.3659 | 2783365.8095 | 1196256.5873
42 | 2783342.4847 | 1196273.7447 | 2783358.8621 | 1196267.4956
43 | 2783284.6406 | 1196231.2876 | 2783291.1774 | 1196227.0434
44 | 2783305.6063 | 1196217.6751 | 2783291.1774 | 1196227.0434
45 | 2783284.6406 | 1196231.2876 | 2783284.6406 | 1196231.2876 | 2783275.0859 | 1196229.3373 | 2783272.3924 | 1196226.7931
46 | 2783330.8408 | 1196203.2039 | 2783324.6508 | 1196205.3101 | 2783305.6063 | 1196217.6751
47 | 2783272.3924 | 1196226.7931 | 2783260.1132 | 1196215.194
48 | 2783339.1334 | 1196275.0234 | 2783342.4847 | 1196273.7447
49 | 2783365.8095 | 1196256.5873 | 2783369.3962 | 1196247.7896
50 | 2783376.7049 | 1196229.8628 | 2783369.3962 | 1196247.7896
51 | 2783376.7049 | 1196229.8628 | 2783378.8341 | 1196224.6402
52 | 2783330.8408 | 1196203.2039 | 2783378.8341 | 1196224.6402
53 | 2783223.7938 | 1196223.2262 | 2783220.599 | 1196232.6269 | 2783213.5601 | 1196244.6755
54 | 2783213.5601 | 1196244.6755 | 2783210.9698 | 1196249.1093
55 | 2783208.6494 | 1196253.0812 | 2783210.9698 | 1196249.1093
56 | 2783331.3968 | 1196438.3956 | 2783346.6567 | 1196430.6424 | 2783350.9777 | 1196428.0994
57 | 2783350.9777 | 1196428.0994 | 2783354.7754 | 1196425.8644
58 | 2783359.6263 | 1196423.4375 | 2783356.8593 | 1196424.6381 | 2783354.7754 | 1196425.8644
59 | 2783359.6263 | 1196423.4375 | 2783363.922 | 1196421.5737 | 2783369.0765 | 1196420.0314
60 | 2783231.1811 | 1195744.3181 | 2783244.4338 | 1195724.6181 | 2783253.8708 | 1195714.5194
61 | 2783231.1811 | 1195744.3181 | 2783217.1824 | 1195765.1268
62 | 2783192.3904 | 1195798.5634 | 2783201.4594 | 1195788.4987 | 2783217.1824 | 1195765.1268
63 | 2783192.3904 | 1195798.5634 | 2783184.1486 | 1195807.7099 | 2783159.2919 | 1195827.0791 | 2783144.527 | 1195840.3756
64 | 2783125.0958 | 1195857.8744 | 2783144.527 | 1195840.3756
65 | 2783125.0958 | 1195857.8744 | 2783120.3904 | 1195862.1118 | 2783109.8404 | 1195872.4822
66 | 2783109.8404 | 1195872.4822 | 2783098.9277 | 1195883.2091 | 2783092.2345 | 1195890.2077
67 | 2783092.2345 | 1195890.2077 | 2783059.1315 | 1195924.8214 | 2783040.0323 | 1195935.9813 | 2783025.8275 | 1195939.9506
68 | 2783025.8275 | 1195939.9506 | 2783025.8275 | 1195939.9506 | 2783014.2895 | 1195942.3048
69 | 2783014.2895 | 1195942.3048 | 2783010.0444 | 1195943.1709 | 2783002.3005 | 1195946.796
70 | 2783000.7448 | 1195947.5243 | 2783002.3005 | 1195946.796
71 | 2783000.7448 | 1195947.5243 | 2782991.276 | 1195951.9568
72 | 2782991.276 | 1195951.9568 | 2782990.4309 | 1195952.3524
73 | 2783054.3641 | 1196047.4993 | 2783051.4236 | 1196047.007
74 | 2783054.3641 | 1196047.4993 | 2783055.7324 | 1196047.7284 | 2783059.8759 | 1196050.3579 | 2783060.8948 | 1196053.3161
75 | 2783051.4236 | 1196047.007 | 2783051.4236 | 1196047.007 | 2783049.439 | 1196047.804
76 | 2783062.8926 | 1196069.6138 | 2783062.2588 | 1196061.4307 | 2783061.8155 | 1196055.9895 | 2783060.8948 | 1196053.3161
77 | 2783041.2081 | 1196059.3956 | 2783042.4627 | 1196053.7839 | 2783046.3286 | 1196049.0531 | 2783049.439 | 1196047.804
78 | 2783062.8926 | 1196069.6138 | 2783073.0246 | 1196074.3842 | 2783081.4843 | 1196078.0556
79 | 2783062.1116 | 1196069.2458 | 2783062.8926 | 1196069.6138
80 | 2783029.1442 | 1196053.7208 | 2783041.2081 | 1196059.3956
81 | 2783086.8409 | 1196080.3803 | 2783081.4843 | 1196078.0556
82 | 2783062.1116 | 1196069.2458 | 2783058.3386 | 1196067.4678
83 | 2783029.1442 | 1196053.7208 | 2783027.2024 | 1196056.8756 | 2783018.696 | 1196065.1836
84 | 2783086.8409 | 1196080.3803 | 2783093.1832 | 1196083.1327
85 | 2782990.4309 | 1195952.3524 | 2782989.5058 | 1195952.7855 | 2782983.1336 | 1195955.5341
86 | 2782983.1336 | 1195955.5341 | 2782980.1459 | 1195956.8229
87 | 2782968.8733 | 1195961.6852 | 2782980.1459 | 1195956.8229
88 | 2782949.0727 | 1195970.7713 | 2782956.183 | 1195966.3018 | 2782963.3115 | 1195964.0843 | 2782968.8733 | 1195961.6852
89 | 2782927.4479 | 1195991.359 | 2782944.0859 | 1195973.906 | 2782949.0727 | 1195970.7713
90 | 2782927.4479 | 1195991.359 | 2782946.4663 | 1196013.7073 | 2782950.4512 | 1196015.6365
91 | 2782960.028 | 1196020.273 | 2782967.9176 | 1196024.0911
92 | 2782960.028 | 1196020.273 | 2782950.4512 | 1196015.6365
93 | 2782960.028 | 1196020.273 | 2782959.5823 | 1196022.6284 | 2782961.0879 | 1196024.7544 | 2782978.3277 | 1196056.6245 | 2782979.1117 | 1196058.6616 | 2782985.2564 | 1196074.6069
94 | 2783018.696 | 1196065.1836 | 2783007.8357 | 1196075.7907 | 2782999.5144 | 1196082.5985 | 2782995.9235 | 1196083.8343 | 2782990.2922 | 1196083.9732 | 2782988.6049 | 1196083.2987 | 2782987.8209 | 1196081.2616 | 2782985.2564 | 1196074.6069
95 | 2783137.4957 | 1196068.3709 | 2783130.1201 | 1196073.8274

## bus_geodata
| x | y | coords
0 | 2783048.4241 | 1196354.6122
1 | 2783068.0567 | 1196335.6745
2 | 2782961.5015 | 1196430.0463
3 | 2783158.2176 | 1196240.2274
4 | 2782935.1111 | 1196451.5953
5 | 2783151.6951 | 1196490.0587
6 | 2783283.9969 | 1196417.8203
7 | 2783223.2899 | 1196151.0837
8 | 2782940.024 | 1196491.0959
9 | 2783037.6296 | 1196565.4217
10 | 2783034.6661 | 1196567.1671
11 | 2783012.5366 | 1196460.2725
12 | 2783229.2554 | 1196186.0457
13 | 2783123.7394 | 1196125.3555
14 | 2783111.3011 | 1196084.9343
15 | 2783005.8007 | 1196460.4405
16 | 2783050.3098 | 1196638.934
17 | 2783224.3489 | 1196221.5929
18 | 2783239.3756 | 1196195.6052
19 | 2782986.9636 | 1196657.7309
20 | 2783106.7501 | 1196615.4994
21 | 2782948.7472 | 1196684.6388
22 | 2783126.6815 | 1196589.3032
23 | 2783142.6059 | 1196563.9781
24 | 2783154.6195 | 1196548.1647
25 | 2783162.733 | 1196542.4546
26 | 2783177.3782 | 1196531.2337
27 | 2783185.0662 | 1196543.7517
28 | 2783227.6981 | 1196500.8892
29 | 2783315.191 | 1196389.5472
30 | 2783160.5511 | 1196597.907
31 | 2783229.5539 | 1196521.9226
32 | 2783275.9305 | 1196466.5125
33 | 2783151.9028 | 1196606.6953
34 | 2783303.0472 | 1196452.5156
35 | 2783333.2989 | 1196371.6582
36 | 2783423.2218 | 1196306.3994
37 | 2783358.8621 | 1196267.4956
38 | 2783291.1774 | 1196227.0434
39 | 2783284.6406 | 1196231.2876
40 | 2783305.6063 | 1196217.6751
41 | 2783272.3924 | 1196226.7931
42 | 2783260.1132 | 1196215.194
43 | 2783342.4847 | 1196273.7447
44 | 2783339.1334 | 1196275.0234
45 | 2783365.8095 | 1196256.5873
46 | 2783369.3962 | 1196247.7896
47 | 2783376.7049 | 1196229.8628
48 | 2783378.8341 | 1196224.6402
49 | 2783330.8408 | 1196203.2039
50 | 2783223.7938 | 1196223.2262
51 | 2783213.5601 | 1196244.6755
52 | 2783210.9698 | 1196249.1093
53 | 2783208.6494 | 1196253.0812
54 | 2783331.3968 | 1196438.3956
55 | 2783350.9777 | 1196428.0994
56 | 2783354.7754 | 1196425.8644
57 | 2783359.6263 | 1196423.4375
58 | 2783369.0765 | 1196420.0314
59 | 2783231.1811 | 1195744.3181
60 | 2783253.8708 | 1195714.5194
61 | 2783217.1824 | 1195765.1268
62 | 2783192.3904 | 1195798.5634
63 | 2783144.527 | 1195840.3756
64 | 2783125.0958 | 1195857.8744
65 | 2783109.8404 | 1195872.4822
66 | 2783092.2345 | 1195890.2077
67 | 2783025.8275 | 1195939.9506
68 | 2783014.2895 | 1195942.3048
69 | 2783002.3005 | 1195946.796
70 | 2783000.7448 | 1195947.5243
71 | 2782991.276 | 1195951.9568
72 | 2783054.3641 | 1196047.4993
73 | 2783051.4236 | 1196047.007
74 | 2783060.8948 | 1196053.3161
75 | 2783049.439 | 1196047.804
76 | 2783062.8926 | 1196069.6138
77 | 2783041.2081 | 1196059.3956
78 | 2783081.4843 | 1196078.0556
79 | 2783062.1116 | 1196069.2458
80 | 2783029.1442 | 1196053.7208
81 | 2783086.8409 | 1196080.3803
82 | 2783058.3386 | 1196067.4678
83 | 2782990.4309 | 1195952.3524
84 | 2782983.1336 | 1195955.5341
85 | 2782980.1459 | 1195956.8229
86 | 2782968.8733 | 1195961.6852
87 | 2782949.0727 | 1195970.7713
88 | 2782927.4479 | 1195991.359
89 | 2782967.9176 | 1196024.0911
90 | 2782960.028 | 1196020.273
91 | 2782950.4512 | 1196015.6365
92 | 2782985.2564 | 1196074.6069
93 | 2783018.696 | 1196065.1836
94 | 2783137.4957 | 1196068.3709
95 | 2783130.1201 | 1196073.8274
96 | 2783093.1832 | 1196083.1327
97 | 2783231.4154 | 1196140.2218

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1