## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3871-68_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3871-68_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3871-68_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3871-68_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3871-68_0_3_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_3871-68_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_3871-68_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_3871-68_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3871-68_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3871-68_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3871-68_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3871-68_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3871-68_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_3871-68_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3871-68_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3871-68_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3871-68_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_3871-68_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_3871-68_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_3871-68_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_3871-68_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_3871-68_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_3871-68_0_3_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_3871-68_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_3871-68_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_3871-68_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_3871-68_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_3871-68_0_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_3871-68_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_3871-68_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3871-68_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_3871-68_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_3871-68_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_3871-68_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_3871-68_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_3871-68_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_3871-68_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_3871-68_0_3_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_3871-68_0_3_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_3871-68_0_3_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_3871-68_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_3871-68_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_3871-68_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_3871-68_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_3871-68_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_3871-68_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_3871-68_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_3871-68_0_3_node_49 | 0.4 | n |  | TRUE
48 | bus_MV_0_node_2 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3871-68_0_3_load_0 | 0 | 0.00099303 | 0.00024888 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3871-68_0_3_load_1 | 1 | 0.00037843 | 9.4844e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3871-68_0_3_load_3 | 6 | 0.0018833 | 0.000472 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3871-68_0_3_load_4 | 7 | 0.00086558 | 0.00021694 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3871-68_0_3_load_6 | 8 | 0.001437 | 0.00036014 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3871-68_0_3_load_9 | 11 | 0.0021898 | 0.00054881 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3871-68_0_3_load_17 | 12 | 0.00063982 | 0.00016035 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3871-68_0_3_load_12 | 13 | 0.0013138 | 0.00032928 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3871-68_0_3_load_11 | 15 | 0.0009685 | 0.00024273 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3871-68_0_3_load_16 | 16 | 0.0004368 | 0.00010947 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3871-68_0_3_load_18 | 17 | 0.000567 | 0.0001421 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3871-68_0_3_load_19 | 18 | 0.00062307 | 0.00015616 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3871-68_0_3_load_20 | 19 | 0.00059574 | 0.00014931 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3871-68_0_3_load_21 | 20 | 0.00040302 | 0.00010101 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3871-68_0_3_load_22 | 21 | 0.00030043 | 7.5295e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3871-68_0_3_load_25 | 22 | 0.00087956 | 0.00022044 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3871-68_0_3_load_26 | 23 | 0.00088153 | 0.00022093 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3871-68_0_3_load_50 | 24 | 0.00064221 | 0.00016095 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3871-68_0_3_load_27 | 25 | 0.0012848 | 0.00032201 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3871-68_0_3_load_28 | 26 | 0.00053394 | 0.00013382 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3871-68_0_3_load_29 | 28 | 0.00052106 | 0.00013059 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3871-68_0_3_load_30 | 29 | 0.0006001 | 0.0001504 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3871-68_0_3_load_31 | 30 | 0.0014404 | 0.00036101 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3871-68_0_3_load_32 | 31 | 0.00039725 | 9.9559e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3871-68_0_3_load_34 | 33 | 0.0013971 | 0.00035015 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3871-68_0_3_load_35 | 34 | 0.00037043 | 9.2838e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3871-68_0_3_load_36 | 35 | 0.00075896 | 0.00019021 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3871-68_0_3_load_37 | 36 | 0.00093055 | 0.00023322 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3871-68_0_3_load_58 | 37 | 0.00046807 | 0.00011731 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3871-68_0_3_load_40 | 38 | 0.00055679 | 0.00013954 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3871-68_0_3_load_41 | 39 | 0.0012834 | 0.00032164 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3871-68_0_3_load_45 | 40 | 0.00095691 | 0.00023982 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3871-68_0_3_load_42 | 41 | 0.0011241 | 0.00028171 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3871-68_0_3_load_43 | 42 | 0.0015772 | 0.00039529 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3871-68_0_3_load_44 | 43 | 0.001114 | 0.0002792 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3871-68_0_3_load_48 | 46 | 0.00091942 | 0.00023043 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3871-68_0_3_load_49 | 47 | 0.00077624 | 0.00019454 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3871-68_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.053242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3871-68_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.13036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3871-68_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3871-68_0_3_line_3 | NAYY 4x150 SE | 2 | 9 | 0.036289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3871-68_0_3_line_4 | NAYY 4x150 SE | 2 | 10 | 0.17491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3871-68_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.057601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3871-68_0_3_line_6 | NAYY 4x150 SE | 3 | 4 | 0.15555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3871-68_0_3_line_7 | NAYY 4x150 SE | 3 | 5 | 0.1108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3871-68_0_3_line_8 | NAYY 4x150 SE | 4 | 24 | 0.12977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3871-68_0_3_line_9 | NAYY 4x150 SE | 5 | 22 | 0.032591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3871-68_0_3_line_10 | NAYY 4x150 SE | 6 | 7 | 0.04677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3871-68_0_3_line_11 | NAYY 4x150 SE | 7 | 8 | 0.15385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3871-68_0_3_line_12 | NAYY 4x150 SE | 8 | 11 | 0.012201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3871-68_0_3_line_13 | NAYY 4x150 SE | 9 | 12 | 0.25198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3871-68_0_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.043213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3871-68_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.0030805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3871-68_0_3_line_16 | NAYY 4x150 SE | 12 | 16 | 0.10628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3871-68_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.08298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3871-68_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.08372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3871-68_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.030145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3871-68_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.013981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3871-68_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.008343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3871-68_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3871-68_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.031658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3871-68_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.059509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3871-68_0_3_line_25 | NAYY 4x150 SE | 24 | 47 | 0.0063826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3871-68_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.023611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3871-68_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.05812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3871-68_0_3_line_28 | NAYY 4x150 SE | 27 | 32 | 0.11724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3871-68_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0068776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3871-68_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.14207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3871-68_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0086849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3871-68_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.062783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3871-68_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.020282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3871-68_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.012174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3871-68_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.046617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3871-68_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.25815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3871-68_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.053592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3871-68_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.051007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3871-68_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.032742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3871-68_0_3_line_40 | NAYY 4x150 SE | 40 | 45 | 0.14948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3871-68_0_3_line_41 | NAYY 4x150 SE | 41 | 42 | 0.023275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3871-68_0_3_line_42 | NAYY 4x150 SE | 42 | 43 | 0.028059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3871-68_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.050887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3871-68_0_3_line_44 | NAYY 4x150 SE | 44 | 46 | 0.11923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3871-68_0_3_line_45 | NAYY 4x150 SE | 44 | 47 | 0.062299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3871-68_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.14791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3871-68_0_3_trafo_2 | 0.25 MVA 20/0.4 kV | 48 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2781416.2382 | 1197760.2875 | 2781400.2536 | 1197709.5016
1 | 2781416.2382 | 1197760.2875 | 2781507.5541 | 1197853.322
2 | 2781408.9617 | 1197687.3105 | 2781400.2536 | 1197709.5016 | 2781400.2536 | 1197709.5016
3 | 2781530.6217 | 1197825.6505 | 2781527.6177 | 1197827.183 | 2781507.5541 | 1197853.322
4 | 2781475.2439 | 1198019.6393 | 2781483.6936 | 1197982.1142 | 2781480.0665 | 1197953.4757 | 2781478.7652 | 1197915.5209 | 2781483.9509 | 1197892.8559 | 2781494.0288 | 1197870.7399 | 2781507.5541 | 1197853.322
5 | 2781507.5541 | 1197853.322 | 2781486.3388 | 1197863.4326 | 2781475.0588 | 1197869.4184 | 2781463.089 | 1197887.0726
6 | 2781536.4531 | 1197605.6543 | 2781525.679 | 1197609.2752 | 2781439.8344 | 1197655.8939 | 2781410.4842 | 1197677.3357 | 2781409.1951 | 1197682.1347 | 2781408.9617 | 1197687.3105
7 | 2781383.4864 | 1197662.9803 | 2781386.5194 | 1197658.9906 | 2781405.7607 | 1197653.6579 | 2781428.8977 | 1197645.7965 | 2781439.8344 | 1197655.8939 | 2781410.4842 | 1197677.3357 | 2781409.1951 | 1197682.1347 | 2781408.9617 | 1197687.3105
8 | 2781536.4531 | 1197605.6543 | 2781537.3298 | 1197604.1461 | 2781542.1227 | 1197595.9279 | 2781551.2424 | 1197580.2781 | 2781581.7803 | 1197568.4492 | 2781608.1564 | 1197532.7927 | 2781631.1038 | 1197528.7552
9 | 2781383.4864 | 1197662.9803 | 2781372.8043 | 1197652.7796 | 2781363.5705 | 1197649.107 | 2781356.3519 | 1197652.2757
10 | 2781463.089 | 1197887.0726 | 2781447.1982 | 1197931.0602
11 | 2781447.1982 | 1197931.0602 | 2781444.1315 | 1197939.5492 | 2781441.1775 | 1197946.2106 | 2781433.1092 | 1197953.1171 | 2781424.3147 | 1197955.5749 | 2781415.1015 | 1197953.2486 | 2781408.2143 | 1197949.1245 | 2781387.3801 | 1197930.3851 | 2781379.7398 | 1197926.961 | 2781370.9283 | 1197926.7157 | 2781356.2336 | 1197932.2088 | 2781347.8595 | 1197938.8948 | 2781341.6022 | 1197949.927 | 2781339.1222 | 1197965.6921
12 | 2781337.2262 | 1197977.745 | 2781339.1222 | 1197965.6921
13 | 2781530.6217 | 1197825.6505 | 2781543.5909 | 1197819.0154 | 2781564.1159 | 1197817.5816 | 2781609.4587 | 1197831.2164 | 2781642.6414 | 1197807.8234 | 2781666.5353 | 1197793.8687 | 2781672.5182 | 1197792.6382 | 2781677.0091 | 1197796.3561 | 2781678.1715 | 1197801.997 | 2781675.1949 | 1197806.6334 | 2781666.1857 | 1197811.6313 | 2781657.0107 | 1197822.3298 | 2781652.9223 | 1197844.9836 | 2781653.1924 | 1197852.1433 | 2781656.7249 | 1197859.8027 | 2781666.8927 | 1197870.8298
14 | 2781475.2439 | 1198019.6393 | 2781466.519 | 1198026.0809 | 2781445.8748 | 1198051.011
15 | 2781336.7475 | 1197980.7881 | 2781337.2262 | 1197977.745
16 | 2781682.2994 | 1197969.6948 | 2781680.0085 | 1197937.0866 | 2781684.9168 | 1197908.5296 | 2781686.3879 | 1197901.0113 | 2781685.402 | 1197893.8298 | 2781681.5626 | 1197886.7395 | 2781666.8927 | 1197870.8298
17 | 2781336.7475 | 1197980.7881 | 2781322.9814 | 1197962.219 | 2781315.6047 | 1197949.3603 | 2781307.8909 | 1197934.0446 | 2781303.7996 | 1197920.674 | 2781302.5825 | 1197906.779
18 | 2781333.5626 | 1197653.3745 | 2781330.2702 | 1197648.5077 | 2781332.1472 | 1197640.4121 | 2781324.2881 | 1197643.4324 | 2781283.1159 | 1197679.6866 | 2781277.2033 | 1197677.6433
19 | 2781248.7115 | 1197667.797 | 2781277.2033 | 1197677.6433
20 | 2781344.5803 | 1197658.9742 | 2781338.8963 | 1197659.6469 | 2781335.0559 | 1197655.582 | 2781333.5626 | 1197653.3745
21 | 2781240.8261 | 1197665.0719 | 2781248.7115 | 1197667.797
22 | 2781344.5803 | 1197658.9742 | 2781344.5803 | 1197658.9742 | 2781350.9392 | 1197654.6516 | 2781356.3519 | 1197652.2757
23 | 2781240.8261 | 1197665.0719 | 2781236.5802 | 1197663.6046 | 2781209.4366 | 1197662.5021
24 | 2781209.4366 | 1197662.5021 | 2781196.5575 | 1197661.979 | 2781167.9611 | 1197661.1117 | 2781158.0535 | 1197664.07 | 2781153.0955 | 1197669.9219
25 | 2781631.1038 | 1197528.7552 | 2781637.3898 | 1197527.6492
26 | 2781142.9741 | 1197690.6581 | 2781146.6063 | 1197677.581 | 2781153.0955 | 1197669.9219
27 | 2781114.0266 | 1197740.9679 | 2781142.3451 | 1197692.9227 | 2781142.9741 | 1197690.6581
28 | 2781096.9732 | 1197747.0686 | 2781099.7656 | 1197759.5543 | 2781108.6586 | 1197799.1072 | 2781116.0717 | 1197794.1935 | 2781111.0118 | 1197780.0708 | 2781108.5715 | 1197760.2439 | 2781114.0266 | 1197740.9679
29 | 2781201.9864 | 1197591.7218 | 2781207.8536 | 1197588.1331
30 | 2781201.9864 | 1197591.7218 | 2781200.4669 | 1197592.6512 | 2781188.5993 | 1197599.9099 | 2781121.9926 | 1197654.2124 | 2781106.3306 | 1197669.9758 | 2781097.0931 | 1197685.6839
31 | 2781207.8536 | 1197588.1331 | 2781208.7307 | 1197587.5966 | 2781215.2626 | 1197583.6017 | 2781215.2626 | 1197583.6017
32 | 2781096.9732 | 1197747.0686 | 2781092.3813 | 1197726.5537 | 2781092.1313 | 1197706.6376 | 2781094.4039 | 1197690.2569 | 2781097.0931 | 1197685.6839
33 | 2781234.4197 | 1197576.94 | 2781215.2626 | 1197583.6017
34 | 2781234.4197 | 1197576.94 | 2781240.0616 | 1197574.9781 | 2781245.9868 | 1197573.1488
35 | 2781514.5737 | 1197463.4177 | 2781551.0206 | 1197447.8627 | 2781557.7173 | 1197445.8611
36 | 2781514.5737 | 1197463.4177 | 2781324.3747 | 1197288.8735
37 | 2781557.7173 | 1197445.8611 | 2781600.5389 | 1197433.0627 | 2781609.2856 | 1197431.4265
38 | 2781609.2856 | 1197431.4265 | 2781630.561 | 1197427.4466 | 2781659.7477 | 1197424.2404
39 | 2781659.7477 | 1197424.2404 | 2781668.3062 | 1197423.3002 | 2781692.3657 | 1197425.175
40 | 2781817.5616 | 1197483.4624 | 2781784.1994 | 1197485.1165 | 2781766.4739 | 1197476.4246 | 2781755.7111 | 1197467.1328 | 2781742.9004 | 1197444.7212 | 2781732.5859 | 1197434.2196 | 2781711.1445 | 1197426.6383 | 2781692.3657 | 1197425.175
41 | 2781604.2858 | 1197477.0934 | 2781609.9295 | 1197477.7253 | 2781625.0715 | 1197486.6889
42 | 2781625.0715 | 1197486.6889 | 2781649.2172 | 1197500.9824
43 | 2781697.8118 | 1197513.6193 | 2781673.5245 | 1197511.1456 | 2781663.4881 | 1197508.2935 | 2781651.2637 | 1197502.1939 | 2781649.2172 | 1197500.9824
44 | 2781697.8118 | 1197513.6193 | 2781672.3401 | 1197516.5038 | 2781660.0787 | 1197516.131 | 2781632.1267 | 1197500.8112 | 2781627.5807 | 1197499.1493 | 2781621.0482 | 1197498.6393 | 2781611.353 | 1197501.6144 | 2781584.8785 | 1197511.4091
45 | 2781697.8118 | 1197513.6193 | 2781683.2386 | 1197519.5824 | 2781637.3898 | 1197527.6492
46 | 2781817.5616 | 1197483.4624 | 2781812.3766 | 1197502.5459 | 2781800.8466 | 1197510.7035 | 2781775.6238 | 1197508.4122 | 2781738.6958 | 1197489.9716 | 2781720.5825 | 1197504.302 | 2781697.8118 | 1197513.6193

## bus_geodata
| x | y | coords
0 | 2781416.2382 | 1197760.2875
1 | 2781400.2536 | 1197709.5016
2 | 2781507.5541 | 1197853.322
3 | 2781408.9617 | 1197687.3105
4 | 2781536.4531 | 1197605.6543
5 | 2781383.4864 | 1197662.9803
6 | 2781463.089 | 1197887.0726
7 | 2781447.1982 | 1197931.0602
8 | 2781339.1222 | 1197965.6921
9 | 2781530.6217 | 1197825.6505
10 | 2781475.2439 | 1198019.6393
11 | 2781337.2262 | 1197977.745
12 | 2781666.8927 | 1197870.8298
13 | 2781445.8748 | 1198051.011
14 | 2781336.7475 | 1197980.7881
15 | 2781302.5825 | 1197906.779
16 | 2781682.2994 | 1197969.6948
17 | 2781277.2033 | 1197677.6433
18 | 2781333.5626 | 1197653.3745
19 | 2781248.7115 | 1197667.797
20 | 2781344.5803 | 1197658.9742
21 | 2781240.8261 | 1197665.0719
22 | 2781356.3519 | 1197652.2757
23 | 2781209.4366 | 1197662.5021
24 | 2781631.1038 | 1197528.7552
25 | 2781153.0955 | 1197669.9219
26 | 2781142.9741 | 1197690.6581
27 | 2781114.0266 | 1197740.9679
28 | 2781201.9864 | 1197591.7218
29 | 2781207.8536 | 1197588.1331
30 | 2781097.0931 | 1197685.6839
31 | 2781215.2626 | 1197583.6017
32 | 2781096.9732 | 1197747.0686
33 | 2781234.4197 | 1197576.94
34 | 2781245.9868 | 1197573.1488
35 | 2781514.5737 | 1197463.4177
36 | 2781557.7173 | 1197445.8611
37 | 2781324.3747 | 1197288.8735
38 | 2781609.2856 | 1197431.4265
39 | 2781659.7477 | 1197424.2404
40 | 2781692.3657 | 1197425.175
41 | 2781604.2858 | 1197477.0934
42 | 2781625.0715 | 1197486.6889
43 | 2781649.2172 | 1197500.9824
44 | 2781697.8118 | 1197513.6193
45 | 2781817.5616 | 1197483.4624
46 | 2781584.8785 | 1197511.4091
47 | 2781637.3898 | 1197527.6492
48 | 2781408.9617 | 1197687.3105

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1