## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3871-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3871-6_0_4_node_44 | 0.4 | n |  | TRUE
2 | bus_LV_3871-6_0_4_node_45 | 0.4 | n |  | TRUE
3 | bus_LV_3871-6_0_4_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_3871-6_0_4_node_1 | 0.4 | n |  | TRUE
5 | bus_LV_3871-6_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3871-6_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3871-6_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3871-6_0_4_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_3871-6_0_4_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_3871-6_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_3871-6_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3871-6_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3871-6_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3871-6_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3871-6_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3871-6_0_4_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_3871-6_0_4_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_3871-6_0_4_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_3871-6_0_4_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_3871-6_0_4_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_3871-6_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_3871-6_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3871-6_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3871-6_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3871-6_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3871-6_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3871-6_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3871-6_0_4_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_3871-6_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3871-6_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_3871-6_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_3871-6_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_3871-6_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_3871-6_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_3871-6_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_3871-6_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_3871-6_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_3871-6_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_3871-6_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_3871-6_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3871-6_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_3871-6_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_3871-6_0_4_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_3871-6_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_3871-6_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_3871-6_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_3871-6_0_4_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_3871-6_0_4_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_3871-6_0_4_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_3871-6_0_4_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_3871-6_0_4_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_3871-6_0_4_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_3871-6_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_3871-6_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_3871-6_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_3871-6_0_4_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_3871-6_0_4_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_3871-6_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_3871-6_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_3871-6_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_3871-6_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_3871-6_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_3871-6_0_4_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_3871-6_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_3871-6_0_4_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_3871-6_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_3871-6_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_3871-6_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_3871-6_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_3871-6_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_3871-6_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_3871-6_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_3871-6_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_3871-6_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_3871-6_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_3871-6_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_3871-6_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_3871-6_0_4_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_3871-6_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_3871-6_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_3871-6_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_3871-6_0_4_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_3871-6_0_4_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_3871-6_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_MV_177_0_node_238 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3871-6_0_4_load_0 | 0 | 0.0013812 | 0.00034616 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3871-6_0_4_load_44 | 1 | 0.0015769 | 0.0003952 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3871-6_0_4_load_45 | 2 | 0.0032706 | 0.0008197 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3871-6_0_4_load_42 | 3 | 0.00070479 | 0.00017664 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3871-6_0_4_load_1 | 4 | 0.0010166 | 0.00025477 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3871-6_0_4_load_4 | 6 | 0.001768 | 0.00044311 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3871-6_0_4_load_5 | 7 | 0.00065955 | 0.0001653 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3871-6_0_4_load_64 | 8 | 0.0027976 | 0.00070116 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3871-6_0_4_load_65 | 9 | 0.0024964 | 0.00062567 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3871-6_0_4_load_43 | 10 | 0.0009364 | 0.00023468 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3871-6_0_4_load_6 | 11 | 0.0013372 | 0.00033513 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3871-6_0_4_load_7 | 12 | 0.00094517 | 0.00023688 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3871-6_0_4_load_8 | 13 | 0.0024256 | 0.00060792 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3871-6_0_4_load_9 | 14 | 0.0019362 | 0.00048525 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3871-6_0_4_load_10 | 15 | 0.00172 | 0.00043108 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3871-6_0_4_load_35 | 16 | 0.0021578 | 0.00054079 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3871-6_0_4_load_83 | 17 | 0.0028056 | 0.00070316 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3871-6_0_4_load_33 | 18 | 0.0086806 | 0.0021756 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3871-6_0_4_load_82 | 19 | 0.006873 | 0.0017225 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3871-6_0_4_load_38 | 20 | 0.0044502 | 0.0011153 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3871-6_0_4_load_37 | 21 | 0.0072382 | 0.0018141 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3871-6_0_4_load_11 | 22 | 0.0040419 | 0.001013 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3871-6_0_4_load_12 | 23 | 0.0033568 | 0.00084128 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3871-6_0_4_load_15 | 26 | 0.014144 | 0.0035448 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3871-6_0_4_load_36 | 28 | 0.0063217 | 0.0015844 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3871-6_0_4_load_30 | 30 | 0.0073262 | 0.0018361 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3871-6_0_4_load_31 | 31 | 0.0022263 | 0.00055797 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3871-6_0_4_load_34 | 32 | 0.012011 | 0.0030103 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3871-6_0_4_load_32 | 33 | 0.010751 | 0.0026944 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3871-6_0_4_load_17 | 34 | 0.0022197 | 0.00055632 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3871-6_0_4_load_21 | 37 | 0.0016865 | 0.00042268 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3871-6_0_4_load_22 | 38 | 0.0048707 | 0.0012207 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3871-6_0_4_load_24 | 40 | 0.0032998 | 0.000827 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3871-6_0_4_load_25 | 41 | 0.0042025 | 0.0010533 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3871-6_0_4_load_81 | 43 | 0.0024258 | 0.00060795 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3871-6_0_4_load_27 | 44 | 0.0013537 | 0.00033928 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3871-6_0_4_load_28 | 45 | 0.0019064 | 0.00047779 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3871-6_0_4_load_29 | 46 | 0.0019003 | 0.00047626 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3871-6_0_4_load_74 | 48 | 0.0033162 | 0.00083111 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3871-6_0_4_load_78 | 49 | 0.0015377 | 0.00038539 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3871-6_0_4_load_72 | 50 | 0.0049348 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3871-6_0_4_load_77 | 51 | 0.002397 | 0.00060075 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3871-6_0_4_load_39 | 53 | 0.0021222 | 0.00053188 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3871-6_0_4_load_41 | 55 | 0.0073758 | 0.0018486 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3871-6_0_4_load_75 | 56 | 0.0075701 | 0.0018972 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3871-6_0_4_load_73 | 57 | 0.0041624 | 0.0010432 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3871-6_0_4_load_46 | 58 | 0.0016715 | 0.00041893 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3871-6_0_4_load_47 | 59 | 0.0014648 | 0.00036712 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3871-6_0_4_load_48 | 60 | 0.0019214 | 0.00048154 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3871-6_0_4_load_49 | 61 | 0.00069587 | 0.0001744 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3871-6_0_4_load_50 | 62 | 0.0015151 | 0.00037972 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3871-6_0_4_load_79 | 63 | 0.001134 | 0.0002842 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3871-6_0_4_load_51 | 64 | 0.00088486 | 0.00022177 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3871-6_0_4_load_52 | 66 | 0.0015891 | 0.00039825 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3871-6_0_4_load_53 | 67 | 0.00099737 | 0.00024996 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3871-6_0_4_load_54 | 68 | 0.0016013 | 0.00040133 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3871-6_0_4_load_57 | 69 | 0.0013959 | 0.00034984 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3871-6_0_4_load_55 | 70 | 0.00078545 | 0.00019685 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3871-6_0_4_load_58 | 71 | 0.00098781 | 0.00024757 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3871-6_0_4_load_56 | 72 | 0.001179 | 0.00029548 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3871-6_0_4_load_61 | 73 | 0.0028428 | 0.00071247 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3871-6_0_4_load_62 | 74 | 0.0011772 | 0.00029503 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3871-6_0_4_load_59 | 75 | 0.001605 | 0.00040226 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3871-6_0_4_load_60 | 76 | 0.0014167 | 0.00035506 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3871-6_0_4_load_63 | 77 | 0.0042596 | 0.0010676 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3871-6_0_4_load_85 | 78 | 0.000776 | 0.00019448 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3871-6_0_4_load_66 | 79 | 0.002045 | 0.00051252 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3871-6_0_4_load_67 | 80 | 0.0019696 | 0.00049363 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3871-6_0_4_load_68 | 81 | 0.0024237 | 0.00060744 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3871-6_0_4_load_69 | 82 | 0.0033344 | 0.00083568 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3871-6_0_4_load_70 | 83 | 0.0011161 | 0.00027971 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3871-6_0_4_load_76 | 84 | 0.0030019 | 0.00075235 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3871-6_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.14589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3871-6_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.026137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3871-6_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.11465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3871-6_0_4_line_3 | NAYY 4x150 SE | 2 | 56 | 0.040279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3871-6_0_4_line_4 | NAYY 4x150 SE | 3 | 10 | 0.023053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3871-6_0_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.012693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3871-6_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.053394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3871-6_0_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.014487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3871-6_0_4_line_8 | NAYY 4x150 SE | 6 | 10 | 0.035883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3871-6_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0019627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3871-6_0_4_line_10 | NAYY 4x150 SE | 9 | 79 | 0.018815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3871-6_0_4_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0026837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3871-6_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.023544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3871-6_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.023766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3871-6_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.013624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3871-6_0_4_line_15 | NAYY 4x150 SE | 15 | 16 | 0.038611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3871-6_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.084464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3871-6_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.020134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3871-6_0_4_line_18 | NAYY 4x150 SE | 17 | 19 | 0.027777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3871-6_0_4_line_19 | NAYY 4x150 SE | 18 | 33 | 0.017037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3871-6_0_4_line_20 | NAYY 4x150 SE | 19 | 38 | 0.0027376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3871-6_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0065782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3871-6_0_4_line_22 | NAYY 4x150 SE | 21 | 27 | 0.057386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3871-6_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.030392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3871-6_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.01014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3871-6_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.027725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3871-6_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.037207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3871-6_0_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.067117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3871-6_0_4_line_28 | NAYY 4x150 SE | 25 | 30 | 0.037789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3871-6_0_4_line_29 | NAYY 4x150 SE | 25 | 31 | 0.014373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3871-6_0_4_line_30 | NAYY 4x150 SE | 26 | 32 | 0.018689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3871-6_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.033486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3871-6_0_4_line_32 | NAYY 4x150 SE | 29 | 35 | 0.033019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3871-6_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.025437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3871-6_0_4_line_34 | NAYY 4x150 SE | 34 | 35 | 0.016434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3871-6_0_4_line_35 | NAYY 4x150 SE | 34 | 36 | 0.028336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3871-6_0_4_line_36 | NAYY 4x150 SE | 35 | 37 | 0.01802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3871-6_0_4_line_37 | NAYY 4x150 SE | 36 | 38 | 0.035937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3871-6_0_4_line_38 | NAYY 4x150 SE | 37 | 39 | 0.011316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3871-6_0_4_line_39 | NAYY 4x150 SE | 39 | 40 | 0.037937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3871-6_0_4_line_40 | NAYY 4x150 SE | 39 | 41 | 0.020108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3871-6_0_4_line_41 | NAYY 4x150 SE | 40 | 42 | 0.045128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3871-6_0_4_line_42 | NAYY 4x150 SE | 41 | 43 | 0.031097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3871-6_0_4_line_43 | NAYY 4x150 SE | 42 | 44 | 0.045262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3871-6_0_4_line_44 | NAYY 4x150 SE | 42 | 45 | 0.037701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3871-6_0_4_line_45 | NAYY 4x150 SE | 42 | 46 | 0.016339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3871-6_0_4_line_46 | NAYY 4x150 SE | 43 | 47 | 0.018648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3871-6_0_4_line_47 | NAYY 4x150 SE | 44 | 48 | 0.071202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3871-6_0_4_line_48 | NAYY 4x150 SE | 45 | 49 | 0.027418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3871-6_0_4_line_49 | NAYY 4x150 SE | 47 | 52 | 0.091105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3871-6_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.013494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3871-6_0_4_line_51 | NAYY 4x150 SE | 49 | 51 | 0.015496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3871-6_0_4_line_52 | NAYY 4x150 SE | 50 | 57 | 0.00045954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3871-6_0_4_line_53 | NAYY 4x150 SE | 51 | 84 | 0.008027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3871-6_0_4_line_54 | NAYY 4x150 SE | 52 | 55 | 0.038039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3871-6_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.042612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3871-6_0_4_line_56 | NAYY 4x150 SE | 54 | 55 | 0.018236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3871-6_0_4_line_57 | NAYY 4x150 SE | 56 | 57 | 0.025566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3871-6_0_4_line_58 | NAYY 4x150 SE | 58 | 59 | 0.070956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3871-6_0_4_line_59 | NAYY 4x150 SE | 58 | 60 | 0.041221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3871-6_0_4_line_60 | NAYY 4x150 SE | 59 | 61 | 0.058184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3871-6_0_4_line_61 | NAYY 4x150 SE | 61 | 62 | 0.083693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3871-6_0_4_line_62 | NAYY 4x150 SE | 62 | 64 | 0.041908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3871-6_0_4_line_63 | NAYY 4x150 SE | 63 | 64 | 0.068135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3871-6_0_4_line_64 | NAYY 4x150 SE | 63 | 65 | 0.025119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3871-6_0_4_line_65 | NAYY 4x150 SE | 64 | 66 | 0.077983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3871-6_0_4_line_66 | NAYY 4x150 SE | 64 | 67 | 0.012593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3871-6_0_4_line_67 | NAYY 4x150 SE | 65 | 84 | 0.022657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3871-6_0_4_line_68 | NAYY 4x150 SE | 65 | 83 | 0.030368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3871-6_0_4_line_69 | NAYY 4x150 SE | 66 | 68 | 0.0034953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3871-6_0_4_line_70 | NAYY 4x150 SE | 67 | 69 | 0.035496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3871-6_0_4_line_71 | NAYY 4x150 SE | 68 | 70 | 0.017992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3871-6_0_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.025236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3871-6_0_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.015192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3871-6_0_4_line_74 | NAYY 4x150 SE | 71 | 75 | 0.012099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3871-6_0_4_line_75 | NAYY 4x150 SE | 72 | 73 | 0.014319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3871-6_0_4_line_76 | NAYY 4x150 SE | 73 | 74 | 0.0019285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3871-6_0_4_line_77 | NAYY 4x150 SE | 74 | 77 | 0.019576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3871-6_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.039717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3871-6_0_4_line_79 | NAYY 4x150 SE | 77 | 78 | 0.30822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3871-6_0_4_line_80 | NAYY 4x150 SE | 79 | 80 | 0.001577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3871-6_0_4_line_81 | NAYY 4x150 SE | 80 | 81 | 0.0029829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3871-6_0_4_line_82 | NAYY 4x150 SE | 81 | 82 | 0.028705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3871-6_0_4_line_83 | NAYY 4x150 SE | 82 | 83 | 0.031887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3871-6_0_4_trafo_19 | 0.25 MVA 20/0.4 kV | 85 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2786908.3976 | 1194408.5078 | 2787008.6049 | 1194302.4778
1 | 2786883.5218 | 1194400.5575 | 2786886.0274 | 1194401.0282 | 2786908.3976 | 1194408.5078
2 | 2786908.3976 | 1194408.5078 | 2786997.8175 | 1194480.2639
3 | 2786845.7373 | 1194408.6063 | 2786859.8955 | 1194400.3336 | 2786873.9558 | 1194398.76 | 2786883.5218 | 1194400.5575
4 | 2786997.8175 | 1194480.2639 | 2787000.6967 | 1194485.5521 | 2787010.2582 | 1194499.6473
5 | 2787068.1354 | 1194564.9962 | 2787063.2765 | 1194574.2759 | 2787062.2977 | 1194576.267
6 | 2787068.1354 | 1194564.9962 | 2787046.5774 | 1194553.188 | 2787030.4018 | 1194529.3425
7 | 2787068.1354 | 1194564.9962 | 2787080.5541 | 1194572.4569
8 | 2787010.2582 | 1194499.6473 | 2787030.4018 | 1194529.3425
9 | 2786859.1587 | 1194529.1001 | 2786857.3748 | 1194528.2816
10 | 2786857.3748 | 1194528.2816 | 2786840.2737 | 1194520.4355
11 | 2786433.4903 | 1194555.6681 | 2786431.7551 | 1194557.7153
12 | 2786451.4787 | 1194541.5527 | 2786442.3817 | 1194545.1775 | 2786433.4903 | 1194555.6681
13 | 2786421.539 | 1194578.1281 | 2786422.8472 | 1194568.2254 | 2786431.7551 | 1194557.7153
14 | 2786461.7862 | 1194533.8033 | 2786459.0788 | 1194538.5244 | 2786451.4787 | 1194541.5527
15 | 2786464.3634 | 1194495.2788 | 2786461.7862 | 1194533.8033
16 | 2786545.6105 | 1194518.368 | 2786464.3634 | 1194495.2788
17 | 2786464.3634 | 1194495.2788 | 2786454.3059 | 1194477.8367
18 | 2786545.6105 | 1194518.368 | 2786553.7947 | 1194507.8459 | 2786564.0635 | 1194497.6845
19 | 2786441.4731 | 1194478.3246 | 2786444.3213 | 1194483.2421 | 2786454.3059 | 1194477.8367
20 | 2786564.0635 | 1194497.6845 | 2786566.0094 | 1194495.7589
21 | 2786360.8913 | 1194508.3682 | 2786357.7895 | 1194502.5672
22 | 2786330.7307 | 1194451.9609 | 2786357.7895 | 1194502.5672
23 | 2786394.5155 | 1194384.4485 | 2786393.266 | 1194400.0786 | 2786392.1134 | 1194414.745
24 | 2786391.3189 | 1194424.854 | 2786392.1134 | 1194414.745
25 | 2786408.4416 | 1194364.6934 | 2786397.9862 | 1194368.5605 | 2786395.4044 | 1194373.3293 | 2786394.5155 | 1194384.4485
26 | 2786391.3189 | 1194424.854 | 2786410.1538 | 1194424.2513 | 2786419.3569 | 1194440.1406
27 | 2786330.7307 | 1194451.9609 | 2786368.2554 | 1194429.4736 | 2786391.3189 | 1194424.854
28 | 2786408.4416 | 1194364.6934 | 2786444.2193 | 1194376.8568
29 | 2786412.7062 | 1194350.968 | 2786411.3252 | 1194355.385 | 2786408.4416 | 1194364.6934
30 | 2786419.3569 | 1194440.1406 | 2786428.724 | 1194456.3131
31 | 2786587.0363 | 1194425.4104 | 2786555.3326 | 1194414.632
32 | 2786617.9367 | 1194437.286 | 2786587.0363 | 1194425.4104
33 | 2786441.4731 | 1194478.3246 | 2786428.724 | 1194456.3131
34 | 2786617.9367 | 1194437.286 | 2786608.7791 | 1194450.9324
35 | 2786594.6903 | 1194475.1215 | 2786595.0143 | 1194471.8282 | 2786597.0427 | 1194468.4214 | 2786608.7791 | 1194450.9324
36 | 2786617.9367 | 1194437.286 | 2786618.5478 | 1194435.5478 | 2786619.9275 | 1194430.6859 | 2786622.6875 | 1194419.9105
37 | 2786594.6903 | 1194475.1215 | 2786580.7735 | 1194481.1491 | 2786566.0094 | 1194495.7589
38 | 2786625.4952 | 1194408.9487 | 2786622.6875 | 1194419.9105
39 | 2786625.4952 | 1194408.9487 | 2786638.3707 | 1194412.098 | 2786647.2019 | 1194412.3737 | 2786656.3327 | 1194413.3151 | 2786662.9968 | 1194413.5232
40 | 2786625.4952 | 1194408.9487 | 2786629.7698 | 1194389.3002
41 | 2786702.2765 | 1194394.0958 | 2786696.6672 | 1194400.5495 | 2786687.6326 | 1194406.785 | 2786678.2632 | 1194410.0627 | 2786671.6204 | 1194411.7571 | 2786663.5257 | 1194413.5397 | 2786662.9968 | 1194413.5232
42 | 2786629.7698 | 1194389.3002 | 2786633.6257 | 1194371.5757 | 2786639.6387 | 1194360.0977
43 | 2786702.2765 | 1194394.0958 | 2786714.3342 | 1194402.4249 | 2786734.3562 | 1194416.0746 | 2786740.3525 | 1194418.238
44 | 2786702.2765 | 1194394.0958 | 2786704.9315 | 1194405.7904 | 2786711.0553 | 1194417.5379 | 2786719.9093 | 1194426.3061
45 | 2786702.2765 | 1194394.0958 | 2786692.1445 | 1194381.2769
46 | 2786647.8992 | 1194343.3925 | 2786645.7106 | 1194348.5072 | 2786639.6387 | 1194360.0977
47 | 2786810.2458 | 1194424.7251 | 2786796.613 | 1194426.9289 | 2786775.7627 | 1194426.8557 | 2786751.2656 | 1194422.1752 | 2786740.3525 | 1194418.238
48 | 2786739.9699 | 1194444.9795 | 2786728.9147 | 1194435.2242 | 2786719.9093 | 1194426.3061
49 | 2786647.8992 | 1194343.3925 | 2786619.2744 | 1194256.9012
50 | 2786823.2669 | 1194421.7358 | 2786821.1745 | 1194422.9584 | 2786810.2458 | 1194424.7251
51 | 2786739.9699 | 1194444.9795 | 2786745.4446 | 1194449.8104 | 2786750.5506 | 1194456.2193
52 | 2786823.2669 | 1194421.7358 | 2786823.6637 | 1194421.504
53 | 2786754.6192 | 1194462.9458 | 2786754.105 | 1194460.6805 | 2786750.5506 | 1194456.2193
54 | 2786619.2744 | 1194256.9012 | 2786586.221 | 1194238.0738
55 | 2786570.3754 | 1194229.0481 | 2786531.9434 | 1194210.6424
56 | 2786570.3754 | 1194229.0481 | 2786586.221 | 1194238.0738
57 | 2786845.7373 | 1194408.6063 | 2786823.6637 | 1194421.504
58 | 2786804.8332 | 1194676.3934 | 2786804.8332 | 1194676.3934 | 2786794.7973 | 1194657.3274 | 2786783.4255 | 1194645.8608 | 2786775.6957 | 1194631.3381 | 2786776.7948 | 1194614.5654
59 | 2786804.8332 | 1194676.3934 | 2786814.6962 | 1194672.9311 | 2786821.0079 | 1194667.4227 | 2786825.5988 | 1194645.5077
60 | 2786776.7948 | 1194614.5654 | 2786777.2558 | 1194607.5294 | 2786776.9199 | 1194598.7545 | 2786772.9507 | 1194594.949 | 2786765.925 | 1194597.1875 | 2786761.2711 | 1194604.0714 | 2786750.9127 | 1194622.534
61 | 2786750.9127 | 1194622.534 | 2786737.881 | 1194645.7612 | 2786733.2184 | 1194648.7743 | 2786728.2605 | 1194650.2544 | 2786722.7822 | 1194648.8598 | 2786719.4098 | 1194645.4845 | 2786716.3511 | 1194638.6599 | 2786716.9649 | 1194631.9501 | 2786719.318 | 1194615.7071 | 2786720.2857 | 1194610.516
62 | 2786722.3067 | 1194570.0876 | 2786726.2998 | 1194578.2538 | 2786720.2857 | 1194610.516
63 | 2786753.9974 | 1194509.7713 | 2786722.3067 | 1194570.0876
64 | 2786751.7525 | 1194484.9539 | 2786751.0472 | 1194487.2675 | 2786753.9974 | 1194509.7713
65 | 2786722.3067 | 1194570.0876 | 2786703.0909 | 1194590.9534 | 2786690.9699 | 1194629.8367 | 2786685.8684 | 1194637.1156
66 | 2786722.3067 | 1194570.0876 | 2786718.2352 | 1194568.8259 | 2786710.1008 | 1194570.6244
67 | 2786751.7525 | 1194484.9539 | 2786752.4925 | 1194482.0185 | 2786754.2095 | 1194475.154 | 2786755.8749 | 1194468.477 | 2786754.6192 | 1194462.9458
68 | 2786751.7525 | 1194484.9539 | 2786780.6136 | 1194494.4004
69 | 2786683.8624 | 1194639.9778 | 2786685.8684 | 1194637.1156
70 | 2786683.2516 | 1194593.5567 | 2786685.5316 | 1194592.7296 | 2786709.9485 | 1194570.658 | 2786710.1008 | 1194570.6244
71 | 2786683.8624 | 1194639.9778 | 2786673.7834 | 1194654.3586 | 2786673.3891 | 1194654.5323
72 | 2786683.2516 | 1194593.5567 | 2786673.1116 | 1194597.2355 | 2786662.7878 | 1194587.1254
73 | 2786659.4874 | 1194660.6585 | 2786673.3891 | 1194654.5323
74 | 2786660.9371 | 1194575.1688 | 2786662.7878 | 1194587.1254 | 2786662.7878 | 1194587.1254
75 | 2786659.4874 | 1194660.6585 | 2786653.0428 | 1194663.4985 | 2786648.7826 | 1194669.3967
76 | 2786648.7826 | 1194669.3967 | 2786647.6534 | 1194670.9601
77 | 2786636.1911 | 1194686.8297 | 2786647.6534 | 1194670.9601
78 | 2786660.9371 | 1194575.1688 | 2786659.7605 | 1194567.5667 | 2786667.5383 | 1194536.5013
79 | 2786636.1911 | 1194686.8297 | 2786732.6688 | 1194979.5583
80 | 2786840.2737 | 1194520.4355 | 2786838.8404 | 1194519.7779
81 | 2786836.1293 | 1194518.5339 | 2786838.8404 | 1194519.7779
82 | 2786836.1293 | 1194518.5339 | 2786810.0394 | 1194506.5637
83 | 2786810.0394 | 1194506.5637 | 2786790.7852 | 1194497.7297 | 2786780.6136 | 1194494.4004

## bus_geodata
| x | y | coords
0 | 2787008.6049 | 1194302.4778
1 | 2786908.3976 | 1194408.5078
2 | 2786883.5218 | 1194400.5575
3 | 2786997.8175 | 1194480.2639
4 | 2787062.2977 | 1194576.267
5 | 2787068.1354 | 1194564.9962
6 | 2787030.4018 | 1194529.3425
7 | 2787080.5541 | 1194572.4569
8 | 2786859.1587 | 1194529.1001
9 | 2786857.3748 | 1194528.2816
10 | 2787010.2582 | 1194499.6473
11 | 2786433.4903 | 1194555.6681
12 | 2786431.7551 | 1194557.7153
13 | 2786451.4787 | 1194541.5527
14 | 2786421.539 | 1194578.1281
15 | 2786461.7862 | 1194533.8033
16 | 2786464.3634 | 1194495.2788
17 | 2786545.6105 | 1194518.368
18 | 2786454.3059 | 1194477.8367
19 | 2786564.0635 | 1194497.6845
20 | 2786360.8913 | 1194508.3682
21 | 2786357.7895 | 1194502.5672
22 | 2786392.1134 | 1194414.745
23 | 2786394.5155 | 1194384.4485
24 | 2786391.3189 | 1194424.854
25 | 2786408.4416 | 1194364.6934
26 | 2786419.3569 | 1194440.1406
27 | 2786330.7307 | 1194451.9609
28 | 2786555.3326 | 1194414.632
29 | 2786587.0363 | 1194425.4104
30 | 2786444.2193 | 1194376.8568
31 | 2786412.7062 | 1194350.968
32 | 2786428.724 | 1194456.3131
33 | 2786441.4731 | 1194478.3246
34 | 2786608.7791 | 1194450.9324
35 | 2786617.9367 | 1194437.286
36 | 2786594.6903 | 1194475.1215
37 | 2786622.6875 | 1194419.9105
38 | 2786566.0094 | 1194495.7589
39 | 2786625.4952 | 1194408.9487
40 | 2786662.9968 | 1194413.5232
41 | 2786629.7698 | 1194389.3002
42 | 2786702.2765 | 1194394.0958
43 | 2786639.6387 | 1194360.0977
44 | 2786740.3525 | 1194418.238
45 | 2786719.9093 | 1194426.3061
46 | 2786692.1445 | 1194381.2769
47 | 2786647.8992 | 1194343.3925
48 | 2786810.2458 | 1194424.7251
49 | 2786739.9699 | 1194444.9795
50 | 2786823.2669 | 1194421.7358
51 | 2786750.5506 | 1194456.2193
52 | 2786619.2744 | 1194256.9012
53 | 2786531.9434 | 1194210.6424
54 | 2786570.3754 | 1194229.0481
55 | 2786586.221 | 1194238.0738
56 | 2786845.7373 | 1194408.6063
57 | 2786823.6637 | 1194421.504
58 | 2786804.8332 | 1194676.3934
59 | 2786776.7948 | 1194614.5654
60 | 2786825.5988 | 1194645.5077
61 | 2786750.9127 | 1194622.534
62 | 2786720.2857 | 1194610.516
63 | 2786753.9974 | 1194509.7713
64 | 2786722.3067 | 1194570.0876
65 | 2786751.7525 | 1194484.9539
66 | 2786685.8684 | 1194637.1156
67 | 2786710.1008 | 1194570.6244
68 | 2786683.8624 | 1194639.9778
69 | 2786683.2516 | 1194593.5567
70 | 2786673.3891 | 1194654.5323
71 | 2786662.7878 | 1194587.1254
72 | 2786659.4874 | 1194660.6585
73 | 2786648.7826 | 1194669.3967
74 | 2786647.6534 | 1194670.9601
75 | 2786660.9371 | 1194575.1688
76 | 2786667.5383 | 1194536.5013
77 | 2786636.1911 | 1194686.8297
78 | 2786732.6688 | 1194979.5583
79 | 2786840.2737 | 1194520.4355
80 | 2786838.8404 | 1194519.7779
81 | 2786836.1293 | 1194518.5339
82 | 2786810.0394 | 1194506.5637
83 | 2786780.6136 | 1194494.4004
84 | 2786754.6192 | 1194462.9458
85 | 2786617.9367 | 1194437.286

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1