## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3891-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3891-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3891-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3891-1_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3891-1_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3891-1_0_2_node_392 | 0.4 | n |  | TRUE
6 | bus_LV_3891-1_0_2_node_116 | 0.4 | n |  | TRUE
7 | bus_LV_3891-1_0_2_node_204 | 0.4 | n |  | TRUE
8 | bus_LV_3891-1_0_2_node_205 | 0.4 | n |  | TRUE
9 | bus_LV_3891-1_0_2_node_207 | 0.4 | n |  | TRUE
10 | bus_LV_3891-1_0_2_node_206 | 0.4 | n |  | TRUE
11 | bus_LV_3891-1_0_2_node_209 | 0.4 | n |  | TRUE
12 | bus_LV_3891-1_0_2_node_208 | 0.4 | n |  | TRUE
13 | bus_LV_3891-1_0_2_node_210 | 0.4 | n |  | TRUE
14 | bus_LV_3891-1_0_2_node_118 | 0.4 | n |  | TRUE
15 | bus_LV_3891-1_0_2_node_214 | 0.4 | n |  | TRUE
16 | bus_LV_3891-1_0_2_node_94 | 0.4 | n |  | TRUE
17 | bus_LV_3891-1_0_2_node_215 | 0.4 | n |  | TRUE
18 | bus_LV_3891-1_0_2_node_114 | 0.4 | n |  | TRUE
19 | bus_LV_3891-1_0_2_node_110 | 0.4 | n |  | TRUE
20 | bus_LV_3891-1_0_2_node_95 | 0.4 | n |  | TRUE
21 | bus_LV_3891-1_0_2_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_3891-1_0_2_node_97 | 0.4 | n |  | TRUE
23 | bus_LV_3891-1_0_2_node_98 | 0.4 | n |  | TRUE
24 | bus_LV_3891-1_0_2_node_111 | 0.4 | n |  | TRUE
25 | bus_LV_3891-1_0_2_node_99 | 0.4 | n |  | TRUE
26 | bus_LV_3891-1_0_2_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_3891-1_0_2_node_113 | 0.4 | n |  | TRUE
28 | bus_LV_3891-1_0_2_node_108 | 0.4 | n |  | TRUE
29 | bus_LV_3891-1_0_2_node_109 | 0.4 | n |  | TRUE
30 | bus_LV_3891-1_0_2_node_112 | 0.4 | n |  | TRUE
31 | bus_LV_3891-1_0_2_node_115 | 0.4 | n |  | TRUE
32 | bus_LV_3891-1_0_2_node_117 | 0.4 | n |  | TRUE
33 | bus_MV_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3891-1_0_2_load_0 | 0 | 0.00052188 | 0.0001308 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3891-1_0_2_load_1 | 1 | 8.0808e-05 | 2.0253e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3891-1_0_2_load_5 | 4 | 8.6701e-05 | 2.1729e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3891-1_0_2_load_392 | 5 | 0.0012601 | 0.00031581 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3891-1_0_2_load_204 | 7 | 0.001143 | 0.00028647 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3891-1_0_2_load_205 | 8 | 0.00066468 | 0.00016658 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3891-1_0_2_load_206 | 10 | 0.0010049 | 0.00025184 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3891-1_0_2_load_210 | 13 | 7.9229e-05 | 1.9857e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3891-1_0_2_load_118 | 14 | 0.00028766 | 7.2095e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3891-1_0_2_load_214 | 15 | 0.00033985 | 8.5175e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3891-1_0_2_load_94 | 16 | 0.00019222 | 4.8174e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3891-1_0_2_load_215 | 17 | 0.0001245 | 3.1203e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3891-1_0_2_load_110 | 19 | 0.00027871 | 6.985e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3891-1_0_2_load_95 | 20 | 0.00013664 | 3.4245e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3891-1_0_2_load_96 | 21 | 0.00024047 | 6.0267e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3891-1_0_2_load_97 | 22 | 0.00095188 | 0.00023856 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3891-1_0_2_load_111 | 24 | 0.00070887 | 0.00017766 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3891-1_0_2_load_99 | 25 | 0.00036527 | 9.1546e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3891-1_0_2_load_113 | 27 | 0.00044322 | 0.00011108 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3891-1_0_2_load_108 | 28 | 0.00027273 | 6.8353e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3891-1_0_2_load_109 | 29 | 0.00029628 | 7.4256e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3891-1_0_2_load_117 | 32 | 0.00030953 | 7.7575e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3891-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.043224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3891-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.05594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3891-1_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.02512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3891-1_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.076549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3891-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 1.2926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3891-1_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 1.6993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3891-1_0_2_line_6 | NAYY 4x150 SE | 6 | 14 | 0.06098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3891-1_0_2_line_7 | NAYY 4x150 SE | 6 | 30 | 0.007913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3891-1_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.21673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3891-1_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.21231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3891-1_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.15709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3891-1_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.29939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3891-1_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.053868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3891-1_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.15735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3891-1_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.037957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3891-1_0_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.11024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3891-1_0_2_line_16 | NAYY 4x150 SE | 16 | 19 | 0.0066227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3891-1_0_2_line_17 | NAYY 4x150 SE | 17 | 18 | 0.30204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3891-1_0_2_line_18 | NAYY 4x150 SE | 18 | 26 | 0.092909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3891-1_0_2_line_19 | NAYY 4x150 SE | 18 | 29 | 0.12896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3891-1_0_2_line_20 | NAYY 4x150 SE | 19 | 29 | 0.14971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3891-1_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0012642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3891-1_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.17878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3891-1_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.29588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3891-1_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.12826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3891-1_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.13756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3891-1_0_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.22033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3891-1_0_2_line_27 | NAYY 4x150 SE | 24 | 30 | 0.32919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3891-1_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.16326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3891-1_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.014596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3891-1_0_2_line_30 | NAYY 4x150 SE | 30 | 31 | 0.046777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3891-1_0_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.11087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3891-1_0_2_trafo_111 | 0.25 MVA 20/0.4 kV | 33 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2778140.1894 | 1203924.7985 | 2778183.3339 | 1203922.1864
1 | 2778084.5674 | 1203923.0568 | 2778093.4729 | 1203923.4226 | 2778099.8466 | 1203924.4248 | 2778107.8447 | 1203926.1093 | 2778113.5312 | 1203926.4125 | 2778140.1894 | 1203924.7985
2 | 2778059.4614 | 1203925.1438 | 2778084.5674 | 1203923.0568
3 | 2778059.4614 | 1203925.1438 | 2778060.4921 | 1203929.134 | 2778062.0516 | 1203931.227 | 2778064.6232 | 1203932.5716 | 2778070.0347 | 1203933.9231 | 2778081.6537 | 1203935.2152 | 2778086.7001 | 1203936.5559 | 2778103.4316 | 1203944.1177 | 2778114.2522 | 1203948.4334 | 2778117.6272 | 1203950.4138 | 2778121.0711 | 1203953.9088 | 2778123.5041 | 1203959.1309
4 | 2778059.4614 | 1203925.1438 | 2776766.934 | 1203912.4663
5 | 2776724.3704 | 1202213.6621 | 2776766.934 | 1203912.4663
6 | 2776724.3704 | 1202213.6621 | 2776721.8451 | 1202214.5772 | 2776713.9155 | 1202213.3193 | 2776704.0237 | 1202216.085 | 2776694.4715 | 1202214.5788 | 2776690.9354 | 1202216.7097 | 2776685.9737 | 1202213.9936 | 2776683.1491 | 1202217.3022 | 2776679.1667 | 1202216.239 | 2776672.6012 | 1202214.9547 | 2776667.314 | 1202213.9752
7 | 2776732.1343 | 1202212.0235 | 2776724.3704 | 1202213.6621
8 | 2776806.4409 | 1201780.966 | 2776807.6903 | 1201792.2946 | 2776809.2316 | 1201800.6929 | 2776810.5835 | 1201817.0265 | 2776815.4241 | 1201827.9582 | 2776818.5991 | 1201838.0286 | 2776816.9393 | 1201845.7203 | 2776811.1653 | 1201852.6784 | 2776802.878 | 1201858.3387 | 2776775.8705 | 1201866.5032 | 2776759.7263 | 1201866.6369 | 2776747.4575 | 1201867.0855 | 2776742.2243 | 1201871.2125 | 2776742.004 | 1201877.1118 | 2776748.4733 | 1201879.3386 | 2776756.806 | 1201882.4325 | 2776762.0592 | 1201889.7172 | 2776763.1192 | 1201896.8778 | 2776758.0933 | 1201901.2111 | 2776743.1374 | 1201909.3211 | 2776738.455 | 1201913.2978
9 | 2776806.4409 | 1201780.966 | 2776826.9519 | 1201569.648
10 | 2776738.455 | 1201913.2978 | 2776710.2358 | 1201937.2641 | 2776684.7832 | 1201960.3339 | 2776675.1092 | 1201969.6236 | 2776665.0244 | 1201974.0074 | 2776653.0995 | 1201983.4307 | 2776643.5709 | 1201994.76 | 2776635.3096 | 1202004.7033 | 2776626.6617 | 1202013.8121 | 2776624.9978 | 1202019.3885
11 | 2776826.9519 | 1201569.648 | 2776836.6755 | 1201565.654 | 2776869.0076 | 1201563.9648 | 2776908.6773 | 1201555.7755 | 2776928.4913 | 1201542.1043 | 2776950.4252 | 1201526.0493 | 2776986.5957 | 1201505.1222 | 2777027.8002 | 1201479.8737 | 2777039.0076 | 1201473.8887 | 2777060.5312 | 1201464.7509 | 2777086.0182 | 1201459.3897 | 2777099.2025 | 1201459.1802
12 | 2776643.1796 | 1202068.4757 | 2776637.5756 | 1202059.1454 | 2776632.3129 | 1202050.6372 | 2776625.2044 | 1202033.7217 | 2776623.7109 | 1202023.7011 | 2776624.9978 | 1202019.3885
13 | 2776643.1796 | 1202068.4757 | 2776638.0976 | 1202092.2153 | 2776635.7034 | 1202122.4183 | 2776637.0511 | 1202139.1633 | 2776641.958 | 1202152.7438 | 2776642.5434 | 1202160.502 | 2776641.8328 | 1202184.5155 | 2776648.8166 | 1202197.1453 | 2776656.4996 | 1202206.7373 | 2776667.314 | 1202213.9752
14 | 2777099.2025 | 1201459.1802 | 2777075.215 | 1201451.7399 | 2777062.7678 | 1201448.5791
15 | 2777725.0819 | 1201999.6111 | 2777787.5411 | 1201908.7692
16 | 2777718.6031 | 1202000.9839 | 2777725.0819 | 1201999.6111
17 | 2777522.4992 | 1201952.1986 | 2777521.4554 | 1201946.0616 | 2777512.784 | 1201935.4158 | 2777493.6056 | 1201920.7874 | 2777477.2442 | 1201907.4773 | 2777467.3656 | 1201896.184 | 2777459.9131 | 1201892.7037 | 2777450.5281 | 1201892.2246 | 2777433.7497 | 1201892.9382 | 2777425.253 | 1201890.2499 | 2777423.3055 | 1201885.2984 | 2777423.8707 | 1201881.656 | 2777429.2252 | 1201873.4626 | 2777442.123 | 1201858.7757 | 2777463.0239 | 1201835.9741 | 2777475.7916 | 1201824.1306 | 2777486.92 | 1201820.8023 | 2777500.9634 | 1201817.5496 | 2777519.6792 | 1201813.4237 | 2777524.2661 | 1201810.3014 | 2777525.2499 | 1201804.6251 | 2777521.3827 | 1201790.463 | 2777517.2498 | 1201778.3173 | 2777516.2545 | 1201770.5468
18 | 2777522.4992 | 1201952.1986 | 2777516.8064 | 1201957.9351 | 2777506.8681 | 1201960.6981 | 2777500.3132 | 1201963.1502 | 2777488.7569 | 1201972.1713 | 2777473.8416 | 1201973.7632 | 2777456.6719 | 1201974.0647 | 2777436.068 | 1201970.4938
19 | 2777622.5603 | 1202033.5559 | 2777522.4992 | 1201952.1986
20 | 2777718.6031 | 1202000.9839 | 2777714.4964 | 1202001.8541 | 2777714.2406 | 1202004.0486 | 2777718.0076 | 1202006.7188 | 2777720.242 | 1202013.0248 | 2777723.0273 | 1202019.247 | 2777723.16 | 1202024.5117 | 2777717.6183 | 1202027.472 | 2777712.6804 | 1202029.338 | 2777709.4571 | 1202028.1076 | 2777701.9946 | 1202029.8319 | 2777692.4722 | 1202026.3008 | 2777684.1107 | 1202022.9155 | 2777677.9466 | 1202024.7785 | 2777660.292 | 1202020.6495 | 2777655.8703 | 1202020.5291 | 2777648.2159 | 1202022.3032 | 2777638.9076 | 1202021.5591 | 2777631.9603 | 1202022.0976 | 2777624.5183 | 1202021.3423 | 2777620.277 | 1202023.3515 | 2777617.7333 | 1202028.4586 | 2777620.6222 | 1202031.7144 | 2777622.5603 | 1202033.5559
21 | 2777222.9405 | 1201981.591 | 2777223.4703 | 1201980.4432
22 | 2777077.7548 | 1201944.6954 | 2777100.3257 | 1201948.2121 | 2777129.0106 | 1201952.3219 | 2777135.8907 | 1201954.5614 | 2777145.2575 | 1201962.5802 | 2777153.8631 | 1201975.459 | 2777162.7527 | 1201992.6282 | 2777172.4987 | 1202001.4702 | 2777183.7961 | 1202006.2876 | 2777193.6171 | 1202004.1323 | 2777207.9377 | 1201991.5224 | 2777216.8991 | 1201985.4823 | 2777222.9405 | 1201981.591
23 | 2777307.6681 | 1201942.1438 | 2777300.7156 | 1201935.4198 | 2777294.296 | 1201922.8059 | 2777283.5362 | 1201899.8866 | 2777270.5014 | 1201884.8296 | 2777257.6147 | 1201873.2472 | 2777243.6033 | 1201868.7605 | 2777232.98 | 1201870.4804 | 2777208.8826 | 1201875.2704 | 2777183.3707 | 1201876.137 | 2777179.2115 | 1201878.4604 | 2777178.8688 | 1201883.3328 | 2777186.8413 | 1201890.0868 | 2777198.0544 | 1201897.749 | 2777212.2239 | 1201908.9691 | 2777223.7677 | 1201926.0169 | 2777233.6165 | 1201945.25 | 2777236.7789 | 1201955.7207 | 2777236.8274 | 1201961.0162 | 2777226.6525 | 1201973.5488 | 2777223.4703 | 1201980.4432
24 | 2776973.617 | 1202019.5718 | 2777077.7548 | 1201944.6954
25 | 2777307.6681 | 1201942.1438 | 2777303.7162 | 1201946.7199 | 2777304.7285 | 1201953.6678 | 2777316.1845 | 1201964.1735 | 2777323.6958 | 1201975.4185 | 2777333.5716 | 1201984.2424 | 2777343.4365 | 1201998.8161 | 2777356.8864 | 1202013.474 | 2777365.6322 | 1202021.8751 | 2777392.7904 | 1202040.1769
26 | 2777307.6681 | 1201942.1438 | 2777323.7102 | 1201950.5725 | 2777332.0331 | 1201952.4435 | 2777338.1143 | 1201948.7537 | 2777338.0434 | 1201937.5518 | 2777331.0125 | 1201926.5435 | 2777323.9572 | 1201916.3575 | 2777323.155 | 1201909.0043 | 2777326.3257 | 1201903.8044 | 2777333.2784 | 1201903.5995 | 2777344.5636 | 1201908.8284 | 2777358.5653 | 1201919.0205 | 2777363.9637 | 1201931.3928 | 2777368.0633 | 1201943.126 | 2777372.8828 | 1201947.5511 | 2777395.115 | 1201955.5411 | 2777416.4318 | 1201960.2452 | 2777427.0548 | 1201965.4546 | 2777436.068 | 1201970.4938
27 | 2776732.1343 | 1202212.0235 | 2776751.7165 | 1202206.0969 | 2776765.3134 | 1202197.8133 | 2776779.0539 | 1202186.7424 | 2776793.0908 | 1202181.864 | 2776801.1172 | 1202179.8551 | 2776807.7362 | 1202172.3881 | 2776833.2996 | 1202162.2792 | 2776857.6922 | 1202152.6139 | 2776874.771 | 1202137.1043 | 2776895.8139 | 1202116.3404 | 2776921.9566 | 1202089.01 | 2776942.0457 | 1202056.7512 | 2776962.0945 | 1202030.7417 | 2776964.954 | 1202021.384 | 2776970.7911 | 1202013.071 | 2776973.617 | 1202019.5718
28 | 2777436.068 | 1201970.4938 | 2777430.2139 | 1201977.5602 | 2777431.8283 | 1201984.7485 | 2777440.8175 | 1201992.1338 | 2777468.9096 | 1202002.3335 | 2777496.3079 | 1202015.3711 | 2777501.3762 | 1202023.4629 | 2777499.3304 | 1202030.5313 | 2777476.6434 | 1202037.5977 | 2777457.3799 | 1202039.672 | 2777451.0501 | 1202039.6841 | 2777448.7033 | 1202048.1671
29 | 2777631.399 | 1202044.7148 | 2777628.7519 | 1202042.3776 | 2777627.111 | 1202037.8799 | 2777622.5603 | 1202033.5559
30 | 2776732.1343 | 1202212.0235 | 2776736.4902 | 1202202.7878 | 2776737.7999 | 1202186.3327 | 2776743.6764 | 1202167.1546
31 | 2776743.6764 | 1202167.1546 | 2776759.2577 | 1202151.5336 | 2776776.903 | 1202137.4641 | 2776799.0675 | 1202110.9607 | 2776818.4696 | 1202092.8728 | 2776821.3397 | 1202088.5765

## bus_geodata
| x | y | coords
0 | 2778140.1894 | 1203924.7985
1 | 2778183.3339 | 1203922.1864
2 | 2778084.5674 | 1203923.0568
3 | 2778059.4614 | 1203925.1438
4 | 2778123.5041 | 1203959.1309
5 | 2776766.934 | 1203912.4663
6 | 2776724.3704 | 1202213.6621
7 | 2776806.4409 | 1201780.966
8 | 2776738.455 | 1201913.2978
9 | 2776826.9519 | 1201569.648
10 | 2776624.9978 | 1202019.3885
11 | 2776643.1796 | 1202068.4757
12 | 2777099.2025 | 1201459.1802
13 | 2777062.7678 | 1201448.5791
14 | 2776667.314 | 1202213.9752
15 | 2777787.5411 | 1201908.7692
16 | 2777725.0819 | 1201999.6111
17 | 2777516.2545 | 1201770.5468
18 | 2777522.4992 | 1201952.1986
19 | 2777718.6031 | 1202000.9839
20 | 2777222.9405 | 1201981.591
21 | 2777223.4703 | 1201980.4432
22 | 2777077.7548 | 1201944.6954
23 | 2777307.6681 | 1201942.1438
24 | 2776973.617 | 1202019.5718
25 | 2777392.7904 | 1202040.1769
26 | 2777436.068 | 1201970.4938
27 | 2777448.7033 | 1202048.1671
28 | 2777631.399 | 1202044.7148
29 | 2777622.5603 | 1202033.5559
30 | 2776732.1343 | 1202212.0235
31 | 2776743.6764 | 1202167.1546
32 | 2776821.3397 | 1202088.5765
33 | 2776973.617 | 1202019.5718

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1