## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3891-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3891-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3891-2_0_2_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_3891-2_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3891-2_0_2_node_42 | 0.4 | n |  | TRUE
5 | bus_LV_3891-2_0_2_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_3891-2_0_2_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_3891-2_0_2_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_3891-2_0_2_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_3891-2_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3891-2_0_2_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_3891-2_0_2_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_3891-2_0_2_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_3891-2_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3891-2_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3891-2_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_3891-2_0_2_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_3891-2_0_2_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_3891-2_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3891-2_0_2_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_3891-2_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3891-2_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_3891-2_0_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_3891-2_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3891-2_0_2_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_3891-2_0_2_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3891-2_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3891-2_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3891-2_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3891-2_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3891-2_0_2_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_3891-2_0_2_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_3891-2_0_2_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_3891-2_0_2_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3891-2_0_2_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_3891-2_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3891-2_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_3891-2_0_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3891-2_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_3891-2_0_2_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_3891-2_0_2_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3891-2_0_2_node_40 | 0.4 | n |  | TRUE
42 | bus_MV_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3891-2_0_2_load_0 | 0 | 0.0012408 | 0.00031097 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3891-2_0_2_load_1 | 1 | 0.0010672 | 0.00026745 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3891-2_0_2_load_43 | 2 | 0.00039528 | 9.9065e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3891-2_0_2_load_2 | 3 | 0.00026059 | 6.5311e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3891-2_0_2_load_42 | 4 | 0.00027613 | 6.9205e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3891-2_0_2_load_32 | 6 | 0.00035162 | 8.8124e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3891-2_0_2_load_29 | 8 | 0.00027844 | 6.9784e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3891-2_0_2_load_9 | 9 | 0.00067709 | 0.0001697 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3891-2_0_2_load_3 | 10 | 0.00038186 | 9.5703e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3891-2_0_2_load_8 | 14 | 0.00068055 | 0.00017056 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3891-2_0_2_load_33 | 16 | 0.00084517 | 0.00021182 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3891-2_0_2_load_41 | 17 | 0.00098613 | 0.00024715 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3891-2_0_2_load_10 | 18 | 0.00048191 | 0.00012078 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3891-2_0_2_load_11 | 20 | 0.0002449 | 6.1377e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3891-2_0_2_load_27 | 22 | 0.00053558 | 0.00013423 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3891-2_0_2_load_12 | 24 | 0.00040612 | 0.00010178 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3891-2_0_2_load_13 | 25 | 0.00036945 | 9.2592e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3891-2_0_2_load_19 | 27 | 0.00048801 | 0.00012231 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3891-2_0_2_load_20 | 28 | 0.0004418 | 0.00011073 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3891-2_0_2_load_25 | 29 | 0.00052176 | 0.00013077 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3891-2_0_2_load_16 | 31 | 0.00052703 | 0.00013209 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3891-2_0_2_load_17 | 32 | 0.00026011 | 6.5191e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3891-2_0_2_load_23 | 33 | 0.00047597 | 0.00011929 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3891-2_0_2_load_26 | 35 | 0.00041605 | 0.00010427 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3891-2_0_2_load_24 | 36 | 0.00053565 | 0.00013425 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3891-2_0_2_load_30 | 38 | 0.00030424 | 7.625e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3891-2_0_2_load_35 | 39 | 0.00034005 | 8.5225e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3891-2_0_2_load_40 | 41 | 0.00040796 | 0.00010224 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3891-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00044625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3891-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.39831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3891-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3891-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.08994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3891-2_0_2_line_4 | NAYY 4x150 SE | 3 | 9 | 0.003312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3891-2_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.011826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3891-2_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.34827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3891-2_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.015623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3891-2_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.014209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3891-2_0_2_line_9 | NAYY 4x150 SE | 8 | 37 | 0.054807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3891-2_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.038278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3891-2_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.023379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3891-2_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.060315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3891-2_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.02296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3891-2_0_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.032792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3891-2_0_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.0084512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3891-2_0_2_line_16 | NAYY 4x150 SE | 14 | 18 | 0.17403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3891-2_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.023339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3891-2_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.026946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3891-2_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.076805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3891-2_0_2_line_20 | NAYY 4x150 SE | 19 | 40 | 0.19341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3891-2_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.038423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3891-2_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.024692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3891-2_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.039962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3891-2_0_2_line_24 | NAYY 4x150 SE | 22 | 35 | 0.02229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3891-2_0_2_line_25 | NAYY 4x150 SE | 23 | 32 | 0.019637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3891-2_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.019163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3891-2_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.024031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3891-2_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.015438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3891-2_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.018183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3891-2_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.013466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3891-2_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.034821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3891-2_0_2_line_32 | NAYY 4x150 SE | 29 | 33 | 0.016804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3891-2_0_2_line_33 | NAYY 4x150 SE | 30 | 34 | 0.009018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3891-2_0_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.01663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3891-2_0_2_line_35 | NAYY 4x150 SE | 33 | 36 | 0.010504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3891-2_0_2_line_36 | NAYY 4x150 SE | 34 | 41 | 0.016652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3891-2_0_2_line_37 | NAYY 4x150 SE | 34 | 39 | 0.10863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3891-2_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.095516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3891-2_0_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0080316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3891-2_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.1257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3891-2_0_2_trafo_11 | 0.25 MVA 20/0.4 kV | 42 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2783110.3658 | 1206940.1861 | 2783110.6653 | 1206940.5168
1 | 2783110.3658 | 1206940.1861 | 2782919.7726 | 1206590.44
2 | 2783124.4766 | 1206958.0869 | 2783124.1084 | 1206957.3083 | 2783117.9089 | 1206951.0007 | 2783114.8927 | 1206945.1245 | 2783114.0076 | 1206944.2075 | 2783110.6653 | 1206940.5168
3 | 2782958.8697 | 1206547.0742 | 2782957.4551 | 1206560.4531 | 2782958.8718 | 1206593.6745 | 2782949.8799 | 1206600.7173 | 2782919.7726 | 1206590.44
4 | 2783124.4766 | 1206958.0869 | 2783125.8926 | 1206961.081
5 | 2783368.0298 | 1207230.3828 | 2783363.2353 | 1207233.5944 | 2783358.5061 | 1207237.4086
6 | 2783358.5061 | 1207237.4086 | 2783130.0172 | 1206974.5737
7 | 2783358.5061 | 1207237.4086 | 2783352.7619 | 1207242.5485 | 2783346.8761 | 1207247.8398
8 | 2783130.0172 | 1206974.5737 | 2783128.3251 | 1206966.2245 | 2783125.8926 | 1206961.081
9 | 2783356.4864 | 1207285.5288 | 2783347.3424 | 1207286.1486 | 2783341.4196 | 1207282.741 | 2783336.8366 | 1207279.0743 | 2783339.0584 | 1207273.1477 | 2783342.6923 | 1207263.3715 | 2783345.0206 | 1207251.7535 | 2783346.8761 | 1207247.8398
10 | 2783686.2788 | 1207515.3777 | 2783684.8008 | 1207516.6669 | 2783680.5366 | 1207522.4304 | 2783676.3597 | 1207532.2786 | 2783677.6363 | 1207543.7073 | 2783675.4196 | 1207550.2939
11 | 2783668.964 | 1207572.7589 | 2783674.0427 | 1207554.3854 | 2783675.4196 | 1207550.2939
12 | 2783686.2788 | 1207515.3777 | 2783678.9186 | 1207504.2955 | 2783672.906 | 1207491.7088 | 2783669.4546 | 1207479.2344 | 2783665.9525 | 1207468.4045 | 2783663.1965 | 1207463.0031 | 2783661.8607 | 1207460.6597
13 | 2783668.964 | 1207572.7589 | 2783654.3843 | 1207556.4049 | 2783653.6903 | 1207555.6164
14 | 2783668.964 | 1207572.7589 | 2783676.2269 | 1207574.1505 | 2783679.247 | 1207573.198 | 2783684.6788 | 1207569.3056 | 2783686.5599 | 1207568.2735 | 2783690.1262 | 1207572.5654 | 2783692.1768 | 1207580.1139
15 | 2783661.8607 | 1207460.6597 | 2783653.756 | 1207458.2647
16 | 2783513.1568 | 1207462.0441 | 2783516.4465 | 1207467.4839 | 2783517.2283 | 1207468.7871 | 2783526.0802 | 1207476.9119 | 2783528.7896 | 1207481.1105 | 2783591.5339 | 1207533.3484 | 2783604.0836 | 1207537.7833 | 2783624.2468 | 1207541.8631 | 2783638.0088 | 1207544.2444 | 2783648.9505 | 1207550.2315 | 2783653.6903 | 1207555.6164
17 | 2783692.1768 | 1207580.1139 | 2783699.7412 | 1207575.175 | 2783703.5919 | 1207569.9882 | 2783708.4839 | 1207563.8547
18 | 2783730.4509 | 1207548.4039 | 2783718.3445 | 1207558.2413 | 2783708.4839 | 1207563.8547
19 | 2783471.6153 | 1207399.7565 | 2783474.4134 | 1207401.4805 | 2783479.283 | 1207411.1622 | 2783485.2738 | 1207418.0422 | 2783489.1804 | 1207425.3809 | 2783490.6813 | 1207435.4706 | 2783506.728 | 1207451.4133 | 2783513.1568 | 1207462.0441
20 | 2783871.2772 | 1207629.1328 | 2783866.6811 | 1207627.1447 | 2783866.3019 | 1207621.6719 | 2783858.9868 | 1207622.4697 | 2783849.6636 | 1207633.3603 | 2783845.9346 | 1207625.215 | 2783844.8187 | 1207601.1783 | 2783825.6498 | 1207598.6744 | 2783792.9846 | 1207586.4118 | 2783782.8104 | 1207578.7352 | 2783776.0264 | 1207571.9305 | 2783760.8908 | 1207562.5106 | 2783743.1308 | 1207556.5134 | 2783730.4509 | 1207548.4039
21 | 2783442.019 | 1207375.9035 | 2783452.8659 | 1207388.2049 | 2783471.6153 | 1207399.7565
22 | 2783442.019 | 1207375.9035 | 2783441.3944 | 1207363.7943 | 2783442.6011 | 1207351.2853
23 | 2783436.6442 | 1207414.8113 | 2783443.0624 | 1207395.1774 | 2783442.019 | 1207375.9035
24 | 2783424.7829 | 1207338.919 | 2783430.5604 | 1207341.1717 | 2783438.6829 | 1207345.8038 | 2783442.6011 | 1207351.2853
25 | 2783436.6442 | 1207414.8113 | 2783429.3961 | 1207411.9412 | 2783419.6951 | 1207405.1505
26 | 2783991.6558 | 1207745.0041 | 2783992.5934 | 1207738.2928 | 2783997.1858 | 1207731.5163 | 2784000.2504 | 1207728.6436
27 | 2784015.7374 | 1207710.6001 | 2784011.4876 | 1207718.1101 | 2784000.2504 | 1207728.6436
28 | 2784015.7374 | 1207710.6001 | 2784031.1239 | 1207711.8645
29 | 2784015.7374 | 1207710.6001 | 2784013.2195 | 1207703.4151 | 2784012.8686 | 1207697.0311 | 2784014.0437 | 1207693.0241
30 | 2784031.1239 | 1207711.8645 | 2784031.1239 | 1207711.8645 | 2784044.1759 | 1207708.5525
31 | 2784030.9102 | 1207662.8079 | 2784028.569 | 1207667.6518 | 2784015.7262 | 1207687.2871 | 2784014.0437 | 1207693.0241
32 | 2784044.1759 | 1207708.5525 | 2784058.2836 | 1207704.9726 | 2784060.4056 | 1207704.2282
33 | 2784030.9102 | 1207662.8079 | 2784030.2056 | 1207656.046 | 2784029.5941 | 1207653.9138
34 | 2783404.9712 | 1207397.7193 | 2783413.6245 | 1207400.901 | 2783419.6951 | 1207405.1505
35 | 2784070.3176 | 1207700.7514 | 2784060.4056 | 1207704.2282
36 | 2784029.5941 | 1207653.9138 | 2784025.5824 | 1207643.3461 | 2784024.3236 | 1207638.1478
37 | 2784029.5941 | 1207653.9138 | 2784020.1083 | 1207664.143 | 2783997.2651 | 1207664.0722 | 2783983.7958 | 1207668.4949 | 2783972.986 | 1207677.4932 | 2783956.8143 | 1207681.9438 | 2783957.4844 | 1207673.7895 | 2783951.3927 | 1207670.454 | 2783947.7485 | 1207659.3399
38 | 2783356.4864 | 1207285.5288 | 2783360.6632 | 1207300.6724 | 2783364.3993 | 1207308.6174 | 2783369.6575 | 1207315.0744 | 2783375.1103 | 1207318.9124 | 2783383.6839 | 1207318.7756 | 2783393.6302 | 1207318.7923 | 2783399.6246 | 1207321.6015 | 2783405.3742 | 1207327.1726 | 2783416.9037 | 1207335.8468 | 2783424.7829 | 1207338.919
39 | 2783356.4864 | 1207285.5288 | 2783360.6512 | 1207278.6614
40 | 2783871.2772 | 1207629.1328 | 2783876.0867 | 1207631.8503 | 2783883.8682 | 1207628.0194 | 2783889.7853 | 1207610.1168 | 2783903.7898 | 1207610.3039 | 2783922.2124 | 1207608.6252 | 2783927.0213 | 1207611.8545 | 2783929.4835 | 1207631.4614 | 2783938.0734 | 1207637.1986 | 2783940.5644 | 1207642.7921 | 2783944.6247 | 1207649.8133 | 2783947.7485 | 1207659.3399

## bus_geodata
| x | y | coords
0 | 2783110.3658 | 1206940.1861
1 | 2783110.6653 | 1206940.5168
2 | 2782919.7726 | 1206590.44
3 | 2783124.4766 | 1206958.0869
4 | 2782958.8697 | 1206547.0742
5 | 2783358.5061 | 1207237.4086
6 | 2783368.0298 | 1207230.3828
7 | 2783130.0172 | 1206974.5737
8 | 2783346.8761 | 1207247.8398
9 | 2783125.8926 | 1206961.081
10 | 2783675.4196 | 1207550.2939
11 | 2783686.2788 | 1207515.3777
12 | 2783668.964 | 1207572.7589
13 | 2783661.8607 | 1207460.6597
14 | 2783653.6903 | 1207555.6164
15 | 2783692.1768 | 1207580.1139
16 | 2783653.756 | 1207458.2647
17 | 2783708.4839 | 1207563.8547
18 | 2783513.1568 | 1207462.0441
19 | 2783730.4509 | 1207548.4039
20 | 2783471.6153 | 1207399.7565
21 | 2783442.019 | 1207375.9035
22 | 2783442.6011 | 1207351.2853
23 | 2783436.6442 | 1207414.8113
24 | 2783991.6558 | 1207745.0041
25 | 2784000.2504 | 1207728.6436
26 | 2784015.7374 | 1207710.6001
27 | 2784031.1239 | 1207711.8645
28 | 2784014.0437 | 1207693.0241
29 | 2784044.1759 | 1207708.5525
30 | 2784030.9102 | 1207662.8079
31 | 2783404.9712 | 1207397.7193
32 | 2783419.6951 | 1207405.1505
33 | 2784060.4056 | 1207704.2282
34 | 2784029.5941 | 1207653.9138
35 | 2783424.7829 | 1207338.919
36 | 2784070.3176 | 1207700.7514
37 | 2783356.4864 | 1207285.5288
38 | 2783360.6512 | 1207278.6614
39 | 2783947.7485 | 1207659.3399
40 | 2783871.2772 | 1207629.1328
41 | 2784024.3236 | 1207638.1478
42 | 2783471.6153 | 1207399.7565

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1