## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3891-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3891-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3891-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3891-9_0_5_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_3891-9_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3891-9_0_5_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_3891-9_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3891-9_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3891-9_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3891-9_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3891-9_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3891-9_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3891-9_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_3891-9_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3891-9_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3891-9_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_3891-9_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3891-9_0_5_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_3891-9_0_5_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_3891-9_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3891-9_0_5_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_3891-9_0_5_node_81 | 0.4 | n |  | TRUE
22 | bus_LV_3891-9_0_5_node_76 | 0.4 | n |  | TRUE
23 | bus_LV_3891-9_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3891-9_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3891-9_0_5_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3891-9_0_5_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_3891-9_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_3891-9_0_5_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_3891-9_0_5_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3891-9_0_5_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_3891-9_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_3891-9_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_3891-9_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3891-9_0_5_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_3891-9_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3891-9_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3891-9_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3891-9_0_5_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_3891-9_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_3891-9_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3891-9_0_5_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_3891-9_0_5_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_3891-9_0_5_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_3891-9_0_5_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_3891-9_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_3891-9_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_3891-9_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3891-9_0_5_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_3891-9_0_5_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_3891-9_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_3891-9_0_5_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3891-9_0_5_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_3891-9_0_5_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_3891-9_0_5_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3891-9_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_3891-9_0_5_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_3891-9_0_5_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3891-9_0_5_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_3891-9_0_5_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_3891-9_0_5_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_3891-9_0_5_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_3891-9_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_3891-9_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_3891-9_0_5_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_3891-9_0_5_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_3891-9_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_3891-9_0_5_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_3891-9_0_5_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_3891-9_0_5_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_3891-9_0_5_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_3891-9_0_5_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_3891-9_0_5_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_3891-9_0_5_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_3891-9_0_5_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_3891-9_0_5_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_3891-9_0_5_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_3891-9_0_5_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_3891-9_0_5_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_3891-9_0_5_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_3891-9_0_5_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_3891-9_0_5_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_3891-9_0_5_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_3891-9_0_5_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3891-9_0_5_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_3891-9_0_5_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_3891-9_0_5_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_3891-9_0_5_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_3891-9_0_5_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_3891-9_0_5_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_3891-9_0_5_node_90 | 0.4 | n |  | TRUE
91 | bus_MV_176_0_node_229 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3891-9_0_5_load_0 | 0 | 0.0033537 | 0.0008405 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3891-9_0_5_load_1 | 1 | 0.0011032 | 0.00027649 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3891-9_0_5_load_2 | 2 | 0.004278 | 0.0010722 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3891-9_0_5_load_3 | 4 | 0.0035323 | 0.00088528 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3891-9_0_5_load_19 | 5 | 0.0080744 | 0.0020236 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3891-9_0_5_load_4 | 6 | 0.00067912 | 0.0001702 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3891-9_0_5_load_5 | 7 | 0.0023417 | 0.00058689 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3891-9_0_5_load_7 | 9 | 0.0018423 | 0.00046172 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3891-9_0_5_load_8 | 10 | 0.0011894 | 0.00029809 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3891-9_0_5_load_14 | 12 | 0.00042588 | 0.00010673 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3891-9_0_5_load_10 | 13 | 0.0037611 | 0.00094262 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3891-9_0_5_load_11 | 14 | 0.0011723 | 0.0002938 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3891-9_0_5_load_16 | 15 | 0.003777 | 0.00094661 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3891-9_0_5_load_13 | 16 | 0.0015265 | 0.00038258 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3891-9_0_5_load_20 | 17 | 0.0018499 | 0.00046363 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3891-9_0_5_load_17 | 18 | 0.0018344 | 0.00045975 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3891-9_0_5_load_81 | 21 | 0.00037682 | 9.444e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3891-9_0_5_load_76 | 22 | 0.00053312 | 0.00013361 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3891-9_0_5_load_18 | 23 | 0.0046166 | 0.001157 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3891-9_0_5_load_21 | 24 | 0.0080074 | 0.0020069 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3891-9_0_5_load_28 | 28 | 0.029546 | 0.007405 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3891-9_0_5_load_25 | 29 | 0.0042471 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3891-9_0_5_load_34 | 30 | 0.001831 | 0.00045889 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3891-9_0_5_load_33 | 31 | 0.0051568 | 0.0012924 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3891-9_0_5_load_29 | 32 | 0.013681 | 0.0034287 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3891-9_0_5_load_26 | 33 | 0.0005974 | 0.00014972 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3891-9_0_5_load_31 | 36 | 0.0011006 | 0.00027584 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3891-9_0_5_load_32 | 37 | 0.0017479 | 0.00043806 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3891-9_0_5_load_42 | 38 | 0.0033983 | 0.0008517 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3891-9_0_5_load_36 | 40 | 0.0013636 | 0.00034174 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3891-9_0_5_load_35 | 41 | 0.0064176 | 0.0016084 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3891-9_0_5_load_41 | 42 | 0.0035642 | 0.00089327 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3891-9_0_5_load_45 | 43 | 0.002654 | 0.00066517 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3891-9_0_5_load_39 | 46 | 0.010466 | 0.0026231 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3891-9_0_5_load_40 | 47 | 0.0085951 | 0.0021541 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3891-9_0_5_load_43 | 48 | 0.0034091 | 0.0008544 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3891-9_0_5_load_44 | 49 | 0.003217 | 0.00080626 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3891-9_0_5_load_46 | 50 | 0.0016233 | 0.00040684 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3891-9_0_5_load_48 | 51 | 0.0025638 | 0.00064256 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3891-9_0_5_load_49 | 52 | 0.0018971 | 0.00047546 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3891-9_0_5_load_50 | 53 | 0.00031955 | 8.0087e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3891-9_0_5_load_52 | 55 | 0.00018585 | 4.6579e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3891-9_0_5_load_53 | 56 | 0.00013358 | 3.348e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3891-9_0_5_load_54 | 57 | 0.0036027 | 0.00090292 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3891-9_0_5_load_56 | 58 | 0.00070183 | 0.0001759 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3891-9_0_5_load_86 | 59 | 0.0014785 | 0.00037055 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3891-9_0_5_load_57 | 61 | 0.00026961 | 6.7571e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3891-9_0_5_load_62 | 62 | 0.00076856 | 0.00019262 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3891-9_0_5_load_58 | 63 | 0.00040435 | 0.00010134 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3891-9_0_5_load_59 | 64 | 0.000275 | 6.8923e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3891-9_0_5_load_61 | 65 | 0.00064176 | 0.00016084 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3891-9_0_5_load_60 | 66 | 0.00024134 | 6.0486e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3891-9_0_5_load_82 | 67 | 0.00076725 | 0.00019229 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3891-9_0_5_load_63 | 68 | 0.0011258 | 0.00028215 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3891-9_0_5_load_64 | 69 | 0.0016291 | 0.00040829 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3891-9_0_5_load_65 | 70 | 0.0021274 | 0.00053316 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3891-9_0_5_load_66 | 71 | 0.0020318 | 0.00050922 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3891-9_0_5_load_67 | 72 | 0.0017776 | 0.00044551 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3891-9_0_5_load_69 | 74 | 0.0018789 | 0.00047089 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3891-9_0_5_load_70 | 75 | 0.0014876 | 0.00037283 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3891-9_0_5_load_91 | 77 | 0.00097447 | 0.00024423 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3891-9_0_5_load_88 | 78 | 0.0014544 | 0.00036452 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3891-9_0_5_load_71 | 81 | 0.0012315 | 0.00030864 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3891-9_0_5_load_79 | 82 | 0.0011599 | 0.0002907 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3891-9_0_5_load_77 | 83 | 0.00061043 | 0.00015299 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3891-9_0_5_load_74 | 85 | 0.00031442 | 7.8802e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3891-9_0_5_load_75 | 86 | 0.00027668 | 6.9342e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3891-9_0_5_load_80 | 87 | 0.0015605 | 0.0003911 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3891-9_0_5_load_89 | 88 | 0.0013133 | 0.00032914 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3891-9_0_5_load_83 | 89 | 0.00081957 | 0.0002054 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3891-9_0_5_load_90 | 90 | 0.0014673 | 0.00036774 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3891-9_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.047486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3891-9_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3891-9_0_5_line_2 | NAYY 4x150 SE | 0 | 3 | 0.027299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3891-9_0_5_line_3 | NAYY 4x150 SE | 1 | 4 | 0.012805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3891-9_0_5_line_4 | NAYY 4x150 SE | 1 | 5 | 0.041966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3891-9_0_5_line_5 | NAYY 4x150 SE | 3 | 14 | 0.022749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3891-9_0_5_line_6 | NAYY 4x150 SE | 4 | 15 | 0.021721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3891-9_0_5_line_7 | NAYY 4x150 SE | 6 | 7 | 0.0032794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3891-9_0_5_line_8 | NAYY 4x150 SE | 6 | 8 | 0.036575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3891-9_0_5_line_9 | NAYY 4x150 SE | 7 | 9 | 0.012683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3891-9_0_5_line_10 | NAYY 4x150 SE | 8 | 10 | 0.026986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3891-9_0_5_line_11 | NAYY 4x150 SE | 8 | 11 | 0.011104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3891-9_0_5_line_12 | NAYY 4x150 SE | 9 | 12 | 0.051896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3891-9_0_5_line_13 | NAYY 4x150 SE | 11 | 16 | 0.01391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3891-9_0_5_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0083695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3891-9_0_5_line_15 | NAYY 4x150 SE | 12 | 19 | 0.01158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3891-9_0_5_line_16 | NAYY 4x150 SE | 13 | 14 | 0.023545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3891-9_0_5_line_17 | NAYY 4x150 SE | 15 | 18 | 0.02387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_3891-9_0_5_line_18 | NAYY 4x150 SE | 16 | 17 | 0.029436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3891-9_0_5_line_19 | NAYY 4x150 SE | 18 | 23 | 0.018206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3891-9_0_5_line_20 | NAYY 4x150 SE | 19 | 20 | 0.10293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3891-9_0_5_line_21 | NAYY 4x150 SE | 20 | 21 | 0.011033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3891-9_0_5_line_22 | NAYY 4x150 SE | 20 | 22 | 0.010322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3891-9_0_5_line_23 | NAYY 4x150 SE | 21 | 88 | 0.019211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3891-9_0_5_line_24 | NAYY 4x150 SE | 22 | 83 | 0.024414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3891-9_0_5_line_25 | NAYY 4x150 SE | 23 | 24 | 0.01637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3891-9_0_5_line_26 | NAYY 4x150 SE | 24 | 25 | 0.012799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3891-9_0_5_line_27 | NAYY 4x150 SE | 25 | 26 | 0.043771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3891-9_0_5_line_28 | NAYY 4x150 SE | 25 | 27 | 0.08061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3891-9_0_5_line_29 | NAYY 4x150 SE | 26 | 28 | 0.089451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3891-9_0_5_line_30 | NAYY 4x150 SE | 26 | 29 | 0.002413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3891-9_0_5_line_31 | NAYY 4x150 SE | 27 | 30 | 0.066185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3891-9_0_5_line_32 | NAYY 4x150 SE | 27 | 31 | 0.013041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3891-9_0_5_line_33 | NAYY 4x150 SE | 28 | 32 | 0.00017499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3891-9_0_5_line_34 | NAYY 4x150 SE | 29 | 33 | 0.025697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3891-9_0_5_line_35 | NAYY 4x150 SE | 30 | 34 | 0.0086547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3891-9_0_5_line_36 | NAYY 4x150 SE | 32 | 39 | 0.03022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3891-9_0_5_line_37 | NAYY 4x150 SE | 33 | 35 | 0.013898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3891-9_0_5_line_38 | NAYY 4x150 SE | 34 | 43 | 0.0236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3891-9_0_5_line_39 | NAYY 4x150 SE | 35 | 36 | 0.015389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3891-9_0_5_line_40 | NAYY 4x150 SE | 35 | 37 | 0.01196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3891-9_0_5_line_41 | NAYY 4x150 SE | 36 | 38 | 0.023474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3891-9_0_5_line_42 | NAYY 4x150 SE | 38 | 42 | 0.045797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3891-9_0_5_line_43 | NAYY 4x150 SE | 39 | 40 | 0.018923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3891-9_0_5_line_44 | NAYY 4x150 SE | 40 | 41 | 0.017582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3891-9_0_5_line_45 | NAYY 4x150 SE | 41 | 44 | 0.0091075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3891-9_0_5_line_46 | NAYY 4x150 SE | 42 | 48 | 0.013983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3891-9_0_5_line_47 | NAYY 4x150 SE | 43 | 50 | 0.026098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3891-9_0_5_line_48 | NAYY 4x150 SE | 44 | 45 | 0.031806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3891-9_0_5_line_49 | NAYY 4x150 SE | 44 | 46 | 0.084392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3891-9_0_5_line_50 | NAYY 4x150 SE | 45 | 47 | 0.015249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3891-9_0_5_line_51 | NAYY 4x150 SE | 48 | 49 | 0.039919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3891-9_0_5_line_52 | NAYY 4x150 SE | 50 | 51 | 0.086344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3891-9_0_5_line_53 | NAYY 4x150 SE | 51 | 52 | 0.057583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3891-9_0_5_line_54 | NAYY 4x150 SE | 53 | 54 | 0.026787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3891-9_0_5_line_55 | NAYY 4x150 SE | 53 | 55 | 0.065057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3891-9_0_5_line_56 | NAYY 4x150 SE | 54 | 56 | 0.06738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3891-9_0_5_line_57 | NAYY 4x150 SE | 54 | 57 | 0.079965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3891-9_0_5_line_58 | NAYY 4x150 SE | 55 | 58 | 0.069932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3891-9_0_5_line_59 | NAYY 4x150 SE | 56 | 61 | 0.0070185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3891-9_0_5_line_60 | NAYY 4x150 SE | 57 | 62 | 0.097944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3891-9_0_5_line_61 | NAYY 4x150 SE | 59 | 60 | 0.055043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3891-9_0_5_line_62 | NAYY 4x150 SE | 60 | 67 | 0.04519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3891-9_0_5_line_63 | NAYY 4x150 SE | 60 | 62 | 0.14525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3891-9_0_5_line_64 | NAYY 4x150 SE | 61 | 63 | 0.022898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3891-9_0_5_line_65 | NAYY 4x150 SE | 63 | 64 | 0.022214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3891-9_0_5_line_66 | NAYY 4x150 SE | 64 | 65 | 0.14532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3891-9_0_5_line_67 | NAYY 4x150 SE | 65 | 66 | 0.025848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3891-9_0_5_line_68 | NAYY 4x150 SE | 67 | 89 | 0.025762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_3891-9_0_5_line_69 | NAYY 4x150 SE | 68 | 69 | 0.01444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3891-9_0_5_line_70 | NAYY 4x150 SE | 68 | 70 | 0.016657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3891-9_0_5_line_71 | NAYY 4x150 SE | 69 | 71 | 0.048227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3891-9_0_5_line_72 | NAYY 4x150 SE | 70 | 72 | 0.052343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3891-9_0_5_line_73 | NAYY 4x150 SE | 71 | 73 | 0.0055502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3891-9_0_5_line_74 | NAYY 4x150 SE | 73 | 74 | 0.03872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_3891-9_0_5_line_75 | NAYY 4x150 SE | 73 | 75 | 0.0067804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_3891-9_0_5_line_76 | NAYY 4x150 SE | 74 | 76 | 0.0098903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_3891-9_0_5_line_77 | NAYY 4x150 SE | 75 | 77 | 0.017999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_3891-9_0_5_line_78 | NAYY 4x150 SE | 76 | 78 | 0.017385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3891-9_0_5_line_79 | NAYY 4x150 SE | 76 | 79 | 0.022979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_3891-9_0_5_line_80 | NAYY 4x150 SE | 77 | 80 | 0.12599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_3891-9_0_5_line_81 | NAYY 4x150 SE | 79 | 90 | 0.043412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3891-9_0_5_line_82 | NAYY 4x150 SE | 79 | 89 | 0.034534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_3891-9_0_5_line_83 | NAYY 4x150 SE | 80 | 81 | 0.035003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_3891-9_0_5_line_84 | NAYY 4x150 SE | 81 | 82 | 0.12798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_3891-9_0_5_line_85 | NAYY 4x150 SE | 82 | 83 | 0.057211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_3891-9_0_5_line_86 | NAYY 4x150 SE | 83 | 87 | 0.085375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3891-9_0_5_line_87 | NAYY 4x150 SE | 84 | 85 | 0.012001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3891-9_0_5_line_88 | NAYY 4x150 SE | 84 | 86 | 0.0044755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3891-9_0_5_line_89 | NAYY 4x150 SE | 86 | 87 | 0.028698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3891-9_0_5_trafo_24 | 0.25 MVA 20/0.4 kV | 91 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2777330.2102 | 1199868.0349 | 2777344.8282 | 1199871.8745 | 2777355.7654 | 1199875.1021 | 2777358.8884 | 1199876.6741 | 2777361.3538 | 1199878.8383 | 2777363.0049 | 1199880.9671 | 2777363.9965 | 1199883.7548 | 2777364.4068 | 1199887.1258 | 2777364.0784 | 1199889.9744 | 2777362.9185 | 1199891.9324
1 | 2777319.4778 | 1199865.216 | 2777330.2102 | 1199868.0349
2 | 2777330.2102 | 1199868.0349 | 2777333.5708 | 1199840.9438
3 | 2777362.9185 | 1199891.9324 | 2777362.803 | 1199892.1275 | 2777360.8165 | 1199893.848 | 2777357.6424 | 1199894.7658 | 2777351.0498 | 1199895.6042
4 | 2777362.9185 | 1199891.9324 | 2777384.1367 | 1199855.7251
5 | 2777333.5708 | 1199840.9438 | 2777355.7419 | 1199835.8488
6 | 2777329.3937 | 1199894.9296 | 2777342.3347 | 1199896.0574 | 2777349.7723 | 1199895.7666 | 2777351.0498 | 1199895.6042
7 | 2777395.5989 | 1199790.2349 | 2777397.8445 | 1199787.845
8 | 2777383.4642 | 1199823.7296 | 2777382.9535 | 1199820.6559 | 2777382.9098 | 1199816.9955 | 2777383.5229 | 1199813.5437 | 2777385.0643 | 1199809.619 | 2777388.9995 | 1199801.5501 | 2777395.5989 | 1199790.2349 | 2777395.5989 | 1199790.2349
9 | 2777397.8445 | 1199787.845 | 2777398.8013 | 1199786.8267 | 2777401.4967 | 1199784.3264 | 2777404.8912 | 1199781.8915 | 2777407.8515 | 1199780.1553
10 | 2777367.809 | 1199804.9023 | 2777366.8629 | 1199807.766 | 2777366.6886 | 1199809.2734 | 2777367.2316 | 1199811.0023 | 2777369.7877 | 1199813.703 | 2777383.4642 | 1199823.7296
11 | 2777387.3386 | 1199834.1214 | 2777383.5999 | 1199824.5456 | 2777383.4642 | 1199823.7296
12 | 2777449.8916 | 1199752.1487 | 2777445.5738 | 1199757.7311 | 2777441.3402 | 1199763.789 | 2777438.8506 | 1199766.0284 | 2777435.7983 | 1199767.7173 | 2777419.6576 | 1199774.467 | 2777410.1256 | 1199778.8216 | 2777407.8515 | 1199780.1553
13 | 2777387.3386 | 1199834.1214 | 2777390.3301 | 1199838.0695 | 2777397.2924 | 1199843.7041
14 | 2777387.3386 | 1199834.1214 | 2777378.9975 | 1199833.4326
15 | 2777456.9765 | 1199742.9885 | 2777449.8916 | 1199752.1487
16 | 2777378.9975 | 1199833.4326 | 2777373.8775 | 1199833.0097 | 2777369.5292 | 1199833.1809 | 2777364.0435 | 1199833.9411 | 2777355.7419 | 1199835.8488
17 | 2777305.6142 | 1199892.8572 | 2777329.3937 | 1199894.9296
18 | 2777397.2924 | 1199843.7041 | 2777420.1738 | 1199862.2219
19 | 2777305.6142 | 1199892.8572 | 2777303.2339 | 1199892.6497 | 2777290.3882 | 1199891.601 | 2777287.4617 | 1199891.7023
20 | 2777428.584 | 1199644.0495 | 2777456.9765 | 1199742.9885
21 | 2777428.584 | 1199644.0495 | 2777439.1719 | 1199640.9488
22 | 2777428.584 | 1199644.0495 | 2777423.7568 | 1199636.7436 | 2777422.7752 | 1199635.5244
23 | 2777456.9451 | 1199633.7814 | 2777445.3409 | 1199639.1422 | 2777439.1719 | 1199640.9488
24 | 2777407.4649 | 1199616.5071 | 2777422.7752 | 1199635.5244
25 | 2777271.1403 | 1199892.7817 | 2777271.9033 | 1199892.6316 | 2777278.6269 | 1199892.0082 | 2777287.4617 | 1199891.7023
26 | 2777259.6712 | 1199898.1186 | 2777264.5874 | 1199894.9836 | 2777267.8259 | 1199893.4337 | 2777271.1403 | 1199892.7817
27 | 2777259.6712 | 1199898.1186 | 2777262.707 | 1199901.3451 | 2777279.7766 | 1199916.9332 | 2777283.7097 | 1199919.9639 | 2777287.8184 | 1199922.4659 | 2777293.7086 | 1199925.2767
28 | 2777199.0751 | 1199845.1817 | 2777208.989 | 1199851.8265 | 2777222.221 | 1199861.4281 | 2777233.996 | 1199871.854 | 2777245.8861 | 1199883.7959 | 2777259.6712 | 1199898.1186
29 | 2777293.7086 | 1199925.2767 | 2777275.7683 | 1199929.7823 | 2777268.881 | 1199931.046 | 2777263.3149 | 1199931.6926 | 2777204.9912 | 1199930.0349
30 | 2777293.7086 | 1199925.2767 | 2777295.9587 | 1199926.1484
31 | 2777199.0751 | 1199845.1817 | 2777177.8591 | 1199835.5323 | 2777168.0396 | 1199832.1269 | 2777141.9796 | 1199825.7484 | 2777136.4707 | 1199824.4685
32 | 2777199.0751 | 1199845.1817 | 2777209.4214 | 1199847.524 | 2777211.7357 | 1199848.2732
33 | 2777204.8163 | 1199930.03 | 2777204.9912 | 1199930.0349
34 | 2777295.9587 | 1199926.1484 | 2777298.3413 | 1199927.0714 | 2777306.8651 | 1199929.9715 | 2777320.4501 | 1199933.8857
35 | 2777128.0405 | 1199822.5099 | 2777136.4707 | 1199824.4685
36 | 2777174.6086 | 1199929.1714 | 2777204.8163 | 1199930.03
37 | 2777333.8053 | 1199937.7337 | 2777320.4501 | 1199933.8857
38 | 2777128.0405 | 1199822.5099 | 2777117.6653 | 1199825.7612 | 2777104.9382 | 1199825.6746
39 | 2777333.8053 | 1199937.7337 | 2777318.5647 | 1199939.8627
40 | 2777333.8053 | 1199937.7337 | 2777345.1601 | 1199941.4907
41 | 2777295.4606 | 1199943.8713 | 2777296.7187 | 1199943.4837 | 2777304.1266 | 1199941.8796 | 2777318.5647 | 1199939.8627
42 | 2777253.2164 | 1199961.3405 | 2777269.7725 | 1199955.4294 | 2777286.013 | 1199947.3477 | 2777291.582 | 1199945.0662 | 2777295.4606 | 1199943.8713
43 | 2777174.6086 | 1199929.1714 | 2777159.212 | 1199927.8137 | 2777155.7759 | 1199927.3545
44 | 2777138.3493 | 1199925.0255 | 2777155.7759 | 1199927.3545
45 | 2777129.3087 | 1199924.3798 | 2777130.5641 | 1199924.1835 | 2777132.7936 | 1199924.283 | 2777138.3493 | 1199925.0255
46 | 2777253.2164 | 1199961.3405 | 2777240.0479 | 1199966.0422
47 | 2777104.9382 | 1199825.6746 | 2777090.8957 | 1199825.5791 | 2777078.9941 | 1199827.495
48 | 2777129.3087 | 1199924.3798 | 2777128.3446 | 1199925.2854 | 2777127.753 | 1199926.736 | 2777127.2674 | 1199928.4677 | 2777124.137 | 1199955.4011
49 | 2777068.8386 | 1199916.247 | 2777082.6176 | 1199929.5014 | 2777097.0884 | 1199940.4963 | 2777103.1737 | 1199944.1802 | 2777105.8985 | 1199945.3065 | 2777107.8685 | 1199945.4205 | 2777110.13 | 1199944.6979 | 2777112.171 | 1199943.1903 | 2777113.634 | 1199941.1316 | 2777114.7835 | 1199938.0849 | 2777117.2111 | 1199929.1927 | 2777118.6872 | 1199925.9221 | 2777120.1345 | 1199924.6527 | 2777121.4408 | 1199923.7683 | 2777123.0916 | 1199923.0832 | 2777125.8226 | 1199923.2309 | 2777129.3087 | 1199924.3798
50 | 2777124.137 | 1199955.4011 | 2777127.0853 | 1199957.2125 | 2777129.8839 | 1199958.4188 | 2777133.549 | 1199959.4395 | 2777138.3519 | 1199960.5812
51 | 2777240.0479 | 1199966.0422 | 2777237.1589 | 1199967.0737 | 2777219.3814 | 1199972.7743 | 2777212.3677 | 1199974.4458 | 2777206.0957 | 1199975.5165 | 2777203.5522 | 1199975.986 | 2777201.9242 | 1199976.6717 | 2777201.728 | 1199976.8372
52 | 2777078.9941 | 1199827.495 | 2777043.8723 | 1199833.1491 | 2777014.1686 | 1199842.2449 | 2776995.0104 | 1199846.8536
53 | 2776939.9657 | 1199863.4797 | 2776968.8908 | 1199853.137 | 2776995.0104 | 1199846.8536
54 | 2776676.8807 | 1199576.0752 | 2776667.5311 | 1199586.8983 | 2776661.2657 | 1199592.6298 | 2776657.9877 | 1199594.9098
55 | 2776598.8621 | 1199621.6696 | 2776610.5932 | 1199615.855 | 2776621.4374 | 1199610.9151 | 2776644.9252 | 1199602.2896 | 2776654.8085 | 1199597.1211 | 2776657.9877 | 1199594.9098
56 | 2776676.8807 | 1199576.0752 | 2776662.1862 | 1199576.1966 | 2776641.0978 | 1199570.6792 | 2776622.459 | 1199565.0342 | 2776617.3325 | 1199565.4942 | 2776611.5194 | 1199567.8304
57 | 2776676.8807 | 1199576.0752 | 2776688.789 | 1199559.9004 | 2776698.3364 | 1199546.2583 | 2776706.1572 | 1199537.1473 | 2776716.5244 | 1199527.4778 | 2776730.1097 | 1199517.1849
58 | 2776667.0444 | 1199632.973 | 2776649.5186 | 1199631.4425 | 2776619.2456 | 1199625.2531 | 2776608.4832 | 1199624.3342 | 2776602.902 | 1199624.9699 | 2776598.8621 | 1199621.6696
59 | 2776611.5194 | 1199567.8304 | 2776607.4079 | 1199569.4827 | 2776604.8233 | 1199569.3633
60 | 2776730.1097 | 1199517.1849 | 2776731.6694 | 1199516.0032 | 2776747.4609 | 1199506.6277 | 2776777.4079 | 1199489.352 | 2776787.1788 | 1199482.8458 | 2776796.4489 | 1199474.979 | 2776809.8383 | 1199461.2845
61 | 2776954.1024 | 1199484.5973 | 2776942.0873 | 1199489.9469 | 2776936.1131 | 1199487.1229 | 2776934.6768 | 1199480.5629 | 2776939.6607 | 1199475.4054 | 2776955.0843 | 1199460.4586
62 | 2776955.0843 | 1199460.4586 | 2776959.4231 | 1199466.0146 | 2776975.8067 | 1199476.2762 | 2776993.9643 | 1199481.1806
63 | 2776955.0843 | 1199460.4586 | 2776809.8383 | 1199461.2845
64 | 2776582.7225 | 1199564.3825 | 2776584.6779 | 1199565.3628 | 2776596.0166 | 1199568.9567 | 2776604.8233 | 1199569.3633
65 | 2776564.9154 | 1199551.4168 | 2776567.441 | 1199554.0538 | 2776575.5776 | 1199560.8006 | 2776582.7225 | 1199564.3825
66 | 2776564.9154 | 1199551.4168 | 2776488.1551 | 1199428.0239
67 | 2776488.1551 | 1199428.0239 | 2776473.8021 | 1199422.5059 | 2776463.5118 | 1199420.5673
68 | 2776993.9643 | 1199481.1806 | 2777000.4127 | 1199482.9223 | 2777015.3198 | 1199490.293 | 2777017.6017 | 1199491.1934
69 | 2777062.937 | 1199564.1116 | 2777074.9825 | 1199556.1476
70 | 2777062.937 | 1199564.1116 | 2777055.536 | 1199569.0048 | 2777049.4289 | 1199573.8324
71 | 2777114.9651 | 1199529.2638 | 2777114.3163 | 1199529.9193 | 2777111.5831 | 1199531.64 | 2777107.2525 | 1199534.0362 | 2777093.8375 | 1199543.6815 | 2777074.9825 | 1199556.1476
72 | 2777018.8213 | 1199562.9116 | 2777019.855 | 1199571.2281 | 2777019.9153 | 1199574.0771 | 2777019.525 | 1199578.2473 | 2777019.9255 | 1199580.4168 | 2777021.0999 | 1199582.6983 | 2777023.1239 | 1199584.3376 | 2777027.5158 | 1199585.0127 | 2777033.0682 | 1199584.0651 | 2777037.6381 | 1199582.3321 | 2777040.5782 | 1199580.8289 | 2777049.4289 | 1199573.8324
73 | 2777116.7465 | 1199524.2858 | 2777116.854 | 1199525.8016 | 2777115.9738 | 1199528.2445 | 2777114.9651 | 1199529.2638
74 | 2777116.7465 | 1199524.2858 | 2777116.069 | 1199522.464 | 2777114.622 | 1199521.1532 | 2777108.4963 | 1199517.5348 | 2777100.9961 | 1199514.0092 | 2777082.8323 | 1199507.1331
75 | 2777116.7465 | 1199524.2858 | 2777123.4219 | 1199523.0966
76 | 2777073.5826 | 1199503.6315 | 2777082.8323 | 1199507.1331
77 | 2777141.1422 | 1199519.9396 | 2777123.4219 | 1199523.0966
78 | 2777058.1488 | 1199511.7155 | 2777073.5826 | 1199503.6315
79 | 2777050.7654 | 1199500.397 | 2777073.5826 | 1199503.6315
80 | 2777141.1422 | 1199519.9396 | 2777265.4414 | 1199499.3801
81 | 2777050.7654 | 1199500.397 | 2777042.5905 | 1199507.8065 | 2777012.1491 | 1199519.116
82 | 2777050.7654 | 1199500.397 | 2777029.796 | 1199496.005 | 2777017.6017 | 1199491.1934
83 | 2777265.4414 | 1199499.3801 | 2777281.0545 | 1199502.7242 | 2777288.0905 | 1199503.6559 | 2777298.3631 | 1199504.1389 | 2777300.0111 | 1199504.2858
84 | 2777351.8582 | 1199621.2951 | 2777300.0111 | 1199504.2858
85 | 2777407.4649 | 1199616.5071 | 2777396.9914 | 1199613.3043 | 2777391.6512 | 1199612.4894 | 2777384.7578 | 1199612.407 | 2777369.5432 | 1199615.6699 | 2777351.8582 | 1199621.2951
86 | 2777407.4649 | 1199616.5071 | 2777400.4521 | 1199610.6933 | 2777393.2238 | 1199604.4394 | 2777391.1406 | 1199601.7194 | 2777390.3025 | 1199598.636 | 2777390.4919 | 1199595.0826 | 2777391.8005 | 1199592.3298 | 2777395.4588 | 1199589.2243 | 2777412.4718 | 1199577.2397 | 2777418.4472 | 1199574.3698 | 2777424.2125 | 1199572.161 | 2777436.7543 | 1199568.8412 | 2777438.7111 | 1199568.095
87 | 2777458.2909 | 1199546.1806 | 2777461.9145 | 1199542.4512 | 2777466.3893 | 1199537.3303
88 | 2777458.2909 | 1199546.1806 | 2777459.1139 | 1199547.9735 | 2777459.1233 | 1199550.4762
89 | 2777438.7111 | 1199568.095 | 2777445.2785 | 1199565.591 | 2777449.3653 | 1199563.7105 | 2777453.8796 | 1199560.5192 | 2777455.9505 | 1199558.2674 | 2777457.4787 | 1199556.3331 | 2777458.5721 | 1199553.6407 | 2777459.1233 | 1199550.4762

## bus_geodata
| x | y | coords
0 | 2777330.2102 | 1199868.0349
1 | 2777362.9185 | 1199891.9324
2 | 2777319.4778 | 1199865.216
3 | 2777333.5708 | 1199840.9438
4 | 2777351.0498 | 1199895.6042
5 | 2777384.1367 | 1199855.7251
6 | 2777395.5989 | 1199790.2349
7 | 2777397.8445 | 1199787.845
8 | 2777383.4642 | 1199823.7296
9 | 2777407.8515 | 1199780.1553
10 | 2777367.809 | 1199804.9023
11 | 2777387.3386 | 1199834.1214
12 | 2777449.8916 | 1199752.1487
13 | 2777378.9975 | 1199833.4326
14 | 2777355.7419 | 1199835.8488
15 | 2777329.3937 | 1199894.9296
16 | 2777397.2924 | 1199843.7041
17 | 2777420.1738 | 1199862.2219
18 | 2777305.6142 | 1199892.8572
19 | 2777456.9765 | 1199742.9885
20 | 2777428.584 | 1199644.0495
21 | 2777439.1719 | 1199640.9488
22 | 2777422.7752 | 1199635.5244
23 | 2777287.4617 | 1199891.7023
24 | 2777271.1403 | 1199892.7817
25 | 2777259.6712 | 1199898.1186
26 | 2777293.7086 | 1199925.2767
27 | 2777199.0751 | 1199845.1817
28 | 2777204.9912 | 1199930.0349
29 | 2777295.9587 | 1199926.1484
30 | 2777136.4707 | 1199824.4685
31 | 2777211.7357 | 1199848.2732
32 | 2777204.8163 | 1199930.03
33 | 2777320.4501 | 1199933.8857
34 | 2777128.0405 | 1199822.5099
35 | 2777333.8053 | 1199937.7337
36 | 2777318.5647 | 1199939.8627
37 | 2777345.1601 | 1199941.4907
38 | 2777295.4606 | 1199943.8713
39 | 2777174.6086 | 1199929.1714
40 | 2777155.7759 | 1199927.3545
41 | 2777138.3493 | 1199925.0255
42 | 2777253.2164 | 1199961.3405
43 | 2777104.9382 | 1199825.6746
44 | 2777129.3087 | 1199924.3798
45 | 2777124.137 | 1199955.4011
46 | 2777068.8386 | 1199916.247
47 | 2777138.3519 | 1199960.5812
48 | 2777240.0479 | 1199966.0422
49 | 2777201.728 | 1199976.8372
50 | 2777078.9941 | 1199827.495
51 | 2776995.0104 | 1199846.8536
52 | 2776939.9657 | 1199863.4797
53 | 2776657.9877 | 1199594.9098
54 | 2776676.8807 | 1199576.0752
55 | 2776598.8621 | 1199621.6696
56 | 2776611.5194 | 1199567.8304
57 | 2776730.1097 | 1199517.1849
58 | 2776667.0444 | 1199632.973
59 | 2776954.1024 | 1199484.5973
60 | 2776955.0843 | 1199460.4586
61 | 2776604.8233 | 1199569.3633
62 | 2776809.8383 | 1199461.2845
63 | 2776582.7225 | 1199564.3825
64 | 2776564.9154 | 1199551.4168
65 | 2776488.1551 | 1199428.0239
66 | 2776463.5118 | 1199420.5673
67 | 2776993.9643 | 1199481.1806
68 | 2777062.937 | 1199564.1116
69 | 2777074.9825 | 1199556.1476
70 | 2777049.4289 | 1199573.8324
71 | 2777114.9651 | 1199529.2638
72 | 2777018.8213 | 1199562.9116
73 | 2777116.7465 | 1199524.2858
74 | 2777082.8323 | 1199507.1331
75 | 2777123.4219 | 1199523.0966
76 | 2777073.5826 | 1199503.6315
77 | 2777141.1422 | 1199519.9396
78 | 2777058.1488 | 1199511.7155
79 | 2777050.7654 | 1199500.397
80 | 2777265.4414 | 1199499.3801
81 | 2777300.0111 | 1199504.2858
82 | 2777351.8582 | 1199621.2951
83 | 2777407.4649 | 1199616.5071
84 | 2777458.2909 | 1199546.1806
85 | 2777466.3893 | 1199537.3303
86 | 2777459.1233 | 1199550.4762
87 | 2777438.7111 | 1199568.095
88 | 2777456.9451 | 1199633.7814
89 | 2777017.6017 | 1199491.1934
90 | 2777012.1491 | 1199519.116
91 | 2777128.0405 | 1199822.5099

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1