## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3911-3_1_3_node_19 | 0.4 | n |  | TRUE
1 | bus_LV_3911-3_1_3_node_66 | 0.4 | n |  | TRUE
2 | bus_LV_3911-3_1_3_node_60 | 0.4 | n |  | TRUE
3 | bus_LV_3911-3_1_3_node_61 | 0.4 | n |  | TRUE
4 | bus_LV_3911-3_1_3_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_3911-3_1_3_node_101 | 0.4 | n |  | TRUE
6 | bus_LV_3911-3_1_3_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_3911-3_1_3_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_3911-3_1_3_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_3911-3_1_3_node_86 | 0.4 | n |  | TRUE
10 | bus_LV_3911-3_1_3_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_3911-3_1_3_node_98 | 0.4 | n |  | TRUE
12 | bus_LV_3911-3_1_3_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_3911-3_1_3_node_70 | 0.4 | n |  | TRUE
14 | bus_LV_3911-3_1_3_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_3911-3_1_3_node_73 | 0.4 | n |  | TRUE
16 | bus_LV_3911-3_1_3_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_3911-3_1_3_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_3911-3_1_3_node_140 | 0.4 | n |  | TRUE
19 | bus_LV_3911-3_1_3_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_3911-3_1_3_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_3911-3_1_3_node_93 | 0.4 | n |  | TRUE
22 | bus_LV_3911-3_1_3_node_95 | 0.4 | n |  | TRUE
23 | bus_LV_3911-3_1_3_node_96 | 0.4 | n |  | TRUE
24 | bus_LV_3911-3_1_3_node_104 | 0.4 | n |  | TRUE
25 | bus_LV_3911-3_1_3_node_97 | 0.4 | n |  | TRUE
26 | bus_LV_3911-3_1_3_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_3911-3_1_3_node_103 | 0.4 | n |  | TRUE
28 | bus_LV_3911-3_1_3_node_102 | 0.4 | n |  | TRUE
29 | bus_LV_3911-3_1_3_node_110 | 0.4 | n |  | TRUE
30 | bus_LV_3911-3_1_3_node_111 | 0.4 | n |  | TRUE
31 | bus_LV_3911-3_1_3_node_112 | 0.4 | n |  | TRUE
32 | bus_LV_3911-3_1_3_node_113 | 0.4 | n |  | TRUE
33 | bus_LV_3911-3_1_3_node_114 | 0.4 | n |  | TRUE
34 | bus_LV_3911-3_1_3_node_115 | 0.4 | n |  | TRUE
35 | bus_LV_3911-3_1_3_node_116 | 0.4 | n |  | TRUE
36 | bus_LV_3911-3_1_3_node_117 | 0.4 | n |  | TRUE
37 | bus_LV_3911-3_1_3_node_124 | 0.4 | n |  | TRUE
38 | bus_LV_3911-3_1_3_node_144 | 0.4 | n |  | TRUE
39 | bus_LV_3911-3_1_3_node_118 | 0.4 | n |  | TRUE
40 | bus_LV_3911-3_1_3_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_3911-3_1_3_node_120 | 0.4 | n |  | TRUE
42 | bus_LV_3911-3_1_3_node_121 | 0.4 | n |  | TRUE
43 | bus_LV_3911-3_1_3_node_122 | 0.4 | n |  | TRUE
44 | bus_LV_3911-3_1_3_node_125 | 0.4 | n |  | TRUE
45 | bus_LV_3911-3_1_3_node_157 | 0.4 | n |  | TRUE
46 | bus_LV_3911-3_1_3_node_149 | 0.4 | n |  | TRUE
47 | bus_LV_3911-3_1_3_node_128 | 0.4 | n |  | TRUE
48 | bus_LV_3911-3_1_3_node_129 | 0.4 | n |  | TRUE
49 | bus_LV_3911-3_1_3_node_130 | 0.4 | n |  | TRUE
50 | bus_LV_3911-3_1_3_node_131 | 0.4 | n |  | TRUE
51 | bus_LV_3911-3_1_3_node_132 | 0.4 | n |  | TRUE
52 | bus_LV_3911-3_1_3_node_133 | 0.4 | n |  | TRUE
53 | bus_LV_3911-3_1_3_node_134 | 0.4 | n |  | TRUE
54 | bus_LV_3911-3_1_3_node_135 | 0.4 | n |  | TRUE
55 | bus_LV_3911-3_1_3_node_136 | 0.4 | n |  | TRUE
56 | bus_LV_3911-3_1_3_node_145 | 0.4 | n |  | TRUE
57 | bus_LV_3911-3_1_3_node_137 | 0.4 | n |  | TRUE
58 | bus_LV_3911-3_1_3_node_138 | 0.4 | n |  | TRUE
59 | bus_LV_3911-3_1_3_node_150 | 0.4 | n |  | TRUE
60 | bus_LV_3911-3_1_3_node_139 | 0.4 | n |  | TRUE
61 | bus_LV_3911-3_1_3_node_141 | 0.4 | n |  | TRUE
62 | bus_LV_3911-3_1_3_node_142 | 0.4 | n |  | TRUE
63 | bus_LV_3911-3_1_3_node_143 | 0.4 | n |  | TRUE
64 | bus_LV_3911-3_1_3_node_146 | 0.4 | n |  | TRUE
65 | bus_LV_3911-3_1_3_node_147 | 0.4 | n |  | TRUE
66 | bus_LV_3911-3_1_3_node_148 | 0.4 | n |  | TRUE
67 | bus_LV_3911-3_1_3_node_151 | 0.4 | n |  | TRUE
68 | bus_LV_3911-3_1_3_node_152 | 0.4 | n |  | TRUE
69 | bus_LV_3911-3_1_3_node_156 | 0.4 | n |  | TRUE
70 | bus_LV_3911-3_1_3_node_153 | 0.4 | n |  | TRUE
71 | bus_LV_3911-3_1_3_node_154 | 0.4 | n |  | TRUE
72 | bus_LV_3911-3_1_3_node_155 | 0.4 | n |  | TRUE
73 | bus_LV_3911-3_1_3_node_158 | 0.4 | n |  | TRUE
74 | bus_LV_3911-3_1_3_node_159 | 0.4 | n |  | TRUE
75 | bus_MV_60_1_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3911-3_1_3_load_19 | 0 | 0.00033194 | 8.3192e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3911-3_1_3_load_60 | 2 | 0.00041836 | 0.00010485 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3911-3_1_3_load_61 | 3 | 0.00041297 | 0.0001035 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3911-3_1_3_load_62 | 4 | 0.00041326 | 0.00010357 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3911-3_1_3_load_101 | 5 | 0.00024773 | 6.2086e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3911-3_1_3_load_64 | 6 | 0.00022324 | 5.5949e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3911-3_1_3_load_65 | 7 | 0.00039016 | 9.7783e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3911-3_1_3_load_67 | 8 | 0.00025587 | 6.4128e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3911-3_1_3_load_86 | 9 | 0.0012914 | 0.00032365 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3911-3_1_3_load_68 | 10 | 0.00029891 | 7.4914e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3911-3_1_3_load_98 | 11 | 0.00064572 | 0.00016183 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3911-3_1_3_load_69 | 12 | 0.00024467 | 6.1321e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3911-3_1_3_load_70 | 13 | 0.00041083 | 0.00010296 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3911-3_1_3_load_84 | 14 | 0.00070686 | 0.00017716 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3911-3_1_3_load_74 | 16 | 0.0028791 | 0.00072158 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3911-3_1_3_load_83 | 17 | 0.0032561 | 0.00081606 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3911-3_1_3_load_140 | 18 | 0.0015528 | 0.00038917 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3911-3_1_3_load_85 | 20 | 0.00018635 | 4.6704e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3911-3_1_3_load_93 | 21 | 0.00025573 | 6.4091e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3911-3_1_3_load_95 | 22 | 0.00023616 | 5.9186e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3911-3_1_3_load_96 | 23 | 0.00018843 | 4.7226e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3911-3_1_3_load_104 | 24 | 0.0003533 | 8.8546e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3911-3_1_3_load_99 | 26 | 0.00021844 | 5.4747e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3911-3_1_3_load_103 | 27 | 0.00017761 | 4.4513e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3911-3_1_3_load_102 | 28 | 0.00037895 | 9.4973e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3911-3_1_3_load_110 | 29 | 0.0084149 | 0.002109 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3911-3_1_3_load_111 | 30 | 0.0036842 | 0.00092334 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3911-3_1_3_load_112 | 31 | 0.0054258 | 0.0013598 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3911-3_1_3_load_113 | 32 | 0.012143 | 0.0030434 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3911-3_1_3_load_116 | 35 | 0.00085912 | 0.00021532 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3911-3_1_3_load_117 | 36 | 0.0022394 | 0.00056124 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3911-3_1_3_load_124 | 37 | 0.006567 | 0.0016459 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3911-3_1_3_load_144 | 38 | 0.0018674 | 0.00046802 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3911-3_1_3_load_118 | 39 | 0.0082732 | 0.0020735 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3911-3_1_3_load_119 | 40 | 0.0030566 | 0.00076607 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3911-3_1_3_load_121 | 42 | 0.0050046 | 0.0012543 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3911-3_1_3_load_122 | 43 | 0.0070072 | 0.0017562 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3911-3_1_3_load_157 | 45 | 0.0045931 | 0.0011511 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3911-3_1_3_load_149 | 46 | 0.0045269 | 0.0011345 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3911-3_1_3_load_128 | 47 | 0.0045644 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3911-3_1_3_load_129 | 48 | 0.0041888 | 0.0010498 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3911-3_1_3_load_131 | 50 | 0.0024229 | 0.00060722 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3911-3_1_3_load_132 | 51 | 0.0040618 | 0.001018 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3911-3_1_3_load_133 | 52 | 0.0016204 | 0.00040612 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3911-3_1_3_load_134 | 53 | 0.0032126 | 0.00080516 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3911-3_1_3_load_136 | 55 | 0.0037812 | 0.00094767 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3911-3_1_3_load_145 | 56 | 0.0034134 | 0.00085548 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3911-3_1_3_load_137 | 57 | 0.0019809 | 0.00049645 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3911-3_1_3_load_138 | 58 | 0.0012409 | 0.00031101 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3911-3_1_3_load_150 | 59 | 0.0029714 | 0.00074471 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3911-3_1_3_load_139 | 60 | 0.0019452 | 0.00048751 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3911-3_1_3_load_141 | 61 | 0.0032532 | 0.00081533 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3911-3_1_3_load_142 | 62 | 0.0023371 | 0.00058572 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3911-3_1_3_load_143 | 63 | 0.0034954 | 0.00087603 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3911-3_1_3_load_146 | 64 | 0.0039607 | 0.00099264 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3911-3_1_3_load_147 | 65 | 0.0025801 | 0.00064664 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3911-3_1_3_load_148 | 66 | 0.0026124 | 0.00065473 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3911-3_1_3_load_151 | 67 | 0.0038702 | 0.00096997 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3911-3_1_3_load_152 | 68 | 0.0030543 | 0.00076549 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3911-3_1_3_load_156 | 69 | 0.0027931 | 0.00070002 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3911-3_1_3_load_153 | 70 | 0.0015484 | 0.00038805 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3911-3_1_3_load_154 | 71 | 0.0030604 | 0.00076702 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3911-3_1_3_load_155 | 72 | 0.0012399 | 0.00031075 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3911-3_1_3_load_158 | 73 | 0.0056141 | 0.001407 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3911-3_1_3_load_159 | 74 | 0.0075997 | 0.0019047 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3911-3_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.046185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3911-3_1_3_line_1 | NAYY 4x150 SE | 1 | 8 | 0.032429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3911-3_1_3_line_2 | NAYY 4x150 SE | 1 | 7 | 0.12893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3911-3_1_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.19761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3911-3_1_3_line_4 | NAYY 4x150 SE | 2 | 4 | 0.036473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3911-3_1_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.49013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3911-3_1_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.0037287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3911-3_1_3_line_7 | NAYY 4x150 SE | 5 | 28 | 0.018208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3911-3_1_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.030294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3911-3_1_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.20007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3911-3_1_3_line_10 | NAYY 4x150 SE | 9 | 20 | 0.17191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3911-3_1_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.46236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3911-3_1_3_line_12 | NAYY 4x150 SE | 11 | 27 | 0.012453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3911-3_1_3_line_13 | NAYY 4x150 SE | 11 | 25 | 0.14043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3911-3_1_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.017631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3911-3_1_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.22947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3911-3_1_3_line_16 | NAYY 4x150 SE | 14 | 20 | 0.0062978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3911-3_1_3_line_17 | NAYY 4x150 SE | 14 | 19 | 0.13933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3911-3_1_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.082245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3911-3_1_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.30364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3911-3_1_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0097153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3911-3_1_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.052782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3911-3_1_3_line_22 | NAYY 4x150 SE | 18 | 58 | 0.0093439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3911-3_1_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.039608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3911-3_1_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.15159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3911-3_1_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.019859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3911-3_1_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.22211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3911-3_1_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.14634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3911-3_1_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.074994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3911-3_1_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.0058848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3911-3_1_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.028728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3911-3_1_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.022196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3911-3_1_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.10304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3911-3_1_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.034338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3911-3_1_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.01362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3911-3_1_3_line_35 | NAYY 4x150 SE | 33 | 36 | 0.015706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3911-3_1_3_line_36 | NAYY 4x150 SE | 34 | 37 | 0.017187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3911-3_1_3_line_37 | NAYY 4x150 SE | 35 | 38 | 0.027498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3911-3_1_3_line_38 | NAYY 4x150 SE | 37 | 43 | 0.018227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3911-3_1_3_line_39 | NAYY 4x150 SE | 38 | 63 | 0.020434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3911-3_1_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.00065539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3911-3_1_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.024697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3911-3_1_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.027642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3911-3_1_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.049576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3911-3_1_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.050777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3911-3_1_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.035893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3911-3_1_3_line_46 | NAYY 4x150 SE | 45 | 73 | 0.083338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3911-3_1_3_line_47 | NAYY 4x150 SE | 46 | 66 | 0.021826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3911-3_1_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.013648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3911-3_1_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.014418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3911-3_1_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0087786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3911-3_1_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.011138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3911-3_1_3_line_52 | NAYY 4x150 SE | 49 | 52 | 0.026254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3911-3_1_3_line_53 | NAYY 4x150 SE | 50 | 53 | 0.024055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3911-3_1_3_line_54 | NAYY 4x150 SE | 51 | 54 | 0.0085998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_3911-3_1_3_line_55 | NAYY 4x150 SE | 52 | 55 | 0.026692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3911-3_1_3_line_56 | NAYY 4x150 SE | 53 | 56 | 0.020194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3911-3_1_3_line_57 | NAYY 4x150 SE | 54 | 57 | 0.0073192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_3911-3_1_3_line_58 | NAYY 4x150 SE | 54 | 58 | 0.021038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3911-3_1_3_line_59 | NAYY 4x150 SE | 55 | 59 | 0.016889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3911-3_1_3_line_60 | NAYY 4x150 SE | 56 | 64 | 0.0065463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3911-3_1_3_line_61 | NAYY 4x150 SE | 57 | 60 | 0.025461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_3911-3_1_3_line_62 | NAYY 4x150 SE | 59 | 67 | 0.013552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3911-3_1_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.020328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_3911-3_1_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0049897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_3911-3_1_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.012791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3911-3_1_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.018777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3911-3_1_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.01855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3911-3_1_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.026362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3911-3_1_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0094458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3911-3_1_3_line_70 | NAYY 4x150 SE | 69 | 71 | 0.027744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3911-3_1_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.031836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3911-3_1_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.02326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3911-3_1_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.0058351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3911-3_1_3_trafo_133 | 0.25 MVA 20/0.4 kV | 75 | 52 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2761458.683 | 1183588.0168 | 2761478.722 | 1183562.4566 | 2761489.6058 | 1183554.1259
1 | 2761458.683 | 1183588.0168 | 2761439.8933 | 1183614.4475
2 | 2761458.683 | 1183588.0168 | 2761477.3555 | 1183604.6343 | 2761531.5152 | 1183639.224 | 2761565.4213 | 1183659.8258
3 | 2761576.7261 | 1183709.8822 | 2761565.6724 | 1183723.1959 | 2761561.0435 | 1183726.018 | 2761556.1942 | 1183737.008 | 2761548.7222 | 1183743.8459 | 2761519.1132 | 1183761.4299 | 2761490.588 | 1183789.2522 | 2761478.9481 | 1183807.321 | 2761474.3097 | 1183818.9951 | 2761470.3813 | 1183829.554 | 2761460.0685 | 1183840.6192 | 2761445.3356 | 1183850.9798
4 | 2761576.7261 | 1183709.8822 | 2761576.7261 | 1183709.8822 | 2761578.5698 | 1183692.2276 | 2761583.6139 | 1183691.007 | 2761589.6482 | 1183678.894
5 | 2761445.3356 | 1183850.9798 | 2761734.2232 | 1184246.927
6 | 2761591.3108 | 1183675.5565 | 2761589.6482 | 1183678.894
7 | 2761734.2232 | 1184246.927 | 2761733.9263 | 1184265.1323
8 | 2761591.3108 | 1183675.5565 | 2761591.3108 | 1183675.5565 | 2761565.4213 | 1183659.8258
9 | 2761439.8933 | 1183614.4475 | 2761261.2167 | 1183524.4396
10 | 2761297.1262 | 1183393.1078 | 2761297.7034 | 1183402.3091 | 2761287.8963 | 1183431.4595 | 2761259.6258 | 1183499.7362 | 2761242.8511 | 1183521.5483 | 2761242.4491 | 1183529.0997 | 2761246.8542 | 1183532.8881 | 2761255.9498 | 1183529.8635 | 2761261.2167 | 1183524.4396
11 | 2761834.134 | 1184421.6282 | 2761424.8058 | 1184636.6343
12 | 2761834.134 | 1184421.6282 | 2761838.1277 | 1184426.9631 | 2761843.9046 | 1184426.5832
13 | 2761870.7902 | 1184358.5075 | 2761859.4624 | 1184375.7611 | 2761845.5149 | 1184372.3814 | 2761827.7997 | 1184360.0366 | 2761813.1833 | 1184362.1883 | 2761814.1223 | 1184370.6878 | 2761829.5323 | 1184382.125 | 2761828.6622 | 1184414.3186 | 2761834.134 | 1184421.6282
14 | 2761240.1045 | 1183166.6635 | 2761255.745 | 1183158.5254
15 | 2761291.4852 | 1183390.3076 | 2761240.1045 | 1183166.6635
16 | 2761291.4852 | 1183390.3076 | 2761297.1262 | 1183393.1078 | 2761297.1262 | 1183393.1078
17 | 2761203.2002 | 1183434.2834 | 2761198.7843 | 1183446.2195 | 2761200.2366 | 1183452.9978 | 2761207.6906 | 1183457.8914 | 2761216.9209 | 1183457.5283 | 2761240.408 | 1183444.8935 | 2761286.568 | 1183397.1049 | 2761291.4648 | 1183390.2974 | 2761291.4852 | 1183390.3076
18 | 2760878.5099 | 1183349.252 | 2760884.2302 | 1183294.1464 | 2760895.9486 | 1183269.9955
19 | 2760878.5099 | 1183349.252 | 2761159.5706 | 1183464.1584
20 | 2760895.9486 | 1183269.9955 | 2760898.5405 | 1183260.6323
21 | 2761203.2002 | 1183434.2834 | 2761159.5706 | 1183464.1584
22 | 2760898.5405 | 1183260.6323 | 2760901.0334 | 1183251.6272
23 | 2762086.9191 | 1184448.1487 | 2762079.8617 | 1184467.1093 | 2762063.5734 | 1184477.605
24 | 2762029.9555 | 1184568.8879 | 2762038.1689 | 1184568.315 | 2762042.5315 | 1184564.5964 | 2762043.9042 | 1184528.8354 | 2762038.9019 | 1184526.2757 | 2762022.8542 | 1184526.8534 | 2762016.6441 | 1184524.0497 | 2762013.3967 | 1184516.4775 | 2762015.6293 | 1184509.0536 | 2762021.428 | 1184504.7621 | 2762063.5734 | 1184477.605
25 | 2762011.0619 | 1184572.8416 | 2762015.1967 | 1184569.9175 | 2762029.9555 | 1184568.8879
26 | 2762011.0619 | 1184572.8416 | 2761843.9046 | 1184426.5832
27 | 2761870.7902 | 1184358.5075 | 2761864.6595 | 1184347.9549 | 2761867.9124 | 1184312.3894 | 2761862.4011 | 1184304.0665 | 2761854.2113 | 1184303.8452 | 2761819.4326 | 1184317.2065 | 2761808.9497 | 1184317.0455 | 2761801.8745 | 1184305.8225 | 2761798.6747 | 1184297.0395 | 2761790.6971 | 1184294.9 | 2761789.3977 | 1184293.9123
28 | 2761733.9263 | 1184265.1323 | 2761733.8474 | 1184269.9659 | 2761736.3189 | 1184275.4596 | 2761744.4316 | 1184278.5368 | 2761770.3766 | 1184273.5216 | 2761777.6173 | 1184278.6215 | 2761780.5033 | 1184287.1514 | 2761789.3977 | 1184293.9123
29 | 2760818.4581 | 1183218.2868 | 2760819.8039 | 1183224.0156
30 | 2760818.9665 | 1183252.2372 | 2760820.5232 | 1183247.852 | 2760821.5723 | 1183231.5438 | 2760819.8039 | 1183224.0156
31 | 2760811.4045 | 1183197.2554 | 2760817.8496 | 1183215.6968 | 2760818.4581 | 1183218.2868
32 | 2760824.2309 | 1183336.7956 | 2760834.0436 | 1183322.1461 | 2760840.4048 | 1183306.5922 | 2760840.7704 | 1183294.9697 | 2760833.9689 | 1183286.8134 | 2760820.1873 | 1183281.1275 | 2760814.8301 | 1183274.6559 | 2760815.4239 | 1183262.2166 | 2760818.9665 | 1183252.2372
33 | 2760806.5118 | 1183163.3804 | 2760809.7123 | 1183192.4137 | 2760811.4045 | 1183197.2554
34 | 2760824.2309 | 1183336.7956 | 2760834.4021 | 1183327.737
35 | 2760824.2309 | 1183336.7956 | 2760816.6536 | 1183350.5532
36 | 2760806.5118 | 1183163.3804 | 2760816.572 | 1183154.0311 | 2760819.2305 | 1183151.827
37 | 2760852.2218 | 1183306.9179 | 2760840.0249 | 1183322.7294 | 2760834.4021 | 1183327.737
38 | 2760819.2305 | 1183151.827 | 2760833.2623 | 1183140.1937
39 | 2760863.6297 | 1183289.9713 | 2760853.6149 | 1183305.1121 | 2760852.2218 | 1183306.9179
40 | 2760862.0455 | 1183127.5509 | 2760862.6075 | 1183127.8881
41 | 2760867.56 | 1183104.7787 | 2760860.57 | 1183126.6657 | 2760862.0455 | 1183127.5509
42 | 2760883.0133 | 1183119.6286 | 2760879.6564 | 1183115.4793 | 2760873.9027 | 1183115.8029 | 2760862.6075 | 1183127.8881 | 2760862.6075 | 1183127.8881
43 | 2760867.56 | 1183104.7787 | 2760851.6784 | 1183124.9255 | 2760833.2623 | 1183140.1937
44 | 2760956.461 | 1183038.6077 | 2760974.2172 | 1183035.4262 | 2760981.4331 | 1183033.574 | 2760991.7724 | 1183037.733 | 2761002.5955 | 1183028.6278
45 | 2760956.461 | 1183038.6077 | 2760956.4914 | 1183065.3318 | 2760954.4074 | 1183074.2603
46 | 2761016.907 | 1183084.0567 | 2761029.0842 | 1183044.8637 | 2761028.8641 | 1183037.7072 | 2761011.0636 | 1183021.5038 | 2761002.5955 | 1183028.6278
47 | 2760949.4465 | 1183095.5148 | 2760954.4074 | 1183074.2603
48 | 2760909.252 | 1183197.9455 | 2760915.0444 | 1183185.5877
49 | 2760904.9555 | 1183211.7088 | 2760909.252 | 1183197.9455 | 2760909.252 | 1183197.9455
50 | 2760918.7701 | 1183177.639 | 2760915.0444 | 1183185.5877
51 | 2760904.9555 | 1183211.7088 | 2760900.6761 | 1183221.9918
52 | 2760904.9555 | 1183211.7088 | 2760920.3912 | 1183213.8362 | 2760929.0826 | 1183211.3674 | 2760930.2565 | 1183210.2264
53 | 2760918.7701 | 1183177.639 | 2760928.9794 | 1183155.858
54 | 2760900.7812 | 1183230.591 | 2760900.6761 | 1183221.9918
55 | 2760930.2565 | 1183210.2264 | 2760935.162 | 1183205.4588 | 2760945.5431 | 1183188.5375
56 | 2760928.9794 | 1183155.858 | 2760937.5502 | 1183137.5727
57 | 2760900.7812 | 1183230.591 | 2760898.4969 | 1183237.5446
58 | 2760900.7812 | 1183230.591 | 2760901.0334 | 1183251.6272 | 2760901.0334 | 1183251.6272
59 | 2760945.5431 | 1183188.5375 | 2760953.3781 | 1183175.7665 | 2760954.384 | 1183174.1474
60 | 2760940.3285 | 1183131.6452 | 2760937.5502 | 1183137.5727
61 | 2760886.3298 | 1183259.4211 | 2760894.6577 | 1183249.2317 | 2760898.4969 | 1183237.5446
62 | 2760961.5355 | 1183162.6362 | 2760954.384 | 1183174.1474
63 | 2760886.3298 | 1183259.4211 | 2760873.4654 | 1183275.161
64 | 2760873.4654 | 1183275.161 | 2760873.259 | 1183275.4134 | 2760870.6862 | 1183279.3032
65 | 2760863.6297 | 1183289.9713 | 2760870.6862 | 1183279.3032
66 | 2760940.3285 | 1183131.6452 | 2760941.693 | 1183128.734 | 2760945.2301 | 1183113.5797
67 | 2760945.2301 | 1183113.5797 | 2760949.4465 | 1183095.5148
68 | 2760961.5355 | 1183162.6362 | 2760968.933 | 1183150.7291 | 2760979.7501 | 1183144.7811 | 2760979.7501 | 1183144.7811
69 | 2760979.7501 | 1183144.7811 | 2760988.8622 | 1183145.7044 | 2760988.9027 | 1183145.9886
70 | 2760986.8887 | 1183172.796 | 2760991.1311 | 1183161.6237 | 2760988.9027 | 1183145.9886
71 | 2760971.6471 | 1183200.5935 | 2760983.4439 | 1183181.8682 | 2760986.8887 | 1183172.796
72 | 2760959.2485 | 1183220.274 | 2760971.6471 | 1183200.5935
73 | 2761015.1757 | 1183089.6291 | 2761016.907 | 1183084.0567

## bus_geodata
| x | y | coords
0 | 2761489.6058 | 1183554.1259
1 | 2761458.683 | 1183588.0168
2 | 2761576.7261 | 1183709.8822
3 | 2761445.3356 | 1183850.9798
4 | 2761589.6482 | 1183678.894
5 | 2761734.2232 | 1184246.927
6 | 2761591.3108 | 1183675.5565
7 | 2761565.4213 | 1183659.8258
8 | 2761439.8933 | 1183614.4475
9 | 2761261.2167 | 1183524.4396
10 | 2761424.8058 | 1184636.6343
11 | 2761834.134 | 1184421.6282
12 | 2761240.1045 | 1183166.6635
13 | 2761255.745 | 1183158.5254
14 | 2761291.4852 | 1183390.3076
15 | 2760878.5099 | 1183349.252
16 | 2760895.9486 | 1183269.9955
17 | 2761159.5706 | 1183464.1584
18 | 2760898.5405 | 1183260.6323
19 | 2761203.2002 | 1183434.2834
20 | 2761297.1262 | 1183393.1078
21 | 2762086.9191 | 1184448.1487
22 | 2762063.5734 | 1184477.605
23 | 2762029.9555 | 1184568.8879
24 | 2762011.0619 | 1184572.8416
25 | 2761870.7902 | 1184358.5075
26 | 2761789.3977 | 1184293.9123
27 | 2761843.9046 | 1184426.5832
28 | 2761733.9263 | 1184265.1323
29 | 2760819.8039 | 1183224.0156
30 | 2760818.4581 | 1183218.2868
31 | 2760818.9665 | 1183252.2372
32 | 2760811.4045 | 1183197.2554
33 | 2760824.2309 | 1183336.7956
34 | 2760806.5118 | 1183163.3804
35 | 2760834.4021 | 1183327.737
36 | 2760816.6536 | 1183350.5532
37 | 2760819.2305 | 1183151.827
38 | 2760852.2218 | 1183306.9179
39 | 2760862.0455 | 1183127.5509
40 | 2760862.6075 | 1183127.8881
41 | 2760867.56 | 1183104.7787
42 | 2760883.0133 | 1183119.6286
43 | 2760833.2623 | 1183140.1937
44 | 2760956.461 | 1183038.6077
45 | 2761002.5955 | 1183028.6278
46 | 2760954.4074 | 1183074.2603
47 | 2760909.252 | 1183197.9455
48 | 2760915.0444 | 1183185.5877
49 | 2760904.9555 | 1183211.7088
50 | 2760918.7701 | 1183177.639
51 | 2760900.6761 | 1183221.9918
52 | 2760930.2565 | 1183210.2264
53 | 2760928.9794 | 1183155.858
54 | 2760900.7812 | 1183230.591
55 | 2760945.5432 | 1183188.5375
56 | 2760937.5502 | 1183137.5727
57 | 2760898.4969 | 1183237.5446
58 | 2760901.0334 | 1183251.6272
59 | 2760954.384 | 1183174.1474
60 | 2760886.3298 | 1183259.4211
61 | 2760873.4654 | 1183275.161
62 | 2760870.6862 | 1183279.3032
63 | 2760863.6297 | 1183289.9713
64 | 2760940.3285 | 1183131.6452
65 | 2760945.2301 | 1183113.5797
66 | 2760949.4465 | 1183095.5148
67 | 2760961.5355 | 1183162.6362
68 | 2760979.7501 | 1183144.7811
69 | 2760988.9027 | 1183145.9886
70 | 2760971.6471 | 1183200.5935
71 | 2760986.8887 | 1183172.796
72 | 2760959.2485 | 1183220.274
73 | 2761016.907 | 1183084.0567
74 | 2761015.1757 | 1183089.6291
75 | 2760904.9555 | 1183211.7088

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1