## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3911-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3911-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3911-4_0_2_node_52 | 0.4 | n |  | TRUE
3 | bus_LV_3911-4_0_2_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_3911-4_0_2_node_42 | 0.4 | n |  | TRUE
5 | bus_LV_3911-4_0_2_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_3911-4_0_2_node_87 | 0.4 | n |  | TRUE
7 | bus_LV_3911-4_0_2_node_102 | 0.4 | n |  | TRUE
8 | bus_LV_3911-4_0_2_node_101 | 0.4 | n |  | TRUE
9 | bus_LV_3911-4_0_2_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_3911-4_0_2_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_3911-4_0_2_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_3911-4_0_2_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_3911-4_0_2_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_3911-4_0_2_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_3911-4_0_2_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_3911-4_0_2_node_103 | 0.4 | n |  | TRUE
17 | bus_LV_3911-4_0_2_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_3911-4_0_2_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_3911-4_0_2_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_3911-4_0_2_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_3911-4_0_2_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_3911-4_0_2_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_3911-4_0_2_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_3911-4_0_2_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_3911-4_0_2_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_3911-4_0_2_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_3911-4_0_2_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_3911-4_0_2_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_3911-4_0_2_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_3911-4_0_2_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_3911-4_0_2_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_3911-4_0_2_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_3911-4_0_2_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_3911-4_0_2_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_3911-4_0_2_node_111 | 0.4 | n |  | TRUE
36 | bus_LV_3911-4_0_2_node_109 | 0.4 | n |  | TRUE
37 | bus_LV_3911-4_0_2_node_115 | 0.4 | n |  | TRUE
38 | bus_LV_3911-4_0_2_node_106 | 0.4 | n |  | TRUE
39 | bus_LV_3911-4_0_2_node_104 | 0.4 | n |  | TRUE
40 | bus_LV_3911-4_0_2_node_105 | 0.4 | n |  | TRUE
41 | bus_LV_3911-4_0_2_node_107 | 0.4 | n |  | TRUE
42 | bus_LV_3911-4_0_2_node_108 | 0.4 | n |  | TRUE
43 | bus_LV_3911-4_0_2_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_3911-4_0_2_node_112 | 0.4 | n |  | TRUE
45 | bus_LV_3911-4_0_2_node_113 | 0.4 | n |  | TRUE
46 | bus_LV_3911-4_0_2_node_114 | 0.4 | n |  | TRUE
47 | bus_LV_3911-4_0_2_node_116 | 0.4 | n |  | TRUE
48 | bus_MV_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3911-4_0_2_load_0 | 0 | 0.00075834 | 0.00019006 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3911-4_0_2_load_52 | 2 | 0.0030484 | 0.00076399 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3911-4_0_2_load_12 | 3 | 0.0005628 | 0.00014105 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3911-4_0_2_load_102 | 7 | 0.00032701 | 8.1956e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3911-4_0_2_load_101 | 8 | 0.00070103 | 0.00017569 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3911-4_0_2_load_45 | 9 | 0.00066804 | 0.00016743 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3911-4_0_2_load_47 | 11 | 0.0012518 | 0.00031373 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3911-4_0_2_load_48 | 12 | 0.0016869 | 0.00042277 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3911-4_0_2_load_49 | 13 | 0.0014389 | 0.00036063 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3911-4_0_2_load_50 | 14 | 0.0013336 | 0.00033422 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3911-4_0_2_load_51 | 15 | 0.0014324 | 0.000359 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3911-4_0_2_load_103 | 16 | 0.0019146 | 0.00047985 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3911-4_0_2_load_53 | 17 | 0.00038352 | 9.6119e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3911-4_0_2_load_81 | 19 | 0.00050757 | 0.00012721 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3911-4_0_2_load_62 | 21 | 0.0014021 | 0.0003514 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3911-4_0_2_load_59 | 23 | 0.0010028 | 0.00025132 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3911-4_0_2_load_60 | 24 | 0.00053538 | 0.00013418 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3911-4_0_2_load_61 | 25 | 0.003699 | 0.00092705 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3911-4_0_2_load_63 | 26 | 0.0011806 | 0.0002959 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3911-4_0_2_load_65 | 27 | 0.001049 | 0.00026291 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3911-4_0_2_load_67 | 29 | 0.002458 | 0.00061604 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3911-4_0_2_load_70 | 31 | 0.0051335 | 0.0012866 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3911-4_0_2_load_69 | 32 | 0.0092178 | 0.0023102 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3911-4_0_2_load_111 | 35 | 0.0011854 | 0.00029708 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3911-4_0_2_load_115 | 37 | 0.0024264 | 0.00060811 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3911-4_0_2_load_106 | 38 | 0.0010463 | 0.00026222 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3911-4_0_2_load_104 | 39 | 0.0027348 | 0.00068541 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3911-4_0_2_load_105 | 40 | 0.0025701 | 0.00064413 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3911-4_0_2_load_107 | 41 | 0.0024278 | 0.00060846 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3911-4_0_2_load_108 | 42 | 0.0011624 | 0.00029132 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3911-4_0_2_load_110 | 43 | 0.00126 | 0.00031579 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3911-4_0_2_load_112 | 44 | 0.00083761 | 0.00020992 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3911-4_0_2_load_113 | 45 | 0.0011362 | 0.00028475 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3911-4_0_2_load_114 | 46 | 0.0012832 | 0.00032159 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3911-4_0_2_load_116 | 47 | 0.00077365 | 0.00019389 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3911-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.068738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3911-4_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.23972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3911-4_0_2_line_2 | NAYY 4x150 SE | 2 | 15 | 0.040261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3911-4_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.32795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3911-4_0_2_line_4 | NAYY 4x150 SE | 4 | 7 | 0.25689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3911-4_0_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.19369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3911-4_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.10018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3911-4_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.0084734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3911-4_0_2_line_8 | NAYY 4x150 SE | 6 | 17 | 0.27743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3911-4_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.14206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3911-4_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.037362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3911-4_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.030598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3911-4_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.08369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3911-4_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.019009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3911-4_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.26603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3911-4_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.027844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3911-4_0_2_line_16 | NAYY 4x150 SE | 16 | 39 | 0.044664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3911-4_0_2_line_17 | NAYY 4x150 SE | 17 | 18 | 0.49622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3911-4_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.2013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3911-4_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.43041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3911-4_0_2_line_20 | NAYY 4x150 SE | 20 | 21 | 0.14886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3911-4_0_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.21787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3911-4_0_2_line_22 | NAYY 4x150 SE | 21 | 24 | 0.047597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3911-4_0_2_line_23 | NAYY 4x150 SE | 22 | 28 | 0.13769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3911-4_0_2_line_24 | NAYY 4x150 SE | 22 | 26 | 0.015288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3911-4_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.14253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3911-4_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3911-4_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.18866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3911-4_0_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.0074516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3911-4_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.049338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3911-4_0_2_line_30 | NAYY 4x150 SE | 30 | 31 | 0.16063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3911-4_0_2_line_31 | NAYY 4x150 SE | 31 | 34 | 0.07337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3911-4_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.03474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3911-4_0_2_line_33 | NAYY 4x150 SE | 33 | 35 | 0.083022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3911-4_0_2_line_34 | NAYY 4x150 SE | 33 | 36 | 0.1256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3911-4_0_2_line_35 | NAYY 4x150 SE | 34 | 37 | 0.0085573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3911-4_0_2_line_36 | NAYY 4x150 SE | 34 | 38 | 0.066523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3911-4_0_2_line_37 | NAYY 4x150 SE | 36 | 43 | 0.029051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3911-4_0_2_line_38 | NAYY 4x150 SE | 36 | 41 | 0.0081063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3911-4_0_2_line_39 | NAYY 4x150 SE | 37 | 47 | 0.012737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3911-4_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.034687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3911-4_0_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.026095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3911-4_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.022466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3911-4_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.042187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3911-4_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.013047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3911-4_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.015331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3911-4_0_2_line_46 | NAYY 4x150 SE | 46 | 47 | 0.001425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3911-4_0_2_trafo_113 | 0.25 MVA 20/0.4 kV | 48 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54
0 | 2759742.9772 | 1187957.7602 | 2759742.859 | 1187943.8894 | 2759743.6254 | 1187934.624 | 2759758.3564 | 1187891.5012
1 | 2759742.9772 | 1187957.7602 | 2759969.2605 | 1188036.8913
2 | 2759969.2605 | 1188036.8913 | 2759968.1675 | 1188024.0953 | 2759989.8078 | 1188007.2587
3 | 2760769.1447 | 1187543.5223 | 2760933.7878 | 1187259.8954
4 | 2760769.1447 | 1187543.5223 | 2760765.6905 | 1187551.6144 | 2760747.1224 | 1187567.897 | 2760734.1381 | 1187585.197 | 2760703.7961 | 1187626.3077 | 2760693.3447 | 1187633.1555 | 2760693.4428 | 1187637.4619 | 2760716.7337 | 1187646.2723 | 2760726.4618 | 1187653.8511 | 2760737.6641 | 1187669.9214 | 2760751.9537 | 1187677.3447 | 2760760.3198 | 1187679.0708 | 2760770.094 | 1187684.9271 | 2760767.6134 | 1187705.0893 | 2760769.0462 | 1187723.0769 | 2760767.9167 | 1187725.4721
5 | 2760769.1447 | 1187543.5223 | 2760752.1025 | 1187551.027 | 2760721.9875 | 1187564.9199 | 2760696.7836 | 1187577.2989 | 2760653.7776 | 1187587.1204 | 2760637.1358 | 1187584.8388 | 2760628.0556 | 1187575.8652 | 2760619.7242 | 1187562.3188 | 2760617.5016 | 1187538.1825
6 | 2760728.0275 | 1187812.6989 | 2760726.4144 | 1187808.2406 | 2760731.0525 | 1187796.4214 | 2760730.5456 | 1187787.1552 | 2760724.361 | 1187772.1428 | 2760726.2254 | 1187767.2441 | 2760734.7418 | 1187762.2349 | 2760745.6007 | 1187756.4101 | 2760764.3026 | 1187733.1361
7 | 2760764.3026 | 1187733.1361 | 2760767.9167 | 1187725.4721
8 | 2760505.7487 | 1187978.7165 | 2760728.0275 | 1187812.6989
9 | 2760256.0016 | 1188027.9271 | 2760264.7359 | 1188007.3428 | 2760265.004 | 1187988.211 | 2760257.866 | 1187938.0762 | 2760248.41 | 1187889.0575
10 | 2760256.0016 | 1188027.9271 | 2760248.9744 | 1188032.0871 | 2760248.4501 | 1188040.8363 | 2760253.0964 | 1188048.3338 | 2760255.8619 | 1188059.6101
11 | 2760256.0016 | 1188027.9271 | 2760259.8855 | 1188029.9772 | 2760262.9305 | 1188051.6666 | 2760264.4885 | 1188055.6787
12 | 2760224.4222 | 1188132.6617 | 2760228.1549 | 1188123.7213 | 2760233.0855 | 1188105.782 | 2760239.2082 | 1188094.3469 | 2760253.9086 | 1188081.8515 | 2760256.7836 | 1188075.4006 | 2760257.7279 | 1188067.2187 | 2760255.8619 | 1188059.6101
13 | 2760264.4885 | 1188055.6787 | 2760271.3699 | 1188073.3988
14 | 2760224.4222 | 1188132.6617 | 2759989.8078 | 1188007.2587
15 | 2760282.1846 | 1188099.0363 | 2760277.6547 | 1188089.5826 | 2760271.3699 | 1188073.3988
16 | 2760282.1846 | 1188099.0363 | 2760285.4333 | 1188105.8161 | 2760277.0395 | 1188125.3752 | 2760268.1992 | 1188138.5449
17 | 2760555.2093 | 1188379.4041 | 2760549.3589 | 1188380.9598 | 2760541.5633 | 1188365.4038 | 2760538.6766 | 1188345.5424 | 2760557.0521 | 1188323.5268 | 2760563.6739 | 1188306.3115 | 2760571.8122 | 1188296.2987 | 2760573.0538 | 1188288.1471 | 2760588.9142 | 1188270.835 | 2760595.0583 | 1188246.1114 | 2760590.9774 | 1188232.3566 | 2760605.4587 | 1188202.7301 | 2760601.9174 | 1188168.8722 | 2760606.1583 | 1188163.8704 | 2760601.9765 | 1188153.8717 | 2760604.9711 | 1188144.3993 | 2760610.9298 | 1188139.0989 | 2760609.0422 | 1188107.3316 | 2760605.2906 | 1188106.8972 | 2760597.9026 | 1188114.5391 | 2760572.4524 | 1188068.4942 | 2760554.0521 | 1188052.9984 | 2760544.3687 | 1188031.2531 | 2760544.0481 | 1188017.5993 | 2760540.1898 | 1188008.6213 | 2760529.9852 | 1188006.3013 | 2760516.166 | 1187998.4351 | 2760505.7487 | 1187978.7165
18 | 2760505.7487 | 1187978.7165 | 2760680.6594 | 1187879.082
19 | 2760353.6014 | 1188384.2511 | 2760356.0257 | 1188385.2169 | 2760358.1415 | 1188386.5858 | 2760359.7358 | 1188388.3301 | 2760360.7241 | 1188390.4695 | 2760361.3372 | 1188392.9436 | 2760361.9784 | 1188396.0747 | 2760363.0801 | 1188403.0992 | 2760364.3702 | 1188409.0723 | 2760366.365 | 1188414.3859 | 2760368.8105 | 1188419.4003 | 2760371.981 | 1188424.99 | 2760375.2163 | 1188430.437 | 2760378.6902 | 1188434.9562 | 2760382.2244 | 1188439.2213 | 2760387.4519 | 1188444.0989 | 2760391.9337 | 1188448.8898 | 2760394.3839 | 1188451.7357 | 2760397.0562 | 1188455.1213 | 2760398.9742 | 1188457.8862 | 2760400.3294 | 1188460.2913 | 2760401.1407 | 1188462.2036 | 2760401.4496 | 1188464.347 | 2760401.2557 | 1188466.4548 | 2760400.4999 | 1188468.7366 | 2760402.6129 | 1188476.1886 | 2760403.945 | 1188499.0999 | 2760420.1502 | 1188507.6081 | 2760428.3872 | 1188511.8324 | 2760425.5996 | 1188520.4319 | 2760422.1156 | 1188529.958 | 2760427.0406 | 1188527.6101 | 2760431.0597 | 1188525.7384 | 2760434.2343 | 1188524.6225 | 2760442.8451 | 1188522.3067 | 2760451.2531 | 1188520.7195 | 2760458.6913 | 1188519.1507 | 2760463.3366 | 1188517.8407 | 2760465.7398 | 1188516.4594 | 2760467.2821 | 1188514.7326 | 2760468.619 | 1188512.4108 | 2760473.336 | 1188497.046 | 2760475.1248 | 1188492.3899 | 2760477.2125 | 1188488.5424 | 2760479.8803 | 1188484.9775 | 2760485.5789 | 1188475.989 | 2760488.2894 | 1188473.3927 | 2760491.5002 | 1188471.4993 | 2760494.3655 | 1188470.8199 | 2760497.6742 | 1188470.9643 | 2760512.583 | 1188489.102 | 2760528.7078 | 1188461.9104 | 2760531.9713 | 1188429.6029 | 2760549.4208 | 1188416.7706 | 2760555.2093 | 1188379.4041
20 | 2760353.6014 | 1188384.2511 | 2760355.5071 | 1188379.7871 | 2760357.3179 | 1188375.7321 | 2760358.6476 | 1188373.1098 | 2760360.2141 | 1188370.4828 | 2760362.0273 | 1188367.7623 | 2760368.5203 | 1188358.4614 | 2760371.2902 | 1188353.6536 | 2760372.8864 | 1188349.9153 | 2760374.0372 | 1188345.7091 | 2760377.5185 | 1188332.3017 | 2760381.8342 | 1188321.3632 | 2760387.8022 | 1188310.5803 | 2760424.8992 | 1188254.7372
21 | 2760310.5909 | 1188337.214 | 2760313.0471 | 1188339.8376 | 2760315.2252 | 1188347.7139 | 2760314.9189 | 1188356.013 | 2760311.94 | 1188370.3347 | 2760310.7461 | 1188382.7024 | 2760311.5802 | 1188390.5983 | 2760318.4668 | 1188389.6819 | 2760320.987 | 1188389.9162 | 2760322.8475 | 1188390.5555 | 2760324.2708 | 1188391.5611 | 2760325.0706 | 1188392.7614 | 2760325.4558 | 1188394.3397 | 2760326.1712 | 1188402.6773 | 2760326.7821 | 1188406.9418 | 2760327.4515 | 1188409.8734 | 2760328.2334 | 1188412.5967 | 2760329.4895 | 1188415.8554 | 2760340.3499 | 1188440.679 | 2760343.0629 | 1188446.5346 | 2760344.9302 | 1188450.0543 | 2760346.4779 | 1188452.3978 | 2760347.6936 | 1188454.0318 | 2760349.1448 | 1188455.4163 | 2760350.5298 | 1188456.1429 | 2760352.1009 | 1188456.4741 | 2760353.8896 | 1188456.3775 | 2760355.3076 | 1188455.8706 | 2760356.4609 | 1188454.9896 | 2760357.3265 | 1188453.7339 | 2760357.9256 | 1188452.1708 | 2760358.206 | 1188449.9653 | 2760358.1681 | 1188447.3953 | 2760357.7356 | 1188443.8807 | 2760355.9527 | 1188436.9268 | 2760354.6307 | 1188431.2865 | 2760353.7006 | 1188425.8346 | 2760352.5933 | 1188417.3086 | 2760351.5287 | 1188407.7606 | 2760350.9003 | 1188401.3048 | 2760350.6922 | 1188397.963 | 2760350.7051 | 1188394.9162 | 2760350.9526 | 1188392.2316 | 2760351.5344 | 1188389.8896 | 2760352.3685 | 1188387.5321 | 2760353.6014 | 1188384.2511
22 | 2760424.8992 | 1188254.7372 | 2760430.9607 | 1188245.6128 | 2760441.6523 | 1188210.5649
23 | 2760310.5909 | 1188337.214 | 2760307.0518 | 1188334.8394 | 2760301.9581 | 1188333.2239 | 2760295.4657 | 1188334.529 | 2760291.5857 | 1188337.1831 | 2760288.7708 | 1188341.1112 | 2760287.2503 | 1188346.2972 | 2760284.9131 | 1188359.7464 | 2760284.4175 | 1188368.274 | 2760285.0215 | 1188378.2099 | 2760287.6912 | 1188392.2381 | 2760291.9817 | 1188402.751 | 2760296.1973 | 1188415.4861 | 2760297.0897 | 1188424.6291 | 2760295.571 | 1188429.7485 | 2760290.65 | 1188434.5098 | 2760285.0813 | 1188436.3846 | 2760279.4586 | 1188436.5676 | 2760277.0457 | 1188435.7468
24 | 2760310.5909 | 1188337.214 | 2760315.1268 | 1188322.614
25 | 2760462.1761 | 1188070.7466 | 2760456.2202 | 1188083.0139 | 2760451.2555 | 1188172.2256 | 2760444.7773 | 1188200.3211 | 2760441.6523 | 1188210.5649
26 | 2760471.741 | 1188051.0462 | 2760462.1761 | 1188070.7466
27 | 2760340.2096 | 1188301.7871 | 2760342.9341 | 1188295.2543 | 2760345.0811 | 1188292.6095 | 2760362.5867 | 1188280.2452 | 2760388.4488 | 1188261.399 | 2760390.1567 | 1188259.4764 | 2760391.2125 | 1188257.3918 | 2760391.5313 | 1188255.4653 | 2760391.1125 | 1188253.7192 | 2760389.9775 | 1188252.2097 | 2760388.07 | 1188251.3245 | 2760386.1417 | 1188251.2172 | 2760384.4039 | 1188251.6933 | 2760323.8696 | 1188287.4593 | 2760321.5279 | 1188289.1092 | 2760319.993 | 1188290.5583 | 2760318.796 | 1188292.2165 | 2760317.8787 | 1188294.2604 | 2760317.232 | 1188296.7453 | 2760316.8777 | 1188299.4271 | 2760316.9961 | 1188302.6998 | 2760317.587 | 1188307.1417 | 2760317.6189 | 1188310.223 | 2760317.4087 | 1188312.942 | 2760316.8579 | 1188316.1189 | 2760315.7032 | 1188320.7587 | 2760315.1268 | 1188322.614
28 | 2760277.0457 | 1188435.7468 | 2760274.3603 | 1188434.8408 | 2760270.6163 | 1188432.1382
29 | 2760259.4479 | 1188384.6089 | 2760261.911 | 1188398.0866 | 2760265.2142 | 1188420.3834 | 2760267.4395 | 1188427.6382 | 2760270.6163 | 1188432.1382
30 | 2760259.4479 | 1188384.6089 | 2760253.5984 | 1188374.7326 | 2760243.606 | 1188326.0337 | 2760242.3537 | 1188308.952 | 2760247.664 | 1188289.655 | 2760264.4296 | 1188229.6619
31 | 2760299.9859 | 1188165.5133 | 2760264.6917 | 1188228.724 | 2760264.4296 | 1188229.6619
32 | 2760342.4175 | 1188176.381 | 2760340.9972 | 1188198.6179 | 2760340.0033 | 1188211.0362
33 | 2760342.4175 | 1188176.381 | 2760333.9174 | 1188177.3987 | 2760316.1072 | 1188184.884 | 2760298.6856 | 1188200.9429 | 2760279.0049 | 1188225.4711
34 | 2760306.8796 | 1188058.9158 | 2760312.577 | 1188077.896 | 2760317.5365 | 1188093.0754 | 2760328.6109 | 1188112.4999 | 2760335.6979 | 1188124.0553 | 2760340.8479 | 1188133.5459 | 2760343.3925 | 1188145.1242 | 2760342.9119 | 1188161.3477 | 2760342.4175 | 1188176.381
35 | 2760299.9859 | 1188165.5133 | 2760304.7352 | 1188164.3172 | 2760306.6065 | 1188161.1722
36 | 2760299.9859 | 1188165.5133 | 2760284.0617 | 1188169.5573 | 2760269.7666 | 1188179.7503 | 2760251.6216 | 1188192.8985 | 2760241.7604 | 1188190.5882
37 | 2760306.8796 | 1188058.9158 | 2760302.816 | 1188060.4417 | 2760300.0758 | 1188062.7148 | 2760299.2564 | 1188067.3747 | 2760304.4823 | 1188082.9399
38 | 2760306.8796 | 1188058.9158 | 2760305.9436 | 1188053.397 | 2760305.9498 | 1188050.8883
39 | 2760306.6065 | 1188161.1722 | 2760313.1192 | 1188150.2265
40 | 2760253.6576 | 1188160.2125 | 2760243.5441 | 1188175.2892 | 2760239.5461 | 1188184.0566 | 2760241.7604 | 1188190.5882
41 | 2760268.1992 | 1188138.5449 | 2760258.1493 | 1188153.5165 | 2760253.6576 | 1188160.2125
42 | 2760305.9498 | 1188050.8883 | 2760305.9773 | 1188039.8861 | 2760308.8098 | 1188028.7777
43 | 2760304.4823 | 1188082.9399 | 2760310.3409 | 1188100.3891 | 2760319.3489 | 1188115.7437 | 2760319.5754 | 1188121.7177
44 | 2760318.5574 | 1188134.6418 | 2760319.8141 | 1188128.0113 | 2760319.5754 | 1188121.7177
45 | 2760318.5574 | 1188134.6418 | 2760316.7648 | 1188144.0993 | 2760313.8479 | 1188149.0018
46 | 2760313.1192 | 1188150.2265 | 2760313.8479 | 1188149.0018

## bus_geodata
| x | y | coords
0 | 2759758.3564 | 1187891.5012
1 | 2759742.9772 | 1187957.7602
2 | 2759969.2605 | 1188036.8913
3 | 2760933.7878 | 1187259.8954
4 | 2760769.1447 | 1187543.5223
5 | 2760764.3026 | 1187733.1361
6 | 2760728.0275 | 1187812.6989
7 | 2760767.9167 | 1187725.4721
8 | 2760617.5016 | 1187538.1825
9 | 2760248.41 | 1187889.0575
10 | 2760256.0016 | 1188027.9271
11 | 2760255.8619 | 1188059.6101
12 | 2760264.4885 | 1188055.6787
13 | 2760224.4222 | 1188132.6617
14 | 2760271.3699 | 1188073.3988
15 | 2759989.8078 | 1188007.2587
16 | 2760282.1846 | 1188099.0363
17 | 2760505.7487 | 1187978.7165
18 | 2760555.2093 | 1188379.4041
19 | 2760680.6594 | 1187879.082
20 | 2760353.6014 | 1188384.2511
21 | 2760424.8992 | 1188254.7372
22 | 2760310.5909 | 1188337.214
23 | 2760462.1761 | 1188070.7466
24 | 2760441.6523 | 1188210.5649
25 | 2760471.741 | 1188051.0462
26 | 2760315.1268 | 1188322.614
27 | 2760340.2096 | 1188301.7871
28 | 2760277.0457 | 1188435.7468
29 | 2760270.6163 | 1188432.1382
30 | 2760259.4479 | 1188384.6089
31 | 2760264.4296 | 1188229.6619
32 | 2760340.0033 | 1188211.0362
33 | 2760342.4175 | 1188176.381
34 | 2760299.9859 | 1188165.5133
35 | 2760279.0049 | 1188225.4711
36 | 2760306.8796 | 1188058.9158
37 | 2760306.6065 | 1188161.1722
38 | 2760241.7604 | 1188190.5882
39 | 2760268.1992 | 1188138.5449
40 | 2760253.6576 | 1188160.2125
41 | 2760305.9498 | 1188050.8883
42 | 2760308.8098 | 1188028.7777
43 | 2760304.4823 | 1188082.9399
44 | 2760319.5754 | 1188121.7177
45 | 2760318.5574 | 1188134.6418
46 | 2760313.8479 | 1188149.0018
47 | 2760313.1192 | 1188150.2265
48 | 2760318.5574 | 1188134.6418

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1