## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3921-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3921-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3921-14_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3921-14_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3921-14_0_3_node_67 | 0.4 | n |  | TRUE
5 | bus_LV_3921-14_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3921-14_0_3_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_3921-14_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_3921-14_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3921-14_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3921-14_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3921-14_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3921-14_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3921-14_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3921-14_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3921-14_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3921-14_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_3921-14_0_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_3921-14_0_3_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_3921-14_0_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_3921-14_0_3_node_115 | 0.4 | n |  | TRUE
21 | bus_LV_3921-14_0_3_node_114 | 0.4 | n |  | TRUE
22 | bus_LV_3921-14_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3921-14_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3921-14_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3921-14_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3921-14_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3921-14_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3921-14_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_3921-14_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3921-14_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3921-14_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_3921-14_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_3921-14_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_3921-14_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_3921-14_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_3921-14_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_3921-14_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_3921-14_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_3921-14_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3921-14_0_3_node_116 | 0.4 | n |  | TRUE
41 | bus_LV_3921-14_0_3_node_112 | 0.4 | n |  | TRUE
42 | bus_LV_3921-14_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_3921-14_0_3_node_130 | 0.4 | n |  | TRUE
44 | bus_LV_3921-14_0_3_node_129 | 0.4 | n |  | TRUE
45 | bus_LV_3921-14_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_3921-14_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_3921-14_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_3921-14_0_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_3921-14_0_3_node_125 | 0.4 | n |  | TRUE
50 | bus_LV_3921-14_0_3_node_111 | 0.4 | n |  | TRUE
51 | bus_LV_3921-14_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_3921-14_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_3921-14_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_3921-14_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_3921-14_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3921-14_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_3921-14_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_3921-14_0_3_node_109 | 0.4 | n |  | TRUE
59 | bus_LV_3921-14_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_3921-14_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_3921-14_0_3_node_110 | 0.4 | n |  | TRUE
62 | bus_LV_3921-14_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_3921-14_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_3921-14_0_3_node_124 | 0.4 | n |  | TRUE
65 | bus_LV_3921-14_0_3_node_123 | 0.4 | n |  | TRUE
66 | bus_LV_3921-14_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_3921-14_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_3921-14_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_3921-14_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3921-14_0_3_node_136 | 0.4 | n |  | TRUE
71 | bus_LV_3921-14_0_3_node_135 | 0.4 | n |  | TRUE
72 | bus_LV_3921-14_0_3_node_113 | 0.4 | n |  | TRUE
73 | bus_LV_3921-14_0_3_node_117 | 0.4 | n |  | TRUE
74 | bus_LV_3921-14_0_3_node_118 | 0.4 | n |  | TRUE
75 | bus_LV_3921-14_0_3_node_119 | 0.4 | n |  | TRUE
76 | bus_LV_3921-14_0_3_node_120 | 0.4 | n |  | TRUE
77 | bus_LV_3921-14_0_3_node_121 | 0.4 | n |  | TRUE
78 | bus_LV_3921-14_0_3_node_122 | 0.4 | n |  | TRUE
79 | bus_LV_3921-14_0_3_node_126 | 0.4 | n |  | TRUE
80 | bus_LV_3921-14_0_3_node_127 | 0.4 | n |  | TRUE
81 | bus_LV_3921-14_0_3_node_128 | 0.4 | n |  | TRUE
82 | bus_LV_3921-14_0_3_node_131 | 0.4 | n |  | TRUE
83 | bus_LV_3921-14_0_3_node_132 | 0.4 | n |  | TRUE
84 | bus_LV_3921-14_0_3_node_133 | 0.4 | n |  | TRUE
85 | bus_LV_3921-14_0_3_node_134 | 0.4 | n |  | TRUE
86 | bus_LV_3921-14_0_3_node_137 | 0.4 | n |  | TRUE
87 | bus_LV_3921-14_0_3_node_138 | 0.4 | n |  | TRUE
88 | bus_LV_3921-14_0_3_node_139 | 0.4 | n |  | TRUE
89 | bus_LV_3921-14_0_3_node_140 | 0.4 | n |  | TRUE
90 | bus_LV_3921-14_0_3_node_141 | 0.4 | n |  | TRUE
91 | bus_LV_3921-14_0_3_node_142 | 0.4 | n |  | TRUE
92 | bus_LV_3921-14_0_3_node_143 | 0.4 | n |  | TRUE
93 | bus_MV_60_0_node_190 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3921-14_0_3_load_0 | 0 | 0.00083439 | 0.00020912 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3921-14_0_3_load_3 | 2 | 0.00025322 | 6.3464e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3921-14_0_3_load_5 | 3 | 0.00029127 | 7.3e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3921-14_0_3_load_67 | 4 | 0.00029457 | 7.3825e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3921-14_0_3_load_22 | 6 | 0.004672 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3921-14_0_3_load_6 | 8 | 0.0015087 | 0.00037811 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3921-14_0_3_load_7 | 9 | 0.0019659 | 0.0004927 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3921-14_0_3_load_8 | 10 | 0.0012322 | 0.00030882 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3921-14_0_3_load_9 | 11 | 0.0011832 | 0.00029653 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3921-14_0_3_load_11 | 13 | 0.0012975 | 0.00032518 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3921-14_0_3_load_12 | 14 | 0.0018154 | 0.00045498 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3921-14_0_3_load_13 | 15 | 0.0036934 | 0.00092564 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3921-14_0_3_load_28 | 16 | 0.0019805 | 0.00049635 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3921-14_0_3_load_27 | 17 | 0.0026765 | 0.0006708 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3921-14_0_3_load_26 | 19 | 0.0019667 | 0.00049289 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3921-14_0_3_load_115 | 20 | 0.0038989 | 0.00097717 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3921-14_0_3_load_114 | 21 | 0.0038094 | 0.00095471 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3921-14_0_3_load_14 | 22 | 0.0011545 | 0.00028935 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3921-14_0_3_load_15 | 23 | 0.001055 | 0.00026441 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3921-14_0_3_load_19 | 26 | 0.0020091 | 0.00050352 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3921-14_0_3_load_20 | 27 | 0.0035742 | 0.00089579 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3921-14_0_3_load_21 | 28 | 0.00080631 | 0.00020208 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3921-14_0_3_load_23 | 29 | 0.0035696 | 0.00089463 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3921-14_0_3_load_29 | 31 | 0.0020305 | 0.0005089 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3921-14_0_3_load_25 | 32 | 0.0010597 | 0.00026559 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3921-14_0_3_load_34 | 34 | 0.002136 | 0.00053533 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3921-14_0_3_load_31 | 35 | 0.0012207 | 0.00030594 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3921-14_0_3_load_37 | 36 | 0.0011558 | 0.00028968 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3921-14_0_3_load_38 | 37 | 0.0013229 | 0.00033155 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3921-14_0_3_load_35 | 38 | 0.0025171 | 0.00063083 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3921-14_0_3_load_32 | 39 | 0.001091 | 0.00027344 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3921-14_0_3_load_116 | 40 | 0.0025297 | 0.00063401 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3921-14_0_3_load_112 | 41 | 0.0027687 | 0.00069391 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3921-14_0_3_load_33 | 42 | 0.0015956 | 0.00039989 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3921-14_0_3_load_130 | 43 | 0.0023879 | 0.00059847 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3921-14_0_3_load_40 | 46 | 0.0046104 | 0.0011555 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3921-14_0_3_load_53 | 47 | 0.0011752 | 0.00029454 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3921-14_0_3_load_125 | 49 | 0.00072739 | 0.0001823 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3921-14_0_3_load_111 | 50 | 0.0014313 | 0.00035872 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3921-14_0_3_load_49 | 51 | 0.0015431 | 0.00038675 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3921-14_0_3_load_41 | 52 | 0.0015164 | 0.00038004 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3921-14_0_3_load_42 | 53 | 0.0013215 | 0.0003312 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3921-14_0_3_load_52 | 56 | 0.0010824 | 0.00027127 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3921-14_0_3_load_47 | 57 | 0.004747 | 0.0011897 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3921-14_0_3_load_109 | 58 | 0.005326 | 0.0013348 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3921-14_0_3_load_110 | 61 | 0.0015669 | 0.00039271 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3921-14_0_3_load_45 | 62 | 0.003325 | 0.00083332 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3921-14_0_3_load_46 | 63 | 0.0032399 | 0.00081199 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3921-14_0_3_load_124 | 64 | 0.0037895 | 0.00094973 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3921-14_0_3_load_123 | 65 | 0.0026144 | 0.00065524 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3921-14_0_3_load_54 | 66 | 0.00026865 | 6.7331e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3921-14_0_3_load_56 | 68 | 0.00047277 | 0.00011849 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3921-14_0_3_load_59 | 69 | 0.000558 | 0.00013985 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3921-14_0_3_load_136 | 70 | 0.00027373 | 6.8603e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3921-14_0_3_load_135 | 71 | 0.0023308 | 0.00058416 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3921-14_0_3_load_113 | 72 | 0.004364 | 0.0010937 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3921-14_0_3_load_117 | 73 | 0.0036051 | 0.00090351 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3921-14_0_3_load_118 | 74 | 0.0036048 | 0.00090346 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3921-14_0_3_load_119 | 75 | 0.0031208 | 0.00078215 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3921-14_0_3_load_120 | 76 | 0.0032379 | 0.00081148 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3921-14_0_3_load_121 | 77 | 0.0033706 | 0.00084474 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3921-14_0_3_load_122 | 78 | 0.0040244 | 0.0010086 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3921-14_0_3_load_126 | 79 | 0.0026149 | 0.00065534 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3921-14_0_3_load_127 | 80 | 0.0017994 | 0.00045097 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3921-14_0_3_load_128 | 81 | 0.0031216 | 0.00078235 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3921-14_0_3_load_131 | 82 | 0.0022142 | 0.00055492 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3921-14_0_3_load_132 | 83 | 0.002673 | 0.00066992 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3921-14_0_3_load_133 | 84 | 0.002561 | 0.00064185 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3921-14_0_3_load_134 | 85 | 0.0018697 | 0.00046858 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3921-14_0_3_load_137 | 86 | 0.0041535 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3921-14_0_3_load_138 | 87 | 0.00048375 | 0.00012124 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3921-14_0_3_load_139 | 88 | 0.00053695 | 0.00013457 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3921-14_0_3_load_140 | 89 | 0.00043258 | 0.00010842 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3921-14_0_3_load_141 | 90 | 0.00057513 | 0.00014414 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3921-14_0_3_load_142 | 91 | 0.00080371 | 0.00020143 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3921-14_0_3_load_143 | 92 | 0.00057481 | 0.00014406 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3921-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.048095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3921-14_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.073265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3921-14_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.04602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3921-14_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.29502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3921-14_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.16422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3921-14_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.11583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3921-14_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.065888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3921-14_0_3_line_7 | NAYY 4x150 SE | 7 | 29 | 0.015168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_3921-14_0_3_line_8 | NAYY 4x150 SE | 7 | 24 | 0.005763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3921-14_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.015213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3921-14_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0051544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3921-14_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0069437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3921-14_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.046727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3921-14_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.011338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3921-14_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.040836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3921-14_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.0082484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3921-14_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0060295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3921-14_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.014376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3921-14_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.059057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3921-14_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0098461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_3921-14_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.010937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3921-14_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.01406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3921-14_0_3_line_22 | NAYY 4x150 SE | 19 | 32 | 0.0086249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3921-14_0_3_line_23 | NAYY 4x150 SE | 20 | 40 | 0.0075044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3921-14_0_3_line_24 | NAYY 4x150 SE | 21 | 41 | 0.0037915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3921-14_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.0034484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_3921-14_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.035683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3921-14_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.019743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3921-14_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.019614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3921-14_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.023037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3921-14_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.0088676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3921-14_0_3_line_31 | NAYY 4x150 SE | 26 | 30 | 0.026951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3921-14_0_3_line_32 | NAYY 4x150 SE | 27 | 31 | 0.0058992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3921-14_0_3_line_33 | NAYY 4x150 SE | 28 | 32 | 0.0079047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3921-14_0_3_line_34 | NAYY 4x150 SE | 29 | 33 | 0.02244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3921-14_0_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.010707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3921-14_0_3_line_36 | NAYY 4x150 SE | 30 | 35 | 0.068917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3921-14_0_3_line_37 | NAYY 4x150 SE | 33 | 36 | 0.056649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3921-14_0_3_line_38 | NAYY 4x150 SE | 33 | 37 | 0.017966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3921-14_0_3_line_39 | NAYY 4x150 SE | 34 | 38 | 0.021775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3921-14_0_3_line_40 | NAYY 4x150 SE | 35 | 39 | 0.070176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3921-14_0_3_line_41 | NAYY 4x150 SE | 36 | 45 | 0.0098368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_3921-14_0_3_line_42 | NAYY 4x150 SE | 37 | 46 | 0.019441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3921-14_0_3_line_43 | NAYY 4x150 SE | 38 | 43 | 0.0062091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3921-14_0_3_line_44 | NAYY 4x150 SE | 39 | 42 | 0.0039351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3921-14_0_3_line_45 | NAYY 4x150 SE | 40 | 73 | 0.0016574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3921-14_0_3_line_46 | NAYY 4x150 SE | 41 | 72 | 0.004119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3921-14_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.010593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3921-14_0_3_line_48 | NAYY 4x150 SE | 44 | 82 | 0.0091249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3921-14_0_3_line_49 | NAYY 4x150 SE | 44 | 83 | 0.037071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3921-14_0_3_line_50 | NAYY 4x150 SE | 44 | 81 | 0.018399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3921-14_0_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.089964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3921-14_0_3_line_52 | NAYY 4x150 SE | 45 | 48 | 0.033544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3921-14_0_3_line_53 | NAYY 4x150 SE | 46 | 49 | 0.010696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3921-14_0_3_line_54 | NAYY 4x150 SE | 47 | 50 | 0.022759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_3921-14_0_3_line_55 | NAYY 4x150 SE | 48 | 51 | 0.0074471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3921-14_0_3_line_56 | NAYY 4x150 SE | 50 | 57 | 0.34894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3921-14_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0057999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3921-14_0_3_line_58 | NAYY 4x150 SE | 52 | 54 | 0.056638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3921-14_0_3_line_59 | NAYY 4x150 SE | 53 | 55 | 0.16895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3921-14_0_3_line_60 | NAYY 4x150 SE | 54 | 56 | 0.18999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_3921-14_0_3_line_61 | NAYY 4x150 SE | 55 | 58 | 0.67376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3921-14_0_3_line_62 | NAYY 4x150 SE | 56 | 60 | 0.052856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_3921-14_0_3_line_63 | NAYY 4x150 SE | 57 | 59 | 0.06447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_3921-14_0_3_line_64 | NAYY 4x150 SE | 58 | 61 | 0.030311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3921-14_0_3_line_65 | NAYY 4x150 SE | 59 | 60 | 0.025604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3921-14_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.0064351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3921-14_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.0069985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3921-14_0_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.0081017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3921-14_0_3_line_69 | NAYY 4x150 SE | 65 | 78 | 0.002228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3921-14_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.038854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3921-14_0_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.046216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3921-14_0_3_line_72 | NAYY 4x150 SE | 68 | 69 | 0.021699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3921-14_0_3_line_73 | NAYY 4x150 SE | 69 | 70 | 0.029139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3921-14_0_3_line_74 | NAYY 4x150 SE | 70 | 71 | 0.029991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3921-14_0_3_line_75 | NAYY 4x150 SE | 71 | 84 | 0.034832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3921-14_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.0053064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3921-14_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.0028198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3921-14_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0059455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3921-14_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0019274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3921-14_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.006499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3921-14_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.00068258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3921-14_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.054732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3921-14_0_3_line_83 | NAYY 4x150 SE | 82 | 84 | 0.024204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3921-14_0_3_line_84 | NAYY 4x150 SE | 83 | 85 | 0.026031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3921-14_0_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.00024906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3921-14_0_3_line_86 | NAYY 4x150 SE | 86 | 87 | 0.025704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3921-14_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.017464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3921-14_0_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.0062948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3921-14_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.012529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3921-14_0_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.019495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3921-14_0_3_line_91 | NAYY 4x150 SE | 91 | 92 | 0.00080464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3921-14_0_3_trafo_13 | 0.25 MVA 20/0.4 kV | 93 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2773059.977 | 1185762.6768 | 2773065.0437 | 1185747.2422 | 2773071.0377 | 1185736.7166 | 2773075.2343 | 1185724.1706 | 2773074.4859 | 1185717.706
1 | 2773059.977 | 1185762.6768 | 2773057.6209 | 1185765.9785 | 2773055.942 | 1185771.7465 | 2773055.589 | 1185777.3526 | 2773056.9636 | 1185784.4879 | 2773064.4071 | 1185804.6549 | 2773064.7075 | 1185810.38 | 2773063.5879 | 1185814.7629 | 2773060.883 | 1185818.5105 | 2773055.8284 | 1185820.0548 | 2773051.6553 | 1185819.3781 | 2773047.7683 | 1185817.2527
2 | 2773032.6182 | 1185774.8041 | 2773038.1255 | 1185783.3427 | 2773042.7346 | 1185793.7744 | 2773044.6373 | 1185799.8127 | 2773044.7903 | 1185808.2584 | 2773045.586 | 1185813.7531 | 2773047.7683 | 1185817.2527
3 | 2773047.7683 | 1185817.2527 | 2773233.6337 | 1186046.3619
4 | 2772997.683 | 1185633.6468 | 2772998.1812 | 1185638.3433 | 2772997.599 | 1185646.0671 | 2772993.728 | 1185656.8653 | 2772982.1876 | 1185686.4819 | 2772978.5902 | 1185695.7422 | 2772977.4933 | 1185701.1933 | 2772978.1166 | 1185706.3161 | 2772979.9793 | 1185711.3635 | 2772984.3903 | 1185717.0294 | 2773024.0785 | 1185763.6076 | 2773032.3509 | 1185774.3898 | 2773032.6182 | 1185774.8041
5 | 2772997.683 | 1185633.6468 | 2772993.0363 | 1185625.038 | 2772959.7544 | 1185581.9038 | 2772947.5904 | 1185566.227 | 2772943.5843 | 1185561.0843 | 2772936.1171 | 1185551.4932 | 2772928.4325 | 1185544.6651 | 2772925.9109 | 1185543.5153
6 | 2772860.534 | 1185539.7124 | 2772874.213 | 1185539.9628 | 2772895.456 | 1185540.1092 | 2772915.9222 | 1185540.4446 | 2772922.7036 | 1185542.0529 | 2772925.9109 | 1185543.5153
7 | 2772860.534 | 1185539.7124 | 2772862.8459 | 1185524.7212
8 | 2772854.7953 | 1185539.0239 | 2772860.534 | 1185539.7124
9 | 2772710.0511 | 1185545.6561 | 2772710.0511 | 1185545.6561 | 2772717.1792 | 1185559.0961
10 | 2772710.0511 | 1185545.6561 | 2772710.4997 | 1185540.5213
11 | 2772720.4326 | 1185565.2304 | 2772717.1792 | 1185559.0961
12 | 2772714.5667 | 1185493.9717 | 2772710.4997 | 1185540.5213
13 | 2772720.4326 | 1185565.2304 | 2772725.7449 | 1185575.2467
14 | 2772714.5667 | 1185493.9717 | 2772724.1459 | 1185502.3778 | 2772732.8459 | 1185508.1673 | 2772741.626 | 1185512.5022 | 2772748.9945 | 1185515.2061 | 2772748.9945 | 1185515.2061
15 | 2772714.5667 | 1185493.9717 | 2772708.7491 | 1185488.8659 | 2772708.3829 | 1185488.5138
16 | 2772725.7449 | 1185575.2467 | 2772728.57 | 1185580.5734
17 | 2772748.9945 | 1185515.2061 | 2772762.9495 | 1185518.6611
18 | 2772666.0783 | 1185447.3087 | 2772685.0877 | 1185466.1184 | 2772708.3829 | 1185488.5138
19 | 2772772.507 | 1185521.0274 | 2772762.9495 | 1185518.6611
20 | 2772666.0783 | 1185447.3087 | 2772658.8545 | 1185439.0975
21 | 2772666.0783 | 1185447.3087 | 2772671.9306 | 1185441.4163 | 2772673.2339 | 1185438.5957 | 2772673.4171 | 1185435.9541 | 2772673.4171 | 1185435.9541
22 | 2772772.507 | 1185521.0274 | 2772773.6552 | 1185521.3117 | 2772780.8909 | 1185523.0518
23 | 2772658.8545 | 1185439.0975 | 2772653.8977 | 1185433.4631
24 | 2772671.7743 | 1185432.5369 | 2772671.7743 | 1185432.5369 | 2772673.4171 | 1185435.9541
25 | 2772819.8505 | 1185531.9461 | 2772816.4823 | 1185531.2067
26 | 2772854.7953 | 1185539.0239 | 2772847.869 | 1185538.2011 | 2772828.2917 | 1185533.799 | 2772819.8505 | 1185531.9461
27 | 2772797.1982 | 1185526.9736 | 2772816.4823 | 1185531.2067
28 | 2772854.7953 | 1185539.0239 | 2772855.6333 | 1185558.62
29 | 2772797.1982 | 1185526.9736 | 2772804.5318 | 1185548.8123
30 | 2772797.1982 | 1185526.9736 | 2772788.5765 | 1185524.9002
31 | 2772855.5065 | 1185585.5432 | 2772856.1037 | 1185576.4965 | 2772855.9943 | 1185567.0623 | 2772855.6333 | 1185558.62
32 | 2772804.5318 | 1185548.8123 | 2772806.4098 | 1185554.4047
33 | 2772780.8909 | 1185523.0518 | 2772788.5765 | 1185524.9002
34 | 2772866.2662 | 1185502.5432 | 2772862.8459 | 1185524.7212
35 | 2772855.5065 | 1185585.5432 | 2772854.8031 | 1185591.6508 | 2772853.9272 | 1185596.1254
36 | 2772855.5065 | 1185585.5432 | 2772845.2489 | 1185587.6826 | 2772788.2157 | 1185595.8007 | 2772787.5045 | 1185596.229
37 | 2772866.2662 | 1185502.5432 | 2772868.0419 | 1185491.0393 | 2772870.4864 | 1185481.2341 | 2772871.4025 | 1185477.546 | 2772879.1841 | 1185447.4314
38 | 2772866.2662 | 1185502.5432 | 2772849.9742 | 1185494.9698
39 | 2772849.744 | 1185617.4952 | 2772853.9272 | 1185596.1254
40 | 2772787.5045 | 1185596.229 | 2772767.8442 | 1185608.0691 | 2772738.8974 | 1185623.471 | 2772735.9569 | 1185637.605
41 | 2772882.151 | 1185438.0528 | 2772879.1841 | 1185447.4314
42 | 2772849.9742 | 1185494.9698 | 2772832.3451 | 1185486.7747
43 | 2772848.5512 | 1185623.5886 | 2772849.744 | 1185617.4952
44 | 2772735.1554 | 1185641.4576 | 2772735.9569 | 1185637.605
45 | 2772653.8977 | 1185433.4631 | 2772652.8029 | 1185432.2187
46 | 2772671.7743 | 1185432.5369 | 2772669.2314 | 1185429.2965
47 | 2772846.5162 | 1185633.9844 | 2772848.5512 | 1185623.5886
48 | 2772846.5162 | 1185633.9844 | 2772847.2582 | 1185643.079
49 | 2772846.5162 | 1185633.9844 | 2772835.46 | 1185669.3678
50 | 2772846.5162 | 1185633.9844 | 2772830.9044 | 1185643.7207
51 | 2772882.151 | 1185438.0528 | 2772882.7407 | 1185424.2458 | 2772880.7471 | 1185416.5812 | 2772874.1709 | 1185402.0446 | 2772857.4317 | 1185368.108 | 2772853.9831 | 1185365.0724 | 2772849.7922 | 1185362.8828 | 2772845.7942 | 1185362.2112 | 2772844.8271 | 1185361.7957
52 | 2772882.151 | 1185438.0528 | 2772897.4136 | 1185413.626 | 2772899.3719 | 1185409.2896
53 | 2772822.6461 | 1185482.2661 | 2772832.3451 | 1185486.7747
54 | 2772833.805 | 1185342.8463 | 2772838.8203 | 1185356.6827 | 2772842.6031 | 1185360.8401 | 2772844.8271 | 1185361.7957
55 | 2772899.3719 | 1185409.2896 | 2772900.3869 | 1185401.9121
56 | 2772833.805 | 1185342.8463 | 2772873.1469 | 1184996.1353
57 | 2772620.1733 | 1184912.9018 | 2772620.6455 | 1184907.1212
58 | 2772651.9353 | 1184957.0467 | 2772649.4807 | 1184949.9916 | 2772643.4677 | 1184943.4345 | 2772635.0493 | 1184936.5856 | 2772629.0592 | 1184932.4092 | 2772623.6738 | 1184926.0704 | 2772621.049 | 1184920.4118 | 2772620.1733 | 1184912.9018 | 2772620.1733 | 1184912.9018
59 | 2772594.0992 | 1184763.3789 | 2772597.7821 | 1184765.7205 | 2772600.5796 | 1184770.1607 | 2772609.4732 | 1184781.9945 | 2772614.7463 | 1184787.9964 | 2772623.7341 | 1184796.2964 | 2772631.515 | 1184803.0045 | 2772638.3112 | 1184810.7519 | 2772643.3372 | 1184819.4937 | 2772645.5411 | 1184824.9178 | 2772646.8486 | 1184832.5514 | 2772647.1076 | 1184836.2845 | 2772646.587 | 1184845.0666 | 2772644.217 | 1184854.9408 | 2772640.2122 | 1184864.5565 | 2772623.1588 | 1184898.8971 | 2772620.6455 | 1184907.1212
60 | 2772651.9353 | 1184957.0467 | 2772841.8259 | 1184963.0501
61 | 2772594.0992 | 1184763.3789 | 2772773.3425 | 1184113.901
62 | 2772850.6587 | 1184914.3805 | 2772854.3586 | 1184930.1463 | 2772855.2868 | 1184939.0035 | 2772854.2347 | 1184942.1094 | 2772852.8234 | 1184946.2836 | 2772849.7979 | 1184951.6013 | 2772843.4901 | 1184960.8168 | 2772841.8259 | 1184963.0501
63 | 2772865.0101 | 1184935.5697 | 2772859.7985 | 1184940.4127 | 2772861.1192 | 1184946.2562 | 2772867.0444 | 1184965.901 | 2772870.491 | 1184982.2378 | 2772873.1469 | 1184996.1353
64 | 2772773.3425 | 1184113.901 | 2772768.5662 | 1184088.6368 | 2772766.1588 | 1184084.718
65 | 2772865.0101 | 1184935.5697 | 2772853.4667 | 1184917.6534 | 2772850.6587 | 1184914.3805
66 | 2772627.0006 | 1185401.885 | 2772622.8729 | 1185396.9481
67 | 2772631.4896 | 1185407.2541 | 2772627.0006 | 1185401.885
68 | 2772631.4896 | 1185407.2541 | 2772636.6863 | 1185413.4695
69 | 2772638.1154 | 1185415.1788 | 2772636.6863 | 1185413.4695
70 | 2772840.7773 | 1185823.2168 | 2772844.6966 | 1185830.57 | 2772847.7653 | 1185833.261 | 2772851.8069 | 1185833.7336 | 2772855.312 | 1185832.4224 | 2772868.4323 | 1185845.6466
71 | 2772840.7773 | 1185823.2168 | 2772846.6907 | 1185805.1484 | 2772856.1753 | 1185779.6509
72 | 2772861.8983 | 1185758.7539 | 2772858.2494 | 1185774.0752 | 2772856.1753 | 1185779.6509
73 | 2772864.3215 | 1185730.0237 | 2772865.3414 | 1185737.6793 | 2772864.5155 | 1185747.7649 | 2772861.8983 | 1185758.7539
74 | 2772858.0353 | 1185700.7947 | 2772862.3475 | 1185715.2054 | 2772864.3215 | 1185730.0237
75 | 2772849.2262 | 1185667.2027 | 2772849.692 | 1185672.9121 | 2772858.0353 | 1185700.7947
76 | 2772649.2979 | 1185428.2346 | 2772652.8029 | 1185432.2187
77 | 2772649.2979 | 1185428.2346 | 2772647.4354 | 1185426.1175
78 | 2772643.5203 | 1185421.6434 | 2772643.9227 | 1185422.1247 | 2772647.4354 | 1185426.1175
79 | 2772643.5203 | 1185421.6434 | 2772642.284 | 1185420.1648
80 | 2772638.1154 | 1185415.1788 | 2772642.284 | 1185420.1648
81 | 2772786.2843 | 1185676.2369 | 2772786.757 | 1185675.7445
82 | 2772786.757 | 1185675.7445 | 2772792.866 | 1185669.3809 | 2772805.8449 | 1185659.7463 | 2772822.1266 | 1185649.195 | 2772830.9044 | 1185643.7207
83 | 2772847.2582 | 1185643.079 | 2772849.2262 | 1185667.2027
84 | 2772835.46 | 1185669.3678 | 2772827.6962 | 1185694.2144
85 | 2772827.6219 | 1185694.4521 | 2772827.6962 | 1185694.2144
86 | 2772827.6219 | 1185694.4521 | 2772823.9646 | 1185706.1564 | 2772818.8212 | 1185718.5746
87 | 2772812.1383 | 1185734.7096 | 2772818.8212 | 1185718.5746
88 | 2772812.1383 | 1185734.7096 | 2772809.7295 | 1185740.5253
89 | 2772804.9353 | 1185752.1004 | 2772809.7295 | 1185740.5253
90 | 2772804.9353 | 1185752.1004 | 2772804.2457 | 1185753.7652 | 2772798.3611 | 1185763.6936 | 2772794.4917 | 1185768.4765
91 | 2772793.9856 | 1185769.1021 | 2772794.4917 | 1185768.4765

## bus_geodata
| x | y | coords
0 | 2773074.4859 | 1185717.706
1 | 2773059.977 | 1185762.6768
2 | 2773047.7683 | 1185817.2527
3 | 2773032.6182 | 1185774.8041
4 | 2773233.6337 | 1186046.3619
5 | 2772997.683 | 1185633.6468
6 | 2772925.9109 | 1185543.5153
7 | 2772860.534 | 1185539.7124
8 | 2772710.0511 | 1185545.6561
9 | 2772717.1792 | 1185559.096
10 | 2772710.4997 | 1185540.5213
11 | 2772720.4326 | 1185565.2304
12 | 2772714.5667 | 1185493.9717
13 | 2772725.7449 | 1185575.2467
14 | 2772748.9945 | 1185515.2061
15 | 2772708.3829 | 1185488.5138
16 | 2772728.57 | 1185580.5734
17 | 2772762.9495 | 1185518.6611
18 | 2772666.0783 | 1185447.3087
19 | 2772772.507 | 1185521.0274
20 | 2772658.8545 | 1185439.0975
21 | 2772673.4171 | 1185435.9541
22 | 2772819.8505 | 1185531.9461
23 | 2772816.4823 | 1185531.2067
24 | 2772854.7953 | 1185539.0239
25 | 2772797.1982 | 1185526.9736
26 | 2772855.6333 | 1185558.62
27 | 2772804.5318 | 1185548.8123
28 | 2772788.5765 | 1185524.9002
29 | 2772862.8459 | 1185524.7212
30 | 2772855.5065 | 1185585.5432
31 | 2772806.4098 | 1185554.4047
32 | 2772780.8909 | 1185523.0518
33 | 2772866.2662 | 1185502.5432
34 | 2772853.9272 | 1185596.1254
35 | 2772787.5045 | 1185596.229
36 | 2772879.1841 | 1185447.4314
37 | 2772849.9742 | 1185494.9698
38 | 2772849.744 | 1185617.4952
39 | 2772735.9569 | 1185637.605
40 | 2772653.8977 | 1185433.4631
41 | 2772671.7743 | 1185432.5369
42 | 2772735.1554 | 1185641.4576
43 | 2772848.5512 | 1185623.5886
44 | 2772846.5162 | 1185633.9844
45 | 2772882.151 | 1185438.0528
46 | 2772832.3451 | 1185486.7747
47 | 2772844.8271 | 1185361.7957
48 | 2772899.3719 | 1185409.2896
49 | 2772822.6461 | 1185482.2661
50 | 2772833.805 | 1185342.8463
51 | 2772900.3869 | 1185401.9121
52 | 2772620.1733 | 1184912.9018
53 | 2772620.6455 | 1184907.1212
54 | 2772651.9353 | 1184957.0467
55 | 2772594.0992 | 1184763.3789
56 | 2772841.8259 | 1184963.0501
57 | 2772873.1469 | 1184996.1353
58 | 2772773.3425 | 1184113.901
59 | 2772865.0101 | 1184935.5697
60 | 2772850.6587 | 1184914.3805
61 | 2772766.1588 | 1184084.718
62 | 2772622.8729 | 1185396.9481
63 | 2772627.0006 | 1185401.885
64 | 2772631.4896 | 1185407.2541
65 | 2772636.6863 | 1185413.4695
66 | 2772868.4323 | 1185845.6466
67 | 2772840.7773 | 1185823.2168
68 | 2772856.1753 | 1185779.6509
69 | 2772861.8983 | 1185758.7539
70 | 2772864.3215 | 1185730.0237
71 | 2772858.0353 | 1185700.7947
72 | 2772669.2314 | 1185429.2965
73 | 2772652.8029 | 1185432.2187
74 | 2772649.2979 | 1185428.2346
75 | 2772647.4354 | 1185426.1175
76 | 2772643.5203 | 1185421.6434
77 | 2772642.284 | 1185420.1648
78 | 2772638.1154 | 1185415.1788
79 | 2772786.2843 | 1185676.2369
80 | 2772786.757 | 1185675.7445
81 | 2772830.9044 | 1185643.7207
82 | 2772847.2582 | 1185643.079
83 | 2772835.46 | 1185669.3678
84 | 2772849.2262 | 1185667.2027
85 | 2772827.6962 | 1185694.2144
86 | 2772827.6219 | 1185694.4521
87 | 2772818.8212 | 1185718.5746
88 | 2772812.1383 | 1185734.7096
89 | 2772809.7295 | 1185740.5253
90 | 2772804.9353 | 1185752.1004
91 | 2772794.4917 | 1185768.4765
92 | 2772793.9856 | 1185769.1021
93 | 2772714.5667 | 1185493.9717

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1