## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3921-37_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3921-37_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3921-37_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3921-37_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3921-37_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3921-37_0_4_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_3921-37_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3921-37_0_4_node_68 | 0.4 | n |  | TRUE
8 | bus_LV_3921-37_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_3921-37_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3921-37_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3921-37_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3921-37_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3921-37_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3921-37_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3921-37_0_4_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_3921-37_0_4_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_3921-37_0_4_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_3921-37_0_4_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_3921-37_0_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_3921-37_0_4_node_66 | 0.4 | n |  | TRUE
21 | bus_LV_3921-37_0_4_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_3921-37_0_4_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_3921-37_0_4_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_3921-37_0_4_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_3921-37_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_3921-37_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_3921-37_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_3921-37_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_3921-37_0_4_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_3921-37_0_4_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_3921-37_0_4_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_3921-37_0_4_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_3921-37_0_4_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_3921-37_0_4_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_3921-37_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_3921-37_0_4_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_3921-37_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_3921-37_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_3921-37_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_3921-37_0_4_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_3921-37_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_3921-37_0_4_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_3921-37_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_3921-37_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_3921-37_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_3921-37_0_4_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_3921-37_0_4_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_3921-37_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_3921-37_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_3921-37_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_3921-37_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3921-37_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_3921-37_0_4_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_3921-37_0_4_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_3921-37_0_4_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_3921-37_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_3921-37_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_3921-37_0_4_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_3921-37_0_4_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_3921-37_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_3921-37_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_3921-37_0_4_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_3921-37_0_4_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_3921-37_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_3921-37_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_3921-37_0_4_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_3921-37_0_4_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_3921-37_0_4_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_3921-37_0_4_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_3921-37_0_4_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_3921-37_0_4_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_3921-37_0_4_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_3921-37_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_3921-37_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_3921-37_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_3921-37_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_3921-37_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_3921-37_0_4_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_3921-37_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_MV_60_0_node_259 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3921-37_0_4_load_0 | 0 | 0.0039165 | 0.00098157 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3921-37_0_4_load_2 | 2 | 0.003379 | 0.00084685 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3921-37_0_4_load_3 | 3 | 0.0071044 | 0.0017805 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3921-37_0_4_load_4 | 4 | 0.0045492 | 0.0011401 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3921-37_0_4_load_69 | 5 | 0.0071055 | 0.0017808 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3921-37_0_4_load_68 | 7 | 0.0032221 | 0.00080753 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3921-37_0_4_load_6 | 9 | 0.0047066 | 0.0011796 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3921-37_0_4_load_5 | 10 | 0.0028169 | 0.00070599 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3921-37_0_4_load_9 | 12 | 0.00063726 | 0.00015971 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3921-37_0_4_load_10 | 13 | 0.0015986 | 0.00040064 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3921-37_0_4_load_47 | 15 | 0.0010485 | 0.00026277 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3921-37_0_4_load_74 | 16 | 0.0022085 | 0.00055351 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3921-37_0_4_load_76 | 17 | 0.00035958 | 9.0119e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3921-37_0_4_load_37 | 19 | 0.0062738 | 0.0015724 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3921-37_0_4_load_66 | 20 | 0.0041674 | 0.0010444 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3921-37_0_4_load_75 | 22 | 0.002084 | 0.00052229 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3921-37_0_4_load_84 | 24 | 0.0050738 | 0.0012716 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3921-37_0_4_load_13 | 26 | 0.0036592 | 0.00091708 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3921-37_0_4_load_14 | 27 | 0.0013487 | 0.00033802 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3921-37_0_4_load_71 | 31 | 0.0025242 | 0.00063262 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3921-37_0_4_load_62 | 32 | 0.0023528 | 0.00058966 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3921-37_0_4_load_59 | 33 | 0.0033428 | 0.0008378 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3921-37_0_4_load_56 | 34 | 0.0025497 | 0.00063903 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3921-37_0_4_load_17 | 35 | 0.0024169 | 0.00060572 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3921-37_0_4_load_18 | 36 | 0.0022614 | 0.00056677 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3921-37_0_4_load_19 | 37 | 0.005743 | 0.0014393 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3921-37_0_4_load_20 | 38 | 0.0033678 | 0.00084406 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3921-37_0_4_load_21 | 39 | 0.0030622 | 0.00076746 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3921-37_0_4_load_54 | 40 | 0.0014155 | 0.00035476 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3921-37_0_4_load_38 | 41 | 0.0040192 | 0.0010073 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3921-37_0_4_load_65 | 42 | 0.0048948 | 0.0012268 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3921-37_0_4_load_39 | 43 | 0.0075973 | 0.0019041 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3921-37_0_4_load_22 | 44 | 0.00564 | 0.0014135 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3921-37_0_4_load_23 | 45 | 0.0043285 | 0.0010848 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3921-37_0_4_load_24 | 46 | 0.0015692 | 0.00039327 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3921-37_0_4_load_25 | 47 | 0.009085 | 0.0022769 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3921-37_0_4_load_26 | 48 | 0.0047978 | 0.0012024 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3921-37_0_4_load_49 | 49 | 0.0049332 | 0.0012364 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3921-37_0_4_load_50 | 50 | 0.0039553 | 0.0009913 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3921-37_0_4_load_48 | 51 | 0.0025037 | 0.00062749 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3921-37_0_4_load_51 | 52 | 0.0042775 | 0.0010721 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3921-37_0_4_load_27 | 53 | 0.0011203 | 0.00028077 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3921-37_0_4_load_28 | 54 | 0.0011324 | 0.0002838 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3921-37_0_4_load_29 | 55 | 0.0019509 | 0.00048894 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3921-37_0_4_load_46 | 57 | 0.0015764 | 0.00039508 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3921-37_0_4_load_32 | 58 | 0.0030713 | 0.00076975 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3921-37_0_4_load_33 | 59 | 0.001799 | 0.00045087 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3921-37_0_4_load_34 | 60 | 0.0055685 | 0.0013956 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3921-37_0_4_load_35 | 61 | 0.0030219 | 0.00075737 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3921-37_0_4_load_36 | 62 | 0.003097 | 0.00077619 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3921-37_0_4_load_40 | 63 | 0.0026649 | 0.0006679 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3921-37_0_4_load_57 | 64 | 0.0020775 | 0.00052067 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3921-37_0_4_load_41 | 65 | 0.0026611 | 0.00066694 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3921-37_0_4_load_70 | 66 | 0.0031899 | 0.00079947 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3921-37_0_4_load_42 | 67 | 0.001883 | 0.00047192 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3921-37_0_4_load_44 | 68 | 0.00061073 | 0.00015306 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3921-37_0_4_load_86 | 69 | 0.00096462 | 0.00024176 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3921-37_0_4_load_81 | 72 | 0.0028772 | 0.00072108 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3921-37_0_4_load_60 | 73 | 0.0041422 | 0.0010381 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3921-37_0_4_load_61 | 74 | 0.0039288 | 0.00098466 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3921-37_0_4_load_63 | 75 | 0.0051201 | 0.0012832 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3921-37_0_4_load_73 | 76 | 0.0059879 | 0.0015007 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3921-37_0_4_load_72 | 77 | 0.0034219 | 0.00085762 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3921-37_0_4_load_83 | 78 | 0.0017824 | 0.00044672 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3921-37_0_4_load_78 | 79 | 0.00070542 | 0.00017679 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3921-37_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3921-37_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.034854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3921-37_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3921-37_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.011704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3921-37_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.029702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_3921-37_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0071501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3921-37_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.010047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3921-37_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3921-37_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.014847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3921-37_0_4_line_9 | NAYY 4x150 SE | 7 | 66 | 0.046898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_3921-37_0_4_line_10 | NAYY 4x150 SE | 8 | 19 | 0.053655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3921-37_0_4_line_11 | NAYY 4x150 SE | 8 | 20 | 0.022726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3921-37_0_4_line_12 | NAYY 4x150 SE | 9 | 10 | 0.024746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3921-37_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.011931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3921-37_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.029345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3921-37_0_4_line_15 | NAYY 4x150 SE | 11 | 14 | 0.16342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3921-37_0_4_line_16 | NAYY 4x150 SE | 12 | 15 | 0.012651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3921-37_0_4_line_17 | NAYY 4x150 SE | 13 | 16 | 0.011561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3921-37_0_4_line_18 | NAYY 4x150 SE | 14 | 17 | 0.15537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3921-37_0_4_line_19 | NAYY 4x150 SE | 14 | 18 | 0.18677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3921-37_0_4_line_20 | NAYY 4x150 SE | 15 | 21 | 0.095473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3921-37_0_4_line_21 | NAYY 4x150 SE | 16 | 22 | 0.013162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3921-37_0_4_line_22 | NAYY 4x150 SE | 17 | 23 | 0.02351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3921-37_0_4_line_23 | NAYY 4x150 SE | 18 | 24 | 0.047947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3921-37_0_4_line_24 | NAYY 4x150 SE | 19 | 25 | 0.048383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3921-37_0_4_line_25 | NAYY 4x150 SE | 21 | 57 | 0.052104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3921-37_0_4_line_26 | NAYY 4x150 SE | 21 | 67 | 0.035147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3921-37_0_4_line_27 | NAYY 4x150 SE | 22 | 78 | 0.00013518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3921-37_0_4_line_28 | NAYY 4x150 SE | 23 | 70 | 0.083814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3921-37_0_4_line_29 | NAYY 4x150 SE | 23 | 68 | 0.013105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3921-37_0_4_line_30 | NAYY 4x150 SE | 25 | 54 | 0.0071253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3921-37_0_4_line_31 | NAYY 4x150 SE | 26 | 27 | 0.044681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3921-37_0_4_line_32 | NAYY 4x150 SE | 27 | 28 | 0.014384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3921-37_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.027004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3921-37_0_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.013569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3921-37_0_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.066284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3921-37_0_4_line_36 | NAYY 4x150 SE | 29 | 32 | 0.0025563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3921-37_0_4_line_37 | NAYY 4x150 SE | 30 | 33 | 0.034812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3921-37_0_4_line_38 | NAYY 4x150 SE | 30 | 34 | 0.017373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3921-37_0_4_line_39 | NAYY 4x150 SE | 31 | 77 | 0.010178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3921-37_0_4_line_40 | NAYY 4x150 SE | 32 | 73 | 0.030463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3921-37_0_4_line_41 | NAYY 4x150 SE | 33 | 43 | 0.010104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_3921-37_0_4_line_42 | NAYY 4x150 SE | 34 | 64 | 0.0034544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3921-37_0_4_line_43 | NAYY 4x150 SE | 35 | 36 | 0.024549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3921-37_0_4_line_44 | NAYY 4x150 SE | 35 | 37 | 0.026237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3921-37_0_4_line_45 | NAYY 4x150 SE | 36 | 38 | 0.0028545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3921-37_0_4_line_46 | NAYY 4x150 SE | 37 | 39 | 0.010161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3921-37_0_4_line_47 | NAYY 4x150 SE | 38 | 40 | 0.021413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3921-37_0_4_line_48 | NAYY 4x150 SE | 39 | 41 | 0.019064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3921-37_0_4_line_49 | NAYY 4x150 SE | 40 | 42 | 0.0075622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3921-37_0_4_line_50 | NAYY 4x150 SE | 41 | 43 | 0.010258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3921-37_0_4_line_51 | NAYY 4x150 SE | 42 | 48 | 0.02771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3921-37_0_4_line_52 | NAYY 4x150 SE | 44 | 45 | 0.030316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3921-37_0_4_line_53 | NAYY 4x150 SE | 44 | 46 | 0.011435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3921-37_0_4_line_54 | NAYY 4x150 SE | 45 | 47 | 0.018385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3921-37_0_4_line_55 | NAYY 4x150 SE | 46 | 48 | 0.028963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3921-37_0_4_line_56 | NAYY 4x150 SE | 47 | 49 | 0.066332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3921-37_0_4_line_57 | NAYY 4x150 SE | 49 | 52 | 0.057525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3921-37_0_4_line_58 | NAYY 4x150 SE | 49 | 51 | 0.029037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3921-37_0_4_line_59 | NAYY 4x150 SE | 50 | 51 | 0.021625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3921-37_0_4_line_60 | NAYY 4x150 SE | 53 | 54 | 0.015688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3921-37_0_4_line_61 | NAYY 4x150 SE | 53 | 55 | 0.021107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3921-37_0_4_line_62 | NAYY 4x150 SE | 55 | 56 | 0.027946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3921-37_0_4_line_63 | NAYY 4x150 SE | 56 | 57 | 0.056623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3921-37_0_4_line_64 | NAYY 4x150 SE | 58 | 59 | 0.0013944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_3921-37_0_4_line_65 | NAYY 4x150 SE | 58 | 60 | 0.029311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3921-37_0_4_line_66 | NAYY 4x150 SE | 59 | 61 | 0.022677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_3921-37_0_4_line_67 | NAYY 4x150 SE | 60 | 62 | 0.000236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3921-37_0_4_line_68 | NAYY 4x150 SE | 61 | 63 | 0.010318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_3921-37_0_4_line_69 | NAYY 4x150 SE | 62 | 64 | 0.023007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3921-37_0_4_line_70 | NAYY 4x150 SE | 63 | 65 | 0.026335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_3921-37_0_4_line_71 | NAYY 4x150 SE | 65 | 66 | 0.010086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_3921-37_0_4_line_72 | NAYY 4x150 SE | 68 | 69 | 0.077567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3921-37_0_4_line_73 | NAYY 4x150 SE | 70 | 71 | 0.012527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3921-37_0_4_line_74 | NAYY 4x150 SE | 70 | 72 | 0.029595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3921-37_0_4_line_75 | NAYY 4x150 SE | 71 | 79 | 0.059103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3921-37_0_4_line_76 | NAYY 4x150 SE | 73 | 74 | 0.02265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3921-37_0_4_line_77 | NAYY 4x150 SE | 74 | 75 | 0.021135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3921-37_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.017784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3921-37_0_4_trafo_40 | 0.25 MVA 20/0.4 kV | 80 | 63 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2769272.0816 | 1182629.2458 | 2769281.5261 | 1182624.9086 | 2769285.2861 | 1182623.8027 | 2769293.5729 | 1182623.1138 | 2769300.105 | 1182623.1428 | 2769303.323 | 1182623.8286
1 | 2769333.8508 | 1182612.7421 | 2769330.9391 | 1182617.3529 | 2769325.4555 | 1182621.0458 | 2769314.8697 | 1182624.4054 | 2769308.4672 | 1182624.925 | 2769303.323 | 1182623.8286
2 | 2769272.0816 | 1182629.2458 | 2769274.7804 | 1182638.6528 | 2769275.1277 | 1182639.4306
3 | 2769272.0816 | 1182629.2458 | 2769267.683 | 1182618.4002
4 | 2769290.4555 | 1182664.7414 | 2769286.1182 | 1182658.9692 | 2769283.0608 | 1182654.4121 | 2769278.7686 | 1182647.5846 | 2769275.1277 | 1182639.4306
5 | 2769264.9957 | 1182611.7743 | 2769267.683 | 1182618.4002
6 | 2769297.3639 | 1182672.0359 | 2769294.9435 | 1182669.5058 | 2769290.4555 | 1182664.7414 | 2769290.4555 | 1182664.7414
7 | 2769253.9262 | 1182587.9068 | 2769264.9957 | 1182611.7743
8 | 2769264.9957 | 1182611.7743 | 2769251.9465 | 1182618.8561
9 | 2769297.3639 | 1182672.0359 | 2769300.2795 | 1182675.0838 | 2769302.6362 | 1182678.2087 | 2769303.4713 | 1182681.9134 | 2769303.3581 | 1182685.3801 | 2769300.9703 | 1182699.5699 | 2769301.6271 | 1182704.4485 | 2769303.0532 | 1182707.2469 | 2769306.7196 | 1182710.5312 | 2769310.7019 | 1182711.6054
10 | 2769253.9262 | 1182587.9068 | 2769243.4547 | 1182577.2125 | 2769228.0592 | 1182563.9325 | 2769210.741 | 1182557.8492
11 | 2769253.9262 | 1182587.9068 | 2769253.1896 | 1182583.1483 | 2769248.9144 | 1182575.176 | 2769248.6575 | 1182572.9111 | 2769251.5945 | 1182569.0238 | 2769251.9855 | 1182567.3556
12 | 2769229.4359 | 1182629.0734 | 2769245.7124 | 1182622.2394 | 2769251.9465 | 1182618.8561
13 | 2769108.0629 | 1182690.1496 | 2769104.7714 | 1182678.6816
14 | 2769108.0629 | 1182690.1496 | 2769118.1213 | 1182699.5085 | 2769124.7466 | 1182706.246 | 2769127.5149 | 1182711.7456
15 | 2768966.3385 | 1182638.8288 | 2768973.2861 | 1182641.1935 | 2768978.8181 | 1182643.8963 | 2768984.9403 | 1182647.3498 | 2768987.8896 | 1182655.2067 | 2768994.8201 | 1182664.3993 | 2769005.9898 | 1182673.6448 | 2769017.4826 | 1182682.5436 | 2769028.9093 | 1182688.093 | 2769050.2712 | 1182691.1315 | 2769065.6269 | 1182690.3972 | 2769074.7752 | 1182690.0438 | 2769083.9851 | 1182694.2741 | 2769092.8657 | 1182695.0142 | 2769100.4597 | 1182693.6939 | 2769108.0629 | 1182690.1496
16 | 2769100.0945 | 1182666.9987 | 2769101.7137 | 1182669.574 | 2769104.3621 | 1182677.2557 | 2769104.7714 | 1182678.6816
17 | 2769127.5149 | 1182711.7456 | 2769130.3174 | 1182717.3132 | 2769132.4137 | 1182722.2118
18 | 2768966.3385 | 1182638.8288 | 2768961.5693 | 1182629.397 | 2768953.9018 | 1182619.2383 | 2768938.7756 | 1182606.4115 | 2768911.7964 | 1182585.7992 | 2768859.6554 | 1182530.5024 | 2768857.9892 | 1182528.9312
19 | 2768966.3385 | 1182638.8288 | 2768866.8152 | 1182796.8787
20 | 2769047.2554 | 1182593.3245 | 2769047.1685 | 1182600.1949 | 2769048.5243 | 1182610.6315 | 2769051.3766 | 1182621.1103 | 2769058.2964 | 1182628.2453 | 2769070.3163 | 1182636.336 | 2769099.0228 | 1182665.2942 | 2769100.0945 | 1182666.9987
21 | 2769138.4292 | 1182733.8533 | 2769135.6502 | 1182729.775 | 2769132.4137 | 1182722.2118
22 | 2768840.884 | 1182512.8021 | 2768857.9892 | 1182528.9312
23 | 2768866.8152 | 1182796.8787 | 2768865.6139 | 1182801.816 | 2768849.7555 | 1182811.9896 | 2768843.2151 | 1182814.9747 | 2768833.3822 | 1182818.4787 | 2768827.1741 | 1182820.0214
24 | 2769167.0402 | 1182537.642 | 2769182.3331 | 1182547.2601 | 2769210.741 | 1182557.8492
25 | 2769047.2554 | 1182593.3245 | 2769047.6113 | 1182593.1677 | 2769048.0167 | 1182592.6119 | 2769048.0033 | 1182591.733 | 2769048.0096 | 1182589.887 | 2769048.0472 | 1182588.5536 | 2769048.7864 | 1182586.7283 | 2769050.0725 | 1182583.3949 | 2769049.4681 | 1182578.8181 | 2769048.0181 | 1182574.6957 | 2769047.344 | 1182569.8835 | 2769047.6251 | 1182566.4216 | 2769059.2624 | 1182572.9112 | 2769065.3056 | 1182564.2738 | 2769065.4586 | 1182564.0872
26 | 2769047.2554 | 1182593.3245 | 2769046.1969 | 1182592.9276 | 2769045.0838 | 1182591.2169 | 2769043.9549 | 1182588.4381 | 2769043.0283 | 1182584.4528 | 2769039.3195 | 1182577.5197 | 2769031.8722 | 1182569.0353 | 2769026.4783 | 1182567.0925
27 | 2769138.4292 | 1182733.8533 | 2769138.5054 | 1182733.965
28 | 2768773.1392 | 1182463.1828 | 2768840.884 | 1182512.8021
29 | 2768840.884 | 1182512.8021 | 2768853.5886 | 1182516.0153
30 | 2769167.0402 | 1182537.642 | 2769159.9157 | 1182537.7521 | 2769159.9157 | 1182537.7521
31 | 2769464.0924 | 1182765.3887 | 2769468.3785 | 1182767.1062 | 2769476.9517 | 1182768.9836 | 2769484.1553 | 1182770.3886 | 2769492.5579 | 1182772.0832 | 2769497.1064 | 1182772.8125 | 2769503.1157 | 1182773.7611 | 2769507.6353 | 1182774.9967
32 | 2769451.2717 | 1182758.9819 | 2769452.3701 | 1182759.8582 | 2769458.9121 | 1182763.3129 | 2769464.0924 | 1182765.3887
33 | 2769451.2717 | 1182758.9819 | 2769440.9657 | 1182763.7949 | 2769426.3766 | 1182769.5767
34 | 2769440.0826 | 1182751.2586 | 2769451.2717 | 1182758.9819
35 | 2769426.3766 | 1182769.5767 | 2769420.8515 | 1182771.767 | 2769416.1976 | 1182780.9771 | 2769401.4629 | 1182772.9979 | 2769403.7951 | 1182777.2566 | 2769390.0778 | 1182773.2876 | 2769376.6174 | 1182768.9893
36 | 2769426.3766 | 1182769.5767 | 2769424.0002 | 1182770.5188
37 | 2769440.0826 | 1182751.2586 | 2769446.6271 | 1182741.9351 | 2769450.6315 | 1182738.4006 | 2769457.0405 | 1182736.0241 | 2769464.9334 | 1182737.1038 | 2769467.9978 | 1182738.2666
38 | 2769440.0826 | 1182751.2586 | 2769434.3979 | 1182745.8596 | 2769429.1707 | 1182741.8416 | 2769426.7005 | 1182740.2482
39 | 2769376.6174 | 1182768.9893 | 2769366.9217 | 1182765.8932
40 | 2769401.4629 | 1182772.9979 | 2769401.4629 | 1182772.9979 | 2769416.1976 | 1182780.9771 | 2769420.8515 | 1182771.767 | 2769424.0002 | 1182770.5188
41 | 2769467.9978 | 1182738.2666 | 2769470.1268 | 1182739.0746 | 2769475.6309 | 1182742.7558 | 2769476.6352 | 1182743.4214
42 | 2769426.7005 | 1182740.2482 | 2769423.7976 | 1182738.3757
43 | 2769457.528 | 1182706.3851 | 2769461.9574 | 1182708.8829 | 2769470.7427 | 1182715.148 | 2769476.833 | 1182719.4464 | 2769477.8816 | 1182720.0671
44 | 2769498.3376 | 1182736.2298 | 2769493.9142 | 1182731.4513 | 2769489.5154 | 1182728.402 | 2769484.4681 | 1182723.9663 | 2769477.8816 | 1182720.0671
45 | 2769457.528 | 1182706.3851 | 2769455.0415 | 1182704.983
46 | 2769501.173 | 1182745.2136 | 2769501.3356 | 1182739.4685 | 2769498.3376 | 1182736.2298
47 | 2769455.0415 | 1182704.983 | 2769452.8423 | 1182703.7427 | 2769439.2009 | 1182696.2726 | 2769436.86 | 1182693.8974
48 | 2769501.173 | 1182745.2136 | 2769501.1535 | 1182745.9025 | 2769496.012 | 1182750.7393 | 2769490.7504 | 1182751.4467 | 2769486.5343 | 1182749.5035 | 2769485.3564 | 1182748.815
49 | 2769436.86 | 1182693.8974 | 2769434.4993 | 1182691.502 | 2769431.6932 | 1182688.3782
50 | 2769485.3564 | 1182748.815 | 2769480.4159 | 1182745.9273 | 2769476.6352 | 1182743.4214
51 | 2769431.6932 | 1182688.3782 | 2769428.9436 | 1182685.3171 | 2769425.3662 | 1182682.4023 | 2769423.2433 | 1182681.0077 | 2769420.1223 | 1182680.0519 | 2769413.1744 | 1182678.7878 | 2769409.762 | 1182677.8683 | 2769407.6314 | 1182676.4127
52 | 2769436.1087 | 1182666.4984 | 2769439.3301 | 1182666.8606 | 2769465.1524 | 1182674.999
53 | 2769424.7455 | 1182665.2205 | 2769436.1087 | 1182666.4984
54 | 2769482.6954 | 1182680.4989 | 2769471.933 | 1182677.136 | 2769465.1524 | 1182674.999
55 | 2769424.7455 | 1182665.2205 | 2769415.0179 | 1182664.1265 | 2769410.8635 | 1182664.3204 | 2769409.1885 | 1182664.9181 | 2769407.9349 | 1182666.017 | 2769406.6658 | 1182667.3935 | 2769405.9558 | 1182669.264 | 2769405.6529 | 1182671.0571 | 2769405.9838 | 1182673.9468 | 2769407.5882 | 1182676.3833 | 2769407.6314 | 1182676.4127
56 | 2769482.6954 | 1182680.4989 | 2769521.9273 | 1182627.0128
57 | 2769521.9273 | 1182627.0128 | 2769534.4885 | 1182636.3678 | 2769554.2624 | 1182652.8532 | 2769563.8599 | 1182665.8027
58 | 2769499.5082 | 1182608.5756 | 2769499.5082 | 1182608.5756 | 2769516.3269 | 1182622.8419 | 2769521.9273 | 1182627.0128
59 | 2769499.5082 | 1182608.5756 | 2769496.1365 | 1182603.787 | 2769494.6541 | 1182595.9602 | 2769495.8656 | 1182588.2521
60 | 2769144.3326 | 1182535.945 | 2769159.9157 | 1182537.7521
61 | 2769123.8253 | 1182531.2809 | 2769136.3366 | 1182535.0177 | 2769144.3326 | 1182535.945
62 | 2769097.5288 | 1182522.5449 | 2769102.877 | 1182523.3743 | 2769108.6712 | 1182524.9169 | 2769115.6512 | 1182528.8396 | 2769123.8253 | 1182531.2809
63 | 2769097.5288 | 1182522.5449 | 2769095.2885 | 1182524.4945 | 2769091.8869 | 1182531.8497 | 2769091.3679 | 1182535.6163 | 2769088.5249 | 1182545.1113 | 2769078.4985 | 1182546.7856 | 2769068.7164 | 1182560.1107 | 2769065.4586 | 1182564.0872
64 | 2769377.0099 | 1182711.5345 | 2769378.2395 | 1182712.1919
65 | 2769403.7529 | 1182726.6194 | 2769383.2779 | 1182714.9202 | 2769378.7778 | 1182712.4797 | 2769378.2395 | 1182712.1919
66 | 2769355.8503 | 1182703.8293 | 2769363.1101 | 1182705.3305 | 2769367.9781 | 1182706.9251 | 2769373.6821 | 1182709.7555 | 2769377.0099 | 1182711.5345
67 | 2769403.7529 | 1182726.6194 | 2769403.9578 | 1182726.7365
68 | 2769355.8503 | 1182703.8293 | 2769354.4503 | 1182703.5398 | 2769349.7164 | 1182703.1501 | 2769345.5834 | 1182703.3584
69 | 2769403.9578 | 1182726.7365 | 2769419.6859 | 1182735.7235 | 2769423.7976 | 1182738.3757
70 | 2769345.5834 | 1182703.3584 | 2769339.9606 | 1182703.6416 | 2769331.5595 | 1182704.861 | 2769320.4009 | 1182709.8324
71 | 2769320.4009 | 1182709.8324 | 2769320.2926 | 1182709.8806 | 2769316.8108 | 1182711.1501 | 2769312.384 | 1182712.0592 | 2769310.7019 | 1182711.6054
72 | 2768853.5886 | 1182516.0153 | 2768897.7367 | 1182452.2376
73 | 2768773.1392 | 1182463.1828 | 2768777.2142 | 1182475.0305
74 | 2768773.1392 | 1182463.1828 | 2768763.7803 | 1182450.1186 | 2768759.3797 | 1182443.5888 | 2768758.4429 | 1182438.0163
75 | 2768777.2142 | 1182475.0305 | 2768752.6427 | 1182492.588 | 2768733.4553 | 1182498.5866 | 2768724.8047 | 1182500.2038
76 | 2769401.4629 | 1182772.9979 | 2769403.7951 | 1182777.2566 | 2769390.0778 | 1182773.2876 | 2769386.7298 | 1182772.2185
77 | 2769386.7298 | 1182772.2185 | 2769366.9217 | 1182765.8932 | 2769366.9372 | 1182766.2341
78 | 2769367.7468 | 1182783.9996 | 2769367.7468 | 1182783.9996 | 2769366.9372 | 1182766.2341

## bus_geodata
| x | y | coords
0 | 2769303.323 | 1182623.8286
1 | 2769272.0816 | 1182629.2458
2 | 2769333.8508 | 1182612.7421
3 | 2769275.1277 | 1182639.4306
4 | 2769267.683 | 1182618.4002
5 | 2769290.4555 | 1182664.7414
6 | 2769264.9957 | 1182611.7743
7 | 2769297.3639 | 1182672.0359
8 | 2769253.9262 | 1182587.9068
9 | 2769251.9465 | 1182618.8561
10 | 2769229.4359 | 1182629.0734
11 | 2769108.0629 | 1182690.1496
12 | 2769104.7714 | 1182678.6816
13 | 2769127.5149 | 1182711.7456
14 | 2768966.3385 | 1182638.8288
15 | 2769100.0945 | 1182666.9987
16 | 2769132.4137 | 1182722.2118
17 | 2768857.9892 | 1182528.9312
18 | 2768866.8152 | 1182796.8787
19 | 2769210.741 | 1182557.8492
20 | 2769251.9855 | 1182567.3556
21 | 2769047.2554 | 1182593.3245
22 | 2769138.4292 | 1182733.8533
23 | 2768840.884 | 1182512.8021
24 | 2768827.1741 | 1182820.0214
25 | 2769167.0402 | 1182537.642
26 | 2769507.6353 | 1182774.9967
27 | 2769464.0924 | 1182765.3887
28 | 2769451.2717 | 1182758.9819
29 | 2769426.3766 | 1182769.5767
30 | 2769440.0826 | 1182751.2586
31 | 2769376.6174 | 1182768.9893
32 | 2769424.0002 | 1182770.5188
33 | 2769467.9978 | 1182738.2666
34 | 2769426.7005 | 1182740.2482
35 | 2769477.8816 | 1182720.0671
36 | 2769457.528 | 1182706.3851
37 | 2769498.3376 | 1182736.2298
38 | 2769455.0415 | 1182704.983
39 | 2769501.173 | 1182745.2136
40 | 2769436.86 | 1182693.8974
41 | 2769485.3564 | 1182748.815
42 | 2769431.6932 | 1182688.3782
43 | 2769476.6352 | 1182743.4214
44 | 2769436.1087 | 1182666.4984
45 | 2769465.1524 | 1182674.999
46 | 2769424.7455 | 1182665.2205
47 | 2769482.6954 | 1182680.4989
48 | 2769407.6314 | 1182676.4127
49 | 2769521.9273 | 1182627.0128
50 | 2769495.8656 | 1182588.2521
51 | 2769499.5082 | 1182608.5756
52 | 2769563.8599 | 1182665.8027
53 | 2769144.3326 | 1182535.945
54 | 2769159.9157 | 1182537.7521
55 | 2769123.8253 | 1182531.2809
56 | 2769097.5288 | 1182522.5449
57 | 2769065.4586 | 1182564.0872
58 | 2769378.2395 | 1182712.1919
59 | 2769377.0099 | 1182711.5345
60 | 2769403.7529 | 1182726.6194
61 | 2769355.8503 | 1182703.8293
62 | 2769403.9578 | 1182726.7365
63 | 2769345.5834 | 1182703.3584
64 | 2769423.7976 | 1182738.3757
65 | 2769320.4009 | 1182709.8324
66 | 2769310.7019 | 1182711.6054
67 | 2769026.4783 | 1182567.0925
68 | 2768853.5886 | 1182516.0153
69 | 2768897.7367 | 1182452.2376
70 | 2768773.1392 | 1182463.1828
71 | 2768777.2142 | 1182475.0305
72 | 2768758.4429 | 1182438.0163
73 | 2769401.4629 | 1182772.9979
74 | 2769386.7298 | 1182772.2185
75 | 2769366.9372 | 1182766.2341
76 | 2769367.7468 | 1182783.9996
77 | 2769366.9217 | 1182765.8932
78 | 2769138.5054 | 1182733.965
79 | 2768724.8047 | 1182500.2038
80 | 2769440.0826 | 1182751.2586

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1