## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3921-52_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3921-52_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3921-52_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3921-52_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3921-52_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3921-52_0_2_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_3921-52_0_2_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_3921-52_0_2_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_3921-52_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3921-52_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3921-52_0_2_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_3921-52_0_2_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_3921-52_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3921-52_0_2_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_3921-52_0_2_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_3921-52_0_2_node_123 | 0.4 | n |  | TRUE
16 | bus_LV_3921-52_0_2_node_129 | 0.4 | n |  | TRUE
17 | bus_LV_3921-52_0_2_node_122 | 0.4 | n |  | TRUE
18 | bus_LV_3921-52_0_2_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_3921-52_0_2_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_3921-52_0_2_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_3921-52_0_2_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_3921-52_0_2_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_3921-52_0_2_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_3921-52_0_2_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_3921-52_0_2_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_3921-52_0_2_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_3921-52_0_2_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_3921-52_0_2_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_3921-52_0_2_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_3921-52_0_2_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_3921-52_0_2_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_3921-52_0_2_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_3921-52_0_2_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_3921-52_0_2_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_3921-52_0_2_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_3921-52_0_2_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_3921-52_0_2_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_3921-52_0_2_node_115 | 0.4 | n |  | TRUE
39 | bus_LV_3921-52_0_2_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_3921-52_0_2_node_107 | 0.4 | n |  | TRUE
41 | bus_LV_3921-52_0_2_node_116 | 0.4 | n |  | TRUE
42 | bus_LV_3921-52_0_2_node_117 | 0.4 | n |  | TRUE
43 | bus_LV_3921-52_0_2_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_3921-52_0_2_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_3921-52_0_2_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_3921-52_0_2_node_92 | 0.4 | n |  | TRUE
47 | bus_LV_3921-52_0_2_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_3921-52_0_2_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_3921-52_0_2_node_105 | 0.4 | n |  | TRUE
50 | bus_LV_3921-52_0_2_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_3921-52_0_2_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_3921-52_0_2_node_121 | 0.4 | n |  | TRUE
53 | bus_LV_3921-52_0_2_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_3921-52_0_2_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_3921-52_0_2_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_3921-52_0_2_node_97 | 0.4 | n |  | TRUE
57 | bus_LV_3921-52_0_2_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_3921-52_0_2_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_3921-52_0_2_node_114 | 0.4 | n |  | TRUE
60 | bus_LV_3921-52_0_2_node_112 | 0.4 | n |  | TRUE
61 | bus_LV_3921-52_0_2_node_101 | 0.4 | n |  | TRUE
62 | bus_LV_3921-52_0_2_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_3921-52_0_2_node_103 | 0.4 | n |  | TRUE
64 | bus_LV_3921-52_0_2_node_104 | 0.4 | n |  | TRUE
65 | bus_LV_3921-52_0_2_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_3921-52_0_2_node_108 | 0.4 | n |  | TRUE
67 | bus_LV_3921-52_0_2_node_113 | 0.4 | n |  | TRUE
68 | bus_LV_3921-52_0_2_node_111 | 0.4 | n |  | TRUE
69 | bus_LV_3921-52_0_2_node_109 | 0.4 | n |  | TRUE
70 | bus_LV_3921-52_0_2_node_110 | 0.4 | n |  | TRUE
71 | bus_LV_3921-52_0_2_node_119 | 0.4 | n |  | TRUE
72 | bus_LV_3921-52_0_2_node_120 | 0.4 | n |  | TRUE
73 | bus_LV_3921-52_0_2_node_128 | 0.4 | n |  | TRUE
74 | bus_LV_3921-52_0_2_node_126 | 0.4 | n |  | TRUE
75 | bus_LV_3921-52_0_2_node_127 | 0.4 | n |  | TRUE
76 | bus_MV_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3921-52_0_2_load_0 | 0 | 0.00073671 | 0.00018464 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3921-52_0_2_load_1 | 1 | 0.00074762 | 0.00018737 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3921-52_0_2_load_3 | 3 | 0.00084748 | 0.0002124 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3921-52_0_2_load_4 | 4 | 0.0028181 | 0.00070629 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3921-52_0_2_load_70 | 5 | 0.00057287 | 0.00014357 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3921-52_0_2_load_71 | 6 | 0.00038824 | 9.7302e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3921-52_0_2_load_5 | 8 | 0.00068092 | 0.00017065 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3921-52_0_2_load_8 | 9 | 0.00057748 | 0.00014473 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3921-52_0_2_load_65 | 10 | 0.00097684 | 0.00024482 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3921-52_0_2_load_66 | 11 | 0.00058037 | 0.00014545 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3921-52_0_2_load_7 | 12 | 0.00067611 | 0.00016945 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3921-52_0_2_load_60 | 13 | 0.00057844 | 0.00014497 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3921-52_0_2_load_59 | 14 | 0.0005526 | 0.00013849 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3921-52_0_2_load_129 | 16 | 0.00040361 | 0.00010115 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3921-52_0_2_load_122 | 17 | 0.00056017 | 0.00014039 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3921-52_0_2_load_62 | 19 | 0.00067826 | 0.00016999 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3921-52_0_2_load_64 | 20 | 0.0007372 | 0.00018476 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3921-52_0_2_load_69 | 21 | 0.00084604 | 0.00021204 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3921-52_0_2_load_68 | 22 | 0.00070947 | 0.00017781 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3921-52_0_2_load_67 | 23 | 0.0007429 | 0.00018619 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3921-52_0_2_load_72 | 24 | 0.00044566 | 0.00011169 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3921-52_0_2_load_73 | 25 | 0.00067648 | 0.00016954 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3921-52_0_2_load_84 | 26 | 0.00065721 | 0.00016471 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3921-52_0_2_load_82 | 27 | 0.00053254 | 0.00013347 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3921-52_0_2_load_74 | 28 | 0.0004784 | 0.0001199 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3921-52_0_2_load_75 | 29 | 0.00044513 | 0.00011156 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3921-52_0_2_load_76 | 30 | 0.00048038 | 0.0001204 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3921-52_0_2_load_77 | 31 | 0.00056305 | 0.00014111 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3921-52_0_2_load_78 | 32 | 0.00038203 | 9.5746e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3921-52_0_2_load_79 | 33 | 0.00042276 | 0.00010595 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3921-52_0_2_load_80 | 34 | 0.00077146 | 0.00019335 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3921-52_0_2_load_87 | 35 | 0.00040119 | 0.00010055 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3921-52_0_2_load_88 | 36 | 0.0010063 | 0.00025219 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3921-52_0_2_load_81 | 37 | 0.00048125 | 0.00012061 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3921-52_0_2_load_89 | 39 | 0.00044948 | 0.00011265 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3921-52_0_2_load_107 | 40 | 0.0005344 | 0.00013393 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3921-52_0_2_load_117 | 42 | 0.00040509 | 0.00010152 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3921-52_0_2_load_83 | 43 | 0.00064872 | 0.00016258 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3921-52_0_2_load_85 | 44 | 0.0015083 | 0.00037802 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3921-52_0_2_load_86 | 45 | 0.00054516 | 0.00013663 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3921-52_0_2_load_92 | 46 | 0.0003957 | 9.9171e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3921-52_0_2_load_93 | 47 | 0.00052049 | 0.00013045 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3921-52_0_2_load_90 | 48 | 0.00040087 | 0.00010047 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3921-52_0_2_load_105 | 49 | 0.00058824 | 0.00014743 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3921-52_0_2_load_91 | 50 | 0.00043933 | 0.00011011 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3921-52_0_2_load_98 | 51 | 0.00041514 | 0.00010404 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3921-52_0_2_load_94 | 53 | 0.00041964 | 0.00010517 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3921-52_0_2_load_95 | 54 | 0.00076548 | 0.00019185 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3921-52_0_2_load_96 | 55 | 0.00075193 | 0.00018845 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3921-52_0_2_load_97 | 56 | 0.00054772 | 0.00013727 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3921-52_0_2_load_99 | 57 | 0.00055668 | 0.00013952 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3921-52_0_2_load_100 | 58 | 0.0011054 | 0.00027703 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3921-52_0_2_load_114 | 59 | 0.0003829 | 9.5963e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3921-52_0_2_load_112 | 60 | 0.0005623 | 0.00014093 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3921-52_0_2_load_101 | 61 | 0.00040356 | 0.00010114 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3921-52_0_2_load_102 | 62 | 0.0004948 | 0.00012401 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3921-52_0_2_load_103 | 63 | 0.00056127 | 0.00014067 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3921-52_0_2_load_104 | 64 | 0.00059672 | 0.00014955 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3921-52_0_2_load_106 | 65 | 0.0005649 | 0.00014158 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3921-52_0_2_load_108 | 66 | 0.0011615 | 0.0002911 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3921-52_0_2_load_113 | 67 | 0.00064454 | 0.00016154 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3921-52_0_2_load_111 | 68 | 0.00060641 | 0.00015198 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3921-52_0_2_load_109 | 69 | 0.00057233 | 0.00014344 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3921-52_0_2_load_110 | 70 | 0.0009708 | 0.00024331 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3921-52_0_2_load_119 | 71 | 0.001291 | 0.00032354 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3921-52_0_2_load_120 | 72 | 0.0024366 | 0.00061067 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3921-52_0_2_load_128 | 73 | 0.00039137 | 9.8086e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3921-52_0_2_load_126 | 74 | 0.0015149 | 0.00037967 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3921-52_0_2_load_127 | 75 | 0.00052784 | 0.00013229 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3921-52_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.051326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3921-52_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3921-52_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0058808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3921-52_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3921-52_0_2_line_4 | NAYY 4x150 SE | 3 | 8 | 0.0017091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3921-52_0_2_line_5 | NAYY 4x150 SE | 4 | 9 | 0.0072087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3921-52_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.17792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3921-52_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.43558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3921-52_0_2_line_8 | NAYY 4x150 SE | 6 | 24 | 0.0072249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3921-52_0_2_line_9 | NAYY 4x150 SE | 7 | 20 | 0.016764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3921-52_0_2_line_10 | NAYY 4x150 SE | 7 | 18 | 0.029681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3921-52_0_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.01612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3921-52_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.18625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3921-52_0_2_line_13 | NAYY 4x150 SE | 11 | 23 | 0.051041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3921-52_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.014756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3921-52_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.014145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3921-52_0_2_line_16 | NAYY 4x150 SE | 14 | 18 | 0.047267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3921-52_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.034402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3921-52_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.10893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3921-52_0_2_line_19 | NAYY 4x150 SE | 16 | 75 | 0.059569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3921-52_0_2_line_20 | NAYY 4x150 SE | 17 | 52 | 0.00070531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3921-52_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.016788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3921-52_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.021881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3921-52_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.010047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3921-52_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.026959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3921-52_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.004717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3921-52_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0055899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3921-52_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0017916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3921-52_0_2_line_28 | NAYY 4x150 SE | 27 | 43 | 0.013087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3921-52_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.007574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3921-52_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.17114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3921-52_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.27894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3921-52_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.0085551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3921-52_0_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.27088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3921-52_0_2_line_34 | NAYY 4x150 SE | 31 | 34 | 0.0069217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3921-52_0_2_line_35 | NAYY 4x150 SE | 33 | 35 | 0.013865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3921-52_0_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0068137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3921-52_0_2_line_37 | NAYY 4x150 SE | 35 | 39 | 0.02477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3921-52_0_2_line_38 | NAYY 4x150 SE | 36 | 40 | 0.014468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3921-52_0_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0093251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3921-52_0_2_line_40 | NAYY 4x150 SE | 38 | 41 | 0.050878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3921-52_0_2_line_41 | NAYY 4x150 SE | 38 | 42 | 0.050803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3921-52_0_2_line_42 | NAYY 4x150 SE | 39 | 48 | 0.35462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3921-52_0_2_line_43 | NAYY 4x150 SE | 40 | 49 | 0.0028118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3921-52_0_2_line_44 | NAYY 4x150 SE | 41 | 71 | 0.002805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3921-52_0_2_line_45 | NAYY 4x150 SE | 42 | 72 | 0.0077034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3921-52_0_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0082518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3921-52_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0036208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3921-52_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.012609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3921-52_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.11306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3921-52_0_2_line_50 | NAYY 4x150 SE | 47 | 53 | 0.052352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3921-52_0_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0054253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3921-52_0_2_line_52 | NAYY 4x150 SE | 49 | 63 | 0.00059237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3921-52_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.0077783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3921-52_0_2_line_54 | NAYY 4x150 SE | 51 | 52 | 0.0068495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3921-52_0_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0010977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3921-52_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.00010872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3921-52_0_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0068957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3921-52_0_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0060291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3921-52_0_2_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0015351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3921-52_0_2_line_60 | NAYY 4x150 SE | 58 | 59 | 0.00034262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3921-52_0_2_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0047526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3921-52_0_2_line_62 | NAYY 4x150 SE | 60 | 70 | 0.0064638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3921-52_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0033791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3921-52_0_2_line_64 | NAYY 4x150 SE | 61 | 63 | 0.00070713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3921-52_0_2_line_65 | NAYY 4x150 SE | 62 | 64 | 0.0026846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3921-52_0_2_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0034679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3921-52_0_2_line_67 | NAYY 4x150 SE | 65 | 66 | 0.0012255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3921-52_0_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.0020553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3921-52_0_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.00014531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3921-52_0_2_line_70 | NAYY 4x150 SE | 68 | 69 | 0.00018029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3921-52_0_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.0045438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3921-52_0_2_line_72 | NAYY 4x150 SE | 71 | 73 | 0.013322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3921-52_0_2_line_73 | NAYY 4x150 SE | 73 | 74 | 0.03441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3921-52_0_2_line_74 | NAYY 4x150 SE | 74 | 75 | 0.05475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3921-52_0_2_trafo_92 | 0.25 MVA 20/0.4 kV | 76 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2777706.3316 | 1187536.911 | 2777693.7343 | 1187530.1059 | 2777684.3126 | 1187530.6158 | 2777669.1688 | 1187533.2914 | 2777661.8982 | 1187533.0978 | 2777657.0525 | 1187532.2409
1 | 2777726.2847 | 1187550.6246 | 2777710.5747 | 1187539.2031 | 2777706.3316 | 1187536.911
2 | 2777651.2616 | 1187531.2168 | 2777657.0525 | 1187532.2409
3 | 2777726.2847 | 1187550.6246 | 2777744.226 | 1187556.2158
4 | 2777651.2616 | 1187531.2168 | 2777649.5786 | 1187530.9192
5 | 2777744.226 | 1187556.2158 | 2777749.835 | 1187557.9637 | 2777750.7952 | 1187558.8893
6 | 2776958.2626 | 1187625.7214 | 2776945.4941 | 1187634.1323 | 2776937.1161 | 1187638.3443 | 2776910.6667 | 1187654.4117 | 2776879.265 | 1187671.1669 | 2776865.4069 | 1187677.3858 | 2776851.4127 | 1187682.7888 | 2776841.5547 | 1187687.2242 | 2776834.6556 | 1187692.292 | 2776828.6312 | 1187695.1502 | 2776817.2734 | 1187696.3383 | 2776804.9328 | 1187700.0442 | 2776799.2289 | 1187702.4353
7 | 2776958.2626 | 1187625.7214 | 2777359.7236 | 1187456.7144
8 | 2776792.5658 | 1187705.2285 | 2776799.2289 | 1187702.4353
9 | 2777359.7236 | 1187456.7144 | 2777365.882 | 1187459.1435 | 2777375.529 | 1187462.2784
10 | 2777359.7236 | 1187456.7144 | 2777361.8771 | 1187448.2034 | 2777381.1693 | 1187440.0336
11 | 2777634.4596 | 1187525.5698 | 2777637.265 | 1187527.2505 | 2777643.4152 | 1187529.1792 | 2777649.5786 | 1187530.9192 | 2777649.5786 | 1187530.9192
12 | 2777634.4596 | 1187525.5698 | 2777633.0265 | 1187524.7113 | 2777630.8069 | 1187520.775 | 2777630.5947 | 1187516.865 | 2777633.8027 | 1187504.9932 | 2777632.2512 | 1187499.6421 | 2777628.1026 | 1187497.417 | 2777624.2048 | 1187497.546 | 2777618.6857 | 1187499.3062 | 2777609.5486 | 1187502.5717 | 2777604.8053 | 1187503.9212 | 2777598.8457 | 1187503.8 | 2777578.4961 | 1187499.2256 | 2777570.209 | 1187499.5803 | 2777562.2098 | 1187498.4643 | 2777553.6611 | 1187493.7397 | 2777537.8263 | 1187484.4504 | 2777526.2167 | 1187480.725 | 2777506.0889 | 1187476.6468 | 2777484.6579 | 1187470.6839 | 2777481.8588 | 1187469.7379
13 | 2777432.7052 | 1187459.9347 | 2777440.951 | 1187458.4106 | 2777451.2524 | 1187459.3945 | 2777481.8588 | 1187469.7379
14 | 2777415.3816 | 1187391.1287 | 2777412.9054 | 1187390.4595 | 2777406.5013 | 1187388.8461 | 2777402.56 | 1187387.0944 | 2777401.4857 | 1187387.7784
15 | 2777388.8351 | 1187393.9277 | 2777395.9839 | 1187391.2814 | 2777401.4857 | 1187387.7784
16 | 2777381.1693 | 1187440.0336 | 2777382.9837 | 1187415.1413 | 2777383.7825 | 1187407.2575 | 2777385.9224 | 1187398.9463 | 2777388.8351 | 1187393.9277
17 | 2775732.2472 | 1187767.3066 | 2775727.3103 | 1187774.4908 | 2775709.4155 | 1187789.5356 | 2775707.8899 | 1187791.2651
18 | 2775732.2472 | 1187767.3066 | 2775775.108 | 1187781.8892 | 2775838.7646 | 1187781.6035
19 | 2775707.8899 | 1187791.2651 | 2775689.7267 | 1187811.8569 | 2775677.084 | 1187826.6667 | 2775674.3625 | 1187839.0097
20 | 2775839.4699 | 1187781.6003 | 2775838.7646 | 1187781.6035
21 | 2777381.1693 | 1187440.0336 | 2777386.5898 | 1187437.7363 | 2777397.1166 | 1187434.9038
22 | 2777396.7302 | 1187467.1882 | 2777388.8073 | 1187466.4738 | 2777382.716 | 1187464.6139 | 2777375.529 | 1187462.2784
23 | 2777406.7734 | 1187466.9881 | 2777397.0771 | 1187467.2195 | 2777396.7302 | 1187467.1882
24 | 2777406.7734 | 1187466.9881 | 2777407.2621 | 1187466.9764 | 2777417.1284 | 1187465.1224 | 2777431.4618 | 1187460.1645 | 2777432.7052 | 1187459.9347
25 | 2776792.5658 | 1187705.2285 | 2776788.2157 | 1187707.0522
26 | 2776788.2157 | 1187707.0522 | 2776783.0604 | 1187709.2133
27 | 2776781.4081 | 1187709.906 | 2776783.0604 | 1187709.2133
28 | 2776781.4081 | 1187709.906 | 2776779.5298 | 1187710.6934 | 2776769.5015 | 1187715.3348
29 | 2776241.3942 | 1187837.2392 | 2776247.2636 | 1187835.6039 | 2776248.7446 | 1187835.6143
30 | 2776241.3942 | 1187837.2392 | 2776236.7944 | 1187838.5208 | 2776221.4703 | 1187834.9332 | 2776214.1413 | 1187835.4402 | 2776202.4305 | 1187834.1167 | 2776184.0254 | 1187835.0762 | 2776161.4642 | 1187840.2842 | 2776136.1698 | 1187843.6768 | 2776121.4345 | 1187843.688 | 2776108.2706 | 1187846.8595 | 2776096.7422 | 1187854.3832 | 2776080.6003 | 1187858.0899 | 2776074.8134 | 1187858.2203
31 | 2776516.2235 | 1187769.4837 | 2776508.1371 | 1187774.439 | 2776482.1081 | 1187780.1997 | 2776467.355 | 1187785.7258 | 2776457.7343 | 1187789.3792 | 2776445.6384 | 1187792.0476 | 2776436.8999 | 1187794.5259 | 2776430.1554 | 1187796.4401 | 2776421.8795 | 1187800.0553 | 2776411.4596 | 1187801.0383 | 2776397.9064 | 1187800.572 | 2776391.263 | 1187802.4225 | 2776379.9741 | 1187806.7275 | 2776367.1455 | 1187810.6868 | 2776350.0307 | 1187812.9406 | 2776342.7738 | 1187814.8843 | 2776329.8261 | 1187818.4843 | 2776315.4877 | 1187820.3084 | 2776300.6806 | 1187818.3485 | 2776290.4374 | 1187819.815 | 2776281.8583 | 1187822.8432 | 2776273.0076 | 1187826.5417 | 2776259.7898 | 1187832.3138 | 2776252.2251 | 1187835.6388 | 2776248.7446 | 1187835.6143
32 | 2776074.8134 | 1187858.2203 | 2776066.2605 | 1187858.4131
33 | 2776516.2235 | 1187769.4837 | 2776488.4973 | 1187773.248 | 2776421.8707 | 1187779.3799 | 2776371.7298 | 1187778.9695 | 2776316.7478 | 1187781.6867 | 2776278.4222 | 1187776.2089 | 2776265.2664 | 1187776.244 | 2776246.9715 | 1187781.0994
34 | 2776516.2235 | 1187769.4837 | 2776522.0796 | 1187769.7343 | 2776523.1205 | 1187769.9356
35 | 2776233.2991 | 1187782.5146 | 2776241.4275 | 1187782.5707 | 2776246.9715 | 1187781.0994
36 | 2776529.8103 | 1187771.2293 | 2776523.1205 | 1187769.9356
37 | 2776233.2991 | 1187782.5146 | 2776212.3219 | 1187782.3698 | 2776208.568 | 1187781.8341
38 | 2776529.8103 | 1187771.2293 | 2776537.6878 | 1187772.7528 | 2776544.1187 | 1187772.3314
39 | 2775704.9024 | 1187973.1323 | 2775709.3625 | 1187972.0399 | 2775713.9499 | 1187970.8745
40 | 2775704.9024 | 1187973.1323 | 2775683.2598 | 1187927.065
41 | 2775704.9024 | 1187973.1323 | 2775700.0469 | 1187979.6293 | 2775696.9576 | 1187986.3006 | 2775692.9723 | 1187992.0224 | 2775689.6283 | 1187996.7065 | 2775682.986 | 1188004.5191 | 2775672.5318 | 1188011.1075
42 | 2776208.568 | 1187781.8341 | 2776199.4579 | 1187780.534 | 2776153.0563 | 1187765.922 | 2776103.6628 | 1187757.4949 | 2776076.6375 | 1187759.2465 | 2776048.5532 | 1187760.144 | 2775988.0556 | 1187766.8725 | 2775962.0749 | 1187764.2623 | 2775949.3637 | 1187764.756 | 2775935.6919 | 1187768.5802 | 2775924.0764 | 1187773.3547 | 2775866.7185 | 1187780.5549 | 2775859.5083 | 1187780.8315
43 | 2776546.9246 | 1187772.1476 | 2776544.1187 | 1187772.3314
44 | 2775683.2598 | 1187927.065 | 2775685.8391 | 1187925.9627
45 | 2775665.1253 | 1188013.2256 | 2775665.1253 | 1188013.2256 | 2775672.5318 | 1188011.1075
46 | 2776762.0129 | 1187718.8008 | 2776769.5015 | 1187715.3348
47 | 2776762.0129 | 1187718.8008 | 2776758.727 | 1187720.3216
48 | 2776747.1706 | 1187725.3298 | 2776749.7589 | 1187724.4723 | 2776758.727 | 1187720.3216
49 | 2776747.1706 | 1187725.3298 | 2776724.4844 | 1187732.8456 | 2776717.9158 | 1187736.8112 | 2776703.1203 | 1187748.6748 | 2776699.0981 | 1187750.4356 | 2776696.4825 | 1187751.1035 | 2776694.4364 | 1187751.6214 | 2776651.483 | 1187755.7473 | 2776641.5144 | 1187753.7043
50 | 2776590.6068 | 1187757.3856 | 2776593.6301 | 1187756.1305 | 2776606.8404 | 1187751.4044 | 2776619.8207 | 1187750.0748 | 2776636.2672 | 1187752.6289 | 2776641.5144 | 1187753.7043
51 | 2775854.087 | 1187781.0395 | 2775859.5083 | 1187780.8315
52 | 2776546.9246 | 1187772.1476 | 2776547.5157 | 1187772.1088
53 | 2775846.3144 | 1187781.3377 | 2775854.087 | 1187781.0395
54 | 2775839.4699 | 1187781.6003 | 2775846.3144 | 1187781.3377
55 | 2776590.6068 | 1187757.3856 | 2776589.593 | 1187757.8064
56 | 2776589.4926 | 1187757.8481 | 2776589.593 | 1187757.8064
57 | 2776589.4926 | 1187757.8481 | 2776583.1239 | 1187760.4919
58 | 2776583.1239 | 1187760.4919 | 2776577.5555 | 1187762.8035
59 | 2776577.5555 | 1187762.8035 | 2776576.1377 | 1187763.392
60 | 2776575.8213 | 1187763.5234 | 2776576.1377 | 1187763.392
61 | 2776575.8213 | 1187763.5234 | 2776574.3449 | 1187764.1362 | 2776571.3267 | 1187765.052
62 | 2776571.3267 | 1187765.052 | 2776565.1413 | 1187766.9288
63 | 2776548.2213 | 1187772.0626 | 2776551.4548 | 1187771.0815
64 | 2776547.5157 | 1187772.1088 | 2776548.2213 | 1187772.0626 | 2776548.2213 | 1187772.0626
65 | 2776551.4548 | 1187771.0815 | 2776554.0237 | 1187770.302
66 | 2776557.3423 | 1187769.2951 | 2776554.0237 | 1187770.302
67 | 2776557.3423 | 1187769.2951 | 2776558.5149 | 1187768.9393
68 | 2776560.4817 | 1187768.3426 | 2776558.5149 | 1187768.9393
69 | 2776560.4817 | 1187768.3426 | 2776560.6208 | 1187768.3004
70 | 2776560.6208 | 1187768.3004 | 2776560.7933 | 1187768.248
71 | 2776560.7933 | 1187768.248 | 2776565.1413 | 1187766.9288
72 | 2775697.2647 | 1187919.5853 | 2775695.1432 | 1187921.9865 | 2775685.8391 | 1187925.9627
73 | 2775689.7847 | 1187890.2327 | 2775689.7847 | 1187890.2327 | 2775702.3453 | 1187913.8345 | 2775697.2647 | 1187919.5853
74 | 2775689.7847 | 1187890.2327 | 2775688.6193 | 1187880.7784 | 2775685.7635 | 1187875.334 | 2775677.3639 | 1187861.8637 | 2775675.092 | 1187854.2121 | 2775674.3625 | 1187839.0097 | 2775674.3625 | 1187839.0097

## bus_geodata
| x | y | coords
0 | 2777706.3316 | 1187536.911
1 | 2777657.0525 | 1187532.2409
2 | 2777726.2847 | 1187550.6246
3 | 2777651.2616 | 1187531.2168
4 | 2777744.226 | 1187556.2158
5 | 2776958.2626 | 1187625.7214
6 | 2776799.2289 | 1187702.4353
7 | 2777359.7236 | 1187456.7144
8 | 2777649.5786 | 1187530.9192
9 | 2777750.7952 | 1187558.8893
10 | 2777634.4596 | 1187525.5698
11 | 2777481.8588 | 1187469.7379
12 | 2777415.3816 | 1187391.1287
13 | 2777401.4857 | 1187387.7784
14 | 2777388.8351 | 1187393.9277
15 | 2775732.2472 | 1187767.3066
16 | 2775707.8899 | 1187791.2651
17 | 2775838.7646 | 1187781.6034
18 | 2777381.1693 | 1187440.0336
19 | 2777397.1166 | 1187434.9038
20 | 2777375.529 | 1187462.2784
21 | 2777396.7302 | 1187467.1882
22 | 2777406.7734 | 1187466.9881
23 | 2777432.7052 | 1187459.9347
24 | 2776792.5658 | 1187705.2285
25 | 2776788.2157 | 1187707.0522
26 | 2776783.0604 | 1187709.2133
27 | 2776781.4081 | 1187709.906
28 | 2776241.3942 | 1187837.2392
29 | 2776248.7446 | 1187835.6143
30 | 2776074.8134 | 1187858.2203
31 | 2776516.2235 | 1187769.4837
32 | 2776066.2605 | 1187858.4131
33 | 2776246.9715 | 1187781.0994
34 | 2776523.1205 | 1187769.9356
35 | 2776233.2991 | 1187782.5146
36 | 2776529.8103 | 1187771.2293
37 | 2775713.9499 | 1187970.8745
38 | 2775704.9024 | 1187973.1323
39 | 2776208.568 | 1187781.8341
40 | 2776544.1187 | 1187772.3314
41 | 2775683.2598 | 1187927.065
42 | 2775672.5318 | 1188011.1075
43 | 2776769.5015 | 1187715.3348
44 | 2776762.0129 | 1187718.8008
45 | 2776758.727 | 1187720.3216
46 | 2776747.1706 | 1187725.3298
47 | 2776641.5144 | 1187753.7043
48 | 2775859.5083 | 1187780.8315
49 | 2776546.9246 | 1187772.1476
50 | 2775854.087 | 1187781.0395
51 | 2775846.3144 | 1187781.3377
52 | 2775839.4699 | 1187781.6003
53 | 2776590.6068 | 1187757.3856
54 | 2776589.593 | 1187757.8064
55 | 2776589.4926 | 1187757.8481
56 | 2776583.1239 | 1187760.4919
57 | 2776577.5555 | 1187762.8035
58 | 2776576.1377 | 1187763.392
59 | 2776575.8213 | 1187763.5234
60 | 2776571.3267 | 1187765.052
61 | 2776548.2213 | 1187772.0626
62 | 2776551.4548 | 1187771.0815
63 | 2776547.5157 | 1187772.1088
64 | 2776554.0237 | 1187770.302
65 | 2776557.3423 | 1187769.2951
66 | 2776558.5149 | 1187768.9393
67 | 2776560.4817 | 1187768.3426
68 | 2776560.6208 | 1187768.3004
69 | 2776560.7933 | 1187768.248
70 | 2776565.1413 | 1187766.9288
71 | 2775685.8391 | 1187925.9627
72 | 2775665.1253 | 1188013.2256
73 | 2775697.2647 | 1187919.5853
74 | 2775689.7847 | 1187890.2327
75 | 2775674.3625 | 1187839.0097
76 | 2776747.1706 | 1187725.3298

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1