## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3921-53_1_3_node_140 | 0.4 | n |  | TRUE
1 | bus_LV_3921-53_1_3_node_141 | 0.4 | n |  | TRUE
2 | bus_LV_3921-53_1_3_node_108 | 0.4 | n |  | TRUE
3 | bus_LV_3921-53_1_3_node_139 | 0.4 | n |  | TRUE
4 | bus_LV_3921-53_1_3_node_115 | 0.4 | n |  | TRUE
5 | bus_LV_3921-53_1_3_node_116 | 0.4 | n |  | TRUE
6 | bus_LV_3921-53_1_3_node_117 | 0.4 | n |  | TRUE
7 | bus_LV_3921-53_1_3_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_3921-53_1_3_node_110 | 0.4 | n |  | TRUE
9 | bus_LV_3921-53_1_3_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_3921-53_1_3_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_3921-53_1_3_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_3921-53_1_3_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_3921-53_1_3_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_3921-53_1_3_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_3921-53_1_3_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_3921-53_1_3_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_3921-53_1_3_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_3921-53_1_3_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_3921-53_1_3_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_3921-53_1_3_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_3921-53_1_3_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_3921-53_1_3_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_3921-53_1_3_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_3921-53_1_3_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_3921-53_1_3_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_3921-53_1_3_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_3921-53_1_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_3921-53_1_3_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_3921-53_1_3_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_3921-53_1_3_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_3921-53_1_3_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_3921-53_1_3_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_3921-53_1_3_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_3921-53_1_3_node_174 | 0.4 | n |  | TRUE
35 | bus_LV_3921-53_1_3_node_171 | 0.4 | n |  | TRUE
36 | bus_LV_3921-53_1_3_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_3921-53_1_3_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_3921-53_1_3_node_169 | 0.4 | n |  | TRUE
39 | bus_LV_3921-53_1_3_node_122 | 0.4 | n |  | TRUE
40 | bus_LV_3921-53_1_3_node_123 | 0.4 | n |  | TRUE
41 | bus_LV_3921-53_1_3_node_109 | 0.4 | n |  | TRUE
42 | bus_LV_3921-53_1_3_node_112 | 0.4 | n |  | TRUE
43 | bus_LV_3921-53_1_3_node_114 | 0.4 | n |  | TRUE
44 | bus_LV_3921-53_1_3_node_113 | 0.4 | n |  | TRUE
45 | bus_LV_3921-53_1_3_node_173 | 0.4 | n |  | TRUE
46 | bus_LV_3921-53_1_3_node_168 | 0.4 | n |  | TRUE
47 | bus_LV_3921-53_1_3_node_172 | 0.4 | n |  | TRUE
48 | bus_LV_3921-53_1_3_node_166 | 0.4 | n |  | TRUE
49 | bus_LV_3921-53_1_3_node_118 | 0.4 | n |  | TRUE
50 | bus_LV_3921-53_1_3_node_119 | 0.4 | n |  | TRUE
51 | bus_LV_3921-53_1_3_node_120 | 0.4 | n |  | TRUE
52 | bus_LV_3921-53_1_3_node_121 | 0.4 | n |  | TRUE
53 | bus_LV_3921-53_1_3_node_136 | 0.4 | n |  | TRUE
54 | bus_LV_3921-53_1_3_node_137 | 0.4 | n |  | TRUE
55 | bus_LV_3921-53_1_3_node_124 | 0.4 | n |  | TRUE
56 | bus_LV_3921-53_1_3_node_126 | 0.4 | n |  | TRUE
57 | bus_LV_3921-53_1_3_node_127 | 0.4 | n |  | TRUE
58 | bus_LV_3921-53_1_3_node_128 | 0.4 | n |  | TRUE
59 | bus_LV_3921-53_1_3_node_129 | 0.4 | n |  | TRUE
60 | bus_LV_3921-53_1_3_node_147 | 0.4 | n |  | TRUE
61 | bus_LV_3921-53_1_3_node_148 | 0.4 | n |  | TRUE
62 | bus_LV_3921-53_1_3_node_130 | 0.4 | n |  | TRUE
63 | bus_LV_3921-53_1_3_node_131 | 0.4 | n |  | TRUE
64 | bus_LV_3921-53_1_3_node_132 | 0.4 | n |  | TRUE
65 | bus_LV_3921-53_1_3_node_133 | 0.4 | n |  | TRUE
66 | bus_LV_3921-53_1_3_node_134 | 0.4 | n |  | TRUE
67 | bus_LV_3921-53_1_3_node_135 | 0.4 | n |  | TRUE
68 | bus_LV_3921-53_1_3_node_144 | 0.4 | n |  | TRUE
69 | bus_LV_3921-53_1_3_node_142 | 0.4 | n |  | TRUE
70 | bus_LV_3921-53_1_3_node_138 | 0.4 | n |  | TRUE
71 | bus_LV_3921-53_1_3_node_143 | 0.4 | n |  | TRUE
72 | bus_LV_3921-53_1_3_node_145 | 0.4 | n |  | TRUE
73 | bus_LV_3921-53_1_3_node_146 | 0.4 | n |  | TRUE
74 | bus_LV_3921-53_1_3_node_159 | 0.4 | n |  | TRUE
75 | bus_LV_3921-53_1_3_node_157 | 0.4 | n |  | TRUE
76 | bus_LV_3921-53_1_3_node_161 | 0.4 | n |  | TRUE
77 | bus_LV_3921-53_1_3_node_167 | 0.4 | n |  | TRUE
78 | bus_LV_3921-53_1_3_node_158 | 0.4 | n |  | TRUE
79 | bus_LV_3921-53_1_3_node_156 | 0.4 | n |  | TRUE
80 | bus_LV_3921-53_1_3_node_162 | 0.4 | n |  | TRUE
81 | bus_LV_3921-53_1_3_node_149 | 0.4 | n |  | TRUE
82 | bus_LV_3921-53_1_3_node_150 | 0.4 | n |  | TRUE
83 | bus_LV_3921-53_1_3_node_151 | 0.4 | n |  | TRUE
84 | bus_LV_3921-53_1_3_node_152 | 0.4 | n |  | TRUE
85 | bus_LV_3921-53_1_3_node_153 | 0.4 | n |  | TRUE
86 | bus_LV_3921-53_1_3_node_154 | 0.4 | n |  | TRUE
87 | bus_LV_3921-53_1_3_node_155 | 0.4 | n |  | TRUE
88 | bus_LV_3921-53_1_3_node_160 | 0.4 | n |  | TRUE
89 | bus_LV_3921-53_1_3_node_163 | 0.4 | n |  | TRUE
90 | bus_LV_3921-53_1_3_node_164 | 0.4 | n |  | TRUE
91 | bus_LV_3921-53_1_3_node_165 | 0.4 | n |  | TRUE
92 | bus_LV_3921-53_1_3_node_170 | 0.4 | n |  | TRUE
93 | bus_MV_60_0_node_292 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3921-53_1_3_load_140 | 0 | 0.0041753 | 0.0010464 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3921-53_1_3_load_141 | 1 | 0.0054078 | 0.0013553 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3921-53_1_3_load_108 | 2 | 0.0040256 | 0.0010089 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3921-53_1_3_load_139 | 3 | 0.0022604 | 0.00056651 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3921-53_1_3_load_115 | 4 | 0.001648 | 0.00041303 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3921-53_1_3_load_116 | 5 | 0.00098427 | 0.00024668 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3921-53_1_3_load_117 | 6 | 0.0072021 | 0.001805 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3921-53_1_3_load_85 | 7 | 0.0023626 | 0.00059212 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3921-53_1_3_load_110 | 8 | 0.0015612 | 0.00039128 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3921-53_1_3_load_52 | 9 | 0.00022475 | 5.6329e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3921-53_1_3_load_53 | 10 | 0.00024377 | 6.1094e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3921-53_1_3_load_54 | 11 | 0.00013439 | 3.3682e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3921-53_1_3_load_55 | 12 | 0.00017872 | 4.4792e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3921-53_1_3_load_59 | 14 | 0.00014175 | 3.5526e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3921-53_1_3_load_57 | 16 | 0.00014003 | 3.5095e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3921-53_1_3_load_60 | 18 | 0.00012817 | 3.2123e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3921-53_1_3_load_72 | 20 | 0.0025752 | 0.00064541 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3921-53_1_3_load_62 | 21 | 0.00016011 | 4.0127e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3921-53_1_3_load_63 | 22 | 0.0002076 | 5.203e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3921-53_1_3_load_65 | 24 | 0.00014895 | 3.733e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3921-53_1_3_load_66 | 25 | 0.00018891 | 4.7345e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3921-53_1_3_load_68 | 26 | 0.00026847 | 6.7285e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3921-53_1_3_load_67 | 27 | 0.00036243 | 9.0834e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3921-53_1_3_load_75 | 32 | 0.0026267 | 0.00065831 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3921-53_1_3_load_76 | 33 | 0.0022857 | 0.00057284 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3921-53_1_3_load_174 | 34 | 0.0040303 | 0.0010101 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3921-53_1_3_load_171 | 35 | 0.0036555 | 0.00091616 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3921-53_1_3_load_78 | 36 | 0.001874 | 0.00046967 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3921-53_1_3_load_77 | 37 | 0.0025892 | 0.00064892 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3921-53_1_3_load_169 | 38 | 0.00033046 | 8.2822e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3921-53_1_3_load_122 | 39 | 0.0012225 | 0.00030638 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3921-53_1_3_load_123 | 40 | 0.0017351 | 0.00043487 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3921-53_1_3_load_109 | 41 | 0.0042849 | 0.0010739 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3921-53_1_3_load_114 | 43 | 0.00021199 | 5.313e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3921-53_1_3_load_173 | 45 | 0.00031835 | 7.9786e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3921-53_1_3_load_172 | 47 | 0.00035486 | 8.8936e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3921-53_1_3_load_166 | 48 | 0.00032483 | 8.1411e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3921-53_1_3_load_118 | 49 | 0.00070977 | 0.00017788 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3921-53_1_3_load_119 | 50 | 0.0077231 | 0.0019356 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3921-53_1_3_load_120 | 51 | 0.00091156 | 0.00022846 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3921-53_1_3_load_121 | 52 | 0.0015636 | 0.00039189 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3921-53_1_3_load_136 | 53 | 0.0046161 | 0.0011569 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3921-53_1_3_load_137 | 54 | 0.0036746 | 0.00092094 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3921-53_1_3_load_124 | 55 | 0.003656 | 0.00091627 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3921-53_1_3_load_126 | 56 | 0.0013127 | 0.00032899 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3921-53_1_3_load_127 | 57 | 0.0016779 | 0.00042053 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3921-53_1_3_load_128 | 58 | 0.00094107 | 0.00023585 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3921-53_1_3_load_129 | 59 | 0.00090879 | 0.00022776 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3921-53_1_3_load_147 | 60 | 0.0032364 | 0.00081113 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3921-53_1_3_load_148 | 61 | 0.0031558 | 0.00079092 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3921-53_1_3_load_130 | 62 | 0.00059528 | 0.00014919 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3921-53_1_3_load_131 | 63 | 0.002627 | 0.00065838 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3921-53_1_3_load_132 | 64 | 0.0014608 | 0.0003661 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3921-53_1_3_load_133 | 65 | 0.0020396 | 0.00051117 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3921-53_1_3_load_134 | 66 | 0.0044703 | 0.0011204 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3921-53_1_3_load_135 | 67 | 0.0049658 | 0.0012445 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3921-53_1_3_load_144 | 68 | 0.0077464 | 0.0019414 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3921-53_1_3_load_138 | 70 | 0.0037043 | 0.00092838 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3921-53_1_3_load_146 | 73 | 0.0035156 | 0.00088108 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3921-53_1_3_load_159 | 74 | 0.0040582 | 0.0010171 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3921-53_1_3_load_161 | 76 | 0.0050597 | 0.0012681 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3921-53_1_3_load_167 | 77 | 0.00020831 | 5.2207e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3921-53_1_3_load_158 | 78 | 0.0039443 | 0.00098853 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3921-53_1_3_load_156 | 79 | 0.0040874 | 0.0010244 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3921-53_1_3_load_162 | 80 | 0.0059181 | 0.0014832 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3921-53_1_3_load_149 | 81 | 0.0026874 | 0.00067352 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3921-53_1_3_load_150 | 82 | 0.0023286 | 0.00058361 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3921-53_1_3_load_151 | 83 | 0.0028049 | 0.00070296 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3921-53_1_3_load_152 | 84 | 0.0027737 | 0.00069516 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3921-53_1_3_load_153 | 85 | 0.0029426 | 0.00073748 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3921-53_1_3_load_154 | 86 | 0.0039071 | 0.00097922 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3921-53_1_3_load_155 | 87 | 0.0026266 | 0.00065829 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3921-53_1_3_load_160 | 88 | 0.0089186 | 0.0022352 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3921-53_1_3_load_163 | 89 | 0.0051117 | 0.0012811 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3921-53_1_3_load_164 | 90 | 0.00020951 | 5.2508e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3921-53_1_3_load_165 | 91 | 0.00020704 | 5.189e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3921-53_1_3_load_170 | 92 | 0.0002252 | 5.6441e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3921-53_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3921-53_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.27077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3921-53_1_3_line_2 | NAYY 4x150 SE | 0 | 3 | 0.014956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3921-53_1_3_line_3 | NAYY 4x150 SE | 1 | 69 | 0.019805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3921-53_1_3_line_4 | NAYY 4x150 SE | 2 | 41 | 0.011333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3921-53_1_3_line_5 | NAYY 4x150 SE | 3 | 70 | 0.011342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3921-53_1_3_line_6 | NAYY 4x150 SE | 4 | 5 | 0.046081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3921-53_1_3_line_7 | NAYY 4x150 SE | 4 | 6 | 0.048342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3921-53_1_3_line_8 | NAYY 4x150 SE | 5 | 49 | 0.0076633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3921-53_1_3_line_9 | NAYY 4x150 SE | 6 | 50 | 0.01544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3921-53_1_3_line_10 | NAYY 4x150 SE | 7 | 8 | 0.15138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3921-53_1_3_line_11 | NAYY 4x150 SE | 8 | 41 | 0.0041886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3921-53_1_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.024294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3921-53_1_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.098259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3921-53_1_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.026707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3921-53_1_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.18156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3921-53_1_3_line_16 | NAYY 4x150 SE | 12 | 15 | 0.12469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3921-53_1_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.058205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3921-53_1_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.22568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3921-53_1_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.059266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3921-53_1_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.062419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3921-53_1_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.039965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3921-53_1_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.033646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3921-53_1_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.034606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3921-53_1_3_line_24 | NAYY 4x150 SE | 19 | 22 | 0.048682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3921-53_1_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.021036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3921-53_1_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.023571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3921-53_1_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.093431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3921-53_1_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.093901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3921-53_1_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0028872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3921-53_1_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.025852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3921-53_1_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.10741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3921-53_1_3_line_32 | NAYY 4x150 SE | 29 | 33 | 0.18217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3921-53_1_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.033208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3921-53_1_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0047428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3921-53_1_3_line_35 | NAYY 4x150 SE | 31 | 34 | 0.016333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3921-53_1_3_line_36 | NAYY 4x150 SE | 31 | 35 | 0.032623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3921-53_1_3_line_37 | NAYY 4x150 SE | 32 | 36 | 0.023099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3921-53_1_3_line_38 | NAYY 4x150 SE | 33 | 37 | 0.029024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3921-53_1_3_line_39 | NAYY 4x150 SE | 35 | 38 | 0.0169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3921-53_1_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.030577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3921-53_1_3_line_41 | NAYY 4x150 SE | 38 | 92 | 0.024915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3921-53_1_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.012773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3921-53_1_3_line_43 | NAYY 4x150 SE | 40 | 55 | 0.068146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3921-53_1_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.02949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3921-53_1_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.037327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3921-53_1_3_line_46 | NAYY 4x150 SE | 43 | 46 | 0.0057939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3921-53_1_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.034471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3921-53_1_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.027117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3921-53_1_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0016041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3921-53_1_3_line_50 | NAYY 4x150 SE | 47 | 92 | 0.014267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3921-53_1_3_line_51 | NAYY 4x150 SE | 48 | 91 | 0.011338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3921-53_1_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.017386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3921-53_1_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.009352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3921-53_1_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0032057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3921-53_1_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0010598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3921-53_1_3_line_56 | NAYY 4x150 SE | 54 | 70 | 0.0025871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3921-53_1_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0017974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3921-53_1_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.022749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3921-53_1_3_line_59 | NAYY 4x150 SE | 57 | 60 | 0.015258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3921-53_1_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0073455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3921-53_1_3_line_61 | NAYY 4x150 SE | 59 | 62 | 0.0021453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3921-53_1_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.00027593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3921-53_1_3_line_63 | NAYY 4x150 SE | 61 | 81 | 0.0068981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3921-53_1_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.052311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3921-53_1_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.029364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3921-53_1_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.018625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3921-53_1_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.015593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3921-53_1_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.020079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3921-53_1_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0026844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3921-53_1_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.023366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_3921-53_1_3_line_71 | NAYY 4x150 SE | 69 | 71 | 0.007457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3921-53_1_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.028378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3921-53_1_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.0016536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3921-53_1_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.011151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3921-53_1_3_line_75 | NAYY 4x150 SE | 72 | 75 | 0.004037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3921-53_1_3_line_76 | NAYY 4x150 SE | 73 | 76 | 0.020875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3921-53_1_3_line_77 | NAYY 4x150 SE | 74 | 77 | 0.023219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3921-53_1_3_line_78 | NAYY 4x150 SE | 75 | 78 | 0.012149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3921-53_1_3_line_79 | NAYY 4x150 SE | 75 | 79 | 0.010668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3921-53_1_3_line_80 | NAYY 4x150 SE | 76 | 80 | 0.015666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3921-53_1_3_line_81 | NAYY 4x150 SE | 78 | 88 | 0.0019918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3921-53_1_3_line_82 | NAYY 4x150 SE | 79 | 87 | 0.01385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3921-53_1_3_line_83 | NAYY 4x150 SE | 80 | 89 | 0.00032611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3921-53_1_3_line_84 | NAYY 4x150 SE | 81 | 82 | 0.0091317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3921-53_1_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.0016323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3921-53_1_3_line_86 | NAYY 4x150 SE | 83 | 84 | 0.012481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3921-53_1_3_line_87 | NAYY 4x150 SE | 84 | 85 | 0.00082341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3921-53_1_3_line_88 | NAYY 4x150 SE | 85 | 86 | 0.00014095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3921-53_1_3_line_89 | NAYY 4x150 SE | 86 | 87 | 0.011709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3921-53_1_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.032942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3921-53_1_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.018358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3921-53_1_3_trafo_135 | 0.25 MVA 20/0.4 kV | 93 | 67 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2770567.4203 | 1189320.7409 | 2770569.3225 | 1189324.9656 | 2770569.4393 | 1189331.0412 | 2770568.3557 | 1189338.5284 | 2770568.3557 | 1189338.5284
1 | 2770567.4203 | 1189320.7409 | 2770834.9212 | 1189278.7835
2 | 2770558.3805 | 1189308.8808 | 2770560.5274 | 1189311.6695 | 2770564.4635 | 1189316.0301 | 2770567.4203 | 1189320.7409 | 2770567.4203 | 1189320.7409
3 | 2770555.1809 | 1189353.3001 | 2770561.2679 | 1189346.7341 | 2770564.1741 | 1189343.0468 | 2770568.3557 | 1189338.5284
4 | 2770834.9212 | 1189278.7835 | 2770834.9212 | 1189278.7835 | 2770845.5391 | 1189274.8215
5 | 2770558.3805 | 1189308.8808 | 2770556.0452 | 1189305.8476 | 2770552.0673 | 1189299.4728
6 | 2770511.9137 | 1189231.7001 | 2770505.3366 | 1189228.1429 | 2770498.8536 | 1189224.7663 | 2770492.7655 | 1189220.9227 | 2770486.6981 | 1189216.8907 | 2770481.8851 | 1189212.2271 | 2770476.5236 | 1189207.2588 | 2770474.5112 | 1189205.3153
7 | 2770511.9137 | 1189231.7001 | 2770511.9137 | 1189231.7001 | 2770516.6522 | 1189235.4941 | 2770521.4885 | 1189242.2825 | 2770525.6344 | 1189249.7297 | 2770529.7207 | 1189258.999 | 2770531.8215 | 1189266.9662 | 2770534.5735 | 1189273.4498
8 | 2770469.0181 | 1189199.9722 | 2770470.128 | 1189201.0821 | 2770474.5112 | 1189205.3153
9 | 2770534.5735 | 1189273.4498 | 2770535.1759 | 1189274.869 | 2770538.6487 | 1189282.0968 | 2770541.7841 | 1189287.0705
10 | 2770849.4634 | 1189273.3572 | 2770866.2892 | 1189267.0787 | 2770876.4783 | 1189257.4717 | 2770881.4717 | 1189243.2455 | 2770887.8404 | 1189203.5906 | 2770894.4253 | 1189179.6119 | 2770912.262 | 1189144.5774
11 | 2770845.5391 | 1189274.8215 | 2770849.4634 | 1189273.3572
12 | 2769961.2281 | 1189943.0435 | 2769974.4618 | 1189922.6709
13 | 2769974.4618 | 1189922.6709 | 2769989.424 | 1189899.6373 | 2769993.3688 | 1189882.7449 | 2769987.1226 | 1189846.6121 | 2769987.2439 | 1189829.8361
14 | 2769987.2439 | 1189829.8361 | 2769987.4012 | 1189808.0734 | 2769986.0992 | 1189803.3037
15 | 2769987.2439 | 1189829.8361 | 2770163.8897 | 1189871.7787
16 | 2769927.7885 | 1189694.1986 | 2769978.2287 | 1189774.4709 | 2769986.0992 | 1189803.3037
17 | 2770163.8897 | 1189871.7787 | 2770167.0339 | 1189884.6577 | 2770169.8442 | 1189895.859 | 2770174.5194 | 1189905.89 | 2770182.3811 | 1189913.8986 | 2770190.2008 | 1189921.7901
18 | 2769927.7885 | 1189694.1986 | 2769930.515 | 1189687.4142 | 2769931.4117 | 1189680.8336 | 2769919.769 | 1189671.3055 | 2769915.7879 | 1189657.2351 | 2769924.3308 | 1189642.8977 | 2769937.3266 | 1189626.8295 | 2769958.8747 | 1189613.8292 | 2770007.1541 | 1189614.923 | 2770056.5214 | 1189590.369 | 2770070.1267 | 1189581.7484
19 | 2770070.1267 | 1189581.7484 | 2770103.3812 | 1189532.6913
20 | 2770103.3812 | 1189532.6913 | 2770109.2457 | 1189536.0722 | 2770113.135 | 1189536.1828 | 2770115.637 | 1189534.6191 | 2770125.166 | 1189523.4684 | 2770130.1855 | 1189519.5296 | 2770136.1767 | 1189517.6537 | 2770142.2808 | 1189519.0507 | 2770147.2916 | 1189522.663 | 2770150.7777 | 1189529.7019 | 2770150.8701 | 1189530.8872
21 | 2770202.2755 | 1189554.2437 | 2770163.1157 | 1189562.2259
22 | 2770163.1157 | 1189562.2259 | 2770150.8701 | 1189530.8872
23 | 2770202.2755 | 1189554.2437 | 2770200.3216 | 1189571.682 | 2770201.007 | 1189585.4141 | 2770201.6231 | 1189588.6658
24 | 2770202.2755 | 1189554.2437 | 2770217.1906 | 1189515.0093 | 2770219.1692 | 1189508.6
25 | 2770206.2919 | 1189609.164 | 2770203.5153 | 1189598.6532 | 2770201.6231 | 1189588.6658
26 | 2770219.1692 | 1189508.6 | 2770224.5384 | 1189491.2074 | 2770226.2903 | 1189486.1324
27 | 2770206.2919 | 1189609.164 | 2770216.3711 | 1189625.8882 | 2770228.4842 | 1189638.9891 | 2770254.0019 | 1189652.2602 | 2770269.7107 | 1189657.812 | 2770273.0493 | 1189659.0303 | 2770278.2084 | 1189654.1757
28 | 2770226.2903 | 1189486.1324 | 2770230.8683 | 1189472.8704 | 2770240.6142 | 1189446.6011 | 2770247.1281 | 1189430.3824 | 2770251.2693 | 1189425.3956 | 2770256.466 | 1189414.7002 | 2770262.7976 | 1189407.8405 | 2770266.0392 | 1189402.0162
29 | 2770280.311 | 1189652.1971 | 2770278.2084 | 1189654.1757
30 | 2770272.4075 | 1189377.2412 | 2770271.9209 | 1189385.7574 | 2770269.7691 | 1189393.2475 | 2770266.0392 | 1189402.0162
31 | 2770237.8202 | 1189292.4018 | 2770235.4601 | 1189298.6293 | 2770231.5016 | 1189303.8994 | 2770223.8299 | 1189314.669 | 2770233.319 | 1189323.1799 | 2770243.4034 | 1189330.351 | 2770251.7478 | 1189340.1974 | 2770260.4786 | 1189350.6775 | 2770267.323 | 1189362.5386 | 2770270.1373 | 1189371.7271 | 2770272.4075 | 1189377.2412
32 | 2770237.8202 | 1189292.4018 | 2770245.999 | 1189285.2722 | 2770253.7786 | 1189279.5659 | 2770260.4506 | 1189273.083 | 2770267.5898 | 1189266.2797 | 2770274.2876 | 1189261.5769 | 2770282.9365 | 1189258.0418 | 2770291.4298 | 1189254.6135 | 2770304.4926 | 1189251.5378 | 2770309.8342 | 1189251.5786 | 2770321.2107 | 1189256.7959 | 2770326.3589 | 1189260.9462 | 2770333.6812 | 1189269.162 | 2770338.4297 | 1189279.3064 | 2770341.8024 | 1189289.5229 | 2770346.8123 | 1189300.6757 | 2770352.3542 | 1189310.2978 | 2770355.2989 | 1189313.5624 | 2770363.8185 | 1189317.7864 | 2770371.1376 | 1189320.2751
33 | 2770465.1309 | 1189391.1819 | 2770455.6614 | 1189386.8194 | 2770435.5709 | 1189375.9152
34 | 2770435.5709 | 1189375.9152 | 2770431.3311 | 1189373.7897
35 | 2770465.1309 | 1189391.1819 | 2770481.4014 | 1189389.7577
36 | 2770465.1309 | 1189391.1819 | 2770482.7103 | 1189403.9608 | 2770491.8988 | 1189409.8052
37 | 2770431.3311 | 1189373.7897 | 2770421.9057 | 1189369.0644 | 2770411.4996 | 1189362.0399
38 | 2770392.3262 | 1189338.6485 | 2770388.8268 | 1189332.9008 | 2770383.1935 | 1189325.9563 | 2770374.099 | 1189321.2821 | 2770371.1376 | 1189320.2751
39 | 2770506.1591 | 1189418.8756 | 2770491.8988 | 1189409.8052
40 | 2770411.4996 | 1189362.0399 | 2770410.8455 | 1189361.5983 | 2770405.1015 | 1189356.9305 | 2770399.6376 | 1189350.736 | 2770395.9723 | 1189344.6372 | 2770392.3262 | 1189338.6485
41 | 2770506.1591 | 1189418.8756 | 2770506.1591 | 1189418.8756 | 2770523.2461 | 1189437.0087
42 | 2770405.8325 | 1189247.0115 | 2770414.3052 | 1189251.6621 | 2770416.9497 | 1189253.2941
43 | 2770474.3532 | 1189290.0033 | 2770452.155 | 1189275.2278 | 2770443.5126 | 1189269.6878 | 2770416.9497 | 1189253.2941
44 | 2770600.3771 | 1189487.2112 | 2770591.8193 | 1189472.565 | 2770584.4153 | 1189462.4608
45 | 2770576.3825 | 1189490.9199 | 2770584.9897 | 1189498.7501 | 2770597.322 | 1189500.1361 | 2770600.3771 | 1189487.2112
46 | 2770580.9908 | 1189457.7873 | 2770584.4153 | 1189462.4608
47 | 2770576.3825 | 1189490.9199 | 2770569.6319 | 1189486.2344 | 2770551.6274 | 1189467.1276
48 | 2770551.6274 | 1189467.1276 | 2770533.0307 | 1189447.3924
49 | 2770580.9908 | 1189457.7873 | 2770580.2598 | 1189456.3595
50 | 2770523.2461 | 1189437.0087 | 2770533.0307 | 1189447.3924
51 | 2770580.2598 | 1189456.3595 | 2770575.0928 | 1189446.267
52 | 2770469.0181 | 1189199.9722 | 2770464.4731 | 1189195.427 | 2770457.6337 | 1189190.8948 | 2770455.4192 | 1189189.2585
53 | 2770547.072 | 1189294.7818 | 2770542.8037 | 1189288.6879 | 2770541.7841 | 1189287.0705
54 | 2770547.072 | 1189294.7818 | 2770547.072 | 1189294.7818 | 2770549.4089 | 1189296.9763
55 | 2770550.1814 | 1189297.7018 | 2770549.4089 | 1189296.9763
56 | 2770550.1814 | 1189297.7018 | 2770552.0673 | 1189299.4728 | 2770552.0673 | 1189299.4728
57 | 2770474.3532 | 1189290.0033 | 2770475.8495 | 1189290.9992
58 | 2770493.566 | 1189305.2288 | 2770479.9443 | 1189293.7248 | 2770475.8495 | 1189290.9992
59 | 2770493.566 | 1189305.2288 | 2770497.6751 | 1189308.699 | 2770502.9947 | 1189317.024
60 | 2770437.4076 | 1189233.6615 | 2770442.0083 | 1189236.2252 | 2770443.9023 | 1189237.0819
61 | 2770445.857 | 1189237.966 | 2770443.9023 | 1189237.0819
62 | 2770502.9947 | 1189317.024 | 2770503.1433 | 1189317.2565
63 | 2770503.1433 | 1189317.2565 | 2770506.8575 | 1189323.0692
64 | 2770445.857 | 1189237.966 | 2770456.1522 | 1189242.6226 | 2770466.238 | 1189248.4039 | 2770477.742 | 1189255.5714 | 2770488.5612 | 1189262.9306 | 2770490.4005 | 1189264.9717
65 | 2770490.4005 | 1189264.9717 | 2770495.7821 | 1189270.9436 | 2770506.3403 | 1189283.9785 | 2770509.1886 | 1189287.5277
66 | 2770520.7943 | 1189302.0939 | 2770518.2144 | 1189298.7747 | 2770509.1886 | 1189287.5277
67 | 2770530.189 | 1189314.5308 | 2770528.566 | 1189312.0929 | 2770520.7943 | 1189302.0939
68 | 2770530.189 | 1189314.5308 | 2770539.6909 | 1189328.803 | 2770541.2651 | 1189331.2783
69 | 2770542.7057 | 1189333.5434 | 2770541.2651 | 1189331.2783
70 | 2770555.1809 | 1189353.3001 | 2770548.4934 | 1189342.6442 | 2770542.7057 | 1189333.5434
71 | 2770555.1809 | 1189353.3001 | 2770555.8469 | 1189360.7259
72 | 2770555.8469 | 1189360.7259 | 2770551.3474 | 1189368.0934 | 2770549.0346 | 1189369.173 | 2770545.5636 | 1189370.9869 | 2770542.6553 | 1189372.3387 | 2770536.4219 | 1189380.2907
73 | 2770555.8469 | 1189360.7259 | 2770555.9181 | 1189362.378
74 | 2770536.4219 | 1189380.2907 | 2770538.0372 | 1189391.3245
75 | 2770536.4219 | 1189380.2907 | 2770534.6555 | 1189376.6593
76 | 2770555.9181 | 1189362.378 | 2770556.1684 | 1189368.1864 | 2770556.0252 | 1189380.4381 | 2770556.2535 | 1189383.2377
77 | 2770538.0372 | 1189391.3245 | 2770540.2869 | 1189406.6918 | 2770542.6353 | 1189414.0122
78 | 2770534.6555 | 1189376.6593 | 2770523.1776 | 1189380.6423
79 | 2770534.6555 | 1189376.6593 | 2770533.9128 | 1189375.1367 | 2770529.5775 | 1189367.2793
80 | 2770556.2535 | 1189383.2377 | 2770556.9922 | 1189392.2988 | 2770557.6718 | 1189398.8387
81 | 2770523.1776 | 1189380.6423 | 2770521.2958 | 1189381.2952
82 | 2770522.8867 | 1189355.1526 | 2770529.5775 | 1189367.2793
83 | 2770557.7056 | 1189399.1631 | 2770557.6718 | 1189398.8387
84 | 2770511.5718 | 1189330.8752 | 2770510.8488 | 1189329.3154 | 2770506.8575 | 1189323.0692
85 | 2770512.2583 | 1189332.3561 | 2770511.5718 | 1189330.8752
86 | 2770512.2583 | 1189332.3561 | 2770517.5072 | 1189343.6795
87 | 2770517.5072 | 1189343.6795 | 2770517.8535 | 1189344.4265
88 | 2770517.8535 | 1189344.4265 | 2770517.9128 | 1189344.5544
89 | 2770522.8867 | 1189355.1526 | 2770522.5042 | 1189354.4594 | 2770517.9128 | 1189344.5544
90 | 2770557.7056 | 1189399.1631 | 2770558.0343 | 1189402.3266 | 2770559.5198 | 1189413.9352 | 2770561.3292 | 1189422.7504 | 2770564.0437 | 1189429.534 | 2770565.0852 | 1189430.9435
91 | 2770565.0852 | 1189430.9435 | 2770572.1273 | 1189440.4744 | 2770575.0928 | 1189446.267

## bus_geodata
| x | y | coords
0 | 2770567.4203 | 1189320.7409
1 | 2770568.3557 | 1189338.5284
2 | 2770834.9212 | 1189278.7835
3 | 2770558.3805 | 1189308.8808
4 | 2770511.9137 | 1189231.7001
5 | 2770474.5112 | 1189205.3153
6 | 2770534.5735 | 1189273.4498
7 | 2770912.262 | 1189144.5774
8 | 2770849.4634 | 1189273.3572
9 | 2769961.2281 | 1189943.0435
10 | 2769974.4618 | 1189922.6709
11 | 2769987.2439 | 1189829.8361
12 | 2769986.0992 | 1189803.3037
13 | 2770163.8897 | 1189871.7787
14 | 2770190.2008 | 1189921.7901
15 | 2769927.7885 | 1189694.1986
16 | 2770070.1267 | 1189581.7484
17 | 2770103.3812 | 1189532.6913
18 | 2770163.1157 | 1189562.2259
19 | 2770202.2755 | 1189554.2437
20 | 2770150.8701 | 1189530.8872
21 | 2770201.6231 | 1189588.6658
22 | 2770219.1692 | 1189508.6
23 | 2770206.2919 | 1189609.164
24 | 2770226.2903 | 1189486.1324
25 | 2770278.2084 | 1189654.1757
26 | 2770266.0392 | 1189402.0162
27 | 2770280.311 | 1189652.1971
28 | 2770272.4075 | 1189377.2412
29 | 2770237.8202 | 1189292.4018
30 | 2770435.5709 | 1189375.9152
31 | 2770465.1309 | 1189391.1819
32 | 2770431.3311 | 1189373.7897
33 | 2770371.1376 | 1189320.2751
34 | 2770481.4014 | 1189389.7577
35 | 2770491.8988 | 1189409.8053
36 | 2770411.4996 | 1189362.0399
37 | 2770392.3262 | 1189338.6485
38 | 2770506.1591 | 1189418.8756
39 | 2770405.8325 | 1189247.0115
40 | 2770416.9497 | 1189253.2941
41 | 2770845.5391 | 1189274.8215
42 | 2770600.3771 | 1189487.2112
43 | 2770584.4153 | 1189462.4608
44 | 2770576.3825 | 1189490.9199
45 | 2770551.6274 | 1189467.1276
46 | 2770580.9908 | 1189457.7873
47 | 2770533.0307 | 1189447.3924
48 | 2770580.2598 | 1189456.3595
49 | 2770469.0181 | 1189199.9722
50 | 2770541.7841 | 1189287.0705
51 | 2770455.4192 | 1189189.2585
52 | 2770547.072 | 1189294.7818
53 | 2770549.4089 | 1189296.9763
54 | 2770550.1814 | 1189297.7018
55 | 2770474.3532 | 1189290.0033
56 | 2770475.8495 | 1189290.9992
57 | 2770493.566 | 1189305.2288
58 | 2770437.4077 | 1189233.6615
59 | 2770443.9023 | 1189237.0819
60 | 2770502.9947 | 1189317.024
61 | 2770503.1433 | 1189317.2565
62 | 2770445.857 | 1189237.966
63 | 2770490.4005 | 1189264.9717
64 | 2770509.1886 | 1189287.5277
65 | 2770520.7943 | 1189302.0939
66 | 2770530.189 | 1189314.5308
67 | 2770541.2651 | 1189331.2783
68 | 2770542.7057 | 1189333.5434
69 | 2770555.1809 | 1189353.3001
70 | 2770552.0673 | 1189299.4728
71 | 2770555.8469 | 1189360.7259
72 | 2770536.422 | 1189380.2907
73 | 2770555.9181 | 1189362.378
74 | 2770538.0372 | 1189391.3245
75 | 2770534.6555 | 1189376.6593
76 | 2770556.2535 | 1189383.2377
77 | 2770542.6353 | 1189414.0122
78 | 2770523.1776 | 1189380.6423
79 | 2770529.5775 | 1189367.2793
80 | 2770557.6718 | 1189398.8387
81 | 2770506.8575 | 1189323.0692
82 | 2770511.5718 | 1189330.8752
83 | 2770512.2583 | 1189332.3561
84 | 2770517.5072 | 1189343.6795
85 | 2770517.8535 | 1189344.4265
86 | 2770517.9128 | 1189344.5544
87 | 2770522.8867 | 1189355.1526
88 | 2770521.2958 | 1189381.2952
89 | 2770557.7056 | 1189399.1631
90 | 2770565.0852 | 1189430.9435
91 | 2770575.0928 | 1189446.267
92 | 2770523.2461 | 1189437.0087
93 | 2770555.1809 | 1189353.3001

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1