## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3921-55_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3921-55_0_2_node_29 | 0.4 | n |  | TRUE
2 | bus_LV_3921-55_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3921-55_0_2_node_27 | 0.4 | n |  | TRUE
4 | bus_LV_3921-55_0_2_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_3921-55_0_2_node_71 | 0.4 | n |  | TRUE
6 | bus_LV_3921-55_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_3921-55_0_2_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_3921-55_0_2_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_3921-55_0_2_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_3921-55_0_2_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_3921-55_0_2_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_3921-55_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3921-55_0_2_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_3921-55_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3921-55_0_2_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_3921-55_0_2_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_3921-55_0_2_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_3921-55_0_2_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_3921-55_0_2_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_3921-55_0_2_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_3921-55_0_2_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_3921-55_0_2_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_3921-55_0_2_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_3921-55_0_2_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_3921-55_0_2_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_3921-55_0_2_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_3921-55_0_2_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_3921-55_0_2_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_3921-55_0_2_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_3921-55_0_2_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_3921-55_0_2_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_3921-55_0_2_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_3921-55_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3921-55_0_2_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_3921-55_0_2_node_12 | 0.4 | n |  | TRUE
36 | bus_LV_3921-55_0_2_node_13 | 0.4 | n |  | TRUE
37 | bus_LV_3921-55_0_2_node_14 | 0.4 | n |  | TRUE
38 | bus_LV_3921-55_0_2_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_3921-55_0_2_node_15 | 0.4 | n |  | TRUE
40 | bus_LV_3921-55_0_2_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_3921-55_0_2_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_3921-55_0_2_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_3921-55_0_2_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_3921-55_0_2_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_3921-55_0_2_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_3921-55_0_2_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_3921-55_0_2_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_3921-55_0_2_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_3921-55_0_2_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_3921-55_0_2_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_3921-55_0_2_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_3921-55_0_2_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_3921-55_0_2_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_3921-55_0_2_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_3921-55_0_2_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_3921-55_0_2_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_3921-55_0_2_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_3921-55_0_2_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_3921-55_0_2_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_3921-55_0_2_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_3921-55_0_2_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_3921-55_0_2_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_3921-55_0_2_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_3921-55_0_2_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_3921-55_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_3921-55_0_2_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_3921-55_0_2_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_3921-55_0_2_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3921-55_0_2_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_3921-55_0_2_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_3921-55_0_2_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_3921-55_0_2_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_3921-55_0_2_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_3921-55_0_2_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_3921-55_0_2_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_3921-55_0_2_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_3921-55_0_2_node_77 | 0.4 | n |  | TRUE
78 | bus_MV_60_0_node_296 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3921-55_0_2_load_0 | 0 | 0.00056048 | 0.00014047 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3921-55_0_2_load_2 | 2 | 0.0022748 | 0.00057013 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3921-55_0_2_load_27 | 3 | 0.0042575 | 0.001067 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3921-55_0_2_load_73 | 4 | 0.0072196 | 0.0018094 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3921-55_0_2_load_71 | 5 | 0.0026447 | 0.00066282 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3921-55_0_2_load_3 | 6 | 0.0028182 | 0.0007063 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3921-55_0_2_load_26 | 7 | 0.00060024 | 0.00015043 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3921-55_0_2_load_72 | 8 | 0.0036428 | 0.00091298 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3921-55_0_2_load_25 | 10 | 0.00087898 | 0.00022029 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3921-55_0_2_load_4 | 11 | 0.0012939 | 0.00032427 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3921-55_0_2_load_9 | 12 | 0.0010642 | 0.0002667 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3921-55_0_2_load_5 | 13 | 0.0021057 | 0.00052774 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3921-55_0_2_load_78 | 16 | 0.004091 | 0.0010253 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3921-55_0_2_load_50 | 17 | 0.0019501 | 0.00048873 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3921-55_0_2_load_7 | 19 | 0.0024421 | 0.00061205 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3921-55_0_2_load_43 | 21 | 0.0011464 | 0.00028731 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3921-55_0_2_load_41 | 22 | 0.0021532 | 0.00053963 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3921-55_0_2_load_45 | 23 | 0.0019451 | 0.00048748 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3921-55_0_2_load_46 | 24 | 0.0020225 | 0.00050689 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3921-55_0_2_load_47 | 25 | 0.0022534 | 0.00056476 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3921-55_0_2_load_48 | 26 | 0.0019509 | 0.00048894 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3921-55_0_2_load_52 | 27 | 0.0021657 | 0.00054278 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3921-55_0_2_load_64 | 28 | 0.002311 | 0.00057919 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3921-55_0_2_load_38 | 30 | 0.0026633 | 0.00066748 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3921-55_0_2_load_11 | 31 | 0.0010124 | 0.00025373 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3921-55_0_2_load_17 | 32 | 0.0029737 | 0.00074527 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3921-55_0_2_load_22 | 33 | 0.0022086 | 0.00055353 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3921-55_0_2_load_12 | 35 | 0.0016928 | 0.00042426 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3921-55_0_2_load_13 | 36 | 0.00055875 | 0.00014004 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3921-55_0_2_load_14 | 37 | 0.0011351 | 0.00028449 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3921-55_0_2_load_18 | 38 | 0.00066688 | 0.00016714 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3921-55_0_2_load_15 | 39 | 0.00057696 | 0.0001446 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3921-55_0_2_load_21 | 40 | 0.00078636 | 0.00019708 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3921-55_0_2_load_63 | 41 | 0.0022596 | 0.0005663 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3921-55_0_2_load_19 | 42 | 0.00076046 | 0.00019059 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3921-55_0_2_load_20 | 43 | 0.0005196 | 0.00013022 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3921-55_0_2_load_23 | 44 | 0.00055336 | 0.00013868 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3921-55_0_2_load_24 | 45 | 0.00049854 | 0.00012495 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3921-55_0_2_load_30 | 46 | 0.0028616 | 0.00071719 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3921-55_0_2_load_31 | 47 | 0.0036571 | 0.00091655 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3921-55_0_2_load_28 | 48 | 0.0034014 | 0.00085246 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3921-55_0_2_load_32 | 49 | 0.0024007 | 0.00060167 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3921-55_0_2_load_69 | 50 | 0.002606 | 0.00065312 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3921-55_0_2_load_33 | 51 | 0.0036201 | 0.00090727 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3921-55_0_2_load_34 | 52 | 0.005088 | 0.0012752 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3921-55_0_2_load_35 | 53 | 0.0043995 | 0.0011026 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3921-55_0_2_load_36 | 54 | 0.0043214 | 0.001083 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3921-55_0_2_load_37 | 55 | 0.002986 | 0.00074837 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3921-55_0_2_load_39 | 56 | 0.0042877 | 0.0010746 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3921-55_0_2_load_74 | 57 | 0.0036836 | 0.0009232 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3921-55_0_2_load_40 | 58 | 0.0019432 | 0.00048702 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3921-55_0_2_load_75 | 59 | 0.0026215 | 0.00065702 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3921-55_0_2_load_62 | 60 | 0.0035977 | 0.00090166 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3921-55_0_2_load_67 | 61 | 0.0034493 | 0.00086447 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3921-55_0_2_load_61 | 62 | 0.0032391 | 0.00081178 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3921-55_0_2_load_44 | 63 | 0.0021582 | 0.00054089 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3921-55_0_2_load_68 | 64 | 0.0032537 | 0.00081546 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3921-55_0_2_load_60 | 65 | 0.0022559 | 0.00056539 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3921-55_0_2_load_59 | 66 | 0.0018717 | 0.00046909 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3921-55_0_2_load_49 | 67 | 0.0018873 | 0.000473 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3921-55_0_2_load_58 | 68 | 0.0021162 | 0.00053037 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3921-55_0_2_load_53 | 69 | 0.0024964 | 0.00062566 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3921-55_0_2_load_54 | 70 | 0.002119 | 0.00053106 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3921-55_0_2_load_55 | 71 | 0.0018145 | 0.00045476 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3921-55_0_2_load_56 | 72 | 0.0021632 | 0.00054215 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3921-55_0_2_load_57 | 73 | 0.0022516 | 0.0005643 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3921-55_0_2_load_65 | 74 | 0.0028715 | 0.00071966 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3921-55_0_2_load_66 | 75 | 0.0023228 | 0.00058216 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3921-55_0_2_load_76 | 76 | 0.0037806 | 0.00094751 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3921-55_0_2_load_77 | 77 | 0.0042584 | 0.0010673 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3921-55_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3921-55_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.07783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3921-55_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3921-55_0_2_line_3 | NAYY 4x150 SE | 2 | 6 | 0.0088067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3921-55_0_2_line_4 | NAYY 4x150 SE | 3 | 48 | 0.01903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3921-55_0_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.025025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3921-55_0_2_line_6 | NAYY 4x150 SE | 5 | 9 | 0.0095713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3921-55_0_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.020766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3921-55_0_2_line_8 | NAYY 4x150 SE | 7 | 10 | 0.02621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3921-55_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.027362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3921-55_0_2_line_10 | NAYY 4x150 SE | 9 | 50 | 0.0074452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3921-55_0_2_line_11 | NAYY 4x150 SE | 10 | 45 | 0.010682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3921-55_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.13344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3921-55_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.14687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3921-55_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.11623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3921-55_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.025853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3921-55_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.037561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3921-55_0_2_line_17 | NAYY 4x150 SE | 14 | 31 | 0.02812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3921-55_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.014404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3921-55_0_2_line_19 | NAYY 4x150 SE | 15 | 18 | 0.021521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3921-55_0_2_line_20 | NAYY 4x150 SE | 16 | 26 | 0.023429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3921-55_0_2_line_21 | NAYY 4x150 SE | 17 | 27 | 0.0016462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3921-55_0_2_line_22 | NAYY 4x150 SE | 18 | 28 | 0.033214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3921-55_0_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.011332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3921-55_0_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.021974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3921-55_0_2_line_25 | NAYY 4x150 SE | 20 | 22 | 0.036835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3921-55_0_2_line_26 | NAYY 4x150 SE | 21 | 29 | 0.046547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3921-55_0_2_line_27 | NAYY 4x150 SE | 22 | 30 | 0.012513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3921-55_0_2_line_28 | NAYY 4x150 SE | 23 | 24 | 0.0012348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3921-55_0_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.015507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3921-55_0_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.01062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3921-55_0_2_line_31 | NAYY 4x150 SE | 25 | 67 | 0.033514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3921-55_0_2_line_32 | NAYY 4x150 SE | 27 | 69 | 0.012594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3921-55_0_2_line_33 | NAYY 4x150 SE | 28 | 40 | 0.22253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3921-55_0_2_line_34 | NAYY 4x150 SE | 28 | 41 | 0.034193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3921-55_0_2_line_35 | NAYY 4x150 SE | 29 | 63 | 0.0057736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3921-55_0_2_line_36 | NAYY 4x150 SE | 29 | 58 | 0.0096737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3921-55_0_2_line_37 | NAYY 4x150 SE | 30 | 49 | 0.025199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3921-55_0_2_line_38 | NAYY 4x150 SE | 31 | 35 | 0.060181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3921-55_0_2_line_39 | NAYY 4x150 SE | 32 | 33 | 0.02012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3921-55_0_2_line_40 | NAYY 4x150 SE | 32 | 34 | 0.084663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3921-55_0_2_line_41 | NAYY 4x150 SE | 34 | 38 | 0.056143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3921-55_0_2_line_42 | NAYY 4x150 SE | 36 | 37 | 0.055963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3921-55_0_2_line_43 | NAYY 4x150 SE | 36 | 38 | 0.16826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3921-55_0_2_line_44 | NAYY 4x150 SE | 37 | 39 | 0.089536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3921-55_0_2_line_45 | NAYY 4x150 SE | 39 | 42 | 0.0022344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3921-55_0_2_line_46 | NAYY 4x150 SE | 40 | 43 | 0.065036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3921-55_0_2_line_47 | NAYY 4x150 SE | 41 | 74 | 0.049781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3921-55_0_2_line_48 | NAYY 4x150 SE | 42 | 43 | 0.013744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3921-55_0_2_line_49 | NAYY 4x150 SE | 44 | 45 | 0.00658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3921-55_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.018573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3921-55_0_2_line_51 | NAYY 4x150 SE | 46 | 48 | 0.024351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3921-55_0_2_line_52 | NAYY 4x150 SE | 47 | 49 | 0.02115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3921-55_0_2_line_53 | NAYY 4x150 SE | 50 | 64 | 0.0089771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3921-55_0_2_line_54 | NAYY 4x150 SE | 51 | 52 | 0.011725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3921-55_0_2_line_55 | NAYY 4x150 SE | 51 | 53 | 0.0019497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3921-55_0_2_line_56 | NAYY 4x150 SE | 52 | 54 | 0.010543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3921-55_0_2_line_57 | NAYY 4x150 SE | 53 | 55 | 0.0042202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3921-55_0_2_line_58 | NAYY 4x150 SE | 54 | 56 | 0.014568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3921-55_0_2_line_59 | NAYY 4x150 SE | 55 | 57 | 0.0132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3921-55_0_2_line_60 | NAYY 4x150 SE | 56 | 58 | 0.011464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3921-55_0_2_line_61 | NAYY 4x150 SE | 57 | 59 | 0.0076844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3921-55_0_2_line_62 | NAYY 4x150 SE | 59 | 76 | 0.014941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3921-55_0_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.0054795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3921-55_0_2_line_64 | NAYY 4x150 SE | 60 | 62 | 0.0092741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3921-55_0_2_line_65 | NAYY 4x150 SE | 61 | 64 | 0.0037549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3921-55_0_2_line_66 | NAYY 4x150 SE | 62 | 65 | 0.025434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3921-55_0_2_line_67 | NAYY 4x150 SE | 63 | 67 | 0.0079665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3921-55_0_2_line_68 | NAYY 4x150 SE | 65 | 66 | 0.011871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3921-55_0_2_line_69 | NAYY 4x150 SE | 66 | 68 | 0.0066461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3921-55_0_2_line_70 | NAYY 4x150 SE | 68 | 73 | 0.0018584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3921-55_0_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.016898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3921-55_0_2_line_72 | NAYY 4x150 SE | 70 | 71 | 0.006957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3921-55_0_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.011194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3921-55_0_2_line_74 | NAYY 4x150 SE | 72 | 73 | 0.0058366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3921-55_0_2_line_75 | NAYY 4x150 SE | 74 | 75 | 0.058676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3921-55_0_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.00071648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3921-55_0_2_trafo_49 | 0.25 MVA 20/0.4 kV | 78 | 67 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2768725.6183 | 1189704.8222 | 2768638.5535 | 1189784.7314
1 | 2768725.6183 | 1189704.8222 | 2768771.4599 | 1189767.7197
2 | 2768725.6183 | 1189704.8222 | 2768724.7288 | 1189699.559 | 2768728.4191 | 1189694.8142 | 2768735.8245 | 1189692.2873 | 2768740.3072 | 1189691.641
3 | 2768779.2893 | 1189771.7517 | 2768771.4599 | 1189767.7197
4 | 2768740.3072 | 1189691.641 | 2768745.8247 | 1189690.8456 | 2768758.4525 | 1189686.1993
5 | 2768731.3073 | 1189590.5224 | 2768739.8601 | 1189580.3319 | 2768749.8046 | 1189576.542 | 2768750.8828 | 1189576.5781
6 | 2768760.4488 | 1189576.8979 | 2768750.8828 | 1189576.5781
7 | 2768797.1183 | 1189781.441 | 2768794.1367 | 1189781.3568 | 2768786.5584 | 1189777.5731 | 2768779.2893 | 1189771.7517 | 2768779.2893 | 1189771.7517
8 | 2768818.6193 | 1189794.3898 | 2768817.3526 | 1189794.0563 | 2768814.3092 | 1189792.647 | 2768810.9839 | 1189789.328 | 2768808.1749 | 1189786.1014 | 2768804.2623 | 1189782.4989 | 2768799.7644 | 1189781.5156 | 2768797.1183 | 1189781.441
9 | 2768737.7381 | 1189592.2497 | 2768760.4488 | 1189576.8979
10 | 2768760.4488 | 1189576.8979 | 2768766.5228 | 1189572.5925
11 | 2768818.6193 | 1189794.3898 | 2768823.8826 | 1189795.7753 | 2768828.5893 | 1189796.9313 | 2768828.9618 | 1189797.0564
12 | 2769104.3484 | 1189430.7033 | 2769046.8964 | 1189551.142
13 | 2768900.1806 | 1189544.5193 | 2769046.8964 | 1189551.142
14 | 2768999.2952 | 1189405.1995 | 2769010.2367 | 1189415.5734 | 2769021.3716 | 1189423.962 | 2769034.1515 | 1189432.2081 | 2769044.9157 | 1189435.6151 | 2769058.4475 | 1189437.7769 | 2769078.697 | 1189434.757 | 2769097.7621 | 1189429.3571 | 2769104.3484 | 1189430.7033
15 | 2768889.8147 | 1189521.061 | 2768894.2424 | 1189535.0765 | 2768900.1806 | 1189544.5193
16 | 2768900.1806 | 1189544.5193 | 2768895.7466 | 1189581.8173
17 | 2768999.2952 | 1189405.1995 | 2769001.9736 | 1189403.5959 | 2769016.2799 | 1189406.1687 | 2769019.7755 | 1189405.0886 | 2769018.3223 | 1189398.4415 | 2769018.3223 | 1189398.4415
18 | 2768889.8147 | 1189521.061 | 2768875.8265 | 1189517.6238
19 | 2768880.9673 | 1189501.6604 | 2768886.7981 | 1189510.8555 | 2768889.8147 | 1189521.061
20 | 2768895.7466 | 1189581.8173 | 2768881.6271 | 1189575.6134 | 2768873.621 | 1189575.7307
21 | 2768874.2279 | 1189517.231 | 2768875.8265 | 1189517.6238
22 | 2768880.9673 | 1189501.6604 | 2768863.1802 | 1189487.7571 | 2768853.4106 | 1189483.5484
23 | 2768878.1861 | 1189618.0218 | 2768885.3182 | 1189613.0184 | 2768887.8992 | 1189612.5698
24 | 2768878.1861 | 1189618.0218 | 2768867.0916 | 1189611.1804 | 2768858.2484 | 1189612.491
25 | 2768878.1861 | 1189618.0218 | 2768868.6987 | 1189624.0041 | 2768845.1255 | 1189634.0364
26 | 2768812.8176 | 1189613.1963 | 2768819.5804 | 1189616.679 | 2768834.88 | 1189615.9542 | 2768858.2484 | 1189612.491
27 | 2768834.3193 | 1189640.2816 | 2768842.1335 | 1189635.3098 | 2768845.1255 | 1189634.0364
28 | 2768862.4151 | 1189578.1806 | 2768863.4744 | 1189577.5461
29 | 2768862.4151 | 1189578.1806 | 2768849.1126 | 1189586.1497
30 | 2768873.621 | 1189575.7307 | 2768866.3263 | 1189575.8376 | 2768863.4744 | 1189577.5461
31 | 2768820.3628 | 1189603.3726 | 2768849.1126 | 1189586.1497
32 | 2768874.2279 | 1189517.231 | 2768861.998 | 1189514.2258 | 2768861.998 | 1189514.2258
33 | 2768853.4106 | 1189483.5484 | 2768870.6853 | 1189261.6911
34 | 2768822.0493 | 1189489.9652 | 2768831.8029 | 1189482.9568 | 2768842.9131 | 1189480.8682 | 2768850.9422 | 1189482.485 | 2768853.4106 | 1189483.5484
35 | 2768812.8176 | 1189613.1963 | 2768813.5288 | 1189607.4666
36 | 2768812.8176 | 1189613.1963 | 2768804.3474 | 1189617.8691
37 | 2768813.4673 | 1189654.3948 | 2768820.1248 | 1189649.3131 | 2768834.3193 | 1189640.2816
38 | 2769018.3223 | 1189398.4415 | 2769003.2152 | 1189378.2855 | 2769001.2726 | 1189363.8397 | 2769005.8127 | 1189345.5066 | 2769005.5544 | 1189343.9989
39 | 2769285.3385 | 1189265.3514 | 2769289.4512 | 1189269.438 | 2769294.1199 | 1189274.1076 | 2769297.1313 | 1189276.3838 | 2769300.6395 | 1189277.8287 | 2769300.7889 | 1189277.8439
40 | 2769214.4285 | 1189219.6608 | 2769230.3049 | 1189231.2311 | 2769244.2597 | 1189239.4998 | 2769266.2013 | 1189250.886 | 2769277.1394 | 1189257.8683 | 2769285.3385 | 1189265.3514 | 2769285.3385 | 1189265.3514
41 | 2769203.549 | 1189238.9377 | 2769210.1963 | 1189239.2258 | 2769221.4229 | 1189243.8361 | 2769224.7756 | 1189244.8429 | 2769227.4497 | 1189244.2068 | 2769229.1384 | 1189242.5196 | 2769228.7756 | 1189240.7745 | 2769214.3854 | 1189224.9644 | 2769213.4298 | 1189222.5908 | 2769214.4285 | 1189219.6608
42 | 2769047.336 | 1189176.4243 | 2769038.3499 | 1189173.4119 | 2769028.8094 | 1189171.7855 | 2769015.6732 | 1189170.458 | 2768995.0586 | 1189170.4317 | 2768992.0701 | 1189170.5113
43 | 2769047.336 | 1189176.4243 | 2769203.549 | 1189238.9377
44 | 2768908.146 | 1189191.2533 | 2768916.1476 | 1189184.1733 | 2768924.5441 | 1189178.4716 | 2768933.1915 | 1189174.423 | 2768942.2416 | 1189172.3319 | 2768961.6261 | 1189171.3224 | 2768992.0701 | 1189170.5113
45 | 2768906.4726 | 1189192.7339 | 2768908.146 | 1189191.2533
46 | 2768896.206 | 1189201.8713 | 2768870.6853 | 1189261.6911
47 | 2768822.0493 | 1189489.9652 | 2768818.4741 | 1189492.5342 | 2768810.2643 | 1189494.6158 | 2768794.9431 | 1189493.3938 | 2768786.3375 | 1189494.0852 | 2768779.3118 | 1189498.291 | 2768776.1917 | 1189501.8295
48 | 2768906.4726 | 1189192.7339 | 2768903.8576 | 1189195.0477 | 2768896.206 | 1189201.8713
49 | 2768833.9023 | 1189800.8721 | 2768833.7634 | 1189800.1802 | 2768831.4092 | 1189797.8784 | 2768828.9618 | 1189797.0564
50 | 2768781.0312 | 1189677.2053 | 2768791.4759 | 1189671.181 | 2768796.6551 | 1189667.2277
51 | 2768781.0312 | 1189677.2053 | 2768777.7441 | 1189679.1011 | 2768758.4525 | 1189686.1993
52 | 2768796.6551 | 1189667.2277 | 2768813.4673 | 1189654.3948
53 | 2768766.5228 | 1189572.5925 | 2768773.8466 | 1189567.4012
54 | 2768762.0555 | 1189641.2006 | 2768772.3221 | 1189635.5368
55 | 2768762.0555 | 1189641.2006 | 2768760.3484 | 1189642.1424
56 | 2768781.5534 | 1189630.444 | 2768772.3221 | 1189635.5368
57 | 2768756.6532 | 1189644.1809 | 2768760.3484 | 1189642.1424
58 | 2768781.5534 | 1189630.444 | 2768794.3093 | 1189623.4069
59 | 2768756.6532 | 1189644.1809 | 2768753.1927 | 1189646.09 | 2768743.9449 | 1189646.0087
60 | 2768804.3474 | 1189617.8691 | 2768794.3093 | 1189623.4069
61 | 2768736.2608 | 1189645.9411 | 2768743.9449 | 1189646.0087
62 | 2768736.2608 | 1189645.9411 | 2768721.3199 | 1189645.8097
63 | 2768781.3804 | 1189562.0611 | 2768776.9101 | 1189565.2297
64 | 2768781.3804 | 1189562.0611 | 2768788.9465 | 1189556.698
65 | 2768776.9101 | 1189565.2297 | 2768773.8466 | 1189567.4012
66 | 2768812.2044 | 1189547.0171 | 2768807.6009 | 1189549.5131 | 2768793.0715 | 1189553.7741 | 2768788.9465 | 1189556.698
67 | 2768820.3628 | 1189603.3726 | 2768813.5288 | 1189607.4666
68 | 2768822.6401 | 1189541.3589 | 2768812.2044 | 1189547.0171
69 | 2768828.4827 | 1189538.1911 | 2768822.6401 | 1189541.3589
70 | 2768828.4827 | 1189538.1911 | 2768830.1164 | 1189537.3053
71 | 2768847.3377 | 1189520.9846 | 2768851.309 | 1189516.5376 | 2768861.998 | 1189514.2258
72 | 2768847.3377 | 1189520.9846 | 2768842.7038 | 1189526.1737
73 | 2768835.2473 | 1189534.5233 | 2768835.2473 | 1189534.5233 | 2768842.7038 | 1189526.1737
74 | 2768835.2473 | 1189534.5233 | 2768830.1164 | 1189537.3053
75 | 2768776.1917 | 1189501.8295 | 2768771.5616 | 1189507.0806 | 2768763.6348 | 1189511.3055 | 2768734.143 | 1189519.7487 | 2768722.2183 | 1189521.2252
76 | 2768720.6035 | 1189645.8034 | 2768721.3199 | 1189645.8097

## bus_geodata
| x | y | coords
0 | 2768638.5535 | 1189784.7314
1 | 2768725.6183 | 1189704.8222
2 | 2768771.4599 | 1189767.7197
3 | 2768740.3072 | 1189691.641
4 | 2768731.3073 | 1189590.5224
5 | 2768750.8828 | 1189576.5781
6 | 2768779.2893 | 1189771.7517
7 | 2768797.1183 | 1189781.441
8 | 2768737.7381 | 1189592.2497
9 | 2768760.4488 | 1189576.8979
10 | 2768818.6193 | 1189794.3898
11 | 2769046.8964 | 1189551.142
12 | 2769104.3484 | 1189430.7033
13 | 2768900.1806 | 1189544.5193
14 | 2768999.2952 | 1189405.1995
15 | 2768889.8147 | 1189521.061
16 | 2768895.7466 | 1189581.8173
17 | 2768875.8265 | 1189517.6238
18 | 2768880.9673 | 1189501.6604
19 | 2768887.8992 | 1189612.5698
20 | 2768878.1861 | 1189618.0218
21 | 2768858.2484 | 1189612.491
22 | 2768845.1255 | 1189634.0364
23 | 2768862.4151 | 1189578.1806
24 | 2768863.4744 | 1189577.5461
25 | 2768849.1126 | 1189586.1497
26 | 2768873.621 | 1189575.7307
27 | 2768874.2279 | 1189517.231
28 | 2768853.4106 | 1189483.5484
29 | 2768812.8176 | 1189613.1963
30 | 2768834.3193 | 1189640.2816
31 | 2769018.3223 | 1189398.4415
32 | 2769285.3385 | 1189265.3514
33 | 2769300.7889 | 1189277.8439
34 | 2769214.4285 | 1189219.6608
35 | 2769005.5544 | 1189343.9989
36 | 2769047.336 | 1189176.4243
37 | 2768992.0701 | 1189170.5113
38 | 2769203.549 | 1189238.9377
39 | 2768908.146 | 1189191.2533
40 | 2768870.6853 | 1189261.6911
41 | 2768822.0493 | 1189489.9652
42 | 2768906.4726 | 1189192.7339
43 | 2768896.206 | 1189201.8713
44 | 2768833.9023 | 1189800.8721
45 | 2768828.9618 | 1189797.0564
46 | 2768781.0312 | 1189677.2053
47 | 2768796.6551 | 1189667.2277
48 | 2768758.4525 | 1189686.1993
49 | 2768813.4673 | 1189654.3948
50 | 2768766.5228 | 1189572.5925
51 | 2768762.0555 | 1189641.2006
52 | 2768772.3221 | 1189635.5368
53 | 2768760.3484 | 1189642.1424
54 | 2768781.5534 | 1189630.444
55 | 2768756.6532 | 1189644.1809
56 | 2768794.3093 | 1189623.4069
57 | 2768743.9449 | 1189646.0087
58 | 2768804.3474 | 1189617.8691
59 | 2768736.2608 | 1189645.9411
60 | 2768781.3804 | 1189562.0611
61 | 2768776.9101 | 1189565.2297
62 | 2768788.9465 | 1189556.698
63 | 2768813.5288 | 1189607.4666
64 | 2768773.8466 | 1189567.4012
65 | 2768812.2044 | 1189547.0172
66 | 2768822.6401 | 1189541.3589
67 | 2768820.3628 | 1189603.3726
68 | 2768828.4827 | 1189538.1911
69 | 2768861.998 | 1189514.2258
70 | 2768847.3377 | 1189520.9846
71 | 2768842.7038 | 1189526.1737
72 | 2768835.2473 | 1189534.5233
73 | 2768830.1164 | 1189537.3053
74 | 2768776.1917 | 1189501.8295
75 | 2768722.2183 | 1189521.2252
76 | 2768721.3199 | 1189645.8097
77 | 2768720.6035 | 1189645.8034
78 | 2768812.8176 | 1189613.1963

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1