## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3921-56_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3921-56_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3921-56_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_3921-56_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3921-56_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3921-56_0_3_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_3921-56_0_3_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_3921-56_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3921-56_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3921-56_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3921-56_0_3_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_3921-56_0_3_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_3921-56_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3921-56_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3921-56_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3921-56_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_3921-56_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_3921-56_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3921-56_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3921-56_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3921-56_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3921-56_0_3_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_3921-56_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3921-56_0_3_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_3921-56_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3921-56_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_3921-56_0_3_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_3921-56_0_3_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_3921-56_0_3_node_79 | 0.4 | n |  | TRUE
29 | bus_LV_3921-56_0_3_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_3921-56_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3921-56_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_3921-56_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3921-56_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_3921-56_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_3921-56_0_3_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_3921-56_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_3921-56_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3921-56_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3921-56_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_3921-56_0_3_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_3921-56_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_3921-56_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_3921-56_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_3921-56_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_3921-56_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_3921-56_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3921-56_0_3_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_3921-56_0_3_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_3921-56_0_3_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_3921-56_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_3921-56_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_3921-56_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_3921-56_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_3921-56_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_3921-56_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_3921-56_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_3921-56_0_3_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_3921-56_0_3_node_118 | 0.4 | n |  | TRUE
59 | bus_LV_3921-56_0_3_node_119 | 0.4 | n |  | TRUE
60 | bus_LV_3921-56_0_3_node_117 | 0.4 | n |  | TRUE
61 | bus_LV_3921-56_0_3_node_121 | 0.4 | n |  | TRUE
62 | bus_LV_3921-56_0_3_node_116 | 0.4 | n |  | TRUE
63 | bus_LV_3921-56_0_3_node_115 | 0.4 | n |  | TRUE
64 | bus_LV_3921-56_0_3_node_120 | 0.4 | n |  | TRUE
65 | bus_LV_3921-56_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_3921-56_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_3921-56_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_3921-56_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_3921-56_0_3_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_3921-56_0_3_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_3921-56_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_3921-56_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_3921-56_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_3921-56_0_3_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_3921-56_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_3921-56_0_3_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_3921-56_0_3_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_3921-56_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_3921-56_0_3_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_3921-56_0_3_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_3921-56_0_3_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_3921-56_0_3_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_3921-56_0_3_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_3921-56_0_3_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_3921-56_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_3921-56_0_3_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_3921-56_0_3_node_94 | 0.4 | n |  | TRUE
88 | bus_LV_3921-56_0_3_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_3921-56_0_3_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_3921-56_0_3_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_3921-56_0_3_node_107 | 0.4 | n |  | TRUE
92 | bus_LV_3921-56_0_3_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_3921-56_0_3_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_3921-56_0_3_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_3921-56_0_3_node_125 | 0.4 | n |  | TRUE
96 | bus_LV_3921-56_0_3_node_126 | 0.4 | n |  | TRUE
97 | bus_LV_3921-56_0_3_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_3921-56_0_3_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_3921-56_0_3_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_3921-56_0_3_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_3921-56_0_3_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_3921-56_0_3_node_95 | 0.4 | n |  | TRUE
103 | bus_LV_3921-56_0_3_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_3921-56_0_3_node_123 | 0.4 | n |  | TRUE
105 | bus_LV_3921-56_0_3_node_96 | 0.4 | n |  | TRUE
106 | bus_LV_3921-56_0_3_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_3921-56_0_3_node_124 | 0.4 | n |  | TRUE
108 | bus_LV_3921-56_0_3_node_98 | 0.4 | n |  | TRUE
109 | bus_LV_3921-56_0_3_node_99 | 0.4 | n |  | TRUE
110 | bus_LV_3921-56_0_3_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_3921-56_0_3_node_101 | 0.4 | n |  | TRUE
112 | bus_LV_3921-56_0_3_node_102 | 0.4 | n |  | TRUE
113 | bus_LV_3921-56_0_3_node_103 | 0.4 | n |  | TRUE
114 | bus_LV_3921-56_0_3_node_104 | 0.4 | n |  | TRUE
115 | bus_LV_3921-56_0_3_node_105 | 0.4 | n |  | TRUE
116 | bus_LV_3921-56_0_3_node_114 | 0.4 | n |  | TRUE
117 | bus_LV_3921-56_0_3_node_108 | 0.4 | n |  | TRUE
118 | bus_LV_3921-56_0_3_node_109 | 0.4 | n |  | TRUE
119 | bus_LV_3921-56_0_3_node_110 | 0.4 | n |  | TRUE
120 | bus_LV_3921-56_0_3_node_111 | 0.4 | n |  | TRUE
121 | bus_LV_3921-56_0_3_node_112 | 0.4 | n |  | TRUE
122 | bus_LV_3921-56_0_3_node_113 | 0.4 | n |  | TRUE
123 | bus_LV_3921-56_0_3_node_122 | 0.4 | n |  | TRUE
124 | bus_LV_3921-56_0_3_node_127 | 0.4 | n |  | TRUE
125 | bus_MV_60_0_node_295 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3921-56_0_3_load_0 | 0 | 0.00032633 | 8.1785e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3921-56_0_3_load_4 | 2 | 0.00019566 | 4.9037e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3921-56_0_3_load_2 | 3 | 0.00018243 | 4.5721e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3921-56_0_3_load_3 | 4 | 0.00014359 | 3.5988e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3921-56_0_3_load_54 | 5 | 0.00095441 | 0.0002392 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3921-56_0_3_load_52 | 6 | 0.0012341 | 0.00030929 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3921-56_0_3_load_5 | 8 | 0.00013152 | 3.2963e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3921-56_0_3_load_65 | 10 | 0.00021092 | 5.2862e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3921-56_0_3_load_63 | 11 | 0.00015969 | 4.0021e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3921-56_0_3_load_8 | 12 | 0.00023793 | 5.9632e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3921-56_0_3_load_9 | 13 | 0.00016728 | 4.1925e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3921-56_0_3_load_10 | 14 | 0.0002904 | 7.2781e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3921-56_0_3_load_15 | 16 | 0.00018725 | 4.6929e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3921-56_0_3_load_13 | 18 | 0.00014877 | 3.7285e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3921-56_0_3_load_14 | 19 | 0.00023433 | 5.8729e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3921-56_0_3_load_16 | 20 | 0.00020083 | 5.0332e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3921-56_0_3_load_74 | 21 | 0.00038135 | 9.5576e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3921-56_0_3_load_75 | 23 | 0.0034204 | 0.00085724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3921-56_0_3_load_19 | 24 | 0.00026232 | 6.5742e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3921-56_0_3_load_77 | 26 | 0.00084844 | 0.00021264 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3921-56_0_3_load_78 | 27 | 0.0005726 | 0.00014351 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3921-56_0_3_load_79 | 28 | 0.0012042 | 0.00030179 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3921-56_0_3_load_80 | 29 | 0.0013466 | 0.00033748 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3921-56_0_3_load_21 | 30 | 0.0027127 | 0.00067987 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3921-56_0_3_load_24 | 33 | 0.0013883 | 0.00034794 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3921-56_0_3_load_41 | 34 | 0.00047679 | 0.00011949 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3921-56_0_3_load_48 | 35 | 0.00040747 | 0.00010212 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3921-56_0_3_load_28 | 37 | 0.0019906 | 0.00049889 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3921-56_0_3_load_29 | 38 | 0.00032141 | 8.0554e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3921-56_0_3_load_30 | 39 | 0.0010787 | 0.00027035 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3921-56_0_3_load_43 | 40 | 0.0010835 | 0.00027155 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3921-56_0_3_load_31 | 42 | 0.00082567 | 0.00020693 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3921-56_0_3_load_32 | 43 | 0.0014753 | 0.00036973 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3921-56_0_3_load_33 | 44 | 0.00056807 | 0.00014237 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3921-56_0_3_load_36 | 45 | 0.00053751 | 0.00013471 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3921-56_0_3_load_34 | 46 | 0.0002654 | 6.6515e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3921-56_0_3_load_26 | 48 | 0.00037059 | 9.2878e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3921-56_0_3_load_27 | 49 | 0.00040634 | 0.00010184 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3921-56_0_3_load_39 | 50 | 0.00058318 | 0.00014616 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3921-56_0_3_load_44 | 51 | 0.00032076 | 8.0389e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3921-56_0_3_load_46 | 52 | 0.00054153 | 0.00013572 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3921-56_0_3_load_47 | 53 | 0.0030333 | 0.00076021 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3921-56_0_3_load_45 | 54 | 0.0046775 | 0.0011723 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3921-56_0_3_load_38 | 55 | 0.00033612 | 8.4241e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3921-56_0_3_load_42 | 56 | 0.00061264 | 0.00015354 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3921-56_0_3_load_35 | 57 | 0.00026684 | 6.6877e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3921-56_0_3_load_118 | 58 | 0.0016645 | 0.00041717 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3921-56_0_3_load_119 | 59 | 0.0015507 | 0.00038864 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3921-56_0_3_load_117 | 60 | 0.0014627 | 0.00036659 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3921-56_0_3_load_121 | 61 | 0.00071193 | 0.00017843 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3921-56_0_3_load_116 | 62 | 0.0011656 | 0.00029214 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3921-56_0_3_load_115 | 63 | 0.0021066 | 0.00052797 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3921-56_0_3_load_120 | 64 | 0.0013975 | 0.00035025 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3921-56_0_3_load_49 | 65 | 0.00025786 | 6.4625e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3921-56_0_3_load_51 | 67 | 0.00051643 | 0.00012943 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3921-56_0_3_load_56 | 70 | 0.00048407 | 0.00012132 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3921-56_0_3_load_57 | 71 | 0.00042393 | 0.00010625 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3921-56_0_3_load_66 | 73 | 0.00158 | 0.00039599 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3921-56_0_3_load_59 | 74 | 0.00037617 | 9.4278e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3921-56_0_3_load_60 | 75 | 0.00083588 | 0.00020949 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3921-56_0_3_load_61 | 76 | 0.0047053 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3921-56_0_3_load_62 | 77 | 0.00079705 | 0.00019976 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3921-56_0_3_load_64 | 78 | 0.00093703 | 0.00023484 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3921-56_0_3_load_67 | 79 | 0.00063157 | 0.00015829 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3921-56_0_3_load_68 | 80 | 0.00049061 | 0.00012296 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3921-56_0_3_load_69 | 81 | 0.00091663 | 0.00022973 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3921-56_0_3_load_70 | 82 | 0.00068065 | 0.00017059 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3921-56_0_3_load_72 | 84 | 0.00041207 | 0.00010327 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3921-56_0_3_load_94 | 87 | 0.00034643 | 8.6824e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3921-56_0_3_load_84 | 89 | 0.0016366 | 0.00041018 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3921-56_0_3_load_82 | 90 | 0.0016622 | 0.00041658 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3921-56_0_3_load_107 | 91 | 0.00044506 | 0.00011154 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3921-56_0_3_load_86 | 93 | 0.00026132 | 6.5492e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3921-56_0_3_load_85 | 94 | 0.0014699 | 0.00036839 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3921-56_0_3_load_125 | 95 | 0.0055882 | 0.0014005 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3921-56_0_3_load_87 | 97 | 0.0017271 | 0.00043285 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3921-56_0_3_load_89 | 98 | 0.0027827 | 0.00069741 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3921-56_0_3_load_91 | 99 | 0.0015202 | 0.000381 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3921-56_0_3_load_92 | 100 | 0.0012965 | 0.00032493 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3921-56_0_3_load_93 | 101 | 0.0019727 | 0.00049441 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3921-56_0_3_load_95 | 102 | 0.0011195 | 0.00028058 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3921-56_0_3_load_97 | 103 | 0.0019896 | 0.00049865 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3921-56_0_3_load_123 | 104 | 0.0021209 | 0.00053154 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3921-56_0_3_load_96 | 105 | 0.0053664 | 0.0013449 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3921-56_0_3_load_106 | 106 | 0.0006227 | 0.00015606 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3921-56_0_3_load_124 | 107 | 0.0028512 | 0.00071457 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3921-56_0_3_load_98 | 108 | 0.0018822 | 0.00047174 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3921-56_0_3_load_99 | 109 | 0.0016034 | 0.00040185 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3921-56_0_3_load_100 | 110 | 0.0012274 | 0.00030761 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3921-56_0_3_load_101 | 111 | 0.0013862 | 0.00034742 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3921-56_0_3_load_103 | 113 | 0.0017055 | 0.00042745 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3921-56_0_3_load_104 | 114 | 0.0012526 | 0.00031393 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3921-56_0_3_load_105 | 115 | 0.0018233 | 0.00045697 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3921-56_0_3_load_114 | 116 | 0.00082023 | 0.00020557 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3921-56_0_3_load_108 | 117 | 0.0037659 | 0.00094382 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3921-56_0_3_load_109 | 118 | 0.016582 | 0.0041559 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3921-56_0_3_load_110 | 119 | 0.0014655 | 0.00036729 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3921-56_0_3_load_111 | 120 | 0.001412 | 0.00035388 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3921-56_0_3_load_112 | 121 | 0.001582 | 0.0003965 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3921-56_0_3_load_113 | 122 | 0.0027027 | 0.00067736 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3921-56_0_3_load_122 | 123 | 0.00096642 | 0.00024221 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3921-56_0_3_load_127 | 124 | 0.0014679 | 0.00036789 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 108 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3921-56_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3921-56_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.071096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3921-56_0_3_line_2 | NAYY 4x150 SE | 2 | 7 | 0.074101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3921-56_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0018302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3921-56_0_3_line_4 | NAYY 4x150 SE | 4 | 8 | 0.052498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3921-56_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.015179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3921-56_0_3_line_6 | NAYY 4x150 SE | 6 | 66 | 0.14189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3921-56_0_3_line_7 | NAYY 4x150 SE | 7 | 9 | 0.045348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3921-56_0_3_line_8 | NAYY 4x150 SE | 8 | 12 | 0.0019197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3921-56_0_3_line_9 | NAYY 4x150 SE | 9 | 13 | 0.13118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3921-56_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.0046346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3921-56_0_3_line_11 | NAYY 4x150 SE | 11 | 78 | 0.0065196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3921-56_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.089384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3921-56_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.037017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3921-56_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.072644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3921-56_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.066922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3921-56_0_3_line_16 | NAYY 4x150 SE | 16 | 20 | 0.0054941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3921-56_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.045239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3921-56_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.044398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3921-56_0_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.16663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3921-56_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.026744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3921-56_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.036537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3921-56_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.019249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3921-56_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.016955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3921-56_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.0095186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3921-56_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.018432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3921-56_0_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.044332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3921-56_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.052615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3921-56_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.029379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3921-56_0_3_line_29 | NAYY 4x150 SE | 29 | 90 | 0.0736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3921-56_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.13794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3921-56_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.10115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3921-56_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.12413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3921-56_0_3_line_33 | NAYY 4x150 SE | 32 | 37 | 0.036483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3921-56_0_3_line_34 | NAYY 4x150 SE | 32 | 38 | 0.047552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3921-56_0_3_line_35 | NAYY 4x150 SE | 33 | 39 | 0.15122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3921-56_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.01142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_3921-56_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.065156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_3921-56_0_3_line_38 | NAYY 4x150 SE | 35 | 61 | 0.020861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_3921-56_0_3_line_39 | NAYY 4x150 SE | 36 | 56 | 0.06719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3921-56_0_3_line_40 | NAYY 4x150 SE | 36 | 41 | 0.059531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3921-56_0_3_line_41 | NAYY 4x150 SE | 37 | 40 | 0.033227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3921-56_0_3_line_42 | NAYY 4x150 SE | 38 | 41 | 0.098853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3921-56_0_3_line_43 | NAYY 4x150 SE | 39 | 42 | 0.024783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3921-56_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0093847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3921-56_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.11815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3921-56_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.14494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3921-56_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.17589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3921-56_0_3_line_48 | NAYY 4x150 SE | 46 | 57 | 0.035811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3921-56_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.1504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3921-56_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.046645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3921-56_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0053227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3921-56_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.0015458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3921-56_0_3_line_53 | NAYY 4x150 SE | 50 | 55 | 0.045689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3921-56_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.040276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3921-56_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.089484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3921-56_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.11002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3921-56_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.021316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3921-56_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.016232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_3921-56_0_3_line_59 | NAYY 4x150 SE | 58 | 60 | 0.0011481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_3921-56_0_3_line_60 | NAYY 4x150 SE | 59 | 64 | 0.00045561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_3921-56_0_3_line_61 | NAYY 4x150 SE | 60 | 62 | 0.0031145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_3921-56_0_3_line_62 | NAYY 4x150 SE | 61 | 64 | 0.041216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_3921-56_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.011117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_3921-56_0_3_line_64 | NAYY 4x150 SE | 63 | 116 | 0.001259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_3921-56_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.015552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3921-56_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.06321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3921-56_0_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.018823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3921-56_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.071906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3921-56_0_3_line_69 | NAYY 4x150 SE | 68 | 70 | 0.0093697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3921-56_0_3_line_70 | NAYY 4x150 SE | 69 | 71 | 0.017568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3921-56_0_3_line_71 | NAYY 4x150 SE | 70 | 72 | 0.052318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3921-56_0_3_line_72 | NAYY 4x150 SE | 71 | 73 | 0.056415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3921-56_0_3_line_73 | NAYY 4x150 SE | 72 | 74 | 0.0095091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3921-56_0_3_line_74 | NAYY 4x150 SE | 72 | 75 | 0.058697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3921-56_0_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.023457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3921-56_0_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.014372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3921-56_0_3_line_77 | NAYY 4x150 SE | 76 | 78 | 0.021842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3921-56_0_3_line_78 | NAYY 4x150 SE | 77 | 79 | 0.035783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3921-56_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.0096515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3921-56_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.024832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3921-56_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.047511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3921-56_0_3_line_82 | NAYY 4x150 SE | 82 | 83 | 0.02219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3921-56_0_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.019727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3921-56_0_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.044996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3921-56_0_3_line_85 | NAYY 4x150 SE | 85 | 89 | 0.016615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3921-56_0_3_line_86 | NAYY 4x150 SE | 85 | 90 | 0.012737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3921-56_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.09761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_3921-56_0_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.003616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_3921-56_0_3_line_89 | NAYY 4x150 SE | 87 | 91 | 0.020601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_3921-56_0_3_line_90 | NAYY 4x150 SE | 88 | 92 | 0.067174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_3921-56_0_3_line_91 | NAYY 4x150 SE | 88 | 93 | 0.0092212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_3921-56_0_3_line_92 | NAYY 4x150 SE | 89 | 94 | 0.02173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3921-56_0_3_line_93 | NAYY 4x150 SE | 91 | 106 | 0.026817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_3921-56_0_3_line_94 | NAYY 4x150 SE | 92 | 100 | 0.051101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3921-56_0_3_line_95 | NAYY 4x150 SE | 92 | 101 | 0.030642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_3921-56_0_3_line_96 | NAYY 4x150 SE | 93 | 97 | 0.026453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3921-56_0_3_line_97 | NAYY 4x150 SE | 94 | 95 | 0.010822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3921-56_0_3_line_98 | NAYY 4x150 SE | 95 | 96 | 0.019639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3921-56_0_3_line_99 | NAYY 4x150 SE | 96 | 124 | 0.0037327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3921-56_0_3_line_100 | NAYY 4x150 SE | 96 | 107 | 0.0057394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3921-56_0_3_line_101 | NAYY 4x150 SE | 97 | 98 | 0.023057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3921-56_0_3_line_102 | NAYY 4x150 SE | 98 | 99 | 0.015585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3921-56_0_3_line_103 | NAYY 4x150 SE | 99 | 102 | 0.0045006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3921-56_0_3_line_104 | NAYY 4x150 SE | 101 | 103 | 0.0098799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
105 | LV_3921-56_0_3_line_105 | NAYY 4x150 SE | 102 | 104 | 0.021258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3921-56_0_3_line_106 | NAYY 4x150 SE | 103 | 105 | 0.029745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
107 | LV_3921-56_0_3_line_107 | NAYY 4x150 SE | 104 | 107 | 0.018104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3921-56_0_3_line_108 | NAYY 4x150 SE | 105 | 108 | 0.012147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
109 | LV_3921-56_0_3_line_109 | NAYY 4x150 SE | 106 | 113 | 0.054811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
110 | LV_3921-56_0_3_line_110 | NAYY 4x150 SE | 109 | 110 | 0.022228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
111 | LV_3921-56_0_3_line_111 | NAYY 4x150 SE | 109 | 111 | 0.0033549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
112 | LV_3921-56_0_3_line_112 | NAYY 4x150 SE | 110 | 112 | 0.010241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
113 | LV_3921-56_0_3_line_113 | NAYY 4x150 SE | 111 | 113 | 0.0051528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
114 | LV_3921-56_0_3_line_114 | NAYY 4x150 SE | 112 | 114 | 0.02573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
115 | LV_3921-56_0_3_line_115 | NAYY 4x150 SE | 112 | 115 | 0.012307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3921-56_0_3_line_116 | NAYY 4x150 SE | 114 | 116 | 0.00016405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
117 | LV_3921-56_0_3_line_117 | NAYY 4x150 SE | 115 | 117 | 0.0024179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3921-56_0_3_line_118 | NAYY 4x150 SE | 117 | 118 | 0.022052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3921-56_0_3_line_119 | NAYY 4x150 SE | 118 | 119 | 0.039916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3921-56_0_3_line_120 | NAYY 4x150 SE | 119 | 120 | 0.013236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3921-56_0_3_line_121 | NAYY 4x150 SE | 120 | 121 | 0.010289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3921-56_0_3_line_122 | NAYY 4x150 SE | 121 | 122 | 0.019526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3921-56_0_3_line_123 | NAYY 4x150 SE | 122 | 123 | 0.022146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3921-56_0_3_trafo_98 | 0.25 MVA 20/0.4 kV | 125 | 108 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2769748.5175 | 1189650.5623 | 2769743.8652 | 1189647.7612 | 2769742.2006 | 1189642.4091 | 2769744.0944 | 1189638.3368 | 2769744.0944 | 1189638.3368
1 | 2769748.5175 | 1189650.5623 | 2769760.236 | 1189651.7846 | 2769769.2659 | 1189650.9287 | 2769779.4687 | 1189651.7743 | 2769789.5316 | 1189652.1711 | 2769799.5251 | 1189655.0127 | 2769812.1724 | 1189661.1548 | 2769816.5692 | 1189664.4356
2 | 2769882.5551 | 1189694.1706 | 2769872.5875 | 1189694.4547 | 2769861.6027 | 1189691.5849 | 2769854.5865 | 1189688.7165 | 2769842.1139 | 1189681.8008 | 2769830.7978 | 1189674.4731 | 2769826.085 | 1189671.1141 | 2769824.8775 | 1189670.635 | 2769816.5692 | 1189664.4356
3 | 2769907.1212 | 1189549.3314 | 2769908.8944 | 1189548.8782
4 | 2769908.8944 | 1189548.8782 | 2769911.8888 | 1189548.113 | 2769925.1502 | 1189546.0763 | 2769937.6373 | 1189543.0835 | 2769950.3444 | 1189540.4084 | 2769960.3768 | 1189542.0404
5 | 2769852.9676 | 1189199.7876 | 2769856.877 | 1189191.9357 | 2769858.7626 | 1189185.8114
6 | 2769957.7897 | 1189216.5439 | 2769947.9653 | 1189213.9071 | 2769937.6947 | 1189207.899 | 2769919.5554 | 1189190.8574 | 2769904.1144 | 1189172.0576 | 2769891.5288 | 1189161.2906 | 2769879.0256 | 1189154.6075 | 2769873.4561 | 1189155.8729 | 2769865.8707 | 1189163.6204 | 2769863.4183 | 1189170.6906 | 2769858.7626 | 1189185.8114
7 | 2769927.7885 | 1189694.1986 | 2769925.9229 | 1189694.8574 | 2769916.8898 | 1189695.8242 | 2769904.4472 | 1189695.9156 | 2769889.8185 | 1189695.0553 | 2769882.5551 | 1189694.1706
8 | 2769962.2717 | 1189542.3487 | 2769960.3768 | 1189542.0404
9 | 2770024.9561 | 1189606.0687 | 2769927.7885 | 1189694.1986
10 | 2770095.6048 | 1189281.4168 | 2770092.3063 | 1189278.1611
11 | 2770092.3063 | 1189278.1611 | 2770087.6661 | 1189273.5813
12 | 2769962.2717 | 1189542.3487 | 2770024.9561 | 1189606.0687
13 | 2770024.9561 | 1189606.0687 | 2770056.5214 | 1189590.369 | 2770058.0109 | 1189589.4252
14 | 2770103.3812 | 1189532.6913 | 2770058.0109 | 1189589.4252
15 | 2770103.3812 | 1189532.6913 | 2770111.4135 | 1189524.5231 | 2770115.6223 | 1189516.0794 | 2770118.9219 | 1189504.7182 | 2770121.7 | 1189490.2282 | 2770125.746 | 1189476.7752 | 2770129.445 | 1189472.8427
16 | 2770129.445 | 1189472.8427 | 2770133.2093 | 1189468.8408
17 | 2770272.4075 | 1189377.2412 | 2770273.9746 | 1189374.739 | 2770270.7159 | 1189361.5897 | 2770272.6657 | 1189352.6147 | 2770281.5622 | 1189340.1117 | 2770283.0699 | 1189336.1806
18 | 2770272.4075 | 1189377.2412 | 2770270.1373 | 1189371.7271 | 2770267.323 | 1189362.5386 | 2770260.4786 | 1189350.6775 | 2770251.7478 | 1189340.1974 | 2770250.7843 | 1189339.0604
19 | 2770272.4075 | 1189377.2412 | 2770133.2093 | 1189468.8408
20 | 2770283.0699 | 1189336.1806 | 2770284.0685 | 1189333.577 | 2770298.1747 | 1189314.2158
21 | 2770223.8299 | 1189314.669 | 2770233.319 | 1189323.1799 | 2770243.4034 | 1189330.351 | 2770250.7843 | 1189339.0604
22 | 2770298.1747 | 1189314.2158 | 2770298.1747 | 1189314.2158 | 2770314.4277 | 1189303.9019
23 | 2770223.8299 | 1189314.669 | 2770231.5016 | 1189303.8994 | 2770233.7432 | 1189300.9152
24 | 2770237.8202 | 1189292.4018 | 2770235.4601 | 1189298.6293 | 2770233.7432 | 1189300.9152
25 | 2770237.8202 | 1189292.4018 | 2770245.999 | 1189285.2722 | 2770252.1128 | 1189280.7877
26 | 2770237.8202 | 1189292.4018 | 2770240.0917 | 1189286.6055 | 2770242.5926 | 1189278.1132 | 2770244.4263 | 1189270.5361 | 2770244.896 | 1189266.1009 | 2770246.0139 | 1189261.6842 | 2770248.3457 | 1189257.5244 | 2770247.9606 | 1189253.621 | 2770248.8881 | 1189250.5334 | 2770248.965 | 1189250.012
27 | 2770252.1128 | 1189280.7877 | 2770253.7786 | 1189279.5659 | 2770260.4506 | 1189273.083 | 2770267.5898 | 1189266.2797 | 2770274.2876 | 1189261.5769 | 2770282.9365 | 1189258.0418 | 2770291.4298 | 1189254.6135 | 2770296.0028 | 1189253.5368
28 | 2770248.965 | 1189250.012 | 2770249.7865 | 1189244.4423 | 2770250.9575 | 1189235.4784 | 2770251.8944 | 1189232.0574 | 2770252.7136 | 1189227.4098 | 2770253.5043 | 1189223.7622 | 2770254.5869 | 1189221.2778
29 | 2770254.5869 | 1189221.2778 | 2770257.6689 | 1189214.2052 | 2770260.3184 | 1189209.6096 | 2770263.4702 | 1189206.1405 | 2770265.9833 | 1189203.6541 | 2770269.8566 | 1189201.6513 | 2770273.1739 | 1189200.4111 | 2770276.7773 | 1189199.8464 | 2770282.3069 | 1189201.3272 | 2770285.6609 | 1189201.4783 | 2770289.6149 | 1189202.0023 | 2770298.8624 | 1189201.576 | 2770306.581 | 1189202.0404 | 2770316.7062 | 1189205.6473
30 | 2770275.5824 | 1188836.8781 | 2770281.6533 | 1188837.0509 | 2770285.0114 | 1188839.7489 | 2770289.7243 | 1188843.3862 | 2770296.4537 | 1188850.7288 | 2770303.9853 | 1188854.2907 | 2770341.9442 | 1188857.7735 | 2770361.6884 | 1188861.0716 | 2770367.4718 | 1188861.6922 | 2770386.4743 | 1188867.9831 | 2770396.8594 | 1188873.1945 | 2770401.7395 | 1188867.2057
31 | 2770327.5657 | 1188909.1786 | 2770328.8842 | 1188902.2764 | 2770316.0573 | 1188886.586 | 2770316.6641 | 1188883.5004 | 2770313.094 | 1188874.8465 | 2770288.6577 | 1188866.1101 | 2770280.4775 | 1188862.274 | 2770275.7409 | 1188852.497 | 2770275.5824 | 1188836.8781
32 | 2770275.5824 | 1188836.8781 | 2770354.3613 | 1188740.9525
33 | 2770327.5657 | 1188909.1786 | 2770347.646 | 1188922.918 | 2770357.4545 | 1188930.0916
34 | 2770327.5657 | 1188909.1786 | 2770309.8438 | 1188902.1458 | 2770293.5596 | 1188895.5544 | 2770283.242 | 1188891.9846
35 | 2770354.3613 | 1188740.9525 | 2770314.8803 | 1188594.979
36 | 2770243.5036 | 1188997.3312 | 2770245.1992 | 1188999.564 | 2770249.2536 | 1189005.685 | 2770250.2182 | 1189006.5174
37 | 2770192.7399 | 1189000.8741 | 2770225.44 | 1188979.6395 | 2770230.8246 | 1188981.1273 | 2770234.6859 | 1188985.7191 | 2770243.5036 | 1188997.3312
38 | 2770262.9419 | 1189022.6546 | 2770257.3292 | 1189012.6543 | 2770250.2182 | 1189006.5174
39 | 2770192.7399 | 1189000.8741 | 2770190.0391 | 1189011.2958 | 2770165.4012 | 1189028.4447 | 2770143.9881 | 1189043.8957
40 | 2770192.7399 | 1189000.8741 | 2770207.956 | 1188943.3202
41 | 2770386.6916 | 1188942.9028 | 2770376.4525 | 1188943.0227 | 2770363.1836 | 1188934.2816 | 2770357.4545 | 1188930.0916
42 | 2770207.956 | 1188943.3202 | 2770229.9353 | 1188920.6352 | 2770249.4933 | 1188895.0677 | 2770264.1965 | 1188889.3582 | 2770280.0752 | 1188890.8889 | 2770283.242 | 1188891.9846
43 | 2770338.2524 | 1188587.4307 | 2770338.2524 | 1188587.4307 | 2770322.5051 | 1188594.1223 | 2770314.8803 | 1188594.979
44 | 2770338.2524 | 1188587.4307 | 2770338.3211 | 1188578.0462 | 2770338.3211 | 1188578.0462
45 | 2770229.5505 | 1188536.5708 | 2770248.563 | 1188537.7234 | 2770273.1477 | 1188551.4906 | 2770315.9791 | 1188564.3426 | 2770338.3211 | 1188578.0462
46 | 2770229.5505 | 1188536.5708 | 2770145.9581 | 1188418.1641
47 | 2770145.9581 | 1188418.1641 | 2770026.6305 | 1188547.3828
48 | 2770026.6305 | 1188547.3828 | 2769991.6503 | 1188555.0524 | 2769991.6503 | 1188555.0524
49 | 2769943.748 | 1188881.9377 | 2769944.9592 | 1188895.9961 | 2769952.4992 | 1188904.6403 | 2769956.3924 | 1188909.7332 | 2769967.3244 | 1188920.6869 | 2769974.453 | 1188930.3759 | 2769978.0822 | 1188938.0415 | 2769981.4702 | 1188943.9876 | 2769985.7853 | 1188947.6579 | 2769992.2197 | 1188947.9297 | 2769999.9062 | 1188944.7005 | 2770011.9747 | 1188939.2937 | 2770024.9859 | 1188931.3336 | 2770036.8241 | 1188924.0964 | 2770045.2537 | 1188921.8448 | 2770049.2232 | 1188922.7037
50 | 2769943.748 | 1188881.9377 | 2769936.071 | 1188878.1163 | 2769924.6635 | 1188872.6098 | 2769921.8484 | 1188870.1387 | 2769917.7049 | 1188867.1406 | 2769912.8792 | 1188864.5124 | 2769908.3164 | 1188862.57 | 2769902.3893 | 1188861.6343 | 2769902.3039 | 1188861.6528
51 | 2770049.2232 | 1188922.7037 | 2770054.4255 | 1188923.8293
52 | 2769902.3039 | 1188861.6528 | 2769900.7929 | 1188861.9785
53 | 2770063.0643 | 1188964.7011 | 2770063.9913 | 1188955.7192 | 2770066.3907 | 1188949.1813 | 2770067.2154 | 1188944.0667 | 2770065.7156 | 1188939.0973 | 2770063.4518 | 1188934.1507 | 2770059.7789 | 1188928.2965 | 2770054.4255 | 1188923.8293 | 2770054.4255 | 1188923.8293
54 | 2770008.0051 | 1189106.1122 | 2770036.8493 | 1189088.1035 | 2770042.956 | 1189086.6752
55 | 2770125.8714 | 1189055.0307 | 2770084.3734 | 1189076.9874 | 2770042.956 | 1189086.6752
56 | 2770125.8714 | 1189055.0307 | 2770063.0643 | 1188964.7011
57 | 2770143.9881 | 1189043.8957 | 2770135.9372 | 1189049.7049 | 2770125.8714 | 1189055.0307
58 | 2770296.2969 | 1189045.9697 | 2770300.7057 | 1189047.2641 | 2770311.4574 | 1189051.1178 | 2770311.6491 | 1189051.2158
59 | 2770312.6714 | 1189051.7382 | 2770311.6491 | 1189051.2158
60 | 2770295.8597 | 1189045.8414 | 2770296.2969 | 1189045.9697
61 | 2770312.6714 | 1189051.7382 | 2770315.4448 | 1189053.1554
62 | 2770295.8597 | 1189045.8414 | 2770289.1698 | 1189043.8773 | 2770276.5861 | 1189036.813 | 2770264.7825 | 1189025.934 | 2770262.9419 | 1189022.6546
63 | 2770324.204 | 1189059.9923 | 2770319.0721 | 1189055.772 | 2770315.4448 | 1189053.1554 | 2770315.4448 | 1189053.1554
64 | 2770325.1765 | 1189060.792 | 2770324.204 | 1189059.9923
65 | 2769957.7897 | 1189216.5439 | 2769950.51 | 1189210.8432 | 2769946.0499 | 1189206.3859
66 | 2769957.7897 | 1189216.5439 | 2769964.3455 | 1189221.668 | 2769992.3211 | 1189236.3535 | 2770006.7614 | 1189239.8555 | 2770015.1861 | 1189239.4456
67 | 2770033.7074 | 1189236.7845 | 2770025.9531 | 1189238.9218 | 2770015.1861 | 1189239.4456
68 | 2770033.7074 | 1189236.7845 | 2770042.5309 | 1189234.355 | 2770066.449 | 1189224.2249 | 2770087.1133 | 1189210.1545 | 2770096.2684 | 1189202.5075
69 | 2770033.7074 | 1189236.7845 | 2770036.9656 | 1189241.3812 | 2770040.6317 | 1189242.0971
70 | 2770096.2684 | 1189202.5075 | 2770095.9729 | 1189196.5269 | 2770102.5443 | 1189188.7509 | 2770103.3207 | 1189187.5872
71 | 2770089.4743 | 1189223.4894 | 2770084.7341 | 1189224.5779 | 2770040.6317 | 1189242.0971
72 | 2770149.8695 | 1189165.8188 | 2770140.9776 | 1189169.0357 | 2770126.8902 | 1189167.6119 | 2770119.0785 | 1189168.8133 | 2770113.2351 | 1189172.7287 | 2770103.3207 | 1189187.5872
73 | 2770089.4743 | 1189223.4894 | 2770092.6708 | 1189226.2271 | 2770093.9595 | 1189231.3685
74 | 2770089.4743 | 1189223.4894 | 2770090.5774 | 1189220.6625 | 2770097.1371 | 1189213.2976 | 2770112.5364 | 1189204.5493 | 2770132.8712 | 1189202.0692 | 2770140.2846 | 1189203.7583
75 | 2770086.0922 | 1189253.4669 | 2770093.9595 | 1189231.3685 | 2770093.9595 | 1189231.3685
76 | 2770154.0469 | 1189207.8434 | 2770145.308 | 1189204.9029 | 2770140.2846 | 1189203.7583
77 | 2770086.0922 | 1189253.4669 | 2770084.3955 | 1189258.2326 | 2770083.017 | 1189263.4983 | 2770083.9169 | 1189267.8168 | 2770086.4509 | 1189272.3818 | 2770087.6661 | 1189273.5813
78 | 2770154.0469 | 1189207.8434 | 2770157.6916 | 1189209.0697 | 2770183.4013 | 1189220.4887 | 2770187.2015 | 1189220.7013
79 | 2770196.838 | 1189221.2405 | 2770187.2015 | 1189220.7013
80 | 2770196.838 | 1189221.2405 | 2770202.0026 | 1189221.5294 | 2770208.1408 | 1189220.9367 | 2770214.3586 | 1189217.8105 | 2770218.7495 | 1189212.9728
81 | 2770218.7495 | 1189212.9728 | 2770226.7374 | 1189204.1721 | 2770246.4069 | 1189185.6476 | 2770253.7825 | 1189181.2124
82 | 2770274.0721 | 1189176.092 | 2770264.5781 | 1189174.7208 | 2770253.7825 | 1189181.2124
83 | 2770274.0721 | 1189176.092 | 2770287.9939 | 1189184.6736 | 2770290.81 | 1189186.5292
84 | 2770328.7047 | 1189209.9214 | 2770323.3502 | 1189203.8969 | 2770318.8848 | 1189202.0348 | 2770309.5143 | 1189197.1305 | 2770299.761 | 1189191.4589 | 2770294.1149 | 1189188.707 | 2770290.81 | 1189186.5292
85 | 2770328.7047 | 1189209.9214 | 2770340.4941 | 1189221.6289
86 | 2770328.7047 | 1189209.9214 | 2770316.7062 | 1189205.6473
87 | 2770287.9648 | 1189161.0288 | 2770284.7898 | 1189154.5881 | 2770280.0567 | 1189147.914 | 2770275.6173 | 1189141.6487 | 2770271.5938 | 1189134.9837 | 2770266.5964 | 1189126.8674 | 2770260.9768 | 1189118.6223 | 2770254.9034 | 1189112.1103 | 2770249.308 | 1189107.0354 | 2770240.7741 | 1189100.3533 | 2770234.5416 | 1189095.6718 | 2770229.0132 | 1189091.7332 | 2770224.9071 | 1189088.2355
88 | 2770287.9648 | 1189161.0288 | 2770291.1922 | 1189162.6776
89 | 2770230.2778 | 1189068.748 | 2770227.4356 | 1189075.0174 | 2770225.6128 | 1189081.4048 | 2770224.3766 | 1189085.1509 | 2770224.9071 | 1189088.2355
90 | 2770291.1922 | 1189162.6776 | 2770303.0515 | 1189162.4703 | 2770310.2631 | 1189164.1213 | 2770321.201 | 1189167.3243 | 2770330.9556 | 1189171.0719 | 2770341.6116 | 1189173.9888 | 2770351.3903 | 1189177.1588 | 2770355.1073 | 1189180.3786
91 | 2770291.1922 | 1189162.6776 | 2770299.7019 | 1189166.2296
92 | 2770357.7258 | 1189234.7699 | 2770357.7258 | 1189234.7699 | 2770344.27 | 1189225.3784 | 2770340.4941 | 1189221.6289
93 | 2770230.2778 | 1189068.748 | 2770230.2778 | 1189068.748 | 2770234.5348 | 1189063.453 | 2770237.3739 | 1189059.4412 | 2770250.3714 | 1189064.3041 | 2770251.5503 | 1189064.6581
94 | 2770355.1073 | 1189180.3786 | 2770358.2878 | 1189183.1383 | 2770367.6558 | 1189190.8119 | 2770377.6689 | 1189199.6827 | 2770388.5825 | 1189207.2224 | 2770395.5844 | 1189211.371
95 | 2770355.1073 | 1189180.3786 | 2770354.4313 | 1189174.6318 | 2770347.6035 | 1189169.4217 | 2770336.7721 | 1189164.0864 | 2770334.6118 | 1189160.4934
96 | 2770299.7019 | 1189166.2296 | 2770303.0875 | 1189167.6427 | 2770315.7446 | 1189173.9974 | 2770323.2372 | 1189178.263
97 | 2770357.7258 | 1189234.7699 | 2770368.4346 | 1189236.3302
98 | 2770388.0403 | 1189237.2458 | 2770377.5506 | 1189236.8025 | 2770370.5334 | 1189236.636 | 2770368.4346 | 1189236.3302
99 | 2770388.0403 | 1189237.2458 | 2770391.3125 | 1189239.0418
100 | 2770388.0403 | 1189237.2458 | 2770383.2948 | 1189234.0178
101 | 2770323.2372 | 1189178.263 | 2770332.2158 | 1189183.3746 | 2770340.8682 | 1189192.7053
102 | 2770340.8682 | 1189192.7053 | 2770346.145 | 1189198.3958 | 2770351.3417 | 1189204.2455
103 | 2770351.3417 | 1189204.2455 | 2770354.3308 | 1189207.6102
104 | 2770331.9415 | 1189151.3487 | 2770331.9624 | 1189156.0867 | 2770334.6118 | 1189160.4934
105 | 2770368.9897 | 1189222.9313 | 2770365.4546 | 1189220.1318 | 2770354.3308 | 1189207.6102
106 | 2770309.1882 | 1189137.2765 | 2770311.3138 | 1189137.9382 | 2770320.9685 | 1189140.3706 | 2770329.5769 | 1189143.3627 | 2770331.9316 | 1189149.1238 | 2770331.9415 | 1189151.3487
107 | 2770368.9897 | 1189222.9313 | 2770381.1294 | 1189232.5448 | 2770383.2948 | 1189234.0178
108 | 2770297.5898 | 1189133.6662 | 2770309.1882 | 1189137.2765
109 | 2770304.7168 | 1189077.6951 | 2770296.241 | 1189076.2082 | 2770287.8625 | 1189074.7909 | 2770276.1627 | 1189071.266 | 2770259.4531 | 1189067.0314 | 2770251.5503 | 1189064.6581
110 | 2770313.1788 | 1189077.2394 | 2770317.2542 | 1189076.1947 | 2770330.0969 | 1189073.0905 | 2770334.3834 | 1189075.2696
111 | 2770313.1788 | 1189077.2394 | 2770311.7875 | 1189077.5961 | 2770309.8691 | 1189077.6229
112 | 2770344.0196 | 1189077.8909 | 2770339.3436 | 1189077.7912 | 2770334.3834 | 1189075.2696
113 | 2770304.7168 | 1189077.6951 | 2770304.7168 | 1189077.6951 | 2770309.8691 | 1189077.6229
114 | 2770344.0196 | 1189077.8909 | 2770342.7996 | 1189074.631 | 2770333.8094 | 1189067.8913 | 2770325.3032 | 1189060.8962
115 | 2770344.0196 | 1189077.8909 | 2770345.7514 | 1189079.7975 | 2770351.3437 | 1189081.2246 | 2770354.7942 | 1189083.1682
116 | 2770325.1765 | 1189060.792 | 2770325.3032 | 1189060.8962
117 | 2770356.9009 | 1189084.3548 | 2770354.7942 | 1189083.1682
118 | 2770356.9009 | 1189084.3548 | 2770359.0587 | 1189085.5703 | 2770364.657 | 1189089.1996 | 2770372.3847 | 1189093.3677 | 2770375.9777 | 1189095.3912
119 | 2770375.9777 | 1189095.3912 | 2770379.0405 | 1189097.1161 | 2770384.0101 | 1189099.7711 | 2770389.2023 | 1189103.9894 | 2770394.0797 | 1189109.3442 | 2770397.5589 | 1189119.5748 | 2770398.4108 | 1189125.5416
120 | 2770398.4108 | 1189125.5416 | 2770399.0224 | 1189129.8259 | 2770402.0476 | 1189138.2047
121 | 2770402.0476 | 1189138.2047 | 2770403.2459 | 1189141.5236 | 2770407.1457 | 1189147.0464
122 | 2770407.1457 | 1189147.0464 | 2770409.8416 | 1189150.8643 | 2770416.4812 | 1189158.6605 | 2770419.81 | 1189161.853
123 | 2770436.4233 | 1189176.3933 | 2770431.8236 | 1189173.3662 | 2770424.5721 | 1189166.4201 | 2770419.81 | 1189161.853

## bus_geodata
| x | y | coords
0 | 2769744.0944 | 1189638.3368
1 | 2769748.5175 | 1189650.5623
2 | 2769816.5692 | 1189664.4356
3 | 2769907.1212 | 1189549.3314
4 | 2769908.8944 | 1189548.8782
5 | 2769852.9676 | 1189199.7876
6 | 2769858.7626 | 1189185.8114
7 | 2769882.5551 | 1189694.1706
8 | 2769960.3768 | 1189542.0404
9 | 2769927.7885 | 1189694.1986
10 | 2770095.6048 | 1189281.4168
11 | 2770092.3063 | 1189278.1611
12 | 2769962.2717 | 1189542.3487
13 | 2770024.9561 | 1189606.0687
14 | 2770058.0109 | 1189589.4252
15 | 2770103.3812 | 1189532.6913
16 | 2770129.445 | 1189472.8427
17 | 2770272.4075 | 1189377.2412
18 | 2770283.0699 | 1189336.1806
19 | 2770250.7843 | 1189339.0604
20 | 2770133.2093 | 1189468.8408
21 | 2770298.1747 | 1189314.2158
22 | 2770223.8299 | 1189314.669
23 | 2770314.4277 | 1189303.9019
24 | 2770233.7432 | 1189300.9152
25 | 2770237.8202 | 1189292.4018
26 | 2770252.1128 | 1189280.7877
27 | 2770248.965 | 1189250.012
28 | 2770296.0028 | 1189253.5368
29 | 2770254.5869 | 1189221.2778
30 | 2770401.7395 | 1188867.2057
31 | 2770275.5824 | 1188836.8781
32 | 2770327.5657 | 1188909.1786
33 | 2770354.3613 | 1188740.9525
34 | 2770243.5036 | 1188997.3312
35 | 2770250.2182 | 1189006.5174
36 | 2770192.7399 | 1189000.8741
37 | 2770357.4545 | 1188930.0915
38 | 2770283.242 | 1188891.9846
39 | 2770314.8803 | 1188594.979
40 | 2770386.6916 | 1188942.9028
41 | 2770207.956 | 1188943.3202
42 | 2770338.2524 | 1188587.4307
43 | 2770338.3211 | 1188578.0462
44 | 2770229.5505 | 1188536.5708
45 | 2770145.9581 | 1188418.1641
46 | 2770026.6305 | 1188547.3828
47 | 2769943.748 | 1188881.9377
48 | 2770049.2232 | 1188922.7037
49 | 2769902.3039 | 1188861.6528
50 | 2770054.4255 | 1188923.8293
51 | 2769900.7929 | 1188861.9785
52 | 2770042.956 | 1189086.6752
53 | 2770008.0051 | 1189106.1122
54 | 2770125.8714 | 1189055.0307
55 | 2770063.0643 | 1188964.7011
56 | 2770143.9881 | 1189043.8957
57 | 2769991.6503 | 1188555.0524
58 | 2770311.6491 | 1189051.2158
59 | 2770296.2969 | 1189045.9697
60 | 2770312.6714 | 1189051.7382
61 | 2770262.9419 | 1189022.6546
62 | 2770315.4448 | 1189053.1554
63 | 2770324.204 | 1189059.9923
64 | 2770295.8597 | 1189045.8414
65 | 2769946.0499 | 1189206.3859
66 | 2769957.7897 | 1189216.5439
67 | 2770015.1861 | 1189239.4456
68 | 2770033.7074 | 1189236.7845
69 | 2770096.2684 | 1189202.5075
70 | 2770040.6317 | 1189242.0971
71 | 2770103.3207 | 1189187.5872
72 | 2770089.4743 | 1189223.4894
73 | 2770149.8695 | 1189165.8188
74 | 2770093.9595 | 1189231.3685
75 | 2770140.2846 | 1189203.7583
76 | 2770086.0922 | 1189253.4669
77 | 2770154.0469 | 1189207.8434
78 | 2770087.6661 | 1189273.5813
79 | 2770187.2015 | 1189220.7013
80 | 2770196.838 | 1189221.2405
81 | 2770218.7495 | 1189212.9728
82 | 2770253.7825 | 1189181.2124
83 | 2770274.0721 | 1189176.092
84 | 2770290.81 | 1189186.5292
85 | 2770328.7047 | 1189209.9214
86 | 2770287.9648 | 1189161.0288
87 | 2770224.9071 | 1189088.2355
88 | 2770291.1922 | 1189162.6776
89 | 2770340.4941 | 1189221.6289
90 | 2770316.7062 | 1189205.6473
91 | 2770230.2778 | 1189068.748
92 | 2770355.1073 | 1189180.3786
93 | 2770299.7019 | 1189166.2296
94 | 2770357.7258 | 1189234.7699
95 | 2770368.4346 | 1189236.3302
96 | 2770388.0403 | 1189237.2458
97 | 2770323.2372 | 1189178.263
98 | 2770340.8682 | 1189192.7053
99 | 2770351.3417 | 1189204.2455
100 | 2770395.5844 | 1189211.371
101 | 2770334.6118 | 1189160.4934
102 | 2770354.3308 | 1189207.6102
103 | 2770331.9415 | 1189151.3487
104 | 2770368.9897 | 1189222.9313
105 | 2770309.1882 | 1189137.2765
106 | 2770251.5503 | 1189064.6581
107 | 2770383.2948 | 1189234.0178
108 | 2770297.5898 | 1189133.6662
109 | 2770313.1788 | 1189077.2394
110 | 2770334.3834 | 1189075.2696
111 | 2770309.8691 | 1189077.6229
112 | 2770344.0196 | 1189077.8909
113 | 2770304.7168 | 1189077.6951
114 | 2770325.3032 | 1189060.8962
115 | 2770354.7942 | 1189083.1682
116 | 2770325.1765 | 1189060.792
117 | 2770356.9009 | 1189084.3548
118 | 2770375.9777 | 1189095.3912
119 | 2770398.4108 | 1189125.5416
120 | 2770402.0476 | 1189138.2047
121 | 2770407.1457 | 1189147.0464
122 | 2770419.81 | 1189161.853
123 | 2770436.4233 | 1189176.3933
124 | 2770391.3125 | 1189239.0418
125 | 2770355.1073 | 1189180.3786

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1