## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3921-59_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3921-59_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3921-59_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3921-59_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3921-59_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3921-59_0_2_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3921-59_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3921-59_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3921-59_0_2_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_3921-59_0_2_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_3921-59_0_2_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_3921-59_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3921-59_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3921-59_0_2_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_3921-59_0_2_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_3921-59_0_2_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_3921-59_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3921-59_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3921-59_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3921-59_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3921-59_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3921-59_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3921-59_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3921-59_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3921-59_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3921-59_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_3921-59_0_2_node_98 | 0.4 | n |  | TRUE
27 | bus_LV_3921-59_0_2_node_102 | 0.4 | n |  | TRUE
28 | bus_LV_3921-59_0_2_node_99 | 0.4 | n |  | TRUE
29 | bus_LV_3921-59_0_2_node_103 | 0.4 | n |  | TRUE
30 | bus_LV_3921-59_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3921-59_0_2_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_3921-59_0_2_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_3921-59_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3921-59_0_2_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_3921-59_0_2_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_3921-59_0_2_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_3921-59_0_2_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_3921-59_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_3921-59_0_2_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3921-59_0_2_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_3921-59_0_2_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_3921-59_0_2_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_3921-59_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_3921-59_0_2_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_3921-59_0_2_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_3921-59_0_2_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_3921-59_0_2_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3921-59_0_2_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3921-59_0_2_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_3921-59_0_2_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_3921-59_0_2_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3921-59_0_2_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_3921-59_0_2_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_3921-59_0_2_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_3921-59_0_2_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_3921-59_0_2_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_3921-59_0_2_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_3921-59_0_2_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_3921-59_0_2_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_3921-59_0_2_node_88 | 0.4 | n |  | TRUE
61 | bus_LV_3921-59_0_2_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_3921-59_0_2_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_3921-59_0_2_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_3921-59_0_2_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_3921-59_0_2_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_3921-59_0_2_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_3921-59_0_2_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_3921-59_0_2_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_3921-59_0_2_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_3921-59_0_2_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_3921-59_0_2_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_3921-59_0_2_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_3921-59_0_2_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_3921-59_0_2_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_3921-59_0_2_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_3921-59_0_2_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_3921-59_0_2_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_3921-59_0_2_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_3921-59_0_2_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_3921-59_0_2_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_3921-59_0_2_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_3921-59_0_2_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_3921-59_0_2_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_3921-59_0_2_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_3921-59_0_2_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_3921-59_0_2_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_3921-59_0_2_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_3921-59_0_2_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_3921-59_0_2_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_3921-59_0_2_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_3921-59_0_2_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_3921-59_0_2_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_3921-59_0_2_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_3921-59_0_2_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_3921-59_0_2_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_3921-59_0_2_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_3921-59_0_2_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_3921-59_0_2_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_3921-59_0_2_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_3921-59_0_2_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_3921-59_0_2_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_3921-59_0_2_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_3921-59_0_2_node_108 | 0.4 | n |  | TRUE
104 | bus_LV_3921-59_0_2_node_107 | 0.4 | n |  | TRUE
105 | bus_LV_3921-59_0_2_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_3921-59_0_2_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_3921-59_0_2_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_3921-59_0_2_node_118 | 0.4 | n |  | TRUE
109 | bus_LV_3921-59_0_2_node_115 | 0.4 | n |  | TRUE
110 | bus_LV_3921-59_0_2_node_109 | 0.4 | n |  | TRUE
111 | bus_LV_3921-59_0_2_node_110 | 0.4 | n |  | TRUE
112 | bus_LV_3921-59_0_2_node_111 | 0.4 | n |  | TRUE
113 | bus_LV_3921-59_0_2_node_126 | 0.4 | n |  | TRUE
114 | bus_LV_3921-59_0_2_node_127 | 0.4 | n |  | TRUE
115 | bus_LV_3921-59_0_2_node_112 | 0.4 | n |  | TRUE
116 | bus_LV_3921-59_0_2_node_113 | 0.4 | n |  | TRUE
117 | bus_LV_3921-59_0_2_node_114 | 0.4 | n |  | TRUE
118 | bus_LV_3921-59_0_2_node_116 | 0.4 | n |  | TRUE
119 | bus_LV_3921-59_0_2_node_117 | 0.4 | n |  | TRUE
120 | bus_LV_3921-59_0_2_node_119 | 0.4 | n |  | TRUE
121 | bus_LV_3921-59_0_2_node_120 | 0.4 | n |  | TRUE
122 | bus_LV_3921-59_0_2_node_121 | 0.4 | n |  | TRUE
123 | bus_LV_3921-59_0_2_node_122 | 0.4 | n |  | TRUE
124 | bus_LV_3921-59_0_2_node_123 | 0.4 | n |  | TRUE
125 | bus_LV_3921-59_0_2_node_124 | 0.4 | n |  | TRUE
126 | bus_LV_3921-59_0_2_node_125 | 0.4 | n |  | TRUE
127 | bus_LV_3921-59_0_2_node_128 | 0.4 | n |  | TRUE
128 | bus_LV_3921-59_0_2_node_129 | 0.4 | n |  | TRUE
129 | bus_MV_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3921-59_0_2_load_0 | 0 | 0.00018421 | 4.6168e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3921-59_0_2_load_1 | 1 | 0.00048272 | 0.00012098 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3921-59_0_2_load_4 | 4 | 0.00016998 | 4.2601e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3921-59_0_2_load_7 | 5 | 0.00034721 | 8.7019e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3921-59_0_2_load_9 | 7 | 0.00015134 | 3.793e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3921-59_0_2_load_21 | 8 | 0.00014042 | 3.5193e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3921-59_0_2_load_26 | 10 | 0.00043838 | 0.00010987 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3921-59_0_2_load_5 | 11 | 0.00022613 | 5.6674e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3921-59_0_2_load_6 | 12 | 0.00019475 | 4.881e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3921-59_0_2_load_22 | 13 | 0.00013581 | 3.4038e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3921-59_0_2_load_27 | 14 | 0.00014535 | 3.6429e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3921-59_0_2_load_23 | 15 | 0.00019752 | 4.9502e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3921-59_0_2_load_17 | 16 | 0.00016483 | 4.1312e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3921-59_0_2_load_10 | 18 | 0.00036224 | 9.0785e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3921-59_0_2_load_11 | 19 | 0.00017759 | 4.4509e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3921-59_0_2_load_15 | 21 | 0.00045474 | 0.00011397 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3921-59_0_2_load_18 | 22 | 0.00026491 | 6.6393e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3921-59_0_2_load_16 | 23 | 0.00023664 | 5.9308e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3921-59_0_2_load_19 | 24 | 0.00038122 | 9.5542e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3921-59_0_2_load_20 | 25 | 0.00018869 | 4.729e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3921-59_0_2_load_98 | 26 | 0.00033277 | 8.34e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3921-59_0_2_load_102 | 27 | 0.00012737 | 3.1923e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3921-59_0_2_load_103 | 29 | 0.00015684 | 3.9309e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3921-59_0_2_load_24 | 30 | 0.00018305 | 4.5876e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3921-59_0_2_load_38 | 31 | 0.00075122 | 0.00018827 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3921-59_0_2_load_31 | 32 | 0.00025576 | 6.41e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3921-59_0_2_load_25 | 33 | 0.00014167 | 3.5506e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3921-59_0_2_load_40 | 35 | 0.00013548 | 3.3955e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3921-59_0_2_load_28 | 38 | 0.00016493 | 4.1336e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3921-59_0_2_load_29 | 39 | 0.00019753 | 4.9505e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3921-59_0_2_load_32 | 41 | 0.00013949 | 3.4959e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3921-59_0_2_load_34 | 42 | 0.00029467 | 7.3851e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3921-59_0_2_load_36 | 45 | 0.00015953 | 3.9981e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3921-59_0_2_load_37 | 46 | 0.00016912 | 4.2386e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3921-59_0_2_load_41 | 47 | 0.00025292 | 6.3388e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3921-59_0_2_load_42 | 48 | 0.00012242 | 3.0683e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3921-59_0_2_load_44 | 49 | 0.00086062 | 0.00021569 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3921-59_0_2_load_50 | 50 | 0.00015403 | 3.8603e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3921-59_0_2_load_48 | 51 | 0.00022632 | 5.6721e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3921-59_0_2_load_49 | 52 | 0.00025756 | 6.4551e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3921-59_0_2_load_43 | 53 | 0.00012954 | 3.2465e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3921-59_0_2_load_46 | 55 | 0.0002044 | 5.1229e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3921-59_0_2_load_51 | 56 | 0.00017837 | 4.4704e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3921-59_0_2_load_47 | 57 | 0.00021366 | 5.3549e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3921-59_0_2_load_83 | 58 | 0.00028415 | 7.1215e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3921-59_0_2_load_88 | 60 | 0.00018089 | 4.5335e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3921-59_0_2_load_59 | 61 | 0.00023444 | 5.8757e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3921-59_0_2_load_58 | 63 | 0.00018612 | 4.6646e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3921-59_0_2_load_77 | 64 | 0.00018426 | 4.618e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3921-59_0_2_load_52 | 65 | 0.00014453 | 3.6222e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3921-59_0_2_load_81 | 67 | 0.0001306 | 3.2731e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3921-59_0_2_load_85 | 68 | 0.00012727 | 3.1897e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3921-59_0_2_load_86 | 69 | 0.00024364 | 6.1061e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3921-59_0_2_load_89 | 70 | 0.00024164 | 6.056e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3921-59_0_2_load_90 | 71 | 0.00030039 | 7.5286e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3921-59_0_2_load_56 | 72 | 0.00020851 | 5.2258e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3921-59_0_2_load_57 | 73 | 0.00012792 | 3.206e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3921-59_0_2_load_64 | 74 | 0.00013983 | 3.5044e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3921-59_0_2_load_60 | 75 | 0.00014414 | 3.6124e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3921-59_0_2_load_78 | 76 | 0.00040698 | 0.000102 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3921-59_0_2_load_61 | 77 | 0.00013751 | 3.4464e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3921-59_0_2_load_62 | 78 | 0.00018231 | 4.5692e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3921-59_0_2_load_63 | 79 | 0.00014678 | 3.6785e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3921-59_0_2_load_65 | 80 | 0.00022831 | 5.722e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3921-59_0_2_load_66 | 81 | 0.00023124 | 5.7954e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3921-59_0_2_load_67 | 82 | 0.00017688 | 4.4332e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3921-59_0_2_load_69 | 84 | 0.0002157 | 5.4061e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3921-59_0_2_load_70 | 85 | 0.00018052 | 4.5244e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3921-59_0_2_load_71 | 86 | 0.00014101 | 3.5341e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3921-59_0_2_load_73 | 88 | 0.00015351 | 3.8474e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3921-59_0_2_load_74 | 89 | 0.00018983 | 4.7576e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3921-59_0_2_load_75 | 90 | 0.00030373 | 7.6123e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3921-59_0_2_load_79 | 91 | 0.0001724 | 4.3208e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3921-59_0_2_load_80 | 92 | 0.00023988 | 6.0119e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3921-59_0_2_load_95 | 94 | 0.00015119 | 3.7891e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3921-59_0_2_load_96 | 95 | 0.00012839 | 3.2177e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3921-59_0_2_load_91 | 96 | 0.00025185 | 6.3121e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3921-59_0_2_load_92 | 97 | 0.00016019 | 4.0148e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3921-59_0_2_load_93 | 98 | 0.00029888 | 7.4905e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3921-59_0_2_load_94 | 99 | 0.00018192 | 4.5592e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3921-59_0_2_load_97 | 100 | 0.00012534 | 3.1414e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3921-59_0_2_load_101 | 102 | 0.00020116 | 5.0414e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3921-59_0_2_load_108 | 103 | 0.00056283 | 0.00014106 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3921-59_0_2_load_107 | 104 | 0.00043868 | 0.00010994 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3921-59_0_2_load_104 | 105 | 0.00022398 | 5.6134e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3921-59_0_2_load_105 | 106 | 0.00015981 | 4.0052e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3921-59_0_2_load_106 | 107 | 0.00023895 | 5.9887e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3921-59_0_2_load_118 | 108 | 0.00018047 | 4.5231e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3921-59_0_2_load_115 | 109 | 0.00023136 | 5.7985e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3921-59_0_2_load_109 | 110 | 0.00095143 | 0.00023845 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3921-59_0_2_load_110 | 111 | 0.00060124 | 0.00015068 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3921-59_0_2_load_111 | 112 | 0.00045097 | 0.00011302 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3921-59_0_2_load_126 | 113 | 0.00059197 | 0.00014836 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3921-59_0_2_load_127 | 114 | 0.00054332 | 0.00013617 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3921-59_0_2_load_112 | 115 | 0.00019367 | 4.8538e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3921-59_0_2_load_113 | 116 | 0.00056735 | 0.00014219 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3921-59_0_2_load_116 | 118 | 0.00056935 | 0.00014269 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3921-59_0_2_load_117 | 119 | 0.00060042 | 0.00015048 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3921-59_0_2_load_119 | 120 | 0.00071865 | 0.00018011 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3921-59_0_2_load_121 | 122 | 0.00068148 | 0.0001708 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3921-59_0_2_load_122 | 123 | 0.00053025 | 0.00013289 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3921-59_0_2_load_123 | 124 | 0.00095663 | 0.00023975 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3921-59_0_2_load_128 | 127 | 0.00061886 | 0.0001551 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3921-59_0_2_load_129 | 128 | 0.00063673 | 0.00015958 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3921-59_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3921-59_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3921-59_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.060026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3921-59_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3921-59_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.044419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3921-59_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.029443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3921-59_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.05201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3921-59_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3921-59_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.061425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3921-59_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.07898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3921-59_0_2_line_10 | NAYY 4x150 SE | 9 | 16 | 0.034875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3921-59_0_2_line_11 | NAYY 4x150 SE | 9 | 17 | 0.061187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3921-59_0_2_line_12 | NAYY 4x150 SE | 10 | 14 | 0.07758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3921-59_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.11559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3921-59_0_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.012696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3921-59_0_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.06407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3921-59_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.041802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3921-59_0_2_line_17 | NAYY 4x150 SE | 14 | 38 | 0.017622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3921-59_0_2_line_18 | NAYY 4x150 SE | 15 | 30 | 0.051819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3921-59_0_2_line_19 | NAYY 4x150 SE | 16 | 25 | 0.015323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3921-59_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.069078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3921-59_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.0020133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3921-59_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.012512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3921-59_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.058456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3921-59_0_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0026462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3921-59_0_2_line_25 | NAYY 4x150 SE | 22 | 26 | 0.0082234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3921-59_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.00021402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3921-59_0_2_line_27 | NAYY 4x150 SE | 24 | 27 | 0.010579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3921-59_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.02903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3921-59_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0036617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3921-59_0_2_line_30 | NAYY 4x150 SE | 28 | 101 | 0.022544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3921-59_0_2_line_31 | NAYY 4x150 SE | 29 | 105 | 0.0019155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3921-59_0_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.10152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3921-59_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0029492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3921-59_0_2_line_34 | NAYY 4x150 SE | 32 | 42 | 0.16539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3921-59_0_2_line_35 | NAYY 4x150 SE | 32 | 40 | 0.036365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3921-59_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0050207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3921-59_0_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.096471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3921-59_0_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.13854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3921-59_0_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.060902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3921-59_0_2_line_40 | NAYY 4x150 SE | 37 | 72 | 0.0036482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3921-59_0_2_line_41 | NAYY 4x150 SE | 37 | 73 | 0.090399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3921-59_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0061224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3921-59_0_2_line_43 | NAYY 4x150 SE | 39 | 40 | 0.0031412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3921-59_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.0057166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3921-59_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.11843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3921-59_0_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.049512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3921-59_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.1181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3921-59_0_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.024084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3921-59_0_2_line_49 | NAYY 4x150 SE | 45 | 49 | 0.063952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3921-59_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.00095982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3921-59_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.043004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3921-59_0_2_line_52 | NAYY 4x150 SE | 48 | 53 | 0.023944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3921-59_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.025262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3921-59_0_2_line_54 | NAYY 4x150 SE | 50 | 56 | 0.17969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3921-59_0_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.011013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3921-59_0_2_line_56 | NAYY 4x150 SE | 52 | 60 | 0.097716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3921-59_0_2_line_57 | NAYY 4x150 SE | 53 | 54 | 0.15705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3921-59_0_2_line_58 | NAYY 4x150 SE | 54 | 55 | 0.04151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3921-59_0_2_line_59 | NAYY 4x150 SE | 55 | 57 | 0.018838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3921-59_0_2_line_60 | NAYY 4x150 SE | 56 | 65 | 0.0054315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3921-59_0_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.046034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3921-59_0_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.036006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3921-59_0_2_line_63 | NAYY 4x150 SE | 59 | 68 | 0.085361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3921-59_0_2_line_64 | NAYY 4x150 SE | 59 | 69 | 0.033944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3921-59_0_2_line_65 | NAYY 4x150 SE | 60 | 70 | 0.026641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3921-59_0_2_line_66 | NAYY 4x150 SE | 60 | 71 | 0.019271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3921-59_0_2_line_67 | NAYY 4x150 SE | 61 | 62 | 0.018486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3921-59_0_2_line_68 | NAYY 4x150 SE | 61 | 63 | 0.017442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3921-59_0_2_line_69 | NAYY 4x150 SE | 62 | 64 | 0.036587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3921-59_0_2_line_70 | NAYY 4x150 SE | 64 | 76 | 0.033516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3921-59_0_2_line_71 | NAYY 4x150 SE | 65 | 66 | 0.081052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3921-59_0_2_line_72 | NAYY 4x150 SE | 66 | 67 | 0.17005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3921-59_0_2_line_73 | NAYY 4x150 SE | 68 | 93 | 0.031456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3921-59_0_2_line_74 | NAYY 4x150 SE | 70 | 96 | 0.0024418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3921-59_0_2_line_75 | NAYY 4x150 SE | 71 | 92 | 0.010724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3921-59_0_2_line_76 | NAYY 4x150 SE | 72 | 74 | 0.050002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3921-59_0_2_line_77 | NAYY 4x150 SE | 73 | 75 | 0.018849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3921-59_0_2_line_78 | NAYY 4x150 SE | 74 | 76 | 0.15252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3921-59_0_2_line_79 | NAYY 4x150 SE | 75 | 77 | 0.072666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3921-59_0_2_line_80 | NAYY 4x150 SE | 77 | 78 | 0.017106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3921-59_0_2_line_81 | NAYY 4x150 SE | 78 | 79 | 0.0096752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3921-59_0_2_line_82 | NAYY 4x150 SE | 79 | 80 | 0.015717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3921-59_0_2_line_83 | NAYY 4x150 SE | 80 | 81 | 0.01687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3921-59_0_2_line_84 | NAYY 4x150 SE | 81 | 82 | 0.038326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3921-59_0_2_line_85 | NAYY 4x150 SE | 82 | 83 | 0.01501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3921-59_0_2_line_86 | NAYY 4x150 SE | 83 | 84 | 0.01624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3921-59_0_2_line_87 | NAYY 4x150 SE | 83 | 85 | 0.02606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3921-59_0_2_line_88 | NAYY 4x150 SE | 84 | 86 | 0.13956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3921-59_0_2_line_89 | NAYY 4x150 SE | 85 | 87 | 0.10479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3921-59_0_2_line_90 | NAYY 4x150 SE | 87 | 88 | 0.019525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3921-59_0_2_line_91 | NAYY 4x150 SE | 87 | 89 | 0.062452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3921-59_0_2_line_92 | NAYY 4x150 SE | 88 | 90 | 0.013371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3921-59_0_2_line_93 | NAYY 4x150 SE | 91 | 92 | 0.00059124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3921-59_0_2_line_94 | NAYY 4x150 SE | 93 | 94 | 0.17039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3921-59_0_2_line_95 | NAYY 4x150 SE | 94 | 95 | 0.01962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3921-59_0_2_line_96 | NAYY 4x150 SE | 95 | 100 | 0.0061038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3921-59_0_2_line_97 | NAYY 4x150 SE | 96 | 97 | 0.072076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3921-59_0_2_line_98 | NAYY 4x150 SE | 97 | 98 | 0.029813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3921-59_0_2_line_99 | NAYY 4x150 SE | 98 | 99 | 0.0056675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3921-59_0_2_line_100 | NAYY 4x150 SE | 99 | 100 | 0.0047347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3921-59_0_2_line_101 | NAYY 4x150 SE | 101 | 102 | 0.017479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3921-59_0_2_line_102 | NAYY 4x150 SE | 102 | 103 | 0.004547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3921-59_0_2_line_103 | NAYY 4x150 SE | 103 | 104 | 0.002943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3921-59_0_2_line_104 | NAYY 4x150 SE | 104 | 110 | 0.010347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3921-59_0_2_line_105 | NAYY 4x150 SE | 105 | 106 | 0.0092989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3921-59_0_2_line_106 | NAYY 4x150 SE | 106 | 107 | 0.016045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3921-59_0_2_line_107 | NAYY 4x150 SE | 107 | 108 | 0.0015902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3921-59_0_2_line_108 | NAYY 4x150 SE | 108 | 109 | 0.00017944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3921-59_0_2_line_109 | NAYY 4x150 SE | 109 | 116 | 0.007342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3921-59_0_2_line_110 | NAYY 4x150 SE | 110 | 111 | 0.0028857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3921-59_0_2_line_111 | NAYY 4x150 SE | 111 | 112 | 0.0054291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3921-59_0_2_line_112 | NAYY 4x150 SE | 112 | 113 | 0.0029114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3921-59_0_2_line_113 | NAYY 4x150 SE | 113 | 114 | 0.001136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3921-59_0_2_line_114 | NAYY 4x150 SE | 114 | 125 | 0.0072778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3921-59_0_2_line_115 | NAYY 4x150 SE | 115 | 116 | 0.00071296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3921-59_0_2_line_116 | NAYY 4x150 SE | 115 | 117 | 0.0082866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3921-59_0_2_line_117 | NAYY 4x150 SE | 117 | 118 | 0.012142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3921-59_0_2_line_118 | NAYY 4x150 SE | 117 | 119 | 0.013375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3921-59_0_2_line_119 | NAYY 4x150 SE | 118 | 120 | 0.018615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3921-59_0_2_line_120 | NAYY 4x150 SE | 119 | 121 | 0.014127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3921-59_0_2_line_121 | NAYY 4x150 SE | 120 | 122 | 0.013197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3921-59_0_2_line_122 | NAYY 4x150 SE | 121 | 123 | 0.013748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3921-59_0_2_line_123 | NAYY 4x150 SE | 121 | 124 | 0.017219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3921-59_0_2_line_124 | NAYY 4x150 SE | 123 | 125 | 0.013122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3921-59_0_2_line_125 | NAYY 4x150 SE | 124 | 126 | 0.017982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3921-59_0_2_line_126 | NAYY 4x150 SE | 125 | 127 | 0.0070646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3921-59_0_2_line_127 | NAYY 4x150 SE | 126 | 128 | 0.0077133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3921-59_0_2_trafo_6 | 0.25 MVA 20/0.4 kV | 129 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2776001.8922 | 1190699.7035 | 2776003.5738 | 1190689.9241 | 2776002.3322 | 1190677.9206 | 2776000.203 | 1190672.9978 | 2775994.8201 | 1190665.5769
1 | 2775999.2468 | 1190715.0875 | 2776001.8922 | 1190699.7035
2 | 2775999.2468 | 1190715.0875 | 2775999.8682 | 1190719.6434 | 2776003.1037 | 1190724.8323 | 2776022.3526 | 1190743.3826 | 2776037.0462 | 1190760.6199
3 | 2775999.2468 | 1190715.0875 | 2775992.3285 | 1190711.8699 | 2775971.3209 | 1190705.6242 | 2775938.9615 | 1190707.3081 | 2775923.9117 | 1190706.5762 | 2775900.8183 | 1190703.5281 | 2775895.9821 | 1190701.9811
4 | 2776037.0462 | 1190760.6199 | 2776032.5563 | 1190760.9771 | 2776026.0744 | 1190758.7511 | 2776020.1727 | 1190754.1843 | 2776014.6359 | 1190750.9629 | 2776008.0564 | 1190748.4226 | 2775998.2919 | 1190746.5004 | 2775996.3836 | 1190745.2208
5 | 2776050.0995 | 1190786.9177 | 2776044.0797 | 1190772.1043 | 2776037.0462 | 1190760.6199
6 | 2775848.4989 | 1190681.1456 | 2775853.7802 | 1190684.5949 | 2775883.6648 | 1190698.0411 | 2775895.9821 | 1190701.9811
7 | 2776050.0995 | 1190786.9177 | 2776059.9399 | 1190795.8489 | 2776068.0142 | 1190798.1552 | 2776089.7927 | 1190777.6874 | 2776094.0897 | 1190763.9229 | 2776094.4251 | 1190737.2407
8 | 2776050.0995 | 1190786.9177 | 2776054.7072 | 1190798.8868 | 2776065.8521 | 1190813.0169 | 2776070.9726 | 1190823.1215 | 2776074.4428 | 1190842.1083
9 | 2775848.4989 | 1190681.1456 | 2775834.2907 | 1190671.8659 | 2775814.5234 | 1190643.9255 | 2775796.9733 | 1190639.4614 | 2775788.6797 | 1190634.4798
10 | 2776074.4428 | 1190842.1083 | 2776067.8897 | 1190827.0123 | 2776063.1717 | 1190821.3793 | 2776052.7689 | 1190817.5931
11 | 2776074.4428 | 1190842.1083 | 2776076.7333 | 1190859.6924 | 2776077.8944 | 1190864.5757 | 2776080.8109 | 1190869.9666 | 2776084.4738 | 1190872.5546 | 2776091.4778 | 1190873.6283 | 2776112.0209 | 1190870.2293
12 | 2775728.9684 | 1190586.8485 | 2775741.0717 | 1190593.0983 | 2775758.878 | 1190606.7674 | 2775772.1266 | 1190614.0077 | 2775780.7087 | 1190622.9348 | 2775788.6797 | 1190634.4798 | 2775788.6797 | 1190634.4798
13 | 2775788.6797 | 1190634.4798 | 2775876.386 | 1190559.1825
14 | 2775871.4279 | 1190547.4944 | 2775876.386 | 1190559.1825
15 | 2775867.1675 | 1190484.5301 | 2775866.0509 | 1190496.1763 | 2775865.219 | 1190524.4676 | 2775866.8367 | 1190536.6712 | 2775871.4279 | 1190547.4944
16 | 2775867.1675 | 1190484.5301 | 2775868.5604 | 1190470.0029 | 2775868.2893 | 1190442.796
17 | 2775728.9684 | 1190586.8485 | 2775713.3107 | 1190578.7634
18 | 2775865.7468 | 1190392.062 | 2775866.8375 | 1190392.8568 | 2775868.9207 | 1190396.7551 | 2775868.1703 | 1190430.8432 | 2775868.2893 | 1190442.796
19 | 2776038.3699 | 1190812.3525 | 2776052.7689 | 1190817.5931
20 | 2776112.0209 | 1190870.2293 | 2776130.6063 | 1190865.1602 | 2776140.4865 | 1190859.7791 | 2776161.9209 | 1190837.5219 | 2776169.4416 | 1190836.0499
21 | 2776169.4416 | 1190836.0499 | 2776171.4173 | 1190835.6632
22 | 2776183.6548 | 1190837.2279 | 2776174.0707 | 1190835.1439 | 2776171.4173 | 1190835.6632
23 | 2776183.6548 | 1190837.2279 | 2776191.8077 | 1190842.5618 | 2776240.3815 | 1190846.2448
24 | 2776243.0201 | 1190846.4449 | 2776240.3815 | 1190846.2448
25 | 2776243.0201 | 1190846.4449 | 2776245.5464 | 1190846.6364 | 2776250.8337 | 1190848.7385
26 | 2776251.7618 | 1190806.3028 | 2776251.974 | 1190806.2754
27 | 2776251.974 | 1190806.2754 | 2776262.4652 | 1190804.9174
28 | 2776272.8848 | 1190867.1942 | 2776266.6251 | 1190860.8038 | 2776256.1107 | 1190854.555 | 2776250.8337 | 1190848.7385 | 2776250.8337 | 1190848.7385
29 | 2776266.086 | 1190804.4038 | 2776265.8968 | 1190804.4732 | 2776262.4652 | 1190804.9174
30 | 2776291.9732 | 1190869.4029 | 2776285.7215 | 1190873.6117 | 2776280.176 | 1190873.2814 | 2776272.8848 | 1190867.1942
31 | 2776266.086 | 1190804.4038 | 2776267.8846 | 1190803.7446
32 | 2775865.7468 | 1190392.062 | 2775862.3846 | 1190389.6118 | 2775845.0866 | 1190384.0763 | 2775839.6846 | 1190380.1472 | 2775837.2821 | 1190372.5694 | 2775838.6245 | 1190353.1237 | 2775839.9719 | 1190312.2245 | 2775839.5129 | 1190308.0982
33 | 2775732.3306 | 1190547.2427 | 2775729.9417 | 1190548.9722
34 | 2775729.9417 | 1190548.9722 | 2775632.9651 | 1190415.0005
35 | 2775705.0796 | 1190574.5132 | 2775713.0952 | 1190561.1691 | 2775729.9417 | 1190548.9722
36 | 2775838.9578 | 1190303.1083 | 2775839.5129 | 1190308.0982
37 | 2775838.9578 | 1190303.1083 | 2775837.2936 | 1190291.7041 | 2775833.714 | 1190286.0047 | 2775829.5009 | 1190281.0874 | 2775821.8086 | 1190277.7027 | 2775805.8031 | 1190275.6975 | 2775798.5791 | 1190270.6583 | 2775796.2338 | 1190264.5059 | 2775796.3055 | 1190257.1343 | 2775800.6217 | 1190243.2256 | 2775801.1339 | 1190236.7011 | 2775800.5159 | 1190233.4245
38 | 2775764.8153 | 1190099.5602 | 2775800.5159 | 1190233.4245
39 | 2775773.3828 | 1190040.1887 | 2775772.5311 | 1190047.6152 | 2775765.6156 | 1190067.1307 | 2775765.2537 | 1190074.7718 | 2775766.6918 | 1190091.541 | 2775764.8153 | 1190099.5602
40 | 2775773.3828 | 1190040.1887 | 2775772.8993 | 1190036.5727
41 | 2775773.3828 | 1190040.1887 | 2775776.3599 | 1190037.8294 | 2775777.5207 | 1190035.2055 | 2775780.1428 | 1190030.1221 | 2775782.9554 | 1190026.0897 | 2775787.971 | 1190023.7014 | 2775795.3364 | 1190025.2413 | 2775797.0962 | 1190022.4904 | 2775797.2151 | 1190017.6671 | 2775800.0048 | 1190009.2187 | 2775803.1418 | 1190006.3526 | 2775807.7113 | 1190005.6416 | 2775811.8373 | 1190006.5192 | 2775817.5964 | 1190011.8155 | 2775824.8099 | 1190010.4705 | 2775829.4264 | 1190006.6024 | 2775833.0988 | 1190002.1394 | 2775833.2558 | 1189999.1725
42 | 2775713.3107 | 1190578.7634 | 2775707.8707 | 1190575.9544
43 | 2775705.0796 | 1190574.5132 | 2775707.8707 | 1190575.9544
44 | 2775705.0796 | 1190574.5132 | 2775699.9979 | 1190571.8949
45 | 2775519.0518 | 1190433.3892 | 2775535.4204 | 1190428.7313 | 2775543.9923 | 1190426.3248 | 2775557.192 | 1190426.412 | 2775578.9438 | 1190431.5325 | 2775588.1586 | 1190431.4026 | 2775603.7665 | 1190426.1443 | 2775609.5795 | 1190423.3566 | 2775632.9651 | 1190415.0005
46 | 2775478.0487 | 1190407.6295 | 2775485.2977 | 1190408.6985 | 2775492.6899 | 1190411.1286 | 2775519.0518 | 1190433.3892
47 | 2775478.0487 | 1190407.6295 | 2775468.1013 | 1190407.2376 | 2775448.7839 | 1190417.9816 | 2775445.1276 | 1190417.752 | 2775441.4406 | 1190415.186 | 2775440.3078 | 1190409.8366 | 2775437.9778 | 1190399.5141 | 2775424.6568 | 1190376.7578 | 2775413.6195 | 1190364.8676 | 2775398.3497 | 1190355.7338 | 2775396.9237 | 1190355.9825
48 | 2775478.0487 | 1190407.6295 | 2775470.4361 | 1190395.2836 | 2775468.3553 | 1190385.9322
49 | 2775396.9237 | 1190355.9825 | 2775383.668 | 1190358.295 | 2775370.0982 | 1190383.3212 | 2775362.9642 | 1190400.4507 | 2775359.8547 | 1190401.9963
50 | 2775468.3553 | 1190385.9322 | 2775468.1468 | 1190384.9953
51 | 2775468.1468 | 1190384.9953 | 2775466.458 | 1190377.4056 | 2775455.3761 | 1190364.4352 | 2775442.541 | 1190351.5758
52 | 2775442.541 | 1190351.5758 | 2775428.7317 | 1190337.7402 | 2775425.1433 | 1190335.201
53 | 2775337.2336 | 1190413.2402 | 2775359.8547 | 1190401.9963
54 | 2775337.2336 | 1190413.2402 | 2775173.2468 | 1190486.7113
55 | 2775381.3065 | 1190056.4766 | 2775376.4378 | 1190047.8781 | 2775375.8158 | 1190046.9322
56 | 2775364.3595 | 1189952.5006 | 2775363.2628 | 1189966.4818 | 2775360.7915 | 1189988.0409 | 2775361.8196 | 1190008.6794 | 2775367.8166 | 1190034.7687 | 2775375.8158 | 1190046.9322
57 | 2775317.1308 | 1190227.5446 | 2775340.4699 | 1190241.2855 | 2775357.2546 | 1190255.2459 | 2775377.7667 | 1190274.8208 | 2775383.0181 | 1190284.1613 | 2775384.5748 | 1190293.7938 | 2775386.2377 | 1190297.724 | 2775387.6441 | 1190301.035 | 2775394.8588 | 1190306.1401 | 2775402.6878 | 1190318.4033 | 2775408.3951 | 1190322.8636 | 2775414.893 | 1190327.9477 | 2775425.1433 | 1190335.201
58 | 2775317.1308 | 1190227.5446 | 2775299.2713 | 1190222.1276 | 2775277.3793 | 1190215.5901
59 | 2775277.3793 | 1190215.5901 | 2775273.5035 | 1190214.4326 | 2775261.723 | 1190205.4848
60 | 2775167.8231 | 1190486.4206 | 2775173.2468 | 1190486.7113
61 | 2775261.723 | 1190205.4848 | 2775258.6846 | 1190203.1771 | 2775229.4307 | 1190188.6515 | 2775221.9093 | 1190182.7561
62 | 2775202.2646 | 1190155.2137 | 2775211.4753 | 1190162.0119 | 2775214.8233 | 1190177.202 | 2775221.9093 | 1190182.7561
63 | 2775202.2646 | 1190155.2137 | 2775196.6756 | 1190143.3167 | 2775195.7706 | 1190125.2286 | 2775195.5125 | 1190095.7376 | 2775192.9359 | 1190089.1227 | 2775194.8612 | 1190076.0222 | 2775192.0125 | 1190072.836
64 | 2775202.2646 | 1190155.2137 | 2775196.0756 | 1190156.7674 | 2775196.6431 | 1190168.9177 | 2775191.1669 | 1190183.31
65 | 2775364.3595 | 1189952.5006 | 2775359.6635 | 1189954.1424 | 2775351.1231 | 1189941.9141 | 2775344.3837 | 1189941.529
66 | 2775364.3595 | 1189952.5006 | 2775371.346 | 1189950.0474 | 2775377.2504 | 1189939.7547
67 | 2775552.728 | 1190022.3202 | 2775556.8133 | 1190028.2234 | 2775558.2655 | 1190039.4373
68 | 2775566.3242 | 1190053.4532 | 2775565.5094 | 1190050.2103 | 2775559.0469 | 1190045.4719 | 2775558.2655 | 1190039.4373
69 | 2775552.728 | 1190022.3202 | 2775553.0987 | 1190018.2717 | 2775549.9207 | 1190009.0142 | 2775550.735 | 1190003.6329 | 2775559.3864 | 1189988.6613
70 | 2775584.4539 | 1190007.2362 | 2775565.3269 | 1189987.5233 | 2775559.3864 | 1189988.6613
71 | 2775087.9742 | 1190494.3356 | 2775130.2749 | 1190484.4079 | 2775167.8231 | 1190486.4206
72 | 2775087.9742 | 1190494.3356 | 2775052.6179 | 1190327.9999
73 | 2775169.5449 | 1190052.626 | 2775174.2947 | 1190061.6512 | 2775183.3194 | 1190068.0324 | 2775189.8067 | 1190070.3689 | 2775192.0125 | 1190072.836
74 | 2775341.9459 | 1189941.3898 | 2775344.3837 | 1189941.529
75 | 2775377.2504 | 1189939.7547 | 2775378.8502 | 1189936.9659 | 2775384.6317 | 1189932.175
76 | 2775736.9637 | 1190009.042 | 2775737.0839 | 1190012.4524 | 2775742.8741 | 1190017.7274 | 2775758.2376 | 1190020.5699 | 2775766.8743 | 1190025.0722 | 2775772.3004 | 1190032.0937 | 2775772.8993 | 1190036.5727
77 | 2775828.8763 | 1189981.2015 | 2775830.7549 | 1189984.7763 | 2775833.5283 | 1189994.022 | 2775833.2558 | 1189999.1725
78 | 2775736.9637 | 1190009.042 | 2775584.4539 | 1190007.2362
79 | 2775828.8763 | 1189981.2015 | 2775826.8013 | 1189977.253 | 2775816.3515 | 1189963.2885 | 2775810.448 | 1189955.3743 | 2775804.3207 | 1189951.9578 | 2775800.6616 | 1189944.5433 | 2775800.1235 | 1189929.6133 | 2775798.9921 | 1189919.0062
80 | 2775798.9921 | 1189919.0062 | 2775798.855 | 1189917.7204 | 2775795.5556 | 1189907.4137 | 2775793.6953 | 1189902.7823
81 | 2775793.6953 | 1189902.7823 | 2775791.573 | 1189897.4985 | 2775789.4058 | 1189894.159
82 | 2775789.4058 | 1189894.159 | 2775787.7763 | 1189891.6481 | 2775786.6945 | 1189878.9706
83 | 2775786.6945 | 1189878.9706 | 2775785.2602 | 1189862.1615
84 | 2775785.2602 | 1189862.1615 | 2775783.4618 | 1189841.0846 | 2775782.7442 | 1189823.9473 | 2775782.7432 | 1189823.9268
85 | 2775779.5102 | 1189809.5943 | 2775782.3086 | 1189815.1373 | 2775782.7432 | 1189823.9268
86 | 2775779.5102 | 1189809.5943 | 2775784.9292 | 1189803.6144 | 2775787.6831 | 1189795.923
87 | 2775779.5102 | 1189809.5943 | 2775772.5464 | 1189802.9502 | 2775770.1149 | 1189798.6859 | 2775766.2439 | 1189787.8286
88 | 2775787.6831 | 1189795.923 | 2775788.1054 | 1189794.7437 | 2775789.6282 | 1189789.6724 | 2775791.1971 | 1189780.1762 | 2775786.1085 | 1189770.4954 | 2775776.4347 | 1189755.8197 | 2775770.1498 | 1189746.0704 | 2775767.1085 | 1189743.0782 | 2775764.6289 | 1189736.5548 | 2775761.0621 | 1189730.6668 | 2775760.2656 | 1189720.8897 | 2775756.7339 | 1189690.9465 | 2775755.3643 | 1189683.0099 | 2775750.1158 | 1189666.6993
89 | 2775688.7122 | 1189720.1335 | 2775702.4239 | 1189725.452 | 2775716.4933 | 1189737.2983 | 2775737.3519 | 1189764.0692 | 2775749.2889 | 1189772.116 | 2775759.6145 | 1189779.4149 | 2775766.2439 | 1189787.8286
90 | 2775688.7122 | 1189720.1335 | 2775677.5292 | 1189704.1285
91 | 2775688.7122 | 1189720.1335 | 2775717.3212 | 1189775.6471
92 | 2775677.5292 | 1189704.1285 | 2775669.8707 | 1189693.1676
93 | 2775384.6317 | 1189932.175 | 2775385.0869 | 1189931.7978
94 | 2775271.4821 | 1189916.0948 | 2775169.5449 | 1190052.626
95 | 2775271.4821 | 1189916.0948 | 2775274.4741 | 1189901.843 | 2775276.1905 | 1189897.0855
96 | 2775276.1905 | 1189897.0855 | 2775278.2619 | 1189891.3439
97 | 2775341.9459 | 1189941.3898 | 2775335.1304 | 1189941.0004 | 2775319.8869 | 1189944.9911 | 2775308.4176 | 1189941.5521 | 2775291.903 | 1189913.1305 | 2775291.9314 | 1189908.4831
98 | 2775291.9314 | 1189908.4831 | 2775291.9976 | 1189897.6631 | 2775291.9681 | 1189884.6055 | 2775286.0355 | 1189884.4316 | 2775286.0355 | 1189884.4316
99 | 2775281.8002 | 1189888.1977 | 2775286.0355 | 1189884.4316
100 | 2775281.8002 | 1189888.1977 | 2775278.2619 | 1189891.3439 | 2775278.2619 | 1189891.3439
101 | 2776291.9732 | 1190869.4029 | 2776299.126 | 1190861.0278 | 2776302.9183 | 1190855.7911
102 | 2776302.9183 | 1190855.7911 | 2776305.5852 | 1190852.1083
103 | 2776305.5852 | 1190852.1083 | 2776307.3113 | 1190849.7247 | 2776307.3113 | 1190849.7247
104 | 2776307.3113 | 1190849.7247 | 2776314.8946 | 1190845.6442 | 2776316.3728 | 1190844.734
105 | 2776267.8846 | 1190803.7446 | 2776269.885 | 1190803.0114 | 2776276.619 | 1190800.5541
106 | 2776292.0355 | 1190796.6131 | 2776283.7244 | 1190797.6805 | 2776278.4012 | 1190799.9037 | 2776276.619 | 1190800.5541
107 | 2776292.0355 | 1190796.6131 | 2776292.0355 | 1190796.6131 | 2776293.6077 | 1190796.8519
108 | 2776293.6077 | 1190796.8519 | 2776293.7851 | 1190796.8788
109 | 2776301.0439 | 1190797.981 | 2776293.7851 | 1190796.8788
110 | 2776318.83 | 1190843.221 | 2776316.3728 | 1190844.734
111 | 2776318.83 | 1190843.221 | 2776323.453 | 1190840.3743
112 | 2776323.453 | 1190840.3743 | 2776325.9321 | 1190838.8478
113 | 2776326.8995 | 1190838.2522 | 2776325.9321 | 1190838.8478
114 | 2776333.0966 | 1190834.4363 | 2776326.8995 | 1190838.2522
115 | 2776301.0439 | 1190797.981 | 2776301.7488 | 1190798.088
116 | 2776309.9415 | 1190799.3319 | 2776301.7488 | 1190798.088
117 | 2776309.9415 | 1190799.3319 | 2776317.7795 | 1190790.0585
118 | 2776309.9415 | 1190799.3319 | 2776320.3606 | 1190804.1545 | 2776322.2024 | 1190804.5967
119 | 2776333.2821 | 1190780.6587 | 2776321.8095 | 1190785.2903 | 2776317.7795 | 1190790.0585
120 | 2776335.9395 | 1190807.8947 | 2776322.2024 | 1190804.5967
121 | 2776333.2821 | 1190780.6587 | 2776336.1355 | 1190779.5068 | 2776346.2382 | 1190778.9226
122 | 2776335.9395 | 1190807.8947 | 2776335.6118 | 1190821.6385
123 | 2776335.9395 | 1190807.8947 | 2776351.2299 | 1190815.8139
124 | 2776333.0966 | 1190834.4363 | 2776335.5197 | 1190825.4991 | 2776335.6118 | 1190821.6385
125 | 2776366.7897 | 1190824.7751 | 2776360.6451 | 1190820.6902 | 2776351.2299 | 1190815.8139
126 | 2776333.0966 | 1190834.4363 | 2776339.8876 | 1190832.489
127 | 2776366.7897 | 1190824.7751 | 2776374.1765 | 1190826.9956

## bus_geodata
| x | y | coords
0 | 2776001.8922 | 1190699.7035
1 | 2775994.8201 | 1190665.5769
2 | 2775999.2468 | 1190715.0875
3 | 2776037.0462 | 1190760.6199
4 | 2775895.9821 | 1190701.9811
5 | 2775996.3836 | 1190745.2208
6 | 2776050.0995 | 1190786.9177
7 | 2775848.4989 | 1190681.1456
8 | 2776094.4251 | 1190737.2407
9 | 2776074.4428 | 1190842.1083
10 | 2775788.6797 | 1190634.4798
11 | 2775876.386 | 1190559.1825
12 | 2775871.4279 | 1190547.4944
13 | 2775867.1675 | 1190484.5301
14 | 2775728.9684 | 1190586.8485
15 | 2775868.2893 | 1190442.796
16 | 2776052.7689 | 1190817.5931
17 | 2776112.0209 | 1190870.2293
18 | 2776169.4416 | 1190836.0499
19 | 2776171.4173 | 1190835.6632
20 | 2776183.6548 | 1190837.2279
21 | 2776240.3815 | 1190846.2448
22 | 2776243.0201 | 1190846.4449
23 | 2776251.7618 | 1190806.3028
24 | 2776251.974 | 1190806.2754
25 | 2776038.3699 | 1190812.3525
26 | 2776250.8337 | 1190848.7385
27 | 2776262.4652 | 1190804.9174
28 | 2776272.8848 | 1190867.1942
29 | 2776266.086 | 1190804.4038
30 | 2775865.7468 | 1190392.062
31 | 2775732.3306 | 1190547.2427
32 | 2775729.9417 | 1190548.9722
33 | 2775839.5129 | 1190308.0982
34 | 2775838.9578 | 1190303.1083
35 | 2775800.5159 | 1190233.4245
36 | 2775764.8153 | 1190099.5602
37 | 2775773.3828 | 1190040.1887
38 | 2775713.3107 | 1190578.7634
39 | 2775707.8707 | 1190575.9544
40 | 2775705.0796 | 1190574.5132
41 | 2775699.9979 | 1190571.8949
42 | 2775632.9651 | 1190415.0005
43 | 2775519.0518 | 1190433.3892
44 | 2775478.0487 | 1190407.6295
45 | 2775396.9237 | 1190355.9825
46 | 2775468.3553 | 1190385.9322
47 | 2775468.1468 | 1190384.9953
48 | 2775442.541 | 1190351.5758
49 | 2775359.8547 | 1190401.9963
50 | 2775337.2336 | 1190413.2402
51 | 2775381.3065 | 1190056.4766
52 | 2775375.8158 | 1190046.9322
53 | 2775425.1433 | 1190335.201
54 | 2775317.1308 | 1190227.5446
55 | 2775277.3793 | 1190215.5901
56 | 2775173.2468 | 1190486.7113
57 | 2775261.723 | 1190205.4848
58 | 2775221.9093 | 1190182.7561
59 | 2775202.2646 | 1190155.2137
60 | 2775364.3595 | 1189952.5006
61 | 2775558.2655 | 1190039.4373
62 | 2775552.728 | 1190022.3202
63 | 2775566.3242 | 1190053.4532
64 | 2775559.3864 | 1189988.6613
65 | 2775167.8231 | 1190486.4206
66 | 2775087.9742 | 1190494.3356
67 | 2775052.6179 | 1190327.9999
68 | 2775192.0125 | 1190072.836
69 | 2775191.1669 | 1190183.31
70 | 2775344.3837 | 1189941.529
71 | 2775377.2504 | 1189939.7547
72 | 2775772.8993 | 1190036.5727
73 | 2775833.2558 | 1189999.1725
74 | 2775736.9637 | 1190009.042
75 | 2775828.8763 | 1189981.2015
76 | 2775584.4539 | 1190007.2362
77 | 2775798.9921 | 1189919.0062
78 | 2775793.6953 | 1189902.7823
79 | 2775789.4058 | 1189894.159
80 | 2775786.6945 | 1189878.9706
81 | 2775785.2602 | 1189862.1615
82 | 2775782.7432 | 1189823.9268
83 | 2775779.5102 | 1189809.5943
84 | 2775787.6831 | 1189795.923
85 | 2775766.2439 | 1189787.8286
86 | 2775750.1158 | 1189666.6993
87 | 2775688.7122 | 1189720.1335
88 | 2775677.5292 | 1189704.1285
89 | 2775717.3212 | 1189775.6471
90 | 2775669.8707 | 1189693.1676
91 | 2775385.0869 | 1189931.7978
92 | 2775384.6317 | 1189932.175
93 | 2775169.5449 | 1190052.626
94 | 2775271.4821 | 1189916.0948
95 | 2775276.1905 | 1189897.0855
96 | 2775341.9459 | 1189941.3898
97 | 2775291.9314 | 1189908.4831
98 | 2775286.0355 | 1189884.4316
99 | 2775281.8002 | 1189888.1977
100 | 2775278.2619 | 1189891.3439
101 | 2776291.9732 | 1190869.4029
102 | 2776302.9183 | 1190855.7911
103 | 2776305.5852 | 1190852.1083
104 | 2776307.3113 | 1190849.7247
105 | 2776267.8846 | 1190803.7446
106 | 2776276.619 | 1190800.5541
107 | 2776292.0355 | 1190796.6131
108 | 2776293.6077 | 1190796.8519
109 | 2776293.7851 | 1190796.8788
110 | 2776316.3728 | 1190844.734
111 | 2776318.83 | 1190843.221
112 | 2776323.453 | 1190840.3743
113 | 2776325.9321 | 1190838.8478
114 | 2776326.8995 | 1190838.2522
115 | 2776301.7488 | 1190798.088
116 | 2776301.0439 | 1190797.981
117 | 2776309.9415 | 1190799.3319
118 | 2776317.7795 | 1190790.0585
119 | 2776322.2024 | 1190804.5967
120 | 2776333.2821 | 1190780.6587
121 | 2776335.9395 | 1190807.8947
122 | 2776346.2382 | 1190778.9226
123 | 2776335.6118 | 1190821.6385
124 | 2776351.2299 | 1190815.8139
125 | 2776333.0966 | 1190834.4363
126 | 2776366.7897 | 1190824.7751
127 | 2776339.8876 | 1190832.489
128 | 2776374.1765 | 1190826.9956
129 | 2775871.4279 | 1190547.4944

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1