## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3921-5_1_1_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_3921-5_1_1_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_3921-5_1_1_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_3921-5_1_1_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_3921-5_1_1_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3921-5_1_1_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_3921-5_1_1_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_3921-5_1_1_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_3921-5_1_1_node_169 | 0.4 | n |  | TRUE
9 | bus_LV_3921-5_1_1_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3921-5_1_1_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_3921-5_1_1_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_3921-5_1_1_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_3921-5_1_1_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_3921-5_1_1_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_3921-5_1_1_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_3921-5_1_1_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_3921-5_1_1_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_3921-5_1_1_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_3921-5_1_1_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_3921-5_1_1_node_165 | 0.4 | n |  | TRUE
21 | bus_LV_3921-5_1_1_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_3921-5_1_1_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_3921-5_1_1_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_3921-5_1_1_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_3921-5_1_1_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_3921-5_1_1_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_3921-5_1_1_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_3921-5_1_1_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_3921-5_1_1_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_3921-5_1_1_node_164 | 0.4 | n |  | TRUE
31 | bus_LV_3921-5_1_1_node_172 | 0.4 | n |  | TRUE
32 | bus_LV_3921-5_1_1_node_171 | 0.4 | n |  | TRUE
33 | bus_LV_3921-5_1_1_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_3921-5_1_1_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_3921-5_1_1_node_159 | 0.4 | n |  | TRUE
36 | bus_LV_3921-5_1_1_node_94 | 0.4 | n |  | TRUE
37 | bus_LV_3921-5_1_1_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_3921-5_1_1_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_3921-5_1_1_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_3921-5_1_1_node_117 | 0.4 | n |  | TRUE
41 | bus_LV_3921-5_1_1_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_3921-5_1_1_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_3921-5_1_1_node_198 | 0.4 | n |  | TRUE
44 | bus_LV_3921-5_1_1_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_3921-5_1_1_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_3921-5_1_1_node_109 | 0.4 | n |  | TRUE
47 | bus_LV_3921-5_1_1_node_110 | 0.4 | n |  | TRUE
48 | bus_LV_3921-5_1_1_node_113 | 0.4 | n |  | TRUE
49 | bus_LV_3921-5_1_1_node_195 | 0.4 | n |  | TRUE
50 | bus_LV_3921-5_1_1_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_3921-5_1_1_node_115 | 0.4 | n |  | TRUE
52 | bus_LV_3921-5_1_1_node_116 | 0.4 | n |  | TRUE
53 | bus_LV_3921-5_1_1_node_134 | 0.4 | n |  | TRUE
54 | bus_LV_3921-5_1_1_node_136 | 0.4 | n |  | TRUE
55 | bus_LV_3921-5_1_1_node_148 | 0.4 | n |  | TRUE
56 | bus_LV_3921-5_1_1_node_146 | 0.4 | n |  | TRUE
57 | bus_LV_3921-5_1_1_node_147 | 0.4 | n |  | TRUE
58 | bus_LV_3921-5_1_1_node_149 | 0.4 | n |  | TRUE
59 | bus_LV_3921-5_1_1_node_150 | 0.4 | n |  | TRUE
60 | bus_LV_3921-5_1_1_node_156 | 0.4 | n |  | TRUE
61 | bus_LV_3921-5_1_1_node_157 | 0.4 | n |  | TRUE
62 | bus_LV_3921-5_1_1_node_151 | 0.4 | n |  | TRUE
63 | bus_LV_3921-5_1_1_node_152 | 0.4 | n |  | TRUE
64 | bus_LV_3921-5_1_1_node_153 | 0.4 | n |  | TRUE
65 | bus_LV_3921-5_1_1_node_154 | 0.4 | n |  | TRUE
66 | bus_LV_3921-5_1_1_node_155 | 0.4 | n |  | TRUE
67 | bus_LV_3921-5_1_1_node_161 | 0.4 | n |  | TRUE
68 | bus_LV_3921-5_1_1_node_158 | 0.4 | n |  | TRUE
69 | bus_LV_3921-5_1_1_node_160 | 0.4 | n |  | TRUE
70 | bus_LV_3921-5_1_1_node_162 | 0.4 | n |  | TRUE
71 | bus_LV_3921-5_1_1_node_163 | 0.4 | n |  | TRUE
72 | bus_LV_3921-5_1_1_node_168 | 0.4 | n |  | TRUE
73 | bus_LV_3921-5_1_1_node_170 | 0.4 | n |  | TRUE
74 | bus_LV_3921-5_1_1_node_196 | 0.4 | n |  | TRUE
75 | bus_MV_60_0_node_298 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3921-5_1_1_load_5 | 0 | 0.00035771 | 8.9649e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3921-5_1_1_load_9 | 4 | 0.0011639 | 0.00029171 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3921-5_1_1_load_20 | 6 | 0.001351 | 0.0003386 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3921-5_1_1_load_17 | 7 | 0.00042294 | 0.000106 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3921-5_1_1_load_169 | 8 | 0.0013753 | 0.00034468 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3921-5_1_1_load_64 | 11 | 0.0023251 | 0.00058273 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3921-5_1_1_load_66 | 12 | 0.0021195 | 0.00053119 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3921-5_1_1_load_18 | 13 | 0.00061231 | 0.00015346 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3921-5_1_1_load_19 | 14 | 0.00041987 | 0.00010523 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3921-5_1_1_load_27 | 16 | 0.0030333 | 0.00076022 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3921-5_1_1_load_28 | 17 | 0.0041752 | 0.0010464 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3921-5_1_1_load_29 | 18 | 0.003356 | 0.0008411 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3921-5_1_1_load_30 | 19 | 0.007189 | 0.0018017 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3921-5_1_1_load_165 | 20 | 0.0020387 | 0.00051096 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3921-5_1_1_load_31 | 21 | 0.0019053 | 0.00047752 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3921-5_1_1_load_54 | 22 | 0.0041147 | 0.0010312 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3921-5_1_1_load_35 | 23 | 0.0017827 | 0.0004468 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3921-5_1_1_load_36 | 24 | 0.00053944 | 0.0001352 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3921-5_1_1_load_39 | 27 | 0.00028588 | 7.1649e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3921-5_1_1_load_49 | 29 | 0.0019836 | 0.00049715 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3921-5_1_1_load_164 | 30 | 0.011714 | 0.0029357 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3921-5_1_1_load_171 | 32 | 0.0006637 | 0.00016634 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3921-5_1_1_load_44 | 33 | 0.0040059 | 0.001004 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3921-5_1_1_load_159 | 35 | 0.00082143 | 0.00020587 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3921-5_1_1_load_94 | 36 | 0.00036283 | 9.0934e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3921-5_1_1_load_59 | 37 | 0.0018702 | 0.00046871 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3921-5_1_1_load_60 | 38 | 0.0011258 | 0.00028214 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3921-5_1_1_load_117 | 40 | 0.00074743 | 0.00018732 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3921-5_1_1_load_62 | 41 | 0.0011944 | 0.00029933 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3921-5_1_1_load_63 | 42 | 0.0010983 | 0.00027526 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3921-5_1_1_load_198 | 43 | 0.0020737 | 0.00051971 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3921-5_1_1_load_92 | 44 | 0.00050906 | 0.00012758 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3921-5_1_1_load_93 | 45 | 0.00060819 | 0.00015243 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3921-5_1_1_load_109 | 46 | 0.00042096 | 0.0001055 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3921-5_1_1_load_113 | 48 | 0.00064821 | 0.00016246 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3921-5_1_1_load_195 | 49 | 0.00040511 | 0.00010153 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3921-5_1_1_load_114 | 50 | 0.00059262 | 0.00014852 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3921-5_1_1_load_115 | 51 | 0.00036928 | 9.255e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3921-5_1_1_load_116 | 52 | 0.00039685 | 9.9459e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3921-5_1_1_load_134 | 53 | 0.00051483 | 0.00012903 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3921-5_1_1_load_136 | 54 | 0.00044204 | 0.00011079 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3921-5_1_1_load_148 | 55 | 0.0031813 | 0.00079731 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3921-5_1_1_load_146 | 56 | 0.0004746 | 0.00011895 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3921-5_1_1_load_147 | 57 | 0.0005913 | 0.00014819 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3921-5_1_1_load_149 | 58 | 0.00054867 | 0.00013751 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3921-5_1_1_load_156 | 60 | 0.00038756 | 9.7133e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3921-5_1_1_load_157 | 61 | 0.0005767 | 0.00014453 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3921-5_1_1_load_151 | 62 | 0.00059487 | 0.00014909 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3921-5_1_1_load_152 | 63 | 0.0010055 | 0.000252 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3921-5_1_1_load_153 | 64 | 0.00047344 | 0.00011866 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3921-5_1_1_load_161 | 67 | 0.0071861 | 0.001801 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3921-5_1_1_load_158 | 68 | 0.00063166 | 0.00015831 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3921-5_1_1_load_160 | 69 | 0.002362 | 0.00059198 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3921-5_1_1_load_162 | 70 | 0.001746 | 0.00043758 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3921-5_1_1_load_163 | 71 | 0.0020732 | 0.00051959 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3921-5_1_1_load_168 | 72 | 0.002443 | 0.00061229 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3921-5_1_1_load_170 | 73 | 0.0013435 | 0.0003367 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3921-5_1_1_load_196 | 74 | 0.00071287 | 0.00017866 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3921-5_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.089019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3921-5_1_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.16347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3921-5_1_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.051973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3921-5_1_1_line_3 | NAYY 4x150 SE | 1 | 4 | 0.027736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3921-5_1_1_line_4 | NAYY 4x150 SE | 2 | 5 | 0.10592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3921-5_1_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.018398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3921-5_1_1_line_6 | NAYY 4x150 SE | 3 | 7 | 0.029491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3921-5_1_1_line_7 | NAYY 4x150 SE | 4 | 8 | 0.0010267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3921-5_1_1_line_8 | NAYY 4x150 SE | 5 | 12 | 0.0070364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3921-5_1_1_line_9 | NAYY 4x150 SE | 5 | 9 | 0.050532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3921-5_1_1_line_10 | NAYY 4x150 SE | 7 | 13 | 0.015353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3921-5_1_1_line_11 | NAYY 4x150 SE | 8 | 72 | 0.003207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3921-5_1_1_line_12 | NAYY 4x150 SE | 9 | 10 | 0.16249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3921-5_1_1_line_13 | NAYY 4x150 SE | 9 | 11 | 0.0365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3921-5_1_1_line_14 | NAYY 4x150 SE | 10 | 43 | 0.062226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3921-5_1_1_line_15 | NAYY 4x150 SE | 11 | 39 | 0.075744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3921-5_1_1_line_16 | NAYY 4x150 SE | 13 | 14 | 0.010146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3921-5_1_1_line_17 | NAYY 4x150 SE | 14 | 15 | 0.080264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3921-5_1_1_line_18 | NAYY 4x150 SE | 15 | 36 | 0.17833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3921-5_1_1_line_19 | NAYY 4x150 SE | 16 | 17 | 0.016691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3921-5_1_1_line_20 | NAYY 4x150 SE | 16 | 18 | 0.003795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3921-5_1_1_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0058323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3921-5_1_1_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0098552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3921-5_1_1_line_23 | NAYY 4x150 SE | 20 | 71 | 0.0046924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3921-5_1_1_line_24 | NAYY 4x150 SE | 21 | 22 | 0.024874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3921-5_1_1_line_25 | NAYY 4x150 SE | 22 | 31 | 0.023482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3921-5_1_1_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0082693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3921-5_1_1_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0053037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3921-5_1_1_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0027455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3921-5_1_1_line_29 | NAYY 4x150 SE | 25 | 27 | 0.015175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3921-5_1_1_line_30 | NAYY 4x150 SE | 25 | 28 | 0.016441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3921-5_1_1_line_31 | NAYY 4x150 SE | 26 | 29 | 0.016567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3921-5_1_1_line_32 | NAYY 4x150 SE | 27 | 30 | 0.0094653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3921-5_1_1_line_33 | NAYY 4x150 SE | 28 | 31 | 0.008596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3921-5_1_1_line_34 | NAYY 4x150 SE | 28 | 32 | 0.017212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3921-5_1_1_line_35 | NAYY 4x150 SE | 29 | 35 | 0.0053557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3921-5_1_1_line_36 | NAYY 4x150 SE | 30 | 70 | 0.0025998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3921-5_1_1_line_37 | NAYY 4x150 SE | 31 | 34 | 0.024759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3921-5_1_1_line_38 | NAYY 4x150 SE | 32 | 73 | 0.014196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3921-5_1_1_line_39 | NAYY 4x150 SE | 33 | 34 | 0.024862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3921-5_1_1_line_40 | NAYY 4x150 SE | 35 | 66 | 0.0091933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3921-5_1_1_line_41 | NAYY 4x150 SE | 36 | 44 | 0.07088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3921-5_1_1_line_42 | NAYY 4x150 SE | 37 | 38 | 0.019346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3921-5_1_1_line_43 | NAYY 4x150 SE | 37 | 39 | 0.030103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3921-5_1_1_line_44 | NAYY 4x150 SE | 37 | 40 | 0.2822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3921-5_1_1_line_45 | NAYY 4x150 SE | 38 | 41 | 0.002208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3921-5_1_1_line_46 | NAYY 4x150 SE | 39 | 42 | 0.0122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3921-5_1_1_line_47 | NAYY 4x150 SE | 40 | 48 | 0.14892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3921-5_1_1_line_48 | NAYY 4x150 SE | 43 | 74 | 0.60067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3921-5_1_1_line_49 | NAYY 4x150 SE | 44 | 45 | 0.008029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3921-5_1_1_line_50 | NAYY 4x150 SE | 46 | 47 | 0.0031476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3921-5_1_1_line_51 | NAYY 4x150 SE | 47 | 48 | 0.030771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3921-5_1_1_line_52 | NAYY 4x150 SE | 48 | 49 | 0.21132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3921-5_1_1_line_53 | NAYY 4x150 SE | 49 | 50 | 0.11683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3921-5_1_1_line_54 | NAYY 4x150 SE | 50 | 51 | 0.017768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3921-5_1_1_line_55 | NAYY 4x150 SE | 51 | 52 | 0.0068648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3921-5_1_1_line_56 | NAYY 4x150 SE | 53 | 54 | 0.14273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3921-5_1_1_line_57 | NAYY 4x150 SE | 53 | 55 | 0.37514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3921-5_1_1_line_58 | NAYY 4x150 SE | 55 | 56 | 0.0063767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3921-5_1_1_line_59 | NAYY 4x150 SE | 56 | 57 | 0.049776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3921-5_1_1_line_60 | NAYY 4x150 SE | 57 | 58 | 0.030777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3921-5_1_1_line_61 | NAYY 4x150 SE | 58 | 59 | 0.00010373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3921-5_1_1_line_62 | NAYY 4x150 SE | 59 | 60 | 0.015827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3921-5_1_1_line_63 | NAYY 4x150 SE | 59 | 61 | 0.010305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3921-5_1_1_line_64 | NAYY 4x150 SE | 60 | 68 | 0.0052585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3921-5_1_1_line_65 | NAYY 4x150 SE | 61 | 69 | 0.053411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3921-5_1_1_line_66 | NAYY 4x150 SE | 62 | 63 | 0.0084726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3921-5_1_1_line_67 | NAYY 4x150 SE | 62 | 64 | 0.025655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3921-5_1_1_line_68 | NAYY 4x150 SE | 63 | 65 | 0.042065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3921-5_1_1_line_69 | NAYY 4x150 SE | 64 | 66 | 0.028706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3921-5_1_1_line_70 | NAYY 4x150 SE | 65 | 67 | 0.0084691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3921-5_1_1_line_71 | NAYY 4x150 SE | 66 | 68 | 0.027728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3921-5_1_1_line_72 | NAYY 4x150 SE | 70 | 71 | 0.014588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3921-5_1_1_line_73 | NAYY 4x150 SE | 72 | 73 | 0.012627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3921-5_1_1_trafo_20 | 0.25 MVA 20/0.4 kV | 75 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2773570.6849 | 1187975.7051 | 2773583.0167 | 1187988.519 | 2773593.4069 | 1187993.5248 | 2773605.2191 | 1187996.6145 | 2773639.9582 | 1187995.9876 | 2773652.618 | 1187997.4836
1 | 2773813.3384 | 1188023.1644 | 2773791.1172 | 1188020.9842 | 2773760.6619 | 1188014.4833 | 2773742.6339 | 1188009.0775 | 2773725.5142 | 1188006.8343 | 2773695.5463 | 1188006.4203 | 2773674.9776 | 1188003.0652 | 2773658.1723 | 1187998.1399 | 2773652.618 | 1187997.4836
2 | 2773604.4296 | 1188009.0922 | 2773595.5499 | 1188003.8632 | 2773577.0836 | 1187995.1421 | 2773574.061 | 1187992.7523 | 2773572.482 | 1187988.7583 | 2773570.6849 | 1187975.7051
3 | 2773570.6849 | 1187975.7051 | 2773565.6994 | 1187970.9785 | 2773558.5702 | 1187967.2462 | 2773550.2297 | 1187967.9051 | 2773546.3106 | 1187970.018
4 | 2773914.2729 | 1188008.147 | 2773911.2521 | 1188013.0528 | 2773887.3329 | 1188015.4494 | 2773877.0482 | 1188022.3239 | 2773847.8788 | 1188023.0668 | 2773818.7817 | 1188023.6895 | 2773813.3384 | 1188023.1644
5 | 2773604.4296 | 1188009.0922 | 2773604.5434 | 1188014.3782 | 2773600.0014 | 1188018.8396 | 2773593.6894 | 1188021.2141
6 | 2773604.4296 | 1188009.0922 | 2773615.5026 | 1188009.7693 | 2773624.7647 | 1188011.8175 | 2773631.4415 | 1188016.927 | 2773631.8098 | 1188017.2715
7 | 2773545.4069 | 1187970.5053 | 2773546.3106 | 1187970.018
8 | 2773914.2729 | 1188008.147 | 2773908.1585 | 1188004.6649
9 | 2773914.2729 | 1188008.147 | 2773921.6248 | 1188013.3987 | 2773929.6652 | 1188014.9226 | 2773933.6388 | 1188012.1687 | 2773938.421 | 1188006.5468 | 2773945.793 | 1187997.975 | 2773946.2691 | 1188001.292 | 2773952.7051 | 1188001.0231
10 | 2773643.6964 | 1188026.8582 | 2773639.2828 | 1188024.2612 | 2773631.8098 | 1188017.2715
11 | 2773542.584 | 1187972.0272 | 2773545.4069 | 1187970.5053
12 | 2773841.6525 | 1187914.1618 | 2773862.7967 | 1187926.8875 | 2773879.3355 | 1187934.1522 | 2773900.1607 | 1187938.4052 | 2773918.7651 | 1187940.7921 | 2773928.7924 | 1187943.8306 | 2773938.3615 | 1187951.3377 | 2773940.4004 | 1187958.1478 | 2773945.1814 | 1187993.2751 | 2773945.2531 | 1187994.2225 | 2773945.793 | 1187997.975 | 2773946.2691 | 1188001.292 | 2773952.7051 | 1188001.0231
13 | 2773952.7051 | 1188001.0231 | 2773969.3404 | 1187990.2517 | 2773985.5967 | 1187986.5063
14 | 2773841.6525 | 1187914.1618 | 2773848.6918 | 1187908.3718 | 2773868.3751 | 1187917.5073 | 2773899.8902 | 1187915.665
15 | 2774060.9287 | 1187983.2061 | 2774031.4235 | 1187981.8364 | 2773998.4006 | 1187983.5563 | 2773985.5967 | 1187986.5063
16 | 2773643.6964 | 1188026.8582 | 2773643.6964 | 1188026.8582 | 2773651.4733 | 1188027.9959 | 2773653.7084 | 1188027.5144
17 | 2773730.6546 | 1188026.4685 | 2773725.1059 | 1188025.8959 | 2773715.7279 | 1188026.0018 | 2773700.37 | 1188020.6624 | 2773686.3989 | 1188018.8333 | 2773670.4172 | 1188019.2036 | 2773660.3806 | 1188023.8502 | 2773657.3886 | 1188026.7217 | 2773653.7084 | 1188027.5144
18 | 2773730.6546 | 1188026.4685 | 2773736.465 | 1188029.8624 | 2773753.8422 | 1188056.6249 | 2773764.1373 | 1188066.2104 | 2773773.9713 | 1188078.5294 | 2773779.4617 | 1188088.7316 | 2773819.0875 | 1188178.6629
19 | 2773462.163 | 1188020.1444 | 2773459.667 | 1188020.4529 | 2773451.4404 | 1188020.081 | 2773445.6058 | 1188018.9618
20 | 2773441.8788 | 1188018.2469 | 2773445.6058 | 1188018.9618
21 | 2773462.163 | 1188020.1444 | 2773467.9512 | 1188019.4289
22 | 2773467.9512 | 1188019.4289 | 2773468.4856 | 1188019.3629 | 2773476.9371 | 1188023.2839
23 | 2773481.1937 | 1188025.2587 | 2773481.1937 | 1188025.2587 | 2773476.9371 | 1188023.2839
24 | 2773474.4494 | 1187979.601 | 2773460.1846 | 1187968.0968 | 2773454.3693 | 1187965.0872
25 | 2773493.9728 | 1187991.8421 | 2773489.1879 | 1187986.7765 | 2773477.3499 | 1187981.9402 | 2773474.4494 | 1187979.601
26 | 2773524.6731 | 1188009.24 | 2773518.1148 | 1188004.2031
27 | 2773513.9085 | 1188000.9725 | 2773518.1148 | 1188004.2031
28 | 2773526.8505 | 1188010.9123 | 2773524.6731 | 1188009.24
29 | 2773513.9085 | 1188000.9725 | 2773504.9869 | 1188013.2478 | 2773504.9869 | 1188013.2478
30 | 2773513.9085 | 1188000.9725 | 2773502.2286 | 1187989.3678
31 | 2773526.8505 | 1188010.9123 | 2773531.434 | 1188015.5495 | 2773535.8436 | 1188024.5768
32 | 2773496.5372 | 1188017.5132 | 2773504.9869 | 1188013.2478
33 | 2773502.2286 | 1187989.3678 | 2773493.9728 | 1187991.8421
34 | 2773502.2286 | 1187989.3678 | 2773514.393 | 1187985.3164 | 2773518.4631 | 1187983.6692
35 | 2773538.1942 | 1188029.3891 | 2773535.8436 | 1188024.5768
36 | 2773494.2163 | 1188018.6848 | 2773496.5372 | 1188017.5132
37 | 2773470.2476 | 1187999.1394 | 2773484.8176 | 1187994.5349 | 2773493.9728 | 1187991.8421
38 | 2773531.4698 | 1187978.0194 | 2773528.5993 | 1187979.567 | 2773518.4631 | 1187983.6692
39 | 2773470.2476 | 1187999.1394 | 2773464.1776 | 1187996.7948 | 2773454.5277 | 1187993.9015 | 2773446.5159 | 1187991.8103
40 | 2773542.2292 | 1188037.6496 | 2773538.1942 | 1188029.3891
41 | 2773853.7094 | 1188240.4285 | 2773824.296 | 1188190.4835 | 2773819.0875 | 1188178.6629
42 | 2774043.6375 | 1188001.5542 | 2774034.9332 | 1188003.1694 | 2774024.4538 | 1188002.6258
43 | 2774060.9287 | 1187983.2061 | 2774060.011 | 1187994.5457 | 2774056.2733 | 1187998.8967 | 2774050.8753 | 1188000.7527 | 2774043.6375 | 1188001.5542 | 2774043.6375 | 1188001.5542
44 | 2774043.6375 | 1188001.5542 | 2774139.6733 | 1188266.9057
45 | 2774022.2488 | 1188002.5114 | 2774024.4538 | 1188002.6258
46 | 2774060.9287 | 1187983.2061 | 2774072.5388 | 1187986.9543
47 | 2774163.1867 | 1188413.9571 | 2774139.6733 | 1188266.9057
48 | 2773899.8902 | 1187915.665 | 2774186.191 | 1187387.6177
49 | 2773853.7094 | 1188240.4285 | 2773853.7094 | 1188240.4285 | 2773855.1211 | 1188248.3325 | 2773855.1211 | 1188248.3325
50 | 2774133.1664 | 1188420.4495 | 2774130.0516 | 1188420.9032
51 | 2774133.1664 | 1188420.4495 | 2774150.7015 | 1188415.7216 | 2774163.1867 | 1188413.9571
52 | 2774163.1867 | 1188413.9571 | 2774366.7983 | 1188470.5275
53 | 2774393.8825 | 1188356.876 | 2774366.7983 | 1188470.5275
54 | 2774398.6001 | 1188340.2514 | 2774396.9351 | 1188342.2401 | 2774393.8629 | 1188350.7364 | 2774393.8825 | 1188356.876 | 2774393.8825 | 1188356.876
55 | 2774398.6001 | 1188340.2514 | 2774403.0071 | 1188334.9879
56 | 2773432.6479 | 1188503.8159 | 2773437.8822 | 1188525.7278 | 2773450.3871 | 1188546.4983 | 2773471.3123 | 1188615.6913 | 2773492.6972 | 1188625.8382
57 | 2773580.9502 | 1188159.2299 | 2773432.6479 | 1188503.8159
58 | 2773580.9502 | 1188159.2299 | 2773578.6336 | 1188153.2888
59 | 2773578.6336 | 1188153.2888 | 2773578.1649 | 1188152.0869 | 2773575.669 | 1188144.1738 | 2773571.2255 | 1188121.5572 | 2773570.4044 | 1188114.8605 | 2773570.6615 | 1188109.4184 | 2773571.8846 | 1188104.6272
60 | 2773571.8846 | 1188104.6272 | 2773571.8846 | 1188104.6272 | 2773577.248 | 1188093.4277 | 2773577.1646 | 1188088.9322 | 2773575.8416 | 1188085.5907 | 2773568.8794 | 1188079.7946 | 2773568.0036 | 1188078.96
61 | 2773568.0036 | 1188078.96 | 2773567.9285 | 1188078.8884
62 | 2773567.9285 | 1188078.8884 | 2773564.6895 | 1188075.8028 | 2773562.1896 | 1188069.8692 | 2773559.601 | 1188065.6908
63 | 2773567.9285 | 1188078.8884 | 2773578.2331 | 1188078.8893
64 | 2773556.8317 | 1188061.2206 | 2773559.601 | 1188065.6908
65 | 2773578.2331 | 1188078.8893 | 2773605.6033 | 1188078.8915 | 2773611.0726 | 1188080.8852 | 2773613.4043 | 1188085.2458 | 2773614.4275 | 1188100.4862
66 | 2773514.7946 | 1188083.6199 | 2773509.5045 | 1188084.1338 | 2773506.5091 | 1188083.1351
67 | 2773514.7946 | 1188083.6199 | 2773514.7946 | 1188083.6199 | 2773521.3983 | 1188078.3508 | 2773523.6746 | 1188075.1471 | 2773527.4948 | 1188069.7749 | 2773529.9295 | 1188063.5493
68 | 2773471.499 | 1188060.255 | 2773486.4892 | 1188071.433 | 2773498.0428 | 1188079.7533 | 2773502.7827 | 1188081.8926 | 2773506.5091 | 1188083.1351
69 | 2773542.2292 | 1188037.6496 | 2773533.2833 | 1188054.9733 | 2773529.9295 | 1188063.5493
70 | 2773471.499 | 1188060.255 | 2773464.4204 | 1188055.6054
71 | 2773542.2292 | 1188037.6496 | 2773556.8317 | 1188061.2206
72 | 2773494.2163 | 1188018.6848 | 2773481.1937 | 1188025.2587
73 | 2773542.584 | 1187972.0272 | 2773531.4698 | 1187978.0194

## bus_geodata
| x | y | coords
0 | 2773652.618 | 1187997.4836
1 | 2773570.6849 | 1187975.7051
2 | 2773813.3384 | 1188023.1644
3 | 2773604.4296 | 1188009.0922
4 | 2773546.3106 | 1187970.018
5 | 2773914.2729 | 1188008.147
6 | 2773593.6894 | 1188021.2141
7 | 2773631.8098 | 1188017.2715
8 | 2773545.4069 | 1187970.5053
9 | 2773952.7051 | 1188001.0231
10 | 2773841.6525 | 1187914.1618
11 | 2773985.5967 | 1187986.5063
12 | 2773908.1585 | 1188004.6649
13 | 2773643.6964 | 1188026.8582
14 | 2773653.7084 | 1188027.5144
15 | 2773730.6546 | 1188026.4685
16 | 2773445.6058 | 1188018.9618
17 | 2773462.163 | 1188020.1444
18 | 2773441.8788 | 1188018.2469
19 | 2773467.9512 | 1188019.4289
20 | 2773476.9371 | 1188023.2839
21 | 2773454.3693 | 1187965.0872
22 | 2773474.4494 | 1187979.601
23 | 2773518.1148 | 1188004.2031
24 | 2773524.6731 | 1188009.24
25 | 2773513.9085 | 1188000.9725
26 | 2773526.8505 | 1188010.9123
27 | 2773504.9869 | 1188013.2478
28 | 2773502.2286 | 1187989.3678
29 | 2773535.8436 | 1188024.5768
30 | 2773496.5372 | 1188017.5132
31 | 2773493.9728 | 1187991.8421
32 | 2773518.4631 | 1187983.6692
33 | 2773446.5159 | 1187991.8103
34 | 2773470.2476 | 1187999.1394
35 | 2773538.1942 | 1188029.3891
36 | 2773819.0875 | 1188178.6629
37 | 2774043.6375 | 1188001.5542
38 | 2774024.4538 | 1188002.6258
39 | 2774060.9287 | 1187983.2061
40 | 2774139.6733 | 1188266.9057
41 | 2774022.2488 | 1188002.5114
42 | 2774072.5388 | 1187986.9543
43 | 2773899.8902 | 1187915.665
44 | 2773853.7094 | 1188240.4285
45 | 2773855.1211 | 1188248.3325
46 | 2774130.0516 | 1188420.9032
47 | 2774133.1664 | 1188420.4495
48 | 2774163.1867 | 1188413.9571
49 | 2774366.7983 | 1188470.5275
50 | 2774393.8825 | 1188356.876
51 | 2774398.6001 | 1188340.2514
52 | 2774403.0071 | 1188334.9879
53 | 2773432.6479 | 1188503.8159
54 | 2773492.6972 | 1188625.8382
55 | 2773580.9502 | 1188159.2299
56 | 2773578.6336 | 1188153.2888
57 | 2773571.8846 | 1188104.6272
58 | 2773568.0036 | 1188078.96
59 | 2773567.9285 | 1188078.8884
60 | 2773559.601 | 1188065.6908
61 | 2773578.2331 | 1188078.8893
62 | 2773514.7946 | 1188083.6199
63 | 2773506.5091 | 1188083.1351
64 | 2773529.9295 | 1188063.5493
65 | 2773471.499 | 1188060.255
66 | 2773542.2292 | 1188037.6496
67 | 2773464.4204 | 1188055.6054
68 | 2773556.8317 | 1188061.2206
69 | 2773614.4275 | 1188100.4862
70 | 2773494.2163 | 1188018.6848
71 | 2773481.1937 | 1188025.2587
72 | 2773542.584 | 1187972.0272
73 | 2773531.4698 | 1187978.0194
74 | 2774186.191 | 1187387.6177
75 | 2773604.4296 | 1188009.0922

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1