## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3921-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3921-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3921-9_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3921-9_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3921-9_0_3_node_72 | 0.4 | n |  | TRUE
5 | bus_LV_3921-9_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3921-9_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3921-9_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3921-9_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3921-9_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3921-9_0_3_node_151 | 0.4 | n |  | TRUE
11 | bus_LV_3921-9_0_3_node_148 | 0.4 | n |  | TRUE
12 | bus_LV_3921-9_0_3_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_3921-9_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3921-9_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3921-9_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3921-9_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3921-9_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3921-9_0_3_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_3921-9_0_3_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_3921-9_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3921-9_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3921-9_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3921-9_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3921-9_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3921-9_0_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_3921-9_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_3921-9_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3921-9_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3921-9_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_3921-9_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3921-9_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_3921-9_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_3921-9_0_3_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_3921-9_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_3921-9_0_3_node_153 | 0.4 | n |  | TRUE
36 | bus_LV_3921-9_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_3921-9_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_3921-9_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3921-9_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_3921-9_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3921-9_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3921-9_0_3_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_3921-9_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_3921-9_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3921-9_0_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_3921-9_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_3921-9_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_3921-9_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_3921-9_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_3921-9_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_3921-9_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3921-9_0_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_3921-9_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3921-9_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3921-9_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_3921-9_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_3921-9_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_3921-9_0_3_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_3921-9_0_3_node_238 | 0.4 | n |  | TRUE
60 | bus_LV_3921-9_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_3921-9_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_3921-9_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_3921-9_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_3921-9_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_3921-9_0_3_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_3921-9_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_3921-9_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_3921-9_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_3921-9_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3921-9_0_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_3921-9_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_3921-9_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_3921-9_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_3921-9_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_3921-9_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_3921-9_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_3921-9_0_3_node_239 | 0.4 | n |  | TRUE
78 | bus_LV_3921-9_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_3921-9_0_3_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_3921-9_0_3_node_154 | 0.4 | n |  | TRUE
81 | bus_LV_3921-9_0_3_node_186 | 0.4 | n |  | TRUE
82 | bus_LV_3921-9_0_3_node_149 | 0.4 | n |  | TRUE
83 | bus_LV_3921-9_0_3_node_150 | 0.4 | n |  | TRUE
84 | bus_LV_3921-9_0_3_node_240 | 0.4 | n |  | TRUE
85 | bus_LV_3921-9_0_3_node_237 | 0.4 | n |  | TRUE
86 | bus_LV_3921-9_0_3_node_152 | 0.4 | n |  | TRUE
87 | bus_LV_3921-9_0_3_node_182 | 0.4 | n |  | TRUE
88 | bus_LV_3921-9_0_3_node_173 | 0.4 | n |  | TRUE
89 | bus_LV_3921-9_0_3_node_174 | 0.4 | n |  | TRUE
90 | bus_LV_3921-9_0_3_node_185 | 0.4 | n |  | TRUE
91 | bus_LV_3921-9_0_3_node_183 | 0.4 | n |  | TRUE
92 | bus_LV_3921-9_0_3_node_184 | 0.4 | n |  | TRUE
93 | bus_MV_60_0_node_306 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3921-9_0_3_load_0 | 0 | 0.0017138 | 0.00042951 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3921-9_0_3_load_3 | 2 | 0.0086482 | 0.0021674 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3921-9_0_3_load_2 | 3 | 0.00079646 | 0.00019961 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3921-9_0_3_load_4 | 5 | 0.00068059 | 0.00017057 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3921-9_0_3_load_5 | 6 | 0.00027162 | 6.8075e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3921-9_0_3_load_8 | 9 | 0.001245 | 0.00031202 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3921-9_0_3_load_151 | 10 | 0.00040248 | 0.00010087 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3921-9_0_3_load_148 | 11 | 0.00040699 | 0.000102 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3921-9_0_3_load_60 | 12 | 0.00058305 | 0.00014613 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3921-9_0_3_load_9 | 13 | 0.0017196 | 0.00043098 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3921-9_0_3_load_10 | 14 | 0.00072784 | 0.00018241 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3921-9_0_3_load_11 | 15 | 0.00040332 | 0.00010108 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3921-9_0_3_load_12 | 16 | 0.000664 | 0.00016641 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3921-9_0_3_load_13 | 17 | 0.0015882 | 0.00039803 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3921-9_0_3_load_47 | 18 | 0.00064141 | 0.00016075 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3921-9_0_3_load_53 | 19 | 0.00063087 | 0.00015811 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3921-9_0_3_load_14 | 20 | 0.00058802 | 0.00014737 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3921-9_0_3_load_15 | 21 | 0.0012269 | 0.00030748 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3921-9_0_3_load_16 | 22 | 0.0011292 | 0.00028301 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3921-9_0_3_load_17 | 23 | 0.00082322 | 0.00020632 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3921-9_0_3_load_18 | 24 | 0.00095912 | 0.00024038 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3921-9_0_3_load_34 | 25 | 0.0011404 | 0.00028581 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3921-9_0_3_load_19 | 27 | 0.0007564 | 0.00018957 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3921-9_0_3_load_20 | 28 | 0.00085502 | 0.00021429 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3921-9_0_3_load_22 | 30 | 0.00035324 | 8.8531e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3921-9_0_3_load_23 | 31 | 0.00091702 | 0.00022983 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3921-9_0_3_load_54 | 33 | 0.0007634 | 0.00019133 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3921-9_0_3_load_153 | 35 | 0.00050536 | 0.00012666 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3921-9_0_3_load_25 | 36 | 0.00044142 | 0.00011063 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3921-9_0_3_load_26 | 37 | 0.00070903 | 0.0001777 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3921-9_0_3_load_27 | 38 | 0.00036642 | 9.1834e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3921-9_0_3_load_28 | 39 | 0.00040259 | 0.0001009 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3921-9_0_3_load_29 | 40 | 0.00045678 | 0.00011448 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3921-9_0_3_load_31 | 41 | 0.0013957 | 0.0003498 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3921-9_0_3_load_66 | 42 | 0.00056956 | 0.00014274 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3921-9_0_3_load_30 | 43 | 0.00085327 | 0.00021385 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3921-9_0_3_load_32 | 44 | 0.0014278 | 0.00035784 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3921-9_0_3_load_50 | 45 | 0.0011888 | 0.00029795 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3921-9_0_3_load_36 | 47 | 0.0015565 | 0.0003901 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3921-9_0_3_load_37 | 48 | 0.0009019 | 0.00022604 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3921-9_0_3_load_38 | 49 | 0.0010401 | 0.00026067 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3921-9_0_3_load_39 | 50 | 0.0010393 | 0.00026046 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3921-9_0_3_load_40 | 51 | 0.0026345 | 0.00066026 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3921-9_0_3_load_41 | 53 | 0.001643 | 0.00041177 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3921-9_0_3_load_42 | 54 | 0.0016223 | 0.00040659 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3921-9_0_3_load_45 | 56 | 0.0036143 | 0.00090584 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3921-9_0_3_load_46 | 57 | 0.00073597 | 0.00018445 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3921-9_0_3_load_238 | 59 | 0.0014206 | 0.00035603 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3921-9_0_3_load_48 | 60 | 0.0010526 | 0.00026381 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3921-9_0_3_load_49 | 61 | 0.001329 | 0.00033309 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3921-9_0_3_load_51 | 63 | 0.00086481 | 0.00021674 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3921-9_0_3_load_52 | 64 | 0.00078949 | 0.00019786 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3921-9_0_3_load_55 | 66 | 0.00088848 | 0.00022267 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3921-9_0_3_load_56 | 67 | 0.00092411 | 0.0002316 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3921-9_0_3_load_57 | 68 | 0.0012451 | 0.00031205 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3921-9_0_3_load_59 | 69 | 0.00090751 | 0.00022744 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3921-9_0_3_load_62 | 70 | 0.0010623 | 0.00026625 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3921-9_0_3_load_63 | 72 | 0.00059879 | 0.00015007 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3921-9_0_3_load_67 | 75 | 0.0017276 | 0.00043297 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3921-9_0_3_load_68 | 76 | 0.00037187 | 9.32e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3921-9_0_3_load_239 | 77 | 0.0010457 | 0.00026209 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3921-9_0_3_load_74 | 78 | 0.0004272 | 0.00010707 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3921-9_0_3_load_73 | 79 | 0.0011207 | 0.00028088 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3921-9_0_3_load_154 | 80 | 0.00045244 | 0.00011339 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3921-9_0_3_load_240 | 84 | 0.0004288 | 0.00010747 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3921-9_0_3_load_237 | 85 | 0.0002886 | 7.233e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3921-9_0_3_load_152 | 86 | 0.0004899 | 0.00012278 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3921-9_0_3_load_182 | 87 | 0.0004022 | 0.0001008 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3921-9_0_3_load_173 | 88 | 0.00038727 | 9.7058e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3921-9_0_3_load_174 | 89 | 0.00050107 | 0.00012558 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3921-9_0_3_load_185 | 90 | 0.00052632 | 0.00013191 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3921-9_0_3_load_183 | 91 | 0.00042687 | 0.00010698 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3921-9_0_3_load_184 | 92 | 0.00038145 | 9.56e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3921-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3921-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.28296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3921-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.044857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3921-9_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.10996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3921-9_0_3_line_4 | NAYY 4x150 SE | 4 | 79 | 0.00094635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3921-9_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.16533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3921-9_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0052258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3921-9_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.028019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3921-9_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.10373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3921-9_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.15637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3921-9_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.089816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3921-9_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.017179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3921-9_0_3_line_12 | NAYY 4x150 SE | 10 | 85 | 0.006627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3921-9_0_3_line_13 | NAYY 4x150 SE | 11 | 82 | 0.013302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3921-9_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0085984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3921-9_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0016878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3921-9_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.021028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3921-9_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.015788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3921-9_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0036464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3921-9_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.019632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3921-9_0_3_line_20 | NAYY 4x150 SE | 18 | 60 | 0.036511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3921-9_0_3_line_21 | NAYY 4x150 SE | 18 | 61 | 0.024179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3921-9_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0011137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3921-9_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0098304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3921-9_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.011789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3921-9_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0017356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3921-9_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.017473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3921-9_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.019406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3921-9_0_3_line_28 | NAYY 4x150 SE | 25 | 34 | 0.020852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3921-9_0_3_line_29 | NAYY 4x150 SE | 26 | 45 | 0.010752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3921-9_0_3_line_30 | NAYY 4x150 SE | 26 | 44 | 0.015784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3921-9_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.031369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3921-9_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.012411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3921-9_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.0017257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3921-9_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.017002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3921-9_0_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.17468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3921-9_0_3_line_36 | NAYY 4x150 SE | 30 | 33 | 0.024235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3921-9_0_3_line_37 | NAYY 4x150 SE | 31 | 34 | 0.0025867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3921-9_0_3_line_38 | NAYY 4x150 SE | 32 | 35 | 0.16942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3921-9_0_3_line_39 | NAYY 4x150 SE | 33 | 65 | 0.021961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3921-9_0_3_line_40 | NAYY 4x150 SE | 34 | 46 | 0.009997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3921-9_0_3_line_41 | NAYY 4x150 SE | 35 | 80 | 0.14395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3921-9_0_3_line_42 | NAYY 4x150 SE | 36 | 37 | 0.01457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3921-9_0_3_line_43 | NAYY 4x150 SE | 36 | 38 | 0.020885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3921-9_0_3_line_44 | NAYY 4x150 SE | 37 | 39 | 0.01125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3921-9_0_3_line_45 | NAYY 4x150 SE | 38 | 40 | 0.0010154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3921-9_0_3_line_46 | NAYY 4x150 SE | 39 | 41 | 0.012527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3921-9_0_3_line_47 | NAYY 4x150 SE | 40 | 42 | 0.055153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3921-9_0_3_line_48 | NAYY 4x150 SE | 41 | 43 | 0.0011626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3921-9_0_3_line_49 | NAYY 4x150 SE | 42 | 73 | 0.050275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3921-9_0_3_line_50 | NAYY 4x150 SE | 43 | 44 | 0.0040132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3921-9_0_3_line_51 | NAYY 4x150 SE | 45 | 63 | 0.00027648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3921-9_0_3_line_52 | NAYY 4x150 SE | 46 | 54 | 0.025995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3921-9_0_3_line_53 | NAYY 4x150 SE | 47 | 48 | 0.0090747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3921-9_0_3_line_54 | NAYY 4x150 SE | 47 | 49 | 0.0069208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3921-9_0_3_line_55 | NAYY 4x150 SE | 48 | 50 | 0.011753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3921-9_0_3_line_56 | NAYY 4x150 SE | 49 | 51 | 0.0063695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3921-9_0_3_line_57 | NAYY 4x150 SE | 50 | 52 | 0.0091719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3921-9_0_3_line_58 | NAYY 4x150 SE | 52 | 71 | 0.018316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3921-9_0_3_line_59 | NAYY 4x150 SE | 52 | 69 | 0.010802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_3921-9_0_3_line_60 | NAYY 4x150 SE | 53 | 54 | 0.0028337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3921-9_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.0086018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3921-9_0_3_line_62 | NAYY 4x150 SE | 55 | 57 | 0.041088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3921-9_0_3_line_63 | NAYY 4x150 SE | 56 | 58 | 0.011012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3921-9_0_3_line_64 | NAYY 4x150 SE | 57 | 59 | 0.0046779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3921-9_0_3_line_65 | NAYY 4x150 SE | 58 | 71 | 0.00664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3921-9_0_3_line_66 | NAYY 4x150 SE | 58 | 64 | 0.016282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3921-9_0_3_line_67 | NAYY 4x150 SE | 61 | 62 | 0.015677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3921-9_0_3_line_68 | NAYY 4x150 SE | 62 | 70 | 0.035857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3921-9_0_3_line_69 | NAYY 4x150 SE | 62 | 67 | 0.022734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3921-9_0_3_line_70 | NAYY 4x150 SE | 63 | 64 | 0.012036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3921-9_0_3_line_71 | NAYY 4x150 SE | 65 | 78 | 0.15101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3921-9_0_3_line_72 | NAYY 4x150 SE | 66 | 67 | 0.0074515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_3921-9_0_3_line_73 | NAYY 4x150 SE | 66 | 68 | 0.0094198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_3921-9_0_3_line_74 | NAYY 4x150 SE | 68 | 69 | 0.011761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_3921-9_0_3_line_75 | NAYY 4x150 SE | 71 | 77 | 0.019448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3921-9_0_3_line_76 | NAYY 4x150 SE | 72 | 73 | 0.075533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3921-9_0_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.10315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3921-9_0_3_line_78 | NAYY 4x150 SE | 73 | 75 | 0.03457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3921-9_0_3_line_79 | NAYY 4x150 SE | 74 | 76 | 0.057643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3921-9_0_3_line_80 | NAYY 4x150 SE | 77 | 84 | 0.06342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3921-9_0_3_line_81 | NAYY 4x150 SE | 78 | 81 | 0.12605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3921-9_0_3_line_82 | NAYY 4x150 SE | 79 | 80 | 0.1372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3921-9_0_3_line_83 | NAYY 4x150 SE | 81 | 92 | 0.017693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3921-9_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.05377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3921-9_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.038796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3921-9_0_3_line_86 | NAYY 4x150 SE | 86 | 87 | 0.18902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3921-9_0_3_line_87 | NAYY 4x150 SE | 87 | 91 | 0.12464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3921-9_0_3_line_88 | NAYY 4x150 SE | 87 | 92 | 0.096806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3921-9_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.01875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3921-9_0_3_line_90 | NAYY 4x150 SE | 88 | 90 | 0.20931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3921-9_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.035372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3921-9_0_3_trafo_49 | 0.25 MVA 20/0.4 kV | 93 | 61 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2765303.4978 | 1188957.0382 | 2765307.6749 | 1188956.4085 | 2765316.9021 | 1188957.1664
1 | 2765316.9021 | 1188957.1664 | 2765342.9655 | 1188675.4111
2 | 2765303.4978 | 1188957.0382 | 2765298.7701 | 1188960.4664 | 2765296.1313 | 1188963.7076 | 2765295.8154 | 1188966.5792 | 2765297.5301 | 1188979.1044 | 2765301.2604 | 1188988.0154 | 2765304.8474 | 1188991.3396 | 2765309.0606 | 1188993.5468
3 | 2765357.0117 | 1189038.9671 | 2765362.995 | 1189017.4463 | 2765364.2219 | 1189011.1635 | 2765364.7241 | 1189005.6946 | 2765363.7129 | 1189001.9634 | 2765362.1341 | 1188999.1617 | 2765358.6712 | 1188994.94 | 2765351.3555 | 1188989.2774 | 2765335.4968 | 1188981.4881 | 2765327.7453 | 1188978.3379 | 2765322.496 | 1188978.5487 | 2765319.686 | 1188980.2504 | 2765317.6985 | 1188982.0194 | 2765316.5439 | 1188985.1347 | 2765315.6685 | 1188991.1271 | 2765312.9551 | 1188993.1985 | 2765309.0606 | 1188993.5468
4 | 2765356.7879 | 1189039.8866 | 2765357.0117 | 1189038.9671
5 | 2765887.1742 | 1189045.7507 | 2765893.7683 | 1189047.799 | 2765906.0928 | 1189048.1408 | 2765922.4771 | 1189050.7082 | 2765943.6045 | 1189055.6314 | 2765951.3636 | 1189059.5944 | 2765959.8847 | 1189065.8028 | 2765970.1865 | 1189079.9011 | 2765976.3052 | 1189092.3708 | 2765983.1206 | 1189113.2897 | 2765987.7003 | 1189134.7359 | 2765989.9793 | 1189145.5756 | 2765991.1413 | 1189147.4513
6 | 2765882.7207 | 1189043.2444 | 2765884.6876 | 1189044.9782 | 2765887.1742 | 1189045.7507
7 | 2766000.3882 | 1189168.4625 | 2766003.3081 | 1189166.6529 | 2766004.3892 | 1189162.9017 | 2766002.817 | 1189159.5996 | 2765993.9679 | 1189152.0141 | 2765991.1413 | 1189147.4513
8 | 2765882.7207 | 1189043.2444 | 2765879.5387 | 1189045.9698 | 2765868.1599 | 1189040.9724 | 2765854.5113 | 1189033.3319 | 2765844.8546 | 1189025.6797 | 2765839.8945 | 1189017.9354 | 2765835.072 | 1189005.5018 | 2765832.4038 | 1189000.1564 | 2765828.1247 | 1188997.58 | 2765822.397 | 1188996.5983 | 2765813.0398 | 1188994.9377 | 2765807.7245 | 1188991.7432 | 2765804.7751 | 1188988.8505
9 | 2766000.3882 | 1189168.4625 | 2766005.6001 | 1189175.6468 | 2766009.8852 | 1189185.1519 | 2766014.0635 | 1189194.6541 | 2766017.937 | 1189199.1878 | 2766024.7161 | 1189200.7772 | 2766032.2631 | 1189198.0729 | 2766040.0955 | 1189192.7853 | 2766046.4377 | 1189190.5926 | 2766049.3796 | 1189189.918 | 2766052.8562 | 1189185.377 | 2766053.0307 | 1189175.2393 | 2766053.1507 | 1189170.9165 | 2766060.5581 | 1189152.0716 | 2766079.908 | 1189118.7338 | 2766086.1324 | 1189114.3857
10 | 2766000.3882 | 1189168.4625 | 2765996.2418 | 1189169.6375 | 2765989.6185 | 1189167.1072 | 2765985.0652 | 1189162.0431 | 2765982.1266 | 1189157.6465 | 2765980.6664 | 1189151.9565 | 2765976.3238 | 1189140.6704 | 2765971.1534 | 1189127.86 | 2765965.3219 | 1189120.4472 | 2765959.2027 | 1189115.9736 | 2765947.8692 | 1189113.4795 | 2765942.0634 | 1189112.3219
11 | 2765793.3581 | 1188976.1202 | 2765796.2889 | 1188980.5276 | 2765804.7751 | 1188988.8505
12 | 2766091.5652 | 1189110.5907 | 2766086.1324 | 1189114.3857
13 | 2765929.023 | 1189109.6982 | 2765935.1705 | 1189110.9475 | 2765942.0634 | 1189112.3219
14 | 2765629.3488 | 1189023.5772 | 2765637.6361 | 1189025.8692
15 | 2765627.722 | 1189023.1273 | 2765629.3488 | 1189023.5772
16 | 2765657.4697 | 1189032.4569 | 2765654.3379 | 1189030.4884 | 2765637.6361 | 1189025.8692
17 | 2765612.5052 | 1189018.9188 | 2765627.722 | 1189023.1273
18 | 2765660.5569 | 1189034.3973 | 2765657.4697 | 1189032.4569
19 | 2765612.5052 | 1189018.9188 | 2765601.9682 | 1189016.0046 | 2765593.5822 | 1189013.6904
20 | 2765660.5569 | 1189034.3973 | 2765647.0256 | 1189010.3791 | 2765646.6273 | 1189008.7778 | 2765647.581 | 1189007.136 | 2765652.3321 | 1189004.5207
21 | 2765660.5569 | 1189034.3973 | 2765664.9539 | 1189043.1935 | 2765667.9868 | 1189046.9475 | 2765675.1949 | 1189052.0737 | 2765675.7854 | 1189052.3975
22 | 2765766.7692 | 1189140.8203 | 2765767.0606 | 1189140.6959 | 2765767.771 | 1189140.335
23 | 2765776.2804 | 1189135.4343 | 2765771.6279 | 1189138.3758 | 2765767.771 | 1189140.335
24 | 2765766.7692 | 1189140.8203 | 2765761.6772 | 1189142.9934 | 2765756.0877 | 1189145.2963 | 2765755.8865 | 1189145.3459
25 | 2765776.2804 | 1189135.4343 | 2765777.7473 | 1189134.5068
26 | 2765738.6884 | 1189148.2116 | 2765748.6642 | 1189147.1258 | 2765755.8865 | 1189145.3459
27 | 2765792.3214 | 1189121.7671 | 2765780.5927 | 1189132.7078 | 2765777.7473 | 1189134.5068
28 | 2765717.9585 | 1189150.4678 | 2765738.6884 | 1189148.2116
29 | 2765792.3214 | 1189121.7671 | 2765786.7423 | 1189117.6311 | 2765784.2315 | 1189114.7699
30 | 2765792.3214 | 1189121.7671 | 2765800.2713 | 1189127.6592 | 2765805.2521 | 1189130.7999
31 | 2765666.6602 | 1189186.4538 | 2765669.2109 | 1189184.9277 | 2765677.9406 | 1189175.3384 | 2765685.657 | 1189168.1677 | 2765690.0704 | 1189166.0506
32 | 2765701.1137 | 1189160.3995 | 2765700.4392 | 1189160.7812 | 2765696.7258 | 1189162.8581 | 2765690.0704 | 1189166.0506
33 | 2765666.6602 | 1189186.4538 | 2765665.1792 | 1189187.3398
34 | 2765701.1137 | 1189160.3995 | 2765715.9472 | 1189152.0914
35 | 2765533.3002 | 1189155.8206 | 2765537.2132 | 1189157.2857 | 2765542.2424 | 1189157.0245 | 2765547.4417 | 1189156.1341 | 2765552.5053 | 1189155.1843 | 2765561.1648 | 1189154.7456 | 2765597.3375 | 1189156.0025 | 2765649.4592 | 1189158.7244 | 2765660.4782 | 1189158.7959 | 2765670.1431 | 1189157.3287 | 2765683.3439 | 1189152.4784 | 2765689.4811 | 1189149.6902 | 2765692.4188 | 1189149.994 | 2765694.7052 | 1189150.9359 | 2765701.1137 | 1189160.3995
36 | 2765665.1792 | 1189187.3398 | 2765661.2871 | 1189189.6683 | 2765655.8808 | 1189191.4203 | 2765651.0108 | 1189193.0982 | 2765642.5144 | 1189195.6308
37 | 2765717.9585 | 1189150.4678 | 2765716.0606 | 1189152.0278 | 2765715.9472 | 1189152.0914
38 | 2765533.3002 | 1189155.8206 | 2765531.3421 | 1189152.6637 | 2765531.0834 | 1189148.2192 | 2765532.0877 | 1189145.5779 | 2765535.6186 | 1189143.1956 | 2765538.3958 | 1189142.127 | 2765547.9755 | 1189141.2577 | 2765553.2816 | 1189140.0922 | 2765559.4282 | 1189137.5154 | 2765563.9206 | 1189134.5925 | 2765588.6322 | 1189108.1854 | 2765593.5643 | 1189101.7827 | 2765595.6808 | 1189097.8377 | 2765595.9451 | 1189096.01 | 2765595.5345 | 1189093.1961 | 2765594.6299 | 1189090.8579 | 2765592.2625 | 1189088.9796 | 2765588.2209 | 1189088.3006 | 2765584.2292 | 1189089.4023 | 2765575.0003 | 1189094.1403 | 2765565.7049 | 1189096.3186 | 2765559.703 | 1189096.6974 | 2765534.6568 | 1189094.1026 | 2765528.8372 | 1189093.9583
39 | 2765621.9734 | 1189203.1819 | 2765629.0933 | 1189199.6312 | 2765642.5144 | 1189195.6308
40 | 2765725.6833 | 1189144.0981 | 2765717.9585 | 1189150.4678
41 | 2765528.8372 | 1189093.9583 | 2765523.0407 | 1189093.8146 | 2765470.6087 | 1189095.6672 | 2765461.4754 | 1189094.7473 | 2765436.2958 | 1189090.6256 | 2765409.207 | 1189085.4393 | 2765396.6683 | 1189082.3569 | 2765388.7413 | 1189080.8699 | 2765386.3038 | 1189080.8615
42 | 2765833.309 | 1189137.4957 | 2765838.0011 | 1189139.3812 | 2765844.937 | 1189145.892
43 | 2765855.2593 | 1189163.8915 | 2765846.9127 | 1189147.7467 | 2765844.937 | 1189145.892
44 | 2765833.309 | 1189137.4957 | 2765826.4976 | 1189134.7585 | 2765822.6489 | 1189134.0708
45 | 2765855.7257 | 1189164.7935 | 2765855.2593 | 1189163.8915
46 | 2765810.3258 | 1189131.8237 | 2765812.2803 | 1189132.2181 | 2765822.6489 | 1189134.0708
47 | 2765887.5899 | 1189209.3728 | 2765872.5118 | 1189183.2433 | 2765859.4396 | 1189169.1351 | 2765856.2573 | 1189165.8218 | 2765855.7257 | 1189164.7935
48 | 2765810.3258 | 1189131.8237 | 2765809.1861 | 1189131.5937
49 | 2765911.6189 | 1189252.8895 | 2765907.9974 | 1189239.5438 | 2765891.0598 | 1189215.3861 | 2765887.5899 | 1189209.3728
50 | 2765805.2521 | 1189130.7999 | 2765809.1861 | 1189131.5937
51 | 2765784.0492 | 1189114.5621 | 2765784.2315 | 1189114.7699
52 | 2765725.6833 | 1189144.0981 | 2765738.4352 | 1189137.5451 | 2765748.5793 | 1189131.7997
53 | 2765740.7109 | 1189057.8024 | 2765734.7196 | 1189050.9866
54 | 2765729.2942 | 1189046.6898 | 2765734.7196 | 1189050.9866 | 2765734.7196 | 1189050.9866
55 | 2765740.7109 | 1189057.8024 | 2765740.9719 | 1189058.0994 | 2765745.2321 | 1189068.6275
56 | 2765724.301 | 1189042.7353 | 2765729.2942 | 1189046.6898
57 | 2765748.6724 | 1189077.1297 | 2765745.2321 | 1189068.6275
58 | 2765764.3906 | 1189086.1062 | 2765752.4151 | 1189077.8561 | 2765748.6724 | 1189077.1297
59 | 2765748.6724 | 1189077.1297 | 2765745.1514 | 1189076.9432 | 2765741.2737 | 1189076.1351 | 2765738.1141 | 1189075.1304
60 | 2765750.7712 | 1189130.0068 | 2765748.6937 | 1189131.735 | 2765748.5793 | 1189131.7997
61 | 2765753.7249 | 1189107.1632 | 2765758.9951 | 1189102.6161 | 2765759.9786 | 1189101.3023
62 | 2765753.7249 | 1189107.1632 | 2765715.3501 | 1189121.8455
63 | 2765766.4674 | 1189092.4138 | 2765763.7794 | 1189096.3207 | 2765763.4889 | 1189096.6129 | 2765759.9786 | 1189101.3023
64 | 2765710.9811 | 1189123.5171 | 2765715.3501 | 1189121.8455
65 | 2765764.3906 | 1189086.1062 | 2765766.4674 | 1189092.4138
66 | 2765766.4674 | 1189092.4138 | 2765773.5238 | 1189100.8056 | 2765776.5134 | 1189105.2033
67 | 2765689.5322 | 1189059.9331 | 2765675.7854 | 1189052.3975
68 | 2765689.5322 | 1189059.9331 | 2765687.609 | 1189069.2994 | 2765686.6483 | 1189078.3587 | 2765684.0999 | 1189085.2166 | 2765679.2933 | 1189093.8357
69 | 2765689.5322 | 1189059.9331 | 2765697.1502 | 1189061.5564 | 2765708.6096 | 1189062.8191 | 2765711.7386 | 1189064.1897
70 | 2765776.5134 | 1189105.2033 | 2765778.8405 | 1189108.6265 | 2765784.0492 | 1189114.5621
71 | 2765621.9734 | 1189203.1819 | 2765613.9582 | 1189207.642 | 2765595.3828 | 1189220.829 | 2765581.4014 | 1189229.35 | 2765557.1267 | 1189240.2664 | 2765537.2614 | 1189249.3253 | 2765522.2096 | 1189254.0579 | 2765508.929 | 1189258.4948 | 2765494.582 | 1189263.1358 | 2765486.688 | 1189268.1888
72 | 2765718.495 | 1189067.3262 | 2765715.8187 | 1189065.977 | 2765711.7386 | 1189064.1897
73 | 2765718.495 | 1189067.3262 | 2765726.9064 | 1189071.5667 | 2765726.9064 | 1189071.5667
74 | 2765738.1141 | 1189075.1304 | 2765726.9064 | 1189071.5667
75 | 2765764.3906 | 1189086.1062 | 2765773.4612 | 1189081.0305 | 2765780.489 | 1189078.3337 | 2765781.9863 | 1189078.0353
76 | 2765911.6189 | 1189252.8895 | 2765912.0323 | 1189267.9812 | 2765914.9368 | 1189282.9641 | 2765919.7861 | 1189293.8638 | 2765939.6095 | 1189315.7773 | 2765941.4825 | 1189318.9624
77 | 2766003.8938 | 1189392.8175 | 2765990.1817 | 1189393.2711 | 2765988.1865 | 1189388.9897 | 2765983.6101 | 1189376.7852 | 2765964.5025 | 1189352.745 | 2765951.1979 | 1189335.4829 | 2765941.4825 | 1189318.9624
78 | 2765911.6189 | 1189252.8895 | 2765892.459 | 1189256.5842 | 2765877.7534 | 1189259.8199
79 | 2766003.8938 | 1189392.8175 | 2766052.2489 | 1189361.2409
80 | 2765781.9863 | 1189078.0353 | 2765785.0938 | 1189077.416 | 2765790.6791 | 1189078.0267 | 2765795.2351 | 1189079.4208 | 2765802.4708 | 1189082.168 | 2765828.0531 | 1189095.9889 | 2765839.5462 | 1189102.1741
81 | 2765486.688 | 1189268.1888 | 2765447.2616 | 1189387.9181
82 | 2765356.7879 | 1189039.8866 | 2765354.2563 | 1189050.2901 | 2765352.2684 | 1189065.6045 | 2765351.2614 | 1189077.1871 | 2765349.8059 | 1189084.0086 | 2765345.5695 | 1189092.3102 | 2765340.332 | 1189103.142 | 2765339.907 | 1189106.6445 | 2765340.5671 | 1189110.0991 | 2765342.7763 | 1189112.4623 | 2765345.7839 | 1189113.8243 | 2765349.3578 | 1189113.4782 | 2765352.6306 | 1189110.7662 | 2765355.4949 | 1189105.7185 | 2765361.5611 | 1189092.2406 | 2765366.0043 | 1189086.1245 | 2765370.1229 | 1189083.1911 | 2765374.8907 | 1189081.6214 | 2765381.8423 | 1189080.846 | 2765386.3038 | 1189080.8615
83 | 2765447.2616 | 1189387.9181 | 2765437.4297 | 1189402.6276
84 | 2765876.9777 | 1189107.2318 | 2765887.069 | 1189103.3301 | 2765893.4402 | 1189102.2946 | 2765899.9872 | 1189102.0758 | 2765910.3124 | 1189103.7745 | 2765929.023 | 1189109.6982
85 | 2765876.9777 | 1189107.2318 | 2765868.7443 | 1189108.5383 | 2765862.6146 | 1189109.1246 | 2765854.6185 | 1189108.2023 | 2765841.8225 | 1189103.3991 | 2765839.5462 | 1189102.1741
86 | 2765440.6685 | 1189451.5611 | 2765614.9239 | 1189524.8097
87 | 2765440.6685 | 1189451.5611 | 2765428.3462 | 1189457.5915 | 2765409.1323 | 1189456.6487 | 2765383.2801 | 1189451.2408 | 2765340.4592 | 1189430.4729 | 2765323.0261 | 1189427.4939
88 | 2765440.6685 | 1189451.5611 | 2765452.4147 | 1189445.8126 | 2765460.1764 | 1189431.7366 | 2765457.6446 | 1189426.9735 | 2765453.2522 | 1189422.9818 | 2765442.3086 | 1189426.5493 | 2765433.7675 | 1189431.8292 | 2765426.598 | 1189424.4912 | 2765432.5332 | 1189409.9532 | 2765437.4297 | 1189402.6276
89 | 2765094.1964 | 1189344.3934 | 2765092.88 | 1189339.5155 | 2765089.7255 | 1189330.754 | 2765087.1679 | 1189327.1914 | 2765087.1679 | 1189327.1914
90 | 2765292.6931 | 1189410.792 | 2765094.1964 | 1189344.3934
91 | 2765292.6931 | 1189410.792 | 2765313.3642 | 1189425.8429 | 2765323.0261 | 1189427.4939

## bus_geodata
| x | y | coords
0 | 2765316.9021 | 1188957.1664
1 | 2765303.4978 | 1188957.0382
2 | 2765342.9655 | 1188675.4111
3 | 2765309.0606 | 1188993.5468
4 | 2765357.0117 | 1189038.9671
5 | 2765887.1742 | 1189045.7507
6 | 2765991.1413 | 1189147.4513
7 | 2765882.7207 | 1189043.2444
8 | 2766000.3882 | 1189168.4625
9 | 2765804.7751 | 1188988.8505
10 | 2766086.1324 | 1189114.3857
11 | 2765942.0634 | 1189112.3219
12 | 2765793.3581 | 1188976.1202
13 | 2765629.3488 | 1189023.5772
14 | 2765637.6361 | 1189025.8692
15 | 2765627.722 | 1189023.1273
16 | 2765657.4697 | 1189032.4569
17 | 2765612.5052 | 1189018.9188
18 | 2765660.5569 | 1189034.3973
19 | 2765593.5822 | 1189013.6904
20 | 2765767.771 | 1189140.335
21 | 2765766.7692 | 1189140.8203
22 | 2765776.2804 | 1189135.4343
23 | 2765755.8865 | 1189145.3459
24 | 2765777.7473 | 1189134.5068
25 | 2765738.6884 | 1189148.2116
26 | 2765792.3214 | 1189121.7671
27 | 2765690.0704 | 1189166.0506
28 | 2765666.6602 | 1189186.4538
29 | 2765701.1137 | 1189160.3995
30 | 2765665.1792 | 1189187.3398
31 | 2765715.9472 | 1189152.0914
32 | 2765533.3002 | 1189155.8206
33 | 2765642.5144 | 1189195.6308
34 | 2765717.9585 | 1189150.4678
35 | 2765528.8372 | 1189093.9583
36 | 2765844.937 | 1189145.892
37 | 2765833.309 | 1189137.4957
38 | 2765855.2593 | 1189163.8915
39 | 2765822.6489 | 1189134.0708
40 | 2765855.7257 | 1189164.7935
41 | 2765810.3258 | 1189131.8237
42 | 2765887.5899 | 1189209.3728
43 | 2765809.1861 | 1189131.5937
44 | 2765805.2521 | 1189130.7999
45 | 2765784.2315 | 1189114.7699
46 | 2765725.6833 | 1189144.0981
47 | 2765734.7196 | 1189050.9866
48 | 2765740.7109 | 1189057.8024
49 | 2765729.2942 | 1189046.6898
50 | 2765745.2321 | 1189068.6275
51 | 2765724.301 | 1189042.7353
52 | 2765748.6724 | 1189077.1297
53 | 2765750.7712 | 1189130.0068
54 | 2765748.5793 | 1189131.7997
55 | 2765753.7249 | 1189107.1632
56 | 2765759.9786 | 1189101.3023
57 | 2765715.3501 | 1189121.8455
58 | 2765766.4674 | 1189092.4138
59 | 2765710.9811 | 1189123.5171
60 | 2765652.3321 | 1189004.5207
61 | 2765675.7854 | 1189052.3975
62 | 2765689.5322 | 1189059.9331
63 | 2765784.0492 | 1189114.5621
64 | 2765776.5134 | 1189105.2033
65 | 2765621.9734 | 1189203.1819
66 | 2765718.495 | 1189067.3262
67 | 2765711.7386 | 1189064.1897
68 | 2765726.9064 | 1189071.5667
69 | 2765738.1141 | 1189075.1304
70 | 2765679.2933 | 1189093.8357
71 | 2765764.3906 | 1189086.1062
72 | 2765941.4825 | 1189318.9624
73 | 2765911.6189 | 1189252.8895
74 | 2766003.8938 | 1189392.8175
75 | 2765877.7534 | 1189259.8199
76 | 2766052.2489 | 1189361.2409
77 | 2765781.9863 | 1189078.0353
78 | 2765486.688 | 1189268.1888
79 | 2765356.7879 | 1189039.8866
80 | 2765386.3038 | 1189080.8615
81 | 2765447.2616 | 1189387.9181
82 | 2765929.023 | 1189109.6982
83 | 2765876.9777 | 1189107.2318
84 | 2765839.5462 | 1189102.1741
85 | 2766091.5652 | 1189110.5907
86 | 2765614.9239 | 1189524.8097
87 | 2765440.6685 | 1189451.5611
88 | 2765094.1964 | 1189344.3934
89 | 2765087.1679 | 1189327.1914
90 | 2765292.6931 | 1189410.792
91 | 2765323.0261 | 1189427.4939
92 | 2765437.4297 | 1189402.6276
93 | 2765689.5322 | 1189059.9331

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1