## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3951-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3951-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3951-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3951-6_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3951-6_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_3951-6_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_3951-6_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3951-6_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3951-6_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3951-6_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_3951-6_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_3951-6_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3951-6_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3951-6_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3951-6_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_3951-6_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_3951-6_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_3951-6_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_3951-6_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3951-6_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_3951-6_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_3951-6_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_3951-6_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_3951-6_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_3951-6_0_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_3951-6_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_3951-6_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_3951-6_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_3951-6_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_3951-6_0_3_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_3951-6_0_3_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_3951-6_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_3951-6_0_3_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_3951-6_0_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_3951-6_0_3_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_3951-6_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_3951-6_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_3951-6_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3951-6_0_3_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_3951-6_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_3951-6_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_3951-6_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_3951-6_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_3951-6_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_3951-6_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_3951-6_0_3_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_3951-6_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_3951-6_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_3951-6_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_3951-6_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3951-6_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_3951-6_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_3951-6_0_3_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_3951-6_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_3951-6_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_3951-6_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_3951-6_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_3951-6_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3951-6_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_3951-6_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_3951-6_0_3_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_3951-6_0_3_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_3951-6_0_3_node_96 | 0.4 | n |  | TRUE
63 | bus_LV_3951-6_0_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_3951-6_0_3_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_3951-6_0_3_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_3951-6_0_3_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_3951-6_0_3_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_3951-6_0_3_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_3951-6_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_3951-6_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_3951-6_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_3951-6_0_3_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_3951-6_0_3_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_3951-6_0_3_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_3951-6_0_3_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_3951-6_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_3951-6_0_3_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_3951-6_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_3951-6_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_3951-6_0_3_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_3951-6_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_3951-6_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_3951-6_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_3951-6_0_3_node_97 | 0.4 | n |  | TRUE
85 | bus_LV_3951-6_0_3_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_3951-6_0_3_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_3951-6_0_3_node_94 | 0.4 | n |  | TRUE
88 | bus_LV_3951-6_0_3_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_3951-6_0_3_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_3951-6_0_3_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_3951-6_0_3_node_92 | 0.4 | n |  | TRUE
92 | bus_MV_149_0_node_236 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3951-6_0_3_load_0 | 0 | 0.0011563 | 0.00028979 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3951-6_0_3_load_1 | 1 | 0.00361 | 0.00090476 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3951-6_0_3_load_4 | 3 | 0.0020707 | 0.00051897 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3951-6_0_3_load_9 | 5 | 0.0018247 | 0.00045733 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3951-6_0_3_load_5 | 6 | 0.0018825 | 0.0004718 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3951-6_0_3_load_6 | 7 | 0.0019241 | 0.00048223 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3951-6_0_3_load_8 | 8 | 0.0026931 | 0.00067496 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3951-6_0_3_load_17 | 9 | 0.0013477 | 0.00033777 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3951-6_0_3_load_18 | 10 | 0.002346 | 0.00058796 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3951-6_0_3_load_10 | 11 | 0.0029025 | 0.00072742 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3951-6_0_3_load_11 | 12 | 0.0059356 | 0.0014876 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3951-6_0_3_load_12 | 13 | 0.003407 | 0.00085387 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3951-6_0_3_load_13 | 14 | 0.0014568 | 0.00036512 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3951-6_0_3_load_15 | 16 | 0.0034291 | 0.00085942 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3951-6_0_3_load_19 | 17 | 0.0034364 | 0.00086124 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3951-6_0_3_load_20 | 18 | 0.0014558 | 0.00036485 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3951-6_0_3_load_21 | 19 | 0.0026135 | 0.000655 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3951-6_0_3_load_22 | 20 | 0.0033877 | 0.00084904 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3951-6_0_3_load_23 | 21 | 0.0044744 | 0.0011214 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3951-6_0_3_load_24 | 22 | 0.0016768 | 0.00042024 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3951-6_0_3_load_25 | 23 | 0.0023909 | 0.00059922 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3951-6_0_3_load_31 | 25 | 0.0043509 | 0.0010904 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3951-6_0_3_load_27 | 26 | 0.0029038 | 0.00072777 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3951-6_0_3_load_29 | 28 | 0.0018358 | 0.0004601 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3951-6_0_3_load_89 | 30 | 0.0017182 | 0.00043062 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3951-6_0_3_load_30 | 31 | 0.00283 | 0.00070927 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3951-6_0_3_load_58 | 32 | 0.0035323 | 0.00088529 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3951-6_0_3_load_55 | 33 | 0.0014429 | 0.00036163 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3951-6_0_3_load_88 | 34 | 0.0012593 | 0.00031561 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3951-6_0_3_load_34 | 36 | 0.0043273 | 0.0010845 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3951-6_0_3_load_32 | 37 | 0.0061844 | 0.00155 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3951-6_0_3_load_48 | 38 | 0.0089373 | 0.0022399 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3951-6_0_3_load_49 | 39 | 0.004276 | 0.0010717 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3951-6_0_3_load_35 | 40 | 0.0044127 | 0.0011059 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3951-6_0_3_load_36 | 41 | 0.0014317 | 0.00035882 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3951-6_0_3_load_37 | 42 | 0.0053073 | 0.0013301 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3951-6_0_3_load_44 | 45 | 0.0025255 | 0.00063294 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3951-6_0_3_load_43 | 46 | 0.0025345 | 0.0006352 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3951-6_0_3_load_45 | 47 | 0.0016049 | 0.00040223 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3951-6_0_3_load_46 | 48 | 0.0025546 | 0.00064025 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3951-6_0_3_load_41 | 49 | 0.004006 | 0.001004 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3951-6_0_3_load_40 | 50 | 0.0039681 | 0.00099449 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3951-6_0_3_load_47 | 51 | 0.004905 | 0.0012293 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3951-6_0_3_load_73 | 52 | 0.0016831 | 0.00042182 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3951-6_0_3_load_53 | 53 | 0.0020353 | 0.0005101 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3951-6_0_3_load_50 | 54 | 0.0020342 | 0.00050982 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3951-6_0_3_load_51 | 55 | 0.0033665 | 0.00084373 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3951-6_0_3_load_52 | 56 | 0.0020681 | 0.00051832 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3951-6_0_3_load_54 | 57 | 0.0016293 | 0.00040835 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3951-6_0_3_load_60 | 58 | 0.0037724 | 0.00094546 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3951-6_0_3_load_59 | 60 | 0.0014934 | 0.00037428 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3951-6_0_3_load_61 | 61 | 0.0026115 | 0.00065451 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3951-6_0_3_load_96 | 62 | 0.0016682 | 0.0004181 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3951-6_0_3_load_74 | 63 | 0.0016363 | 0.0004101 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3951-6_0_3_load_82 | 64 | 0.0011906 | 0.00029838 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3951-6_0_3_load_95 | 65 | 0.001281 | 0.00032104 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3951-6_0_3_load_70 | 66 | 0.0016438 | 0.00041198 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3951-6_0_3_load_83 | 67 | 0.0030015 | 0.00075226 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3951-6_0_3_load_62 | 68 | 0.00243 | 0.00060901 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3951-6_0_3_load_63 | 69 | 0.00090933 | 0.0002279 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3951-6_0_3_load_64 | 70 | 0.0044856 | 0.0011242 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3951-6_0_3_load_65 | 71 | 0.0010651 | 0.00026694 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3951-6_0_3_load_66 | 72 | 0.0032824 | 0.00082266 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3951-6_0_3_load_79 | 74 | 0.0027381 | 0.00068624 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3951-6_0_3_load_72 | 76 | 0.0044659 | 0.0011193 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3951-6_0_3_load_67 | 77 | 0.0038152 | 0.00095617 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3951-6_0_3_load_68 | 78 | 0.0043956 | 0.0011016 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3951-6_0_3_load_71 | 80 | 0.0042894 | 0.001075 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3951-6_0_3_load_76 | 81 | 0.0029778 | 0.00074631 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3951-6_0_3_load_77 | 82 | 0.0091845 | 0.0023018 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3951-6_0_3_load_78 | 83 | 0.0024313 | 0.00060933 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3951-6_0_3_load_97 | 84 | 0.0026769 | 0.0006709 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3951-6_0_3_load_84 | 85 | 0.0022033 | 0.00055221 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3951-6_0_3_load_86 | 86 | 0.0022204 | 0.00055649 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3951-6_0_3_load_94 | 87 | 0.003811 | 0.00095513 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3951-6_0_3_load_93 | 88 | 0.0018237 | 0.00045707 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3951-6_0_3_load_90 | 89 | 0.0019137 | 0.00047961 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3951-6_0_3_load_91 | 90 | 0.0012343 | 0.00030935 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3951-6_0_3_load_92 | 91 | 0.0021435 | 0.0005372 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3951-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3951-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.033965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3951-6_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.01503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3951-6_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0093265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3951-6_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.04501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3951-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0050947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3951-6_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.016013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3951-6_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0019079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3951-6_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0091298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3951-6_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.010626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3951-6_0_3_line_10 | NAYY 4x150 SE | 10 | 15 | 0.01387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3951-6_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0099119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3951-6_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.00063753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3951-6_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.004705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3951-6_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.006301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3951-6_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.00065766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3951-6_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.012426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3951-6_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.0013722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3951-6_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.0093087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3951-6_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.010329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3951-6_0_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.010793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3951-6_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.0076401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3951-6_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.021636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3951-6_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.022998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3951-6_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.013551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3951-6_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.01686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3951-6_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.005957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3951-6_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.002279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_3951-6_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.034604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3951-6_0_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.0089415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3951-6_0_3_line_30 | NAYY 4x150 SE | 28 | 31 | 0.00029013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3951-6_0_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.011252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3951-6_0_3_line_32 | NAYY 4x150 SE | 29 | 33 | 0.0059693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_3951-6_0_3_line_33 | NAYY 4x150 SE | 30 | 34 | 0.0016475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3951-6_0_3_line_34 | NAYY 4x150 SE | 31 | 35 | 0.0053596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_3951-6_0_3_line_35 | NAYY 4x150 SE | 32 | 62 | 0.0089993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3951-6_0_3_line_36 | NAYY 4x150 SE | 33 | 59 | 0.023411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3951-6_0_3_line_37 | NAYY 4x150 SE | 34 | 89 | 0.00062414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3951-6_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.011955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_3951-6_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.013153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3951-6_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.0088813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3951-6_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0044391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_3951-6_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.018967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3951-6_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.0019702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3951-6_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.0043633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3951-6_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.0092526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3951-6_0_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.005954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3951-6_0_3_line_47 | NAYY 4x150 SE | 43 | 46 | 0.010281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3951-6_0_3_line_48 | NAYY 4x150 SE | 44 | 47 | 0.035324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3951-6_0_3_line_49 | NAYY 4x150 SE | 45 | 48 | 0.0030276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3951-6_0_3_line_50 | NAYY 4x150 SE | 46 | 49 | 0.016409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3951-6_0_3_line_51 | NAYY 4x150 SE | 48 | 51 | 0.0038474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3951-6_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.0074299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3951-6_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0024836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3951-6_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0070691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3951-6_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0042995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3951-6_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0051091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3951-6_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.0035831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3951-6_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.011155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3951-6_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.00084755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3951-6_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.029622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3951-6_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0091213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3951-6_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.016749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3951-6_0_3_line_63 | NAYY 4x150 SE | 60 | 63 | 0.001187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3951-6_0_3_line_64 | NAYY 4x150 SE | 61 | 64 | 0.0037906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3951-6_0_3_line_65 | NAYY 4x150 SE | 62 | 65 | 0.00026964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3951-6_0_3_line_66 | NAYY 4x150 SE | 63 | 66 | 0.0052386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3951-6_0_3_line_67 | NAYY 4x150 SE | 64 | 67 | 0.0049003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3951-6_0_3_line_68 | NAYY 4x150 SE | 65 | 86 | 0.0030725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3951-6_0_3_line_69 | NAYY 4x150 SE | 66 | 78 | 0.0013732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3951-6_0_3_line_70 | NAYY 4x150 SE | 67 | 85 | 0.0018467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3951-6_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.0123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3951-6_0_3_line_72 | NAYY 4x150 SE | 68 | 70 | 0.020586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3951-6_0_3_line_73 | NAYY 4x150 SE | 69 | 71 | 0.0015834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3951-6_0_3_line_74 | NAYY 4x150 SE | 70 | 72 | 0.00080953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3951-6_0_3_line_75 | NAYY 4x150 SE | 71 | 73 | 0.004729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3951-6_0_3_line_76 | NAYY 4x150 SE | 72 | 74 | 0.0011484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3951-6_0_3_line_77 | NAYY 4x150 SE | 73 | 75 | 0.084469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3951-6_0_3_line_78 | NAYY 4x150 SE | 74 | 76 | 0.011142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3951-6_0_3_line_79 | NAYY 4x150 SE | 75 | 84 | 0.021728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3951-6_0_3_line_80 | NAYY 4x150 SE | 76 | 79 | 0.017925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3951-6_0_3_line_81 | NAYY 4x150 SE | 77 | 78 | 0.014553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3951-6_0_3_line_82 | NAYY 4x150 SE | 77 | 79 | 0.008961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3951-6_0_3_line_83 | NAYY 4x150 SE | 79 | 80 | 0.011589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3951-6_0_3_line_84 | NAYY 4x150 SE | 80 | 81 | 0.013116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3951-6_0_3_line_85 | NAYY 4x150 SE | 81 | 82 | 0.0055929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3951-6_0_3_line_86 | NAYY 4x150 SE | 82 | 83 | 0.005062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3951-6_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.0014563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3951-6_0_3_line_88 | NAYY 4x150 SE | 88 | 91 | 0.0069988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3951-6_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.0081646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3951-6_0_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.0022205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3951-6_0_3_trafo_49 | 0.25 MVA 20/0.4 kV | 92 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2757588.2099 | 1210672.5025 | 2757571.7261 | 1210672.2385
1 | 2757622.0504 | 1210670.4577 | 2757601.3603 | 1210672.7132 | 2757588.2099 | 1210672.5025
2 | 2757622.0504 | 1210670.4577 | 2757622.643 | 1210663.5783 | 2757623.2431 | 1210655.4754
3 | 2757623.932 | 1210646.1744 | 2757623.2431 | 1210655.4754
4 | 2757666.6923 | 1210631.7579 | 2757623.932 | 1210646.1744
5 | 2757623.932 | 1210646.1744 | 2757623.8918 | 1210641.0799
6 | 2757623.8918 | 1210641.0799 | 2757623.8918 | 1210641.0799 | 2757625.6249 | 1210633.9192 | 2757629.5955 | 1210626.2398
7 | 2757630.4167 | 1210624.5178 | 2757629.7602 | 1210625.9213 | 2757629.5955 | 1210626.2398
8 | 2757630.4167 | 1210624.5178 | 2757631.7591 | 1210621.648 | 2757632.6684 | 1210617.168 | 2757632.4428 | 1210615.7963
9 | 2757632.4428 | 1210615.7963 | 2757631.6726 | 1210611.114 | 2757629.8779 | 1210605.5133
10 | 2757625.6454 | 1210592.3045 | 2757629.8779 | 1210605.5133
11 | 2757619.6193 | 1210588.8653 | 2757611.0107 | 1210583.9522
12 | 2757620.173 | 1210589.1813 | 2757619.6193 | 1210588.8653
13 | 2757611.0107 | 1210583.9522 | 2757610.423 | 1210583.6168 | 2757607.8328 | 1210580.5317
14 | 2757625.6454 | 1210592.3045 | 2757620.173 | 1210589.1813
15 | 2757607.8328 | 1210580.5317 | 2757607.4099 | 1210580.028
16 | 2757625.6454 | 1210592.3045 | 2757637.3843 | 1210588.2284
17 | 2757637.3843 | 1210588.2284 | 2757638.6805 | 1210587.7783
18 | 2757638.6805 | 1210587.7783 | 2757646.0913 | 1210585.205 | 2757647.4187 | 1210584.5877
19 | 2757647.4187 | 1210584.5877 | 2757656.7846 | 1210580.2326
20 | 2757666.5709 | 1210575.682 | 2757656.7846 | 1210580.2326
21 | 2757666.5709 | 1210575.682 | 2757673.1803 | 1210571.8497
22 | 2757666.5709 | 1210575.682 | 2757656.6125 | 1210556.4738
23 | 2757691.8468 | 1210558.4789 | 2757684.2242 | 1210564.6274 | 2757676.935 | 1210569.6727 | 2757673.1803 | 1210571.8497
24 | 2757650.8203 | 1210544.2306 | 2757653.938 | 1210551.3151 | 2757656.6125 | 1210556.4738
25 | 2757691.8468 | 1210558.4789 | 2757696.6123 | 1210572.3729 | 2757697.8451 | 1210574.1605
26 | 2757691.8468 | 1210558.4789 | 2757694.5725 | 1210553.1795
27 | 2757697.8451 | 1210574.1605 | 2757699.139 | 1210576.0366
28 | 2757729.1657 | 1210553.1605 | 2757716.499 | 1210553.3592 | 2757705.7017 | 1210552.1727 | 2757694.5725 | 1210553.1795
29 | 2757694.5725 | 1210553.1795 | 2757692.285 | 1210544.5355
30 | 2757699.3037 | 1210576.2755 | 2757699.139 | 1210576.0366
31 | 2757729.1657 | 1210553.1605 | 2757728.141 | 1210541.9557
32 | 2757729.1657 | 1210553.1605 | 2757735.1097 | 1210553.7101
33 | 2757691.8636 | 1210542.9428 | 2757692.285 | 1210544.5355
34 | 2757702.3466 | 1210580.6875 | 2757699.3037 | 1210576.2755
35 | 2757727.3214 | 1210532.9938 | 2757728.141 | 1210541.9557
36 | 2757758.4051 | 1210556.025 | 2757745.1719 | 1210554.6406 | 2757735.1097 | 1210553.7101
37 | 2757691.8636 | 1210542.9428 | 2757691.7039 | 1210542.3395
38 | 2757702.3466 | 1210580.6875 | 2757706.2948 | 1210583.2164 | 2757711.4745 | 1210583.4646 | 2757713.4335 | 1210584.1662
39 | 2757702.3466 | 1210580.6875 | 2757705.2433 | 1210588.4711 | 2757706.741 | 1210593.0815
40 | 2757722.0977 | 1210585.7697 | 2757716.6045 | 1210585.3019 | 2757713.4335 | 1210584.1662
41 | 2757726.4746 | 1210585.0292 | 2757722.0977 | 1210585.7697
42 | 2757854.3038 | 1210571.4218 | 2757838.55 | 1210560.8586
43 | 2757854.3038 | 1210571.4218 | 2757855.9401 | 1210572.519
44 | 2757834.926 | 1210558.4287 | 2757838.55 | 1210560.8586
45 | 2757863.6251 | 1210577.6719 | 2757855.9401 | 1210572.519
46 | 2757834.926 | 1210558.4287 | 2757828.9797 | 1210558.1266
47 | 2757834.926 | 1210558.4287 | 2757842.9639 | 1210552.0186
48 | 2757863.6251 | 1210577.6719 | 2757862.402 | 1210586.8145 | 2757861.5728 | 1210594.8664 | 2757860.7205 | 1210604.6527 | 2757861.3562 | 1210612.8102
49 | 2757828.9797 | 1210558.1266 | 2757826.0078 | 1210557.5484
50 | 2757856.6843 | 1210543.0539 | 2757845.6698 | 1210549.8607 | 2757842.9639 | 1210552.0186
51 | 2757822.2312 | 1210556.8136 | 2757826.0078 | 1210557.5484
52 | 2757862.9959 | 1210539.1338 | 2757857.7147 | 1210542.4171 | 2757856.6843 | 1210543.0539
53 | 2757822.2312 | 1210556.8136 | 2757822.2312 | 1210556.8136 | 2757819.7562 | 1210557.0193
54 | 2757819.7562 | 1210557.0193 | 2757813.604 | 1210557.5305 | 2757812.7133 | 1210557.6253
55 | 2757808.438 | 1210558.0802 | 2757812.7133 | 1210557.6253
56 | 2757803.3557 | 1210557.8649 | 2757806.9923 | 1210558.2341 | 2757808.438 | 1210558.0802
57 | 2757803.3557 | 1210557.8649 | 2757800.1742 | 1210557.542 | 2757799.7917 | 1210557.496
58 | 2757799.7917 | 1210557.496 | 2757788.7159 | 1210556.1653
59 | 2757788.7159 | 1210556.1653 | 2757787.8745 | 1210556.0642
60 | 2757758.4051 | 1210556.025 | 2757770.7782 | 1210554.562 | 2757786.522 | 1210555.9017 | 2757787.8745 | 1210556.0642
61 | 2757758.4051 | 1210556.025 | 2757761.0715 | 1210564.7478
62 | 2757758.4051 | 1210556.025 | 2757757.2412 | 1210539.3169
63 | 2757761.7726 | 1210565.7056 | 2757761.0715 | 1210564.7478 | 2757761.0715 | 1210564.7478
64 | 2757756.9778 | 1210535.5355 | 2757757.2412 | 1210539.3169
65 | 2757727.3214 | 1210532.9938 | 2757727.2968 | 1210532.7253
66 | 2757764.8667 | 1210569.9329 | 2757761.7726 | 1210565.7056
67 | 2757756.9778 | 1210535.5355 | 2757756.9778 | 1210535.5355 | 2757754.8694 | 1210531.1119
68 | 2757727.2968 | 1210532.7253 | 2757727.017 | 1210529.6656
69 | 2757764.8667 | 1210569.9329 | 2757765.6778 | 1210571.0409
70 | 2757754.0748 | 1210529.4448 | 2757754.8694 | 1210531.1119
71 | 2757807.2441 | 1210633.0637 | 2757810.8292 | 1210644.8293
72 | 2757807.2441 | 1210633.0637 | 2757804.5042 | 1210624.072 | 2757797.8958 | 1210615.0472
73 | 2757810.8292 | 1210644.8293 | 2757811.2908 | 1210646.344
74 | 2757797.4175 | 1210614.394 | 2757797.8958 | 1210615.0472
75 | 2757812.6692 | 1210650.8677 | 2757811.2908 | 1210646.344
76 | 2757796.739 | 1210613.4674 | 2757797.4175 | 1210614.394
77 | 2757735.3336 | 1210685.3315 | 2757812.6692 | 1210650.8677
78 | 2757790.1562 | 1210604.4776 | 2757796.739 | 1210613.4674
79 | 2757735.3336 | 1210685.3315 | 2757740.7775 | 1210677.8909 | 2757742.6594 | 1210670.5674 | 2757741.6438 | 1210665.7261
80 | 2757779.566 | 1210590.0152 | 2757790.1562 | 1210604.4776
81 | 2757774.2733 | 1210582.7842 | 2757765.6778 | 1210571.0409
82 | 2757779.566 | 1210590.0152 | 2757774.2733 | 1210582.7842
83 | 2757779.566 | 1210590.0152 | 2757771.2753 | 1210598.1124
84 | 2757761.8922 | 1210607.2766 | 2757771.2753 | 1210598.1124
85 | 2757761.8922 | 1210607.2766 | 2757757.891 | 1210611.1844
86 | 2757757.891 | 1210611.1844 | 2757754.2696 | 1210614.7213
87 | 2757691.1894 | 1210525.0204 | 2757691.1879 | 1210523.5641
88 | 2757691.1894 | 1210525.0204 | 2757691.1968 | 1210532.0192
89 | 2757691.1991 | 1210534.2397 | 2757691.2057 | 1210540.4568 | 2757691.7039 | 1210542.3395
90 | 2757691.1991 | 1210534.2397 | 2757691.1968 | 1210532.0192

## bus_geodata
| x | y | coords
0 | 2757588.2099 | 1210672.5025
1 | 2757571.7261 | 1210672.2385
2 | 2757622.0504 | 1210670.4577
3 | 2757623.2431 | 1210655.4754
4 | 2757623.932 | 1210646.1744
5 | 2757666.6923 | 1210631.7579
6 | 2757623.8918 | 1210641.0799
7 | 2757629.5955 | 1210626.2398
8 | 2757630.4167 | 1210624.5178
9 | 2757632.4428 | 1210615.7963
10 | 2757629.8779 | 1210605.5133
11 | 2757619.6193 | 1210588.8653
12 | 2757611.0107 | 1210583.9522
13 | 2757620.173 | 1210589.1813
14 | 2757607.8328 | 1210580.5317
15 | 2757625.6454 | 1210592.3045
16 | 2757607.4099 | 1210580.028
17 | 2757637.3843 | 1210588.2284
18 | 2757638.6805 | 1210587.7783
19 | 2757647.4187 | 1210584.5877
20 | 2757656.7846 | 1210580.2326
21 | 2757666.5709 | 1210575.682
22 | 2757673.1803 | 1210571.8497
23 | 2757656.6125 | 1210556.4738
24 | 2757691.8468 | 1210558.4789
25 | 2757650.8203 | 1210544.2306
26 | 2757697.8451 | 1210574.1605
27 | 2757694.5725 | 1210553.1795
28 | 2757699.139 | 1210576.0366
29 | 2757729.1657 | 1210553.1605
30 | 2757692.285 | 1210544.5355
31 | 2757699.3037 | 1210576.2755
32 | 2757728.141 | 1210541.9557
33 | 2757735.1097 | 1210553.7101
34 | 2757691.8636 | 1210542.9428
35 | 2757702.3466 | 1210580.6875
36 | 2757713.4335 | 1210584.1662
37 | 2757706.741 | 1210593.0815
38 | 2757722.0977 | 1210585.7697
39 | 2757726.4746 | 1210585.0292
40 | 2757854.3038 | 1210571.4218
41 | 2757838.55 | 1210560.8586
42 | 2757855.9401 | 1210572.519
43 | 2757834.926 | 1210558.4287
44 | 2757863.6251 | 1210577.6719
45 | 2757828.9797 | 1210558.1266
46 | 2757842.9639 | 1210552.0186
47 | 2757861.3562 | 1210612.8102
48 | 2757826.0078 | 1210557.5484
49 | 2757856.6843 | 1210543.0539
50 | 2757862.9959 | 1210539.1338
51 | 2757822.2312 | 1210556.8136
52 | 2757819.7562 | 1210557.0193
53 | 2757812.7133 | 1210557.6253
54 | 2757803.3557 | 1210557.8649
55 | 2757808.438 | 1210558.0802
56 | 2757799.7917 | 1210557.496
57 | 2757788.7159 | 1210556.1653
58 | 2757787.8745 | 1210556.0642
59 | 2757758.4051 | 1210556.025
60 | 2757761.0715 | 1210564.7478
61 | 2757757.2412 | 1210539.3169
62 | 2757727.3214 | 1210532.9938
63 | 2757761.7726 | 1210565.7056
64 | 2757756.9778 | 1210535.5355
65 | 2757727.2968 | 1210532.7253
66 | 2757764.8667 | 1210569.9329
67 | 2757754.8694 | 1210531.1119
68 | 2757807.2441 | 1210633.0637
69 | 2757810.8292 | 1210644.8293
70 | 2757797.8958 | 1210615.0472
71 | 2757811.2908 | 1210646.344
72 | 2757797.4175 | 1210614.394
73 | 2757812.6692 | 1210650.8677
74 | 2757796.739 | 1210613.4674
75 | 2757735.3336 | 1210685.3315
76 | 2757790.1562 | 1210604.4776
77 | 2757774.2733 | 1210582.7842
78 | 2757765.6778 | 1210571.0409
79 | 2757779.566 | 1210590.0152
80 | 2757771.2753 | 1210598.1124
81 | 2757761.8922 | 1210607.2766
82 | 2757757.891 | 1210611.1844
83 | 2757754.2696 | 1210614.7213
84 | 2757741.6438 | 1210665.7261
85 | 2757754.0748 | 1210529.4448
86 | 2757727.017 | 1210529.6656
87 | 2757691.1879 | 1210523.5641
88 | 2757691.1894 | 1210525.0204
89 | 2757691.7039 | 1210542.3395
90 | 2757691.1991 | 1210534.2397
91 | 2757691.1968 | 1210532.0192
92 | 2757702.3466 | 1210580.6875

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1