## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3954-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3954-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3954-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3954-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3954-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3954-12_0_3_node_86 | 0.4 | n |  | TRUE
6 | bus_LV_3954-12_0_3_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_3954-12_0_3_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_3954-12_0_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_3954-12_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3954-12_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3954-12_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3954-12_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3954-12_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3954-12_0_3_node_81 | 0.4 | n |  | TRUE
15 | bus_LV_3954-12_0_3_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_3954-12_0_3_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_3954-12_0_3_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_3954-12_0_3_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_3954-12_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3954-12_0_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_3954-12_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3954-12_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3954-12_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3954-12_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3954-12_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3954-12_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3954-12_0_3_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_3954-12_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_3954-12_0_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_3954-12_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_3954-12_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_3954-12_0_3_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_3954-12_0_3_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_3954-12_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_3954-12_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_3954-12_0_3_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_3954-12_0_3_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_3954-12_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_3954-12_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3954-12_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3954-12_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_3954-12_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_3954-12_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_3954-12_0_3_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_3954-12_0_3_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_3954-12_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_3954-12_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_3954-12_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_3954-12_0_3_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_3954-12_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_3954-12_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_3954-12_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_3954-12_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3954-12_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_3954-12_0_3_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_3954-12_0_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_3954-12_0_3_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_3954-12_0_3_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_3954-12_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_3954-12_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_3954-12_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_3954-12_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_3954-12_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_3954-12_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_3954-12_0_3_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_3954-12_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_3954-12_0_3_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_3954-12_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_3954-12_0_3_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_3954-12_0_3_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_3954-12_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_3954-12_0_3_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_3954-12_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_3954-12_0_3_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_3954-12_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_3954-12_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_3954-12_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_3954-12_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_3954-12_0_3_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_3954-12_0_3_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_3954-12_0_3_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_3954-12_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_3954-12_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_3954-12_0_3_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_3954-12_0_3_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_3954-12_0_3_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_3954-12_0_3_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_3954-12_0_3_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_3954-12_0_3_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_3954-12_0_3_node_93 | 0.4 | n |  | TRUE
91 | bus_MV_178_0_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3954-12_0_3_load_0 | 0 | 0.0033595 | 0.00084197 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3954-12_0_3_load_1 | 1 | 0.0021108 | 0.00052902 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3954-12_0_3_load_2 | 2 | 0.0017126 | 0.00042923 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3954-12_0_3_load_3 | 3 | 0.0017042 | 0.00042711 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3954-12_0_3_load_4 | 4 | 0.0017042 | 0.00042711 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3954-12_0_3_load_86 | 5 | 0.0017142 | 0.00042961 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3954-12_0_3_load_22 | 6 | 0.0028002 | 0.00070179 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3954-12_0_3_load_89 | 7 | 0.0030386 | 0.00076154 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3954-12_0_3_load_20 | 8 | 0.0038889 | 0.00097465 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3954-12_0_3_load_5 | 9 | 0.0032347 | 0.00081069 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3954-12_0_3_load_6 | 10 | 0.0015266 | 0.0003826 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3954-12_0_3_load_7 | 11 | 0.0033993 | 0.00085195 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3954-12_0_3_load_8 | 12 | 0.0017065 | 0.0004277 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3954-12_0_3_load_32 | 15 | 0.0037249 | 0.00093354 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3954-12_0_3_load_30 | 16 | 0.0040901 | 0.0010251 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3954-12_0_3_load_82 | 17 | 0.0026536 | 0.00066506 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3954-12_0_3_load_80 | 18 | 0.0025307 | 0.00063426 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3954-12_0_3_load_18 | 19 | 0.0033821 | 0.00084764 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3954-12_0_3_load_10 | 21 | 0.010906 | 0.0027334 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3954-12_0_3_load_11 | 22 | 0.0030882 | 0.00077398 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3954-12_0_3_load_12 | 23 | 0.0033176 | 0.00083147 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3954-12_0_3_load_14 | 25 | 0.0019381 | 0.00048573 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3954-12_0_3_load_15 | 26 | 0.007874 | 0.0019734 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3954-12_0_3_load_16 | 28 | 0.0043461 | 0.0010892 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3954-12_0_3_load_45 | 29 | 0.002592 | 0.00064961 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3954-12_0_3_load_41 | 30 | 0.0035573 | 0.00089155 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3954-12_0_3_load_17 | 31 | 0.0027329 | 0.00068493 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3954-12_0_3_load_73 | 33 | 0.00089922 | 0.00022537 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3954-12_0_3_load_19 | 34 | 0.003964 | 0.00099347 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3954-12_0_3_load_23 | 35 | 0.0035587 | 0.00089188 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3954-12_0_3_load_74 | 36 | 0.0026697 | 0.00066909 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3954-12_0_3_load_25 | 38 | 0.0022749 | 0.00057014 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3954-12_0_3_load_26 | 39 | 0.0053811 | 0.0013486 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3954-12_0_3_load_27 | 40 | 0.0041462 | 0.0010391 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3954-12_0_3_load_28 | 41 | 0.002502 | 0.00062705 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3954-12_0_3_load_39 | 43 | 0.002411 | 0.00060425 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3954-12_0_3_load_61 | 44 | 0.0033023 | 0.00082764 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3954-12_0_3_load_59 | 45 | 0.0018196 | 0.00045603 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3954-12_0_3_load_40 | 46 | 0.0060555 | 0.0015177 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3954-12_0_3_load_60 | 47 | 0.0041306 | 0.0010352 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3954-12_0_3_load_33 | 48 | 0.0023576 | 0.00059088 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3954-12_0_3_load_87 | 49 | 0.001813 | 0.00045437 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3954-12_0_3_load_34 | 50 | 0.0033244 | 0.00083318 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3954-12_0_3_load_35 | 51 | 0.0017473 | 0.00043792 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3954-12_0_3_load_37 | 53 | 0.002257 | 0.00056565 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3954-12_0_3_load_38 | 54 | 0.0035951 | 0.00090101 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3954-12_0_3_load_88 | 55 | 0.0038575 | 0.00096679 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3954-12_0_3_load_77 | 57 | 0.0026161 | 0.00065566 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3954-12_0_3_load_42 | 59 | 0.0036217 | 0.00090768 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3954-12_0_3_load_44 | 60 | 0.0043205 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3954-12_0_3_load_52 | 62 | 0.0010852 | 0.00027198 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3954-12_0_3_load_46 | 63 | 0.00080064 | 0.00020066 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3954-12_0_3_load_47 | 64 | 0.00089801 | 0.00022506 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3954-12_0_3_load_48 | 65 | 0.002076 | 0.0005203 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3954-12_0_3_load_92 | 67 | 0.0014124 | 0.00035399 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3954-12_0_3_load_53 | 68 | 0.0020036 | 0.00050216 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3954-12_0_3_load_50 | 69 | 0.00097948 | 0.00024548 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3954-12_0_3_load_51 | 70 | 0.00088834 | 0.00022264 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3954-12_0_3_load_69 | 71 | 0.0019274 | 0.00048306 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3954-12_0_3_load_55 | 72 | 0.0039345 | 0.00098608 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3954-12_0_3_load_56 | 73 | 0.0023467 | 0.00058815 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3954-12_0_3_load_57 | 74 | 0.0025795 | 0.00064648 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3954-12_0_3_load_62 | 76 | 0.0013855 | 0.00034723 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3954-12_0_3_load_72 | 78 | 0.003773 | 0.0009456 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3954-12_0_3_load_83 | 79 | 0.0019632 | 0.00049203 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3954-12_0_3_load_84 | 80 | 0.0024692 | 0.00061883 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3954-12_0_3_load_85 | 81 | 0.0014447 | 0.00036208 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3954-12_0_3_load_78 | 82 | 0.0053639 | 0.0013443 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3954-12_0_3_load_79 | 83 | 0.0048015 | 0.0012034 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3954-12_0_3_load_64 | 84 | 0.0023816 | 0.00059688 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3954-12_0_3_load_66 | 86 | 0.0031141 | 0.00078046 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3954-12_0_3_load_67 | 87 | 0.0035077 | 0.0008791 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3954-12_0_3_load_68 | 88 | 0.0031843 | 0.00079806 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3954-12_0_3_load_76 | 89 | 0.0053043 | 0.0013294 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3954-12_0_3_load_93 | 90 | 0.0032911 | 0.00082483 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3954-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 7.6886e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3954-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0062574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3954-12_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0077443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3954-12_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0070724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3954-12_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0070742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3954-12_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0089081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3954-12_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0084917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3954-12_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0094278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3954-12_0_3_line_8 | NAYY 4x150 SE | 7 | 55 | 0.0098915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3954-12_0_3_line_9 | NAYY 4x150 SE | 8 | 34 | 0.0011295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3954-12_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.018747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3954-12_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0075439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3954-12_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0027788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3954-12_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.022139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3954-12_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0080118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3954-12_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.015052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3954-12_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0072195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3954-12_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.025331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_3954-12_0_3_line_18 | NAYY 4x150 SE | 14 | 18 | 0.013221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3954-12_0_3_line_19 | NAYY 4x150 SE | 15 | 19 | 0.018135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_3954-12_0_3_line_20 | NAYY 4x150 SE | 16 | 20 | 0.013283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3954-12_0_3_line_21 | NAYY 4x150 SE | 17 | 44 | 0.010797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3954-12_0_3_line_22 | NAYY 4x150 SE | 18 | 87 | 0.0026145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3954-12_0_3_line_23 | NAYY 4x150 SE | 19 | 24 | 0.026721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3954-12_0_3_line_24 | NAYY 4x150 SE | 20 | 48 | 0.025791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3954-12_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.0060862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3954-12_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.0092585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3954-12_0_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.02081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3954-12_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.01362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3954-12_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.015846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3954-12_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.012278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3954-12_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.018056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3954-12_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.0079854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3954-12_0_3_line_33 | NAYY 4x150 SE | 27 | 30 | 0.012727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3954-12_0_3_line_34 | NAYY 4x150 SE | 28 | 31 | 0.0018819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3954-12_0_3_line_35 | NAYY 4x150 SE | 29 | 54 | 0.021834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3954-12_0_3_line_36 | NAYY 4x150 SE | 30 | 59 | 0.0048634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3954-12_0_3_line_37 | NAYY 4x150 SE | 31 | 32 | 0.0099951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3954-12_0_3_line_38 | NAYY 4x150 SE | 32 | 33 | 0.02088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3954-12_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3954-12_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.00515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3954-12_0_3_line_41 | NAYY 4x150 SE | 37 | 89 | 0.014688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3954-12_0_3_line_42 | NAYY 4x150 SE | 37 | 57 | 0.017049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3954-12_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.024645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3954-12_0_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.011399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3954-12_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.0044124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3954-12_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.0043332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3954-12_0_3_line_47 | NAYY 4x150 SE | 41 | 43 | 0.020442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3954-12_0_3_line_48 | NAYY 4x150 SE | 42 | 44 | 0.019789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_3954-12_0_3_line_49 | NAYY 4x150 SE | 42 | 45 | 0.013884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_3954-12_0_3_line_50 | NAYY 4x150 SE | 43 | 46 | 0.0059141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3954-12_0_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.0090643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_3954-12_0_3_line_52 | NAYY 4x150 SE | 46 | 56 | 0.020769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3954-12_0_3_line_53 | NAYY 4x150 SE | 48 | 49 | 0.020732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3954-12_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.012063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3954-12_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.014944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3954-12_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.016742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3954-12_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.011845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3954-12_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.0075749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3954-12_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.010253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3954-12_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.031619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3954-12_0_3_line_61 | NAYY 4x150 SE | 58 | 76 | 0.019295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3954-12_0_3_line_62 | NAYY 4x150 SE | 58 | 73 | 0.0078285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3954-12_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.02233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3954-12_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.012139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3954-12_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.0094998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3954-12_0_3_line_66 | NAYY 4x150 SE | 62 | 69 | 0.019508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3954-12_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.00066296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3954-12_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.0068635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3954-12_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.046698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3954-12_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.11595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3954-12_0_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.069746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3954-12_0_3_line_72 | NAYY 4x150 SE | 68 | 71 | 0.038261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3954-12_0_3_line_73 | NAYY 4x150 SE | 68 | 70 | 0.023653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3954-12_0_3_line_74 | NAYY 4x150 SE | 69 | 70 | 0.023841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3954-12_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0026254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3954-12_0_3_line_76 | NAYY 4x150 SE | 72 | 74 | 0.036761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3954-12_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.23164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3954-12_0_3_line_78 | NAYY 4x150 SE | 75 | 79 | 0.027615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3954-12_0_3_line_79 | NAYY 4x150 SE | 75 | 77 | 0.042347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3954-12_0_3_line_80 | NAYY 4x150 SE | 76 | 82 | 0.017987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3954-12_0_3_line_81 | NAYY 4x150 SE | 77 | 78 | 0.020128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3954-12_0_3_line_82 | NAYY 4x150 SE | 79 | 80 | 0.0022313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3954-12_0_3_line_83 | NAYY 4x150 SE | 80 | 81 | 0.012094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3954-12_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.030115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3954-12_0_3_line_85 | NAYY 4x150 SE | 83 | 90 | 0.058979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3954-12_0_3_line_86 | NAYY 4x150 SE | 84 | 85 | 0.012103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3954-12_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.0067647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3954-12_0_3_line_88 | NAYY 4x150 SE | 85 | 87 | 0.022484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3954-12_0_3_line_89 | NAYY 4x150 SE | 85 | 88 | 0.010959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3954-12_0_3_trafo_60 | 0.25 MVA 20/0.4 kV | 91 | 47 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2762660.4544 | 1205091.4231 | 2762660.3816 | 1205091.4481
1 | 2762660.3816 | 1205091.4481 | 2762654.4642 | 1205093.4825
2 | 2762660.4544 | 1205091.4231 | 2762667.778 | 1205088.9052
3 | 2762647.7761 | 1205095.7819 | 2762654.4642 | 1205093.4825
4 | 2762674.4678 | 1205086.6053 | 2762667.778 | 1205088.9052
5 | 2762639.3519 | 1205098.6781 | 2762647.7761 | 1205095.7819
6 | 2762674.4678 | 1205086.6053 | 2762682.4981 | 1205083.8444
7 | 2762630.4363 | 1205101.7433 | 2762639.3519 | 1205098.6781
8 | 2762691.8522 | 1205080.6285 | 2762682.4981 | 1205083.8444
9 | 2762630.4363 | 1205101.7433 | 2762629.3682 | 1205102.1105
10 | 2762760.9378 | 1204992.6283 | 2762743.0097 | 1204998.1103
11 | 2762760.9378 | 1204992.6283 | 2762768.152 | 1204990.4224
12 | 2762740.3524 | 1204998.9228 | 2762743.0097 | 1204998.1103
13 | 2762789.3236 | 1204983.9487 | 2762768.152 | 1204990.4224
14 | 2762732.6908 | 1205001.2655 | 2762740.3524 | 1204998.9228
15 | 2762789.3236 | 1204983.9487 | 2762795.2555 | 1204997.7827
16 | 2762789.3236 | 1204983.9487 | 2762796.1603 | 1204981.6289
17 | 2762732.6908 | 1205001.2655 | 2762708.4681 | 1205008.676
18 | 2762732.6908 | 1205001.2655 | 2762728.6721 | 1204988.6703
19 | 2762802.4024 | 1205014.4505 | 2762795.2555 | 1204997.7827
20 | 2762808.7387 | 1204977.3608 | 2762796.1603 | 1204981.6289
21 | 2762708.4681 | 1205008.676 | 2762698.1433 | 1205011.8347
22 | 2762728.6721 | 1204988.6703 | 2762727.8774 | 1204986.1795
23 | 2762812.9329 | 1205039.0092 | 2762802.4024 | 1205014.4505
24 | 2762808.7387 | 1204977.3608 | 2762833.1634 | 1204969.079
25 | 2762787.4977 | 1205047.7537 | 2762793.2532 | 1205045.775
26 | 2762787.4977 | 1205047.7537 | 2762778.7422 | 1205050.7638
27 | 2762812.9329 | 1205039.0092 | 2762793.2532 | 1205045.775
28 | 2762765.8617 | 1205055.192 | 2762778.7422 | 1205050.7638
29 | 2762812.9329 | 1205039.0092 | 2762819.6151 | 1205053.3769
30 | 2762754.251 | 1205059.1837 | 2762765.8617 | 1205055.192
31 | 2762819.6151 | 1205053.3769 | 2762827.2293 | 1205069.7486
32 | 2762754.251 | 1205059.1837 | 2762746.699 | 1205061.7785
33 | 2762754.251 | 1205059.1837 | 2762758.6461 | 1205071.1275
34 | 2762828.0229 | 1205071.455 | 2762827.2293 | 1205069.7486
35 | 2762726.0503 | 1205068.8734 | 2762746.699 | 1205061.7785
36 | 2762758.6461 | 1205071.1275 | 2762760.3257 | 1205075.6918
37 | 2762832.2379 | 1205080.5178 | 2762828.0229 | 1205071.455
38 | 2762832.2379 | 1205080.5178 | 2762815.3955 | 1205089.6336 | 2762813.805 | 1205090.3118
39 | 2762584.2186 | 1205095.9744 | 2762586.8845 | 1205076.657
40 | 2762587.5885 | 1205071.5554 | 2762586.8845 | 1205076.657
41 | 2762587.5885 | 1205071.5554 | 2762572.9781 | 1205073.066
42 | 2762587.5885 | 1205071.5554 | 2762589.9215 | 1205054.6672
43 | 2762664.1762 | 1205022.2256 | 2762640.6088 | 1205029.4347
44 | 2762675.0768 | 1205018.8912 | 2762664.1762 | 1205022.2256
45 | 2762640.6088 | 1205029.4347 | 2762636.3893 | 1205030.7253
46 | 2762679.2205 | 1205017.6237 | 2762675.0768 | 1205018.8912
47 | 2762616.841 | 1205036.705 | 2762636.3893 | 1205030.7253
48 | 2762679.2205 | 1205017.6237 | 2762698.1433 | 1205011.8347
49 | 2762679.2205 | 1205017.6237 | 2762683.3956 | 1205030.8647
50 | 2762611.1856 | 1205038.4349 | 2762616.841 | 1205036.705
51 | 2762686.1214 | 1205039.5094 | 2762683.3956 | 1205030.8647
52 | 2762591.3245 | 1205044.5102 | 2762611.1856 | 1205038.4349
53 | 2762833.1634 | 1204969.079 | 2762852.7972 | 1204962.4217
54 | 2762706.1899 | 1205047.1416 | 2762710.0573 | 1205058.5674
55 | 2762714.8485 | 1205072.7224 | 2762710.0573 | 1205058.5674
56 | 2762714.8485 | 1205072.7224 | 2762699.0156 | 1205078.1657
57 | 2762714.8485 | 1205072.7224 | 2762726.0503 | 1205068.8734
58 | 2762699.0156 | 1205078.1657 | 2762691.8522 | 1205080.6285
59 | 2762591.3245 | 1205044.5102 | 2762589.9215 | 1205054.6672
60 | 2762591.3245 | 1205044.5102 | 2762588.979 | 1205012.9843
61 | 2762588.979 | 1205012.9843 | 2762569.7957 | 1205015.0538
62 | 2762588.979 | 1205012.9843 | 2762589.0013 | 1205005.1558
63 | 2762768.0372 | 1205096.648 | 2762760.3257 | 1205075.6918
64 | 2762772.2294 | 1205108.0405 | 2762768.0372 | 1205096.648
65 | 2762772.2294 | 1205108.0405 | 2762763.6055 | 1205112.0248
66 | 2762745.8965 | 1205120.2067 | 2762763.6055 | 1205112.0248
67 | 2762895.8037 | 1205238.5171 | 2762896.4514 | 1205238.3756
68 | 2762895.8037 | 1205238.5171 | 2762892.9041 | 1205239.1505 | 2762889.0089 | 1205239.2022
69 | 2762842.5045 | 1205237.0407 | 2762859.4619 | 1205239.5943 | 2762889.0089 | 1205239.2022
70 | 2762731.8329 | 1205202.4481 | 2762842.5045 | 1205237.0407
71 | 2762702.3961 | 1205139.2188 | 2762731.8329 | 1205202.4481
72 | 2762702.3961 | 1205139.2188 | 2762690.6927 | 1205143.7624 | 2762671.0649 | 1205148.9658 | 2762665.6967 | 1205149.5548
73 | 2762702.3961 | 1205139.2188 | 2762717.1109 | 1205133.5061 | 2762724.2535 | 1205130.2062
74 | 2762745.8965 | 1205120.2067 | 2762724.2535 | 1205130.2062
75 | 2762589.0088 | 1205002.5304 | 2762589.0013 | 1205005.1558
76 | 2762589.0088 | 1205002.5304 | 2762589.0955 | 1204972.1169 | 2762589.9696 | 1204965.8303
77 | 2762589.9696 | 1204965.8303 | 2762576.0419 | 1204734.6117
78 | 2762576.0419 | 1204734.6117 | 2762571.7328 | 1204707.3349
79 | 2762617.0933 | 1204723.7639 | 2762576.0419 | 1204734.6117
80 | 2762551.9125 | 1205016.983 | 2762569.7957 | 1205015.0538
81 | 2762617.0933 | 1204723.7639 | 2762613.8325 | 1204703.9014
82 | 2762571.7328 | 1204707.3349 | 2762571.3846 | 1204705.1309
83 | 2762569.4974 | 1204693.1847 | 2762571.3846 | 1204705.1309
84 | 2762551.9125 | 1205016.983 | 2762540.173 | 1205018.2495 | 2762522.0455 | 1205020.8078
85 | 2762522.0455 | 1205020.8078 | 2762466.5208 | 1205000.9185
86 | 2762721.043 | 1204964.7593 | 2762709.3249 | 1204967.7855
87 | 2762702.7752 | 1204969.477 | 2762709.3249 | 1204967.7855
88 | 2762721.043 | 1204964.7593 | 2762727.8774 | 1204986.1795
89 | 2762731.5931 | 1204961.6884 | 2762721.043 | 1204964.7593

## bus_geodata
| x | y | coords
0 | 2762660.3817 | 1205091.4481
1 | 2762660.4544 | 1205091.4231
2 | 2762654.4642 | 1205093.4825
3 | 2762667.778 | 1205088.9052
4 | 2762647.7761 | 1205095.7819
5 | 2762674.4678 | 1205086.6053
6 | 2762639.3519 | 1205098.6781
7 | 2762682.4981 | 1205083.8444
8 | 2762630.4363 | 1205101.7433
9 | 2762760.9378 | 1204992.6283
10 | 2762743.0097 | 1204998.1103
11 | 2762768.152 | 1204990.4224
12 | 2762740.3524 | 1204998.9228
13 | 2762789.3236 | 1204983.9487
14 | 2762732.6908 | 1205001.2655
15 | 2762795.2555 | 1204997.7827
16 | 2762796.1603 | 1204981.6289
17 | 2762708.4681 | 1205008.676
18 | 2762728.6721 | 1204988.6703
19 | 2762802.4024 | 1205014.4505
20 | 2762808.7387 | 1204977.3608
21 | 2762787.4977 | 1205047.7537
22 | 2762793.2532 | 1205045.775
23 | 2762778.7422 | 1205050.7638
24 | 2762812.9329 | 1205039.0092
25 | 2762765.8617 | 1205055.192
26 | 2762819.6151 | 1205053.3769
27 | 2762754.251 | 1205059.1837
28 | 2762827.2293 | 1205069.7486
29 | 2762746.699 | 1205061.7785
30 | 2762758.6461 | 1205071.1275
31 | 2762828.0229 | 1205071.455
32 | 2762832.2379 | 1205080.5178
33 | 2762813.805 | 1205090.3118
34 | 2762629.3682 | 1205102.1105
35 | 2762584.2186 | 1205095.9744
36 | 2762586.8845 | 1205076.657
37 | 2762587.5885 | 1205071.5554
38 | 2762664.1762 | 1205022.2256
39 | 2762640.6088 | 1205029.4347
40 | 2762675.0767 | 1205018.8912
41 | 2762636.3893 | 1205030.7253
42 | 2762679.2205 | 1205017.6237
43 | 2762616.841 | 1205036.705
44 | 2762698.1433 | 1205011.8347
45 | 2762683.3956 | 1205030.8647
46 | 2762611.1856 | 1205038.4349
47 | 2762686.1214 | 1205039.5094
48 | 2762833.1634 | 1204969.079
49 | 2762852.7972 | 1204962.4217
50 | 2762710.0573 | 1205058.5674
51 | 2762706.1899 | 1205047.1416
52 | 2762714.8485 | 1205072.7224
53 | 2762699.0156 | 1205078.1657
54 | 2762726.0503 | 1205068.8734
55 | 2762691.8522 | 1205080.6285
56 | 2762591.3245 | 1205044.5102
57 | 2762589.9215 | 1205054.6672
58 | 2762588.979 | 1205012.9843
59 | 2762760.3257 | 1205075.6918
60 | 2762768.0372 | 1205096.648
61 | 2762772.2294 | 1205108.0405
62 | 2762763.6055 | 1205112.0248
63 | 2762895.8037 | 1205238.5171
64 | 2762896.4514 | 1205238.3756
65 | 2762889.0089 | 1205239.2022
66 | 2762842.5045 | 1205237.0407
67 | 2762731.8329 | 1205202.4481
68 | 2762702.3961 | 1205139.2188
69 | 2762745.8965 | 1205120.2067
70 | 2762724.2535 | 1205130.2062
71 | 2762665.6967 | 1205149.5548
72 | 2762589.0088 | 1205002.5304
73 | 2762589.0013 | 1205005.1558
74 | 2762589.9696 | 1204965.8303
75 | 2762576.0419 | 1204734.6117
76 | 2762569.7957 | 1205015.0538
77 | 2762617.0933 | 1204723.7639
78 | 2762613.8325 | 1204703.9014
79 | 2762571.7328 | 1204707.3349
80 | 2762571.3846 | 1204705.1309
81 | 2762569.4974 | 1204693.1847
82 | 2762551.9125 | 1205016.983
83 | 2762522.0455 | 1205020.8078
84 | 2762709.3249 | 1204967.7855
85 | 2762721.043 | 1204964.7593
86 | 2762702.7752 | 1204969.477
87 | 2762727.8774 | 1204986.1795
88 | 2762731.5931 | 1204961.6884
89 | 2762572.9781 | 1205073.066
90 | 2762466.5208 | 1205000.9185
91 | 2762679.2205 | 1205017.6237

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1