## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3972-2_2_4_node_119 | 0.4 | n |  | TRUE
1 | bus_LV_3972-2_2_4_node_108 | 0.4 | n |  | TRUE
2 | bus_LV_3972-2_2_4_node_117 | 0.4 | n |  | TRUE
3 | bus_LV_3972-2_2_4_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_3972-2_2_4_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_3972-2_2_4_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_3972-2_2_4_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_3972-2_2_4_node_92 | 0.4 | n |  | TRUE
8 | bus_LV_3972-2_2_4_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_3972-2_2_4_node_96 | 0.4 | n |  | TRUE
10 | bus_LV_3972-2_2_4_node_95 | 0.4 | n |  | TRUE
11 | bus_LV_3972-2_2_4_node_97 | 0.4 | n |  | TRUE
12 | bus_LV_3972-2_2_4_node_93 | 0.4 | n |  | TRUE
13 | bus_LV_3972-2_2_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_3972-2_2_4_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_3972-2_2_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_3972-2_2_4_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_3972-2_2_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_3972-2_2_4_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_3972-2_2_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_3972-2_2_4_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_3972-2_2_4_node_90 | 0.4 | n |  | TRUE
22 | bus_LV_3972-2_2_4_node_91 | 0.4 | n |  | TRUE
23 | bus_LV_3972-2_2_4_node_106 | 0.4 | n |  | TRUE
24 | bus_LV_3972-2_2_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_3972-2_2_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_3972-2_2_4_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_3972-2_2_4_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_3972-2_2_4_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_3972-2_2_4_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_3972-2_2_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_3972-2_2_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_3972-2_2_4_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_3972-2_2_4_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_3972-2_2_4_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_3972-2_2_4_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_3972-2_2_4_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_3972-2_2_4_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_3972-2_2_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_3972-2_2_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_3972-2_2_4_node_125 | 0.4 | n |  | TRUE
41 | bus_LV_3972-2_2_4_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_3972-2_2_4_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_3972-2_2_4_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_3972-2_2_4_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_3972-2_2_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_3972-2_2_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_3972-2_2_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_3972-2_2_4_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_3972-2_2_4_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_3972-2_2_4_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_3972-2_2_4_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_3972-2_2_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_3972-2_2_4_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_3972-2_2_4_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_3972-2_2_4_node_112 | 0.4 | n |  | TRUE
56 | bus_LV_3972-2_2_4_node_111 | 0.4 | n |  | TRUE
57 | bus_LV_3972-2_2_4_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_3972-2_2_4_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_3972-2_2_4_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_3972-2_2_4_node_122 | 0.4 | n |  | TRUE
61 | bus_LV_3972-2_2_4_node_123 | 0.4 | n |  | TRUE
62 | bus_LV_3972-2_2_4_node_121 | 0.4 | n |  | TRUE
63 | bus_LV_3972-2_2_4_node_109 | 0.4 | n |  | TRUE
64 | bus_LV_3972-2_2_4_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_3972-2_2_4_node_120 | 0.4 | n |  | TRUE
66 | bus_LV_3972-2_2_4_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_3972-2_2_4_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_3972-2_2_4_node_89 | 0.4 | n |  | TRUE
69 | bus_LV_3972-2_2_4_node_102 | 0.4 | n |  | TRUE
70 | bus_LV_3972-2_2_4_node_98 | 0.4 | n |  | TRUE
71 | bus_LV_3972-2_2_4_node_103 | 0.4 | n |  | TRUE
72 | bus_LV_3972-2_2_4_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_3972-2_2_4_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_3972-2_2_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_3972-2_2_4_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_3972-2_2_4_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_3972-2_2_4_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_3972-2_2_4_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_3972-2_2_4_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_3972-2_2_4_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_3972-2_2_4_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_3972-2_2_4_node_107 | 0.4 | n |  | TRUE
83 | bus_LV_3972-2_2_4_node_101 | 0.4 | n |  | TRUE
84 | bus_LV_3972-2_2_4_node_105 | 0.4 | n |  | TRUE
85 | bus_LV_3972-2_2_4_node_104 | 0.4 | n |  | TRUE
86 | bus_LV_3972-2_2_4_node_110 | 0.4 | n |  | TRUE
87 | bus_LV_3972-2_2_4_node_113 | 0.4 | n |  | TRUE
88 | bus_MV_176_1_node_237 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3972-2_2_4_load_119 | 0 | 0.0048363 | 0.0012121 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3972-2_2_4_load_108 | 1 | 0.0006399 | 0.00016037 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3972-2_2_4_load_117 | 2 | 0.00058123 | 0.00014567 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3972-2_2_4_load_25 | 5 | 0.0032097 | 0.00080443 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3972-2_2_4_load_96 | 9 | 0.00020586 | 5.1594e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3972-2_2_4_load_95 | 10 | 0.00056293 | 0.00014108 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3972-2_2_4_load_97 | 11 | 0.00022784 | 5.7102e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3972-2_2_4_load_27 | 13 | 0.0063321 | 0.001587 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3972-2_2_4_load_47 | 14 | 0.001701 | 0.00042632 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3972-2_2_4_load_48 | 15 | 0.0025349 | 0.00063531 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3972-2_2_4_load_45 | 16 | 0.0021559 | 0.00054032 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3972-2_2_4_load_32 | 17 | 0.0028956 | 0.0007257 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3972-2_2_4_load_33 | 18 | 0.0032887 | 0.00082423 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3972-2_2_4_load_35 | 19 | 0.0022165 | 0.00055552 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3972-2_2_4_load_36 | 20 | 0.0045177 | 0.0011323 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3972-2_2_4_load_90 | 21 | 0.00013075 | 3.2769e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3972-2_2_4_load_106 | 23 | 0.00017338 | 4.3454e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3972-2_2_4_load_42 | 24 | 0.0031413 | 0.0007873 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3972-2_2_4_load_43 | 25 | 0.0017906 | 0.00044877 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3972-2_2_4_load_44 | 26 | 0.0024325 | 0.00060965 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3972-2_2_4_load_46 | 27 | 0.0024177 | 0.00060594 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3972-2_2_4_load_77 | 28 | 0.00235 | 0.00058897 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3972-2_2_4_load_49 | 30 | 0.0013893 | 0.00034818 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3972-2_2_4_load_50 | 31 | 0.0014582 | 0.00036545 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3972-2_2_4_load_52 | 33 | 0.0036971 | 0.00092659 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3972-2_2_4_load_53 | 34 | 0.0026935 | 0.00067505 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3972-2_2_4_load_55 | 36 | 0.0087814 | 0.0022008 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3972-2_2_4_load_56 | 37 | 0.0039709 | 0.00099519 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3972-2_2_4_load_59 | 39 | 0.0022125 | 0.00055449 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3972-2_2_4_load_125 | 40 | 0.00062307 | 0.00015616 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3972-2_2_4_load_78 | 41 | 0.0048122 | 0.001206 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3972-2_2_4_load_72 | 42 | 0.00092268 | 0.00023124 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3972-2_2_4_load_79 | 43 | 0.00087247 | 0.00021866 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3972-2_2_4_load_71 | 44 | 0.00064964 | 0.00016281 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3972-2_2_4_load_60 | 45 | 0.00021194 | 5.3118e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3972-2_2_4_load_61 | 46 | 0.00025144 | 6.3018e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3972-2_2_4_load_64 | 49 | 0.00099394 | 0.0002491 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3972-2_2_4_load_65 | 50 | 0.0006506 | 0.00016306 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3972-2_2_4_load_66 | 52 | 0.0007002 | 0.00017549 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3972-2_2_4_load_70 | 53 | 0.00069283 | 0.00017364 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3972-2_2_4_load_74 | 54 | 0.00020193 | 5.0608e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3972-2_2_4_load_112 | 55 | 0.00020815 | 5.2168e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3972-2_2_4_load_111 | 56 | 0.0001453 | 3.6415e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3972-2_2_4_load_73 | 58 | 0.00046873 | 0.00011748 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3972-2_2_4_load_69 | 59 | 0.00040824 | 0.00010231 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3972-2_2_4_load_122 | 60 | 0.00047875 | 0.00011999 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3972-2_2_4_load_123 | 61 | 0.00047652 | 0.00011943 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3972-2_2_4_load_118 | 64 | 0.00068673 | 0.00017211 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3972-2_2_4_load_75 | 66 | 0.0014134 | 0.00035423 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3972-2_2_4_load_98 | 70 | 0.00027486 | 6.8886e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3972-2_2_4_load_103 | 71 | 0.00014512 | 3.6371e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3972-2_2_4_load_81 | 73 | 0.00085466 | 0.0002142 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3972-2_2_4_load_82 | 74 | 0.00064016 | 0.00016044 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3972-2_2_4_load_83 | 75 | 0.0011041 | 0.00027671 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3972-2_2_4_load_86 | 76 | 0.00056384 | 0.00014131 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3972-2_2_4_load_84 | 77 | 0.00098406 | 0.00024663 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3972-2_2_4_load_87 | 78 | 0.00033876 | 8.4901e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3972-2_2_4_load_85 | 79 | 0.0048428 | 0.0012137 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3972-2_2_4_load_88 | 80 | 0.00016906 | 4.237e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3972-2_2_4_load_94 | 81 | 0.00020513 | 5.1412e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3972-2_2_4_load_107 | 82 | 0.00013198 | 3.3078e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3972-2_2_4_load_101 | 83 | 0.00027658 | 6.9318e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3972-2_2_4_load_105 | 84 | 0.00036425 | 9.1289e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3972-2_2_4_load_104 | 85 | 0.00041507 | 0.00010403 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3972-2_2_4_load_110 | 86 | 0.00076017 | 0.00019052 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3972-2_2_4_load_113 | 87 | 0.00013806 | 3.4602e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3972-2_2_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3972-2_2_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.00576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3972-2_2_4_line_2 | NAYY 4x150 SE | 1 | 63 | 0.037052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3972-2_2_4_line_3 | NAYY 4x150 SE | 1 | 59 | 0.15243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3972-2_2_4_line_4 | NAYY 4x150 SE | 2 | 64 | 0.16807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3972-2_2_4_line_5 | NAYY 4x150 SE | 3 | 4 | 0.13934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3972-2_2_4_line_6 | NAYY 4x150 SE | 3 | 5 | 0.059098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3972-2_2_4_line_7 | NAYY 4x150 SE | 4 | 14 | 0.078955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3972-2_2_4_line_8 | NAYY 4x150 SE | 5 | 13 | 0.016838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3972-2_2_4_line_9 | NAYY 4x150 SE | 6 | 7 | 0.023234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3972-2_2_4_line_10 | NAYY 4x150 SE | 6 | 8 | 0.1369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3972-2_2_4_line_11 | NAYY 4x150 SE | 7 | 9 | 0.16788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3972-2_2_4_line_12 | NAYY 4x150 SE | 7 | 10 | 0.020045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3972-2_2_4_line_13 | NAYY 4x150 SE | 8 | 20 | 0.030706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3972-2_2_4_line_14 | NAYY 4x150 SE | 8 | 17 | 0.020618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3972-2_2_4_line_15 | NAYY 4x150 SE | 9 | 23 | 0.15115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3972-2_2_4_line_16 | NAYY 4x150 SE | 10 | 12 | 0.025554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3972-2_2_4_line_17 | NAYY 4x150 SE | 11 | 12 | 0.011141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3972-2_2_4_line_18 | NAYY 4x150 SE | 12 | 22 | 0.031878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3972-2_2_4_line_19 | NAYY 4x150 SE | 14 | 15 | 0.039124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3972-2_2_4_line_20 | NAYY 4x150 SE | 14 | 16 | 0.040687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3972-2_2_4_line_21 | NAYY 4x150 SE | 15 | 19 | 0.033764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3972-2_2_4_line_22 | NAYY 4x150 SE | 16 | 25 | 0.01851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3972-2_2_4_line_23 | NAYY 4x150 SE | 17 | 18 | 0.0018353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3972-2_2_4_line_24 | NAYY 4x150 SE | 18 | 19 | 0.031861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3972-2_2_4_line_25 | NAYY 4x150 SE | 21 | 22 | 0.014193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3972-2_2_4_line_26 | NAYY 4x150 SE | 22 | 81 | 0.016508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3972-2_2_4_line_27 | NAYY 4x150 SE | 23 | 82 | 0.06909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3972-2_2_4_line_28 | NAYY 4x150 SE | 24 | 25 | 0.021873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3972-2_2_4_line_29 | NAYY 4x150 SE | 24 | 26 | 0.0041095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3972-2_2_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.013109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3972-2_2_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.015502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3972-2_2_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.02545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3972-2_2_4_line_33 | NAYY 4x150 SE | 29 | 41 | 0.031906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3972-2_2_4_line_34 | NAYY 4x150 SE | 29 | 38 | 0.025094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3972-2_2_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.0086685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3972-2_2_4_line_36 | NAYY 4x150 SE | 30 | 32 | 0.026388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3972-2_2_4_line_37 | NAYY 4x150 SE | 31 | 33 | 0.012722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3972-2_2_4_line_38 | NAYY 4x150 SE | 32 | 34 | 0.031625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3972-2_2_4_line_39 | NAYY 4x150 SE | 33 | 35 | 0.030493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3972-2_2_4_line_40 | NAYY 4x150 SE | 34 | 36 | 0.010704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3972-2_2_4_line_41 | NAYY 4x150 SE | 35 | 37 | 0.030534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3972-2_2_4_line_42 | NAYY 4x150 SE | 37 | 38 | 0.0021069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3972-2_2_4_line_43 | NAYY 4x150 SE | 38 | 39 | 0.091326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3972-2_2_4_line_44 | NAYY 4x150 SE | 38 | 40 | 0.09481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3972-2_2_4_line_45 | NAYY 4x150 SE | 39 | 42 | 0.030712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3972-2_2_4_line_46 | NAYY 4x150 SE | 41 | 43 | 0.014526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3972-2_2_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.013016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3972-2_2_4_line_48 | NAYY 4x150 SE | 43 | 72 | 0.053225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3972-2_2_4_line_49 | NAYY 4x150 SE | 44 | 53 | 0.01155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3972-2_2_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.020173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3972-2_2_4_line_51 | NAYY 4x150 SE | 45 | 47 | 0.057832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3972-2_2_4_line_52 | NAYY 4x150 SE | 46 | 48 | 0.059063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3972-2_2_4_line_53 | NAYY 4x150 SE | 47 | 49 | 0.054386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3972-2_2_4_line_54 | NAYY 4x150 SE | 47 | 50 | 0.016772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3972-2_2_4_line_55 | NAYY 4x150 SE | 48 | 51 | 0.17829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3972-2_2_4_line_56 | NAYY 4x150 SE | 48 | 52 | 0.11978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3972-2_2_4_line_57 | NAYY 4x150 SE | 49 | 53 | 0.023382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3972-2_2_4_line_58 | NAYY 4x150 SE | 50 | 54 | 0.017253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3972-2_2_4_line_59 | NAYY 4x150 SE | 51 | 55 | 0.13971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3972-2_2_4_line_60 | NAYY 4x150 SE | 51 | 56 | 0.057366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3972-2_2_4_line_61 | NAYY 4x150 SE | 52 | 57 | 0.028825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3972-2_2_4_line_62 | NAYY 4x150 SE | 54 | 58 | 0.024133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3972-2_2_4_line_63 | NAYY 4x150 SE | 57 | 59 | 0.14984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3972-2_2_4_line_64 | NAYY 4x150 SE | 58 | 66 | 0.048186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3972-2_2_4_line_65 | NAYY 4x150 SE | 60 | 61 | 0.17007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3972-2_2_4_line_66 | NAYY 4x150 SE | 60 | 62 | 0.052118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3972-2_2_4_line_67 | NAYY 4x150 SE | 62 | 65 | 0.026691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3972-2_2_4_line_68 | NAYY 4x150 SE | 63 | 86 | 0.073496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3972-2_2_4_line_69 | NAYY 4x150 SE | 64 | 65 | 0.038963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3972-2_2_4_line_70 | NAYY 4x150 SE | 66 | 67 | 0.15686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3972-2_2_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.14255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3972-2_2_4_line_72 | NAYY 4x150 SE | 67 | 69 | 0.11844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3972-2_2_4_line_73 | NAYY 4x150 SE | 68 | 70 | 0.080883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3972-2_2_4_line_74 | NAYY 4x150 SE | 69 | 71 | 0.16189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3972-2_2_4_line_75 | NAYY 4x150 SE | 71 | 85 | 0.018959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3972-2_2_4_line_76 | NAYY 4x150 SE | 72 | 73 | 0.019091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3972-2_2_4_line_77 | NAYY 4x150 SE | 72 | 74 | 0.017109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3972-2_2_4_line_78 | NAYY 4x150 SE | 73 | 75 | 0.017224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3972-2_2_4_line_79 | NAYY 4x150 SE | 74 | 76 | 0.018393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3972-2_2_4_line_80 | NAYY 4x150 SE | 75 | 77 | 0.0030002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3972-2_2_4_line_81 | NAYY 4x150 SE | 76 | 78 | 0.057076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3972-2_2_4_line_82 | NAYY 4x150 SE | 77 | 79 | 0.01936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3972-2_2_4_line_83 | NAYY 4x150 SE | 78 | 80 | 0.081777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3972-2_2_4_line_84 | NAYY 4x150 SE | 83 | 84 | 0.071149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3972-2_2_4_line_85 | NAYY 4x150 SE | 84 | 85 | 0.035854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3972-2_2_4_line_86 | NAYY 4x150 SE | 86 | 87 | 0.077323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3972-2_2_4_trafo_57 | 0.25 MVA 20/0.4 kV | 88 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2766757.0466 | 1205860.1755 | 2766862.6619 | 1205817.9992
1 | 2766862.6619 | 1205817.9992 | 2766867.4883 | 1205821.143
2 | 2766725.6359 | 1205840.9822 | 2766730.4926 | 1205845.3107 | 2766737.2724 | 1205849.7263 | 2766751.3494 | 1205856.1143 | 2766757.0466 | 1205860.1755
3 | 2766757.0466 | 1205860.1755 | 2766762.0505 | 1205863.7424 | 2766768.4858 | 1205872.5859 | 2766779.7832 | 1205883.1113 | 2766786.4949 | 1205889.9607 | 2766798.3062 | 1205897.62 | 2766805.2274 | 1205905.1425 | 2766803.2961 | 1205918.4121 | 2766788.6864 | 1205946.875 | 2766770.9975 | 1205974.1397 | 2766765.5431 | 1205980.1427
4 | 2766867.4883 | 1205821.143 | 2766871.4748 | 1205823.7397 | 2766886.942 | 1205829.6775 | 2766898.2217 | 1205837.5668 | 2766904.6865 | 1205845.0767 | 2766909.4864 | 1205854.1527 | 2766918.6384 | 1205872.5256 | 2766921.235 | 1205886.3556 | 2766921.7513 | 1205900.8168 | 2766923.3996 | 1205907.736 | 2766927.3547 | 1205922.5159 | 2766930.6058 | 1205937.9768 | 2766935.0751 | 1205950.7025 | 2766939.4449 | 1205961.915
5 | 2766983.1001 | 1206647.0069 | 2766987.7849 | 1206640.3205 | 2766990.0456 | 1206636.2244 | 2766992.0473 | 1206631.8652 | 2766993.588 | 1206624.9462 | 2766994.8587 | 1206617.8863 | 2766994.4066 | 1206610.1108 | 2766993.333 | 1206602.2512 | 2766993.0845 | 1206594.8151 | 2766994.0778 | 1206588.1478 | 2766995.5473 | 1206583.7737 | 2766998.0891 | 1206579.1515 | 2767002.3607 | 1206569.829 | 2767003.9841 | 1206565.3924 | 2767004.9435 | 1206559.9364 | 2767004.9603 | 1206554.4428 | 2767004.3232 | 1206548.931 | 2766994.7002 | 1206530.578 | 2766993.9513 | 1206524.7071 | 2766993.7448 | 1206523.111 | 2766994.4128 | 1206515.289
6 | 2766983.1001 | 1206647.0069 | 2766977.8745 | 1206637.6742 | 2766964.2953 | 1206615.2068 | 2766962.4018 | 1206608.3586 | 2766962.9298 | 1206603.0906 | 2766960.2362 | 1206597.9105 | 2766957.7133 | 1206594.9216
7 | 2766927.5271 | 1206474.4695 | 2766934.5518 | 1206480.4381 | 2766957.2776 | 1206489.3596 | 2766967.7747 | 1206494.4357 | 2766994.4128 | 1206515.289
8 | 2766946.8523 | 1206582.0547 | 2766957.7133 | 1206594.9216
9 | 2766670.2318 | 1206433.3101 | 2766648.7563 | 1206424.2911
10 | 2766670.2318 | 1206433.3101 | 2766712.4176 | 1206450.4037 | 2766740.0451 | 1206461.2186 | 2766752.4378 | 1206464.6457 | 2766766.4762 | 1206466.9176 | 2766792.5533 | 1206470.8497 | 2766801.1251 | 1206471.8456
11 | 2766648.7563 | 1206424.2911 | 2766639.6909 | 1206422.4364 | 2766626.7173 | 1206421.2732 | 2766615.1406 | 1206422.6848 | 2766598.7936 | 1206427.0439 | 2766589.1986 | 1206429.712 | 2766581.667 | 1206430.4359 | 2766574.8492 | 1206429.5782 | 2766569.9582 | 1206427.0394 | 2766558.7806 | 1206414.16 | 2766551.2363 | 1206405.7973 | 2766540.3873 | 1206395.8632 | 2766520.4288 | 1206380.47 | 2766506.4336 | 1206367.802
12 | 2766648.7563 | 1206424.2911 | 2766640.2232 | 1206419.1815 | 2766631.0149 | 1206415.0349
13 | 2766801.1251 | 1206471.8456 | 2766799.1636 | 1206467.965 | 2766792.9933 | 1206463.8221 | 2766785.9691 | 1206460.2781 | 2766775.9978 | 1206455.4983
14 | 2766801.1251 | 1206471.8456 | 2766821.6067 | 1206474.2089 | 2766821.6067 | 1206474.2089
15 | 2766370.1754 | 1206320.1856 | 2766385.1667 | 1206320.5435 | 2766424.4551 | 1206320.9721 | 2766444.9123 | 1206323.1444 | 2766456.0253 | 1206328.537 | 2766464.8422 | 1206334.6662 | 2766473.2299 | 1206341.7178 | 2766501.983 | 1206363.7734 | 2766506.4336 | 1206367.802
16 | 2766607.5785 | 1206404.8794 | 2766614.4467 | 1206407.4735 | 2766628.4535 | 1206413.8814 | 2766631.0149 | 1206415.0349
17 | 2766607.5785 | 1206404.8794 | 2766600.183 | 1206404.8175 | 2766596.4104 | 1206405.0124
18 | 2766632.2623 | 1206385.4167 | 2766622.6259 | 1206390.1078 | 2766614.0515 | 1206400.1 | 2766607.5785 | 1206404.8794
19 | 2766927.5271 | 1206474.4695 | 2766909.5687 | 1206474.4007 | 2766893.2342 | 1206472.598 | 2766888.5445 | 1206473.2248
20 | 2766927.5271 | 1206474.4695 | 2766905.8361 | 1206456.0348 | 2766895.0866 | 1206450.2223
21 | 2766888.5445 | 1206473.2248 | 2766883.2579 | 1206473.9315 | 2766868.4005 | 1206476.9969 | 2766855.1437 | 1206477.307
22 | 2766878.8041 | 1206441.4181 | 2766895.0866 | 1206450.2223
23 | 2766821.6067 | 1206474.2089 | 2766823.4328 | 1206474.3934
24 | 2766855.1437 | 1206477.307 | 2766852.8121 | 1206477.3616 | 2766823.4328 | 1206474.3934
25 | 2766632.2623 | 1206385.4167 | 2766638.1154 | 1206386.4811 | 2766644.7081 | 1206388.3112 | 2766645.6449 | 1206389.3542
26 | 2766632.2623 | 1206385.4167 | 2766625.1237 | 1206381.6029 | 2766617.5067 | 1206378.0279
27 | 2766311.0803 | 1206293.7434 | 2766316.0415 | 1206298.6862 | 2766322.8944 | 1206307.8412 | 2766328.1177 | 1206312.9358 | 2766333.7851 | 1206316.2968 | 2766341.3753 | 1206318.388 | 2766351.9311 | 1206319.75 | 2766370.1754 | 1206320.1856
28 | 2766859.5635 | 1206431.0143 | 2766878.8041 | 1206441.4181
29 | 2766859.5635 | 1206431.0143 | 2766855.9486 | 1206429.0597
30 | 2766855.9486 | 1206429.0597 | 2766845.5157 | 1206423.4184 | 2766844.9994 | 1206422.2812
31 | 2766844.9994 | 1206422.2812 | 2766838.5907 | 1206408.1663
32 | 2766831.9189 | 1206383.8571 | 2766831.7909 | 1206388.4356 | 2766838.5907 | 1206408.1663 | 2766838.5907 | 1206408.1663
33 | 2766831.9189 | 1206383.8571 | 2766816.2531 | 1206382.3514 | 2766800.1842 | 1206380.5675
34 | 2766841.513 | 1206361.0929 | 2766832.0522 | 1206379.0898 | 2766831.9189 | 1206383.8571
35 | 2766914.0275 | 1206403.6341 | 2766906.0994 | 1206400.1287
36 | 2766937.9986 | 1206414.6508 | 2766930.553 | 1206410.9391 | 2766917.3374 | 1206405.0976 | 2766914.0275 | 1206403.6341
37 | 2766906.0994 | 1206400.1287 | 2766899.6415 | 1206397.2734 | 2766894.457 | 1206395.0009
38 | 2766937.9986 | 1206414.6508 | 2766931.4726 | 1206403.3689 | 2766927.6489 | 1206398.0459 | 2766922.9312 | 1206391.7637 | 2766920.1524 | 1206388.6389
39 | 2766868.0597 | 1206380.0857 | 2766879.7483 | 1206388.5537 | 2766894.457 | 1206395.0009
40 | 2766920.1524 | 1206388.6389 | 2766919.3306 | 1206387.7148 | 2766915.7786 | 1206384.924 | 2766911.0055 | 1206383.6116 | 2766911.0055 | 1206383.6116
41 | 2766868.0597 | 1206380.0857 | 2766843.2265 | 1206362.3188
42 | 2766841.513 | 1206361.0929 | 2766843.2265 | 1206362.3188
43 | 2766841.513 | 1206361.0929 | 2766831.3202 | 1206353.8346 | 2766796.3412 | 1206327.2103 | 2766772.8526 | 1206305.8009 | 2766770.6257 | 1206303.6843
44 | 2766841.513 | 1206361.0929 | 2766887.454 | 1206278.1569
45 | 2766770.6257 | 1206303.6843 | 2766748.3644 | 1206282.5256
46 | 2766800.1842 | 1206380.5675 | 2766800.1842 | 1206380.5675 | 2766790.8527 | 1206378.1601 | 2766786.4798 | 1206375.9732
47 | 2766738.93 | 1206273.5586 | 2766748.3644 | 1206282.5256
48 | 2766737.9999 | 1206356.5972 | 2766746.4371 | 1206357.5114 | 2766755.1259 | 1206358.9554 | 2766761.2597 | 1206360.5949 | 2766768.672 | 1206364.4166 | 2766776.191 | 1206369.3201 | 2766784.8933 | 1206375.1798 | 2766786.4798 | 1206375.9732
49 | 2766738.93 | 1206273.5586 | 2766730.5579 | 1206265.6012
50 | 2766678.5827 | 1206154.2796 | 2766678.5028 | 1206153.0795 | 2766675.2359 | 1206143.0679 | 2766671.0158 | 1206135.7599
51 | 2766674.3872 | 1206211.8528 | 2766678.0904 | 1206179.8263 | 2766679.0979 | 1206162.0156 | 2766678.5827 | 1206154.2796
52 | 2766626.3992 | 1206099.4309 | 2766630.823 | 1206101.2672 | 2766644.5013 | 1206107.1989 | 2766653.4257 | 1206113.843 | 2766660.0096 | 1206120.0882 | 2766669.6026 | 1206133.3127 | 2766671.0158 | 1206135.7599
53 | 2766674.3872 | 1206211.8528 | 2766677.9623 | 1206214.6441 | 2766713.7516 | 1206249.345
54 | 2766674.3872 | 1206211.8528 | 2766661.1647 | 1206201.5352
55 | 2766626.3992 | 1206099.4309 | 2766617.8 | 1206095.8543 | 2766609.4134 | 1206093.9296 | 2766597.8249 | 1206091.9266 | 2766587.606 | 1206089.1167 | 2766578.938 | 1206085.0044 | 2766572.6727 | 1206079.6135 | 2766568.6287 | 1206073.4393 | 2766565.7698 | 1206066.7978 | 2766562.0387 | 1206055.4165 | 2766559.7147 | 1206041.8835 | 2766558.7006 | 1206023.6827 | 2766557.7192 | 1206016.582 | 2766555.254 | 1206008.1054 | 2766550.6175 | 1205998.8897 | 2766543.0988 | 1205983.866 | 2766537.6134 | 1205974.7935 | 2766532.2721 | 1205968.7388
56 | 2766626.3992 | 1206099.4309 | 2766632.9676 | 1206092.6078 | 2766639.71 | 1206088.0028 | 2766643.3611 | 1206087.2596 | 2766645.609 | 1206087.4336 | 2766650.8355 | 1206087.2348 | 2766652.7732 | 1206086.7996 | 2766662.5701 | 1206083.7368 | 2766664.2747 | 1206084.018 | 2766670.4625 | 1206087.0046 | 2766675.1831 | 1206087.4813 | 2766679.2098 | 1206089.6401 | 2766682.1001 | 1206090.5216 | 2766691.9605 | 1206088.7285 | 2766703.7846 | 1206089.9264 | 2766708.571 | 1206089.1371 | 2766721.3652 | 1206094.566 | 2766736.1714 | 1206096.6258 | 2766738.2599 | 1206097.0996
57 | 2766713.7516 | 1206249.345 | 2766728.5121 | 1206263.6566 | 2766730.5579 | 1206265.6012
58 | 2766647.5627 | 1206190.9215 | 2766661.1647 | 1206201.5352
59 | 2766532.2721 | 1205968.7388 | 2766559.6758 | 1205965.856 | 2766573.854 | 1205963.9831 | 2766586.3019 | 1205958.6587 | 2766598.5471 | 1205952.4168 | 2766610.4314 | 1205950.9247 | 2766622.9492 | 1205951.2743 | 2766630.9699 | 1205949.6856 | 2766633.1171 | 1205946.1088 | 2766632.3312 | 1205941.5493 | 2766626.9468 | 1205938.6741 | 2766611.7177 | 1205937.5704 | 2766604.0639 | 1205936.525
60 | 2766532.2721 | 1205968.7388 | 2766530.9071 | 1205967.1993 | 2766519.9753 | 1205959.6541 | 2766506.3531 | 1205951.7002 | 2766483.2276 | 1205939.2772
61 | 2766766.6719 | 1206101.6489 | 2766751.2668 | 1206100.0505 | 2766738.2599 | 1206097.0996
62 | 2766628.5369 | 1206176.0756 | 2766647.5627 | 1206190.9215
63 | 2766766.6719 | 1206101.6489 | 2766754.9512 | 1206088.5872 | 2766745.017 | 1206082.6709 | 2766735.3176 | 1206071.0781 | 2766726.5763 | 1206057.0654 | 2766729.0009 | 1206034.0339 | 2766740.8911 | 1206007.2743 | 2766765.5431 | 1205980.1427
64 | 2766590.5396 | 1206146.4429 | 2766624.4242 | 1206172.8665 | 2766628.5369 | 1206176.0756
65 | 2766929.295 | 1206047.529 | 2766935.3675 | 1206059.1119 | 2766940.5782 | 1206069.0001 | 2766948.461 | 1206085.3913 | 2766954.5358 | 1206098.3956 | 2766958.8081 | 1206107.5458 | 2766964.9559 | 1206117.9385 | 2766971.5496 | 1206129.5337 | 2766973.8781 | 1206139.6082 | 2766973.6591 | 1206147.4316 | 2766970.4312 | 1206152.0902 | 2766954.1797 | 1206162.7902 | 2766931.4957 | 1206173.5438 | 2766927.0945 | 1206177.7024 | 2766927.0019 | 1206181.014
66 | 2766939.676 | 1206000.611 | 2766932.6175 | 1206012.6917 | 2766927.3277 | 1206022.7643 | 2766923.7833 | 1206030.0275 | 2766924.2988 | 1206037.1708 | 2766926.7695 | 1206042.7117 | 2766929.295 | 1206047.529
67 | 2766963.8296 | 1205989.3091 | 2766952.7344 | 1205993.336 | 2766939.676 | 1206000.611
68 | 2766725.6359 | 1205840.9822 | 2766715.5864 | 1205837.5428 | 2766663.9248 | 1205822.1975 | 2766655.0002 | 1205821.1882
69 | 2766963.8296 | 1205989.3091 | 2766952.2922 | 1205984.66 | 2766946.7041 | 1205979.0096 | 2766941.9419 | 1205968.322 | 2766939.4449 | 1205961.915
70 | 2766459.367 | 1206061.2144 | 2766493.4746 | 1206083.7196 | 2766546.1777 | 1206111.8489 | 2766590.5396 | 1206146.4429
71 | 2766459.367 | 1206061.2144 | 2766455.661 | 1206068.5624 | 2766452.1104 | 1206080.1631 | 2766453.26 | 1206091.6058 | 2766459.8948 | 1206106.1265 | 2766468.9606 | 1206117.8012 | 2766477.7378 | 1206129.4568 | 2766480.5346 | 1206134.5061 | 2766479.2172 | 1206139.4407 | 2766476.4559 | 1206143.7566 | 2766470.5356 | 1206145.6377 | 2766456.4672 | 1206144.956 | 2766435.9344 | 1206144.3831 | 2766427.3495 | 1206143.0204
72 | 2766345.6642 | 1206033.0196 | 2766408.3994 | 1206045.3235 | 2766434.6838 | 1206047.0799 | 2766449.7118 | 1206054.8393 | 2766459.367 | 1206061.2144
73 | 2766427.3495 | 1206143.0204 | 2766415.7716 | 1206141.1849 | 2766392.0958 | 1206137.5995 | 2766371.6773 | 1206132.9262 | 2766356.8002 | 1206129.5864 | 2766347.9843 | 1206127.6748
74 | 2766345.6642 | 1206033.0196 | 2766330.0609 | 1206025.1443 | 2766309.8963 | 1206017.3532 | 2766283.0332 | 1206005.772 | 2766276.3502 | 1206001.9713 | 2766262.5506 | 1205993.0009 | 2766252.6961 | 1205989.1229 | 2766237.3414 | 1205987.3383 | 2766218.3919 | 1205984.5526 | 2766212.473 | 1205982.5526 | 2766202.752 | 1205976.8879 | 2766196.4631 | 1205974.605
75 | 2766178.2753 | 1205969.7359 | 2766183.0104 | 1205970.021 | 2766189.943 | 1205972.2382 | 2766196.4631 | 1205974.605
76 | 2766737.9999 | 1206356.5972 | 2766736.1087 | 1206361.9049 | 2766735.305 | 1206366.698 | 2766735.9687 | 1206371.5433 | 2766737.9139 | 1206374.6979
77 | 2766737.9999 | 1206356.5972 | 2766730.9456 | 1206354.3981 | 2766721.8107 | 1206351.0772
78 | 2766749.405 | 1206387.4579 | 2766745.8338 | 1206383.9971 | 2766741.1281 | 1206379.1834 | 2766738.1528 | 1206375.0854 | 2766737.9139 | 1206374.6979
79 | 2766721.8107 | 1206351.0772 | 2766720.9707 | 1206350.7718 | 2766704.7089 | 1206344.3077
80 | 2766749.405 | 1206387.4579 | 2766751.5595 | 1206389.5458
81 | 2766704.7089 | 1206344.3077 | 2766703.5762 | 1206343.8575 | 2766695.5603 | 1206342.2989 | 2766687.5447 | 1206340.7292 | 2766677.8134 | 1206338.1885 | 2766669.432 | 1206335.2741 | 2766660.8068 | 1206331.5521 | 2766655.6684 | 1206328.0609 | 2766652.2379 | 1206324.4423
82 | 2766765.4619 | 1206403.0186 | 2766751.5595 | 1206389.5458
83 | 2766652.2379 | 1206324.4423 | 2766649.7986 | 1206321.8691 | 2766640.9344 | 1206311.9903 | 2766628.3815 | 1206304.4774 | 2766608.3317 | 1206298.3455 | 2766593.5458 | 1206294.4849 | 2766579.7945 | 1206291.454 | 2766579.7945 | 1206291.454
84 | 2766145.4418 | 1205980.4519 | 2766122.6037 | 1206047.8354
85 | 2766145.4418 | 1205980.4519 | 2766155.1831 | 1205979.3775 | 2766160.8638 | 1205978.1789 | 2766166.4239 | 1205973.3847 | 2766170.5728 | 1205970.3418 | 2766175.7921 | 1205969.5864 | 2766178.2753 | 1205969.7359
86 | 2766579.0284 | 1205807.3857 | 2766588.8604 | 1205810.3364 | 2766636.1104 | 1205819.0517 | 2766655.0002 | 1205821.1882

## bus_geodata
| x | y | coords
0 | 2766862.6619 | 1205817.9992
1 | 2766757.0466 | 1205860.1755
2 | 2766867.4883 | 1205821.143
3 | 2766983.1001 | 1206647.0069
4 | 2766994.4128 | 1206515.289
5 | 2766957.7133 | 1206594.9216
6 | 2766670.2318 | 1206433.3101
7 | 2766648.7563 | 1206424.2911
8 | 2766801.1251 | 1206471.8456
9 | 2766506.4336 | 1206367.802
10 | 2766631.0149 | 1206415.0349
11 | 2766596.4104 | 1206405.0124
12 | 2766607.5785 | 1206404.8794
13 | 2766946.8523 | 1206582.0547
14 | 2766927.5271 | 1206474.4695
15 | 2766888.5445 | 1206473.2248
16 | 2766895.0866 | 1206450.2223
17 | 2766821.6067 | 1206474.2089
18 | 2766823.4328 | 1206474.3934
19 | 2766855.1437 | 1206477.307
20 | 2766775.9978 | 1206455.4983
21 | 2766645.6449 | 1206389.3542
22 | 2766632.2623 | 1206385.4167
23 | 2766370.1754 | 1206320.1856
24 | 2766859.5635 | 1206431.0143
25 | 2766878.8041 | 1206441.4181
26 | 2766855.9486 | 1206429.0597
27 | 2766844.9994 | 1206422.2812
28 | 2766838.5907 | 1206408.1663
29 | 2766831.9189 | 1206383.8571
30 | 2766914.0275 | 1206403.6341
31 | 2766906.0994 | 1206400.1287
32 | 2766937.9986 | 1206414.6508
33 | 2766894.457 | 1206395.0009
34 | 2766920.1524 | 1206388.6389
35 | 2766868.0597 | 1206380.0857
36 | 2766911.0055 | 1206383.6116
37 | 2766843.2265 | 1206362.3188
38 | 2766841.513 | 1206361.0929
39 | 2766770.6257 | 1206303.6843
40 | 2766887.454 | 1206278.1569
41 | 2766800.1842 | 1206380.5675
42 | 2766748.3644 | 1206282.5256
43 | 2766786.4798 | 1206375.9732
44 | 2766738.93 | 1206273.5586
45 | 2766678.5827 | 1206154.2796
46 | 2766671.0158 | 1206135.7599
47 | 2766674.3872 | 1206211.8528
48 | 2766626.3992 | 1206099.4309
49 | 2766713.7516 | 1206249.345
50 | 2766661.1647 | 1206201.5352
51 | 2766532.2721 | 1205968.7388
52 | 2766738.2599 | 1206097.0996
53 | 2766730.5579 | 1206265.6012
54 | 2766647.5627 | 1206190.9215
55 | 2766604.0639 | 1205936.525
56 | 2766483.2276 | 1205939.2772
57 | 2766766.6719 | 1206101.6489
58 | 2766628.5369 | 1206176.0756
59 | 2766765.5431 | 1205980.1427
60 | 2766929.295 | 1206047.529
61 | 2766927.0019 | 1206181.014
62 | 2766939.676 | 1206000.611
63 | 2766725.6359 | 1205840.9822
64 | 2766939.4449 | 1205961.915
65 | 2766963.8296 | 1205989.3091
66 | 2766590.5396 | 1206146.4429
67 | 2766459.367 | 1206061.2144
68 | 2766427.3495 | 1206143.0204
69 | 2766345.6642 | 1206033.0196
70 | 2766347.9843 | 1206127.6748
71 | 2766196.4631 | 1205974.605
72 | 2766737.9999 | 1206356.5972
73 | 2766737.9139 | 1206374.6979
74 | 2766721.8107 | 1206351.0772
75 | 2766749.405 | 1206387.4579
76 | 2766704.7089 | 1206344.3077
77 | 2766751.5595 | 1206389.5458
78 | 2766652.2379 | 1206324.4423
79 | 2766765.4619 | 1206403.0186
80 | 2766579.7945 | 1206291.454
81 | 2766617.5067 | 1206378.0279
82 | 2766311.0803 | 1206293.7434
83 | 2766122.6037 | 1206047.8354
84 | 2766145.4418 | 1205980.4519
85 | 2766178.2753 | 1205969.7359
86 | 2766655.0002 | 1205821.1882
87 | 2766579.0284 | 1205807.3857
88 | 2766831.9189 | 1206383.8571

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1