## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3972-9_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3972-9_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3972-9_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3972-9_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3972-9_0_2_node_67 | 0.4 | n |  | TRUE
5 | bus_LV_3972-9_0_2_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_3972-9_0_2_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_3972-9_0_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_3972-9_0_2_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_3972-9_0_2_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3972-9_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3972-9_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3972-9_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3972-9_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3972-9_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3972-9_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3972-9_0_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_3972-9_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3972-9_0_2_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_3972-9_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3972-9_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_3972-9_0_2_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_3972-9_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_3972-9_0_2_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_3972-9_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3972-9_0_2_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_3972-9_0_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_3972-9_0_2_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_3972-9_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3972-9_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3972-9_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3972-9_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_3972-9_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_3972-9_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3972-9_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3972-9_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_3972-9_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_3972-9_0_2_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3972-9_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_3972-9_0_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_3972-9_0_2_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3972-9_0_2_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_3972-9_0_2_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_3972-9_0_2_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_3972-9_0_2_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_3972-9_0_2_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_3972-9_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_3972-9_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_3972-9_0_2_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_3972-9_0_2_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_3972-9_0_2_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_3972-9_0_2_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_3972-9_0_2_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_3972-9_0_2_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_3972-9_0_2_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_3972-9_0_2_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_3972-9_0_2_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_3972-9_0_2_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_3972-9_0_2_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_3972-9_0_2_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_3972-9_0_2_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_3972-9_0_2_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_3972-9_0_2_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_3972-9_0_2_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_3972-9_0_2_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_3972-9_0_2_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_3972-9_0_2_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_3972-9_0_2_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_3972-9_0_2_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_3972-9_0_2_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_3972-9_0_2_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_3972-9_0_2_node_73 | 0.4 | n |  | TRUE
72 | bus_MV_176_1_node_195 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3972-9_0_2_load_0 | 0 | 0.0013279 | 0.0003328 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3972-9_0_2_load_2 | 2 | 0.002481 | 0.00062179 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3972-9_0_2_load_67 | 4 | 0.0053591 | 0.0013431 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3972-9_0_2_load_66 | 5 | 0.0025879 | 0.0006486 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3972-9_0_2_load_13 | 6 | 0.0021335 | 0.0005347 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3972-9_0_2_load_15 | 7 | 0.0018747 | 0.00046983 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3972-9_0_2_load_4 | 9 | 0.0019742 | 0.00049477 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3972-9_0_2_load_5 | 10 | 0.0021922 | 0.00054943 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3972-9_0_2_load_7 | 12 | 0.0023427 | 0.00058713 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3972-9_0_2_load_8 | 13 | 0.0010056 | 0.00025203 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3972-9_0_2_load_9 | 14 | 0.0037981 | 0.0009519 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3972-9_0_2_load_23 | 18 | 0.0039224 | 0.00098304 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3972-9_0_2_load_11 | 19 | 0.0033207 | 0.00083225 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3972-9_0_2_load_17 | 20 | 0.0015297 | 0.00038338 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3972-9_0_2_load_21 | 22 | 0.0014698 | 0.00036838 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3972-9_0_2_load_16 | 24 | 0.0009023 | 0.00022614 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3972-9_0_2_load_34 | 26 | 0.0035238 | 0.00088315 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3972-9_0_2_load_18 | 28 | 0.017136 | 0.0042947 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3972-9_0_2_load_27 | 31 | 0.0017354 | 0.00043492 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3972-9_0_2_load_24 | 32 | 0.0014849 | 0.00037215 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3972-9_0_2_load_25 | 33 | 0.0016046 | 0.00040215 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3972-9_0_2_load_28 | 34 | 0.0015165 | 0.00038008 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3972-9_0_2_load_29 | 35 | 0.001267 | 0.00031754 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3972-9_0_2_load_30 | 36 | 0.001973 | 0.00049447 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3972-9_0_2_load_31 | 37 | 0.0027344 | 0.00068529 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3972-9_0_2_load_35 | 38 | 0.0010214 | 0.000256 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3972-9_0_2_load_37 | 39 | 0.0027424 | 0.0006873 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3972-9_0_2_load_36 | 40 | 0.0013343 | 0.00033441 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3972-9_0_2_load_39 | 41 | 0.0047184 | 0.0011826 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3972-9_0_2_load_41 | 42 | 0.0039976 | 0.0010019 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3972-9_0_2_load_42 | 43 | 0.00090803 | 0.00022757 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3972-9_0_2_load_43 | 44 | 0.0029413 | 0.00073715 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3972-9_0_2_load_44 | 45 | 0.0047003 | 0.001178 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3972-9_0_2_load_45 | 46 | 0.010005 | 0.0025074 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3972-9_0_2_load_64 | 48 | 0.0033199 | 0.00083204 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3972-9_0_2_load_68 | 50 | 0.0014081 | 0.0003529 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3972-9_0_2_load_63 | 51 | 0.0048546 | 0.0012167 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3972-9_0_2_load_47 | 52 | 0.0033784 | 0.00084672 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3972-9_0_2_load_48 | 53 | 0.0035845 | 0.00089836 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3972-9_0_2_load_49 | 54 | 0.00257 | 0.0006441 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3972-9_0_2_load_50 | 55 | 0.003053 | 0.00076515 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3972-9_0_2_load_52 | 56 | 0.0029443 | 0.00073791 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3972-9_0_2_load_53 | 57 | 0.0059758 | 0.0014977 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3972-9_0_2_load_56 | 58 | 0.0046667 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3972-9_0_2_load_57 | 59 | 0.001535 | 0.00038471 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3972-9_0_2_load_54 | 60 | 0.0064328 | 0.0016122 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3972-9_0_2_load_55 | 61 | 0.0048931 | 0.0012263 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3972-9_0_2_load_59 | 65 | 0.0030961 | 0.00077595 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3972-9_0_2_load_60 | 66 | 0.0037084 | 0.0009294 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3972-9_0_2_load_69 | 67 | 0.0029245 | 0.00073294 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3972-9_0_2_load_70 | 68 | 0.0056132 | 0.0014068 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3972-9_0_2_load_71 | 69 | 0.004567 | 0.0011446 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3972-9_0_2_load_72 | 70 | 0.0030145 | 0.0007555 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3972-9_0_2_load_73 | 71 | 0.0043569 | 0.0010919 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3972-9_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.22482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3972-9_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.032042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3972-9_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.065468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3972-9_0_2_line_3 | NAYY 4x150 SE | 2 | 6 | 0.22001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3972-9_0_2_line_4 | NAYY 4x150 SE | 3 | 7 | 0.006807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3972-9_0_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.030259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3972-9_0_2_line_6 | NAYY 4x150 SE | 5 | 49 | 0.043415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3972-9_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.017065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3972-9_0_2_line_8 | NAYY 4x150 SE | 8 | 13 | 0.052682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3972-9_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.00012909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3972-9_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0059359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3972-9_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0074942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3972-9_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.042681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3972-9_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.012474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3972-9_0_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.0099088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3972-9_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0057574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3972-9_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.036006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3972-9_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.012596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3972-9_0_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.016929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3972-9_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.047691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3972-9_0_2_line_20 | NAYY 4x150 SE | 18 | 30 | 0.010713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3972-9_0_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.0649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3972-9_0_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.035007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3972-9_0_2_line_23 | NAYY 4x150 SE | 22 | 29 | 0.029756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3972-9_0_2_line_24 | NAYY 4x150 SE | 23 | 41 | 0.019997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3972-9_0_2_line_25 | NAYY 4x150 SE | 23 | 39 | 0.01286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3972-9_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0027972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3972-9_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0091157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3972-9_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.017099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3972-9_0_2_line_29 | NAYY 4x150 SE | 26 | 40 | 0.0089099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3972-9_0_2_line_30 | NAYY 4x150 SE | 27 | 38 | 0.022478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3972-9_0_2_line_31 | NAYY 4x150 SE | 27 | 37 | 0.0082778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3972-9_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.032292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3972-9_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.018284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3972-9_0_2_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0073986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3972-9_0_2_line_35 | NAYY 4x150 SE | 31 | 34 | 0.0012036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3972-9_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.0060972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3972-9_0_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0071384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3972-9_0_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0073234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3972-9_0_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0020408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3972-9_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.008576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3972-9_0_2_line_41 | NAYY 4x150 SE | 41 | 42 | 0.00060305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3972-9_0_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.020134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3972-9_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.0074435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3972-9_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.0011247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3972-9_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.015284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3972-9_0_2_line_46 | NAYY 4x150 SE | 46 | 47 | 0.024617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3972-9_0_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.0023712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3972-9_0_2_line_48 | NAYY 4x150 SE | 47 | 49 | 0.064171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3972-9_0_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.033291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3972-9_0_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.033322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3972-9_0_2_line_51 | NAYY 4x150 SE | 51 | 62 | 0.0038967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3972-9_0_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.01426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3972-9_0_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.0085386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3972-9_0_2_line_54 | NAYY 4x150 SE | 53 | 55 | 0.0033135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3972-9_0_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.025682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3972-9_0_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.0015111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3972-9_0_2_line_57 | NAYY 4x150 SE | 57 | 60 | 0.025197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3972-9_0_2_line_58 | NAYY 4x150 SE | 58 | 59 | 0.018562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3972-9_0_2_line_59 | NAYY 4x150 SE | 59 | 64 | 0.026682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3972-9_0_2_line_60 | NAYY 4x150 SE | 60 | 61 | 0.0047973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3972-9_0_2_line_61 | NAYY 4x150 SE | 61 | 62 | 0.015311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3972-9_0_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.020537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3972-9_0_2_line_63 | NAYY 4x150 SE | 63 | 67 | 0.032272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3972-9_0_2_line_64 | NAYY 4x150 SE | 63 | 66 | 0.020338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3972-9_0_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.016969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3972-9_0_2_line_66 | NAYY 4x150 SE | 65 | 66 | 4.0763e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3972-9_0_2_line_67 | NAYY 4x150 SE | 67 | 68 | 0.013276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3972-9_0_2_line_68 | NAYY 4x150 SE | 68 | 69 | 0.0042854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3972-9_0_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.023837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3972-9_0_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.00059096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3972-9_0_2_trafo_44 | 0.25 MVA 20/0.4 kV | 72 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2767632.971 | 1206068.297 | 2767432.409 | 1205966.7097
1 | 2767632.971 | 1206068.297 | 2767643.7273 | 1206063.6168 | 2767649.8227 | 1206059.3173 | 2767652.0732 | 1206055.0653 | 2767652.2318 | 1206046.9844
2 | 2767632.971 | 1206068.297 | 2767643.7924 | 1206074.0284 | 2767648.8301 | 1206083.5343 | 2767663.348 | 1206111.824 | 2767672.8602 | 1206106.9977
3 | 2767767.5147 | 1205859.5998 | 2767652.2318 | 1206046.9844
4 | 2767672.8602 | 1206106.9977 | 2767672.884 | 1206100.192
5 | 2767570.3109 | 1205671.1259 | 2767588.1144 | 1205676.4488 | 2767599.4092 | 1205679.4101
6 | 2767638.1111 | 1205659.7365 | 2767599.4092 | 1205679.4101
7 | 2767782.5982 | 1205851.6185 | 2767767.5147 | 1205859.5998
8 | 2767782.5982 | 1205851.6185 | 2767805.4931 | 1205847.2689 | 2767814.9316 | 1205841.5621 | 2767826.026 | 1205835.4348 | 2767831.5941 | 1205834.3453
9 | 2767870.5335 | 1205811.6159 | 2767870.4066 | 1205811.6398
10 | 2767864.4887 | 1205812.0496 | 2767869.9015 | 1205811.7348 | 2767870.4066 | 1205811.6398
11 | 2767875.8076 | 1205807.792 | 2767874.7374 | 1205810.8254 | 2767870.5335 | 1205811.6159
12 | 2767864.4887 | 1205812.0496 | 2767860.3135 | 1205822.2084 | 2767856.34 | 1205826.0114 | 2767847.9087 | 1205829.7334 | 2767837.0085 | 1205833.2859 | 2767831.5941 | 1205834.3453
13 | 2767864.4887 | 1205812.0496 | 2767861.3202 | 1205809.4247 | 2767853.4636 | 1205806.5694
14 | 2767879.1044 | 1205798.4477 | 2767875.8076 | 1205807.792
15 | 2767848.0525 | 1205804.6028 | 2767853.4636 | 1205806.5694
16 | 2767879.1044 | 1205798.4477 | 2767901.4845 | 1205806.4511 | 2767912.9813 | 1205810.9118
17 | 2767848.0525 | 1205804.6028 | 2767843.6225 | 1205802.9879 | 2767836.1543 | 1205800.4728
18 | 2767848.0525 | 1205804.6028 | 2767850.8588 | 1205787.9105
19 | 2767912.9813 | 1205810.9118 | 2767891.1684 | 1205853.3224
20 | 2767826.002 | 1205797.0537 | 2767836.1543 | 1205800.4728
21 | 2767790.9021 | 1205766.0939 | 2767799.1748 | 1205744.4728 | 2767800.4972 | 1205738.8602 | 2767800.8791 | 1205734.2111 | 2767799.3049 | 1205727.9387 | 2767796.1556 | 1205724.358 | 2767791.4431 | 1205720.066 | 2767786.4328 | 1205717.4339 | 2767784.5978 | 1205714.4795 | 2767784.5755 | 1205709.9071
22 | 2767790.9021 | 1205766.0939 | 2767758.2297 | 1205753.2751
23 | 2767805.973 | 1205692.4707 | 2767797.0591 | 1205695.2116 | 2767792.1525 | 1205697.8207 | 2767788.7351 | 1205700.7941 | 2767786.0652 | 1205703.7107 | 2767784.573 | 1205709.4074 | 2767784.5755 | 1205709.9071
24 | 2767758.2297 | 1205753.2751 | 2767751.7856 | 1205750.7472 | 2767740.167 | 1205744.7512
25 | 2767758.2297 | 1205753.2751 | 2767756.3879 | 1205761.6645 | 2767758.1123 | 1205765.5722
26 | 2767777.1437 | 1205796.5804 | 2767775.9043 | 1205799.088
27 | 2767777.1437 | 1205796.5804 | 2767769.2527 | 1205793.2667 | 2767768.7291 | 1205793.0764
28 | 2767784.5826 | 1205781.5976 | 2767780.2525 | 1205793.754 | 2767777.1437 | 1205796.5804
29 | 2767768.7291 | 1205793.0764 | 2767760.3547 | 1205790.034
30 | 2767784.5826 | 1205781.5976 | 2767773.1281 | 1205776.1706 | 2767765.1188 | 1205770.5175
31 | 2767784.5826 | 1205781.5976 | 2767792.0778 | 1205785.1112
32 | 2767805.973 | 1205692.4707 | 2767812.2772 | 1205693.4821 | 2767834.1321 | 1205707.3943
33 | 2767826.002 | 1205797.0537 | 2767808.6722 | 1205791.2245
34 | 2767826.002 | 1205797.0537 | 2767825.5121 | 1205799.3199 | 2767824.0949 | 1205804.1983
35 | 2767807.5314 | 1205790.8408 | 2767808.6722 | 1205791.2245
36 | 2767822.394 | 1205810.0534 | 2767824.0949 | 1205804.1983
37 | 2767807.5314 | 1205790.8408 | 2767800.7655 | 1205788.5649
38 | 2767793.9256 | 1205785.9774 | 2767796.0913 | 1205786.9927 | 2767800.7655 | 1205788.5649
39 | 2767793.9256 | 1205785.9774 | 2767792.0778 | 1205785.1112
40 | 2767758.1123 | 1205765.5722 | 2767765.1188 | 1205770.5175
41 | 2767739.6311 | 1205744.4746 | 2767740.167 | 1205744.7512
42 | 2767722.8101 | 1205733.431 | 2767737.9736 | 1205743.6192 | 2767739.6311 | 1205744.4746
43 | 2767722.8101 | 1205733.431 | 2767716.6316 | 1205729.2798
44 | 2767715.6981 | 1205728.6525 | 2767716.6316 | 1205729.2798
45 | 2767715.6981 | 1205728.6525 | 2767711.8877 | 1205726.0924 | 2767703.3535 | 1205719.6485
46 | 2767683.7074 | 1205704.8144 | 2767703.3535 | 1205719.6485
47 | 2767683.7074 | 1205704.8144 | 2767681.4518 | 1205704.0829
48 | 2767638.1111 | 1205659.7365 | 2767669.1018 | 1205693.1489 | 2767683.7074 | 1205704.8144
49 | 2767638.1111 | 1205659.7365 | 2767613.7413 | 1205637.0558
50 | 2767638.1111 | 1205659.7365 | 2767645.8245 | 1205648.5203 | 2767648.8203 | 1205642.9436 | 2767657.0335 | 1205632.3824
51 | 2767659.4256 | 1205629.3064 | 2767657.0335 | 1205632.3824
52 | 2767739.0012 | 1205658.7387 | 2767736.5373 | 1205660.7012 | 2767729.6583 | 1205663.8888 | 2767726.1721 | 1205664.4358
53 | 2767739.0012 | 1205658.7387 | 2767739.7606 | 1205658.1338 | 2767744.6868 | 1205652.389 | 2767744.6868 | 1205652.389
54 | 2767726.1721 | 1205664.4358 | 2767726.1721 | 1205664.4358 | 2767722.9435 | 1205663.6903
55 | 2767722.9435 | 1205663.6903 | 2767719.4266 | 1205662.8782 | 2767714.2216 | 1205661.2083 | 2767708.4046 | 1205658.2977 | 2767699.7876 | 1205653.0256
56 | 2767698.4986 | 1205652.237 | 2767699.7876 | 1205653.0256
57 | 2767698.4986 | 1205652.237 | 2767695.8487 | 1205650.6157 | 2767676.7821 | 1205639.4608
58 | 2767723.4926 | 1205608.6712 | 2767709.2894 | 1205596.7207
59 | 2767688.8725 | 1205579.5422 | 2767709.2894 | 1205596.7207
60 | 2767672.6414 | 1205637.0383 | 2767676.7821 | 1205639.4608
61 | 2767659.4256 | 1205629.3064 | 2767672.6414 | 1205637.0383
62 | 2767669.3074 | 1205611.3559 | 2767661.6763 | 1205626.4113 | 2767659.4256 | 1205629.3064
63 | 2767669.3074 | 1205611.3559 | 2767660.7102 | 1205597.6795 | 2767646.9859 | 1205589.2281
64 | 2767669.3074 | 1205611.3559 | 2767679.9617 | 1205594.0315
65 | 2767688.8725 | 1205579.5422 | 2767679.983 | 1205593.9968
66 | 2767679.9617 | 1205594.0315 | 2767679.983 | 1205593.9968
67 | 2767646.9859 | 1205589.2281 | 2767635.6811 | 1205582.2665
68 | 2767632.0321 | 1205580.0194 | 2767635.6811 | 1205582.2665
69 | 2767632.0321 | 1205580.0194 | 2767611.7352 | 1205567.5206
70 | 2767611.7352 | 1205567.5206 | 2767611.232 | 1205567.2107

## bus_geodata
| x | y | coords
0 | 2767432.409 | 1205966.7097
1 | 2767632.971 | 1206068.297
2 | 2767652.2318 | 1206046.9844
3 | 2767672.8602 | 1206106.9977
4 | 2767570.3109 | 1205671.1259
5 | 2767599.4092 | 1205679.4101
6 | 2767767.5147 | 1205859.5998
7 | 2767672.884 | 1206100.192
8 | 2767782.5982 | 1205851.6185
9 | 2767870.4066 | 1205811.6398
10 | 2767870.5335 | 1205811.6159
11 | 2767864.4887 | 1205812.0496
12 | 2767875.8076 | 1205807.792
13 | 2767831.5941 | 1205834.3453
14 | 2767853.4636 | 1205806.5694
15 | 2767879.1044 | 1205798.4477
16 | 2767848.0525 | 1205804.6028
17 | 2767912.9813 | 1205810.9118
18 | 2767836.1543 | 1205800.4728
19 | 2767850.8588 | 1205787.9105
20 | 2767891.1684 | 1205853.3224
21 | 2767790.9021 | 1205766.0939
22 | 2767784.5755 | 1205709.9071
23 | 2767758.2297 | 1205753.2751
24 | 2767775.9043 | 1205799.088
25 | 2767777.1437 | 1205796.5804
26 | 2767768.7291 | 1205793.0764
27 | 2767784.5826 | 1205781.5976
28 | 2767834.1321 | 1205707.3943
29 | 2767805.973 | 1205692.4707
30 | 2767826.002 | 1205797.0537
31 | 2767808.6722 | 1205791.2245
32 | 2767824.0949 | 1205804.1983
33 | 2767822.394 | 1205810.0534
34 | 2767807.5314 | 1205790.8408
35 | 2767800.7655 | 1205788.5649
36 | 2767793.9256 | 1205785.9774
37 | 2767792.0778 | 1205785.1112
38 | 2767765.1188 | 1205770.5175
39 | 2767758.1123 | 1205765.5722
40 | 2767760.3547 | 1205790.034
41 | 2767740.167 | 1205744.7512
42 | 2767739.6311 | 1205744.4746
43 | 2767722.8101 | 1205733.431
44 | 2767716.6316 | 1205729.2798
45 | 2767715.6981 | 1205728.6525
46 | 2767703.3535 | 1205719.6485
47 | 2767683.7074 | 1205704.8144
48 | 2767681.4518 | 1205704.0829
49 | 2767638.1111 | 1205659.7365
50 | 2767613.7413 | 1205637.0558
51 | 2767657.0335 | 1205632.3824
52 | 2767739.0012 | 1205658.7387
53 | 2767726.1721 | 1205664.4358
54 | 2767744.6868 | 1205652.389
55 | 2767722.9435 | 1205663.6903
56 | 2767699.7876 | 1205653.0256
57 | 2767698.4986 | 1205652.237
58 | 2767723.4926 | 1205608.6712
59 | 2767709.2894 | 1205596.7207
60 | 2767676.7821 | 1205639.4608
61 | 2767672.6414 | 1205637.0383
62 | 2767659.4256 | 1205629.3064
63 | 2767669.3074 | 1205611.3559
64 | 2767688.8724 | 1205579.5422
65 | 2767679.983 | 1205593.9968
66 | 2767679.9617 | 1205594.0315
67 | 2767646.9859 | 1205589.2281
68 | 2767635.6811 | 1205582.2665
69 | 2767632.0321 | 1205580.0194
70 | 2767611.7352 | 1205567.5206
71 | 2767611.232 | 1205567.2107
72 | 2767683.7074 | 1205704.8144

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1