## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3981-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3981-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3981-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3981-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3981-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3981-1_0_3_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_3981-1_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_3981-1_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_3981-1_0_3_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_3981-1_0_3_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_3981-1_0_3_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_3981-1_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_3981-1_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3981-1_0_3_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_3981-1_0_3_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_3981-1_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_3981-1_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_3981-1_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_3981-1_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3981-1_0_3_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_3981-1_0_3_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_3981-1_0_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_3981-1_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3981-1_0_3_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_3981-1_0_3_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_3981-1_0_3_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_3981-1_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_3981-1_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3981-1_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3981-1_0_3_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_3981-1_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_3981-1_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_3981-1_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_3981-1_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3981-1_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_3981-1_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_3981-1_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3981-1_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3981-1_0_3_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_3981-1_0_3_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_3981-1_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3981-1_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_3981-1_0_3_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_3981-1_0_3_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_3981-1_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_3981-1_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_3981-1_0_3_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_3981-1_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_3981-1_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3981-1_0_3_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_3981-1_0_3_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_3981-1_0_3_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_3981-1_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_3981-1_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3981-1_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_3981-1_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_3981-1_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_3981-1_0_3_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_3981-1_0_3_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_3981-1_0_3_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_3981-1_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_3981-1_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_3981-1_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_3981-1_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3981-1_0_3_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_3981-1_0_3_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_3981-1_0_3_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_3981-1_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_3981-1_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3981-1_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_3981-1_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_3981-1_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_3981-1_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_3981-1_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_3981-1_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3981-1_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_3981-1_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_3981-1_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_3981-1_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_3981-1_0_3_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_3981-1_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_3981-1_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3981-1_0_3_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_3981-1_0_3_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_3981-1_0_3_node_84 | 0.4 | n |  | TRUE
85 | bus_MV_179_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3981-1_0_3_load_0 | 0 | 0.0057404 | 0.0014387 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3981-1_0_3_load_3 | 3 | 0.0022396 | 0.00056129 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3981-1_0_3_load_55 | 5 | 0.0041154 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3981-1_0_3_load_21 | 7 | 0.002633 | 0.0006599 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3981-1_0_3_load_54 | 8 | 0.0029107 | 0.00072949 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3981-1_0_3_load_52 | 9 | 0.0031601 | 0.00079199 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3981-1_0_3_load_53 | 10 | 0.0015508 | 0.00038866 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3981-1_0_3_load_19 | 11 | 0.0029792 | 0.00074666 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3981-1_0_3_load_10 | 12 | 0.0016896 | 0.00042345 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3981-1_0_3_load_5 | 14 | 0.0030191 | 0.00075667 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3981-1_0_3_load_6 | 15 | 0.0026715 | 0.00066954 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3981-1_0_3_load_7 | 16 | 0.0064338 | 0.0016125 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3981-1_0_3_load_9 | 18 | 0.0028592 | 0.00071659 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3981-1_0_3_load_44 | 19 | 0.0025093 | 0.00062888 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3981-1_0_3_load_45 | 20 | 0.0033127 | 0.00083024 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3981-1_0_3_load_40 | 21 | 0.0019534 | 0.00048957 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3981-1_0_3_load_11 | 22 | 0.0018502 | 0.00046371 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3981-1_0_3_load_66 | 23 | 0.0010231 | 0.00025642 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3981-1_0_3_load_67 | 24 | 0.0012552 | 0.00031458 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3981-1_0_3_load_39 | 25 | 0.0015983 | 0.00040056 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3981-1_0_3_load_12 | 26 | 0.0038697 | 0.00096985 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3981-1_0_3_load_23 | 27 | 0.0016185 | 0.00040564 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3981-1_0_3_load_22 | 28 | 0.0059269 | 0.0014854 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3981-1_0_3_load_13 | 29 | 0.0026351 | 0.00066042 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3981-1_0_3_load_14 | 30 | 0.0015664 | 0.00039258 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3981-1_0_3_load_16 | 32 | 0.0022246 | 0.00055754 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3981-1_0_3_load_17 | 33 | 0.0031676 | 0.00079388 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3981-1_0_3_load_18 | 34 | 0.0022014 | 0.00055171 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3981-1_0_3_load_38 | 35 | 0.0011217 | 0.00028112 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3981-1_0_3_load_31 | 36 | 0.0018694 | 0.00046851 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3981-1_0_3_load_32 | 37 | 0.0030009 | 0.0007521 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3981-1_0_3_load_74 | 38 | 0.0021547 | 0.00054003 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3981-1_0_3_load_72 | 39 | 0.0018033 | 0.00045195 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3981-1_0_3_load_24 | 40 | 0.0016021 | 0.00040153 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3981-1_0_3_load_25 | 41 | 0.01078 | 0.0027017 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3981-1_0_3_load_47 | 43 | 0.0036851 | 0.00092358 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3981-1_0_3_load_48 | 44 | 0.0029337 | 0.00073525 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3981-1_0_3_load_26 | 45 | 0.0013005 | 0.00032592 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3981-1_0_3_load_42 | 48 | 0.0010788 | 0.00027038 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3981-1_0_3_load_28 | 49 | 0.0019487 | 0.00048838 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3981-1_0_3_load_29 | 50 | 0.012716 | 0.0031869 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3981-1_0_3_load_59 | 51 | 0.0021747 | 0.00054504 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3981-1_0_3_load_50 | 52 | 0.0031373 | 0.00078628 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3981-1_0_3_load_33 | 54 | 0.002426 | 0.00060801 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3981-1_0_3_load_49 | 55 | 0.001024 | 0.00025664 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3981-1_0_3_load_34 | 56 | 0.00094022 | 0.00023564 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3981-1_0_3_load_35 | 57 | 0.00175 | 0.00043859 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3981-1_0_3_load_36 | 58 | 0.0028481 | 0.00071381 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3981-1_0_3_load_37 | 59 | 0.0011006 | 0.00027584 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3981-1_0_3_load_43 | 60 | 0.0030955 | 0.00077579 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3981-1_0_3_load_51 | 61 | 0.0009028 | 0.00022626 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3981-1_0_3_load_65 | 62 | 0.0031863 | 0.00079857 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3981-1_0_3_load_57 | 63 | 0.0018844 | 0.00047227 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3981-1_0_3_load_77 | 64 | 0.0010832 | 0.00027149 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3981-1_0_3_load_81 | 65 | 0.00095469 | 0.00023927 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3981-1_0_3_load_76 | 66 | 0.0023798 | 0.00059643 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3981-1_0_3_load_58 | 68 | 0.001064 | 0.00026666 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3981-1_0_3_load_60 | 69 | 0.0041748 | 0.0010463 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3981-1_0_3_load_61 | 70 | 0.0028855 | 0.00072317 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3981-1_0_3_load_62 | 71 | 0.0056595 | 0.0014184 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3981-1_0_3_load_63 | 72 | 0.0016938 | 0.00042451 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3981-1_0_3_load_64 | 73 | 0.0023176 | 0.00058085 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3981-1_0_3_load_68 | 74 | 0.0038292 | 0.00095968 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3981-1_0_3_load_69 | 75 | 0.0023723 | 0.00059455 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3981-1_0_3_load_70 | 76 | 0.0043729 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3981-1_0_3_load_71 | 77 | 0.0048088 | 0.0012052 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3981-1_0_3_load_75 | 78 | 0.00097756 | 0.000245 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3981-1_0_3_load_79 | 79 | 0.0047795 | 0.0011979 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3981-1_0_3_load_78 | 80 | 0.001198 | 0.00030024 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3981-1_0_3_load_80 | 81 | 0.0017305 | 0.00043371 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3981-1_0_3_load_82 | 82 | 0.0014354 | 0.00035975 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3981-1_0_3_load_83 | 83 | 0.0024483 | 0.00061359 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3981-1_0_3_load_84 | 84 | 0.0017628 | 0.0004418 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3981-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3981-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.032386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3981-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3981-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3981-1_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.13854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3981-1_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.010115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3981-1_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0061254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3981-1_0_3_line_7 | NAYY 4x150 SE | 5 | 10 | 0.016518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3981-1_0_3_line_8 | NAYY 4x150 SE | 6 | 11 | 0.020706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3981-1_0_3_line_9 | NAYY 4x150 SE | 6 | 12 | 0.0097636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3981-1_0_3_line_10 | NAYY 4x150 SE | 7 | 13 | 0.01573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3981-1_0_3_line_11 | NAYY 4x150 SE | 8 | 9 | 0.075825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3981-1_0_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.0062928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3981-1_0_3_line_13 | NAYY 4x150 SE | 12 | 16 | 0.00094053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3981-1_0_3_line_14 | NAYY 4x150 SE | 13 | 38 | 0.026485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3981-1_0_3_line_15 | NAYY 4x150 SE | 13 | 39 | 0.0082155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3981-1_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0033035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3981-1_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.012605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3981-1_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0079023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_3981-1_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.014705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_3981-1_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.015487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3981-1_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.0076621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3981-1_0_3_line_22 | NAYY 4x150 SE | 17 | 21 | 0.01617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3981-1_0_3_line_23 | NAYY 4x150 SE | 18 | 22 | 0.017778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3981-1_0_3_line_24 | NAYY 4x150 SE | 19 | 23 | 0.0078866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3981-1_0_3_line_25 | NAYY 4x150 SE | 20 | 24 | 0.051676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3981-1_0_3_line_26 | NAYY 4x150 SE | 21 | 25 | 0.0079741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3981-1_0_3_line_27 | NAYY 4x150 SE | 22 | 26 | 0.014361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3981-1_0_3_line_28 | NAYY 4x150 SE | 23 | 62 | 0.0052341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3981-1_0_3_line_29 | NAYY 4x150 SE | 24 | 63 | 0.017923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3981-1_0_3_line_30 | NAYY 4x150 SE | 25 | 35 | 0.011733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3981-1_0_3_line_31 | NAYY 4x150 SE | 26 | 27 | 0.016384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3981-1_0_3_line_32 | NAYY 4x150 SE | 27 | 28 | 0.0015415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3981-1_0_3_line_33 | NAYY 4x150 SE | 28 | 40 | 0.0020229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3981-1_0_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.021146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3981-1_0_3_line_35 | NAYY 4x150 SE | 29 | 31 | 0.020532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3981-1_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.0024121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3981-1_0_3_line_37 | NAYY 4x150 SE | 31 | 33 | 0.023048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3981-1_0_3_line_38 | NAYY 4x150 SE | 31 | 34 | 0.034031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3981-1_0_3_line_39 | NAYY 4x150 SE | 32 | 35 | 0.0053929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3981-1_0_3_line_40 | NAYY 4x150 SE | 33 | 36 | 0.024419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3981-1_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.0069741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3981-1_0_3_line_42 | NAYY 4x150 SE | 37 | 54 | 0.008403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3981-1_0_3_line_43 | NAYY 4x150 SE | 38 | 78 | 0.0079414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3981-1_0_3_line_44 | NAYY 4x150 SE | 39 | 76 | 0.0070926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3981-1_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3981-1_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.039685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3981-1_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.01731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3981-1_0_3_line_48 | NAYY 4x150 SE | 43 | 52 | 0.025443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3981-1_0_3_line_49 | NAYY 4x150 SE | 43 | 49 | 0.082615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3981-1_0_3_line_50 | NAYY 4x150 SE | 44 | 61 | 0.025841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3981-1_0_3_line_51 | NAYY 4x150 SE | 45 | 46 | 0.0084532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3981-1_0_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.006215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3981-1_0_3_line_53 | NAYY 4x150 SE | 47 | 48 | 0.016398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3981-1_0_3_line_54 | NAYY 4x150 SE | 48 | 53 | 0.047074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3981-1_0_3_line_55 | NAYY 4x150 SE | 49 | 50 | 0.015961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3981-1_0_3_line_56 | NAYY 4x150 SE | 50 | 51 | 0.042954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3981-1_0_3_line_57 | NAYY 4x150 SE | 52 | 55 | 0.017772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3981-1_0_3_line_58 | NAYY 4x150 SE | 53 | 60 | 0.016937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3981-1_0_3_line_59 | NAYY 4x150 SE | 53 | 59 | 0.02068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3981-1_0_3_line_60 | NAYY 4x150 SE | 54 | 55 | 0.004535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3981-1_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.0045322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3981-1_0_3_line_62 | NAYY 4x150 SE | 56 | 58 | 0.0089743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3981-1_0_3_line_63 | NAYY 4x150 SE | 57 | 59 | 0.0070184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3981-1_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.0021194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3981-1_0_3_line_65 | NAYY 4x150 SE | 62 | 73 | 0.006625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3981-1_0_3_line_66 | NAYY 4x150 SE | 63 | 67 | 0.0038014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3981-1_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.011397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3981-1_0_3_line_68 | NAYY 4x150 SE | 64 | 66 | 0.0091013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3981-1_0_3_line_69 | NAYY 4x150 SE | 65 | 79 | 0.00033764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3981-1_0_3_line_70 | NAYY 4x150 SE | 66 | 78 | 0.00010031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3981-1_0_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.017374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3981-1_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.012499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3981-1_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.0016791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3981-1_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.0059536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3981-1_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0058682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3981-1_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.0036414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3981-1_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.014394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3981-1_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.0073516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3981-1_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.0094653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3981-1_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.017585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3981-1_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.011321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3981-1_0_3_line_82 | NAYY 4x150 SE | 82 | 83 | 0.011742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3981-1_0_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.014238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3981-1_0_3_trafo_23 | 0.25 MVA 20/0.4 kV | 85 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2728204.0734 | 1182018.2961 | 2728212.3929 | 1182019.6973 | 2728225.6131 | 1182025.8498
1 | 2728250.8281 | 1182043.0923 | 2728248.9329 | 1182036.7026 | 2728225.6131 | 1182025.8498
2 | 2728204.0734 | 1182018.2961 | 2728194.3369 | 1182003.1545 | 2728193.4659 | 1182001.6463
3 | 2728255.6309 | 1182032.1314 | 2728253.0655 | 1182038.8482 | 2728250.8281 | 1182043.0923
4 | 2728250.8281 | 1182043.0923 | 2728220.1443 | 1182178.1875
5 | 2728188.4072 | 1181992.8868 | 2728193.4659 | 1182001.6463
6 | 2728255.6309 | 1182032.1314 | 2728260.9661 | 1182035.1408
7 | 2728226.3495 | 1182193.4909 | 2728221.0159 | 1182180.7118 | 2728220.1443 | 1182178.1875
8 | 2728188.4072 | 1181992.8868 | 2728206.2894 | 1182003.3263
9 | 2728188.4072 | 1181992.8868 | 2728180.7968 | 1181986.7704
10 | 2728274.6666 | 1182042.8689 | 2728260.9661 | 1182035.1408
11 | 2728228.3568 | 1182199.4437 | 2728228.7369 | 1182200.7807 | 2728228.7582 | 1182204.4283 | 2728227.6541 | 1182207.8294 | 2728225.6882 | 1182210.4559 | 2728223.0658 | 1182212.3457 | 2728219.5076 | 1182212.9923 | 2728216.648 | 1182213.1201 | 2728213.5418 | 1182211.9194 | 2728209.2307 | 1182208.8361 | 2728195.5123 | 1182194.521 | 2728185.9937 | 1182183.8429 | 2728178.122 | 1182175.5182
12 | 2728228.3568 | 1182199.4437 | 2728227.3375 | 1182195.8582 | 2728226.3495 | 1182193.4909
13 | 2728180.7968 | 1181986.7704 | 2728180.0637 | 1181986.1812
14 | 2728274.6666 | 1182042.8689 | 2728290.8956 | 1182053.3906 | 2728294.5925 | 1182056.2607 | 2728296.2238 | 1182058.1059
15 | 2728274.6666 | 1182042.8689 | 2728278.9601 | 1182035.8646
16 | 2728169.7114 | 1181978.9903 | 2728166.9982 | 1181977.1057
17 | 2728180.0637 | 1181986.1812 | 2728169.7114 | 1181978.9903
18 | 2728160.508 | 1181972.5975 | 2728166.9982 | 1181977.1057
19 | 2728180.0637 | 1181986.1812 | 2728194.699 | 1181984.7499
20 | 2728160.508 | 1181972.5975 | 2728147.0872 | 1181964.8694
21 | 2728160.508 | 1181972.5975 | 2728152.8476 | 1181972.76
22 | 2728160.508 | 1181972.5975 | 2728167.23 | 1181962.9786 | 2728168.8613 | 1181958.8548
23 | 2728212.3977 | 1181983.8923 | 2728211.0259 | 1181983.6303 | 2728206.1828 | 1181983.6267 | 2728194.699 | 1181984.7499
24 | 2728147.0872 | 1181964.8694 | 2728140.2527 | 1181960.9339
25 | 2728152.8476 | 1181972.76 | 2728138.0619 | 1181973.0736 | 2728127.0486 | 1181974.0389 | 2728123.0252 | 1181974.998 | 2728120.3123 | 1181976.4745 | 2728118.3689 | 1181978.0452 | 2728116.9868 | 1181980.1617 | 2728113.2237 | 1181989.3102 | 2728112.2368 | 1181992.8635
26 | 2728167.4045 | 1181951.0149 | 2728168.8613 | 1181958.8548 | 2728168.8613 | 1181958.8548
27 | 2728212.3977 | 1181983.8923 | 2728215.4842 | 1181984.4819 | 2728222.0733 | 1181985.3568 | 2728226.6388 | 1181985.1209 | 2728226.6388 | 1181985.1209
28 | 2728135.7168 | 1181958.322 | 2728140.2527 | 1181960.9339
29 | 2728109.9577 | 1182010.4444 | 2728109.5607 | 1182008.4238 | 2728109.6332 | 1182004.3224 | 2728110.3331 | 1182000.1676 | 2728111.4278 | 1181995.7766 | 2728112.2368 | 1181992.8635
30 | 2728166.9466 | 1181939.3796 | 2728166.5048 | 1181946.1729 | 2728167.4045 | 1181951.0149
31 | 2728226.6388 | 1181985.1209 | 2728231.7877 | 1181983.6856 | 2728237.8738 | 1181980.5801 | 2728241.529 | 1181978.4981
32 | 2728242.8684 | 1181977.7352 | 2728241.529 | 1181978.4981
33 | 2728244.6262 | 1181976.7339 | 2728242.8684 | 1181977.7352
34 | 2728173.7104 | 1181911.4978 | 2728167.6545 | 1181928.4955 | 2728167.4532 | 1181931.5911
35 | 2728180.6013 | 1181892.1566 | 2728173.7104 | 1181911.4978
36 | 2728167.2966 | 1181933.9981 | 2728167.4532 | 1181931.5911
37 | 2728180.6013 | 1181892.1566 | 2728188.2298 | 1181895.8669 | 2728198.9651 | 1181905.7105
38 | 2728180.6013 | 1181892.1566 | 2728148.3024 | 1181881.4364
39 | 2728166.9466 | 1181939.3796 | 2728167.2966 | 1181933.9981
40 | 2728198.9651 | 1181905.7105 | 2728215.0741 | 1181920.4814 | 2728217.1331 | 1181922.0085
41 | 2728222.7346 | 1181926.1632 | 2728217.1331 | 1181922.0085
42 | 2728229.4837 | 1181931.1691 | 2728222.7346 | 1181926.1632
43 | 2728301.4788 | 1182064.0599 | 2728298.8512 | 1182061.0777 | 2728296.2238 | 1182058.1059
44 | 2728278.9601 | 1182035.8646 | 2728282.6668 | 1182029.8177
45 | 2728299.4231 | 1181979.8076 | 2728292.7708 | 1181977.9639 | 2728285.7712 | 1181975.5679 | 2728281.8824 | 1181973.9851
46 | 2728299.4231 | 1181979.8076 | 2728299.542 | 1181976.3965 | 2728298.8838 | 1181974.6701 | 2728297.6909 | 1181973.2991 | 2728292.2554 | 1181969.5689 | 2728276.5157 | 1181962.2266 | 2728269.1937 | 1181957.6272
47 | 2728299.4231 | 1181979.8076 | 2728316.2344 | 1181983.933
48 | 2728247.6491 | 1181944.0936 | 2728269.1937 | 1181957.6272
49 | 2728269.1937 | 1181957.6272 | 2728329.8368 | 1181901.523
50 | 2728341.6632 | 1181988.5068 | 2728318.1398 | 1181984.4005 | 2728316.2344 | 1181983.933
51 | 2728429.3784 | 1181999.4382 | 2728422.6828 | 1181994.2783
52 | 2728423.165 | 1181999.9277 | 2728429.3784 | 1181999.4382
53 | 2728423.165 | 1181999.9277 | 2728415.9372 | 1181999.6282 | 2728406.95 | 1181997.8363
54 | 2728360.5408 | 1181990.9798 | 2728373.196 | 1181991.1065 | 2728406.95 | 1181997.8363
55 | 2728321.4172 | 1181887.9632 | 2728329.8368 | 1181901.523
56 | 2728321.4172 | 1181887.9632 | 2728298.7586 | 1181851.4715
57 | 2728233.1262 | 1181933.8707 | 2728242.8145 | 1181941.0566 | 2728247.6491 | 1181944.0936
58 | 2728360.5408 | 1181990.9798 | 2728351.1774 | 1181990.1676 | 2728343.7511 | 1181988.8713
59 | 2728360.5408 | 1181990.9798 | 2728364.1975 | 1182001.7883 | 2728367.6205 | 1182007.0989 | 2728369.3844 | 1182009.466
60 | 2728229.4837 | 1181931.1691 | 2728233.1262 | 1181933.8707
61 | 2728374.4959 | 1182014.218 | 2728374.4959 | 1182014.218 | 2728378.7156 | 1182015.8718
62 | 2728387.0711 | 1182019.1465 | 2728378.7156 | 1182015.8718
63 | 2728369.3844 | 1182009.466 | 2728370.4496 | 1182010.8956 | 2728374.4959 | 1182014.218
64 | 2728343.7511 | 1181988.8713 | 2728341.6632 | 1181988.5068
65 | 2728135.7168 | 1181958.322 | 2728129.9756 | 1181955.0161
66 | 2728110.6905 | 1182014.1745 | 2728109.9577 | 1182010.4444
67 | 2728317.6927 | 1182076.3041 | 2728313.1629 | 1182074.0936 | 2728309.1169 | 1182071.8276 | 2728307.8053 | 1182070.7159
68 | 2728301.5451 | 1182064.1352 | 2728305.9808 | 1182069.1696 | 2728307.8053 | 1182070.7159
69 | 2728317.6927 | 1182076.3041 | 2728317.9961 | 1182076.4522
70 | 2728301.4788 | 1182064.0599 | 2728301.5451 | 1182064.1352
71 | 2728110.6905 | 1182014.1745 | 2728103.4814 | 1182008.7164 | 2728096.0062 | 1182005.0359
72 | 2728107.4441 | 1181942.0418 | 2728118.2758 | 1181948.279
73 | 2728119.7309 | 1181949.1169 | 2728118.2758 | 1181948.279
74 | 2728119.7309 | 1181949.1169 | 2728124.8902 | 1181952.0878
75 | 2728124.8902 | 1181952.0878 | 2728129.9756 | 1181955.0161
76 | 2728290.1895 | 1182017.5455 | 2728292.0925 | 1182014.441
77 | 2728290.1895 | 1182017.5455 | 2728282.6668 | 1182029.8177
78 | 2728295.9205 | 1182008.1647 | 2728294.6613 | 1182010.2504 | 2728292.0925 | 1182014.441
79 | 2728326.5026 | 1182080.6034 | 2728317.9961 | 1182076.4522
80 | 2728326.5026 | 1182080.6034 | 2728334.5877 | 1182084.5489 | 2728342.2599 | 1182088.4095
81 | 2728342.2599 | 1182088.4095 | 2728352.3726 | 1182093.4981
82 | 2728352.3726 | 1182093.4981 | 2728362.8615 | 1182098.776
83 | 2728362.8615 | 1182098.776 | 2728368.3544 | 1182101.54 | 2728375.3448 | 1182105.6106

## bus_geodata
| x | y | coords
0 | 2728225.6131 | 1182025.8498
1 | 2728204.0734 | 1182018.2961
2 | 2728250.8281 | 1182043.0923
3 | 2728193.4659 | 1182001.6463
4 | 2728255.6309 | 1182032.1314
5 | 2728220.1443 | 1182178.1875
6 | 2728188.4072 | 1181992.8868
7 | 2728260.9661 | 1182035.1408
8 | 2728178.122 | 1182175.5182
9 | 2728228.3568 | 1182199.4437
10 | 2728226.3495 | 1182193.4909
11 | 2728206.2894 | 1182003.3263
12 | 2728180.7968 | 1181986.7704
13 | 2728274.6666 | 1182042.8689
14 | 2728169.7114 | 1181978.9903
15 | 2728166.9982 | 1181977.1057
16 | 2728180.0637 | 1181986.1812
17 | 2728160.508 | 1181972.5975
18 | 2728194.699 | 1181984.7499
19 | 2728147.0872 | 1181964.8694
20 | 2728152.8476 | 1181972.76
21 | 2728168.8613 | 1181958.8548
22 | 2728212.3977 | 1181983.8923
23 | 2728140.2527 | 1181960.9339
24 | 2728112.2368 | 1181992.8635
25 | 2728167.4045 | 1181951.0149
26 | 2728226.6388 | 1181985.1209
27 | 2728241.529 | 1181978.4981
28 | 2728242.8684 | 1181977.7352
29 | 2728173.7104 | 1181911.4978
30 | 2728167.4532 | 1181931.5911
31 | 2728180.6013 | 1181892.1566
32 | 2728167.2966 | 1181933.9981
33 | 2728198.9651 | 1181905.7105
34 | 2728148.3024 | 1181881.4364
35 | 2728166.9466 | 1181939.3796
36 | 2728217.1331 | 1181922.0085
37 | 2728222.7346 | 1181926.1632
38 | 2728296.2238 | 1182058.1059
39 | 2728278.9601 | 1182035.8646
40 | 2728244.6262 | 1181976.7339
41 | 2728281.8824 | 1181973.9851
42 | 2728299.4231 | 1181979.8076
43 | 2728269.1937 | 1181957.6272
44 | 2728316.2344 | 1181983.933
45 | 2728422.6828 | 1181994.2783
46 | 2728429.3784 | 1181999.4382
47 | 2728423.165 | 1181999.9277
48 | 2728406.95 | 1181997.8363
49 | 2728329.8368 | 1181901.523
50 | 2728321.4172 | 1181887.9632
51 | 2728298.7586 | 1181851.4715
52 | 2728247.6491 | 1181944.0936
53 | 2728360.5408 | 1181990.9798
54 | 2728229.4837 | 1181931.1691
55 | 2728233.1262 | 1181933.8707
56 | 2728378.7156 | 1182015.8718
57 | 2728374.4959 | 1182014.218
58 | 2728387.0711 | 1182019.1465
59 | 2728369.3844 | 1182009.466
60 | 2728343.7511 | 1181988.8713
61 | 2728341.6632 | 1181988.5068
62 | 2728135.7168 | 1181958.322
63 | 2728109.9577 | 1182010.4444
64 | 2728307.8053 | 1182070.7159
65 | 2728317.6927 | 1182076.3041
66 | 2728301.5451 | 1182064.1352
67 | 2728110.6905 | 1182014.1745
68 | 2728096.0062 | 1182005.0359
69 | 2728107.4441 | 1181942.0418
70 | 2728118.2758 | 1181948.279
71 | 2728119.7309 | 1181949.1169
72 | 2728124.8902 | 1181952.0878
73 | 2728129.9756 | 1181955.0161
74 | 2728290.1895 | 1182017.5455
75 | 2728292.0925 | 1182014.441
76 | 2728282.6668 | 1182029.8177
77 | 2728295.9206 | 1182008.1647
78 | 2728301.4788 | 1182064.0599
79 | 2728317.9961 | 1182076.4522
80 | 2728326.5026 | 1182080.6034
81 | 2728342.2599 | 1182088.4095
82 | 2728352.3726 | 1182093.4981
83 | 2728362.8615 | 1182098.776
84 | 2728375.3448 | 1182105.6106
85 | 2728241.529 | 1181978.4981

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1