## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3981-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3981-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3981-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3981-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3981-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3981-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3981-4_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_3981-4_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_3981-4_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_3981-4_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3981-4_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3981-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3981-4_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3981-4_0_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_3981-4_0_4_node_149 | 0.4 | n |  | TRUE
15 | bus_LV_3981-4_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3981-4_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3981-4_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3981-4_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3981-4_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3981-4_0_4_node_146 | 0.4 | n |  | TRUE
21 | bus_LV_3981-4_0_4_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_3981-4_0_4_node_147 | 0.4 | n |  | TRUE
23 | bus_LV_3981-4_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3981-4_0_4_node_143 | 0.4 | n |  | TRUE
25 | bus_LV_3981-4_0_4_node_142 | 0.4 | n |  | TRUE
26 | bus_LV_3981-4_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3981-4_0_4_node_150 | 0.4 | n |  | TRUE
28 | bus_LV_3981-4_0_4_node_145 | 0.4 | n |  | TRUE
29 | bus_LV_3981-4_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3981-4_0_4_node_151 | 0.4 | n |  | TRUE
31 | bus_LV_3981-4_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_3981-4_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3981-4_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_3981-4_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_3981-4_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_3981-4_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_3981-4_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_3981-4_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_3981-4_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_3981-4_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3981-4_0_4_node_129 | 0.4 | n |  | TRUE
42 | bus_LV_3981-4_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_3981-4_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_3981-4_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3981-4_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3981-4_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3981-4_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3981-4_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_3981-4_0_4_node_84 | 0.4 | n |  | TRUE
50 | bus_LV_3981-4_0_4_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_3981-4_0_4_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_3981-4_0_4_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_3981-4_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_3981-4_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_3981-4_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3981-4_0_4_node_121 | 0.4 | n |  | TRUE
57 | bus_LV_3981-4_0_4_node_120 | 0.4 | n |  | TRUE
58 | bus_LV_3981-4_0_4_node_127 | 0.4 | n |  | TRUE
59 | bus_LV_3981-4_0_4_node_122 | 0.4 | n |  | TRUE
60 | bus_LV_3981-4_0_4_node_119 | 0.4 | n |  | TRUE
61 | bus_LV_3981-4_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_3981-4_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_3981-4_0_4_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_3981-4_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_3981-4_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_3981-4_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_3981-4_0_4_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_3981-4_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3981-4_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_3981-4_0_4_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_3981-4_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_3981-4_0_4_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_3981-4_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_3981-4_0_4_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_3981-4_0_4_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_3981-4_0_4_node_103 | 0.4 | n |  | TRUE
77 | bus_LV_3981-4_0_4_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_3981-4_0_4_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_3981-4_0_4_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_3981-4_0_4_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_3981-4_0_4_node_54 | 0.4 | n |  | TRUE
82 | bus_LV_3981-4_0_4_node_55 | 0.4 | n |  | TRUE
83 | bus_LV_3981-4_0_4_node_56 | 0.4 | n |  | TRUE
84 | bus_LV_3981-4_0_4_node_57 | 0.4 | n |  | TRUE
85 | bus_LV_3981-4_0_4_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_3981-4_0_4_node_148 | 0.4 | n |  | TRUE
87 | bus_LV_3981-4_0_4_node_61 | 0.4 | n |  | TRUE
88 | bus_LV_3981-4_0_4_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_3981-4_0_4_node_134 | 0.4 | n |  | TRUE
90 | bus_LV_3981-4_0_4_node_63 | 0.4 | n |  | TRUE
91 | bus_LV_3981-4_0_4_node_62 | 0.4 | n |  | TRUE
92 | bus_LV_3981-4_0_4_node_64 | 0.4 | n |  | TRUE
93 | bus_LV_3981-4_0_4_node_65 | 0.4 | n |  | TRUE
94 | bus_LV_3981-4_0_4_node_66 | 0.4 | n |  | TRUE
95 | bus_LV_3981-4_0_4_node_67 | 0.4 | n |  | TRUE
96 | bus_LV_3981-4_0_4_node_68 | 0.4 | n |  | TRUE
97 | bus_LV_3981-4_0_4_node_123 | 0.4 | n |  | TRUE
98 | bus_LV_3981-4_0_4_node_124 | 0.4 | n |  | TRUE
99 | bus_LV_3981-4_0_4_node_114 | 0.4 | n |  | TRUE
100 | bus_LV_3981-4_0_4_node_130 | 0.4 | n |  | TRUE
101 | bus_LV_3981-4_0_4_node_135 | 0.4 | n |  | TRUE
102 | bus_LV_3981-4_0_4_node_133 | 0.4 | n |  | TRUE
103 | bus_LV_3981-4_0_4_node_71 | 0.4 | n |  | TRUE
104 | bus_LV_3981-4_0_4_node_72 | 0.4 | n |  | TRUE
105 | bus_LV_3981-4_0_4_node_73 | 0.4 | n |  | TRUE
106 | bus_LV_3981-4_0_4_node_75 | 0.4 | n |  | TRUE
107 | bus_LV_3981-4_0_4_node_80 | 0.4 | n |  | TRUE
108 | bus_LV_3981-4_0_4_node_81 | 0.4 | n |  | TRUE
109 | bus_LV_3981-4_0_4_node_82 | 0.4 | n |  | TRUE
110 | bus_LV_3981-4_0_4_node_90 | 0.4 | n |  | TRUE
111 | bus_LV_3981-4_0_4_node_88 | 0.4 | n |  | TRUE
112 | bus_LV_3981-4_0_4_node_99 | 0.4 | n |  | TRUE
113 | bus_LV_3981-4_0_4_node_98 | 0.4 | n |  | TRUE
114 | bus_LV_3981-4_0_4_node_100 | 0.4 | n |  | TRUE
115 | bus_LV_3981-4_0_4_node_96 | 0.4 | n |  | TRUE
116 | bus_LV_3981-4_0_4_node_91 | 0.4 | n |  | TRUE
117 | bus_LV_3981-4_0_4_node_92 | 0.4 | n |  | TRUE
118 | bus_LV_3981-4_0_4_node_93 | 0.4 | n |  | TRUE
119 | bus_LV_3981-4_0_4_node_94 | 0.4 | n |  | TRUE
120 | bus_LV_3981-4_0_4_node_95 | 0.4 | n |  | TRUE
121 | bus_LV_3981-4_0_4_node_97 | 0.4 | n |  | TRUE
122 | bus_LV_3981-4_0_4_node_115 | 0.4 | n |  | TRUE
123 | bus_LV_3981-4_0_4_node_116 | 0.4 | n |  | TRUE
124 | bus_LV_3981-4_0_4_node_101 | 0.4 | n |  | TRUE
125 | bus_LV_3981-4_0_4_node_102 | 0.4 | n |  | TRUE
126 | bus_LV_3981-4_0_4_node_105 | 0.4 | n |  | TRUE
127 | bus_LV_3981-4_0_4_node_106 | 0.4 | n |  | TRUE
128 | bus_LV_3981-4_0_4_node_107 | 0.4 | n |  | TRUE
129 | bus_LV_3981-4_0_4_node_108 | 0.4 | n |  | TRUE
130 | bus_LV_3981-4_0_4_node_109 | 0.4 | n |  | TRUE
131 | bus_LV_3981-4_0_4_node_110 | 0.4 | n |  | TRUE
132 | bus_LV_3981-4_0_4_node_111 | 0.4 | n |  | TRUE
133 | bus_LV_3981-4_0_4_node_112 | 0.4 | n |  | TRUE
134 | bus_LV_3981-4_0_4_node_113 | 0.4 | n |  | TRUE
135 | bus_LV_3981-4_0_4_node_117 | 0.4 | n |  | TRUE
136 | bus_LV_3981-4_0_4_node_118 | 0.4 | n |  | TRUE
137 | bus_LV_3981-4_0_4_node_131 | 0.4 | n |  | TRUE
138 | bus_LV_3981-4_0_4_node_125 | 0.4 | n |  | TRUE
139 | bus_LV_3981-4_0_4_node_126 | 0.4 | n |  | TRUE
140 | bus_LV_3981-4_0_4_node_128 | 0.4 | n |  | TRUE
141 | bus_LV_3981-4_0_4_node_136 | 0.4 | n |  | TRUE
142 | bus_LV_3981-4_0_4_node_137 | 0.4 | n |  | TRUE
143 | bus_LV_3981-4_0_4_node_132 | 0.4 | n |  | TRUE
144 | bus_LV_3981-4_0_4_node_138 | 0.4 | n |  | TRUE
145 | bus_LV_3981-4_0_4_node_139 | 0.4 | n |  | TRUE
146 | bus_LV_3981-4_0_4_node_140 | 0.4 | n |  | TRUE
147 | bus_LV_3981-4_0_4_node_141 | 0.4 | n |  | TRUE
148 | bus_LV_3981-4_0_4_node_144 | 0.4 | n |  | TRUE
149 | bus_MV_179_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3981-4_0_4_load_0 | 0 | 0.0022694 | 0.00056875 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3981-4_0_4_load_1 | 1 | 0.0017625 | 0.00044172 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3981-4_0_4_load_2 | 2 | 0.0025982 | 0.00065117 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3981-4_0_4_load_3 | 3 | 0.0014319 | 0.00035886 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3981-4_0_4_load_4 | 4 | 0.0022996 | 0.00057634 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3981-4_0_4_load_5 | 5 | 0.0015437 | 0.0003869 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3981-4_0_4_load_16 | 6 | 0.0022662 | 0.00056798 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3981-4_0_4_load_10 | 7 | 0.0019297 | 0.00048364 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3981-4_0_4_load_17 | 8 | 0.0023297 | 0.00058388 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3981-4_0_4_load_8 | 9 | 0.00098339 | 0.00024646 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3981-4_0_4_load_6 | 10 | 0.0020867 | 0.00052298 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3981-4_0_4_load_7 | 11 | 0.0016668 | 0.00041773 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3981-4_0_4_load_9 | 12 | 0.0017633 | 0.00044193 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3981-4_0_4_load_21 | 13 | 0.0032956 | 0.00082595 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3981-4_0_4_load_149 | 14 | 0.0022264 | 0.00055798 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3981-4_0_4_load_11 | 15 | 0.0014274 | 0.00035773 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3981-4_0_4_load_12 | 16 | 0.0023376 | 0.00058585 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3981-4_0_4_load_13 | 17 | 0.0037007 | 0.00092749 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3981-4_0_4_load_14 | 18 | 0.0040426 | 0.0010132 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3981-4_0_4_load_15 | 19 | 0.0017163 | 0.00043015 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3981-4_0_4_load_146 | 20 | 0.0017587 | 0.00044076 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3981-4_0_4_load_70 | 21 | 0.0026159 | 0.0006556 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3981-4_0_4_load_147 | 22 | 0.0029689 | 0.00074409 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3981-4_0_4_load_18 | 23 | 0.0024693 | 0.00061886 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3981-4_0_4_load_143 | 24 | 0.00078789 | 0.00019747 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3981-4_0_4_load_142 | 25 | 0.00089353 | 0.00022394 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3981-4_0_4_load_145 | 28 | 0.0015394 | 0.00038582 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3981-4_0_4_load_22 | 29 | 0.00043655 | 0.00010941 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3981-4_0_4_load_151 | 30 | 0.00027045 | 6.7782e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3981-4_0_4_load_28 | 32 | 0.0041387 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3981-4_0_4_load_41 | 33 | 0.0022468 | 0.00056311 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3981-4_0_4_load_23 | 34 | 0.0008936 | 0.00022396 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3981-4_0_4_load_25 | 36 | 0.0017592 | 0.0004409 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3981-4_0_4_load_36 | 38 | 0.0027695 | 0.00069409 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3981-4_0_4_load_35 | 39 | 0.0010388 | 0.00026036 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3981-4_0_4_load_27 | 40 | 0.00033943 | 8.507e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3981-4_0_4_load_129 | 41 | 0.0007639 | 0.00019145 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3981-4_0_4_load_30 | 42 | 0.0044945 | 0.0011264 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3981-4_0_4_load_31 | 43 | 0.00081409 | 0.00020403 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3981-4_0_4_load_32 | 44 | 0.005245 | 0.0013145 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3981-4_0_4_load_33 | 45 | 0.0018276 | 0.00045805 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3981-4_0_4_load_34 | 46 | 0.0020562 | 0.00051534 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3981-4_0_4_load_37 | 47 | 0.0019351 | 0.00048498 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3981-4_0_4_load_84 | 49 | 0.0019065 | 0.0004778 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3981-4_0_4_load_76 | 50 | 0.0013495 | 0.00033821 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3981-4_0_4_load_89 | 51 | 0.0029278 | 0.00073377 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3981-4_0_4_load_74 | 52 | 0.0018761 | 0.00047021 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3981-4_0_4_load_39 | 53 | 0.0014396 | 0.00036081 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3981-4_0_4_load_40 | 54 | 0.0018849 | 0.00047239 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3981-4_0_4_load_121 | 56 | 0.002497 | 0.00062582 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3981-4_0_4_load_120 | 57 | 0.0021554 | 0.0005402 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3981-4_0_4_load_127 | 58 | 0.00081837 | 0.0002051 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3981-4_0_4_load_122 | 59 | 0.00088314 | 0.00022133 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3981-4_0_4_load_119 | 60 | 0.0010335 | 0.00025903 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3981-4_0_4_load_43 | 61 | 0.00095942 | 0.00024045 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3981-4_0_4_load_47 | 62 | 0.00081537 | 0.00020435 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3981-4_0_4_load_79 | 63 | 0.0019166 | 0.00048035 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3981-4_0_4_load_46 | 64 | 0.0020717 | 0.00051921 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3981-4_0_4_load_44 | 65 | 0.0013905 | 0.00034849 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3981-4_0_4_load_45 | 66 | 0.00064351 | 0.00016128 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3981-4_0_4_load_52 | 67 | 0.0016468 | 0.00041273 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3981-4_0_4_load_58 | 68 | 0.00087913 | 0.00022033 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3981-4_0_4_load_48 | 69 | 0.0071097 | 0.0017819 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3981-4_0_4_load_78 | 70 | 0.0016798 | 0.000421 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3981-4_0_4_load_50 | 71 | 0.0026727 | 0.00066984 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3981-4_0_4_load_104 | 72 | 0.00089271 | 0.00022373 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3981-4_0_4_load_85 | 74 | 0.0027578 | 0.00069118 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3981-4_0_4_load_86 | 75 | 0.0023619 | 0.00059196 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3981-4_0_4_load_103 | 76 | 0.0020956 | 0.0005252 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3981-4_0_4_load_83 | 77 | 0.0031307 | 0.00078464 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3981-4_0_4_load_87 | 78 | 0.0025594 | 0.00064144 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3981-4_0_4_load_59 | 79 | 0.0013106 | 0.00032847 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3981-4_0_4_load_53 | 80 | 0.0017896 | 0.00044853 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3981-4_0_4_load_54 | 81 | 0.00090374 | 0.0002265 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3981-4_0_4_load_56 | 83 | 0.00093453 | 0.00023422 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3981-4_0_4_load_57 | 84 | 0.00052632 | 0.00013191 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3981-4_0_4_load_60 | 85 | 0.0010749 | 0.00026939 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3981-4_0_4_load_148 | 86 | 0.0019775 | 0.00049561 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3981-4_0_4_load_61 | 87 | 0.00097734 | 0.00024494 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3981-4_0_4_load_63 | 90 | 0.00069019 | 0.00017298 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3981-4_0_4_load_62 | 91 | 0.0010435 | 0.00026153 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3981-4_0_4_load_64 | 92 | 0.0010038 | 0.00025157 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3981-4_0_4_load_65 | 93 | 0.0012679 | 0.00031777 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3981-4_0_4_load_66 | 94 | 0.00098456 | 0.00024675 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3981-4_0_4_load_67 | 95 | 0.00099322 | 0.00024892 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3981-4_0_4_load_68 | 96 | 0.001298 | 0.0003253 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3981-4_0_4_load_123 | 97 | 0.0015443 | 0.00038705 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3981-4_0_4_load_124 | 98 | 0.0011104 | 0.0002783 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3981-4_0_4_load_114 | 99 | 0.0012703 | 0.00031836 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3981-4_0_4_load_130 | 100 | 0.00098002 | 0.00024562 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3981-4_0_4_load_135 | 101 | 0.00077985 | 0.00019545 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3981-4_0_4_load_133 | 102 | 0.00093002 | 0.00023308 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3981-4_0_4_load_71 | 103 | 0.0014389 | 0.00036061 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3981-4_0_4_load_72 | 104 | 0.0029954 | 0.00075072 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3981-4_0_4_load_73 | 105 | 0.0014621 | 0.00036643 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3981-4_0_4_load_75 | 106 | 0.0026543 | 0.00066523 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3981-4_0_4_load_80 | 107 | 0.0020349 | 0.00051 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3981-4_0_4_load_81 | 108 | 0.0059252 | 0.001485 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3981-4_0_4_load_82 | 109 | 0.001937 | 0.00048545 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3981-4_0_4_load_90 | 110 | 0.00083861 | 0.00021018 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3981-4_0_4_load_99 | 112 | 0.0018113 | 0.00045396 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3981-4_0_4_load_98 | 113 | 0.0014048 | 0.00035207 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3981-4_0_4_load_100 | 114 | 0.0027376 | 0.0006861 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3981-4_0_4_load_91 | 116 | 0.0022387 | 0.00056108 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3981-4_0_4_load_92 | 117 | 0.0019115 | 0.00047906 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3981-4_0_4_load_93 | 118 | 0.00098867 | 0.00024778 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3981-4_0_4_load_94 | 119 | 0.0017319 | 0.00043406 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3981-4_0_4_load_95 | 120 | 0.0011123 | 0.00027877 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3981-4_0_4_load_97 | 121 | 0.0012549 | 0.00031451 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3981-4_0_4_load_115 | 122 | 0.0013482 | 0.00033789 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3981-4_0_4_load_116 | 123 | 0.0015643 | 0.00039205 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3981-4_0_4_load_101 | 124 | 0.0012544 | 0.00031437 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3981-4_0_4_load_102 | 125 | 0.00092563 | 0.00023198 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_3981-4_0_4_load_105 | 126 | 0.0018392 | 0.00046094 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_3981-4_0_4_load_106 | 127 | 0.001382 | 0.00034636 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_3981-4_0_4_load_107 | 128 | 0.0019275 | 0.00048307 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_3981-4_0_4_load_108 | 129 | 0.0014771 | 0.0003702 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_3981-4_0_4_load_109 | 130 | 0.0017738 | 0.00044456 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_3981-4_0_4_load_110 | 131 | 0.00098209 | 0.00024613 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_3981-4_0_4_load_111 | 132 | 0.00088818 | 0.0002226 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_3981-4_0_4_load_112 | 133 | 0.0011991 | 0.00030053 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_3981-4_0_4_load_113 | 134 | 0.0016316 | 0.00040892 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_3981-4_0_4_load_117 | 135 | 0.0019236 | 0.00048211 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_3981-4_0_4_load_118 | 136 | 0.0023542 | 0.00059001 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_3981-4_0_4_load_131 | 137 | 0.0010105 | 0.00025327 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_3981-4_0_4_load_125 | 138 | 0.0019102 | 0.00047875 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_3981-4_0_4_load_126 | 139 | 0.00066382 | 0.00016637 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_3981-4_0_4_load_136 | 141 | 0.0011095 | 0.00027806 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_3981-4_0_4_load_137 | 142 | 0.00066748 | 0.00016729 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_3981-4_0_4_load_132 | 143 | 0.00095947 | 0.00024047 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_3981-4_0_4_load_138 | 144 | 0.0044403 | 0.0011128 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_3981-4_0_4_load_139 | 145 | 0.0016834 | 0.0004219 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_3981-4_0_4_load_140 | 146 | 0.00046494 | 0.00011653 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_3981-4_0_4_load_141 | 147 | 0.00087344 | 0.00021891 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_3981-4_0_4_load_144 | 148 | 0.0010976 | 0.00027508 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 99 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3981-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3981-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0062894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3981-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.004911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3981-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3981-4_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3981-4_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0061796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3981-4_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.01029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3981-4_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0061517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3981-4_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0044281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3981-4_0_4_line_9 | NAYY 4x150 SE | 8 | 23 | 0.014279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3981-4_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0078135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3981-4_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0071997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3981-4_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.004827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3981-4_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.014885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3981-4_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.00029449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3981-4_0_4_line_15 | NAYY 4x150 SE | 14 | 26 | 0.067607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3981-4_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.010252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3981-4_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.024156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3981-4_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.021191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3981-4_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.041924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3981-4_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.019978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3981-4_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.17959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3981-4_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.013611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3981-4_0_4_line_23 | NAYY 4x150 SE | 22 | 86 | 0.0037149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3981-4_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0026517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3981-4_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.014894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3981-4_0_4_line_26 | NAYY 4x150 SE | 25 | 147 | 0.0062104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3981-4_0_4_line_27 | NAYY 4x150 SE | 26 | 27 | 0.080945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3981-4_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.069257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3981-4_0_4_line_29 | NAYY 4x150 SE | 28 | 148 | 0.012316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3981-4_0_4_line_30 | NAYY 4x150 SE | 29 | 30 | 0.30977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3981-4_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.032944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3981-4_0_4_line_32 | NAYY 4x150 SE | 31 | 37 | 0.1091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3981-4_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.19735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3981-4_0_4_line_34 | NAYY 4x150 SE | 33 | 41 | 0.12271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3981-4_0_4_line_35 | NAYY 4x150 SE | 34 | 35 | 0.027645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3981-4_0_4_line_36 | NAYY 4x150 SE | 34 | 36 | 0.030064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3981-4_0_4_line_37 | NAYY 4x150 SE | 35 | 37 | 0.055845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3981-4_0_4_line_38 | NAYY 4x150 SE | 35 | 38 | 0.15075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3981-4_0_4_line_39 | NAYY 4x150 SE | 37 | 40 | 0.080249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3981-4_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.038478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3981-4_0_4_line_41 | NAYY 4x150 SE | 39 | 46 | 0.022944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3981-4_0_4_line_42 | NAYY 4x150 SE | 41 | 58 | 0.047684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3981-4_0_4_line_43 | NAYY 4x150 SE | 42 | 43 | 0.0124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3981-4_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0042569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3981-4_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0036599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3981-4_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.034125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3981-4_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3981-4_0_4_line_48 | NAYY 4x150 SE | 47 | 48 | 0.015016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3981-4_0_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.014733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3981-4_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0043546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3981-4_0_4_line_51 | NAYY 4x150 SE | 49 | 51 | 0.0017255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3981-4_0_4_line_52 | NAYY 4x150 SE | 50 | 52 | 0.016597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3981-4_0_4_line_53 | NAYY 4x150 SE | 51 | 110 | 0.016839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3981-4_0_4_line_54 | NAYY 4x150 SE | 52 | 104 | 0.016557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3981-4_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.044461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3981-4_0_4_line_56 | NAYY 4x150 SE | 54 | 55 | 0.014822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3981-4_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.024428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3981-4_0_4_line_58 | NAYY 4x150 SE | 55 | 57 | 0.010109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3981-4_0_4_line_59 | NAYY 4x150 SE | 56 | 59 | 0.010995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3981-4_0_4_line_60 | NAYY 4x150 SE | 57 | 60 | 0.016216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3981-4_0_4_line_61 | NAYY 4x150 SE | 58 | 138 | 0.048558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3981-4_0_4_line_62 | NAYY 4x150 SE | 60 | 136 | 0.0068029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3981-4_0_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.10251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3981-4_0_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.069409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3981-4_0_4_line_65 | NAYY 4x150 SE | 62 | 64 | 0.05473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3981-4_0_4_line_66 | NAYY 4x150 SE | 63 | 70 | 0.0093947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3981-4_0_4_line_67 | NAYY 4x150 SE | 64 | 69 | 0.0132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3981-4_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.018784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3981-4_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.0063984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3981-4_0_4_line_70 | NAYY 4x150 SE | 67 | 68 | 0.021177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3981-4_0_4_line_71 | NAYY 4x150 SE | 68 | 79 | 0.0099441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3981-4_0_4_line_72 | NAYY 4x150 SE | 70 | 107 | 0.018639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3981-4_0_4_line_73 | NAYY 4x150 SE | 71 | 72 | 0.022986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3981-4_0_4_line_74 | NAYY 4x150 SE | 72 | 76 | 0.0056771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3981-4_0_4_line_75 | NAYY 4x150 SE | 73 | 74 | 0.0061455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3981-4_0_4_line_76 | NAYY 4x150 SE | 73 | 75 | 0.0088883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3981-4_0_4_line_77 | NAYY 4x150 SE | 74 | 77 | 0.0090049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3981-4_0_4_line_78 | NAYY 4x150 SE | 75 | 78 | 0.020881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3981-4_0_4_line_79 | NAYY 4x150 SE | 76 | 125 | 0.0104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3981-4_0_4_line_80 | NAYY 4x150 SE | 77 | 109 | 0.032955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3981-4_0_4_line_81 | NAYY 4x150 SE | 78 | 111 | 0.013734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3981-4_0_4_line_82 | NAYY 4x150 SE | 79 | 88 | 0.028629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3981-4_0_4_line_83 | NAYY 4x150 SE | 80 | 81 | 0.005316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3981-4_0_4_line_84 | NAYY 4x150 SE | 80 | 82 | 0.041765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3981-4_0_4_line_85 | NAYY 4x150 SE | 82 | 83 | 0.0074166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3981-4_0_4_line_86 | NAYY 4x150 SE | 82 | 84 | 0.018041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3981-4_0_4_line_87 | NAYY 4x150 SE | 83 | 85 | 0.0046242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3981-4_0_4_line_88 | NAYY 4x150 SE | 84 | 86 | 0.079887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3981-4_0_4_line_89 | NAYY 4x150 SE | 85 | 87 | 0.0088017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3981-4_0_4_line_90 | NAYY 4x150 SE | 87 | 91 | 0.026905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3981-4_0_4_line_91 | NAYY 4x150 SE | 88 | 89 | 0.014575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3981-4_0_4_line_92 | NAYY 4x150 SE | 88 | 90 | 0.012039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3981-4_0_4_line_93 | NAYY 4x150 SE | 89 | 101 | 0.0034932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3981-4_0_4_line_94 | NAYY 4x150 SE | 89 | 102 | 0.0027221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3981-4_0_4_line_95 | NAYY 4x150 SE | 90 | 91 | 0.021839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3981-4_0_4_line_96 | NAYY 4x150 SE | 92 | 93 | 0.029408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3981-4_0_4_line_97 | NAYY 4x150 SE | 92 | 94 | 0.012215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3981-4_0_4_line_98 | NAYY 4x150 SE | 93 | 95 | 0.0021278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
99 | LV_3981-4_0_4_line_99 | NAYY 4x150 SE | 94 | 96 | 0.019124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3981-4_0_4_line_100 | NAYY 4x150 SE | 95 | 97 | 0.013453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
101 | LV_3981-4_0_4_line_101 | NAYY 4x150 SE | 96 | 98 | 0.005753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3981-4_0_4_line_102 | NAYY 4x150 SE | 97 | 99 | 0.018887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
103 | LV_3981-4_0_4_line_103 | NAYY 4x150 SE | 98 | 100 | 0.0065668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3981-4_0_4_line_104 | NAYY 4x150 SE | 99 | 134 | 0.013918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
105 | LV_3981-4_0_4_line_105 | NAYY 4x150 SE | 100 | 137 | 0.0024663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3981-4_0_4_line_106 | NAYY 4x150 SE | 101 | 140 | 0.0019461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3981-4_0_4_line_107 | NAYY 4x150 SE | 102 | 143 | 0.017436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3981-4_0_4_line_108 | NAYY 4x150 SE | 103 | 104 | 0.028326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3981-4_0_4_line_109 | NAYY 4x150 SE | 103 | 105 | 0.0035678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3981-4_0_4_line_110 | NAYY 4x150 SE | 105 | 106 | 0.029248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3981-4_0_4_line_111 | NAYY 4x150 SE | 107 | 108 | 0.0086853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3981-4_0_4_line_112 | NAYY 4x150 SE | 108 | 109 | 0.021428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3981-4_0_4_line_113 | NAYY 4x150 SE | 110 | 116 | 0.00038749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3981-4_0_4_line_114 | NAYY 4x150 SE | 111 | 112 | 0.0090555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
115 | LV_3981-4_0_4_line_115 | NAYY 4x150 SE | 111 | 113 | 0.012411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3981-4_0_4_line_116 | NAYY 4x150 SE | 112 | 114 | 0.0058206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
117 | LV_3981-4_0_4_line_117 | NAYY 4x150 SE | 113 | 115 | 0.015729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3981-4_0_4_line_118 | NAYY 4x150 SE | 114 | 124 | 0.011171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
119 | LV_3981-4_0_4_line_119 | NAYY 4x150 SE | 115 | 121 | 0.011696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3981-4_0_4_line_120 | NAYY 4x150 SE | 115 | 120 | 0.01207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3981-4_0_4_line_121 | NAYY 4x150 SE | 116 | 117 | 0.011534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3981-4_0_4_line_122 | NAYY 4x150 SE | 117 | 118 | 0.008149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3981-4_0_4_line_123 | NAYY 4x150 SE | 118 | 119 | 0.0087926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3981-4_0_4_line_124 | NAYY 4x150 SE | 119 | 120 | 0.0019232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3981-4_0_4_line_125 | NAYY 4x150 SE | 121 | 122 | 0.028292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3981-4_0_4_line_126 | NAYY 4x150 SE | 122 | 123 | 0.00071286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3981-4_0_4_line_127 | NAYY 4x150 SE | 123 | 135 | 0.033215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3981-4_0_4_line_128 | NAYY 4x150 SE | 124 | 125 | 0.017184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
129 | LV_3981-4_0_4_line_129 | NAYY 4x150 SE | 125 | 126 | 0.012986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
130 | LV_3981-4_0_4_line_130 | NAYY 4x150 SE | 126 | 127 | 0.0029516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
131 | LV_3981-4_0_4_line_131 | NAYY 4x150 SE | 127 | 128 | 0.015375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
132 | LV_3981-4_0_4_line_132 | NAYY 4x150 SE | 128 | 129 | 0.0026947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
133 | LV_3981-4_0_4_line_133 | NAYY 4x150 SE | 129 | 130 | 0.018414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
134 | LV_3981-4_0_4_line_134 | NAYY 4x150 SE | 130 | 131 | 0.0073799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
135 | LV_3981-4_0_4_line_135 | NAYY 4x150 SE | 131 | 132 | 0.0023216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
136 | LV_3981-4_0_4_line_136 | NAYY 4x150 SE | 132 | 133 | 0.0067672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
137 | LV_3981-4_0_4_line_137 | NAYY 4x150 SE | 133 | 134 | 0.014997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
138 | LV_3981-4_0_4_line_138 | NAYY 4x150 SE | 135 | 136 | 0.0075489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_3981-4_0_4_line_139 | NAYY 4x150 SE | 137 | 143 | 0.015998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_3981-4_0_4_line_140 | NAYY 4x150 SE | 138 | 139 | 0.058067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_3981-4_0_4_line_141 | NAYY 4x150 SE | 139 | 140 | 0.017653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_3981-4_0_4_line_142 | NAYY 4x150 SE | 140 | 141 | 0.014127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_3981-4_0_4_line_143 | NAYY 4x150 SE | 141 | 142 | 0.017848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_3981-4_0_4_line_144 | NAYY 4x150 SE | 142 | 144 | 0.00042805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_3981-4_0_4_line_145 | NAYY 4x150 SE | 144 | 145 | 0.015213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_3981-4_0_4_line_146 | NAYY 4x150 SE | 145 | 146 | 0.016543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_3981-4_0_4_line_147 | NAYY 4x150 SE | 146 | 147 | 0.0060727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3981-4_0_4_trafo_114 | 0.25 MVA 20/0.4 kV | 149 | 99 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2728034.9838 | 1181897.9541 | 2728044.4746 | 1181904.3042
1 | 2728034.9838 | 1181897.9541 | 2728033.3623 | 1181896.8692 | 2728029.8501 | 1181894.3223
2 | 2728044.4746 | 1181904.3042 | 2728048.5562 | 1181907.0351
3 | 2728019.1072 | 1181886.5323 | 2728029.8501 | 1181894.3223
4 | 2728048.5562 | 1181907.0351 | 2728052.7784 | 1181909.8601 | 2728059.0012 | 1181913.7319
5 | 2728019.1072 | 1181886.5323 | 2728018.2419 | 1181885.9048 | 2728014.2301 | 1181882.7385
6 | 2728067.7384 | 1181919.1682 | 2728059.0012 | 1181913.7319
7 | 2728009.4013 | 1181878.9273 | 2728014.2301 | 1181882.7385
8 | 2728071.5714 | 1181921.3853 | 2728067.9541 | 1181919.3024 | 2728067.7384 | 1181919.1682
9 | 2727998.1931 | 1181870.0811 | 2728009.4013 | 1181878.9273
10 | 2728071.5714 | 1181921.3853 | 2728078.3425 | 1181925.2843
11 | 2728078.3425 | 1181925.2843 | 2728084.5818 | 1181928.877
12 | 2728088.7648 | 1181931.2858 | 2728084.5818 | 1181928.877
13 | 2728101.6645 | 1181938.7137 | 2728088.7648 | 1181931.2858
14 | 2728101.6645 | 1181938.7137 | 2728101.9197 | 1181938.8607
15 | 2728160.508 | 1181972.5975 | 2728101.9197 | 1181938.8607
16 | 2728055.4165 | 1181823.0772 | 2728062.8896 | 1181830.0957
17 | 2728080.4978 | 1181846.6324 | 2728062.8896 | 1181830.0957
18 | 2728055.4165 | 1181823.0772 | 2728047.0177 | 1181815.1895 | 2728038.9814 | 1181809.8136
19 | 2728080.4978 | 1181846.6324 | 2728087.5925 | 1181853.2955 | 2728098.5228 | 1181861.9354 | 2728115.1623 | 1181869.4525
20 | 2728038.9814 | 1181809.8136 | 2728034.9295 | 1181807.1031 | 2728021.4165 | 1181800.3584
21 | 2728038.9814 | 1181809.8136 | 2728130.8198 | 1181655.4793
22 | 2728010.5352 | 1181792.2103 | 2728020.5227 | 1181799.9123 | 2728021.4165 | 1181800.3584
23 | 2728010.5352 | 1181792.2103 | 2728007.5934 | 1181789.9418
24 | 2727996.1116 | 1181868.4383 | 2727998.1931 | 1181870.0811
25 | 2727984.4201 | 1181859.2107 | 2727996.1116 | 1181868.4383
26 | 2727979.5451 | 1181855.3631 | 2727984.4201 | 1181859.2107
27 | 2728160.508 | 1181972.5975 | 2728138.0619 | 1181973.0736 | 2728127.0486 | 1181974.0389 | 2728123.0252 | 1181974.998 | 2728120.3123 | 1181976.4745 | 2728118.3689 | 1181978.0452 | 2728116.9868 | 1181980.1617 | 2728113.2237 | 1181989.3102 | 2728111.4278 | 1181995.7766 | 2728110.3331 | 1182000.1676 | 2728109.6332 | 1182004.3224 | 2728109.5607 | 1182008.4238 | 2728110.6905 | 1182014.1745
28 | 2728110.6905 | 1182014.1745 | 2728103.4814 | 1182008.7164 | 2728080.2739 | 1181997.2898 | 2728056.6904 | 1181987.0117 | 2728048.8394 | 1181983.4517
29 | 2728048.8394 | 1181983.4517 | 2728037.6225 | 1181978.3655
30 | 2727253.7911 | 1181981.5546 | 2727157.3406 | 1182275.9243
31 | 2727271.9363 | 1181954.1085 | 2727262.3007 | 1181966.8244 | 2727253.7911 | 1181981.5546
32 | 2727378.6861 | 1181973.7903 | 2727376.162 | 1181974.3038 | 2727371.5049 | 1181974.8941 | 2727365.1838 | 1181974.7041 | 2727357.3663 | 1181973.7596 | 2727285.9658 | 1181960.0219 | 2727271.9363 | 1181954.1085
33 | 2727877.6415 | 1182010.7383 | 2727693.0125 | 1182080.4562
34 | 2727934.982 | 1181902.2477 | 2727877.6415 | 1182010.7383
35 | 2727425.2732 | 1181943.4248 | 2727409.6208 | 1181937.6767 | 2727401.9269 | 1181933.4323 | 2727400.2219 | 1181932.069
36 | 2727376.7412 | 1181913.2934 | 2727400.2219 | 1181932.069
37 | 2727378.6861 | 1181973.7903 | 2727382.6175 | 1181972.484 | 2727388.3726 | 1181969.4708 | 2727394.2383 | 1181965.2145 | 2727410.4996 | 1181952.0282 | 2727415.8173 | 1181948.3941 | 2727420.1865 | 1181945.8962 | 2727425.2732 | 1181943.4248
38 | 2727495.3005 | 1181809.9218 | 2727425.2732 | 1181943.4248
39 | 2727378.6861 | 1181973.7903 | 2727380.8686 | 1181976.7722 | 2727383.2503 | 1181978.2906 | 2727386.052 | 1181979.0952 | 2727388.6895 | 1181978.9956 | 2727391.7471 | 1181977.8264 | 2727403.3455 | 1181969.4556 | 2727408.4818 | 1181966.8073 | 2727411.128 | 1181965.9407 | 2727415.6601 | 1181965.4811 | 2727420.0874 | 1181965.9978 | 2727423.882 | 1181967.1682 | 2727427.3048 | 1181968.9423 | 2727430.8802 | 1181971.7982 | 2727435.0969 | 1181976.469 | 2727443.9113 | 1181987.7636
40 | 2727502.5058 | 1181772.154 | 2727500.3752 | 1181787.1955 | 2727495.3005 | 1181809.9218
41 | 2727502.5058 | 1181772.154 | 2727505.7236 | 1181749.4369
42 | 2727891.5534 | 1181882.854 | 2727896.4702 | 1181885.3386 | 2727905.8785 | 1181889.4201 | 2727915.3649 | 1181893.0696 | 2727926.4736 | 1181897.2987 | 2727930.3436 | 1181899.2271 | 2727934.3624 | 1181901.7036 | 2727934.982 | 1181902.2477
43 | 2727511.1066 | 1181711.4343 | 2727512.2513 | 1181703.3531 | 2727515.6747 | 1181700.8554
44 | 2727511.1066 | 1181711.4343 | 2727510.5096 | 1181715.6491
45 | 2727515.6747 | 1181700.8554 | 2727518.6313 | 1181698.6982
46 | 2727510.5096 | 1181715.6491 | 2727505.7236 | 1181749.4369
47 | 2727518.6313 | 1181698.6982 | 2727562.2546 | 1181666.8701
48 | 2727574.3853 | 1181658.0194 | 2727562.2546 | 1181666.8701
49 | 2727574.3853 | 1181658.0194 | 2727585.8354 | 1181667.2904
50 | 2727574.3853 | 1181658.0194 | 2727571.7753 | 1181654.5337
51 | 2727587.1765 | 1181668.3762 | 2727585.8354 | 1181667.2904
52 | 2727561.8273 | 1181641.2479 | 2727571.7753 | 1181654.5337
53 | 2727587.1765 | 1181668.3762 | 2727600.2636 | 1181678.9727
54 | 2727554.3555 | 1181626.6128 | 2727558.437 | 1181636.72 | 2727561.8273 | 1181641.2479
55 | 2727633.3125 | 1181812.2318 | 2727631.5015 | 1181810.2361 | 2727622.3095 | 1181807.4606 | 2727590.3136 | 1181804.1727
56 | 2727575.8293 | 1181801.1444 | 2727586.8188 | 1181803.8136 | 2727590.3136 | 1181804.1727
57 | 2727575.8293 | 1181801.1444 | 2727570.3674 | 1181824.9544
58 | 2727575.8293 | 1181801.1444 | 2727577.5356 | 1181791.1804
59 | 2727570.3674 | 1181824.9544 | 2727567.9091 | 1181835.6706
60 | 2727580.2728 | 1181775.1969 | 2727577.5356 | 1181791.1804
61 | 2727891.5534 | 1181882.854 | 2727872.3235 | 1181873.1367 | 2727860.9431 | 1181866.2444 | 2727858.5297 | 1181864.0691 | 2727857.3709 | 1181861.4536 | 2727857.49 | 1181858.3761 | 2727858.926 | 1181854.0924 | 2727858.926 | 1181854.0924
62 | 2727580.2728 | 1181775.1969 | 2727581.4211 | 1181768.4916
63 | 2727661.6119 | 1181529.4765 | 2727759.6427 | 1181559.4618
64 | 2727607.0903 | 1181572.4301 | 2727661.6119 | 1181529.4765
65 | 2727678.9944 | 1181479.7741 | 2727663.8729 | 1181503.5551 | 2727661.956 | 1181508.1844 | 2727660.9343 | 1181513.4665 | 2727660.2727 | 1181518.3449 | 2727660.443 | 1181522.5405 | 2727661.2691 | 1181527.8732 | 2727661.6119 | 1181529.4765
66 | 2727610.7532 | 1181581.0813 | 2727607.0903 | 1181572.4301
67 | 2727686.077 | 1181468.6356 | 2727678.9944 | 1181479.7741
68 | 2727864.3561 | 1181731.9784 | 2727878.4909 | 1181744.3493
69 | 2727878.4909 | 1181744.3493 | 2727883.3057 | 1181748.5633
70 | 2727883.3057 | 1181748.5633 | 2727884.0144 | 1181749.1836 | 2727897.3861 | 1181764.3712
71 | 2727903.9573 | 1181771.8348 | 2727897.3861 | 1181764.3712
72 | 2727610.7532 | 1181581.0813 | 2727610.7532 | 1181581.0813 | 2727620.1722 | 1181597.1656
73 | 2727705.92 | 1181671.6056 | 2727706.0374 | 1181673.7229 | 2727705.5193 | 1181679.7496 | 2727704.23 | 1181694.5103
74 | 2727703.736 | 1181700.1659 | 2727704.23 | 1181694.5103
75 | 2727659.6987 | 1181664.6626 | 2727656.5931 | 1181659.3595
76 | 2727659.6987 | 1181664.6626 | 2727663.3688 | 1181672.7579
77 | 2727652.0427 | 1181651.5889 | 2727656.5931 | 1181659.3595
78 | 2727663.3688 | 1181672.7579 | 2727663.3688 | 1181672.7579 | 2727664.8667 | 1181677.749 | 2727665.1514 | 1181682.314 | 2727664.2998 | 1181690.3684 | 2727663.7329 | 1181693.3115
79 | 2727702.8311 | 1181710.5261 | 2727703.736 | 1181700.1659
80 | 2727635.3896 | 1181623.1515 | 2727652.0427 | 1181651.5889
81 | 2727659.7939 | 1181706.4399 | 2727663.0028 | 1181697.1013 | 2727663.7329 | 1181693.3115
82 | 2727912.3101 | 1181798.5792 | 2727908.55 | 1181778.6176 | 2727907.531 | 1181775.8938 | 2727903.9573 | 1181771.8348
83 | 2727907.805 | 1181685.7777 | 2727911.4509 | 1181689.6465
84 | 2727936.914 | 1181722.4926 | 2727926.1667 | 1181705.2616 | 2727911.4509 | 1181689.6465
85 | 2727936.914 | 1181722.4926 | 2727932.6408 | 1181727.2716 | 2727932.2472 | 1181728.1971
86 | 2727936.914 | 1181722.4926 | 2727949.2547 | 1181735.6519
87 | 2727930.4373 | 1181732.4524 | 2727932.2472 | 1181728.1971
88 | 2728007.5934 | 1181789.9418 | 2728001.6739 | 1181785.3769 | 2727980.9493 | 1181768.8889 | 2727967.2616 | 1181754.853 | 2727949.2547 | 1181735.6519
89 | 2727930.4373 | 1181732.4524 | 2727926.9924 | 1181740.552
90 | 2727916.4618 | 1181765.311 | 2727926.9924 | 1181740.552
91 | 2727917.5042 | 1181812.2001 | 2727912.3101 | 1181798.5792
92 | 2727912.3101 | 1181798.5792 | 2727912.9052 | 1181786.5547
93 | 2727917.5042 | 1181812.2001 | 2727920.1037 | 1181814.5336
94 | 2727917.5042 | 1181812.2001 | 2727915.5591 | 1181810.2958
95 | 2727916.4618 | 1181765.311 | 2727913.6268 | 1181771.9766 | 2727912.9052 | 1181786.5547
96 | 2727853.6967 | 1181762.5228 | 2727847.2762 | 1181760.3082 | 2727838.8455 | 1181758.0156 | 2727828.8189 | 1181754.6104 | 2727825.7898 | 1181753.3264
97 | 2727853.6967 | 1181762.5228 | 2727865.2438 | 1181766.5059
98 | 2727825.7898 | 1181753.3264 | 2727823.8307 | 1181752.496
99 | 2727865.2438 | 1181766.5059 | 2727867.1374 | 1181767.159 | 2727870.902 | 1181768.6627 | 2727874.0413 | 1181770.4754 | 2727879.7729 | 1181774.3116 | 2727881.6624 | 1181776.0161
100 | 2727811.9143 | 1181746.2723 | 2727821.6645 | 1181751.5778 | 2727823.8307 | 1181752.496
101 | 2727885.7325 | 1181780.0769 | 2727883.0932 | 1181777.3069 | 2727881.6624 | 1181776.0161
102 | 2727795.3243 | 1181737.245 | 2727811.9143 | 1181746.2723
103 | 2727890.2623 | 1181784.8311 | 2727885.7325 | 1181780.0769
104 | 2727783.0994 | 1181730.5929 | 2727795.3243 | 1181737.245
105 | 2727890.2623 | 1181784.8311 | 2727891.9635 | 1181786.6166
106 | 2727921.5518 | 1181815.8336 | 2727920.1037 | 1181814.5336
107 | 2727903.0911 | 1181798.1092 | 2727906.3822 | 1181801.4326 | 2727912.8948 | 1181807.6873 | 2727915.5591 | 1181810.2958
108 | 2727543.7491 | 1181600.3474 | 2727554.3555 | 1181626.6128
109 | 2727543.7491 | 1181600.3474 | 2727543.7491 | 1181600.3474 | 2727543.5267 | 1181596.7865
110 | 2727543.5267 | 1181596.7865 | 2727542.7178 | 1181583.8355 | 2727546.7738 | 1181568.0769
111 | 2727624.5612 | 1181604.6604 | 2727620.1722 | 1181597.1656
112 | 2727624.5612 | 1181604.6604 | 2727635.3896 | 1181623.1515
113 | 2727600.5647 | 1181679.2165 | 2727600.2636 | 1181678.9727
114 | 2727659.7939 | 1181706.4399 | 2727668.8088 | 1181707.2958
115 | 2727659.7939 | 1181706.4399 | 2727647.4162 | 1181705.5273
116 | 2727674.6034 | 1181707.846 | 2727668.8088 | 1181707.2958
117 | 2727632.0674 | 1181707.6615 | 2727635.7515 | 1181706.1388 | 2727640.2606 | 1181705.3342 | 2727645.1569 | 1181705.3607 | 2727647.4162 | 1181705.5273
118 | 2727674.6034 | 1181707.846 | 2727685.7243 | 1181708.9019
119 | 2727632.0674 | 1181707.6615 | 2727628.8829 | 1181710.1177 | 2727626.7217 | 1181712.5958 | 2727624.5151 | 1181716.3864
120 | 2727632.0674 | 1181707.6615 | 2727623.2823 | 1181699.3849
121 | 2727609.5288 | 1181686.4746 | 2727600.5647 | 1181679.2165
122 | 2727609.5288 | 1181686.4746 | 2727609.8847 | 1181686.7628 | 2727615.4827 | 1181692.0368
123 | 2727621.8825 | 1181698.0661 | 2727615.4827 | 1181692.0368
124 | 2727621.8825 | 1181698.0661 | 2727623.2823 | 1181699.3849
125 | 2727624.5151 | 1181716.3864 | 2727614.7084 | 1181733.233 | 2727612.0295 | 1181736.7008 | 2727608.8855 | 1181739.8032
126 | 2727608.8855 | 1181739.8032 | 2727608.3781 | 1181740.3039
127 | 2727608.3781 | 1181740.3039 | 2727608.2682 | 1181740.4123 | 2727603.6178 | 1181743.549 | 2727597.0538 | 1181747.5789 | 2727588.6244 | 1181753.4705 | 2727585.2347 | 1181757.3123 | 2727583.273 | 1181761.1845
128 | 2727702.8311 | 1181710.5261 | 2727685.7243 | 1181708.9019
129 | 2727702.8311 | 1181710.5261 | 2727715.7452 | 1181711.889
130 | 2727718.6805 | 1181712.1988 | 2727715.7452 | 1181711.889
131 | 2727718.6805 | 1181712.1988 | 2727733.971 | 1181713.8125
132 | 2727733.971 | 1181713.8125 | 2727736.6508 | 1181714.0953
133 | 2727754.7857 | 1181717.0423 | 2727747.4593 | 1181715.236 | 2727736.6508 | 1181714.0953
134 | 2727754.7857 | 1181717.0423 | 2727755.1119 | 1181717.1227 | 2727759.9006 | 1181718.6147 | 2727761.7196 | 1181719.5118
135 | 2727761.7196 | 1181719.5118 | 2727763.8018 | 1181720.5387
136 | 2727769.8711 | 1181723.5318 | 2727763.8018 | 1181720.5387
137 | 2727769.8711 | 1181723.5318 | 2727772.5558 | 1181724.8557 | 2727783.0994 | 1181730.5929
138 | 2727583.273 | 1181761.1845 | 2727583.273 | 1181761.1845 | 2727581.8228 | 1181766.1462 | 2727581.4211 | 1181768.4916
139 | 2727903.0911 | 1181798.1092 | 2727898.3956 | 1181793.3674 | 2727891.9635 | 1181786.6166
140 | 2727908.982 | 1181827.5205 | 2727877.4996 | 1181838.2213 | 2727862.8259 | 1181848.1824 | 2727858.926 | 1181854.0924
141 | 2727921.5518 | 1181815.8336 | 2727917.2481 | 1181822.0463 | 2727914.648 | 1181824.6817 | 2727911.912 | 1181826.5247 | 2727908.982 | 1181827.5205
142 | 2727921.5518 | 1181815.8336 | 2727933.3778 | 1181823.5613
143 | 2727933.3778 | 1181823.5613 | 2727948.3189 | 1181833.3247
144 | 2727948.3189 | 1181833.3247 | 2727948.6773 | 1181833.5589
145 | 2727961.4121 | 1181841.8806 | 2727948.6773 | 1181833.5589
146 | 2727961.4121 | 1181841.8806 | 2727967.5174 | 1181845.8701 | 2727974.7782 | 1181851.6008
147 | 2727979.5451 | 1181855.3631 | 2727974.7782 | 1181851.6008

## bus_geodata
| x | y | coords
0 | 2728034.9838 | 1181897.9541
1 | 2728044.4746 | 1181904.3042
2 | 2728029.8501 | 1181894.3223
3 | 2728048.5562 | 1181907.0351
4 | 2728019.1072 | 1181886.5323
5 | 2728059.0012 | 1181913.7319
6 | 2728014.2301 | 1181882.7385
7 | 2728067.7384 | 1181919.1682
8 | 2728009.4013 | 1181878.9273
9 | 2728071.5714 | 1181921.3853
10 | 2728078.3425 | 1181925.2843
11 | 2728084.5818 | 1181928.877
12 | 2728088.7648 | 1181931.2858
13 | 2728101.6645 | 1181938.7137
14 | 2728101.9197 | 1181938.8607
15 | 2728062.8896 | 1181830.0957
16 | 2728055.4165 | 1181823.0772
17 | 2728080.4978 | 1181846.6324
18 | 2728038.9814 | 1181809.8136
19 | 2728115.1623 | 1181869.4525
20 | 2728021.4165 | 1181800.3584
21 | 2728130.8198 | 1181655.4793
22 | 2728010.5352 | 1181792.2103
23 | 2727998.1931 | 1181870.0811
24 | 2727996.1116 | 1181868.4383
25 | 2727984.4201 | 1181859.2107
26 | 2728160.508 | 1181972.5975
27 | 2728110.6905 | 1182014.1745
28 | 2728048.8394 | 1181983.4517
29 | 2727157.3406 | 1182275.9243
30 | 2727253.7911 | 1181981.5546
31 | 2727271.9363 | 1181954.1085
32 | 2727693.0125 | 1182080.4562
33 | 2727877.6415 | 1182010.7383
34 | 2727400.2219 | 1181932.069
35 | 2727425.2732 | 1181943.4248
36 | 2727376.7412 | 1181913.2934
37 | 2727378.6861 | 1181973.7903
38 | 2727495.3005 | 1181809.9218
39 | 2727502.5058 | 1181772.154
40 | 2727443.9113 | 1181987.7636
41 | 2727934.982 | 1181902.2477
42 | 2727511.1066 | 1181711.4343
43 | 2727515.6747 | 1181700.8554
44 | 2727510.5096 | 1181715.6491
45 | 2727518.6313 | 1181698.6982
46 | 2727505.7236 | 1181749.4369
47 | 2727562.2546 | 1181666.8701
48 | 2727574.3853 | 1181658.0194
49 | 2727585.8354 | 1181667.2904
50 | 2727571.7753 | 1181654.5337
51 | 2727587.1765 | 1181668.3762
52 | 2727561.8273 | 1181641.2479
53 | 2727633.3126 | 1181812.2318
54 | 2727590.3136 | 1181804.1727
55 | 2727575.8293 | 1181801.1444
56 | 2727570.3674 | 1181824.9544
57 | 2727577.5356 | 1181791.1804
58 | 2727891.5534 | 1181882.854
59 | 2727567.9091 | 1181835.6706
60 | 2727580.2728 | 1181775.1969
61 | 2727759.6427 | 1181559.4618
62 | 2727661.6119 | 1181529.4765
63 | 2727607.0903 | 1181572.4301
64 | 2727678.9944 | 1181479.7741
65 | 2727864.3561 | 1181731.9784
66 | 2727878.4909 | 1181744.3493
67 | 2727883.3057 | 1181748.5633
68 | 2727897.3861 | 1181764.3712
69 | 2727686.077 | 1181468.6356
70 | 2727610.7532 | 1181581.0813
71 | 2727705.92 | 1181671.6056
72 | 2727704.23 | 1181694.5103
73 | 2727659.6987 | 1181664.6626
74 | 2727656.5931 | 1181659.3595
75 | 2727663.3688 | 1181672.7579
76 | 2727703.736 | 1181700.1659
77 | 2727652.0427 | 1181651.5889
78 | 2727663.7329 | 1181693.3115
79 | 2727903.9573 | 1181771.8348
80 | 2727911.4509 | 1181689.6465
81 | 2727907.805 | 1181685.7777
82 | 2727936.914 | 1181722.4926
83 | 2727932.2472 | 1181728.1971
84 | 2727949.2547 | 1181735.6519
85 | 2727930.4373 | 1181732.4524
86 | 2728007.5934 | 1181789.9418
87 | 2727926.9924 | 1181740.552
88 | 2727912.3101 | 1181798.5792
89 | 2727917.5042 | 1181812.2001
90 | 2727912.9052 | 1181786.5547
91 | 2727916.4618 | 1181765.311
92 | 2727853.6967 | 1181762.5228
93 | 2727825.7898 | 1181753.3264
94 | 2727865.2438 | 1181766.5059
95 | 2727823.8307 | 1181752.496
96 | 2727881.6624 | 1181776.0161
97 | 2727811.9143 | 1181746.2723
98 | 2727885.7325 | 1181780.0769
99 | 2727795.3243 | 1181737.245
100 | 2727890.2623 | 1181784.8311
101 | 2727920.1037 | 1181814.5336
102 | 2727915.5591 | 1181810.2958
103 | 2727543.7491 | 1181600.3474
104 | 2727554.3555 | 1181626.6128
105 | 2727543.5267 | 1181596.7865
106 | 2727546.7738 | 1181568.0769
107 | 2727620.1722 | 1181597.1656
108 | 2727624.5612 | 1181604.6604
109 | 2727635.3896 | 1181623.1515
110 | 2727600.2636 | 1181678.9727
111 | 2727659.7939 | 1181706.4399
112 | 2727668.8088 | 1181707.2958
113 | 2727647.4162 | 1181705.5273
114 | 2727674.6034 | 1181707.846
115 | 2727632.0674 | 1181707.6615
116 | 2727600.5647 | 1181679.2165
117 | 2727609.5288 | 1181686.4746
118 | 2727615.4827 | 1181692.0368
119 | 2727621.8825 | 1181698.0661
120 | 2727623.2823 | 1181699.3849
121 | 2727624.5151 | 1181716.3864
122 | 2727608.8855 | 1181739.8032
123 | 2727608.3781 | 1181740.3039
124 | 2727685.7243 | 1181708.9019
125 | 2727702.8311 | 1181710.5261
126 | 2727715.7452 | 1181711.889
127 | 2727718.6805 | 1181712.1988
128 | 2727733.971 | 1181713.8125
129 | 2727736.6508 | 1181714.0953
130 | 2727754.7857 | 1181717.0423
131 | 2727761.7196 | 1181719.5118
132 | 2727763.8018 | 1181720.5387
133 | 2727769.8711 | 1181723.5318
134 | 2727783.0994 | 1181730.5929
135 | 2727583.273 | 1181761.1845
136 | 2727581.4211 | 1181768.4916
137 | 2727891.9635 | 1181786.6166
138 | 2727858.926 | 1181854.0924
139 | 2727908.982 | 1181827.5205
140 | 2727921.5518 | 1181815.8336
141 | 2727933.3778 | 1181823.5613
142 | 2727948.3189 | 1181833.3247
143 | 2727903.0911 | 1181798.1092
144 | 2727948.6773 | 1181833.5589
145 | 2727961.4121 | 1181841.8806
146 | 2727974.7782 | 1181851.6008
147 | 2727979.5451 | 1181855.3631
148 | 2728037.6225 | 1181978.3655
149 | 2727702.8311 | 1181710.5261

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1