## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3981-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3981-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3981-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3981-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3981-7_0_4_node_75 | 0.4 | n |  | TRUE
5 | bus_LV_3981-7_0_4_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_3981-7_0_4_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_3981-7_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_3981-7_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3981-7_0_4_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_3981-7_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_3981-7_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3981-7_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3981-7_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3981-7_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3981-7_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3981-7_0_4_node_117 | 0.4 | n |  | TRUE
17 | bus_LV_3981-7_0_4_node_104 | 0.4 | n |  | TRUE
18 | bus_LV_3981-7_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3981-7_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3981-7_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3981-7_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3981-7_0_4_node_118 | 0.4 | n |  | TRUE
23 | bus_LV_3981-7_0_4_node_119 | 0.4 | n |  | TRUE
24 | bus_LV_3981-7_0_4_node_115 | 0.4 | n |  | TRUE
25 | bus_LV_3981-7_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3981-7_0_4_node_103 | 0.4 | n |  | TRUE
27 | bus_LV_3981-7_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3981-7_0_4_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_3981-7_0_4_node_108 | 0.4 | n |  | TRUE
30 | bus_LV_3981-7_0_4_node_102 | 0.4 | n |  | TRUE
31 | bus_LV_3981-7_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3981-7_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_3981-7_0_4_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_3981-7_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_3981-7_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_3981-7_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_3981-7_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3981-7_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_3981-7_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_3981-7_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_3981-7_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_3981-7_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_3981-7_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_3981-7_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_3981-7_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_3981-7_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_3981-7_0_4_node_113 | 0.4 | n |  | TRUE
48 | bus_LV_3981-7_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_3981-7_0_4_node_114 | 0.4 | n |  | TRUE
50 | bus_LV_3981-7_0_4_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_3981-7_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_3981-7_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_3981-7_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_3981-7_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_3981-7_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_3981-7_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_3981-7_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_3981-7_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_3981-7_0_4_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_3981-7_0_4_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_3981-7_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_3981-7_0_4_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_3981-7_0_4_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_3981-7_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_3981-7_0_4_node_116 | 0.4 | n |  | TRUE
66 | bus_LV_3981-7_0_4_node_112 | 0.4 | n |  | TRUE
67 | bus_LV_3981-7_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_3981-7_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_3981-7_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_3981-7_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_3981-7_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_3981-7_0_4_node_105 | 0.4 | n |  | TRUE
73 | bus_LV_3981-7_0_4_node_106 | 0.4 | n |  | TRUE
74 | bus_LV_3981-7_0_4_node_107 | 0.4 | n |  | TRUE
75 | bus_LV_3981-7_0_4_node_110 | 0.4 | n |  | TRUE
76 | bus_LV_3981-7_0_4_node_111 | 0.4 | n |  | TRUE
77 | bus_LV_3981-7_0_4_node_120 | 0.4 | n |  | TRUE
78 | bus_LV_3981-7_0_4_node_121 | 0.4 | n |  | TRUE
79 | bus_LV_3981-7_0_4_node_122 | 0.4 | n |  | TRUE
80 | bus_LV_3981-7_0_4_node_123 | 0.4 | n |  | TRUE
81 | bus_LV_3981-7_0_4_node_124 | 0.4 | n |  | TRUE
82 | bus_LV_3981-7_0_4_node_125 | 0.4 | n |  | TRUE
83 | bus_LV_3981-7_0_4_node_126 | 0.4 | n |  | TRUE
84 | bus_LV_3981-7_0_4_node_127 | 0.4 | n |  | TRUE
85 | bus_MV_179_0_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3981-7_0_4_load_0 | 0 | 0.00032753 | 8.2086e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3981-7_0_4_load_2 | 2 | 0.0001283 | 3.2154e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3981-7_0_4_load_3 | 3 | 0.000155 | 3.8847e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3981-7_0_4_load_75 | 4 | 0.0003227 | 8.0877e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3981-7_0_4_load_74 | 6 | 0.00022426 | 5.6205e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3981-7_0_4_load_19 | 7 | 0.00025846 | 6.4776e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3981-7_0_4_load_7 | 8 | 0.00024677 | 6.1845e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3981-7_0_4_load_69 | 9 | 0.0015231 | 0.00038171 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3981-7_0_4_load_4 | 10 | 0.00029937 | 7.5029e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3981-7_0_4_load_5 | 11 | 0.00029249 | 7.3305e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3981-7_0_4_load_6 | 12 | 0.00021874 | 5.4821e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3981-7_0_4_load_8 | 13 | 0.00033756 | 8.46e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3981-7_0_4_load_117 | 16 | 0.0060641 | 0.0015198 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3981-7_0_4_load_104 | 17 | 0.0034706 | 0.00086982 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3981-7_0_4_load_13 | 18 | 0.0030612 | 0.00076721 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3981-7_0_4_load_11 | 19 | 0.00020554 | 5.1512e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3981-7_0_4_load_15 | 20 | 0.00012045 | 3.0188e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3981-7_0_4_load_118 | 22 | 0.00049669 | 0.00012448 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3981-7_0_4_load_119 | 23 | 0.00017469 | 4.3782e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3981-7_0_4_load_115 | 24 | 0.0010841 | 0.00027171 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3981-7_0_4_load_14 | 25 | 0.00081978 | 0.00020546 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3981-7_0_4_load_103 | 26 | 0.0062961 | 0.001578 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3981-7_0_4_load_16 | 27 | 0.00032361 | 8.1105e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3981-7_0_4_load_108 | 29 | 0.0041674 | 0.0010444 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3981-7_0_4_load_102 | 30 | 0.00071705 | 0.00017971 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3981-7_0_4_load_17 | 32 | 0.00017706 | 4.4375e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3981-7_0_4_load_72 | 33 | 0.00030994 | 7.7678e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3981-7_0_4_load_20 | 34 | 0.00023186 | 5.8109e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3981-7_0_4_load_21 | 35 | 0.00018631 | 4.6693e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3981-7_0_4_load_22 | 36 | 0.00027504 | 6.8932e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3981-7_0_4_load_23 | 37 | 0.00020648 | 5.1748e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3981-7_0_4_load_24 | 38 | 0.0011349 | 0.00028444 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3981-7_0_4_load_43 | 39 | 0.0012852 | 0.00032211 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3981-7_0_4_load_44 | 40 | 0.0026689 | 0.00066888 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3981-7_0_4_load_25 | 41 | 0.00051628 | 0.00012939 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3981-7_0_4_load_26 | 42 | 0.0014531 | 0.00036417 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3981-7_0_4_load_27 | 43 | 0.00053548 | 0.0001342 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3981-7_0_4_load_29 | 45 | 0.00033371 | 8.3635e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3981-7_0_4_load_30 | 46 | 0.00091944 | 0.00023043 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3981-7_0_4_load_33 | 48 | 0.00021845 | 5.475e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3981-7_0_4_load_114 | 49 | 0.0018093 | 0.00045345 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3981-7_0_4_load_109 | 50 | 0.0083156 | 0.0020841 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3981-7_0_4_load_31 | 51 | 0.00031707 | 7.9465e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3981-7_0_4_load_32 | 52 | 0.00021844 | 5.4746e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3981-7_0_4_load_34 | 53 | 0.00022085 | 5.535e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3981-7_0_4_load_35 | 54 | 0.00029834 | 7.4772e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3981-7_0_4_load_36 | 55 | 0.00083688 | 0.00020974 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3981-7_0_4_load_41 | 57 | 0.0028242 | 0.00070782 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3981-7_0_4_load_38 | 58 | 0.0020981 | 0.00052584 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3981-7_0_4_load_37 | 59 | 0.0017905 | 0.00044875 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3981-7_0_4_load_39 | 60 | 0.00015019 | 3.764e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3981-7_0_4_load_42 | 61 | 0.00087096 | 0.00021828 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3981-7_0_4_load_85 | 62 | 0.00062501 | 0.00015664 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3981-7_0_4_load_86 | 63 | 0.00065966 | 0.00016533 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3981-7_0_4_load_45 | 64 | 0.0022114 | 0.00055423 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3981-7_0_4_load_116 | 65 | 0.0015657 | 0.00039241 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3981-7_0_4_load_66 | 67 | 0.00013465 | 3.3745e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3981-7_0_4_load_68 | 69 | 0.00013317 | 3.3376e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3981-7_0_4_load_70 | 70 | 0.00020649 | 5.1752e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3981-7_0_4_load_71 | 71 | 0.00024823 | 6.2211e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3981-7_0_4_load_105 | 72 | 0.0046165 | 0.001157 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3981-7_0_4_load_106 | 73 | 0.0081423 | 0.0020407 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3981-7_0_4_load_110 | 75 | 0.004661 | 0.0011682 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3981-7_0_4_load_111 | 76 | 0.0052173 | 0.0013076 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3981-7_0_4_load_120 | 77 | 0.00099832 | 0.0002502 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3981-7_0_4_load_121 | 78 | 0.00085366 | 0.00021395 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3981-7_0_4_load_122 | 79 | 0.00074586 | 0.00018693 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3981-7_0_4_load_123 | 80 | 0.0025534 | 0.00063994 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3981-7_0_4_load_124 | 81 | 0.000911 | 0.00022832 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3981-7_0_4_load_125 | 82 | 0.00036311 | 9.1004e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3981-7_0_4_load_126 | 83 | 0.00037922 | 9.5042e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3981-7_0_4_load_127 | 84 | 0.00027482 | 6.8877e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3981-7_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.07896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3981-7_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.063608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3981-7_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.12135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3981-7_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.081186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3981-7_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.1018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3981-7_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.08997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3981-7_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.12302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3981-7_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.029821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3981-7_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.12346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3981-7_0_4_line_9 | NAYY 4x150 SE | 6 | 28 | 0.085019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3981-7_0_4_line_10 | NAYY 4x150 SE | 8 | 12 | 0.016856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3981-7_0_4_line_11 | NAYY 4x150 SE | 9 | 68 | 0.18789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3981-7_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.026672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3981-7_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.12092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3981-7_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.039234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3981-7_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.070312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3981-7_0_4_line_16 | NAYY 4x150 SE | 15 | 18 | 0.18769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3981-7_0_4_line_17 | NAYY 4x150 SE | 15 | 19 | 0.001492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3981-7_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.012735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3981-7_0_4_line_19 | NAYY 4x150 SE | 17 | 26 | 0.039251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3981-7_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.00044246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3981-7_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.029359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3981-7_0_4_line_22 | NAYY 4x150 SE | 20 | 27 | 0.0048426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3981-7_0_4_line_23 | NAYY 4x150 SE | 21 | 25 | 0.096641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3981-7_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.00041345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3981-7_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.13379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3981-7_0_4_line_26 | NAYY 4x150 SE | 24 | 66 | 0.0021728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3981-7_0_4_line_27 | NAYY 4x150 SE | 25 | 26 | 0.10564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3981-7_0_4_line_28 | NAYY 4x150 SE | 26 | 29 | 0.050436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3981-7_0_4_line_29 | NAYY 4x150 SE | 26 | 30 | 0.02542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3981-7_0_4_line_30 | NAYY 4x150 SE | 27 | 31 | 0.038522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3981-7_0_4_line_31 | NAYY 4x150 SE | 28 | 33 | 0.0557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3981-7_0_4_line_32 | NAYY 4x150 SE | 28 | 32 | 0.15207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3981-7_0_4_line_33 | NAYY 4x150 SE | 29 | 75 | 0.020487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3981-7_0_4_line_34 | NAYY 4x150 SE | 29 | 73 | 0.0049873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3981-7_0_4_line_35 | NAYY 4x150 SE | 31 | 32 | 0.010136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3981-7_0_4_line_36 | NAYY 4x150 SE | 33 | 71 | 0.18215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3981-7_0_4_line_37 | NAYY 4x150 SE | 34 | 35 | 0.12104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3981-7_0_4_line_38 | NAYY 4x150 SE | 34 | 36 | 0.016072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3981-7_0_4_line_39 | NAYY 4x150 SE | 35 | 37 | 0.12093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3981-7_0_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.027184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3981-7_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.012372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3981-7_0_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.058874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3981-7_0_4_line_43 | NAYY 4x150 SE | 40 | 64 | 0.013647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3981-7_0_4_line_44 | NAYY 4x150 SE | 41 | 42 | 0.039179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3981-7_0_4_line_45 | NAYY 4x150 SE | 41 | 43 | 0.084971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3981-7_0_4_line_46 | NAYY 4x150 SE | 42 | 44 | 0.078242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3981-7_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.027897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3981-7_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.052158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3981-7_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.13863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_3981-7_0_4_line_50 | NAYY 4x150 SE | 46 | 48 | 0.011793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3981-7_0_4_line_51 | NAYY 4x150 SE | 47 | 49 | 0.029349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3981-7_0_4_line_52 | NAYY 4x150 SE | 47 | 50 | 0.1633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3981-7_0_4_line_53 | NAYY 4x150 SE | 48 | 51 | 0.002916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3981-7_0_4_line_54 | NAYY 4x150 SE | 49 | 77 | 0.036419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3981-7_0_4_line_55 | NAYY 4x150 SE | 50 | 74 | 0.11303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_3981-7_0_4_line_56 | NAYY 4x150 SE | 51 | 52 | 0.11113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3981-7_0_4_line_57 | NAYY 4x150 SE | 52 | 53 | 0.028627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3981-7_0_4_line_58 | NAYY 4x150 SE | 53 | 54 | 0.059664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3981-7_0_4_line_59 | NAYY 4x150 SE | 54 | 55 | 0.08212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3981-7_0_4_line_60 | NAYY 4x150 SE | 55 | 56 | 0.037193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3981-7_0_4_line_61 | NAYY 4x150 SE | 56 | 57 | 0.061849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3981-7_0_4_line_62 | NAYY 4x150 SE | 56 | 58 | 0.0092193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3981-7_0_4_line_63 | NAYY 4x150 SE | 57 | 61 | 0.07758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3981-7_0_4_line_64 | NAYY 4x150 SE | 57 | 62 | 0.1433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3981-7_0_4_line_65 | NAYY 4x150 SE | 58 | 59 | 0.14091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3981-7_0_4_line_66 | NAYY 4x150 SE | 59 | 60 | 0.015573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3981-7_0_4_line_67 | NAYY 4x150 SE | 62 | 63 | 0.027759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3981-7_0_4_line_68 | NAYY 4x150 SE | 64 | 65 | 0.014592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3981-7_0_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.028133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3981-7_0_4_line_70 | NAYY 4x150 SE | 66 | 76 | 0.094242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_3981-7_0_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.039548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3981-7_0_4_line_72 | NAYY 4x150 SE | 68 | 69 | 0.095513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3981-7_0_4_line_73 | NAYY 4x150 SE | 70 | 71 | 0.11564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3981-7_0_4_line_74 | NAYY 4x150 SE | 72 | 73 | 0.025384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_3981-7_0_4_line_75 | NAYY 4x150 SE | 72 | 74 | 0.1146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_3981-7_0_4_line_76 | NAYY 4x150 SE | 75 | 76 | 0.018743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_3981-7_0_4_line_77 | NAYY 4x150 SE | 77 | 78 | 0.019193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3981-7_0_4_line_78 | NAYY 4x150 SE | 78 | 79 | 0.01713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3981-7_0_4_line_79 | NAYY 4x150 SE | 79 | 80 | 0.003418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3981-7_0_4_line_80 | NAYY 4x150 SE | 80 | 81 | 0.018538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3981-7_0_4_line_81 | NAYY 4x150 SE | 81 | 82 | 0.039393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3981-7_0_4_line_82 | NAYY 4x150 SE | 82 | 83 | 4.5703e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3981-7_0_4_line_83 | NAYY 4x150 SE | 83 | 84 | 0.010577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3981-7_0_4_trafo_112 | 0.25 MVA 20/0.4 kV | 85 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2727346.0413 | 1183034.1551 | 2727415.1264 | 1183039.7942 | 2727424.1732 | 1183043.1375
1 | 2727346.0413 | 1183034.1551 | 2727343.6393 | 1183027.8661 | 2727322.7734 | 1183007.3744 | 2727311.5762 | 1182982.1146
2 | 2727346.0413 | 1183034.1551 | 2727343.6877 | 1183039.598 | 2727338.9329 | 1183043.3887 | 2727331.9877 | 1183043.5079 | 2727317.733 | 1183041.1255 | 2727284.5337 | 1183047.514 | 2727269.9349 | 1183046.948 | 2727252.2759 | 1183043.7485 | 2727241.8376 | 1183043.6379 | 2727232.8241 | 1183047.6384 | 2727231.9296 | 1183048.5545
3 | 2727253.9136 | 1182926.7022 | 2727262.0315 | 1182935.0867 | 2727306.353 | 1182970.3317 | 2727311.5762 | 1182982.1146
4 | 2727191.3911 | 1183132.4548 | 2727192.8753 | 1183125.5034 | 2727187.6848 | 1183103.4214 | 2727188.7012 | 1183095.4816 | 2727192.6157 | 1183088.8153 | 2727231.9296 | 1183048.5545
5 | 2727191.6388 | 1182861.7721 | 2727207.0837 | 1182878.3341 | 2727253.9136 | 1182926.7022
6 | 2727253.9136 | 1182926.7022 | 2727324.0928 | 1182825.6686
7 | 2727191.3911 | 1183132.4548 | 2727200.7481 | 1183133.4875 | 2727221.1456 | 1183132.8697
8 | 2727191.3911 | 1183132.4548 | 2727186.3025 | 1183140.8196 | 2727167.9237 | 1183157.1417 | 2727120.7633 | 1183189.1092 | 2727093.6974 | 1183206.3941
9 | 2727117.5656 | 1182829.4989 | 2727127.7665 | 1182831.0942 | 2727159.8835 | 1182833.9999 | 2727175.9503 | 1182844.9488 | 2727191.6388 | 1182861.7721
10 | 2727237.9938 | 1183132.3594 | 2727221.1456 | 1183132.8697
11 | 2726937.8315 | 1183248.8871 | 2726948.6049 | 1183249.0265 | 2726956.4101 | 1183251.9162 | 2726973.5194 | 1183268.413 | 2726985.5638 | 1183276.6854 | 2726993.5447 | 1183276.332 | 2727003.1009 | 1183271.5643 | 2727050.9814 | 1183233.6735 | 2727093.6974 | 1183206.3941
12 | 2727383.0739 | 1183145.3449 | 2727357.8204 | 1183136.7638
13 | 2727357.8204 | 1183136.7638 | 2727343.5275 | 1183131.9071 | 2727332.1451 | 1183129.5079 | 2727237.9938 | 1183132.3594
14 | 2727465.3653 | 1182824.904 | 2727476.6738 | 1182827.2129 | 2727501.6451 | 1182839.1831
15 | 2727424.5593 | 1182769.8069 | 2727424.3849 | 1182776.2079 | 2727426.6704 | 1182781.8718 | 2727432.0537 | 1182788.0463 | 2727465.3653 | 1182824.904
16 | 2727424.5593 | 1182769.8069 | 2727382.5114 | 1182748.2862 | 2727352.3089 | 1182732.1992 | 2727336.366 | 1182726.5563 | 2727293.1419 | 1182716.8644 | 2727255.0121 | 1182701.7881 | 2727251.0791 | 1182700.9463
17 | 2727424.5593 | 1182769.8069 | 2727425.9691 | 1182770.2953
18 | 2727554.2098 | 1182683.7979 | 2727549.7794 | 1182683.6178 | 2727547.1384 | 1182683.1724 | 2727544.3547 | 1182682.257 | 2727541.9135 | 1182681.1209
19 | 2727589.3352 | 1182700.2923 | 2727568.7789 | 1182688.8371 | 2727560.5995 | 1182684.4821 | 2727558.3954 | 1182683.9681 | 2727554.2098 | 1182683.7979
20 | 2727250.6465 | 1182700.8537 | 2727251.0791 | 1182700.9463
21 | 2727454.9259 | 1182773.4997 | 2727448.5933 | 1182773.8876 | 2727439.3333 | 1182773.3013 | 2727429.9274 | 1182771.6668 | 2727425.9691 | 1182770.2953
22 | 2727245.9111 | 1182699.84 | 2727250.6465 | 1182700.8537
23 | 2727454.9259 | 1182773.4997 | 2727532.4242 | 1182791.2946 | 2727548.5709 | 1182797.754
24 | 2727426.3094 | 1182624.715 | 2727426.6969 | 1182624.8592
25 | 2727496.9709 | 1182583.5451 | 2727482.6719 | 1182584.873 | 2727475.7276 | 1182587.7941 | 2727475.4676 | 1182593.1926 | 2727491.5747 | 1182600.1069 | 2727495.3866 | 1182606.9041 | 2727493.8183 | 1182611.6854 | 2727488.1388 | 1182617.2687 | 2727478.0119 | 1182617.9205 | 2727462.3183 | 1182612.0379 | 2727458.3418 | 1182612.9763 | 2727445.9494 | 1182624.2544 | 2727435.0243 | 1182627.9582 | 2727426.6969 | 1182624.8592
26 | 2727499.1343 | 1182583.3442 | 2727496.9709 | 1182583.5451
27 | 2727589.3352 | 1182700.2923 | 2727548.5709 | 1182797.754
28 | 2727608.2555 | 1182653.5391 | 2727589.3352 | 1182700.2923
29 | 2727589.3352 | 1182700.2923 | 2727609.0275 | 1182711.266 | 2727611.6626 | 1182712.419
30 | 2727207.7186 | 1182698.1149 | 2727232.5209 | 1182696.9738 | 2727245.9111 | 1182699.84
31 | 2727117.5656 | 1182829.4989 | 2727111.0299 | 1182835.1423 | 2727066.7178 | 1182851.0023
32 | 2727117.5656 | 1182829.4989 | 2727209.2025 | 1182708.142
33 | 2727608.2555 | 1182653.5391 | 2727593.1358 | 1182646.58 | 2727589.8731 | 1182644.5508
34 | 2727608.2555 | 1182653.5391 | 2727612.786 | 1182655.6244
35 | 2727207.7186 | 1182698.1149 | 2727209.2025 | 1182708.142
36 | 2726947.05 | 1182966.2321 | 2726959.2964 | 1182948.2206 | 2726963.4993 | 1182908.1246 | 2726979.4347 | 1182891.4166 | 2727041.6067 | 1182868.3726 | 2727063.6358 | 1182852.1054 | 2727066.7178 | 1182851.0023
37 | 2727137.6932 | 1182462.0393 | 2727181.5785 | 1182464.4105 | 2727199.8855 | 1182462.7199 | 2727241.3453 | 1182457.3959 | 2727258.1945 | 1182458.7557
38 | 2727137.6932 | 1182462.0393 | 2727134.1221 | 1182461.8463 | 2727121.6293 | 1182462.1278
39 | 2727258.1945 | 1182458.7557 | 2727274.8205 | 1182460.0975 | 2727287.8279 | 1182464.0878 | 2727313.3662 | 1182479.3969 | 2727336.2733 | 1182495.5843 | 2727348.1919 | 1182509.8258 | 2727360.386 | 1182517.1899
40 | 2727383.656 | 1182531.2428 | 2727360.386 | 1182517.1899
41 | 2727394.6375 | 1182536.8955 | 2727388.1543 | 1182533.9594 | 2727383.656 | 1182531.2428
42 | 2727394.6375 | 1182536.8955 | 2727448.2681 | 1182561.1834
43 | 2727459.773 | 1182568.3542 | 2727453.6178 | 1182563.6061 | 2727448.2681 | 1182561.1834
44 | 2727358.066 | 1182351.0271 | 2727343.8415 | 1182314.521
45 | 2727358.066 | 1182351.0271 | 2727361.1033 | 1182358.8223 | 2727367.875 | 1182372.2872 | 2727374.1217 | 1182381.7046 | 2727380.2617 | 1182388.9516 | 2727389.7698 | 1182398.0158 | 2727406.9365 | 1182411.8798 | 2727411.1792 | 1182415.4293
46 | 2727289.7613 | 1182262.7585 | 2727297.7871 | 1182265.3864 | 2727308.2041 | 1182269.7997 | 2727315.8446 | 1182274.3876 | 2727320.4116 | 1182277.6648 | 2727325.8671 | 1182283.3404 | 2727330.5243 | 1182289.9219 | 2727335.9201 | 1182298.7653 | 2727342.4879 | 1182311.0472 | 2727343.8415 | 1182314.521
47 | 2727411.1792 | 1182415.4293 | 2727432.5758 | 1182433.3303
48 | 2727289.7613 | 1182262.7585 | 2727293.4367 | 1182259.8232 | 2727298.1765 | 1182257.8447 | 2727302.614 | 1182257.8722 | 2727307.3447 | 1182258.8401 | 2727319.7975 | 1182263.4302 | 2727337.5672 | 1182272.1183
49 | 2727526.856 | 1182533.008 | 2727515.6966 | 1182512.5444 | 2727513.2618 | 1182508.5118 | 2727510.438 | 1182505.1715 | 2727505.8508 | 1182500.704 | 2727500.7647 | 1182496.3482 | 2727492.0334 | 1182489.5574 | 2727486.3551 | 1182485.3891 | 2727482.8247 | 1182482.5898 | 2727478.4574 | 1182477.8378 | 2727469.3176 | 1182467.269 | 2727465.148 | 1182462.1988 | 2727459.8061 | 1182456.9369 | 2727440.1982 | 1182439.7073 | 2727432.5758 | 1182433.3303
50 | 2727337.5672 | 1182272.1183 | 2727348.1617 | 1182277.2983
51 | 2727526.856 | 1182533.008 | 2727524.647 | 1182533.7949 | 2727521.7546 | 1182534.0335 | 2727519.44 | 1182533.3282 | 2727516.6051 | 1182531.2219 | 2727511.8769 | 1182526.5623 | 2727504.1933 | 1182517.9894
52 | 2727526.856 | 1182533.008 | 2727529.6701 | 1182536.804 | 2727532.8336 | 1182539.9736 | 2727536.4645 | 1182543.0754 | 2727542.3266 | 1182547.2143 | 2727567.1397 | 1182560.6633 | 2727570.5292 | 1182562.9038 | 2727574.3936 | 1182565.7993 | 2727578.067 | 1182569.0576 | 2727581.7271 | 1182572.9384 | 2727612.2593 | 1182609.771 | 2727616.2612 | 1182613.7369 | 2727619.7231 | 1182616.5238 | 2727624.6723 | 1182619.7649 | 2727630.089 | 1182622.9381 | 2727651.6068 | 1182634.9978
53 | 2727350.7814 | 1182278.5791 | 2727348.1617 | 1182277.2983
54 | 2727504.1933 | 1182517.9894 | 2727502.9161 | 1182516.5644 | 2727498.0734 | 1182512.2582 | 2727494.4247 | 1182509.99 | 2727489.3547 | 1182507.7472 | 2727483.1816 | 1182506.0146 | 2727471.6829 | 1182503.4863
55 | 2727742.6331 | 1182700.5373 | 2727730.5125 | 1182687.9475 | 2727720.8063 | 1182678.189 | 2727713.2905 | 1182671.7352 | 2727705.7506 | 1182666.0481 | 2727699.2214 | 1182661.6836 | 2727651.6068 | 1182634.9978
56 | 2727350.7814 | 1182278.5791 | 2727355.8893 | 1182281.0765 | 2727361.9321 | 1182284.9967 | 2727367.9452 | 1182290.3172 | 2727376.177 | 1182299.4211 | 2727387.5379 | 1182314.0399 | 2727394.4048 | 1182320.5128 | 2727402.0863 | 1182325.6799 | 2727411.1813 | 1182330.1098 | 2727439.9577 | 1182340.5512
57 | 2727439.9577 | 1182340.5512 | 2727466.8684 | 1182350.3156
58 | 2727466.8684 | 1182350.3156 | 2727498.4579 | 1182361.7777 | 2727506.2701 | 1182366.1805 | 2727513.4572 | 1182370.8813 | 2727519.8589 | 1182376.4784
59 | 2727519.8589 | 1182376.4784 | 2727534.0268 | 1182388.8655 | 2727539.9935 | 1182392.7619 | 2727546.2573 | 1182395.2637 | 2727566.5757 | 1182399.2101 | 2727573.8721 | 1182401.645 | 2727584.5461 | 1182406.1644 | 2727592.7811 | 1182410.7968
60 | 2727624.9423 | 1182429.2858 | 2727614.8221 | 1182424.5891 | 2727608.7729 | 1182420.9799 | 2727601.6801 | 1182415.8029 | 2727592.7811 | 1182410.7968
61 | 2727624.9423 | 1182429.2858 | 2727638.6622 | 1182434.2483 | 2727650.8857 | 1182437.0217 | 2727664.3789 | 1182438.6436 | 2727685.4938 | 1182439.5507
62 | 2727624.9423 | 1182429.2858 | 2727623.9154 | 1182420.1239
63 | 2727685.4938 | 1182439.5507 | 2727688.5249 | 1182439.6809 | 2727696.4871 | 1182440.9737 | 2727706.8988 | 1182443.8198 | 2727713.476 | 1182446.662 | 2727748.0845 | 1182467.1368 | 2727755.599 | 1182470.6843
64 | 2727685.4938 | 1182439.5507 | 2727773.9061 | 1182326.77
65 | 2727533.557 | 1182312.9885 | 2727579.9797 | 1182358.0428 | 2727609.6306 | 1182395.7796 | 2727623.9154 | 1182420.1239
66 | 2727525.3755 | 1182299.738 | 2727533.557 | 1182312.9885
67 | 2727753.8457 | 1182308.3981 | 2727761.1766 | 1182311.7235 | 2727773.9061 | 1182326.77
68 | 2727459.773 | 1182568.3542 | 2727466.5735 | 1182573.6001 | 2727472.0753 | 1182576.0021
69 | 2727499.1343 | 1182583.3442 | 2727478.2736 | 1182578.7082 | 2727472.0753 | 1182576.0021
70 | 2727499.1343 | 1182583.3442 | 2727528.2745 | 1182590.8697 | 2727535.649 | 1182593.573 | 2727540.1677 | 1182595.8709 | 2727544.524 | 1182598.6211 | 2727548.694 | 1182602.5906 | 2727574.9838 | 1182632.4054 | 2727575.3758 | 1182632.8086
71 | 2726937.8315 | 1183248.8871 | 2726934.3107 | 1183251.0475 | 2726917.123 | 1183256.6209 | 2726904.9027 | 1183268.9354
72 | 2726937.8315 | 1183248.8871 | 2726929.8342 | 1183248.9289 | 2726909.1783 | 1183254.1842 | 2726887.0014 | 1183269.9485 | 2726862.9121 | 1183300.6107
73 | 2726900.2204 | 1183069.9591 | 2726913.588 | 1183015.4465 | 2726947.05 | 1182966.2321
74 | 2727636.2066 | 1182665.3893 | 2727620.873 | 1182659.3465 | 2727612.786 | 1182655.6244
75 | 2727742.6331 | 1182700.5373 | 2727739.5696 | 1182701.9953 | 2727737.13 | 1182702.855 | 2727735.6892 | 1182702.7242 | 2727733.1829 | 1182701.3365 | 2727723.3077 | 1182694.1318 | 2727719.1975 | 1182691.6646 | 2727714.7743 | 1182689.1908 | 2727708.6803 | 1182686.6257 | 2727687.1887 | 1182681.5085 | 2727666.1088 | 1182675.7108 | 2727653.7224 | 1182671.9998 | 2727641.0668 | 1182667.3046 | 2727636.2066 | 1182665.3893
76 | 2727589.8731 | 1182644.5508 | 2727586.4342 | 1182642.412 | 2727580.2159 | 1182637.7874 | 2727575.3758 | 1182632.8086
77 | 2727471.6829 | 1182503.4863 | 2727452.9381 | 1182499.3648
78 | 2727452.9381 | 1182499.3648 | 2727451.3791 | 1182499.0221 | 2727436.9901 | 1182493.1689
79 | 2727434.0452 | 1182491.4772 | 2727435.6882 | 1182492.6393 | 2727436.9901 | 1182493.1689
80 | 2727418.9101 | 1182480.7719 | 2727434.0452 | 1182491.4772
81 | 2727418.9101 | 1182480.7719 | 2727397.2271 | 1182465.4351 | 2727385.8391 | 1182459.5167
82 | 2727385.8391 | 1182459.5167 | 2727385.7986 | 1182459.4956
83 | 2727376.4133 | 1182454.6181 | 2727385.7986 | 1182459.4956

## bus_geodata
| x | y | coords
0 | 2727424.1732 | 1183043.1375
1 | 2727346.0413 | 1183034.1551
2 | 2727311.5762 | 1182982.1146
3 | 2727231.9296 | 1183048.5545
4 | 2727253.9136 | 1182926.7022
5 | 2727191.3911 | 1183132.4548
6 | 2727191.6388 | 1182861.7721
7 | 2727324.0928 | 1182825.6686
8 | 2727221.1456 | 1183132.8697
9 | 2727093.6974 | 1183206.3941
10 | 2727383.0739 | 1183145.3449
11 | 2727357.8204 | 1183136.7638
12 | 2727237.9938 | 1183132.3594
13 | 2727501.6451 | 1182839.1831
14 | 2727465.3653 | 1182824.904
15 | 2727424.5593 | 1182769.8069
16 | 2727541.9135 | 1182681.1209
17 | 2727554.2098 | 1182683.7979
18 | 2727251.0791 | 1182700.9463
19 | 2727425.9691 | 1182770.2953
20 | 2727250.6465 | 1182700.8537
21 | 2727454.9259 | 1182773.4997
22 | 2727426.6969 | 1182624.8592
23 | 2727426.3094 | 1182624.715
24 | 2727496.9709 | 1182583.5451
25 | 2727548.5709 | 1182797.754
26 | 2727589.3352 | 1182700.2923
27 | 2727245.9111 | 1182699.84
28 | 2727117.5656 | 1182829.4989
29 | 2727608.2555 | 1182653.5391
30 | 2727611.6626 | 1182712.419
31 | 2727207.7186 | 1182698.1149
32 | 2727209.2025 | 1182708.142
33 | 2727066.7178 | 1182851.0023
34 | 2727137.6932 | 1182462.0393
35 | 2727258.1945 | 1182458.7557
36 | 2727121.6293 | 1182462.1278
37 | 2727360.386 | 1182517.1899
38 | 2727383.656 | 1182531.2428
39 | 2727394.6375 | 1182536.8955
40 | 2727448.2681 | 1182561.1834
41 | 2727358.066 | 1182351.0271
42 | 2727343.8415 | 1182314.521
43 | 2727411.1792 | 1182415.4293
44 | 2727289.7613 | 1182262.7585
45 | 2727432.5758 | 1182433.3303
46 | 2727337.5672 | 1182272.1183
47 | 2727526.8559 | 1182533.008
48 | 2727348.1617 | 1182277.2983
49 | 2727504.1933 | 1182517.9894
50 | 2727651.6068 | 1182634.9978
51 | 2727350.7814 | 1182278.5791
52 | 2727439.9577 | 1182340.5512
53 | 2727466.8684 | 1182350.3156
54 | 2727519.8589 | 1182376.4784
55 | 2727592.7811 | 1182410.7968
56 | 2727624.9423 | 1182429.2858
57 | 2727685.4938 | 1182439.5507
58 | 2727623.9154 | 1182420.1239
59 | 2727533.557 | 1182312.9885
60 | 2727525.3755 | 1182299.738
61 | 2727755.599 | 1182470.6843
62 | 2727773.9061 | 1182326.77
63 | 2727753.8457 | 1182308.3981
64 | 2727459.773 | 1182568.3542
65 | 2727472.0753 | 1182576.0021
66 | 2727499.1343 | 1182583.3442
67 | 2726904.9027 | 1183268.9354
68 | 2726937.8315 | 1183248.8871
69 | 2726862.9121 | 1183300.6107
70 | 2726900.2204 | 1183069.9591
71 | 2726947.05 | 1182966.2321
72 | 2727636.2066 | 1182665.3893
73 | 2727612.786 | 1182655.6244
74 | 2727742.6331 | 1182700.5373
75 | 2727589.8731 | 1182644.5508
76 | 2727575.3758 | 1182632.8086
77 | 2727471.6829 | 1182503.4863
78 | 2727452.9381 | 1182499.3648
79 | 2727436.9901 | 1182493.1689
80 | 2727434.0452 | 1182491.4772
81 | 2727418.9102 | 1182480.7719
82 | 2727385.8391 | 1182459.5167
83 | 2727385.7986 | 1182459.4956
84 | 2727376.4133 | 1182454.6181
85 | 2727426.3094 | 1182624.715

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1