## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3982-10_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3982-10_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3982-10_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3982-10_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3982-10_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3982-10_0_6_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_3982-10_0_6_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_3982-10_0_6_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_3982-10_0_6_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_3982-10_0_6_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_3982-10_0_6_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_3982-10_0_6_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_3982-10_0_6_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_3982-10_0_6_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_3982-10_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_3982-10_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_3982-10_0_6_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_3982-10_0_6_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_3982-10_0_6_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_3982-10_0_6_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_3982-10_0_6_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_3982-10_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3982-10_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3982-10_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3982-10_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3982-10_0_6_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_3982-10_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_3982-10_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3982-10_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3982-10_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3982-10_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_3982-10_0_6_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_3982-10_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3982-10_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3982-10_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3982-10_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3982-10_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3982-10_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_3982-10_0_6_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_3982-10_0_6_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_3982-10_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3982-10_0_6_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_3982-10_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_3982-10_0_6_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_3982-10_0_6_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_3982-10_0_6_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_3982-10_0_6_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_3982-10_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_3982-10_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_3982-10_0_6_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_3982-10_0_6_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_3982-10_0_6_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_3982-10_0_6_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_3982-10_0_6_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_3982-10_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_3982-10_0_6_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_3982-10_0_6_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_3982-10_0_6_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_3982-10_0_6_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_3982-10_0_6_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_3982-10_0_6_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_3982-10_0_6_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_3982-10_0_6_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_3982-10_0_6_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_3982-10_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_3982-10_0_6_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_3982-10_0_6_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_3982-10_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_3982-10_0_6_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_3982-10_0_6_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_3982-10_0_6_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_3982-10_0_6_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_3982-10_0_6_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_3982-10_0_6_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_3982-10_0_6_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_3982-10_0_6_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_3982-10_0_6_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_3982-10_0_6_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_3982-10_0_6_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_3982-10_0_6_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_3982-10_0_6_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_3982-10_0_6_node_81 | 0.4 | n |  | TRUE
82 | bus_MV_180_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3982-10_0_6_load_0 | 0 | 0.00073888 | 0.00018518 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3982-10_0_6_load_1 | 1 | 0.00056572 | 0.00014178 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3982-10_0_6_load_2 | 2 | 0.00069692 | 0.00017466 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3982-10_0_6_load_3 | 3 | 0.00093215 | 0.00023362 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3982-10_0_6_load_4 | 4 | 0.00060666 | 0.00015204 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3982-10_0_6_load_11 | 5 | 0.0011332 | 0.000284 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3982-10_0_6_load_12 | 6 | 0.0016852 | 0.00042235 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3982-10_0_6_load_41 | 7 | 0.00041416 | 0.0001038 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3982-10_0_6_load_37 | 9 | 0.00067525 | 0.00016923 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3982-10_0_6_load_30 | 10 | 0.0011567 | 0.0002899 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3982-10_0_6_load_27 | 11 | 0.00089434 | 0.00022414 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3982-10_0_6_load_38 | 12 | 0.001107 | 0.00027744 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3982-10_0_6_load_5 | 13 | 0.00036754 | 9.2115e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3982-10_0_6_load_6 | 14 | 0.0003644 | 9.1327e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3982-10_0_6_load_7 | 15 | 0.00071895 | 0.00018019 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3982-10_0_6_load_23 | 16 | 0.00040329 | 0.00010107 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3982-10_0_6_load_82 | 17 | 0.00051773 | 0.00012976 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3982-10_0_6_load_21 | 18 | 0.00035721 | 8.9526e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3982-10_0_6_load_8 | 19 | 0.00064034 | 0.00016048 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3982-10_0_6_load_9 | 20 | 0.00057849 | 0.00014498 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3982-10_0_6_load_10 | 21 | 0.0004023 | 0.00010083 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3982-10_0_6_load_14 | 22 | 0.00035523 | 8.9028e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3982-10_0_6_load_15 | 23 | 0.00059507 | 0.00014914 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3982-10_0_6_load_16 | 26 | 0.00065249 | 0.00016353 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3982-10_0_6_load_17 | 27 | 0.0015273 | 0.00038278 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3982-10_0_6_load_18 | 28 | 0.00042888 | 0.00010749 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3982-10_0_6_load_20 | 30 | 0.0011629 | 0.00029145 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3982-10_0_6_load_31 | 31 | 0.00039419 | 9.8794e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3982-10_0_6_load_28 | 32 | 0.0014598 | 0.00036586 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3982-10_0_6_load_22 | 33 | 0.00056849 | 0.00014248 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3982-10_0_6_load_24 | 34 | 0.00063433 | 0.00015898 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3982-10_0_6_load_26 | 35 | 0.00071286 | 0.00017866 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3982-10_0_6_load_32 | 36 | 0.0002807 | 7.0349e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3982-10_0_6_load_34 | 38 | 0.0012891 | 0.00032307 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3982-10_0_6_load_35 | 39 | 0.0011309 | 0.00028343 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3982-10_0_6_load_36 | 40 | 0.0004502 | 0.00011283 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3982-10_0_6_load_39 | 41 | 0.0080696 | 0.0020224 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3982-10_0_6_load_47 | 43 | 0.0024611 | 0.00061682 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3982-10_0_6_load_48 | 44 | 0.0032329 | 0.00081024 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3982-10_0_6_load_49 | 46 | 0.0020349 | 0.00050998 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3982-10_0_6_load_43 | 47 | 0.0010143 | 0.0002542 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3982-10_0_6_load_44 | 48 | 0.0044626 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3982-10_0_6_load_50 | 50 | 0.0014337 | 0.00035931 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3982-10_0_6_load_53 | 51 | 0.0024679 | 0.00061851 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3982-10_0_6_load_51 | 53 | 0.0021361 | 0.00053536 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3982-10_0_6_load_52 | 54 | 0.00098651 | 0.00024724 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3982-10_0_6_load_58 | 55 | 0.0040119 | 0.0010055 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3982-10_0_6_load_57 | 56 | 0.0035148 | 0.0008809 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3982-10_0_6_load_55 | 57 | 0.0023297 | 0.00058388 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3982-10_0_6_load_56 | 58 | 0.0027085 | 0.00067882 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3982-10_0_6_load_65 | 59 | 0.0050126 | 0.0012563 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3982-10_0_6_load_67 | 62 | 0.0049975 | 0.0012525 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3982-10_0_6_load_63 | 63 | 0.00082375 | 0.00020645 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3982-10_0_6_load_60 | 65 | 0.0024232 | 0.00060732 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3982-10_0_6_load_61 | 66 | 0.0039868 | 0.00099919 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3982-10_0_6_load_62 | 67 | 0.0024603 | 0.0006166 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3982-10_0_6_load_76 | 69 | 0.0041156 | 0.0010315 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3982-10_0_6_load_77 | 70 | 0.0027379 | 0.00068618 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3982-10_0_6_load_72 | 71 | 0.0017546 | 0.00043975 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3982-10_0_6_load_68 | 72 | 0.0020379 | 0.00051075 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3982-10_0_6_load_69 | 73 | 0.0019417 | 0.00048665 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3982-10_0_6_load_73 | 74 | 0.0022826 | 0.00057208 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3982-10_0_6_load_70 | 75 | 0.0021643 | 0.00054241 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3982-10_0_6_load_71 | 76 | 0.0022467 | 0.00056308 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3982-10_0_6_load_74 | 77 | 0.0033941 | 0.00085065 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3982-10_0_6_load_78 | 78 | 0.0038269 | 0.00095912 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3982-10_0_6_load_80 | 79 | 0.0027275 | 0.00068358 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3982-10_0_6_load_79 | 80 | 0.0067082 | 0.0016812 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3982-10_0_6_load_81 | 81 | 0.0027499 | 0.00068919 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3982-10_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3982-10_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0032515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3982-10_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0083449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3982-10_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3982-10_0_6_line_4 | NAYY 4x150 SE | 3 | 8 | 0.0095782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3982-10_0_6_line_5 | NAYY 4x150 SE | 4 | 9 | 0.037181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3982-10_0_6_line_6 | NAYY 4x150 SE | 5 | 6 | 0.015431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3982-10_0_6_line_7 | NAYY 4x150 SE | 5 | 7 | 0.97738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3982-10_0_6_line_8 | NAYY 4x150 SE | 6 | 24 | 0.058908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3982-10_0_6_line_9 | NAYY 4x150 SE | 7 | 15 | 0.22509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3982-10_0_6_line_10 | NAYY 4x150 SE | 8 | 10 | 0.011064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3982-10_0_6_line_11 | NAYY 4x150 SE | 8 | 11 | 0.023345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3982-10_0_6_line_12 | NAYY 4x150 SE | 9 | 12 | 0.002774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3982-10_0_6_line_13 | NAYY 4x150 SE | 11 | 32 | 0.02722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3982-10_0_6_line_14 | NAYY 4x150 SE | 12 | 41 | 0.040774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3982-10_0_6_line_15 | NAYY 4x150 SE | 13 | 14 | 0.012819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3982-10_0_6_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0021671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3982-10_0_6_line_17 | NAYY 4x150 SE | 14 | 16 | 0.13662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_3982-10_0_6_line_18 | NAYY 4x150 SE | 15 | 17 | 0.35473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3982-10_0_6_line_19 | NAYY 4x150 SE | 16 | 18 | 0.04597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3982-10_0_6_line_20 | NAYY 4x150 SE | 18 | 33 | 0.0065409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3982-10_0_6_line_21 | NAYY 4x150 SE | 19 | 20 | 0.021612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3982-10_0_6_line_22 | NAYY 4x150 SE | 20 | 21 | 0.013275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3982-10_0_6_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0016946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3982-10_0_6_line_24 | NAYY 4x150 SE | 22 | 23 | 0.013935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3982-10_0_6_line_25 | NAYY 4x150 SE | 23 | 25 | 0.017926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3982-10_0_6_line_26 | NAYY 4x150 SE | 24 | 42 | 0.017339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3982-10_0_6_line_27 | NAYY 4x150 SE | 25 | 35 | 0.022953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3982-10_0_6_line_28 | NAYY 4x150 SE | 25 | 29 | 0.022925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3982-10_0_6_line_29 | NAYY 4x150 SE | 26 | 27 | 0.0025095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3982-10_0_6_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3982-10_0_6_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0085483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3982-10_0_6_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0067985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3982-10_0_6_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0082208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3982-10_0_6_line_34 | NAYY 4x150 SE | 30 | 32 | 0.011814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3982-10_0_6_line_35 | NAYY 4x150 SE | 31 | 34 | 0.0068213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3982-10_0_6_line_36 | NAYY 4x150 SE | 33 | 34 | 0.018837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_3982-10_0_6_line_37 | NAYY 4x150 SE | 35 | 36 | 0.01162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3982-10_0_6_line_38 | NAYY 4x150 SE | 36 | 37 | 0.010549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3982-10_0_6_line_39 | NAYY 4x150 SE | 37 | 38 | 0.021103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3982-10_0_6_line_40 | NAYY 4x150 SE | 38 | 39 | 0.003375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3982-10_0_6_line_41 | NAYY 4x150 SE | 39 | 40 | 0.020681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3982-10_0_6_line_42 | NAYY 4x150 SE | 42 | 43 | 0.028539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3982-10_0_6_line_43 | NAYY 4x150 SE | 42 | 44 | 0.033984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3982-10_0_6_line_44 | NAYY 4x150 SE | 43 | 45 | 0.0041014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3982-10_0_6_line_45 | NAYY 4x150 SE | 44 | 46 | 0.039173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3982-10_0_6_line_46 | NAYY 4x150 SE | 45 | 49 | 0.011611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3982-10_0_6_line_47 | NAYY 4x150 SE | 45 | 47 | 0.019209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3982-10_0_6_line_48 | NAYY 4x150 SE | 47 | 48 | 0.031575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3982-10_0_6_line_49 | NAYY 4x150 SE | 49 | 50 | 0.021773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3982-10_0_6_line_50 | NAYY 4x150 SE | 50 | 53 | 0.03106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3982-10_0_6_line_51 | NAYY 4x150 SE | 51 | 52 | 0.011607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3982-10_0_6_line_52 | NAYY 4x150 SE | 52 | 57 | 0.0089224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3982-10_0_6_line_53 | NAYY 4x150 SE | 52 | 58 | 0.0078649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3982-10_0_6_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0098903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3982-10_0_6_line_55 | NAYY 4x150 SE | 54 | 55 | 0.016644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3982-10_0_6_line_56 | NAYY 4x150 SE | 55 | 56 | 0.0065616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3982-10_0_6_line_57 | NAYY 4x150 SE | 56 | 64 | 0.0077995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3982-10_0_6_line_58 | NAYY 4x150 SE | 57 | 59 | 0.02983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3982-10_0_6_line_59 | NAYY 4x150 SE | 58 | 60 | 0.026415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3982-10_0_6_line_60 | NAYY 4x150 SE | 59 | 61 | 0.026321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3982-10_0_6_line_61 | NAYY 4x150 SE | 60 | 62 | 0.0052984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3982-10_0_6_line_62 | NAYY 4x150 SE | 60 | 63 | 0.0070842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3982-10_0_6_line_63 | NAYY 4x150 SE | 61 | 72 | 0.013719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3982-10_0_6_line_64 | NAYY 4x150 SE | 62 | 71 | 0.020314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3982-10_0_6_line_65 | NAYY 4x150 SE | 63 | 67 | 0.0057868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3982-10_0_6_line_66 | NAYY 4x150 SE | 64 | 65 | 0.018608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3982-10_0_6_line_67 | NAYY 4x150 SE | 64 | 66 | 0.03712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3982-10_0_6_line_68 | NAYY 4x150 SE | 65 | 67 | 0.015131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3982-10_0_6_line_69 | NAYY 4x150 SE | 66 | 68 | 0.052002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3982-10_0_6_line_70 | NAYY 4x150 SE | 68 | 69 | 0.012662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3982-10_0_6_line_71 | NAYY 4x150 SE | 68 | 70 | 0.024248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3982-10_0_6_line_72 | NAYY 4x150 SE | 69 | 78 | 0.029449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3982-10_0_6_line_73 | NAYY 4x150 SE | 70 | 79 | 0.045231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3982-10_0_6_line_74 | NAYY 4x150 SE | 71 | 74 | 0.01698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3982-10_0_6_line_75 | NAYY 4x150 SE | 72 | 73 | 0.012117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3982-10_0_6_line_76 | NAYY 4x150 SE | 73 | 75 | 0.010085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3982-10_0_6_line_77 | NAYY 4x150 SE | 74 | 77 | 0.0019987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3982-10_0_6_line_78 | NAYY 4x150 SE | 75 | 76 | 0.01778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3982-10_0_6_line_79 | NAYY 4x150 SE | 78 | 80 | 0.021243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3982-10_0_6_line_80 | NAYY 4x150 SE | 79 | 81 | 0.0084797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3982-10_0_6_trafo_11 | 0.25 MVA 20/0.4 kV | 82 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2706092.0879 | 1171159.7508 | 2706070.8894 | 1171157.3396 | 2706060.2571 | 1171154.2718
1 | 2706092.0879 | 1171159.7508 | 2706095.3186 | 1171160.1183
2 | 2706060.2571 | 1171154.2718 | 2706052.2393 | 1171151.9583
3 | 2706095.3186 | 1171160.1183 | 2706110.5631 | 1171161.8523
4 | 2706043.2917 | 1171148.5576 | 2706050.776 | 1171151.5361 | 2706052.2393 | 1171151.9583
5 | 2706147.6166 | 1171164.1981 | 2706130.2625 | 1171164.093 | 2706110.5631 | 1171161.8523
6 | 2706197.8108 | 1172512.3554 | 2706183.8235 | 1172518.872
7 | 2706197.8108 | 1172512.3554 | 2706269.682 | 1171537.6258
8 | 2706155.6707 | 1172566.4406 | 2706155.6599 | 1172560.5698 | 2706156.241 | 1172554.5317 | 2706157.5973 | 1172548.3516 | 2706162.3866 | 1172538.3853 | 2706166.3105 | 1172532.7955 | 2706169.4901 | 1172528.6267 | 2706172.4994 | 1172525.4445 | 2706178.6008 | 1172521.3052 | 2706183.8235 | 1172518.872
9 | 2706310.0781 | 1171316.1954 | 2706269.682 | 1171537.6258
10 | 2706043.2917 | 1171148.5576 | 2706033.0106 | 1171144.47
11 | 2706043.2917 | 1171148.5576 | 2706036.0619 | 1171161.0492 | 2706035.2561 | 1171165.9493 | 2706036.6366 | 1171169.646
12 | 2706147.6166 | 1171164.1981 | 2706150.3906 | 1171164.2149
13 | 2706036.6366 | 1171169.646 | 2706037.0242 | 1171170.6836 | 2706046.7261 | 1171178.9381 | 2706058.9011 | 1171184.4725
14 | 2706150.3906 | 1171164.2149 | 2706152.259 | 1171164.2263 | 2706172.5068 | 1171162.4274 | 2706190.7579 | 1171158.9585
15 | 2706308.0354 | 1171315.4718 | 2706295.952 | 1171311.1914
16 | 2706310.0781 | 1171316.1954 | 2706308.0354 | 1171315.4718
17 | 2706168.6476 | 1171261.614 | 2706295.952 | 1171311.1914
18 | 2706310.0781 | 1171316.1954 | 2706651.1929 | 1171413.5299
19 | 2706168.6476 | 1171261.614 | 2706164.2378 | 1171257.8772 | 2706151.5443 | 1171240.9751 | 2706138.9491 | 1171229.7562 | 2706136.9448 | 1171228.8853
20 | 2706130.9458 | 1171226.2785 | 2706136.9448 | 1171228.8853
21 | 2706115.1263 | 1171267.1486 | 2706121.809 | 1171287.7012
22 | 2706115.1263 | 1171267.1486 | 2706111.5223 | 1171261.9593 | 2706107.291 | 1171256.437
23 | 2706106.2603 | 1171255.0918 | 2706107.291 | 1171256.437
24 | 2706106.2603 | 1171255.0918 | 2706097.7852 | 1171244.0307
25 | 2706085.7957 | 1171230.8956 | 2706090.364 | 1171234.3452 | 2706097.7852 | 1171244.0307
26 | 2706155.6707 | 1172566.4406 | 2706157.0168 | 1172571.6456 | 2706160.4312 | 1172578.4215 | 2706163.2171 | 1172581.8063
27 | 2706085.7957 | 1171230.8956 | 2706075.0965 | 1171222.7901 | 2706066.8817 | 1171217.9584
28 | 2706085.7957 | 1171230.8956 | 2706099.8737 | 1171212.7768
29 | 2706092.7431 | 1171208.0623 | 2706090.6497 | 1171206.6782
30 | 2706075.8451 | 1171192.1747 | 2706080.2165 | 1171194.1618 | 2706081.7632 | 1171196.2683 | 2706083.3337 | 1171200.4877 | 2706085.8438 | 1171203.5007 | 2706090.6497 | 1171206.6782
31 | 2706099.8737 | 1171212.7768 | 2706092.7431 | 1171208.0623
32 | 2706069.656 | 1171189.3613 | 2706075.8451 | 1171192.1747
33 | 2706099.8737 | 1171212.7768 | 2706107.4135 | 1171216.0531
34 | 2706058.9011 | 1171184.4725 | 2706069.656 | 1171189.3613
35 | 2706107.4135 | 1171216.0531 | 2706113.6697 | 1171218.7716
36 | 2706130.9458 | 1171226.2785 | 2706113.6697 | 1171218.7716
37 | 2706056.8656 | 1171212.0672 | 2706066.8817 | 1171217.9584
38 | 2706047.7732 | 1171206.7193 | 2706056.8656 | 1171212.0672
39 | 2706047.7732 | 1171206.7193 | 2706043.379 | 1171206.4081 | 2706035.9321 | 1171204.7756 | 2706027.1463 | 1171202.507
40 | 2706023.8785 | 1171201.6633 | 2706027.1463 | 1171202.507
41 | 2706023.8785 | 1171201.6633 | 2706018.3674 | 1171200.2403 | 2706007.0206 | 1171196.3041 | 2706004.0567 | 1171196.0054
42 | 2706163.2171 | 1172581.8063 | 2706166.3576 | 1172584.1745 | 2706170.327 | 1172585.957 | 2706189.3529 | 1172592.9047
43 | 2706163.2171 | 1172581.8063 | 2706159.3214 | 1172584.9395 | 2706133.6024 | 1172598.305
44 | 2706193.2055 | 1172594.3115 | 2706189.3529 | 1172592.9047
45 | 2706133.6024 | 1172598.305 | 2706128.3683 | 1172601.0251 | 2706103.8165 | 1172615.0448 | 2706099.8489 | 1172618.0909
46 | 2706204.3533 | 1172597.6665 | 2706193.2055 | 1172594.3115
47 | 2706193.2055 | 1172594.3115 | 2706199.5185 | 1172592.9111 | 2706206.2902 | 1172592.8309 | 2706212.2181 | 1172593.5405
48 | 2706212.2181 | 1172593.5405 | 2706228.3059 | 1172595.4665 | 2706240.5819 | 1172597.3183 | 2706243.4297 | 1172598.1152
49 | 2706204.3533 | 1172597.6665 | 2706225.2711 | 1172603.7091
50 | 2706225.2711 | 1172603.7091 | 2706225.961 | 1172603.9084 | 2706232.6994 | 1172606.9963 | 2706238.5748 | 1172610.8695 | 2706241.8468 | 1172614.4519 | 2706244.4609 | 1172619.3236 | 2706246.5354 | 1172624.4303
51 | 2706201.569 | 1172644.3257 | 2706210.2878 | 1172636.6637
52 | 2706201.569 | 1172644.3257 | 2706199.7516 | 1172641.5472 | 2706197.3044 | 1172639.7806 | 2706194.8233 | 1172639.0584
53 | 2706201.569 | 1172644.3257 | 2706202.3863 | 1172648.2872 | 2706202.6591 | 1172652.0973
54 | 2706248.5719 | 1172634.0869 | 2706248.183 | 1172630.7525 | 2706246.5354 | 1172624.4303 | 2706246.5354 | 1172624.4303
55 | 2706249.6 | 1172650.6716 | 2706249.7259 | 1172647.7355 | 2706249.3918 | 1172641.1141 | 2706248.5719 | 1172634.0869
56 | 2706249.0517 | 1172657.1966 | 2706249.4 | 1172655.3347 | 2706249.6 | 1172650.6716
57 | 2706246.6356 | 1172664.5696 | 2706248.5128 | 1172660.0777 | 2706249.0517 | 1172657.1966
58 | 2706194.8233 | 1172639.0584 | 2706190.6544 | 1172639.0402 | 2706165.428 | 1172643.7422
59 | 2706204.5453 | 1172678.4452 | 2706202.6591 | 1172652.0973
60 | 2706139.553 | 1172648.5651 | 2706165.428 | 1172643.7422
61 | 2706204.5453 | 1172678.4452 | 2706203.8156 | 1172683.6931
62 | 2706204.5453 | 1172678.4452 | 2706211.6132 | 1172677.9652
63 | 2706139.553 | 1172648.5651 | 2706140.6752 | 1172662.2381
64 | 2706203.8156 | 1172683.6931 | 2706201.5737 | 1172699.8178 | 2706201.2522 | 1172703.8395
65 | 2706217.3867 | 1172677.5731 | 2706211.6132 | 1172677.9652
66 | 2706246.6356 | 1172664.5696 | 2706244.2828 | 1172668.2638 | 2706241.5355 | 1172670.9169 | 2706237.3151 | 1172673.8108 | 2706232.3726 | 1172675.7015
67 | 2706246.6356 | 1172664.5696 | 2706251.2622 | 1172668.543 | 2706261.0664 | 1172681.236 | 2706266.2706 | 1172686.287 | 2706271.3892 | 1172689.6909 | 2706272.8374 | 1172690.3313
68 | 2706217.3867 | 1172677.5731 | 2706225.194 | 1172677.0429 | 2706232.2317 | 1172675.7554 | 2706232.3726 | 1172675.7015
69 | 2706323.7248 | 1172691.2407 | 2706319.4492 | 1172692.4992 | 2706313.2027 | 1172694.034 | 2706305.9194 | 1172694.939 | 2706294.4041 | 1172695.0685 | 2706285.5822 | 1172694.3007 | 2706277.4919 | 1172692.3896 | 2706272.8374 | 1172690.3313
70 | 2706323.7248 | 1172691.2407 | 2706321.6927 | 1172678.7431
71 | 2706323.7248 | 1172691.2407 | 2706328.919 | 1172689.0868 | 2706332.0944 | 1172686.8861 | 2706334.9436 | 1172684.535 | 2706339.3948 | 1172679.4104 | 2706341.3401 | 1172675.5979
72 | 2706321.6927 | 1172678.7431 | 2706316.9663 | 1172649.6757
73 | 2706341.3401 | 1172675.5979 | 2706342.2003 | 1172673.9121 | 2706344.3836 | 1172668.5583 | 2706345.803 | 1172667.0269 | 2706347.8281 | 1172666.2845 | 2706354.5085 | 1172665.3022 | 2706380.6281 | 1172660.4903
74 | 2706201.2522 | 1172703.8395 | 2706199.8993 | 1172720.7652
75 | 2706140.6752 | 1172662.2381 | 2706141.1075 | 1172667.5051 | 2706141.1864 | 1172669.53 | 2706140.4853 | 1172671.5412 | 2706138.8876 | 1172673.6365 | 2706138.8544 | 1172673.6607
76 | 2706138.8544 | 1172673.6607 | 2706136.2529 | 1172675.5468 | 2706130.9694 | 1172677.5658 | 2706129.8239 | 1172677.973
77 | 2706199.8993 | 1172720.7652 | 2706199.74 | 1172722.7576
78 | 2706129.8239 | 1172677.973 | 2706120.8693 | 1172681.1563 | 2706112.9145 | 1172683.4421
79 | 2706313.557 | 1172628.7084 | 2706316.9663 | 1172649.6757
80 | 2706380.6281 | 1172660.4903 | 2706388.9674 | 1172658.954

## bus_geodata
| x | y | coords
0 | 2706092.0879 | 1171159.7508
1 | 2706060.2571 | 1171154.2718
2 | 2706095.3186 | 1171160.1183
3 | 2706052.2393 | 1171151.9583
4 | 2706110.5631 | 1171161.8523
5 | 2706197.8108 | 1172512.3554
6 | 2706183.8235 | 1172518.872
7 | 2706269.682 | 1171537.6258
8 | 2706043.2917 | 1171148.5576
9 | 2706147.6166 | 1171164.1981
10 | 2706033.0106 | 1171144.47
11 | 2706036.6366 | 1171169.646
12 | 2706150.3906 | 1171164.2149
13 | 2706308.0354 | 1171315.4718
14 | 2706295.952 | 1171311.1914
15 | 2706310.0781 | 1171316.1954
16 | 2706168.6476 | 1171261.614
17 | 2706651.1929 | 1171413.5299
18 | 2706136.9448 | 1171228.8853
19 | 2706121.809 | 1171287.7012
20 | 2706115.1263 | 1171267.1486
21 | 2706107.291 | 1171256.437
22 | 2706106.2603 | 1171255.0918
23 | 2706097.7852 | 1171244.0307
24 | 2706155.6707 | 1172566.4406
25 | 2706085.7957 | 1171230.8956
26 | 2706090.6497 | 1171206.6782
27 | 2706092.7431 | 1171208.0623
28 | 2706075.8451 | 1171192.1747
29 | 2706099.8737 | 1171212.7768
30 | 2706069.656 | 1171189.3613
31 | 2706107.4135 | 1171216.0531
32 | 2706058.9011 | 1171184.4725
33 | 2706130.9458 | 1171226.2785
34 | 2706113.6697 | 1171218.7716
35 | 2706066.8817 | 1171217.9584
36 | 2706056.8656 | 1171212.0672
37 | 2706047.7732 | 1171206.7193
38 | 2706027.1463 | 1171202.507
39 | 2706023.8785 | 1171201.6633
40 | 2706004.0567 | 1171196.0054
41 | 2706190.7579 | 1171158.9585
42 | 2706163.2171 | 1172581.8063
43 | 2706189.3529 | 1172592.9047
44 | 2706133.6024 | 1172598.305
45 | 2706193.2055 | 1172594.3115
46 | 2706099.8489 | 1172618.0909
47 | 2706212.2181 | 1172593.5405
48 | 2706243.4297 | 1172598.1152
49 | 2706204.3533 | 1172597.6665
50 | 2706225.2711 | 1172603.7091
51 | 2706210.2878 | 1172636.6637
52 | 2706201.569 | 1172644.3257
53 | 2706246.5354 | 1172624.4303
54 | 2706248.5719 | 1172634.0869
55 | 2706249.6 | 1172650.6716
56 | 2706249.0517 | 1172657.1966
57 | 2706194.8233 | 1172639.0584
58 | 2706202.6591 | 1172652.0973
59 | 2706165.428 | 1172643.7422
60 | 2706204.5453 | 1172678.4452
61 | 2706139.553 | 1172648.5651
62 | 2706203.8156 | 1172683.6931
63 | 2706211.6132 | 1172677.9652
64 | 2706246.6356 | 1172664.5696
65 | 2706232.3726 | 1172675.7015
66 | 2706272.8374 | 1172690.3313
67 | 2706217.3867 | 1172677.5731
68 | 2706323.7248 | 1172691.2407
69 | 2706321.6927 | 1172678.7431
70 | 2706341.3401 | 1172675.5979
71 | 2706201.2522 | 1172703.8395
72 | 2706140.6752 | 1172662.2381
73 | 2706138.8544 | 1172673.6607
74 | 2706199.8993 | 1172720.7652
75 | 2706129.8239 | 1172677.973
76 | 2706112.9145 | 1172683.4421
77 | 2706199.74 | 1172722.7576
78 | 2706316.9663 | 1172649.6756
79 | 2706380.6281 | 1172660.4903
80 | 2706313.557 | 1172628.7084
81 | 2706388.9674 | 1172658.954
82 | 2706155.6707 | 1172566.4406

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1