## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3982-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3982-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3982-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3982-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3982-11_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3982-11_0_4_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_3982-11_0_4_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_3982-11_0_4_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_3982-11_0_4_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_3982-11_0_4_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_3982-11_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3982-11_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3982-11_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3982-11_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3982-11_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3982-11_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3982-11_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3982-11_0_4_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_3982-11_0_4_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_3982-11_0_4_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_3982-11_0_4_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_3982-11_0_4_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_3982-11_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3982-11_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3982-11_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3982-11_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3982-11_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3982-11_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3982-11_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_3982-11_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3982-11_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3982-11_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_3982-11_0_4_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_3982-11_0_4_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_3982-11_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3982-11_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_3982-11_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_3982-11_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_3982-11_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_3982-11_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_3982-11_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_3982-11_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_3982-11_0_4_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_3982-11_0_4_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_3982-11_0_4_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_3982-11_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_3982-11_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_3982-11_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_3982-11_0_4_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_3982-11_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_3982-11_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_3982-11_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_3982-11_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_3982-11_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_3982-11_0_4_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_3982-11_0_4_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_3982-11_0_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_3982-11_0_4_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_3982-11_0_4_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_3982-11_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_3982-11_0_4_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_3982-11_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_3982-11_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_3982-11_0_4_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_3982-11_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_3982-11_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_3982-11_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_3982-11_0_4_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_3982-11_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_3982-11_0_4_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_3982-11_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_3982-11_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_3982-11_0_4_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_3982-11_0_4_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_3982-11_0_4_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_3982-11_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_3982-11_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_3982-11_0_4_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_3982-11_0_4_node_86 | 0.4 | n |  | TRUE
79 | bus_LV_3982-11_0_4_node_87 | 0.4 | n |  | TRUE
80 | bus_LV_3982-11_0_4_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_3982-11_0_4_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_3982-11_0_4_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_3982-11_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_3982-11_0_4_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_3982-11_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_3982-11_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_3982-11_0_4_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_3982-11_0_4_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_3982-11_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_3982-11_0_4_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_3982-11_0_4_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_3982-11_0_4_node_90 | 0.4 | n |  | TRUE
93 | bus_MV_180_0_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3982-11_0_4_load_0 | 0 | 0.0036155 | 0.00090612 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3982-11_0_4_load_1 | 1 | 0.01179 | 0.002955 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3982-11_0_4_load_3 | 3 | 0.0059941 | 0.0015023 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3982-11_0_4_load_4 | 4 | 0.0068388 | 0.001714 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3982-11_0_4_load_50 | 5 | 0.0022792 | 0.00057123 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3982-11_0_4_load_65 | 8 | 0.0039682 | 0.00099452 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3982-11_0_4_load_5 | 10 | 0.0015417 | 0.00038639 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3982-11_0_4_load_6 | 11 | 0.0016371 | 0.00041029 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3982-11_0_4_load_8 | 13 | 0.0018309 | 0.00045886 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3982-11_0_4_load_9 | 14 | 0.0010139 | 0.0002541 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3982-11_0_4_load_10 | 15 | 0.0032404 | 0.00081212 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3982-11_0_4_load_11 | 16 | 0.0013868 | 0.00034756 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3982-11_0_4_load_72 | 18 | 0.0020456 | 0.00051267 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3982-11_0_4_load_67 | 19 | 0.0017595 | 0.00044097 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3982-11_0_4_load_44 | 20 | 0.00131 | 0.00032832 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3982-11_0_4_load_45 | 21 | 0.0019423 | 0.00048679 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3982-11_0_4_load_12 | 23 | 0.0014859 | 0.00037239 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3982-11_0_4_load_13 | 24 | 0.0011119 | 0.00027866 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3982-11_0_4_load_15 | 26 | 0.00062342 | 0.00015624 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3982-11_0_4_load_17 | 27 | 0.00081598 | 0.0002045 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3982-11_0_4_load_46 | 28 | 0.00043335 | 0.00010861 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3982-11_0_4_load_16 | 29 | 0.0046836 | 0.0011738 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3982-11_0_4_load_24 | 30 | 0.0050506 | 0.0012658 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3982-11_0_4_load_33 | 31 | 0.0010819 | 0.00027114 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3982-11_0_4_load_73 | 32 | 0.0012418 | 0.00031122 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3982-11_0_4_load_58 | 33 | 0.00065455 | 0.00016405 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3982-11_0_4_load_25 | 34 | 0.0072057 | 0.0018059 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3982-11_0_4_load_34 | 35 | 0.0052233 | 0.0013091 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3982-11_0_4_load_19 | 37 | 0.0012394 | 0.00031063 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3982-11_0_4_load_20 | 38 | 0.0021567 | 0.00054052 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3982-11_0_4_load_21 | 39 | 0.0017243 | 0.00043215 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3982-11_0_4_load_22 | 40 | 0.0027605 | 0.00069185 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3982-11_0_4_load_23 | 41 | 0.0010867 | 0.00027236 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3982-11_0_4_load_74 | 42 | 0.0017098 | 0.00042852 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3982-11_0_4_load_88 | 43 | 0.0011019 | 0.00027617 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3982-11_0_4_load_42 | 46 | 0.0036489 | 0.00091451 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3982-11_0_4_load_47 | 47 | 0.0048504 | 0.0012156 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3982-11_0_4_load_76 | 48 | 0.0035068 | 0.0008789 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3982-11_0_4_load_27 | 49 | 0.0073907 | 0.0018523 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3982-11_0_4_load_28 | 50 | 0.003076 | 0.00077091 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3982-11_0_4_load_31 | 52 | 0.001836 | 0.00046014 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3982-11_0_4_load_32 | 53 | 0.0020115 | 0.00050414 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3982-11_0_4_load_63 | 54 | 0.005699 | 0.0014283 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3982-11_0_4_load_75 | 55 | 0.0072001 | 0.0018045 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3982-11_0_4_load_61 | 56 | 0.0068055 | 0.0017056 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3982-11_0_4_load_85 | 57 | 0.0011183 | 0.00028026 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3982-11_0_4_load_68 | 58 | 0.0037911 | 0.00095014 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3982-11_0_4_load_36 | 60 | 0.0019559 | 0.0004902 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3982-11_0_4_load_37 | 61 | 0.0028579 | 0.00071627 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3982-11_0_4_load_38 | 62 | 0.0019308 | 0.00048391 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3982-11_0_4_load_39 | 63 | 0.0021708 | 0.00054406 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3982-11_0_4_load_40 | 64 | 0.0014186 | 0.00035552 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3982-11_0_4_load_43 | 65 | 0.0012708 | 0.0003185 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3982-11_0_4_load_52 | 66 | 0.0023256 | 0.00058285 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3982-11_0_4_load_89 | 67 | 0.0053055 | 0.0013297 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3982-11_0_4_load_48 | 68 | 0.0029139 | 0.00073028 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3982-11_0_4_load_56 | 70 | 0.0049812 | 0.0012484 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3982-11_0_4_load_49 | 72 | 0.011326 | 0.0028387 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3982-11_0_4_load_93 | 73 | 0.0069967 | 0.0017535 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3982-11_0_4_load_69 | 74 | 0.0024089 | 0.00060373 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3982-11_0_4_load_53 | 75 | 0.0011067 | 0.00027736 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3982-11_0_4_load_54 | 76 | 0.0013146 | 0.00032947 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3982-11_0_4_load_55 | 77 | 0.00416 | 0.0010426 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3982-11_0_4_load_86 | 78 | 0.0019942 | 0.0004998 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3982-11_0_4_load_87 | 79 | 0.0022651 | 0.00056769 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3982-11_0_4_load_62 | 80 | 0.0061288 | 0.001536 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3982-11_0_4_load_60 | 81 | 0.0013785 | 0.00034549 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3982-11_0_4_load_66 | 82 | 0.00053989 | 0.00013531 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3982-11_0_4_load_79 | 83 | 0.00065981 | 0.00016536 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3982-11_0_4_load_83 | 84 | 0.0060506 | 0.0015164 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3982-11_0_4_load_82 | 85 | 0.0045901 | 0.0011504 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3982-11_0_4_load_71 | 87 | 0.0024038 | 0.00060244 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3982-11_0_4_load_80 | 88 | 0.0028852 | 0.0007231 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3982-11_0_4_load_81 | 89 | 0.0050193 | 0.001258 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3982-11_0_4_load_77 | 90 | 0.0029327 | 0.000735 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3982-11_0_4_load_91 | 91 | 0.0024951 | 0.00062534 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3982-11_0_4_load_90 | 92 | 0.0011805 | 0.00029587 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3982-11_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3982-11_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0066536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3982-11_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.014106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3982-11_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0069243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3982-11_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0010947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3982-11_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0080824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3982-11_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.023114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3982-11_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0080701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3982-11_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.007935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3982-11_0_4_line_9 | NAYY 4x150 SE | 7 | 47 | 0.019648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3982-11_0_4_line_10 | NAYY 4x150 SE | 7 | 45 | 0.01387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3982-11_0_4_line_11 | NAYY 4x150 SE | 8 | 84 | 0.0093978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3982-11_0_4_line_12 | NAYY 4x150 SE | 9 | 50 | 0.017191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3982-11_0_4_line_13 | NAYY 4x150 SE | 10 | 11 | 0.031921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3982-11_0_4_line_14 | NAYY 4x150 SE | 10 | 12 | 0.0066632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3982-11_0_4_line_15 | NAYY 4x150 SE | 11 | 13 | 0.00069621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3982-11_0_4_line_16 | NAYY 4x150 SE | 12 | 14 | 0.020825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3982-11_0_4_line_17 | NAYY 4x150 SE | 12 | 15 | 0.016406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3982-11_0_4_line_18 | NAYY 4x150 SE | 12 | 16 | 0.019842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3982-11_0_4_line_19 | NAYY 4x150 SE | 13 | 17 | 0.036317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3982-11_0_4_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0052588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3982-11_0_4_line_21 | NAYY 4x150 SE | 17 | 19 | 0.024241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3982-11_0_4_line_22 | NAYY 4x150 SE | 18 | 22 | 0.020846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3982-11_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0064458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3982-11_0_4_line_24 | NAYY 4x150 SE | 21 | 70 | 0.013495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3982-11_0_4_line_25 | NAYY 4x150 SE | 22 | 32 | 0.0094033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3982-11_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.00043172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3982-11_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0081701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3982-11_0_4_line_28 | NAYY 4x150 SE | 24 | 26 | 0.020034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3982-11_0_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.006334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3982-11_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0062264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3982-11_0_4_line_31 | NAYY 4x150 SE | 27 | 31 | 0.0034494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3982-11_0_4_line_32 | NAYY 4x150 SE | 28 | 33 | 0.019581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3982-11_0_4_line_33 | NAYY 4x150 SE | 29 | 30 | 0.0045379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3982-11_0_4_line_34 | NAYY 4x150 SE | 30 | 34 | 0.020036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3982-11_0_4_line_35 | NAYY 4x150 SE | 31 | 35 | 0.0057112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3982-11_0_4_line_36 | NAYY 4x150 SE | 32 | 36 | 0.018796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3982-11_0_4_line_37 | NAYY 4x150 SE | 33 | 71 | 0.014748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3982-11_0_4_line_38 | NAYY 4x150 SE | 34 | 45 | 0.010553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3982-11_0_4_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0092055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3982-11_0_4_line_40 | NAYY 4x150 SE | 36 | 58 | 0.013572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3982-11_0_4_line_41 | NAYY 4x150 SE | 36 | 55 | 0.015284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3982-11_0_4_line_42 | NAYY 4x150 SE | 37 | 38 | 0.016555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3982-11_0_4_line_43 | NAYY 4x150 SE | 37 | 39 | 0.02302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3982-11_0_4_line_44 | NAYY 4x150 SE | 38 | 40 | 0.0081055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3982-11_0_4_line_45 | NAYY 4x150 SE | 39 | 41 | 0.023499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3982-11_0_4_line_46 | NAYY 4x150 SE | 40 | 42 | 0.0064042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3982-11_0_4_line_47 | NAYY 4x150 SE | 41 | 43 | 0.015406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3982-11_0_4_line_48 | NAYY 4x150 SE | 42 | 44 | 0.01719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3982-11_0_4_line_49 | NAYY 4x150 SE | 44 | 57 | 0.010333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3982-11_0_4_line_50 | NAYY 4x150 SE | 44 | 53 | 0.0079293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3982-11_0_4_line_51 | NAYY 4x150 SE | 45 | 46 | 0.0092738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3982-11_0_4_line_52 | NAYY 4x150 SE | 46 | 48 | 0.012817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3982-11_0_4_line_53 | NAYY 4x150 SE | 47 | 68 | 0.0048116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3982-11_0_4_line_54 | NAYY 4x150 SE | 49 | 50 | 0.016768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_3982-11_0_4_line_55 | NAYY 4x150 SE | 49 | 51 | 0.0063364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_3982-11_0_4_line_56 | NAYY 4x150 SE | 51 | 52 | 0.0093969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3982-11_0_4_line_57 | NAYY 4x150 SE | 51 | 53 | 0.0056737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3982-11_0_4_line_58 | NAYY 4x150 SE | 52 | 54 | 0.013686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3982-11_0_4_line_59 | NAYY 4x150 SE | 54 | 56 | 0.0062498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3982-11_0_4_line_60 | NAYY 4x150 SE | 56 | 81 | 0.010848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3982-11_0_4_line_61 | NAYY 4x150 SE | 57 | 66 | 0.012654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3982-11_0_4_line_62 | NAYY 4x150 SE | 58 | 59 | 0.018531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3982-11_0_4_line_63 | NAYY 4x150 SE | 59 | 80 | 0.0082734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3982-11_0_4_line_64 | NAYY 4x150 SE | 59 | 70 | 0.0094191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3982-11_0_4_line_65 | NAYY 4x150 SE | 60 | 61 | 0.010925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3982-11_0_4_line_66 | NAYY 4x150 SE | 60 | 62 | 0.0029032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3982-11_0_4_line_67 | NAYY 4x150 SE | 61 | 63 | 0.012515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3982-11_0_4_line_68 | NAYY 4x150 SE | 62 | 64 | 0.003134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3982-11_0_4_line_69 | NAYY 4x150 SE | 63 | 65 | 0.018403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3982-11_0_4_line_70 | NAYY 4x150 SE | 64 | 66 | 0.01147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3982-11_0_4_line_71 | NAYY 4x150 SE | 65 | 67 | 0.013488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3982-11_0_4_line_72 | NAYY 4x150 SE | 67 | 69 | 0.0047399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3982-11_0_4_line_73 | NAYY 4x150 SE | 68 | 72 | 0.012362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3982-11_0_4_line_74 | NAYY 4x150 SE | 69 | 91 | 0.013952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3982-11_0_4_line_75 | NAYY 4x150 SE | 69 | 79 | 0.028561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3982-11_0_4_line_76 | NAYY 4x150 SE | 71 | 82 | 0.03022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3982-11_0_4_line_77 | NAYY 4x150 SE | 72 | 73 | 0.06232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3982-11_0_4_line_78 | NAYY 4x150 SE | 73 | 74 | 0.051538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3982-11_0_4_line_79 | NAYY 4x150 SE | 75 | 76 | 0.072605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3982-11_0_4_line_80 | NAYY 4x150 SE | 76 | 77 | 0.012747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3982-11_0_4_line_81 | NAYY 4x150 SE | 77 | 78 | 0.048996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3982-11_0_4_line_82 | NAYY 4x150 SE | 78 | 79 | 0.026211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3982-11_0_4_line_83 | NAYY 4x150 SE | 80 | 81 | 0.00044792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3982-11_0_4_line_84 | NAYY 4x150 SE | 82 | 83 | 0.019998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3982-11_0_4_line_85 | NAYY 4x150 SE | 83 | 86 | 0.017912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3982-11_0_4_line_86 | NAYY 4x150 SE | 84 | 85 | 0.0076517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3982-11_0_4_line_87 | NAYY 4x150 SE | 85 | 89 | 0.0092872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3982-11_0_4_line_88 | NAYY 4x150 SE | 86 | 90 | 0.025659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3982-11_0_4_line_89 | NAYY 4x150 SE | 87 | 88 | 0.044039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3982-11_0_4_line_90 | NAYY 4x150 SE | 88 | 89 | 0.0019474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3982-11_0_4_line_91 | NAYY 4x150 SE | 91 | 92 | 0.0016641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3982-11_0_4_trafo_30 | 0.25 MVA 20/0.4 kV | 93 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2706358.3123 | 1172459.0809 | 2706359.945 | 1172467.7908 | 2706361.5879 | 1172471.7781 | 2706363.8765 | 1172474.298 | 2706364.6317 | 1172474.7976
1 | 2706357.0864 | 1172452.5412 | 2706358.3123 | 1172459.0809
2 | 2706357.0864 | 1172452.5412 | 2706364.1553 | 1172454.2565 | 2706367.5777 | 1172454.962 | 2706370.9141 | 1172455.0402
3 | 2706357.0864 | 1172452.5412 | 2706350.2972 | 1172452.3097 | 2706350.1661 | 1172452.315
4 | 2706372.0071 | 1172455.013 | 2706371.4776 | 1172455.0534 | 2706370.9141 | 1172455.0402
5 | 2706342.0903 | 1172452.6424 | 2706350.1661 | 1172452.315
6 | 2706394.7214 | 1172451.0181 | 2706379.2913 | 1172454.4581 | 2706372.0071 | 1172455.013
7 | 2706342.0903 | 1172452.6424 | 2706336.788 | 1172458.726
8 | 2706342.0903 | 1172452.6424 | 2706337.9725 | 1172445.8538
9 | 2706394.7214 | 1172451.0181 | 2706393.0955 | 1172460.7401 | 2706392.9879 | 1172464.2183 | 2706393.4923 | 1172466.8401 | 2706395.0414 | 1172469.6471 | 2706395.3474 | 1172469.9563
10 | 2706394.7214 | 1172451.0181 | 2706407.9118 | 1172446.6156
11 | 2706330.6133 | 1172465.8106 | 2706336.788 | 1172458.726
12 | 2706337.9725 | 1172445.8538 | 2706334.3823 | 1172444.2559 | 2706331.1591 | 1172443.5317 | 2706321.211 | 1172443.1009
13 | 2706345.3944 | 1172330.1134 | 2706347.6397 | 1172323.4112 | 2706349.2388 | 1172319.9484 | 2706351.1132 | 1172316.4904 | 2706354.5041 | 1172311.6362 | 2706361.3348 | 1172302.7809
14 | 2706343.2778 | 1172336.4314 | 2706345.3944 | 1172330.1134
15 | 2706361.3348 | 1172302.7809 | 2706361.76 | 1172302.2296
16 | 2706343.2778 | 1172336.4314 | 2706341.5638 | 1172349.8321 | 2706341.1535 | 1172357.136
17 | 2706343.2778 | 1172336.4314 | 2706336.9427 | 1172331.7161 | 2706329.4409 | 1172327.7008
18 | 2706343.2778 | 1172336.4314 | 2706347.0888 | 1172341.1131 | 2706350.8488 | 1172343.926 | 2706356.3631 | 1172348.3266 | 2706357.6198 | 1172349.952
19 | 2706385.3658 | 1172275.3701 | 2706383.8921 | 1172275.6442 | 2706382.001 | 1172276.5891 | 2706380.6729 | 1172277.7108 | 2706361.76 | 1172302.2296
20 | 2706357.6198 | 1172349.952 | 2706358.6292 | 1172351.2575 | 2706360.7155 | 1172354.2018
21 | 2706385.3658 | 1172275.3701 | 2706387.9976 | 1172276.2285 | 2706389.8091 | 1172277.617 | 2706392.4863 | 1172280.2328 | 2706401.186 | 1172292.997
22 | 2706371.7822 | 1172371.8485 | 2706364.7568 | 1172359.9051 | 2706360.7155 | 1172354.2018
23 | 2706337.6218 | 1172386.2967 | 2706338.1701 | 1172384.6282 | 2706339.0796 | 1172380.0277
24 | 2706337.6218 | 1172386.2967 | 2706336.7388 | 1172388.9835 | 2706334.8363 | 1172394.0309 | 2706334.6174 | 1172396.4508 | 2706335.0808 | 1172399.2557
25 | 2706371.7822 | 1172371.8485 | 2706368.0178 | 1172380.0761 | 2706367.8717 | 1172380.4001
26 | 2706393.0081 | 1172383.8648 | 2706393.3702 | 1172383.6296
27 | 2706386.1557 | 1172388.314 | 2706393.0081 | 1172383.8648
28 | 2706393.3702 | 1172383.6296 | 2706399.4906 | 1172379.6557 | 2706408.4076 | 1172370.5609
29 | 2706386.1557 | 1172388.314 | 2706380.7936 | 1172391.2987 | 2706380.6193 | 1172391.3909
30 | 2706412.7666 | 1172366.1149 | 2706408.4076 | 1172370.5609
31 | 2706380.6193 | 1172391.3909 | 2706377.5702 | 1172393.0036
32 | 2706412.7666 | 1172366.1149 | 2706415.5949 | 1172363.2303 | 2706424.984 | 1172350.8463
33 | 2706397.166 | 1172413.2041 | 2706398.7968 | 1172417.4389
34 | 2706398.7968 | 1172417.4389 | 2706401.5328 | 1172424.5436 | 2706404.9819 | 1172436.4779
35 | 2706372.509 | 1172395.6456 | 2706372.7389 | 1172395.5588 | 2706377.5702 | 1172393.0036
36 | 2706363.7666 | 1172398.5018 | 2706364.9041 | 1172386.981 | 2706367.8717 | 1172380.4001
37 | 2706433.894 | 1172339.0943 | 2706424.984 | 1172350.8463
38 | 2706407.9118 | 1172446.6156 | 2706404.9819 | 1172436.4779
39 | 2706363.7666 | 1172398.5018 | 2706368.4644 | 1172397.173 | 2706372.509 | 1172395.6456
40 | 2706363.7666 | 1172398.5018 | 2706350.554 | 1172401.6047
41 | 2706363.7666 | 1172398.5018 | 2706362.0685 | 1172408.4116 | 2706358.8724 | 1172412.5514
42 | 2706260.0569 | 1172484.6989 | 2706264.5087 | 1172482.1104 | 2706272.3307 | 1172477.1567 | 2706274.0345 | 1172475.8512
43 | 2706260.0569 | 1172484.6989 | 2706249.9228 | 1172490.5912 | 2706239.4539 | 1172494.8371
44 | 2706274.0345 | 1172475.8512 | 2706280.4684 | 1172470.9212
45 | 2706239.4539 | 1172494.8371 | 2706217.6778 | 1172503.669
46 | 2706285.5518 | 1172467.026 | 2706280.4684 | 1172470.9212
47 | 2706217.6778 | 1172503.669 | 2706208.2366 | 1172507.4981 | 2706203.5068 | 1172509.7017
48 | 2706287.7742 | 1172450.9239 | 2706288.4525 | 1172462.7326 | 2706287.9058 | 1172464.6575 | 2706286.6548 | 1172466.1808 | 2706285.5518 | 1172467.026
49 | 2706287.7742 | 1172450.9239 | 2706283.9628 | 1172453.1802 | 2706279.8427 | 1172454.7193 | 2706278.366 | 1172455.0126
50 | 2706287.7742 | 1172450.9239 | 2706293.8096 | 1172445.7812
51 | 2706407.9118 | 1172446.6156 | 2706411.7179 | 1172445.9604 | 2706417.1037 | 1172445.4319
52 | 2706429.824 | 1172443.9292 | 2706426.7843 | 1172444.482 | 2706417.1037 | 1172445.4319
53 | 2706395.3474 | 1172469.9563 | 2706397.3711 | 1172472.0011 | 2706398.9555 | 1172473.1114
54 | 2706304.4586 | 1172442.3755 | 2706321.211 | 1172443.1009
55 | 2706298.1282 | 1172442.1014 | 2706304.4586 | 1172442.3755
56 | 2706298.1282 | 1172442.1014 | 2706305.2747 | 1172435.9998
57 | 2706298.1282 | 1172442.1014 | 2706293.8096 | 1172445.7812
58 | 2706315.0184 | 1172426.396 | 2706306.5483 | 1172434.9124 | 2706305.2747 | 1172435.9998
59 | 2706319.4256 | 1172421.9647 | 2706315.0184 | 1172426.396
60 | 2706327.0753 | 1172414.2731 | 2706319.4256 | 1172421.9647
61 | 2706265.8082 | 1172456.4761 | 2706275.6279 | 1172455.5564 | 2706278.366 | 1172455.0126
62 | 2706333.2254 | 1172408.0894 | 2706347.611 | 1172402.2959 | 2706350.554 | 1172401.6047
63 | 2706333.2254 | 1172408.0894 | 2706327.3912 | 1172413.9555
64 | 2706333.2254 | 1172408.0894 | 2706335.6676 | 1172402.8069 | 2706335.0808 | 1172399.2557
65 | 2706248.4317 | 1172458.4585 | 2706245.8151 | 1172459.0311 | 2706240.8387 | 1172460.9776 | 2706238.3266 | 1172462.433
66 | 2706251.2678 | 1172457.8379 | 2706251.2678 | 1172457.8379 | 2706248.4317 | 1172458.4585
67 | 2706227.4975 | 1172468.7068 | 2706238.3266 | 1172462.433
68 | 2706251.2678 | 1172457.8379 | 2706254.3882 | 1172457.5456
69 | 2706227.4975 | 1172468.7068 | 2706220.7268 | 1172472.6295 | 2706213.2777 | 1172476.4002 | 2706211.1745 | 1172477.1396
70 | 2706254.3882 | 1172457.5456 | 2706265.8082 | 1172456.4761
71 | 2706211.1745 | 1172477.1396 | 2706198.4504 | 1172481.6133
72 | 2706193.9788 | 1172483.1855 | 2706198.4504 | 1172481.6133
73 | 2706407.4699 | 1172481.8866 | 2706404.2464 | 1172477.3042 | 2706401.2777 | 1172474.7388 | 2706398.9555 | 1172473.1114
74 | 2706193.9788 | 1172483.1855 | 2706189.7604 | 1172484.6674 | 2706182.3039 | 1172490.5222
75 | 2706193.9788 | 1172483.1855 | 2706201.9862 | 1172455.7702
76 | 2706433.894 | 1172339.0943 | 2706447.8403 | 1172365.9043
77 | 2706407.4699 | 1172481.8866 | 2706376.674 | 1172536.0654
78 | 2706402.0416 | 1172580.9277 | 2706376.674 | 1172536.0654
79 | 2706247.0785 | 1172383.3592 | 2706201.9884 | 1172326.4531
80 | 2706244.6918 | 1172395.8808 | 2706244.6918 | 1172395.8808 | 2706247.0785 | 1172383.3592
81 | 2706244.6918 | 1172395.8808 | 2706211.2788 | 1172431.7166
82 | 2706201.9862 | 1172455.7702 | 2706207.9777 | 1172435.2571 | 2706211.2788 | 1172431.7166
83 | 2706327.3912 | 1172413.9555 | 2706327.0753 | 1172414.2731
84 | 2706457.0693 | 1172383.6458 | 2706447.8403 | 1172365.9043
85 | 2706465.3353 | 1172399.5359 | 2706457.0693 | 1172383.6458
86 | 2706330.6133 | 1172465.8106 | 2706327.9094 | 1172468.913 | 2706325.4456 | 1172471.4499
87 | 2706325.4456 | 1172471.4499 | 2706318.9752 | 1172478.1121
88 | 2706465.3353 | 1172399.5359 | 2706459.8696 | 1172403.1747 | 2706456.6622 | 1172406.3088 | 2706454.8331 | 1172408.9337 | 2706453.5156 | 1172411.6121 | 2706451.2013 | 1172419.7123
89 | 2706317.6184 | 1172479.5091 | 2706316.1898 | 1172480.9801 | 2706313.666 | 1172484.8268 | 2706311.5443 | 1172489.2922 | 2706310.2126 | 1172494.0718 | 2706309.1237 | 1172499.834 | 2706307.7569 | 1172502.2781 | 2706305.4909 | 1172504.5284 | 2706298.573 | 1172508.5419 | 2706295.7171 | 1172510.8373 | 2706295.1242 | 1172512.35 | 2706295.2941 | 1172514.6819
90 | 2706317.6184 | 1172479.5091 | 2706318.9752 | 1172478.1121
91 | 2706180.995 | 1172491.55 | 2706182.3039 | 1172490.5222

## bus_geodata
| x | y | coords
0 | 2706358.3123 | 1172459.0809
1 | 2706364.6317 | 1172474.7976
2 | 2706357.0864 | 1172452.5412
3 | 2706370.9141 | 1172455.0402
4 | 2706350.1661 | 1172452.315
5 | 2706372.0071 | 1172455.013
6 | 2706342.0903 | 1172452.6424
7 | 2706394.7214 | 1172451.0181
8 | 2706336.788 | 1172458.726
9 | 2706337.9725 | 1172445.8538
10 | 2706345.3944 | 1172330.1134
11 | 2706361.3348 | 1172302.7809
12 | 2706343.2778 | 1172336.4314
13 | 2706361.76 | 1172302.2296
14 | 2706341.1535 | 1172357.136
15 | 2706329.4409 | 1172327.7008
16 | 2706357.6198 | 1172349.952
17 | 2706385.3658 | 1172275.3701
18 | 2706360.7155 | 1172354.2018
19 | 2706401.186 | 1172292.997
20 | 2706339.0796 | 1172380.0277
21 | 2706337.6218 | 1172386.2967
22 | 2706371.7822 | 1172371.8485
23 | 2706393.0081 | 1172383.8648
24 | 2706393.3702 | 1172383.6296
25 | 2706386.1557 | 1172388.314
26 | 2706408.4076 | 1172370.5609
27 | 2706380.6193 | 1172391.3909
28 | 2706412.7666 | 1172366.1149
29 | 2706397.166 | 1172413.2041
30 | 2706398.7968 | 1172417.4389
31 | 2706377.5702 | 1172393.0035
32 | 2706367.8717 | 1172380.4001
33 | 2706424.984 | 1172350.8463
34 | 2706404.9819 | 1172436.4779
35 | 2706372.509 | 1172395.6456
36 | 2706363.7666 | 1172398.5018
37 | 2706260.0569 | 1172484.6989
38 | 2706274.0345 | 1172475.8512
39 | 2706239.4539 | 1172494.8371
40 | 2706280.4684 | 1172470.9212
41 | 2706217.6778 | 1172503.669
42 | 2706285.5518 | 1172467.026
43 | 2706203.5068 | 1172509.7017
44 | 2706287.7742 | 1172450.9239
45 | 2706407.9118 | 1172446.6156
46 | 2706417.1037 | 1172445.4319
47 | 2706395.3474 | 1172469.9563
48 | 2706429.824 | 1172443.9292
49 | 2706304.4586 | 1172442.3755
50 | 2706321.211 | 1172443.1009
51 | 2706298.1282 | 1172442.1014
52 | 2706305.2747 | 1172435.9998
53 | 2706293.8096 | 1172445.7812
54 | 2706315.0184 | 1172426.396
55 | 2706358.8724 | 1172412.5514
56 | 2706319.4256 | 1172421.9647
57 | 2706278.366 | 1172455.0126
58 | 2706350.554 | 1172401.6047
59 | 2706333.2254 | 1172408.0894
60 | 2706248.4317 | 1172458.4585
61 | 2706238.3266 | 1172462.433
62 | 2706251.2678 | 1172457.8379
63 | 2706227.4975 | 1172468.7068
64 | 2706254.3882 | 1172457.5456
65 | 2706211.1745 | 1172477.1396
66 | 2706265.8082 | 1172456.4761
67 | 2706198.4504 | 1172481.6133
68 | 2706398.9555 | 1172473.1114
69 | 2706193.9788 | 1172483.1855
70 | 2706335.0808 | 1172399.2557
71 | 2706433.894 | 1172339.0943
72 | 2706407.4699 | 1172481.8866
73 | 2706376.674 | 1172536.0654
74 | 2706402.0416 | 1172580.9277
75 | 2706201.9884 | 1172326.4531
76 | 2706247.0785 | 1172383.3592
77 | 2706244.6918 | 1172395.8808
78 | 2706211.2788 | 1172431.7166
79 | 2706201.9862 | 1172455.7702
80 | 2706327.3912 | 1172413.9555
81 | 2706327.0753 | 1172414.2731
82 | 2706447.8403 | 1172365.9043
83 | 2706457.0693 | 1172383.6458
84 | 2706330.6133 | 1172465.8106
85 | 2706325.4456 | 1172471.4499
86 | 2706465.3352 | 1172399.5359
87 | 2706295.2941 | 1172514.6819
88 | 2706317.6184 | 1172479.5091
89 | 2706318.9752 | 1172478.1121
90 | 2706451.2013 | 1172419.7123
91 | 2706182.3039 | 1172490.5222
92 | 2706180.995 | 1172491.55
93 | 2706342.0903 | 1172452.6424

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1