## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3982-19_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3982-19_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3982-19_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3982-19_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3982-19_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3982-19_0_2_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_3982-19_0_2_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_3982-19_0_2_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_3982-19_0_2_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_3982-19_0_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_3982-19_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3982-19_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3982-19_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3982-19_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3982-19_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3982-19_0_2_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_3982-19_0_2_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_3982-19_0_2_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_3982-19_0_2_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_3982-19_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3982-19_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3982-19_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3982-19_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3982-19_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_3982-19_0_2_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_3982-19_0_2_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_3982-19_0_2_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_3982-19_0_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_3982-19_0_2_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3982-19_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3982-19_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3982-19_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3982-19_0_2_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_3982-19_0_2_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_3982-19_0_2_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_3982-19_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_3982-19_0_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3982-19_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_MV_180_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3982-19_0_2_load_0 | 0 | 0.0028015 | 0.00070213 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3982-19_0_2_load_1 | 1 | 0.0063341 | 0.0015875 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3982-19_0_2_load_2 | 2 | 0.0046282 | 0.0011599 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3982-19_0_2_load_3 | 3 | 0.0035979 | 0.00090172 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3982-19_0_2_load_4 | 4 | 0.0021919 | 0.00054934 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3982-19_0_2_load_22 | 8 | 0.005515 | 0.0013822 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3982-19_0_2_load_18 | 9 | 0.0063174 | 0.0015833 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3982-19_0_2_load_5 | 10 | 0.0041284 | 0.0010347 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3982-19_0_2_load_6 | 11 | 0.0059906 | 0.0015014 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3982-19_0_2_load_7 | 12 | 0.0024227 | 0.0006072 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3982-19_0_2_load_8 | 13 | 0.0033912 | 0.00084993 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3982-19_0_2_load_9 | 14 | 0.004706 | 0.0011794 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3982-19_0_2_load_37 | 15 | 0.0033892 | 0.00084941 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3982-19_0_2_load_23 | 16 | 0.0054623 | 0.001369 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3982-19_0_2_load_39 | 17 | 0.0045991 | 0.0011526 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3982-19_0_2_load_27 | 18 | 0.0029111 | 0.00072959 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3982-19_0_2_load_10 | 19 | 0.0017409 | 0.00043632 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3982-19_0_2_load_11 | 20 | 0.0010113 | 0.00025346 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3982-19_0_2_load_12 | 21 | 0.0014883 | 0.00037301 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3982-19_0_2_load_13 | 22 | 0.0015669 | 0.00039269 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3982-19_0_2_load_14 | 23 | 0.0019445 | 0.00048733 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3982-19_0_2_load_36 | 24 | 0.0011864 | 0.00029733 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3982-19_0_2_load_30 | 25 | 0.0055144 | 0.001382 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3982-19_0_2_load_29 | 27 | 0.0017471 | 0.00043787 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3982-19_0_2_load_15 | 28 | 0.0021145 | 0.00052994 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3982-19_0_2_load_16 | 29 | 0.0061388 | 0.0015385 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3982-19_0_2_load_24 | 30 | 0.0093715 | 0.0023487 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3982-19_0_2_load_25 | 31 | 0.0040439 | 0.0010135 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3982-19_0_2_load_19 | 32 | 0.0061063 | 0.0015304 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3982-19_0_2_load_21 | 33 | 0.0057374 | 0.0014379 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3982-19_0_2_load_38 | 34 | 0.0046626 | 0.0011686 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3982-19_0_2_load_28 | 35 | 0.0028137 | 0.00070517 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3982-19_0_2_load_31 | 36 | 0.0010794 | 0.00027051 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3982-19_0_2_load_34 | 37 | 0.00087471 | 0.00021922 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3982-19_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3982-19_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.00048036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3982-19_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.10358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3982-19_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3982-19_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.12058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3982-19_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.013019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3982-19_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.091716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3982-19_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.017382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3982-19_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0054817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3982-19_0_2_line_9 | NAYY 4x150 SE | 7 | 30 | 0.13556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3982-19_0_2_line_10 | NAYY 4x150 SE | 7 | 29 | 0.18179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3982-19_0_2_line_11 | NAYY 4x150 SE | 8 | 27 | 0.0018634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3982-19_0_2_line_12 | NAYY 4x150 SE | 9 | 32 | 0.020047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3982-19_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.010722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3982-19_0_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.021715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3982-19_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.0089119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3982-19_0_2_line_16 | NAYY 4x150 SE | 12 | 14 | 0.00061137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3982-19_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.00077127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3982-19_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.021715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3982-19_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.015177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3982-19_0_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.017736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3982-19_0_2_line_21 | NAYY 4x150 SE | 17 | 34 | 0.026928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3982-19_0_2_line_22 | NAYY 4x150 SE | 18 | 35 | 0.020398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3982-19_0_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.0022242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3982-19_0_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.0082994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3982-19_0_2_line_25 | NAYY 4x150 SE | 20 | 22 | 0.018751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3982-19_0_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.0016359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3982-19_0_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.014418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3982-19_0_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.015151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3982-19_0_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.014696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3982-19_0_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.00064659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3982-19_0_2_line_31 | NAYY 4x150 SE | 26 | 37 | 0.015696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3982-19_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.28653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3982-19_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.36032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3982-19_0_2_line_34 | NAYY 4x150 SE | 31 | 36 | 0.22652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3982-19_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0076602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3982-19_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.034814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3982-19_0_2_trafo_1 | 0.25 MVA 20/0.4 kV | 38 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36
0 | 2709169.7854 | 1174205.1497 | 2709163.3948 | 1174199.4608 | 2709156.3311 | 1174194.9405
1 | 2709170.1442 | 1174205.4691 | 2709169.7854 | 1174205.1497
2 | 2709094.6003 | 1174114.5608 | 2709101.987 | 1174128.497 | 2709126.1207 | 1174170.7417 | 2709135.0789 | 1174181.5451 | 2709147.6398 | 1174189.3787 | 2709156.3311 | 1174194.9405
3 | 2709182.4097 | 1174222.9825 | 2709176.5746 | 1174212.7872 | 2709174.9771 | 1174210.212 | 2709173.2766 | 1174208.2575 | 2709170.1442 | 1174205.4691
4 | 2709023.479 | 1174019.0865 | 2709023.7785 | 1174023.228 | 2709024.8042 | 1174027.3938 | 2709026.2486 | 1174030.8224 | 2709029.1936 | 1174035.4234 | 2709034.7333 | 1174042.0284 | 2709073.3097 | 1174084.1574 | 2709090.1929 | 1174106.2456 | 2709094.6003 | 1174114.5608
5 | 2709189.0955 | 1174234.1515 | 2709185.3137 | 1174228.0564 | 2709182.4097 | 1174222.9825
6 | 2709023.479 | 1174019.0865 | 2709023.8187 | 1174015.9683 | 2709024.7853 | 1174012.4391 | 2709026.2991 | 1174008.6863 | 2709037.0376 | 1173988.8904 | 2709086.9908 | 1174019.0514
7 | 2709189.0955 | 1174234.1515 | 2709191.8208 | 1174237.3699 | 2709196.6109 | 1174241.015 | 2709202.6259 | 1174244.8715
8 | 2709189.0955 | 1174234.1515 | 2709185.4189 | 1174235.719 | 2709183.955 | 1174235.4699 | 2709183.955 | 1174235.4699
9 | 2709086.9908 | 1174019.0514 | 2709090.5053 | 1174013.7895 | 2709094.2456 | 1174009.9883 | 2709096.8604 | 1174007.9345 | 2709098.6797 | 1174007.1448 | 2709101.8403 | 1174007.0466 | 2709105.0824 | 1174007.5058 | 2709108.2324 | 1174008.8306 | 2709111.0068 | 1174010.6156 | 2709114.3033 | 1174013.5553 | 2709129.589 | 1174026.7642 | 2709134.7451 | 1174030.0601 | 2709139.1531 | 1174032.0193 | 2709144.1013 | 1174033.7104 | 2709154.1474 | 1174036.0169 | 2709205.4691 | 1174043.8889 | 2709207.86 | 1174044.2555
10 | 2709086.9908 | 1174019.0514 | 2709230.8459 | 1174106.8927 | 2709241.7314 | 1174114.4176
11 | 2709204.1945 | 1174245.8773 | 2709202.6259 | 1174244.8715
12 | 2709168.2897 | 1174223.0405 | 2709171.3632 | 1174225.1451 | 2709175.2069 | 1174228.2616 | 2709179.8522 | 1174232.3043 | 2709182.2969 | 1174234.5503 | 2709183.955 | 1174235.4699
13 | 2709080.2545 | 1174166.2459 | 2709088.658 | 1174172.9044
14 | 2709080.2545 | 1174166.2459 | 2709074.0404 | 1174161.3221 | 2709062.4034 | 1174153.9288
15 | 2709088.658 | 1174172.9044 | 2709095.6429 | 1174178.439
16 | 2709061.8874 | 1174153.6009 | 2709062.4034 | 1174153.9288
17 | 2709095.6429 | 1174178.439 | 2709096.2474 | 1174178.918
18 | 2709061.8874 | 1174153.6009 | 2709043.5587 | 1174141.9562
19 | 2709096.2474 | 1174178.918 | 2709102.7355 | 1174184.0588 | 2709108.6137 | 1174187.6712
20 | 2709043.5587 | 1174141.9562 | 2709039.2156 | 1174139.1969 | 2709028.4751 | 1174132.6272
21 | 2709108.6137 | 1174187.6712 | 2709131.5563 | 1174201.7701
22 | 2709011.0742 | 1174121.9837 | 2709028.4751 | 1174132.6272
23 | 2709226.991 | 1174257.69 | 2709228.8876 | 1174258.852
24 | 2709219.3783 | 1174254.3842 | 2709226.991 | 1174257.69 | 2709226.991 | 1174257.69
25 | 2709235 | 1174276.2252 | 2709232.2856 | 1174264.2907 | 2709231.171 | 1174261.6576 | 2709230.3173 | 1174260.2411 | 2709229.0483 | 1174258.9505 | 2709228.8876 | 1174258.852
26 | 2709219.3783 | 1174254.3842 | 2709217.8778 | 1174253.7326
27 | 2709235 | 1174276.2252 | 2709235.4649 | 1174278.269 | 2709236.4943 | 1174286.8379 | 2709236.5522 | 1174290.529
28 | 2709204.7389 | 1174246.2263 | 2709211.05 | 1174250.2727 | 2709217.8778 | 1174253.7326 | 2709217.8778 | 1174253.7326
29 | 2709237.7067 | 1174305.0944 | 2709237.1434 | 1174303.2718 | 2709236.5119 | 1174298.8908 | 2709236.5792 | 1174292.2542 | 2709236.5522 | 1174290.529
30 | 2709204.1945 | 1174245.8773 | 2709204.7389 | 1174246.2263
31 | 2709237.7067 | 1174305.0944 | 2709231.5036 | 1174319.5132
32 | 2709454.5976 | 1174294.7302 | 2709451.9117 | 1174291.9656 | 2709446.3701 | 1174286.761 | 2709440.0178 | 1174281.564 | 2709435.6499 | 1174278.2599 | 2709430.7855 | 1174274.9245 | 2709425.7292 | 1174272.0415 | 2709420.6381 | 1174269.3914 | 2709414.6918 | 1174266.6701 | 2709404.2692 | 1174262.8109 | 2709384.2161 | 1174256.1076 | 2709375.4331 | 1174252.9232 | 2709368.2586 | 1174250.0238 | 2709361.2156 | 1174246.6266 | 2709354.3801 | 1174242.755 | 2709349.193 | 1174239.4917 | 2709342.8841 | 1174234.8403 | 2709337.2148 | 1174229.9226 | 2709331.2647 | 1174224.0437 | 2709325.4166 | 1174217.1881 | 2709319.4609 | 1174209.519 | 2709312.7362 | 1174199.979 | 2709290.6941 | 1174165.1655 | 2709285.7187 | 1174157.8367 | 2709280.7214 | 1174151.2858 | 2709274.0669 | 1174143.3482 | 2709266.9028 | 1174135.6682 | 2709260.1855 | 1174129.0749 | 2709252.9551 | 1174122.9392 | 2709243.6483 | 1174115.7427 | 2709241.7314 | 1174114.4176
33 | 2709475.6484 | 1174101.8491 | 2709468.7972 | 1174101.346 | 2709461.3156 | 1174101.8544 | 2709453.9641 | 1174103.199 | 2709447.2743 | 1174105.1672 | 2709440.9393 | 1174108.2316 | 2709434.0407 | 1174112.4197 | 2709428.4393 | 1174116.776 | 2709424.2591 | 1174121.2028 | 2709420.5506 | 1174125.7716 | 2709415.8394 | 1174133.313 | 2709403.3317 | 1174154.8661 | 2709399.3864 | 1174160.2533 | 2709396.3013 | 1174162.9322 | 2709392.2132 | 1174165.2481 | 2709388.2619 | 1174166.7772 | 2709383.8436 | 1174167.486 | 2709379.9002 | 1174167.3251 | 2709375.4238 | 1174166.6098 | 2709370.5506 | 1174164.5863 | 2709366.1981 | 1174161.6939 | 2709362.4744 | 1174157.868 | 2709359.4833 | 1174153.2882 | 2709356.3424 | 1174145.6036 | 2709351.7043 | 1174126.9066 | 2709343.9189 | 1174102.971 | 2709340.7444 | 1174095.4415 | 2709337.0713 | 1174089.2594 | 2709332.3258 | 1174082.7463 | 2709327.2324 | 1174077.2721 | 2709321.3849 | 1174072.051 | 2709315.6769 | 1174067.9888 | 2709308.6198 | 1174064.091 | 2709301.4505 | 1174060.8917 | 2709292.8565 | 1174058.2334 | 2709279.8774 | 1174055.2952 | 2709207.86 | 1174044.2555
34 | 2709475.6484 | 1174101.8491 | 2709509.2212 | 1173877.8288
35 | 2709161.5432 | 1174219.4223 | 2709167.6769 | 1174222.6208 | 2709168.2897 | 1174223.0405
36 | 2709161.5432 | 1174219.4223 | 2709153.2065 | 1174215.0749 | 2709131.5563 | 1174201.7701

## bus_geodata
| x | y | coords
0 | 2709169.7854 | 1174205.1497
1 | 2709156.3311 | 1174194.9405
2 | 2709170.1442 | 1174205.4691
3 | 2709094.6003 | 1174114.5608
4 | 2709182.4097 | 1174222.9825
5 | 2709023.479 | 1174019.0865
6 | 2709189.0955 | 1174234.1515
7 | 2709086.9908 | 1174019.0514
8 | 2709202.6259 | 1174244.8715
9 | 2709183.955 | 1174235.4699
10 | 2709080.2545 | 1174166.2459
11 | 2709088.658 | 1174172.9044
12 | 2709062.4034 | 1174153.9288
13 | 2709095.6429 | 1174178.439
14 | 2709061.8874 | 1174153.6009
15 | 2709096.2474 | 1174178.918
16 | 2709043.5587 | 1174141.9562
17 | 2709108.6137 | 1174187.6712
18 | 2709028.4751 | 1174132.6272
19 | 2709226.991 | 1174257.69
20 | 2709228.8876 | 1174258.852
21 | 2709219.3783 | 1174254.3842
22 | 2709235 | 1174276.2252
23 | 2709217.8778 | 1174253.7326
24 | 2709236.5522 | 1174290.529
25 | 2709204.7389 | 1174246.2263
26 | 2709237.7067 | 1174305.0944
27 | 2709204.1945 | 1174245.8773
28 | 2709454.5976 | 1174294.7302
29 | 2709241.7314 | 1174114.4176
30 | 2709207.86 | 1174044.2555
31 | 2709475.6484 | 1174101.8491
32 | 2709168.2897 | 1174223.0405
33 | 2709161.5432 | 1174219.4223
34 | 2709131.5563 | 1174201.7701
35 | 2709011.0742 | 1174121.9837
36 | 2709509.2212 | 1173877.8288
37 | 2709231.5036 | 1174319.5132
38 | 2709189.0955 | 1174234.1515

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1