## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3982-26_1_3_node_22 | 0.4 | n |  | TRUE
1 | bus_LV_3982-26_1_3_node_36 | 0.4 | n |  | TRUE
2 | bus_LV_3982-26_1_3_node_31 | 0.4 | n |  | TRUE
3 | bus_LV_3982-26_1_3_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_3982-26_1_3_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_3982-26_1_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3982-26_1_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3982-26_1_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3982-26_1_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_3982-26_1_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3982-26_1_3_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_3982-26_1_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_3982-26_1_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_3982-26_1_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_3982-26_1_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_3982-26_1_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3982-26_1_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3982-26_1_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3982-26_1_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_3982-26_1_3_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_3982-26_1_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_3982-26_1_3_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_3982-26_1_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_3982-26_1_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_3982-26_1_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_3982-26_1_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_3982-26_1_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_3982-26_1_3_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_3982-26_1_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_3982-26_1_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_3982-26_1_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_3982-26_1_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_3982-26_1_3_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_3982-26_1_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_3982-26_1_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_3982-26_1_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_3982-26_1_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_3982-26_1_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_3982-26_1_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_3982-26_1_3_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_3982-26_1_3_node_56 | 0.4 | n |  | TRUE
41 | bus_MV_180_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3982-26_1_3_load_36 | 1 | 0.0009597 | 0.00024052 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3982-26_1_3_load_31 | 2 | 0.0014338 | 0.00035934 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3982-26_1_3_load_20 | 3 | 0.0029894 | 0.00074921 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3982-26_1_3_load_7 | 5 | 0.0040053 | 0.0010038 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3982-26_1_3_load_8 | 6 | 0.0046221 | 0.0011584 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3982-26_1_3_load_9 | 7 | 0.0036551 | 0.00091606 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3982-26_1_3_load_10 | 8 | 0.0041258 | 0.001034 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3982-26_1_3_load_11 | 9 | 0.004615 | 0.0011566 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3982-26_1_3_load_17 | 11 | 0.0042707 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3982-26_1_3_load_33 | 12 | 0.0045409 | 0.0011381 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3982-26_1_3_load_18 | 14 | 0.0047424 | 0.0011886 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3982-26_1_3_load_12 | 15 | 0.017465 | 0.0043771 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3982-26_1_3_load_13 | 16 | 0.012897 | 0.0032322 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3982-26_1_3_load_26 | 18 | 0.0016228 | 0.00040672 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3982-26_1_3_load_27 | 19 | 0.00045576 | 0.00011422 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3982-26_1_3_load_28 | 20 | 0.0085447 | 0.0021415 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3982-26_1_3_load_30 | 21 | 0.0010093 | 0.00025296 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3982-26_1_3_load_19 | 22 | 0.0049473 | 0.0012399 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3982-26_1_3_load_25 | 23 | 0.0043106 | 0.0010803 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3982-26_1_3_load_37 | 26 | 0.0013656 | 0.00034225 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3982-26_1_3_load_54 | 27 | 0.00093072 | 0.00023326 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3982-26_1_3_load_39 | 28 | 0.0032399 | 0.000812 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3982-26_1_3_load_29 | 29 | 0.01249 | 0.0031304 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3982-26_1_3_load_35 | 30 | 0.0041796 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3982-26_1_3_load_50 | 31 | 0.0041319 | 0.0010356 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3982-26_1_3_load_55 | 33 | 0.00090518 | 0.00022686 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3982-26_1_3_load_43 | 35 | 0.0016095 | 0.00040337 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3982-26_1_3_load_45 | 36 | 0.0026674 | 0.00066852 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3982-26_1_3_load_46 | 37 | 0.004498 | 0.0011273 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3982-26_1_3_load_47 | 38 | 0.0043069 | 0.0010794 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3982-26_1_3_load_48 | 39 | 0.0037439 | 0.0009383 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3982-26_1_3_load_56 | 40 | 0.0082192 | 0.0020599 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3982-26_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3982-26_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3982-26_1_3_line_2 | NAYY 4x150 SE | 1 | 27 | 0.022369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3982-26_1_3_line_3 | NAYY 4x150 SE | 2 | 21 | 0.077749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3982-26_1_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.052984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3982-26_1_3_line_5 | NAYY 4x150 SE | 4 | 25 | 0.059215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3982-26_1_3_line_6 | NAYY 4x150 SE | 4 | 24 | 0.015083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3982-26_1_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.0013551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3982-26_1_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.022257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3982-26_1_3_line_9 | NAYY 4x150 SE | 6 | 8 | 0.022774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3982-26_1_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.00055961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3982-26_1_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.023196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3982-26_1_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.023174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3982-26_1_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.013487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3982-26_1_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.043624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3982-26_1_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.002151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3982-26_1_3_line_16 | NAYY 4x150 SE | 12 | 30 | 0.0045148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3982-26_1_3_line_17 | NAYY 4x150 SE | 13 | 31 | 0.027605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3982-26_1_3_line_18 | NAYY 4x150 SE | 14 | 22 | 0.01657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3982-26_1_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.0030307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3982-26_1_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.013678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3982-26_1_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.004617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3982-26_1_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.015384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3982-26_1_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.024463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3982-26_1_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.041155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3982-26_1_3_line_25 | NAYY 4x150 SE | 20 | 29 | 0.0071484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3982-26_1_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.011181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3982-26_1_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.013499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3982-26_1_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0057412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3982-26_1_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.062894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3982-26_1_3_line_30 | NAYY 4x150 SE | 27 | 33 | 0.051382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3982-26_1_3_line_31 | NAYY 4x150 SE | 28 | 34 | 0.0084332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3982-26_1_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.023025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3982-26_1_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.03298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3982-26_1_3_line_34 | NAYY 4x150 SE | 32 | 38 | 0.0067224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3982-26_1_3_line_35 | NAYY 4x150 SE | 33 | 40 | 0.043659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3982-26_1_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.035541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3982-26_1_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.021132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3982-26_1_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.031014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3982-26_1_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.0082191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3982-26_1_3_trafo_32 | 0.25 MVA 20/0.4 kV | 41 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2707112.964 | 1173003.7643 | 2707118.3166 | 1173002.5923 | 2707122.1222 | 1173001.0926 | 2707125.9222 | 1172998.1918 | 2707128.797 | 1172995.2745 | 2707139.9524 | 1172980.7056
1 | 2707112.964 | 1173003.7643 | 2707116.1448 | 1172993.1251 | 2707120.4759 | 1172983.6183 | 2707124.3716 | 1172976.2163 | 2707128.868 | 1172969.4476 | 2707136.2252 | 1172960.5396 | 2707139.2363 | 1172956.6684
2 | 2707139.9524 | 1172980.7056 | 2707147.4923 | 1172970.8586 | 2707154.1526 | 1172963.4443
3 | 2707139.2363 | 1172956.6684 | 2707142.52 | 1172952.4466 | 2707145.5211 | 1172947.1634 | 2707147.0388 | 1172941.8536 | 2707147.4162 | 1172933.9996 | 2707146.8173 | 1172927.6959 | 2707144.3619 | 1172920.8364 | 2707141.1483 | 1172915.7424 | 2707136.2176 | 1172911.2736 | 2707131.0464 | 1172908.2794 | 2707123.9136 | 1172906.3286 | 2707116.5304 | 1172905.9744 | 2707110.7299 | 1172906.9494
4 | 2707075.6389 | 1173174.9671 | 2707076.9977 | 1173175.9809 | 2707081.2702 | 1173177.4581 | 2707087.4632 | 1173178.0467 | 2707110.5592 | 1173176.1686 | 2707115.407 | 1173176.6999 | 2707119.6595 | 1173178.0099 | 2707124.5335 | 1173180.4985 | 2707126.717 | 1173181.8657
5 | 2707082.3541 | 1173219.583 | 2707083.812 | 1173216.3291 | 2707085.5249 | 1173203.9292 | 2707091.5455 | 1173201.3238 | 2707093.5038 | 1173199.602 | 2707094.0642 | 1173197.7775 | 2707094.0098 | 1173196.1087 | 2707092.8239 | 1173193.5525 | 2707090.5018 | 1173190.7982 | 2707086.5111 | 1173188.103 | 2707080.0629 | 1173185.0971 | 2707077.6381 | 1173183.3861 | 2707075.8357 | 1173181.0857 | 2707075.3378 | 1173179.4091 | 2707075.6389 | 1173174.9671
6 | 2707066.7933 | 1173163.1348 | 2707068.5716 | 1173167.6473 | 2707072.7477 | 1173172.8141 | 2707075.6389 | 1173174.9671
7 | 2707073.9033 | 1173075.1501 | 2707073.8438 | 1173073.7963
8 | 2707073.9033 | 1173075.1501 | 2707074.2992 | 1173084.161 | 2707075.027 | 1173097.378
9 | 2707071.5121 | 1173051.1689 | 2707073.4397 | 1173064.5994 | 2707073.8438 | 1173073.7963
10 | 2707075.027 | 1173097.378 | 2707075.0577 | 1173097.9368
11 | 2707065.5471 | 1173028.9351 | 2707069.0353 | 1173036.6468 | 2707071.283 | 1173049.5732 | 2707071.5121 | 1173051.1689
12 | 2707075.6904 | 1173121.0768 | 2707076.0034 | 1173115.1118 | 2707075.0577 | 1173097.9368
13 | 2707065.5471 | 1173028.9351 | 2707070.4768 | 1173016.3808
14 | 2707027.9119 | 1173035.3683 | 2707032.8388 | 1173038.7584 | 2707039.1497 | 1173041.3281 | 2707045.0574 | 1173041.6226 | 2707051.6109 | 1173040.4497 | 2707056.0688 | 1173038.4057 | 2707059.4901 | 1173035.7205 | 2707065.5471 | 1173028.9351
15 | 2707075.2916 | 1173123.1906 | 2707075.6904 | 1173121.0768 | 2707075.6904 | 1173121.0768
16 | 2707072.127 | 1173012.1785 | 2707070.4768 | 1173016.3808
17 | 2707027.9119 | 1173035.3683 | 2707009.59 | 1173056.0159
18 | 2707075.2916 | 1173123.1906 | 2707074.4316 | 1173127.7477 | 2707070.7146 | 1173139.0868
19 | 2707069.5554 | 1172950.7917 | 2707072.5058 | 1172951.4851
20 | 2707085.8212 | 1172954.6143 | 2707072.5058 | 1172951.4851
21 | 2707085.8212 | 1172954.6143 | 2707084.8413 | 1172959.1261
22 | 2707085.8212 | 1172954.6143 | 2707089.0395 | 1172940.1621 | 2707089.2034 | 1172939.6082
23 | 2707079.6495 | 1172983.0317 | 2707084.8413 | 1172959.1261
24 | 2707110.7299 | 1172906.9494 | 2707110.7299 | 1172906.9494 | 2707105.2148 | 1172909.5082 | 2707100.8073 | 1172913.0097 | 2707097.1227 | 1172917.1578 | 2707094.2415 | 1172922.5766 | 2707089.2034 | 1172939.6082
25 | 2707078.1323 | 1172990.0172 | 2707079.6495 | 1172983.0317
26 | 2707067.2318 | 1173149.7116 | 2707067.2318 | 1173149.7116 | 2707070.7146 | 1173139.0868
27 | 2707066.7933 | 1173163.1348 | 2707066.3091 | 1173157.2668 | 2707067.2318 | 1173149.7116
28 | 2707082.3541 | 1173219.583 | 2707076.7472 | 1173220.8174
29 | 2707076.7472 | 1173220.8174 | 2707071.4544 | 1173283.4888
30 | 2707154.1526 | 1172963.4443 | 2707167.3786 | 1172948.7212 | 2707170.5842 | 1172941.418 | 2707171.9615 | 1172933.2594 | 2707172.1368 | 1172923.445 | 2707170.5269 | 1172918.1594
31 | 2707079.1 | 1173287.0473 | 2707071.4544 | 1173283.4888
32 | 2707072.127 | 1173012.1785 | 2707074.7948 | 1173005.3845 | 2707078.1323 | 1172990.0172
33 | 2706992.891 | 1173083.9428 | 2706994.1299 | 1173079.6732 | 2706998.0569 | 1173070.5038 | 2707002.0964 | 1173064.4607 | 2707009.59 | 1173056.0159
34 | 2706992.891 | 1173083.9428 | 2706992.534 | 1173088.9509 | 2706992.5447 | 1173090.6525
35 | 2707142.2398 | 1172885.8866 | 2707155.7992 | 1172896.3577 | 2707163.2391 | 1172904.6738 | 2707170.0052 | 1172916.4467 | 2707170.5269 | 1172918.1594
36 | 2707112.1672 | 1173299.4676 | 2707106.6925 | 1173298.9251 | 2707099.9297 | 1173296.8364 | 2707092.4234 | 1173293.9784 | 2707079.1 | 1173287.0473
37 | 2706992.74 | 1173121.6661 | 2706992.8055 | 1173132.062 | 2706993.1514 | 1173142.7928
38 | 2706992.74 | 1173121.6661 | 2706992.5447 | 1173090.6525
39 | 2706993.4161 | 1173151.0076 | 2706993.1514 | 1173142.7928

## bus_geodata
| x | y | coords
0 | 2707112.964 | 1173003.7643
1 | 2707139.9524 | 1172980.7056
2 | 2707139.2363 | 1172956.6684
3 | 2707126.717 | 1173181.8657
4 | 2707075.6389 | 1173174.9671
5 | 2707073.9033 | 1173075.1501
6 | 2707073.8438 | 1173073.7963
7 | 2707075.027 | 1173097.378
8 | 2707071.5121 | 1173051.1689
9 | 2707075.0577 | 1173097.9368
10 | 2707065.5471 | 1173028.9351
11 | 2707075.6904 | 1173121.0768
12 | 2707070.4768 | 1173016.3808
13 | 2707027.9119 | 1173035.3683
14 | 2707075.2916 | 1173123.1906
15 | 2707069.5554 | 1172950.7917
16 | 2707072.5058 | 1172951.4851
17 | 2707085.8212 | 1172954.6143
18 | 2707084.8413 | 1172959.1261
19 | 2707089.2034 | 1172939.6082
20 | 2707079.6495 | 1172983.0317
21 | 2707110.7299 | 1172906.9494
22 | 2707070.7146 | 1173139.0868
23 | 2707067.2318 | 1173149.7116
24 | 2707066.7933 | 1173163.1348
25 | 2707082.3541 | 1173219.583
26 | 2707076.7472 | 1173220.8175
27 | 2707154.1526 | 1172963.4443
28 | 2707071.4544 | 1173283.4888
29 | 2707078.1323 | 1172990.0172
30 | 2707072.127 | 1173012.1785
31 | 2707009.59 | 1173056.0159
32 | 2706992.891 | 1173083.9428
33 | 2707170.5269 | 1172918.1594
34 | 2707079.1 | 1173287.0473
35 | 2707112.1672 | 1173299.4676
36 | 2706992.74 | 1173121.6661
37 | 2706993.1514 | 1173142.7928
38 | 2706992.5447 | 1173090.6525
39 | 2706993.4161 | 1173151.0076
40 | 2707142.2398 | 1172885.8866
41 | 2707027.9119 | 1173035.3683

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1