## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3982-28_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3982-28_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3982-28_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3982-28_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3982-28_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3982-28_0_3_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_3982-28_0_3_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_3982-28_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3982-28_0_3_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_3982-28_0_3_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_3982-28_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_3982-28_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3982-28_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3982-28_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3982-28_0_3_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_3982-28_0_3_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_3982-28_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3982-28_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3982-28_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3982-28_0_3_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_3982-28_0_3_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_3982-28_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3982-28_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3982-28_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3982-28_0_3_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_3982-28_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3982-28_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3982-28_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_3982-28_0_3_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_3982-28_0_3_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_3982-28_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_3982-28_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_3982-28_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3982-28_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3982-28_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_3982-28_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_3982-28_0_3_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_3982-28_0_3_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_3982-28_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_3982-28_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3982-28_0_3_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_3982-28_0_3_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_3982-28_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_3982-28_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3982-28_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3982-28_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_3982-28_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_3982-28_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3982-28_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_3982-28_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_3982-28_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_3982-28_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_3982-28_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_3982-28_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_3982-28_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_3982-28_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_3982-28_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_3982-28_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_3982-28_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_3982-28_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_3982-28_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_3982-28_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_3982-28_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_3982-28_0_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_3982-28_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_3982-28_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_3982-28_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_3982-28_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_3982-28_0_3_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_3982-28_0_3_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_3982-28_0_3_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_3982-28_0_3_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_3982-28_0_3_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_3982-28_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_3982-28_0_3_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_3982-28_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_3982-28_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_3982-28_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_3982-28_0_3_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_3982-28_0_3_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_3982-28_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_3982-28_0_3_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_3982-28_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3982-28_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_3982-28_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_MV_180_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3982-28_0_3_load_0 | 0 | 0.0012462 | 0.00031232 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3982-28_0_3_load_3 | 3 | 0.0010331 | 0.00025893 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3982-28_0_3_load_55 | 5 | 0.00078002 | 0.00019549 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3982-28_0_3_load_53 | 6 | 0.0021305 | 0.00053394 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3982-28_0_3_load_7 | 7 | 0.0021536 | 0.00053974 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3982-28_0_3_load_54 | 8 | 0.0016572 | 0.00041533 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3982-28_0_3_load_52 | 9 | 0.0062301 | 0.0015614 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3982-28_0_3_load_4 | 10 | 0.0022329 | 0.00055963 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3982-28_0_3_load_5 | 11 | 0.001424 | 0.00035688 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3982-28_0_3_load_6 | 12 | 0.0014214 | 0.00035625 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3982-28_0_3_load_69 | 14 | 0.00066955 | 0.0001678 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3982-28_0_3_load_10 | 16 | 0.0020742 | 0.00051984 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3982-28_0_3_load_82 | 19 | 0.00065035 | 0.00016299 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3982-28_0_3_load_56 | 20 | 0.010401 | 0.0026067 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3982-28_0_3_load_13 | 21 | 0.00031173 | 7.8127e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3982-28_0_3_load_14 | 22 | 0.0032595 | 0.00081691 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3982-28_0_3_load_15 | 23 | 0.00052462 | 0.00013148 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3982-28_0_3_load_77 | 24 | 0.0011821 | 0.00029627 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3982-28_0_3_load_18 | 25 | 0.00039051 | 9.7871e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3982-28_0_3_load_21 | 26 | 0.0030101 | 0.00075439 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3982-28_0_3_load_24 | 27 | 0.00089701 | 0.00022481 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3982-28_0_3_load_83 | 28 | 0.00076205 | 0.00019099 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3982-28_0_3_load_84 | 29 | 0.00058954 | 0.00014775 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3982-28_0_3_load_16 | 30 | 0.0050091 | 0.0012554 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3982-28_0_3_load_22 | 31 | 0.0013901 | 0.00034839 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3982-28_0_3_load_23 | 32 | 0.0038283 | 0.00095946 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3982-28_0_3_load_17 | 33 | 0.0035626 | 0.00089286 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3982-28_0_3_load_19 | 34 | 0.00058654 | 0.000147 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3982-28_0_3_load_20 | 35 | 0.0013846 | 0.000347 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3982-28_0_3_load_50 | 36 | 0.010939 | 0.0027415 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3982-28_0_3_load_26 | 39 | 0.0064572 | 0.0016183 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3982-28_0_3_load_57 | 40 | 0.00052741 | 0.00013218 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3982-28_0_3_load_27 | 42 | 0.0061519 | 0.0015418 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3982-28_0_3_load_28 | 43 | 0.00068825 | 0.00017249 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3982-28_0_3_load_29 | 44 | 0.0010774 | 0.00027003 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3982-28_0_3_load_30 | 45 | 0.00048441 | 0.0001214 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3982-28_0_3_load_31 | 46 | 0.010628 | 0.0026637 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3982-28_0_3_load_34 | 47 | 0.00039526 | 9.9061e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3982-28_0_3_load_32 | 48 | 0.00070327 | 0.00017626 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3982-28_0_3_load_49 | 49 | 0.006224 | 0.0015599 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3982-28_0_3_load_33 | 50 | 0.0025115 | 0.00062944 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3982-28_0_3_load_35 | 51 | 0.0011475 | 0.0002876 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3982-28_0_3_load_39 | 53 | 0.0030767 | 0.00077111 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3982-28_0_3_load_36 | 54 | 0.0022816 | 0.00057181 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3982-28_0_3_load_45 | 57 | 0.004033 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3982-28_0_3_load_41 | 58 | 0.0066979 | 0.0016787 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3982-28_0_3_load_46 | 59 | 0.0013349 | 0.00033455 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3982-28_0_3_load_42 | 60 | 0.0012433 | 0.00031161 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3982-28_0_3_load_43 | 61 | 0.0012169 | 0.00030499 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3982-28_0_3_load_63 | 63 | 0.0010818 | 0.00027112 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3982-28_0_3_load_62 | 64 | 0.00073464 | 0.00018412 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3982-28_0_3_load_60 | 67 | 0.0019043 | 0.00047725 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3982-28_0_3_load_47 | 68 | 0.0041726 | 0.0010457 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3982-28_0_3_load_51 | 69 | 0.0074108 | 0.0018573 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3982-28_0_3_load_75 | 70 | 0.00076472 | 0.00019166 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3982-28_0_3_load_73 | 71 | 0.00070689 | 0.00017716 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3982-28_0_3_load_61 | 72 | 0.0015346 | 0.00038461 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3982-28_0_3_load_67 | 73 | 0.00086859 | 0.00021769 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3982-28_0_3_load_64 | 74 | 0.0028274 | 0.00070862 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3982-28_0_3_load_66 | 75 | 0.0024182 | 0.00060605 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3982-28_0_3_load_70 | 76 | 0.0010622 | 0.00026622 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3982-28_0_3_load_79 | 77 | 0.0036664 | 0.0009189 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3982-28_0_3_load_80 | 78 | 0.002076 | 0.0005203 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3982-28_0_3_load_71 | 79 | 0.001131 | 0.00028346 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3982-28_0_3_load_72 | 80 | 0.00092901 | 0.00023283 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3982-28_0_3_load_76 | 82 | 0.00066534 | 0.00016675 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3982-28_0_3_load_78 | 83 | 0.00091975 | 0.00023051 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3982-28_0_3_load_81 | 84 | 0.0022405 | 0.00056151 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3982-28_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3982-28_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.011488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3982-28_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3982-28_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3982-28_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0096104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3982-28_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0022844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3982-28_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0037516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3982-28_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.015208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_3982-28_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.016082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3982-28_0_3_line_9 | NAYY 4x150 SE | 7 | 11 | 0.0077202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3982-28_0_3_line_10 | NAYY 4x150 SE | 8 | 20 | 0.0022905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_3982-28_0_3_line_11 | NAYY 4x150 SE | 9 | 69 | 0.024043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3982-28_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0023224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3982-28_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0087338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3982-28_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.015044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3982-28_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0089515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3982-28_0_3_line_16 | NAYY 4x150 SE | 15 | 76 | 0.028596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3982-28_0_3_line_17 | NAYY 4x150 SE | 15 | 73 | 0.026567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3982-28_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.11525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3982-28_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.085986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3982-28_0_3_line_20 | NAYY 4x150 SE | 16 | 19 | 0.13304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3982-28_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.085269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_3982-28_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.032281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3982-28_0_3_line_23 | NAYY 4x150 SE | 18 | 22 | 0.093164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3982-28_0_3_line_24 | NAYY 4x150 SE | 18 | 23 | 0.088955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3982-28_0_3_line_25 | NAYY 4x150 SE | 19 | 24 | 0.0086298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3982-28_0_3_line_26 | NAYY 4x150 SE | 21 | 25 | 0.011422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3982-28_0_3_line_27 | NAYY 4x150 SE | 22 | 26 | 0.0091482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3982-28_0_3_line_28 | NAYY 4x150 SE | 23 | 27 | 0.035426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3982-28_0_3_line_29 | NAYY 4x150 SE | 24 | 81 | 0.018931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3982-28_0_3_line_30 | NAYY 4x150 SE | 25 | 30 | 0.022532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3982-28_0_3_line_31 | NAYY 4x150 SE | 26 | 31 | 0.016052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3982-28_0_3_line_32 | NAYY 4x150 SE | 27 | 32 | 0.051443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3982-28_0_3_line_33 | NAYY 4x150 SE | 28 | 29 | 0.031884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3982-28_0_3_line_34 | NAYY 4x150 SE | 29 | 66 | 0.018922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3982-28_0_3_line_35 | NAYY 4x150 SE | 30 | 33 | 0.048747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3982-28_0_3_line_36 | NAYY 4x150 SE | 32 | 38 | 0.10602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3982-28_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.0043213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3982-28_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.03871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3982-28_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.033849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3982-28_0_3_line_40 | NAYY 4x150 SE | 37 | 49 | 0.01597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3982-28_0_3_line_41 | NAYY 4x150 SE | 37 | 46 | 0.01337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3982-28_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.10645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3982-28_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.070214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3982-28_0_3_line_44 | NAYY 4x150 SE | 41 | 66 | 0.01693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3982-28_0_3_line_45 | NAYY 4x150 SE | 41 | 62 | 0.066959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3982-28_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.01092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3982-28_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.0094393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3982-28_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0091158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3982-28_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.025479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3982-28_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.011423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3982-28_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.021228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3982-28_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0030214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3982-28_0_3_line_53 | NAYY 4x150 SE | 49 | 69 | 0.026872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3982-28_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.035043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3982-28_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.018937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3982-28_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.010095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3982-28_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.10482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3982-28_0_3_line_58 | NAYY 4x150 SE | 53 | 57 | 0.035671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3982-28_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.025956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3982-28_0_3_line_60 | NAYY 4x150 SE | 55 | 56 | 0.077711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3982-28_0_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.11219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3982-28_0_3_line_62 | NAYY 4x150 SE | 57 | 59 | 0.0078766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3982-28_0_3_line_63 | NAYY 4x150 SE | 59 | 68 | 0.01687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3982-28_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.087115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3982-28_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.013749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3982-28_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.020158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3982-28_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.0091508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3982-28_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.011884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3982-28_0_3_line_69 | NAYY 4x150 SE | 64 | 67 | 0.007098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3982-28_0_3_line_70 | NAYY 4x150 SE | 65 | 73 | 0.0073337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3982-28_0_3_line_71 | NAYY 4x150 SE | 65 | 74 | 0.021736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3982-28_0_3_line_72 | NAYY 4x150 SE | 66 | 70 | 0.0070093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3982-28_0_3_line_73 | NAYY 4x150 SE | 67 | 72 | 0.012468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3982-28_0_3_line_74 | NAYY 4x150 SE | 70 | 71 | 0.021461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3982-28_0_3_line_75 | NAYY 4x150 SE | 71 | 79 | 0.0036893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3982-28_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.0083605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3982-28_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.014861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3982-28_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0014402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3982-28_0_3_line_79 | NAYY 4x150 SE | 78 | 84 | 0.03468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3982-28_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.02211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3982-28_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.0099964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3982-28_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.013147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3982-28_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.022274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3982-28_0_3_trafo_11 | 0.25 MVA 20/0.4 kV | 85 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2706964.7557 | 1172544.6301 | 2706954.311 | 1172546.9122 | 2706949.9472 | 1172547.5237 | 2706941.2596 | 1172547.7914 | 2706936.8844 | 1172547.7579 | 2706932.3259 | 1172548.5661 | 2706925.1823 | 1172550.6291 | 2706908.495 | 1172556.7805 | 2706894.5285 | 1172562.6579 | 2706881.393 | 1172570.8406 | 2706855.1233 | 1172582.8476 | 2706845.8652 | 1172587.6638 | 2706837.0561 | 1172593.9
1 | 2706956.2563 | 1172536.918 | 2706957.8668 | 1172538.8368 | 2706964.7557 | 1172544.6301
2 | 2706964.7557 | 1172544.6301 | 2706969.3235 | 1172547.5912 | 2706974.1714 | 1172550.2904 | 2706978.4539 | 1172551.8101
3 | 2706956.2563 | 1172536.918 | 2706950.618 | 1172535.6389 | 2706945.9184 | 1172534.9214 | 2706941.4905 | 1172534.4089 | 2706934.4012 | 1172534.2825 | 2706925.1254 | 1172534.9289 | 2706913.2837 | 1172536.1855 | 2706879.7739 | 1172541.9149 | 2706869.85 | 1172542.8722 | 2706867.1212 | 1172542.7458 | 2706858.4404 | 1172541.3459
4 | 2706956.2563 | 1172536.918 | 2706957.888 | 1172534.6456 | 2706960.7383 | 1172532.2503 | 2706963.3094 | 1172530.5368
5 | 2706978.4539 | 1172551.8101 | 2706980.6067 | 1172552.5741
6 | 2706858.4404 | 1172541.3459 | 2706854.9146 | 1172542.6278
7 | 2706976.3699 | 1172522.7559 | 2706966.1654 | 1172528.6335 | 2706963.3094 | 1172530.5368
8 | 2706995.9248 | 1172557.4684 | 2706983.0125 | 1172553.4278 | 2706980.6067 | 1172552.5741
9 | 2706847.4992 | 1172544.0196 | 2706849.0696 | 1172544.3256 | 2706850.8021 | 1172544.1229 | 2706854.9146 | 1172542.6278
10 | 2706978.3548 | 1172521.6127 | 2706976.3699 | 1172522.7559
11 | 2707019.0467 | 1172563.9495 | 2707014.9137 | 1172563.2583 | 2707001.2859 | 1172559.1461 | 2706995.9248 | 1172557.4684
12 | 2706845.5965 | 1172542.7068 | 2706845.9027 | 1172543.0239 | 2706847.4992 | 1172544.0196 | 2706847.4992 | 1172544.0196
13 | 2706889.4743 | 1172410.0673 | 2706891.6071 | 1172414.4526 | 2706892.7418 | 1172418.1393
14 | 2706889.4743 | 1172410.0673 | 2706883.4574 | 1172402.1217 | 2706880.1146 | 1172398.2997
15 | 2706873.6132 | 1172392.151 | 2706879.6937 | 1172397.8185 | 2706880.1146 | 1172398.2997
16 | 2706873.6132 | 1172392.151 | 2706869.3533 | 1172407.9745 | 2706868.2106 | 1172420.1301
17 | 2706873.6132 | 1172392.151 | 2706870.4182 | 1172389.8481 | 2706866.6876 | 1172387.5469 | 2706850.4036 | 1172379.3183
18 | 2707027.4193 | 1172451.8744 | 2707025.2174 | 1172447.5101 | 2707024.1881 | 1172444.3118 | 2707023.3609 | 1172440.5057 | 2707022.8201 | 1172437.3718 | 2707022.5705 | 1172432.9199 | 2707022.8499 | 1172428.4108 | 2707023.3386 | 1172425.0284 | 2707024.2421 | 1172421.5534 | 2707029.4492 | 1172407.9817 | 2707060.308 | 1172349.3598 | 2707061.6342 | 1172346.4966
19 | 2707085.3341 | 1172264.3722 | 2707084.7219 | 1172271.6661 | 2707083.2732 | 1172280.8241 | 2707081.529 | 1172289.8212 | 2707078.4264 | 1172302.9189 | 2707075.728 | 1172312.2325 | 2707071.9283 | 1172322.8051 | 2707066.9122 | 1172335.1015 | 2707061.6342 | 1172346.4966
20 | 2706928.9962 | 1172356.7803 | 2707061.6342 | 1172346.4966
21 | 2706978.3548 | 1172521.6127 | 2707027.4193 | 1172451.8744
22 | 2707085.3341 | 1172264.3722 | 2707096.7186 | 1172265.1869 | 2707099.2441 | 1172265.9992 | 2707101.7574 | 1172267.4894 | 2707103.9886 | 1172269.7863 | 2707105.2222 | 1172271.8208 | 2707106.1739 | 1172274.6507 | 2707107.763 | 1172281.1852
23 | 2707085.3341 | 1172264.3722 | 2707076.5856 | 1172264.1716 | 2707073.4019 | 1172263.8035 | 2707070.5398 | 1172262.9964 | 2707068.369 | 1172261.6012 | 2707066.549 | 1172259.4118 | 2707057.1333 | 1172240.865 | 2707026.7966 | 1172198.623
24 | 2707085.3341 | 1172264.3722 | 2707086.0557 | 1172248.7971 | 2707085.968 | 1172234.853 | 2707084.8789 | 1172221.7138 | 2707083.4675 | 1172211.2039 | 2707081.2027 | 1172199.6448 | 2707079.2446 | 1172191.0486 | 2707076.7387 | 1172182.7095 | 2707074.6124 | 1172176.7503
25 | 2706928.9962 | 1172356.7803 | 2706921.9721 | 1172361.7937
26 | 2707107.763 | 1172281.1852 | 2707110.4621 | 1172292.2837
27 | 2707026.7966 | 1172198.623 | 2707021.4602 | 1172191.1924
28 | 2707059.9634 | 1172144.5457 | 2707063.6446 | 1172151.6333 | 2707068.2478 | 1172160.777 | 2707072.2431 | 1172170.1099 | 2707074.6124 | 1172176.7503
29 | 2706906.5634 | 1172372.7914 | 2706921.9721 | 1172361.7937
30 | 2707115.7864 | 1172314.1773 | 2707110.4621 | 1172292.2837
31 | 2707012.0966 | 1172178.1541 | 2707021.4602 | 1172191.1924
32 | 2707031.148 | 1172101.9818 | 2707036.7039 | 1172109.3474 | 2707051.0273 | 1172129.8496 | 2707058.6668 | 1172142.0494 | 2707059.9634 | 1172144.5457
33 | 2706918.1104 | 1172298.0789 | 2706903.6678 | 1172300.4366 | 2706888.2712 | 1172308.2164
34 | 2706872.3937 | 1172318.4473 | 2706884.1135 | 1172310.3173 | 2706888.2712 | 1172308.2164
35 | 2707115.7864 | 1172314.1773 | 2707126.7073 | 1172359.0839 | 2707126.9647 | 1172361.6019
36 | 2706967.3006 | 1172017.3388 | 2707031.148 | 1172101.9818
37 | 2707126.9647 | 1172361.6019 | 2707127.4041 | 1172365.9008
38 | 2707102.92 | 1172392.2141 | 2707105.2981 | 1172391.4344 | 2707113.2096 | 1172387.9399 | 2707118.3151 | 1172384.7844 | 2707121.159 | 1172381.8999 | 2707123.3161 | 1172378.9142 | 2707124.8523 | 1172376.4289 | 2707126.6857 | 1172371.4361 | 2707127.4041 | 1172365.9008 | 2707127.4041 | 1172365.9008
39 | 2707061.8217 | 1172536.7882 | 2707065.3024 | 1172552.2272 | 2707061.4311 | 1172569.8253
40 | 2707061.4311 | 1172569.8253 | 2707047.2681 | 1172566.982 | 2707045.7553 | 1172566.7974
41 | 2707061.4311 | 1172569.8253 | 2707067.2325 | 1172571.8189 | 2707073.9886 | 1172574.4103
42 | 2706967.3006 | 1172017.3388 | 2706928.829 | 1172043.3152 | 2706906.5877 | 1172055.3827 | 2706874.9615 | 1172069.7221
43 | 2706859.9368 | 1172306.9736 | 2706862.5623 | 1172299.1596 | 2706864.4637 | 1172290.7657 | 2706865.9707 | 1172281.7533 | 2706866.8542 | 1172270.3726 | 2706868.4646 | 1172237.6003
44 | 2706859.9368 | 1172306.9736 | 2706869.4141 | 1172315.2144 | 2706872.3937 | 1172318.4473
45 | 2706859.9368 | 1172306.9736 | 2706856.1999 | 1172315.3349 | 2706852.4826 | 1172322.1621 | 2706847.001 | 1172330.5478 | 2706842.1446 | 1172336.4764 | 2706837.7141 | 1172341.6899 | 2706832.2207 | 1172346.8734 | 2706817.8288 | 1172357.7134
46 | 2707106.5907 | 1172586.9148 | 2707109.2797 | 1172587.9462 | 2707116.938 | 1172590.3947
47 | 2707106.5907 | 1172586.9148 | 2707097.7774 | 1172583.5345
48 | 2707116.938 | 1172590.3947 | 2707123.2758 | 1172592.4211 | 2707125.6644 | 1172593.0173
49 | 2707097.7774 | 1172583.5345 | 2707073.9886 | 1172574.4103
50 | 2707136.9147 | 1172594.9413 | 2707135.4807 | 1172594.8182 | 2707129.7138 | 1172593.8925 | 2707126.4898 | 1172593.2234 | 2707125.6644 | 1172593.0173
51 | 2707158.1036 | 1172595.8357 | 2707147.5797 | 1172595.857 | 2707136.9147 | 1172594.9413
52 | 2707158.1036 | 1172595.8357 | 2707161.125 | 1172595.8296
53 | 2707045.7553 | 1172566.7974 | 2707037.879 | 1172565.8361 | 2707022.8766 | 1172564.59 | 2707019.0467 | 1172563.9495
54 | 2707195.956 | 1172598.0366 | 2707192.6375 | 1172597.1733 | 2707187.1701 | 1172596.1861 | 2707181.1261 | 1172595.7891 | 2707161.125 | 1172595.8296
55 | 2707213.351 | 1172605.4597 | 2707197.8687 | 1172598.5342 | 2707195.956 | 1172598.0366
56 | 2707213.351 | 1172605.4597 | 2707215.522 | 1172596.1256 | 2707215.5666 | 1172595.6154
57 | 2707213.351 | 1172605.4597 | 2707236.4413 | 1172617.291 | 2707247.7135 | 1172622.2178 | 2707256.0368 | 1172625.2018 | 2707264.8509 | 1172627.6942 | 2707305.406 | 1172637.3808 | 2707312.0216 | 1172639.235
58 | 2707215.4022 | 1172560.1428 | 2707217.3304 | 1172575.4109 | 2707215.5666 | 1172595.6154
59 | 2707336.42 | 1172648.0089 | 2707330.4222 | 1172645.4555 | 2707318.4145 | 1172641.0268 | 2707312.0216 | 1172639.235
60 | 2707336.42 | 1172648.0089 | 2707344.7029 | 1172651.5371 | 2707354.9705 | 1172656.5907 | 2707374.1391 | 1172667.8186 | 2707379.9148 | 1172669.9567 | 2707384.3595 | 1172670.8034 | 2707387.7339 | 1172670.7637 | 2707390.7152 | 1172670.0277 | 2707394.124 | 1172668.4876 | 2707398.546 | 1172665.4758 | 2707405.8115 | 1172660.458
61 | 2707405.8115 | 1172660.458 | 2707379.1122 | 1172614.35 | 2707375.322 | 1172606.4214 | 2707372.8247 | 1172598.4937 | 2707371.6767 | 1172593.8146 | 2707371.0818 | 1172589.0119 | 2707370.6004 | 1172584.2779 | 2707370.5133 | 1172578.4614 | 2707370.8755 | 1172573.6091 | 2707371.6433 | 1172568.753 | 2707374.2622 | 1172557.2561
62 | 2707215.4022 | 1172560.1428 | 2707214.4152 | 1172552.3283
63 | 2707211.8596 | 1172535.6536 | 2707214.261 | 1172551.1067 | 2707214.4152 | 1172552.3283
64 | 2706727.5184 | 1172374.6297 | 2706748.6016 | 1172384.3664 | 2706755.3095 | 1172386.1647 | 2706761.8495 | 1172386.6479 | 2706767.7298 | 1172386.3745 | 2706773.9949 | 1172385.1073 | 2706779.3846 | 1172383.1686 | 2706782.9442 | 1172381.3195 | 2706784.9264 | 1172379.9872 | 2706806.4433 | 1172365.421
65 | 2706817.8288 | 1172357.7134 | 2706806.4433 | 1172365.421
66 | 2706817.8288 | 1172357.7134 | 2706822.9087 | 1172362.8627 | 2706828.5237 | 1172367.1765 | 2706833.39 | 1172370.4116
67 | 2706817.8288 | 1172357.7134 | 2706812.0207 | 1172350.642
68 | 2706843.8582 | 1172376.0108 | 2706835.2603 | 1172371.6549 | 2706833.39 | 1172370.4116
69 | 2706807.5156 | 1172345.157 | 2706812.0207 | 1172350.642
70 | 2706843.8582 | 1172376.0108 | 2706850.4036 | 1172379.3183
71 | 2706843.8582 | 1172376.0108 | 2706843.7304 | 1172379.3218 | 2706843.4688 | 1172381.5519 | 2706842.5158 | 1172383.5141 | 2706840.487 | 1172385.7461 | 2706831.4 | 1172391.909
72 | 2706872.3937 | 1172318.4473 | 2706875.9761 | 1172324.472
73 | 2706807.5156 | 1172345.157 | 2706799.6019 | 1172335.522
74 | 2706886.9446 | 1172342.9187 | 2706875.9761 | 1172324.472
75 | 2706888.8302 | 1172346.0897 | 2706886.9446 | 1172342.9187
76 | 2706824.4807 | 1172396.6018 | 2706831.4 | 1172391.909
77 | 2706859.0842 | 1172429.8884 | 2706859.6491 | 1172429.6605 | 2706865.0679 | 1172427.3776 | 2706867.1799 | 1172425.6252 | 2706867.8903 | 1172423.5365 | 2706868.2106 | 1172420.1301
78 | 2706859.0842 | 1172429.8884 | 2706857.7486 | 1172430.4272
79 | 2706825.9684 | 1172443.6704 | 2706836.2999 | 1172441.3082 | 2706848.0223 | 1172434.7347 | 2706853.4462 | 1172432.1628 | 2706857.7486 | 1172430.4272
80 | 2706888.8302 | 1172346.0897 | 2706898.1458 | 1172361.7565 | 2706900.5006 | 1172364.8435
81 | 2706906.5634 | 1172372.7914 | 2706900.5006 | 1172364.8435
82 | 2706906.5634 | 1172372.7914 | 2706908.3952 | 1172375.1812 | 2706914.8712 | 1172382.9781
83 | 2706914.8712 | 1172382.9781 | 2706929.1028 | 1172400.1126

## bus_geodata
| x | y | coords
0 | 2706837.0561 | 1172593.9
1 | 2706964.7557 | 1172544.6301
2 | 2706956.2563 | 1172536.918
3 | 2706978.4539 | 1172551.8101
4 | 2706858.4404 | 1172541.3459
5 | 2706963.3094 | 1172530.5368
6 | 2706980.6067 | 1172552.5741
7 | 2706854.9146 | 1172542.6278
8 | 2706976.3699 | 1172522.7559
9 | 2706995.9248 | 1172557.4684
10 | 2706845.5965 | 1172542.7068
11 | 2706847.4992 | 1172544.0196
12 | 2706892.7418 | 1172418.1393
13 | 2706889.4743 | 1172410.0673
14 | 2706880.1146 | 1172398.2997
15 | 2706873.6132 | 1172392.151
16 | 2707061.6342 | 1172346.4966
17 | 2707027.4193 | 1172451.8744
18 | 2707085.3341 | 1172264.3722
19 | 2706928.9962 | 1172356.7803
20 | 2706978.3548 | 1172521.6127
21 | 2707107.763 | 1172281.1852
22 | 2707026.7966 | 1172198.623
23 | 2707074.6124 | 1172176.7503
24 | 2706921.9721 | 1172361.7937
25 | 2707110.4621 | 1172292.2837
26 | 2707021.4602 | 1172191.1924
27 | 2707059.9634 | 1172144.5457
28 | 2706918.1104 | 1172298.0789
29 | 2706888.2712 | 1172308.2164
30 | 2707115.7864 | 1172314.1773
31 | 2707012.0966 | 1172178.1541
32 | 2707031.148 | 1172101.9818
33 | 2707126.9647 | 1172361.6019
34 | 2707127.4041 | 1172365.9008
35 | 2707102.92 | 1172392.2141
36 | 2707061.8217 | 1172536.7882
37 | 2707061.4311 | 1172569.8253
38 | 2706967.3006 | 1172017.3388
39 | 2706874.9615 | 1172069.7221
40 | 2706868.4646 | 1172237.6003
41 | 2706859.9368 | 1172306.9736
42 | 2707106.5907 | 1172586.9148
43 | 2707116.938 | 1172590.3947
44 | 2707097.7774 | 1172583.5345
45 | 2707125.6644 | 1172593.0173
46 | 2707073.9886 | 1172574.4103
47 | 2707136.9147 | 1172594.9413
48 | 2707158.1036 | 1172595.8357
49 | 2707045.7553 | 1172566.7974
50 | 2707161.125 | 1172595.8296
51 | 2707195.956 | 1172598.0366
52 | 2707213.351 | 1172605.4597
53 | 2707215.5666 | 1172595.6154
54 | 2707312.0216 | 1172639.235
55 | 2707336.42 | 1172648.0089
56 | 2707405.8115 | 1172660.458
57 | 2707215.4022 | 1172560.1428
58 | 2707374.2622 | 1172557.2561
59 | 2707214.4152 | 1172552.3283
60 | 2706727.5184 | 1172374.6297
61 | 2706806.4433 | 1172365.421
62 | 2706817.8288 | 1172357.7134
63 | 2706833.39 | 1172370.4116
64 | 2706812.0207 | 1172350.642
65 | 2706843.8582 | 1172376.0108
66 | 2706872.3937 | 1172318.4473
67 | 2706807.5156 | 1172345.157
68 | 2707211.8596 | 1172535.6536
69 | 2707019.0467 | 1172563.9495
70 | 2706875.9761 | 1172324.472
71 | 2706886.9446 | 1172342.9187
72 | 2706799.6019 | 1172335.522
73 | 2706850.4036 | 1172379.3183
74 | 2706831.4 | 1172391.909
75 | 2706824.4807 | 1172396.6018
76 | 2706868.2106 | 1172420.1301
77 | 2706859.0842 | 1172429.8884
78 | 2706857.7486 | 1172430.4272
79 | 2706888.8302 | 1172346.0897
80 | 2706900.5006 | 1172364.8435
81 | 2706906.5634 | 1172372.7914
82 | 2706914.8712 | 1172382.9781
83 | 2706929.1028 | 1172400.1126
84 | 2706825.9684 | 1172443.6704
85 | 2706858.4404 | 1172541.3459

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1