## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3983-1_4_1_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_3983-1_4_1_node_115 | 0.4 | n |  | TRUE
2 | bus_LV_3983-1_4_1_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_3983-1_4_1_node_131 | 0.4 | n |  | TRUE
4 | bus_LV_3983-1_4_1_node_132 | 0.4 | n |  | TRUE
5 | bus_LV_3983-1_4_1_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_3983-1_4_1_node_164 | 0.4 | n |  | TRUE
7 | bus_LV_3983-1_4_1_node_134 | 0.4 | n |  | TRUE
8 | bus_LV_3983-1_4_1_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_3983-1_4_1_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_3983-1_4_1_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_3983-1_4_1_node_163 | 0.4 | n |  | TRUE
12 | bus_LV_3983-1_4_1_node_181 | 0.4 | n |  | TRUE
13 | bus_LV_3983-1_4_1_node_166 | 0.4 | n |  | TRUE
14 | bus_LV_3983-1_4_1_node_165 | 0.4 | n |  | TRUE
15 | bus_LV_3983-1_4_1_node_168 | 0.4 | n |  | TRUE
16 | bus_LV_3983-1_4_1_node_167 | 0.4 | n |  | TRUE
17 | bus_LV_3983-1_4_1_node_183 | 0.4 | n |  | TRUE
18 | bus_LV_3983-1_4_1_node_169 | 0.4 | n |  | TRUE
19 | bus_LV_3983-1_4_1_node_170 | 0.4 | n |  | TRUE
20 | bus_LV_3983-1_4_1_node_171 | 0.4 | n |  | TRUE
21 | bus_LV_3983-1_4_1_node_172 | 0.4 | n |  | TRUE
22 | bus_LV_3983-1_4_1_node_175 | 0.4 | n |  | TRUE
23 | bus_LV_3983-1_4_1_node_174 | 0.4 | n |  | TRUE
24 | bus_LV_3983-1_4_1_node_173 | 0.4 | n |  | TRUE
25 | bus_LV_3983-1_4_1_node_117 | 0.4 | n |  | TRUE
26 | bus_LV_3983-1_4_1_node_176 | 0.4 | n |  | TRUE
27 | bus_LV_3983-1_4_1_node_178 | 0.4 | n |  | TRUE
28 | bus_LV_3983-1_4_1_node_177 | 0.4 | n |  | TRUE
29 | bus_LV_3983-1_4_1_node_179 | 0.4 | n |  | TRUE
30 | bus_LV_3983-1_4_1_node_180 | 0.4 | n |  | TRUE
31 | bus_LV_3983-1_4_1_node_182 | 0.4 | n |  | TRUE
32 | bus_LV_3983-1_4_1_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_3983-1_4_1_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_3983-1_4_1_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_3983-1_4_1_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_3983-1_4_1_node_121 | 0.4 | n |  | TRUE
37 | bus_LV_3983-1_4_1_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_3983-1_4_1_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_3983-1_4_1_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_3983-1_4_1_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_3983-1_4_1_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_3983-1_4_1_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_3983-1_4_1_node_109 | 0.4 | n |  | TRUE
44 | bus_LV_3983-1_4_1_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_3983-1_4_1_node_110 | 0.4 | n |  | TRUE
46 | bus_LV_3983-1_4_1_node_104 | 0.4 | n |  | TRUE
47 | bus_LV_3983-1_4_1_node_105 | 0.4 | n |  | TRUE
48 | bus_LV_3983-1_4_1_node_107 | 0.4 | n |  | TRUE
49 | bus_LV_3983-1_4_1_node_108 | 0.4 | n |  | TRUE
50 | bus_LV_3983-1_4_1_node_112 | 0.4 | n |  | TRUE
51 | bus_LV_3983-1_4_1_node_111 | 0.4 | n |  | TRUE
52 | bus_LV_3983-1_4_1_node_113 | 0.4 | n |  | TRUE
53 | bus_LV_3983-1_4_1_node_114 | 0.4 | n |  | TRUE
54 | bus_LV_3983-1_4_1_node_116 | 0.4 | n |  | TRUE
55 | bus_LV_3983-1_4_1_node_127 | 0.4 | n |  | TRUE
56 | bus_LV_3983-1_4_1_node_123 | 0.4 | n |  | TRUE
57 | bus_LV_3983-1_4_1_node_124 | 0.4 | n |  | TRUE
58 | bus_MV_180_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3983-1_4_1_load_129 | 0 | 0.00027439 | 6.8767e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3983-1_4_1_load_130 | 2 | 0.0031374 | 0.0007863 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3983-1_4_1_load_132 | 4 | 0.0021104 | 0.00052892 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3983-1_4_1_load_133 | 5 | 0.0008805 | 0.00022067 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3983-1_4_1_load_164 | 6 | 0.0027644 | 0.00069283 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3983-1_4_1_load_134 | 7 | 0.0040429 | 0.0010132 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3983-1_4_1_load_69 | 8 | 0.0017057 | 0.00042748 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3983-1_4_1_load_135 | 9 | 0.0039415 | 0.00098783 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3983-1_4_1_load_136 | 10 | 0.0026919 | 0.00067464 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3983-1_4_1_load_163 | 11 | 0.0023302 | 0.00058401 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3983-1_4_1_load_166 | 13 | 0.0040046 | 0.0010036 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3983-1_4_1_load_165 | 14 | 0.00083326 | 0.00020884 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3983-1_4_1_load_168 | 15 | 0.00059999 | 0.00015037 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3983-1_4_1_load_167 | 16 | 0.0027114 | 0.00067955 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3983-1_4_1_load_169 | 18 | 0.0022871 | 0.0005732 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3983-1_4_1_load_170 | 19 | 0.0019706 | 0.00049387 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3983-1_4_1_load_171 | 20 | 0.0028453 | 0.0007131 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3983-1_4_1_load_175 | 22 | 0.0027781 | 0.00069626 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3983-1_4_1_load_174 | 23 | 0.0023965 | 0.00060063 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3983-1_4_1_load_173 | 24 | 0.00089309 | 0.00022383 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3983-1_4_1_load_117 | 25 | 0.0021525 | 0.00053947 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3983-1_4_1_load_178 | 27 | 0.0024286 | 0.00060866 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3983-1_4_1_load_177 | 28 | 0.0030391 | 0.00076166 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3983-1_4_1_load_180 | 30 | 0.0028057 | 0.00070319 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3983-1_4_1_load_182 | 31 | 0.0040268 | 0.0010092 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3983-1_4_1_load_68 | 32 | 0.0057103 | 0.0014311 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3983-1_4_1_load_74 | 33 | 0.00091422 | 0.00022913 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3983-1_4_1_load_75 | 34 | 0.00056322 | 0.00014116 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3983-1_4_1_load_76 | 35 | 0.0011281 | 0.00028274 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3983-1_4_1_load_121 | 36 | 0.0010565 | 0.00026478 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3983-1_4_1_load_77 | 37 | 0.00043928 | 0.00011009 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3983-1_4_1_load_78 | 38 | 0.0011004 | 0.00027579 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3983-1_4_1_load_80 | 40 | 0.0012916 | 0.0003237 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3983-1_4_1_load_83 | 41 | 0.0015228 | 0.00038164 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3983-1_4_1_load_106 | 44 | 0.00044441 | 0.00011138 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3983-1_4_1_load_104 | 46 | 0.0013449 | 0.00033706 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3983-1_4_1_load_105 | 47 | 0.0017786 | 0.00044575 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3983-1_4_1_load_107 | 48 | 0.00059673 | 0.00014956 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3983-1_4_1_load_108 | 49 | 0.0017163 | 0.00043016 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3983-1_4_1_load_112 | 50 | 0.00036089 | 9.0449e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3983-1_4_1_load_111 | 51 | 0.00042453 | 0.0001064 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3983-1_4_1_load_114 | 53 | 0.00057872 | 0.00014504 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3983-1_4_1_load_127 | 55 | 0.00063488 | 0.00015912 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3983-1_4_1_load_123 | 56 | 0.00017861 | 4.4763e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3983-1_4_1_load_124 | 57 | 0.00020301 | 5.0878e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3983-1_4_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.17546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3983-1_4_1_line_1 | NAYY 4x150 SE | 1 | 54 | 0.14176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3983-1_4_1_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0037263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3983-1_4_1_line_3 | NAYY 4x150 SE | 3 | 4 | 0.027911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3983-1_4_1_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3983-1_4_1_line_5 | NAYY 4x150 SE | 4 | 6 | 0.034027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3983-1_4_1_line_6 | NAYY 4x150 SE | 6 | 13 | 0.024656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3983-1_4_1_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0099885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3983-1_4_1_line_8 | NAYY 4x150 SE | 7 | 9 | 0.055135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3983-1_4_1_line_9 | NAYY 4x150 SE | 8 | 32 | 0.036866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3983-1_4_1_line_10 | NAYY 4x150 SE | 9 | 10 | 0.032716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3983-1_4_1_line_11 | NAYY 4x150 SE | 10 | 11 | 0.013414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3983-1_4_1_line_12 | NAYY 4x150 SE | 11 | 12 | 0.063455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3983-1_4_1_line_13 | NAYY 4x150 SE | 12 | 17 | 0.10749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3983-1_4_1_line_14 | NAYY 4x150 SE | 13 | 16 | 0.020675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3983-1_4_1_line_15 | NAYY 4x150 SE | 14 | 15 | 0.013779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3983-1_4_1_line_16 | NAYY 4x150 SE | 15 | 18 | 0.028613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3983-1_4_1_line_17 | NAYY 4x150 SE | 16 | 17 | 0.029512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3983-1_4_1_line_18 | NAYY 4x150 SE | 17 | 31 | 0.021383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3983-1_4_1_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0091416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3983-1_4_1_line_20 | NAYY 4x150 SE | 19 | 20 | 0.014745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3983-1_4_1_line_21 | NAYY 4x150 SE | 20 | 21 | 0.015828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3983-1_4_1_line_22 | NAYY 4x150 SE | 21 | 22 | 0.010097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3983-1_4_1_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0070354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3983-1_4_1_line_24 | NAYY 4x150 SE | 22 | 26 | 0.0091641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3983-1_4_1_line_25 | NAYY 4x150 SE | 23 | 24 | 0.032092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3983-1_4_1_line_26 | NAYY 4x150 SE | 24 | 25 | 3.565e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3983-1_4_1_line_27 | NAYY 4x150 SE | 25 | 53 | 0.023402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3983-1_4_1_line_28 | NAYY 4x150 SE | 26 | 27 | 0.012974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3983-1_4_1_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0094916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3983-1_4_1_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0068727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3983-1_4_1_line_31 | NAYY 4x150 SE | 29 | 30 | 0.030094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3983-1_4_1_line_32 | NAYY 4x150 SE | 30 | 31 | 0.01126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3983-1_4_1_line_33 | NAYY 4x150 SE | 33 | 34 | 0.010188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3983-1_4_1_line_34 | NAYY 4x150 SE | 33 | 35 | 0.027221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3983-1_4_1_line_35 | NAYY 4x150 SE | 34 | 36 | 0.29855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3983-1_4_1_line_36 | NAYY 4x150 SE | 35 | 37 | 0.033536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3983-1_4_1_line_37 | NAYY 4x150 SE | 36 | 56 | 0.023595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3983-1_4_1_line_38 | NAYY 4x150 SE | 37 | 38 | 0.024272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3983-1_4_1_line_39 | NAYY 4x150 SE | 38 | 39 | 0.015545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3983-1_4_1_line_40 | NAYY 4x150 SE | 39 | 40 | 0.019065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3983-1_4_1_line_41 | NAYY 4x150 SE | 40 | 41 | 0.013717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3983-1_4_1_line_42 | NAYY 4x150 SE | 41 | 45 | 0.019576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3983-1_4_1_line_43 | NAYY 4x150 SE | 42 | 43 | 0.03885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3983-1_4_1_line_44 | NAYY 4x150 SE | 42 | 44 | 0.018982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3983-1_4_1_line_45 | NAYY 4x150 SE | 43 | 50 | 0.017139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3983-1_4_1_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0073574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3983-1_4_1_line_47 | NAYY 4x150 SE | 45 | 49 | 0.0086609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3983-1_4_1_line_48 | NAYY 4x150 SE | 46 | 47 | 0.020362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3983-1_4_1_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0036711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3983-1_4_1_line_50 | NAYY 4x150 SE | 48 | 49 | 0.033159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3983-1_4_1_line_51 | NAYY 4x150 SE | 50 | 51 | 0.03457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3983-1_4_1_line_52 | NAYY 4x150 SE | 51 | 52 | 0.10978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3983-1_4_1_line_53 | NAYY 4x150 SE | 52 | 53 | 0.17313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3983-1_4_1_line_54 | NAYY 4x150 SE | 54 | 55 | 0.009058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3983-1_4_1_line_55 | NAYY 4x150 SE | 54 | 56 | 0.011749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3983-1_4_1_line_56 | NAYY 4x150 SE | 54 | 57 | 0.017552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3983-1_4_1_trafo_165 | 0.25 MVA 20/0.4 kV | 58 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2708371.8215 | 1169333.0017 | 2708541.7877 | 1169289.4412
1 | 2708244.7933 | 1169331.2547 | 2708267.2084 | 1169334.4497 | 2708275.7016 | 1169335.0365 | 2708285.0517 | 1169334.3712 | 2708296.261 | 1169332.9056 | 2708307.1789 | 1169330.6121 | 2708316.1996 | 1169326.9945 | 2708322.2513 | 1169323.3346 | 2708332.3674 | 1169315.0004 | 2708337.4946 | 1169313.3695 | 2708343.5156 | 1169313.1002 | 2708361.2154 | 1169317.1666 | 2708364.2022 | 1169318.7659 | 2708366.8534 | 1169322.0048 | 2708371.8215 | 1169333.0017
2 | 2708593.4835 | 1169826.1308 | 2708595.0903 | 1169822.7688
3 | 2708593.4835 | 1169826.1308 | 2708594.807 | 1169830.3909 | 2708598.3585 | 1169846.0321 | 2708601.0483 | 1169852.9378
4 | 2708593.4835 | 1169826.1308 | 2708591.1984 | 1169825.1 | 2708588.6411 | 1169824.7313 | 2708585.3744 | 1169825.9285 | 2708582.5534 | 1169827.447
5 | 2708612.5603 | 1169884.9284 | 2708609.8047 | 1169875.4141 | 2708607.3691 | 1169869.1659 | 2708601.0483 | 1169852.9378
6 | 2708614.8718 | 1169909.4094 | 2708614.5687 | 1169903.5633 | 2708613.9152 | 1169891.0321 | 2708612.7149 | 1169885.4623 | 2708612.5603 | 1169884.9284
7 | 2708670.203 | 1169839.9408 | 2708669.6307 | 1169848.0224 | 2708669.5216 | 1169849.9058
8 | 2708666.334 | 1169904.9483 | 2708669.5216 | 1169849.9058
9 | 2708672.8075 | 1169803.1668 | 2708670.203 | 1169839.9408
10 | 2708664.4426 | 1169937.6094 | 2708666.334 | 1169904.9483
11 | 2708663.6671 | 1169951.0013 | 2708664.4426 | 1169937.6094
12 | 2708656.5019 | 1170013.9281 | 2708658.6299 | 1170004.6049 | 2708660.1113 | 1169996.3373 | 2708661.1467 | 1169988.184 | 2708662.0485 | 1169978.9497 | 2708663.6671 | 1169951.0013
13 | 2708615.7271 | 1169958.8208 | 2708617.8295 | 1169961.9053 | 2708619.1206 | 1169965.4199 | 2708620.6219 | 1169971.6957 | 2708624.6603 | 1169999.7539 | 2708626.1785 | 1170005.941 | 2708628.7755 | 1170012.5702 | 2708634.5625 | 1170022.2368 | 2708637.857 | 1170026.2657 | 2708642.0342 | 1170030.5774 | 2708647.227 | 1170034.5963 | 2708653.3845 | 1170022.0994 | 2708654.8599 | 1170018.3903 | 2708656.5019 | 1170013.9281
14 | 2708614.8718 | 1169909.4094 | 2708615.6183 | 1169923.8068 | 2708616.4074 | 1169930.0156
15 | 2708576.5372 | 1169872.7958 | 2708573.2616 | 1169886.1795
16 | 2708573.2616 | 1169886.1795 | 2708572.7677 | 1169888.1974 | 2708567.1467 | 1169904.8847 | 2708563.608 | 1169911.8142 | 2708562.9231 | 1169912.7335
17 | 2708615.7271 | 1169958.8208 | 2708618.1459 | 1169953.7279 | 2708618.566 | 1169950.3888 | 2708618.546 | 1169946.8417 | 2708616.4074 | 1169930.0156
18 | 2708615.7271 | 1169958.8208 | 2708614.0825 | 1169957.5013 | 2708611.3668 | 1169956.1625 | 2708606.9095 | 1169955.0589 | 2708603.0666 | 1169954.6892 | 2708598.7964 | 1169955.5125 | 2708595.692 | 1169957.0061
19 | 2708562.9231 | 1169912.7335 | 2708558.1643 | 1169919.1206 | 2708557.3612 | 1169919.9804
20 | 2708547.2957 | 1169930.7557 | 2708557.3612 | 1169919.9804
21 | 2708536.4912 | 1169942.3221 | 2708547.2957 | 1169930.7557
22 | 2708536.4912 | 1169942.3221 | 2708541.2083 | 1169951.2491
23 | 2708536.4912 | 1169942.3221 | 2708533.3226 | 1169936.0406
24 | 2708545.4898 | 1169959.3515 | 2708541.2083 | 1169951.2491
25 | 2708518.5324 | 1169907.571 | 2708521.5144 | 1169912.6319 | 2708533.3226 | 1169936.0406
26 | 2708518.5143 | 1169907.5402 | 2708518.5324 | 1169907.571
27 | 2708504.0358 | 1169889.1959 | 2708512.4981 | 1169899.1156 | 2708517.4155 | 1169905.6754 | 2708518.5143 | 1169907.5402
28 | 2708545.4898 | 1169959.3515 | 2708548.4305 | 1169964.3302 | 2708551.048 | 1169967.7131 | 2708553.3051 | 1169969.5568
29 | 2708545.4898 | 1169959.3515 | 2708539.2483 | 1169966.5023
30 | 2708559.0756 | 1169973.2618 | 2708554.6531 | 1169970.658 | 2708553.3051 | 1169969.5568
31 | 2708559.0756 | 1169973.2618 | 2708561.8342 | 1169973.9232 | 2708565.1414 | 1169973.8719 | 2708569.5823 | 1169972.9182 | 2708575.0375 | 1169970.4707 | 2708581.5517 | 1169966.597 | 2708586.3309 | 1169963.2242
32 | 2708586.3309 | 1169963.2242 | 2708593.9633 | 1169957.8378 | 2708595.692 | 1169957.0061
33 | 2708276.352 | 1169647.9408 | 2708275.9574 | 1169647.1917 | 2708271.2988 | 1169639.0951
34 | 2708289.0393 | 1169672.0243 | 2708276.352 | 1169647.9408
35 | 2708271.2988 | 1169639.0951 | 2708213.9358 | 1169346.1089
36 | 2708289.0393 | 1169672.0243 | 2708292.5861 | 1169678.7568 | 2708297.9529 | 1169695.6425 | 2708298.377 | 1169703.8402
37 | 2708213.9358 | 1169346.1089 | 2708236.3972 | 1169338.8833
38 | 2708297.1327 | 1169727.8831 | 2708299.1333 | 1169718.4566 | 2708298.377 | 1169703.8402
39 | 2708293.9053 | 1169743.0898 | 2708297.1327 | 1169727.8831
40 | 2708293.9053 | 1169743.0898 | 2708312.9573 | 1169742.3962
41 | 2708312.9573 | 1169742.3962 | 2708326.6655 | 1169741.8972
42 | 2708338.731 | 1169753.794 | 2708332.7043 | 1169741.6773 | 2708326.6655 | 1169741.8972
43 | 2708318.7697 | 1169844.5941 | 2708308.344 | 1169845.5289 | 2708299.6776 | 1169842.2816 | 2708286.3808 | 1169828.4216
44 | 2708286.3808 | 1169828.4216 | 2708288.8296 | 1169818.2591 | 2708292.7336 | 1169810.6765
45 | 2708318.7697 | 1169844.5941 | 2708327.9142 | 1169836.6204 | 2708331.0513 | 1169832.7186
46 | 2708297.0706 | 1169804.7857 | 2708293.7868 | 1169808.631 | 2708292.7336 | 1169810.6765
47 | 2708338.731 | 1169753.794 | 2708333.3116 | 1169760.5499
48 | 2708297.0706 | 1169804.7857 | 2708309.5338 | 1169790.1916 | 2708310.2662 | 1169789.2785
49 | 2708312.5634 | 1169786.4149 | 2708310.2662 | 1169789.2785
50 | 2708312.5634 | 1169786.4149 | 2708333.3116 | 1169760.5499
51 | 2708352.7133 | 1169805.7768 | 2708331.0513 | 1169832.7186
52 | 2708428.6618 | 1169734.7152 | 2708425.3361 | 1169733.6655 | 2708421.1973 | 1169733.1349 | 2708416.5547 | 1169733.8071 | 2708411.9023 | 1169735.024 | 2708407.7661 | 1169737.3175 | 2708400.8392 | 1169744.5417 | 2708363.0288 | 1169792.9471 | 2708352.7133 | 1169805.7768
53 | 2708428.6618 | 1169734.7152 | 2708431.8879 | 1169738.3091 | 2708435.6064 | 1169745.1585 | 2708444.1981 | 1169771.1864 | 2708458.3514 | 1169806.254 | 2708462.7321 | 1169817.107 | 2708478.1169 | 1169851.7744 | 2708484.644 | 1169863.2888 | 2708491.8591 | 1169874.4153 | 2708500.3792 | 1169884.9095 | 2708504.0358 | 1169889.1959
54 | 2708244.7933 | 1169331.2547 | 2708242.2943 | 1169322.5484
55 | 2708244.7933 | 1169331.2547 | 2708239.5303 | 1169337.8754 | 2708236.3972 | 1169338.8833
56 | 2708244.7933 | 1169331.2547 | 2708259.4705 | 1169321.6285

## bus_geodata
| x | y | coords
0 | 2708541.7877 | 1169289.4412
1 | 2708371.8215 | 1169333.0017
2 | 2708595.0903 | 1169822.7688
3 | 2708593.4835 | 1169826.1308
4 | 2708601.0483 | 1169852.9378
5 | 2708582.5534 | 1169827.447
6 | 2708612.5603 | 1169884.9284
7 | 2708669.5216 | 1169849.9058
8 | 2708670.203 | 1169839.9408
9 | 2708666.334 | 1169904.9483
10 | 2708664.4426 | 1169937.6094
11 | 2708663.6671 | 1169951.0013
12 | 2708656.5019 | 1170013.9281
13 | 2708614.8718 | 1169909.4094
14 | 2708576.5372 | 1169872.7958
15 | 2708573.2616 | 1169886.1795
16 | 2708616.4074 | 1169930.0156
17 | 2708615.7271 | 1169958.8208
18 | 2708562.9231 | 1169912.7335
19 | 2708557.3612 | 1169919.9804
20 | 2708547.2957 | 1169930.7557
21 | 2708536.4912 | 1169942.3221
22 | 2708541.2083 | 1169951.2491
23 | 2708533.3226 | 1169936.0406
24 | 2708518.5324 | 1169907.571
25 | 2708518.5143 | 1169907.5402
26 | 2708545.4898 | 1169959.3515
27 | 2708553.3051 | 1169969.5568
28 | 2708539.2483 | 1169966.5023
29 | 2708559.0756 | 1169973.2618
30 | 2708586.3309 | 1169963.2242
31 | 2708595.692 | 1169957.0061
32 | 2708672.8075 | 1169803.1668
33 | 2708276.352 | 1169647.9408
34 | 2708271.2988 | 1169639.0951
35 | 2708289.0393 | 1169672.0243
36 | 2708213.9358 | 1169346.1089
37 | 2708298.377 | 1169703.8402
38 | 2708297.1327 | 1169727.8831
39 | 2708293.9053 | 1169743.0898
40 | 2708312.9573 | 1169742.3962
41 | 2708326.6655 | 1169741.8972
42 | 2708286.3808 | 1169828.4216
43 | 2708318.7697 | 1169844.5941
44 | 2708292.7336 | 1169810.6765
45 | 2708338.731 | 1169753.794
46 | 2708297.0706 | 1169804.7857
47 | 2708310.2662 | 1169789.2785
48 | 2708312.5634 | 1169786.4149
49 | 2708333.3116 | 1169760.5499
50 | 2708331.0513 | 1169832.7186
51 | 2708352.7133 | 1169805.7768
52 | 2708428.6618 | 1169734.7152
53 | 2708504.0358 | 1169889.1959
54 | 2708244.7933 | 1169331.2547
55 | 2708242.2943 | 1169322.5484
56 | 2708236.3972 | 1169338.8833
57 | 2708259.4705 | 1169321.6285
58 | 2708593.4835 | 1169826.1308

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1