## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3983-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3983-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3983-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3983-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3983-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3983-2_0_4_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_3983-2_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_3983-2_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3983-2_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3983-2_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_3983-2_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3983-2_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3983-2_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3983-2_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3983-2_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_3983-2_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3983-2_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_3983-2_0_4_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_3983-2_0_4_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_3983-2_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_3983-2_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3983-2_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3983-2_0_4_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_3983-2_0_4_node_83 | 0.4 | n |  | TRUE
24 | bus_LV_3983-2_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3983-2_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3983-2_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_3983-2_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_3983-2_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_3983-2_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_3983-2_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_3983-2_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_3983-2_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_3983-2_0_4_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_3983-2_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_3983-2_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_3983-2_0_4_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_3983-2_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_3983-2_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_3983-2_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3983-2_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_3983-2_0_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_3983-2_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_3983-2_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3983-2_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_3983-2_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_3983-2_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_3983-2_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3983-2_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3983-2_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_3983-2_0_4_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_3983-2_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_3983-2_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_3983-2_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_3983-2_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3983-2_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_3983-2_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_3983-2_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3983-2_0_4_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_3983-2_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_3983-2_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3983-2_0_4_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_3983-2_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_3983-2_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_3983-2_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_3983-2_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_3983-2_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_3983-2_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_3983-2_0_4_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_3983-2_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_3983-2_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_3983-2_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_3983-2_0_4_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_3983-2_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_3983-2_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_3983-2_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_3983-2_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_3983-2_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_3983-2_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_3983-2_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_3983-2_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_3983-2_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_3983-2_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_MV_180_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3983-2_0_4_load_0 | 0 | 0.00069304 | 0.00017369 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3983-2_0_4_load_2 | 2 | 0.00050293 | 0.00012605 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3983-2_0_4_load_3 | 3 | 0.00069757 | 0.00017483 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3983-2_0_4_load_4 | 4 | 0.00084514 | 0.00021181 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3983-2_0_4_load_18 | 5 | 0.00063028 | 0.00015796 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3983-2_0_4_load_11 | 6 | 0.0007664 | 0.00019208 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3983-2_0_4_load_5 | 7 | 0.00052586 | 0.00013179 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3983-2_0_4_load_7 | 10 | 0.00069253 | 0.00017357 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3983-2_0_4_load_8 | 11 | 0.00073151 | 0.00018333 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3983-2_0_4_load_10 | 12 | 0.0021322 | 0.00053437 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3983-2_0_4_load_13 | 14 | 0.0024659 | 0.00061801 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3983-2_0_4_load_12 | 15 | 0.00068899 | 0.00017268 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3983-2_0_4_load_19 | 16 | 0.0010482 | 0.00026269 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3983-2_0_4_load_80 | 18 | 0.00459 | 0.0011504 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3983-2_0_4_load_20 | 19 | 0.00064801 | 0.00016241 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3983-2_0_4_load_16 | 20 | 0.0016926 | 0.00042421 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3983-2_0_4_load_17 | 21 | 0.0021888 | 0.00054856 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3983-2_0_4_load_84 | 22 | 0.0021879 | 0.00054834 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3983-2_0_4_load_83 | 23 | 0.0017085 | 0.0004282 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3983-2_0_4_load_21 | 24 | 0.0008082 | 0.00020255 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3983-2_0_4_load_22 | 25 | 0.0007435 | 0.00018634 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3983-2_0_4_load_23 | 26 | 0.00058021 | 0.00014542 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3983-2_0_4_load_24 | 27 | 0.0049047 | 0.0012292 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3983-2_0_4_load_25 | 28 | 0.0043018 | 0.0010781 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3983-2_0_4_load_26 | 29 | 0.0020532 | 0.00051457 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3983-2_0_4_load_28 | 30 | 0.0026734 | 0.00067001 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3983-2_0_4_load_30 | 31 | 0.0017368 | 0.00043527 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3983-2_0_4_load_45 | 33 | 0.00142 | 0.00035588 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3983-2_0_4_load_31 | 35 | 0.0011307 | 0.00028339 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3983-2_0_4_load_48 | 36 | 0.002317 | 0.00058071 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3983-2_0_4_load_36 | 37 | 0.0029296 | 0.00073423 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3983-2_0_4_load_34 | 38 | 0.0057758 | 0.0014476 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3983-2_0_4_load_32 | 39 | 0.00145 | 0.00036341 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3983-2_0_4_load_33 | 40 | 0.0027407 | 0.00068688 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3983-2_0_4_load_44 | 41 | 0.0029401 | 0.00073685 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3983-2_0_4_load_46 | 42 | 0.0020231 | 0.00050704 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3983-2_0_4_load_37 | 43 | 0.0032557 | 0.00081596 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3983-2_0_4_load_38 | 44 | 0.002277 | 0.00057068 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3983-2_0_4_load_39 | 45 | 0.0023668 | 0.00059317 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3983-2_0_4_load_40 | 46 | 0.0045944 | 0.0011515 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3983-2_0_4_load_41 | 47 | 0.0022213 | 0.0005567 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3983-2_0_4_load_42 | 48 | 0.0025077 | 0.00062849 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3983-2_0_4_load_43 | 49 | 0.0028773 | 0.00072112 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3983-2_0_4_load_82 | 50 | 0.0017434 | 0.00043693 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3983-2_0_4_load_47 | 51 | 0.0010024 | 0.00025122 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3983-2_0_4_load_49 | 52 | 0.0033819 | 0.00084759 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3983-2_0_4_load_50 | 53 | 0.0023771 | 0.00059576 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3983-2_0_4_load_51 | 54 | 0.002712 | 0.00067968 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3983-2_0_4_load_53 | 56 | 0.0013354 | 0.00033469 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3983-2_0_4_load_54 | 57 | 0.0031969 | 0.00080121 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3983-2_0_4_load_70 | 58 | 0.0015443 | 0.00038704 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3983-2_0_4_load_71 | 59 | 0.0034844 | 0.00087327 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3983-2_0_4_load_55 | 60 | 0.0041323 | 0.0010357 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3983-2_0_4_load_56 | 61 | 0.0024977 | 0.000626 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3983-2_0_4_load_57 | 62 | 0.0031186 | 0.0007816 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3983-2_0_4_load_59 | 64 | 0.0031769 | 0.00079621 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3983-2_0_4_load_60 | 65 | 0.0021555 | 0.00054021 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3983-2_0_4_load_69 | 66 | 0.0022492 | 0.00056371 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3983-2_0_4_load_68 | 67 | 0.002859 | 0.00071653 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3983-2_0_4_load_72 | 68 | 0.0044924 | 0.0011259 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3983-2_0_4_load_66 | 69 | 0.0025023 | 0.00062713 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3983-2_0_4_load_61 | 70 | 0.0025773 | 0.00064592 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3983-2_0_4_load_62 | 71 | 0.001168 | 0.00029273 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3983-2_0_4_load_63 | 72 | 0.0020424 | 0.00051187 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3983-2_0_4_load_64 | 73 | 0.0042463 | 0.0010642 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3983-2_0_4_load_65 | 74 | 0.0011577 | 0.00029014 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3983-2_0_4_load_67 | 75 | 0.0044111 | 0.0011055 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3983-2_0_4_load_77 | 76 | 0.0022783 | 0.000571 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3983-2_0_4_load_75 | 77 | 0.0021916 | 0.00054926 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3983-2_0_4_load_73 | 78 | 0.0014642 | 0.00036695 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3983-2_0_4_load_74 | 79 | 0.0025731 | 0.00064488 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3983-2_0_4_load_76 | 80 | 0.0014685 | 0.00036805 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3983-2_0_4_load_78 | 81 | 0.0019307 | 0.00048389 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3983-2_0_4_load_79 | 82 | 0.0020542 | 0.00051484 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3983-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3983-2_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0071258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3983-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3983-2_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0044966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3983-2_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0029083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3983-2_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0023713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3983-2_0_4_line_6 | NAYY 4x150 SE | 6 | 10 | 0.0050691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3983-2_0_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.11771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3983-2_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.27197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3983-2_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0017348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3983-2_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.010373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3983-2_0_4_line_11 | NAYY 4x150 SE | 9 | 14 | 0.038372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3983-2_0_4_line_12 | NAYY 4x150 SE | 9 | 12 | 0.034232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3983-2_0_4_line_13 | NAYY 4x150 SE | 11 | 15 | 0.01026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3983-2_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.097447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3983-2_0_4_line_15 | NAYY 4x150 SE | 13 | 17 | 0.23354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3983-2_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.00038078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3983-2_0_4_line_17 | NAYY 4x150 SE | 16 | 19 | 0.001723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3983-2_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3983-2_0_4_line_19 | NAYY 4x150 SE | 18 | 82 | 0.0031058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3983-2_0_4_line_20 | NAYY 4x150 SE | 19 | 24 | 0.011185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3983-2_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.003936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3983-2_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0018207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3983-2_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.0069096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3983-2_0_4_line_24 | NAYY 4x150 SE | 23 | 50 | 0.00082129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3983-2_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0014913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3983-2_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.011937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3983-2_0_4_line_27 | NAYY 4x150 SE | 27 | 28 | 0.0026453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3983-2_0_4_line_28 | NAYY 4x150 SE | 27 | 29 | 0.0075491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3983-2_0_4_line_29 | NAYY 4x150 SE | 29 | 30 | 0.0060984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3983-2_0_4_line_30 | NAYY 4x150 SE | 30 | 31 | 0.0037978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3983-2_0_4_line_31 | NAYY 4x150 SE | 31 | 35 | 0.0033465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3983-2_0_4_line_32 | NAYY 4x150 SE | 32 | 33 | 0.050338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_3983-2_0_4_line_33 | NAYY 4x150 SE | 32 | 34 | 0.037469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3983-2_0_4_line_34 | NAYY 4x150 SE | 33 | 36 | 0.0004545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_3983-2_0_4_line_35 | NAYY 4x150 SE | 34 | 37 | 0.0019347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3983-2_0_4_line_36 | NAYY 4x150 SE | 34 | 38 | 0.013871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3983-2_0_4_line_37 | NAYY 4x150 SE | 35 | 39 | 0.0085822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3983-2_0_4_line_38 | NAYY 4x150 SE | 36 | 52 | 0.015421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_3983-2_0_4_line_39 | NAYY 4x150 SE | 37 | 41 | 0.025392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3983-2_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0023303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3983-2_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.004676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3983-2_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0078478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_3983-2_0_4_line_43 | NAYY 4x150 SE | 42 | 51 | 0.0012776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3983-2_0_4_line_44 | NAYY 4x150 SE | 43 | 44 | 0.010572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_3983-2_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.015307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_3983-2_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0021086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_3983-2_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.0023607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_3983-2_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.00024513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_3983-2_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.00023398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_3983-2_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0016637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_3983-2_0_4_line_51 | NAYY 4x150 SE | 49 | 51 | 0.010344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_3983-2_0_4_line_52 | NAYY 4x150 SE | 52 | 53 | 0.011515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_3983-2_0_4_line_53 | NAYY 4x150 SE | 53 | 54 | 0.0038894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_3983-2_0_4_line_54 | NAYY 4x150 SE | 54 | 55 | 0.0035873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_3983-2_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.010535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_3983-2_0_4_line_56 | NAYY 4x150 SE | 56 | 57 | 0.0035287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_3983-2_0_4_line_57 | NAYY 4x150 SE | 57 | 58 | 0.0032479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_3983-2_0_4_line_58 | NAYY 4x150 SE | 58 | 59 | 0.0034532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_3983-2_0_4_line_59 | NAYY 4x150 SE | 59 | 68 | 0.0094758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_3983-2_0_4_line_60 | NAYY 4x150 SE | 60 | 61 | 0.0089021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3983-2_0_4_line_61 | NAYY 4x150 SE | 61 | 62 | 0.025525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3983-2_0_4_line_62 | NAYY 4x150 SE | 62 | 63 | 0.014005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3983-2_0_4_line_63 | NAYY 4x150 SE | 63 | 64 | 0.0063141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_3983-2_0_4_line_64 | NAYY 4x150 SE | 63 | 65 | 0.0037683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_3983-2_0_4_line_65 | NAYY 4x150 SE | 64 | 66 | 4.9352e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_3983-2_0_4_line_66 | NAYY 4x150 SE | 65 | 67 | 0.0022747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_3983-2_0_4_line_67 | NAYY 4x150 SE | 66 | 68 | 0.0041792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_3983-2_0_4_line_68 | NAYY 4x150 SE | 67 | 69 | 0.010101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_3983-2_0_4_line_69 | NAYY 4x150 SE | 69 | 73 | 0.0116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_3983-2_0_4_line_70 | NAYY 4x150 SE | 70 | 71 | 0.010345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_3983-2_0_4_line_71 | NAYY 4x150 SE | 70 | 72 | 0.031331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_3983-2_0_4_line_72 | NAYY 4x150 SE | 71 | 73 | 0.0015249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_3983-2_0_4_line_73 | NAYY 4x150 SE | 72 | 74 | 0.014184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_3983-2_0_4_line_74 | NAYY 4x150 SE | 74 | 75 | 0.021543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_3983-2_0_4_line_75 | NAYY 4x150 SE | 75 | 76 | 0.01361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_3983-2_0_4_line_76 | NAYY 4x150 SE | 76 | 77 | 0.013888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_3983-2_0_4_line_77 | NAYY 4x150 SE | 77 | 78 | 0.00066252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_3983-2_0_4_line_78 | NAYY 4x150 SE | 78 | 79 | 0.014593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_3983-2_0_4_line_79 | NAYY 4x150 SE | 79 | 80 | 0.00021898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_3983-2_0_4_line_80 | NAYY 4x150 SE | 80 | 81 | 0.0027809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_3983-2_0_4_line_81 | NAYY 4x150 SE | 81 | 82 | 0.013263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3983-2_0_4_trafo_83 | 0.25 MVA 20/0.4 kV | 83 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2709196.2149 | 1170643.7671 | 2709195.9562 | 1170641.5831 | 2709195.0703 | 1170639.7992 | 2709193.136 | 1170638.0184 | 2709189.3504 | 1170636.2039 | 2709184.2587 | 1170635.0884 | 2709171.529 | 1170634.5929
1 | 2709196.2149 | 1170643.7671 | 2709194.6379 | 1170647.1629 | 2709192.5991 | 1170649.8609
2 | 2709196.2149 | 1170643.7671 | 2709207.4323 | 1170637.9127
3 | 2709207.4323 | 1170637.9127 | 2709211.4187 | 1170635.8323
4 | 2709213.9346 | 1170634.3779 | 2709212.6016 | 1170635.2149 | 2709211.4187 | 1170635.8323
5 | 2709213.9346 | 1170634.3779 | 2709215.9429 | 1170633.1169
6 | 2709215.9429 | 1170633.1169 | 2709220.2358 | 1170630.4214
7 | 2709221.705 | 1170629.4989 | 2709200.4186 | 1170591.8979 | 2709172.4602 | 1170560.5244 | 2709142.167 | 1170548.8066
8 | 2709142.167 | 1170548.8066 | 2709001.8646 | 1170315.8191
9 | 2709221.705 | 1170629.4989 | 2709220.2358 | 1170630.4214
10 | 2709221.705 | 1170629.4989 | 2709230.5992 | 1170624.1607
11 | 2709001.8646 | 1170315.8191 | 2708988.4729 | 1170305.6471 | 2708968.2089 | 1170298.2988
12 | 2709001.8646 | 1170315.8191 | 2708981.072 | 1170315.7862 | 2708967.8792 | 1170313.2239
13 | 2709230.5992 | 1170624.1607 | 2709239.3963 | 1170618.8807
14 | 2708870.966 | 1170309.185 | 2708910.7066 | 1170306.7261 | 2708948.9281 | 1170309.5433 | 2708967.8792 | 1170313.2239
15 | 2708644.8284 | 1170367.529 | 2708870.966 | 1170309.185
16 | 2709239.7228 | 1170618.6847 | 2709239.3963 | 1170618.8807
17 | 2709239.7228 | 1170618.6847 | 2709241.2002 | 1170617.798
18 | 2708644.8284 | 1170367.529 | 2708648.1076 | 1170364.7865 | 2708651.279 | 1170361.2304 | 2708654.2049 | 1170357.7143 | 2708657.9539 | 1170352.2674 | 2708660.5208 | 1170347.444 | 2708662.5042 | 1170342.2987 | 2708663.6587 | 1170338.1279 | 2708664.9856 | 1170331.2029 | 2708665.3135 | 1170326.6169 | 2708665.2177 | 1170322.6125 | 2708664.5232 | 1170316.5848 | 2708663.3792 | 1170311.7165 | 2708660.7526 | 1170303.7748 | 2708659.4564 | 1170300.9717 | 2708657.3513 | 1170297.1978 | 2708652.6275 | 1170290.9638 | 2708649.0949 | 1170286.9861 | 2708644.2396 | 1170282.5175 | 2708640.5929 | 1170279.772 | 2708635.2015 | 1170276.5946 | 2708629.1149 | 1170273.349 | 2708625.8584 | 1170272.0409
19 | 2708625.8584 | 1170272.0409 | 2708622.9765 | 1170270.8832
20 | 2709241.2002 | 1170617.798 | 2709250.7906 | 1170612.042
21 | 2708679.5842 | 1170160.4146 | 2708683.1908 | 1170161.991
22 | 2708677.916 | 1170159.6853 | 2708679.5842 | 1170160.4146
23 | 2708671.5847 | 1170156.9179 | 2708671.5847 | 1170156.9179 | 2708677.916 | 1170159.6853
24 | 2708671.5847 | 1170156.9179 | 2708670.9047 | 1170156.4574
25 | 2709252.0692 | 1170611.2745 | 2709250.7906 | 1170612.042
26 | 2709252.0692 | 1170611.2745 | 2709253.8527 | 1170610.2041 | 2709257.8203 | 1170601.1814
27 | 2708654.5151 | 1170080.7095 | 2708654.9363 | 1170078.0979
28 | 2708654.5151 | 1170080.7095 | 2708653.3131 | 1170088.1623
29 | 2708652.3421 | 1170094.1829 | 2708653.3131 | 1170088.1623
30 | 2708652.3421 | 1170094.1829 | 2708651.7374 | 1170097.9323
31 | 2708651.2046 | 1170101.2361 | 2708651.7374 | 1170097.9323
32 | 2708622.8745 | 1170071.7916 | 2708594.4206 | 1170113.316
33 | 2708635.7404 | 1170105.58 | 2708636.5856 | 1170103.2826 | 2708636.8082 | 1170101.1297 | 2708636.6113 | 1170098.9024 | 2708634.6186 | 1170092.2953 | 2708630.8806 | 1170083.5886 | 2708622.8745 | 1170071.7916
34 | 2708594.1637 | 1170113.6909 | 2708594.4206 | 1170113.316
35 | 2708635.7404 | 1170105.58 | 2708634.8003 | 1170107.2709
36 | 2708635.7404 | 1170105.58 | 2708646.8244 | 1170113.9193
37 | 2708651.2046 | 1170101.2361 | 2708649.8381 | 1170109.7088
38 | 2708594.1637 | 1170113.6909 | 2708585.4468 | 1170126.412
39 | 2708630.424 | 1170129.5441 | 2708628.1259 | 1170127.1232 | 2708627.0487 | 1170124.9022 | 2708626.9565 | 1170122.3878 | 2708627.7902 | 1170119.879 | 2708634.8003 | 1170107.2709
40 | 2708649.0936 | 1170114.3252 | 2708649.0896 | 1170114.3494 | 2708646.8244 | 1170113.9193 | 2708646.8244 | 1170113.9193
41 | 2708649.0936 | 1170114.3252 | 2708649.8381 | 1170109.7088
42 | 2708630.424 | 1170129.5441 | 2708630.424 | 1170129.5441 | 2708634.1157 | 1170132.7686 | 2708636.6734 | 1170134.2308
43 | 2708636.6734 | 1170134.2308 | 2708637.7825 | 1170134.8648
44 | 2708664.0266 | 1170144.0615 | 2708664.0266 | 1170144.0615 | 2708665.4236 | 1170145.5211 | 2708666.4164 | 1170147.7517 | 2708668.2241 | 1170153.5882
45 | 2708664.0266 | 1170144.0615 | 2708661.9734 | 1170143.335 | 2708652.8246 | 1170142.2466 | 2708649.0391 | 1170141.2441
46 | 2708669.3242 | 1170155.3871 | 2708668.2241 | 1170153.5882 | 2708668.2241 | 1170153.5882
47 | 2708646.9845 | 1170140.0815 | 2708649.0391 | 1170141.2441 | 2708649.0391 | 1170141.2441
48 | 2708669.5271 | 1170155.5246 | 2708669.3242 | 1170155.3871 | 2708669.3242 | 1170155.3871
49 | 2708646.9845 | 1170140.0815 | 2708646.7809 | 1170139.9663
50 | 2708669.5271 | 1170155.5246 | 2708670.9047 | 1170156.4574
51 | 2708637.7825 | 1170134.8648 | 2708639.4181 | 1170135.7998 | 2708646.7809 | 1170139.9663
52 | 2708585.4468 | 1170126.412 | 2708578.9379 | 1170135.9108
53 | 2708578.9379 | 1170135.9108 | 2708576.7394 | 1170139.1192
54 | 2708574.7116 | 1170142.0784 | 2708576.7394 | 1170139.1192
55 | 2708574.7116 | 1170142.0784 | 2708571.1932 | 1170147.0403 | 2708568.6886 | 1170150.7211
56 | 2708566.7035 | 1170153.6384 | 2708568.6886 | 1170150.7211
57 | 2708566.7035 | 1170153.6384 | 2708564.8763 | 1170156.3236
58 | 2708564.8763 | 1170156.3236 | 2708562.9336 | 1170159.1785
59 | 2708557.6027 | 1170167.0126 | 2708562.9336 | 1170159.1785
60 | 2708506.1264 | 1170160.1399 | 2708506.1264 | 1170160.1399 | 2708514.8115 | 1170162.0935
61 | 2708514.8115 | 1170162.0935 | 2708530.0981 | 1170165.5321 | 2708539.0094 | 1170169.744
62 | 2708551.6716 | 1170175.7287 | 2708539.0094 | 1170169.744
63 | 2708551.6716 | 1170175.7287 | 2708555.2238 | 1170170.5085
64 | 2708551.6716 | 1170175.7287 | 2708549.566 | 1170178.8539
65 | 2708555.2238 | 1170170.5085 | 2708555.2516 | 1170170.4677
66 | 2708548.295 | 1170180.7403 | 2708549.566 | 1170178.8539
67 | 2708557.6027 | 1170167.0126 | 2708555.2516 | 1170170.4677
68 | 2708542.5741 | 1170189.0646 | 2708545.1365 | 1170185.4282 | 2708548.295 | 1170180.7403
69 | 2708542.5741 | 1170189.0646 | 2708536.9597 | 1170197.0325 | 2708536.0088 | 1170198.623
70 | 2708530.7106 | 1170209.1978 | 2708531.4532 | 1170206.9841 | 2708532.856 | 1170203.8962 | 2708535.2263 | 1170199.9318
71 | 2708530.7106 | 1170209.1978 | 2708530.4745 | 1170209.9016 | 2708529.118 | 1170214.6581 | 2708528.3938 | 1170220.0041 | 2708528.4232 | 1170223.8849 | 2708529.1156 | 1170227.0662 | 2708531.5576 | 1170233.3812 | 2708533.9449 | 1170237.2158 | 2708535.0125 | 1170238.6939
72 | 2708535.2263 | 1170199.9318 | 2708536.0088 | 1170198.623
73 | 2708545.9781 | 1170247.5186 | 2708543.707 | 1170246.2759 | 2708539.1988 | 1170242.9256 | 2708535.9383 | 1170239.9758 | 2708535.0125 | 1170238.6939
74 | 2708566.3105 | 1170254.4783 | 2708557.6449 | 1170252.1095 | 2708551.1489 | 1170249.9128 | 2708547.1323 | 1170248.1502 | 2708545.9781 | 1170247.5186
75 | 2708579.439 | 1170258.0671 | 2708566.3105 | 1170254.4783
76 | 2708579.439 | 1170258.0671 | 2708592.8356 | 1170261.7292
77 | 2708592.8356 | 1170261.7292 | 2708593.4746 | 1170261.9038
78 | 2708593.4746 | 1170261.9038 | 2708607.5512 | 1170265.7518
79 | 2708607.5512 | 1170265.7518 | 2708607.7625 | 1170265.8095
80 | 2708607.7625 | 1170265.8095 | 2708607.952 | 1170265.8614 | 2708610.4128 | 1170266.6512
81 | 2708610.4128 | 1170266.6512 | 2708620.5066 | 1170269.8911 | 2708622.9765 | 1170270.8832

## bus_geodata
| x | y | coords
0 | 2709171.529 | 1170634.5929
1 | 2709196.2149 | 1170643.7671
2 | 2709192.5991 | 1170649.8609
3 | 2709207.4323 | 1170637.9127
4 | 2709211.4187 | 1170635.8323
5 | 2709213.9346 | 1170634.3779
6 | 2709215.9429 | 1170633.1169
7 | 2709142.167 | 1170548.8066
8 | 2709221.705 | 1170629.4989
9 | 2709001.8646 | 1170315.8191
10 | 2709220.2358 | 1170630.4214
11 | 2709230.5992 | 1170624.1607
12 | 2708967.8792 | 1170313.2239
13 | 2708870.966 | 1170309.185
14 | 2708968.2089 | 1170298.2988
15 | 2709239.3963 | 1170618.8807
16 | 2709239.7228 | 1170618.6847
17 | 2708644.8284 | 1170367.529
18 | 2708625.8584 | 1170272.0409
19 | 2709241.2002 | 1170617.798
20 | 2708683.1908 | 1170161.991
21 | 2708679.5842 | 1170160.4146
22 | 2708677.916 | 1170159.6853
23 | 2708671.5847 | 1170156.9179
24 | 2709250.7906 | 1170612.042
25 | 2709252.0692 | 1170611.2745
26 | 2709257.8203 | 1170601.1814
27 | 2708654.5151 | 1170080.7095
28 | 2708654.9363 | 1170078.0979
29 | 2708653.3131 | 1170088.1623
30 | 2708652.3421 | 1170094.1829
31 | 2708651.7374 | 1170097.9323
32 | 2708622.8745 | 1170071.7916
33 | 2708594.4206 | 1170113.316
34 | 2708635.7404 | 1170105.58
35 | 2708651.2046 | 1170101.2361
36 | 2708594.1637 | 1170113.6909
37 | 2708634.8003 | 1170107.2709
38 | 2708646.8244 | 1170113.9193
39 | 2708649.8381 | 1170109.7088
40 | 2708649.0936 | 1170114.3252
41 | 2708630.424 | 1170129.5441
42 | 2708636.6734 | 1170134.2308
43 | 2708664.0266 | 1170144.0615
44 | 2708668.2241 | 1170153.5882
45 | 2708649.0391 | 1170141.2441
46 | 2708669.3242 | 1170155.3871
47 | 2708646.9845 | 1170140.0815
48 | 2708669.5271 | 1170155.5246
49 | 2708646.7809 | 1170139.9663
50 | 2708670.9047 | 1170156.4574
51 | 2708637.7825 | 1170134.8648
52 | 2708585.4468 | 1170126.412
53 | 2708578.9379 | 1170135.9108
54 | 2708576.7394 | 1170139.1192
55 | 2708574.7116 | 1170142.0784
56 | 2708568.6886 | 1170150.7211
57 | 2708566.7035 | 1170153.6384
58 | 2708564.8763 | 1170156.3236
59 | 2708562.9336 | 1170159.1785
60 | 2708506.1264 | 1170160.1399
61 | 2708514.8115 | 1170162.0935
62 | 2708539.0094 | 1170169.744
63 | 2708551.6716 | 1170175.7287
64 | 2708555.2238 | 1170170.5085
65 | 2708549.566 | 1170178.8539
66 | 2708555.2516 | 1170170.4677
67 | 2708548.295 | 1170180.7403
68 | 2708557.6027 | 1170167.0126
69 | 2708542.5741 | 1170189.0646
70 | 2708530.7106 | 1170209.1978
71 | 2708535.2263 | 1170199.9318
72 | 2708535.0125 | 1170238.6939
73 | 2708536.0088 | 1170198.623
74 | 2708545.9781 | 1170247.5186
75 | 2708566.3105 | 1170254.4783
76 | 2708579.439 | 1170258.0671
77 | 2708592.8356 | 1170261.7292
78 | 2708593.4746 | 1170261.9039
79 | 2708607.5512 | 1170265.7518
80 | 2708607.7625 | 1170265.8095
81 | 2708610.4128 | 1170266.6512
82 | 2708622.9765 | 1170270.8832
83 | 2708635.7404 | 1170105.58

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1