## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3985-11_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3985-11_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3985-11_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3985-11_0_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_3985-11_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3985-11_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3985-11_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3985-11_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3985-11_0_2_node_93 | 0.4 | n |  | TRUE
9 | bus_LV_3985-11_0_2_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_3985-11_0_2_node_95 | 0.4 | n |  | TRUE
11 | bus_LV_3985-11_0_2_node_94 | 0.4 | n |  | TRUE
12 | bus_LV_3985-11_0_2_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_3985-11_0_2_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_3985-11_0_2_node_96 | 0.4 | n |  | TRUE
15 | bus_LV_3985-11_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3985-11_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3985-11_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3985-11_0_2_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_3985-11_0_2_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_3985-11_0_2_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_3985-11_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3985-11_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3985-11_0_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3985-11_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_3985-11_0_2_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_3985-11_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3985-11_0_2_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_3985-11_0_2_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_3985-11_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3985-11_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3985-11_0_2_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3985-11_0_2_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_3985-11_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_3985-11_0_2_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_3985-11_0_2_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_3985-11_0_2_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_3985-11_0_2_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_3985-11_0_2_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_3985-11_0_2_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_3985-11_0_2_node_86 | 0.4 | n |  | TRUE
41 | bus_LV_3985-11_0_2_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_3985-11_0_2_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_3985-11_0_2_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_3985-11_0_2_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_3985-11_0_2_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_3985-11_0_2_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_3985-11_0_2_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_3985-11_0_2_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_3985-11_0_2_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_3985-11_0_2_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_3985-11_0_2_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_3985-11_0_2_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_3985-11_0_2_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3985-11_0_2_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_3985-11_0_2_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3985-11_0_2_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_3985-11_0_2_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_3985-11_0_2_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_3985-11_0_2_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_3985-11_0_2_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_3985-11_0_2_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_3985-11_0_2_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_3985-11_0_2_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_3985-11_0_2_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_3985-11_0_2_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_3985-11_0_2_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_3985-11_0_2_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_3985-11_0_2_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_3985-11_0_2_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_3985-11_0_2_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_3985-11_0_2_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_3985-11_0_2_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_3985-11_0_2_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_3985-11_0_2_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_3985-11_0_2_node_102 | 0.4 | n |  | TRUE
76 | bus_LV_3985-11_0_2_node_103 | 0.4 | n |  | TRUE
77 | bus_LV_3985-11_0_2_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_3985-11_0_2_node_106 | 0.4 | n |  | TRUE
79 | bus_LV_3985-11_0_2_node_105 | 0.4 | n |  | TRUE
80 | bus_LV_3985-11_0_2_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_3985-11_0_2_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_3985-11_0_2_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_3985-11_0_2_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_3985-11_0_2_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_3985-11_0_2_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_3985-11_0_2_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_3985-11_0_2_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_3985-11_0_2_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_3985-11_0_2_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_3985-11_0_2_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_3985-11_0_2_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_3985-11_0_2_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_3985-11_0_2_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_3985-11_0_2_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_3985-11_0_2_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_3985-11_0_2_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_3985-11_0_2_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_3985-11_0_2_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_3985-11_0_2_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_3985-11_0_2_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_3985-11_0_2_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_3985-11_0_2_node_104 | 0.4 | n |  | TRUE
103 | bus_MV_180_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3985-11_0_2_load_0 | 0 | 0.00084003 | 0.00021053 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3985-11_0_2_load_1 | 1 | 0.0012727 | 0.00031897 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3985-11_0_2_load_7 | 3 | 0.0011508 | 0.00028843 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3985-11_0_2_load_3 | 4 | 0.0022267 | 0.00055807 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3985-11_0_2_load_5 | 6 | 0.00070955 | 0.00017783 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3985-11_0_2_load_93 | 8 | 0.0015556 | 0.00038987 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3985-11_0_2_load_95 | 10 | 0.0013083 | 0.00032788 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3985-11_0_2_load_36 | 12 | 0.0011263 | 0.00028229 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3985-11_0_2_load_96 | 14 | 0.0099211 | 0.0024865 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3985-11_0_2_load_8 | 15 | 0.0038608 | 0.00096761 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3985-11_0_2_load_10 | 16 | 0.0041262 | 0.0010341 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3985-11_0_2_load_13 | 17 | 0.0011079 | 0.00027768 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3985-11_0_2_load_32 | 18 | 0.0022296 | 0.00055879 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3985-11_0_2_load_34 | 19 | 0.0013179 | 0.00033031 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3985-11_0_2_load_30 | 20 | 0.0019381 | 0.00048575 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3985-11_0_2_load_14 | 21 | 0.00044513 | 0.00011156 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3985-11_0_2_load_12 | 23 | 0.0029128 | 0.00073003 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3985-11_0_2_load_24 | 24 | 0.00097133 | 0.00024344 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3985-11_0_2_load_107 | 25 | 0.0011023 | 0.00027625 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3985-11_0_2_load_15 | 26 | 0.0011043 | 0.00027677 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3985-11_0_2_load_51 | 27 | 0.002138 | 0.00053584 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3985-11_0_2_load_49 | 28 | 0.00066936 | 0.00016776 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3985-11_0_2_load_16 | 29 | 0.00071816 | 0.00017999 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3985-11_0_2_load_17 | 30 | 0.0010505 | 0.00026328 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3985-11_0_2_load_18 | 31 | 0.0009601 | 0.00024062 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3985-11_0_2_load_91 | 32 | 0.00092824 | 0.00023264 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3985-11_0_2_load_29 | 33 | 0.00048668 | 0.00012197 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3985-11_0_2_load_19 | 34 | 0.00037857 | 9.4879e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3985-11_0_2_load_20 | 35 | 0.00089148 | 0.00022343 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3985-11_0_2_load_21 | 36 | 0.00084912 | 0.00021281 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3985-11_0_2_load_22 | 37 | 0.00055343 | 0.0001387 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3985-11_0_2_load_23 | 38 | 0.0013178 | 0.00033027 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3985-11_0_2_load_90 | 39 | 0.00040715 | 0.00010204 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3985-11_0_2_load_86 | 40 | 0.00074222 | 0.00018602 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3985-11_0_2_load_89 | 41 | 0.0010065 | 0.00025225 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3985-11_0_2_load_85 | 42 | 0.0012686 | 0.00031794 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3985-11_0_2_load_25 | 43 | 0.00071807 | 0.00017997 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3985-11_0_2_load_26 | 44 | 0.0014275 | 0.00035777 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3985-11_0_2_load_27 | 45 | 0.0019015 | 0.00047655 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3985-11_0_2_load_28 | 46 | 0.00059671 | 0.00014955 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3985-11_0_2_load_31 | 47 | 0.0012688 | 0.000318 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3985-11_0_2_load_37 | 48 | 0.0044055 | 0.0011041 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3985-11_0_2_load_59 | 50 | 0.003158 | 0.00079147 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3985-11_0_2_load_39 | 52 | 0.0016085 | 0.00040314 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3985-11_0_2_load_40 | 53 | 0.0048486 | 0.0012152 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3985-11_0_2_load_41 | 54 | 0.0050987 | 0.0012778 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3985-11_0_2_load_44 | 55 | 0.0012767 | 0.00031998 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3985-11_0_2_load_73 | 56 | 0.0043156 | 0.0010816 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3985-11_0_2_load_42 | 58 | 0.0043903 | 0.0011003 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3985-11_0_2_load_72 | 59 | 0.00049843 | 0.00012492 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3985-11_0_2_load_54 | 60 | 0.0010559 | 0.00026462 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3985-11_0_2_load_74 | 61 | 0.0012704 | 0.0003184 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3985-11_0_2_load_43 | 62 | 0.0034765 | 0.0008713 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3985-11_0_2_load_45 | 63 | 0.00053177 | 0.00013327 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3985-11_0_2_load_47 | 64 | 0.00048802 | 0.00012231 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3985-11_0_2_load_46 | 65 | 0.0010242 | 0.00025669 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3985-11_0_2_load_48 | 66 | 0.00084655 | 0.00021216 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3985-11_0_2_load_50 | 67 | 0.0009691 | 0.00024288 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3985-11_0_2_load_52 | 68 | 0.0015403 | 0.00038604 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3985-11_0_2_load_55 | 70 | 0.0014359 | 0.00035988 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3985-11_0_2_load_87 | 71 | 0.00099167 | 0.00024854 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3985-11_0_2_load_88 | 72 | 0.0027253 | 0.00068302 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3985-11_0_2_load_56 | 73 | 0.010046 | 0.0025178 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3985-11_0_2_load_60 | 74 | 0.0092751 | 0.0023246 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3985-11_0_2_load_103 | 76 | 0.0059257 | 0.0014851 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3985-11_0_2_load_100 | 77 | 0.0024557 | 0.00061545 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3985-11_0_2_load_106 | 78 | 0.0036325 | 0.0009104 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3985-11_0_2_load_105 | 79 | 0.013266 | 0.0033247 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3985-11_0_2_load_62 | 80 | 0.0040308 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3985-11_0_2_load_63 | 81 | 0.0043033 | 0.0010785 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3985-11_0_2_load_65 | 82 | 0.0015313 | 0.00038377 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3985-11_0_2_load_67 | 83 | 0.0043906 | 0.0011004 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3985-11_0_2_load_68 | 84 | 0.0022436 | 0.00056231 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3985-11_0_2_load_92 | 85 | 0.0051959 | 0.0013022 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3985-11_0_2_load_69 | 86 | 0.00045127 | 0.0001131 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3985-11_0_2_load_70 | 87 | 0.00073706 | 0.00018472 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3985-11_0_2_load_71 | 88 | 0.00036249 | 9.0849e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3985-11_0_2_load_75 | 89 | 0.00052064 | 0.00013049 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3985-11_0_2_load_77 | 90 | 0.00088919 | 0.00022285 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3985-11_0_2_load_78 | 91 | 0.00082687 | 0.00020723 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3985-11_0_2_load_79 | 92 | 0.00079111 | 0.00019827 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3985-11_0_2_load_80 | 93 | 0.00089648 | 0.00022468 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3985-11_0_2_load_81 | 94 | 0.00063571 | 0.00015932 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3985-11_0_2_load_82 | 95 | 0.00080199 | 0.000201 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3985-11_0_2_load_83 | 96 | 0.00056522 | 0.00014166 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3985-11_0_2_load_84 | 97 | 0.00076663 | 0.00019213 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3985-11_0_2_load_97 | 98 | 0.0053732 | 0.0013467 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3985-11_0_2_load_98 | 99 | 0.0050046 | 0.0012543 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3985-11_0_2_load_101 | 100 | 0.0029836 | 0.00074777 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3985-11_0_2_load_99 | 101 | 0.0067358 | 0.0016881 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3985-11_0_2_load_104 | 102 | 0.0025801 | 0.00064663 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3985-11_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.028121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3985-11_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.029181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3985-11_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.026205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3985-11_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3985-11_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.040848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3985-11_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.038808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3985-11_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.025575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3985-11_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.015471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3985-11_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.067729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3985-11_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.051805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3985-11_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.010357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3985-11_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.026466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_3985-11_0_2_line_12 | NAYY 4x150 SE | 9 | 13 | 0.029158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3985-11_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.0048833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3985-11_0_2_line_14 | NAYY 4x150 SE | 11 | 98 | 0.012293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3985-11_0_2_line_15 | NAYY 4x150 SE | 11 | 99 | 0.030338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3985-11_0_2_line_16 | NAYY 4x150 SE | 13 | 83 | 0.019762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3985-11_0_2_line_17 | NAYY 4x150 SE | 13 | 80 | 0.0066338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3985-11_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.098182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3985-11_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.071174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3985-11_0_2_line_20 | NAYY 4x150 SE | 17 | 21 | 0.042789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3985-11_0_2_line_21 | NAYY 4x150 SE | 17 | 22 | 0.10172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3985-11_0_2_line_22 | NAYY 4x150 SE | 18 | 19 | 0.027632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3985-11_0_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.040779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3985-11_0_2_line_24 | NAYY 4x150 SE | 19 | 48 | 0.0045897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3985-11_0_2_line_25 | NAYY 4x150 SE | 20 | 47 | 0.037864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3985-11_0_2_line_26 | NAYY 4x150 SE | 21 | 26 | 0.011016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3985-11_0_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.14277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3985-11_0_2_line_28 | NAYY 4x150 SE | 22 | 23 | 0.036815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3985-11_0_2_line_29 | NAYY 4x150 SE | 24 | 25 | 0.076249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3985-11_0_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.040969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3985-11_0_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0042617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3985-11_0_2_line_32 | NAYY 4x150 SE | 28 | 67 | 0.021053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3985-11_0_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.035557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3985-11_0_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.011926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3985-11_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.013928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3985-11_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.017118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3985-11_0_2_line_37 | NAYY 4x150 SE | 33 | 45 | 0.010298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3985-11_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.011435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3985-11_0_2_line_39 | NAYY 4x150 SE | 34 | 36 | 0.0073234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3985-11_0_2_line_40 | NAYY 4x150 SE | 35 | 37 | 0.013869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3985-11_0_2_line_41 | NAYY 4x150 SE | 36 | 38 | 0.015035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3985-11_0_2_line_42 | NAYY 4x150 SE | 37 | 39 | 0.0060116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3985-11_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.0065354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3985-11_0_2_line_44 | NAYY 4x150 SE | 39 | 41 | 0.001975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3985-11_0_2_line_45 | NAYY 4x150 SE | 40 | 42 | 0.0064309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3985-11_0_2_line_46 | NAYY 4x150 SE | 41 | 46 | 0.0039195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3985-11_0_2_line_47 | NAYY 4x150 SE | 42 | 97 | 0.016237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3985-11_0_2_line_48 | NAYY 4x150 SE | 43 | 44 | 0.0057804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3985-11_0_2_line_49 | NAYY 4x150 SE | 43 | 45 | 0.0058493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3985-11_0_2_line_50 | NAYY 4x150 SE | 44 | 46 | 0.028065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3985-11_0_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.037823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3985-11_0_2_line_52 | NAYY 4x150 SE | 49 | 52 | 0.035777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3985-11_0_2_line_53 | NAYY 4x150 SE | 49 | 53 | 0.0030404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3985-11_0_2_line_54 | NAYY 4x150 SE | 49 | 54 | 0.016445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3985-11_0_2_line_55 | NAYY 4x150 SE | 50 | 51 | 0.014937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3985-11_0_2_line_56 | NAYY 4x150 SE | 51 | 74 | 0.050016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3985-11_0_2_line_57 | NAYY 4x150 SE | 51 | 73 | 0.017671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3985-11_0_2_line_58 | NAYY 4x150 SE | 52 | 55 | 0.013208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3985-11_0_2_line_59 | NAYY 4x150 SE | 53 | 56 | 0.014978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3985-11_0_2_line_60 | NAYY 4x150 SE | 54 | 57 | 0.00875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3985-11_0_2_line_61 | NAYY 4x150 SE | 55 | 58 | 0.0013803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3985-11_0_2_line_62 | NAYY 4x150 SE | 56 | 59 | 0.0062833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3985-11_0_2_line_63 | NAYY 4x150 SE | 57 | 60 | 0.01386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3985-11_0_2_line_64 | NAYY 4x150 SE | 57 | 61 | 0.0062756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3985-11_0_2_line_65 | NAYY 4x150 SE | 58 | 62 | 0.011785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3985-11_0_2_line_66 | NAYY 4x150 SE | 59 | 88 | 0.013622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3985-11_0_2_line_67 | NAYY 4x150 SE | 60 | 69 | 0.01842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3985-11_0_2_line_68 | NAYY 4x150 SE | 61 | 89 | 0.0042968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3985-11_0_2_line_69 | NAYY 4x150 SE | 62 | 63 | 0.013859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3985-11_0_2_line_70 | NAYY 4x150 SE | 63 | 64 | 0.0088056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3985-11_0_2_line_71 | NAYY 4x150 SE | 64 | 65 | 0.0089668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3985-11_0_2_line_72 | NAYY 4x150 SE | 65 | 66 | 0.00176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3985-11_0_2_line_73 | NAYY 4x150 SE | 67 | 68 | 0.041798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3985-11_0_2_line_74 | NAYY 4x150 SE | 68 | 69 | 0.0037449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3985-11_0_2_line_75 | NAYY 4x150 SE | 69 | 70 | 0.0078993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3985-11_0_2_line_76 | NAYY 4x150 SE | 70 | 71 | 0.019706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3985-11_0_2_line_77 | NAYY 4x150 SE | 71 | 72 | 0.019688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3985-11_0_2_line_78 | NAYY 4x150 SE | 74 | 75 | 0.0078712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3985-11_0_2_line_79 | NAYY 4x150 SE | 75 | 76 | 0.0050513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3985-11_0_2_line_80 | NAYY 4x150 SE | 75 | 77 | 0.0081912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3985-11_0_2_line_81 | NAYY 4x150 SE | 76 | 102 | 0.012074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3985-11_0_2_line_82 | NAYY 4x150 SE | 77 | 101 | 0.0085312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3985-11_0_2_line_83 | NAYY 4x150 SE | 78 | 79 | 0.012917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3985-11_0_2_line_84 | NAYY 4x150 SE | 79 | 102 | 0.00066714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3985-11_0_2_line_85 | NAYY 4x150 SE | 80 | 81 | 0.0094586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3985-11_0_2_line_86 | NAYY 4x150 SE | 81 | 82 | 0.016024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3985-11_0_2_line_87 | NAYY 4x150 SE | 82 | 84 | 0.0071632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3985-11_0_2_line_88 | NAYY 4x150 SE | 83 | 85 | 0.033681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3985-11_0_2_line_89 | NAYY 4x150 SE | 84 | 86 | 0.0050139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3985-11_0_2_line_90 | NAYY 4x150 SE | 86 | 87 | 0.0069118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3985-11_0_2_line_91 | NAYY 4x150 SE | 87 | 88 | 0.0017848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3985-11_0_2_line_92 | NAYY 4x150 SE | 89 | 90 | 0.0090763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3985-11_0_2_line_93 | NAYY 4x150 SE | 90 | 91 | 0.0099496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3985-11_0_2_line_94 | NAYY 4x150 SE | 91 | 92 | 0.0096354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3985-11_0_2_line_95 | NAYY 4x150 SE | 92 | 93 | 0.016311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3985-11_0_2_line_96 | NAYY 4x150 SE | 93 | 94 | 0.00054873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3985-11_0_2_line_97 | NAYY 4x150 SE | 94 | 95 | 0.00057426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3985-11_0_2_line_98 | NAYY 4x150 SE | 95 | 96 | 0.0078128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3985-11_0_2_line_99 | NAYY 4x150 SE | 96 | 97 | 0.0039146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3985-11_0_2_line_100 | NAYY 4x150 SE | 99 | 100 | 0.0012762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3985-11_0_2_line_101 | NAYY 4x150 SE | 100 | 101 | 0.0053723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3985-11_0_2_trafo_36 | 0.25 MVA 20/0.4 kV | 103 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2713121.9971 | 1175625.7135 | 2713142.1396 | 1175627.6661 | 2713149.5692 | 1175630.3058
1 | 2713173.2987 | 1175647.1114 | 2713158.2085 | 1175635.1631 | 2713150.7984 | 1175630.7426 | 2713149.5692 | 1175630.3058
2 | 2713148.5549 | 1175639.017 | 2713166.8092 | 1175646.5886 | 2713173.2987 | 1175647.1114
3 | 2713173.2987 | 1175647.1114 | 2713186.2864 | 1175654.995 | 2713191.9904 | 1175657.4376 | 2713192.6496 | 1175657.6669
4 | 2713232.1736 | 1175667.8806 | 2713209.2935 | 1175661.9226 | 2713197.3991 | 1175659.3187 | 2713192.6496 | 1175657.6669
5 | 2713232.1736 | 1175667.8806 | 2713208.0981 | 1175668.1376 | 2713193.5193 | 1175670.2531
6 | 2713232.1736 | 1175667.8806 | 2713247.6695 | 1175672.5095 | 2713251.4046 | 1175673.1248 | 2713257.0914 | 1175673.2322
7 | 2713193.5193 | 1175670.2531 | 2713192.0963 | 1175670.4596 | 2713179.8981 | 1175672.6088 | 2713178.3328 | 1175673.1208
8 | 2713257.0914 | 1175673.2322 | 2713298.9145 | 1175673.7665 | 2713324.9929 | 1175672.7249
9 | 2713257.0914 | 1175673.2322 | 2713240.0354 | 1175681.983 | 2713237.1676 | 1175684.0303 | 2713232.7679 | 1175689.0507 | 2713231.3286 | 1175689.9575 | 2713229.401 | 1175690.3992 | 2713222.0002 | 1175689.5478 | 2713218.7912 | 1175689.0092 | 2713215.7263 | 1175689.7518 | 2713212.1363 | 1175693.0866
10 | 2713169.3486 | 1175678.1469 | 2713172.4784 | 1175675.9934 | 2713176.0742 | 1175673.8597 | 2713178.3328 | 1175673.1208
11 | 2713324.9929 | 1175672.7249 | 2713326.2405 | 1175677.5184 | 2713327.2394 | 1175679.2829 | 2713329.4374 | 1175680.7143 | 2713338.097 | 1175685.3588 | 2713340.0841 | 1175689.4546 | 2713338.7974 | 1175691.5779
12 | 2713324.9929 | 1175672.7249 | 2713330.2713 | 1175673.0025 | 2713338.2464 | 1175674.2206 | 2713345.4437 | 1175675.7243 | 2713350.583 | 1175676.8888 | 2713353.6997 | 1175677.8595
13 | 2713208.5584 | 1175696.41 | 2713212.1363 | 1175693.0866
14 | 2713169.3486 | 1175678.1469 | 2713159.7648 | 1175680.7346 | 2713157.8863 | 1175682.2224
15 | 2713169.3486 | 1175678.1469 | 2713168.0766 | 1175680.7247 | 2713167.565 | 1175683.9283 | 2713170.1357 | 1175702.0781 | 2713170.0029 | 1175705.0665 | 2713169.4065 | 1175707.9016
16 | 2713353.6997 | 1175677.8595 | 2713356.237 | 1175658.2605
17 | 2713353.6997 | 1175677.8595 | 2713359.6339 | 1175680.8246
18 | 2713586.5295 | 1175828.275 | 2713503.6977 | 1175880.9877
19 | 2713630.6438 | 1175772.4208 | 2713586.5295 | 1175828.275
20 | 2713596.1232 | 1175747.14 | 2713600.8539 | 1175750.4493 | 2713630.6438 | 1175772.4208
21 | 2713630.6438 | 1175772.4208 | 2713684.0287 | 1175859.0097
22 | 2713429.6358 | 1175753.3239 | 2713425.5087 | 1175771.936 | 2713424.5443 | 1175774.8198 | 2713423.1796 | 1175777.8405 | 2713421.9634 | 1175779.6892
23 | 2713385.8504 | 1175779.842 | 2713394.2825 | 1175784.8214 | 2713397.7073 | 1175786.0758 | 2713404.4391 | 1175787.5263 | 2713408.3137 | 1175787.6329 | 2713411.9882 | 1175787.4022 | 2713414.8287 | 1175786.3996 | 2713417.2067 | 1175784.7768 | 2713420.8966 | 1175781.3108 | 2713421.9634 | 1175779.6892
24 | 2713429.6358 | 1175753.3239 | 2713430.6294 | 1175748.8431
25 | 2713385.8504 | 1175779.842 | 2713373.1776 | 1175772.3585 | 2713367.2429 | 1175769.1887 | 2713362.0877 | 1175767.6569 | 2713351.3249 | 1175765.1963
26 | 2713587.097 | 1175740.8258 | 2713596.1232 | 1175747.14
27 | 2713684.0287 | 1175859.0097 | 2713822.1225 | 1175895.2688
28 | 2713671.5866 | 1175888.1495 | 2713669.7329 | 1175886.7134 | 2713668.5837 | 1175885.2239 | 2713667.9763 | 1175882.9776 | 2713667.9609 | 1175880.5645 | 2713668.7274 | 1175877.6437 | 2713669.8487 | 1175874.1515 | 2713671.3886 | 1175870.7672 | 2713673.2075 | 1175867.9886 | 2713676.2792 | 1175864.4666 | 2713678.9071 | 1175862.5707 | 2713684.0287 | 1175859.0097
29 | 2713822.1225 | 1175895.2688 | 2713829.9954 | 1175819.4275
30 | 2713587.097 | 1175740.8258 | 2713576.7737 | 1175733.6042 | 2713564.2219 | 1175725.3499 | 2713553.9062 | 1175719.7398 | 2713552.4493 | 1175719.0663
31 | 2713548.5809 | 1175717.278 | 2713552.4493 | 1175719.0663
32 | 2713548.5809 | 1175717.278 | 2713542.4453 | 1175714.4415 | 2713530.9593 | 1175710.0657 | 2713529.0249 | 1175709.5506
33 | 2713577.59 | 1175521.8944 | 2713578.812 | 1175521.8204 | 2713583.386 | 1175520.9398 | 2713609.0746 | 1175515.0887 | 2713612.3668 | 1175514.5991
34 | 2713565.6747 | 1175522.2499 | 2713565.6747 | 1175522.2499 | 2713571.6772 | 1175522.2524 | 2713577.59 | 1175521.8944
35 | 2713551.8213 | 1175520.8091 | 2713565.6747 | 1175522.2499
36 | 2713551.8213 | 1175520.8091 | 2713545.0238 | 1175520.1021 | 2713540.0233 | 1175520.0853 | 2713536.477 | 1175520.3962 | 2713534.7973 | 1175520.7836
37 | 2713534.7973 | 1175520.7836 | 2713531.5771 | 1175521.5265 | 2713528.8549 | 1175522.7425 | 2713525.3983 | 1175524.7785 | 2713525.3983 | 1175524.7785
38 | 2713483.076 | 1175586.5312 | 2713483.076 | 1175586.5312 | 2713491.6826 | 1175579.0029
39 | 2713483.076 | 1175586.5312 | 2713479.8527 | 1175589.9837 | 2713478.4909 | 1175592.1986
40 | 2713500.8376 | 1175568.7373 | 2713499.7762 | 1175570.7585 | 2713497.3717 | 1175573.7707 | 2713494.4356 | 1175576.5948 | 2713491.6826 | 1175579.0029
41 | 2713478.4909 | 1175592.1986 | 2713478.1092 | 1175592.8194 | 2713476.7501 | 1175596.3516 | 2713476.2901 | 1175599.2449 | 2713476.1174 | 1175602.3104 | 2713476.5522 | 1175606.8106
42 | 2713503.2076 | 1175563.2188 | 2713503.1986 | 1175563.2515 | 2713501.4817 | 1175567.5108 | 2713500.8376 | 1175568.7373
43 | 2713477.6381 | 1175613.2552 | 2713476.5522 | 1175606.8106 | 2713476.5522 | 1175606.8106
44 | 2713503.7295 | 1175561.314 | 2713503.2076 | 1175563.2188
45 | 2713478.7066 | 1175619.5966 | 2713477.6381 | 1175613.2552
46 | 2713503.7295 | 1175561.314 | 2713504.7654 | 1175557.5339
47 | 2713480.1173 | 1175635.7054 | 2713480.3166 | 1175632.1435 | 2713480.1063 | 1175627.9033 | 2713478.7066 | 1175619.5966
48 | 2713520.6315 | 1175528.1684 | 2713516.9314 | 1175532.6093
49 | 2713520.6315 | 1175528.1684 | 2713520.6315 | 1175528.1684 | 2713525.3983 | 1175524.7785
50 | 2713516.9314 | 1175532.6093 | 2713516.2264 | 1175533.4553 | 2713511.3176 | 1175540.3116 | 2713508.9014 | 1175544.3464 | 2713507.62 | 1175547.8134 | 2713506.1146 | 1175552.6105 | 2713504.7654 | 1175557.5339
51 | 2713433.8677 | 1175711.6196 | 2713435.2485 | 1175719.0618 | 2713435.4463 | 1175723.1573 | 2713433.9349 | 1175733.9361 | 2713430.6294 | 1175748.8431
52 | 2713433.8677 | 1175711.6196 | 2713445.2041 | 1175723.0972 | 2713448.967 | 1175726.2817 | 2713452.8372 | 1175728.6453 | 2713457.8636 | 1175730.5194 | 2713462.4697 | 1175731.9253
53 | 2713433.8677 | 1175711.6196 | 2713431.0063 | 1175712.6476
54 | 2713433.8677 | 1175711.6196 | 2713437.8246 | 1175708.9926 | 2713443.9318 | 1175704.2603 | 2713446.8161 | 1175701.5337
55 | 2713200.635 | 1175759.2923 | 2713213.0365 | 1175750.9669
56 | 2713200.635 | 1175759.2923 | 2713180.8914 | 1175747.1894 | 2713167.679 | 1175737.0445 | 2713159.946 | 1175730.3927
57 | 2713200.635 | 1175759.2923 | 2713196.3448 | 1175762.1578 | 2713190.5061 | 1175764.8384 | 2713184.6766 | 1175766.5905
58 | 2713475.0077 | 1175736.0296 | 2713473.2432 | 1175735.2134 | 2713462.4697 | 1175731.9253
59 | 2713416.2507 | 1175713.2152 | 2713419.7882 | 1175713.7771 | 2713424.7844 | 1175714.0162 | 2713429.1638 | 1175713.3096 | 2713431.0063 | 1175712.6476
60 | 2713453.5021 | 1175695.9245 | 2713450.5419 | 1175698.0033 | 2713447.2874 | 1175701.0883 | 2713446.8161 | 1175701.5337
61 | 2713476.2605 | 1175736.609 | 2713475.0077 | 1175736.0296
62 | 2713416.2507 | 1175713.2152 | 2713410.0452 | 1175712.2296
63 | 2713453.5021 | 1175695.9245 | 2713458.2481 | 1175694.4354 | 2713462.6982 | 1175693.6301 | 2713465.9911 | 1175693.7702 | 2713467.0517 | 1175693.8943
64 | 2713453.5021 | 1175695.9245 | 2713453.2662 | 1175689.6533
65 | 2713476.2605 | 1175736.609 | 2713478.8827 | 1175737.8218 | 2713485.1238 | 1175741.3645 | 2713486.6612 | 1175742.1344
66 | 2713397.3635 | 1175707.5888 | 2713399.9356 | 1175709.0765 | 2713403.3324 | 1175710.5973 | 2713406.8361 | 1175711.7198 | 2713410.0452 | 1175712.2296
67 | 2713485.0147 | 1175697.8327 | 2713471.6598 | 1175694.4334 | 2713467.0517 | 1175693.8943
68 | 2713453.2662 | 1175689.6533 | 2713453.2427 | 1175689.026 | 2713453.8082 | 1175685.4008 | 2713453.8082 | 1175685.4008
69 | 2713499.0534 | 1175748.3405 | 2713486.6612 | 1175742.1344
70 | 2713506.5695 | 1175752.8938 | 2713502.083 | 1175749.8577 | 2713499.0534 | 1175748.3405
71 | 2713513.9957 | 1175757.9193 | 2713506.5695 | 1175752.8938
72 | 2713515.4533 | 1175758.9057 | 2713513.9957 | 1175757.9193
73 | 2713488.6336 | 1175698.7963 | 2713529.0249 | 1175709.5506
74 | 2713485.0147 | 1175697.8327 | 2713488.6336 | 1175698.7963
75 | 2713485.0147 | 1175697.8327 | 2713490.2873 | 1175691.9507
76 | 2713490.2873 | 1175691.9507 | 2713490.2873 | 1175691.9507 | 2713492.4085 | 1175690.1673 | 2713496.0767 | 1175688.2576 | 2713507.5997 | 1175682.6856
77 | 2713507.5997 | 1175682.6856 | 2713510.5923 | 1175681.2385 | 2713518.0232 | 1175678.8886 | 2713524.3005 | 1175677.6954 | 2713526.4706 | 1175677.4836
78 | 2713153.954 | 1175725.2887 | 2713156.9345 | 1175727.8022 | 2713159.946 | 1175730.3927
79 | 2713153.954 | 1175725.2887 | 2713150.7124 | 1175727.2956 | 2713149.7368 | 1175728.0589
80 | 2713153.954 | 1175725.2887 | 2713159.7157 | 1175719.4664
81 | 2713142.5185 | 1175737.5579 | 2713145.7229 | 1175731.9714 | 2713147.7012 | 1175729.6516 | 2713149.7368 | 1175728.0589
82 | 2713165.7166 | 1175713.4024 | 2713165.7166 | 1175713.4024 | 2713159.7157 | 1175719.4664
83 | 2713134.4696 | 1175748.2941 | 2713137.2241 | 1175745.9541 | 2713139.5725 | 1175743.063 | 2713141.2874 | 1175739.7042 | 2713142.1866 | 1175738.1366
84 | 2713142.1866 | 1175738.1366 | 2713142.5185 | 1175737.5579
85 | 2713359.6339 | 1175680.8246 | 2713360.2216 | 1175681.1182 | 2713365.0115 | 1175684.1774 | 2713367.4839 | 1175686.0776
86 | 2713380.1003 | 1175695.9569 | 2713369.1794 | 1175687.3806 | 2713367.4839 | 1175686.0776
87 | 2713380.1003 | 1175695.9569 | 2713385.734 | 1175700.3811
88 | 2713365.143 | 1175625.8513 | 2713359.599 | 1175642.8581 | 2713356.8961 | 1175653.1697 | 2713356.237 | 1175658.2605
89 | 2713389.8077 | 1175703.283 | 2713388.4601 | 1175702.5219 | 2713385.734 | 1175700.3811
90 | 2713389.8077 | 1175703.283 | 2713394.5503 | 1175705.9615 | 2713395.8185 | 1175706.6951
91 | 2713397.3635 | 1175707.5888 | 2713395.8185 | 1175706.6951
92 | 2713458.4108 | 1175677.5935 | 2713456.7479 | 1175679.9638 | 2713453.8082 | 1175685.4008
93 | 2713458.4108 | 1175677.5935 | 2713459.7655 | 1175675.6624 | 2713465.1494 | 1175670.3114
94 | 2713465.1494 | 1175670.3114 | 2713467.0441 | 1175668.4284 | 2713470.6877 | 1175664.5836 | 2713471.6954 | 1175663.2554
95 | 2713477.7366 | 1175648.3242 | 2713477.4525 | 1175649.7458 | 2713476.485 | 1175654.4085 | 2713474.9127 | 1175657.8922 | 2713473.1579 | 1175661.3281 | 2713471.6954 | 1175663.2554
96 | 2713477.7366 | 1175648.3242 | 2713477.8442 | 1175647.7861
97 | 2713477.8442 | 1175647.7861 | 2713477.9567 | 1175647.223
98 | 2713479.4878 | 1175639.5617 | 2713477.9567 | 1175647.223
99 | 2713480.1173 | 1175635.7054 | 2713480.0624 | 1175636.6862 | 2713479.4878 | 1175639.5617
100 | 2713169.4065 | 1175707.9016 | 2713169.4065 | 1175707.9016 | 2713168.7977 | 1175709.0232
101 | 2713165.7166 | 1175713.4024 | 2713167.9489 | 1175710.5871 | 2713168.7977 | 1175709.0232

## bus_geodata
| x | y | coords
0 | 2713121.9971 | 1175625.7135
1 | 2713149.5692 | 1175630.3058
2 | 2713173.2987 | 1175647.1114
3 | 2713148.5549 | 1175639.017
4 | 2713192.6496 | 1175657.6669
5 | 2713232.1736 | 1175667.8806
6 | 2713193.5193 | 1175670.2531
7 | 2713257.0914 | 1175673.2322
8 | 2713178.3328 | 1175673.1208
9 | 2713324.9929 | 1175672.7249
10 | 2713212.1363 | 1175693.0866
11 | 2713169.3486 | 1175678.1469
12 | 2713338.7974 | 1175691.5779
13 | 2713353.6997 | 1175677.8595
14 | 2713208.5584 | 1175696.41
15 | 2713503.6977 | 1175880.9877
16 | 2713586.5295 | 1175828.275
17 | 2713630.6438 | 1175772.4208
18 | 2713421.9634 | 1175779.6892
19 | 2713429.6358 | 1175753.3239
20 | 2713385.8504 | 1175779.842
21 | 2713596.1232 | 1175747.14
22 | 2713684.0287 | 1175859.0097
23 | 2713671.5866 | 1175888.1495
24 | 2713822.1225 | 1175895.2688
25 | 2713829.9954 | 1175819.4275
26 | 2713587.097 | 1175740.8258
27 | 2713552.4493 | 1175719.0663
28 | 2713548.5809 | 1175717.278
29 | 2713612.3668 | 1175514.5991
30 | 2713577.59 | 1175521.8944
31 | 2713565.6747 | 1175522.2499
32 | 2713551.8213 | 1175520.8091
33 | 2713534.7973 | 1175520.7836
34 | 2713483.076 | 1175586.5312
35 | 2713491.6826 | 1175579.0029
36 | 2713478.4909 | 1175592.1986
37 | 2713500.8376 | 1175568.7373
38 | 2713476.5522 | 1175606.8106
39 | 2713503.2076 | 1175563.2188
40 | 2713477.6381 | 1175613.2552
41 | 2713503.7296 | 1175561.314
42 | 2713478.7066 | 1175619.5966
43 | 2713520.6315 | 1175528.1684
44 | 2713516.9314 | 1175532.6093
45 | 2713525.3983 | 1175524.7785
46 | 2713504.7654 | 1175557.5339
47 | 2713351.3249 | 1175765.1963
48 | 2713430.6294 | 1175748.8431
49 | 2713433.8677 | 1175711.6196
50 | 2713213.0365 | 1175750.9669
51 | 2713200.635 | 1175759.2923
52 | 2713462.4697 | 1175731.9253
53 | 2713431.0063 | 1175712.6476
54 | 2713446.8161 | 1175701.5337
55 | 2713475.0077 | 1175736.0296
56 | 2713416.2507 | 1175713.2152
57 | 2713453.5021 | 1175695.9245
58 | 2713476.2605 | 1175736.609
59 | 2713410.0453 | 1175712.2296
60 | 2713467.0517 | 1175693.8943
61 | 2713453.2662 | 1175689.6533
62 | 2713486.6612 | 1175742.1344
63 | 2713499.0534 | 1175748.3405
64 | 2713506.5695 | 1175752.8938
65 | 2713513.9957 | 1175757.9193
66 | 2713515.4533 | 1175758.9057
67 | 2713529.0249 | 1175709.5506
68 | 2713488.6336 | 1175698.7963
69 | 2713485.0147 | 1175697.8327
70 | 2713490.2873 | 1175691.9507
71 | 2713507.5997 | 1175682.6856
72 | 2713526.4706 | 1175677.4836
73 | 2713184.6766 | 1175766.5905
74 | 2713159.946 | 1175730.3927
75 | 2713153.954 | 1175725.2887
76 | 2713149.7368 | 1175728.0589
77 | 2713159.7157 | 1175719.4664
78 | 2713134.4696 | 1175748.2941
79 | 2713142.1866 | 1175738.1366
80 | 2713359.6339 | 1175680.8246
81 | 2713367.4839 | 1175686.0776
82 | 2713380.1003 | 1175695.9569
83 | 2713356.237 | 1175658.2605
84 | 2713385.734 | 1175700.3811
85 | 2713365.143 | 1175625.8513
86 | 2713389.8077 | 1175703.283
87 | 2713395.8185 | 1175706.6951
88 | 2713397.3635 | 1175707.5888
89 | 2713453.8082 | 1175685.4008
90 | 2713458.4108 | 1175677.5935
91 | 2713465.1494 | 1175670.3114
92 | 2713471.6954 | 1175663.2554
93 | 2713477.7366 | 1175648.3242
94 | 2713477.8442 | 1175647.7861
95 | 2713477.9567 | 1175647.223
96 | 2713479.4878 | 1175639.5617
97 | 2713480.1173 | 1175635.7054
98 | 2713157.8863 | 1175682.2224
99 | 2713169.4065 | 1175707.9016
100 | 2713168.7977 | 1175709.0232
101 | 2713165.7166 | 1175713.4024
102 | 2713142.5185 | 1175737.5579
103 | 2713324.9929 | 1175672.7249

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1